# DCP 268 CDCM model (r7547)

- 04 May 2017, Reckon LLP

This document, model or dataset has been prepared by Reckon LLP on the instructions of the DCUSA Panel or one of its working groups.  Only the DCUSA Panel and its working groups have authority to approve this material as meeting their requirements.  Reckon LLP makes no representation about the suitability of this material for the purposes of complying with any licence conditions or furthering any relevant objective.

This document describes a CDCM model developed for the DCP 268 working group.  The reference version is the pre-release CDCM model for 2018/2019 published by the DCUSA Panel in November 2016.

## Structural changes

There are a number of changes to the structure of calculation tables. These are described in the section on calculation tables below.

## Additional or modified input data

There are no additional input data tables.

Tables 1061, 1062 and 1064 have been removed.

Tables 1025, 1028, 1041, 1053 and 1201 have been changed to rename some tariffs and remove tariffs in line with the modelling specifications received from the DCP 268 working group.

## Additional or modified outputs

There are no additional output tables.

Output tables have been modified to change the names of some tariffs and remove some tariffs in line with the modelling specifications received from the DCP 268 working group.

## Additional or modified calculation tables

All calculation tables that list tariffs have been modified to reflect the new tariff list created by DCP 268.

A number of calculation tables have been deleted as they are no longer needed. Table 1 provides a list of such tables.

##### Table 1	Tables in the reference model that have been deleted

| Table in the reference model | Table number |
| --- | --- |
| Normalisation of split of rate 1 units by time band | 2402 |
| Split of rate 1 units between distribution time bands | 2403 |
| Normalisation of split of rate 2 units by time band | 2404 |
| Split of rate 2 units between distribution time bands | 2405 |
| Calculation of implied load coefficients for one-rate users | 2408 |
| Calculation of implied load coefficients for two-rate users | 2409 |
| Single rate non half hourly pseudo timeband load coefficients | 2415 |
| Single rate non half hourly units (MWh) | 2416 |
| Single rate non half hourly timeband use | 2417 |
| Single rate non half hourly tariff pseudo load coefficient | 2418 |
| Multi rate non half hourly units (MWh) | 2419 |
| Multi rate non half hourly pseudo timeband load coefficients | 2420 |
| Multi rate non half hourly timeband use | 2421 |
| Multi rate non half hourly tariff pseudo load coefficient | 2422 |
| Off-peak non half hourly units (MWh) | 2423 |
| Off-peak non half hourly pseudo timeband load coefficients | 2424 |
| Off-peak non half hourly timeband use | 2425 |
| Off-peak non half hourly tariff pseudo load coefficient | 2426 |
| Aggregated half hourly units (MWh) | 2427 |
| Aggregated half hourly pseudo timeband load coefficients | 2428 |
| Aggregated half hourly timeband use | 2429 |
| Aggregated half hourly tariff pseudo load coefficient | 2430 |
| Average non half hourly tariff pseudo load coefficient | 2431 |
| Average non half hourly timeband use | 2432 |
| Aggregated half hourly tariff pseudo load coefficient using average non half hourly unit mix | 2433 |
| Relative correction factor for aggregated half hourly tariff | 2434 |
| Correction factor for non half hourly tariffs | 2435 |
| Single rate non half hourly corrected pseudo timeband load coefficient | 2436 |
| Multi rate non half hourly corrected pseudo timeband load coefficient | 2437 |
| Off-peak non half hourly corrected pseudo timeband load coefficient | 2438 |
| Aggregated half hourly corrected pseudo timeband load coefficient | 2439 |
| Pseudo load coefficient by time band and network level (equalised) | 2440 |
| Normalisation of split of rate 1 units by special time band | 2445 |
| Split of rate 1 units between special distribution time bands | 2446 |
| Calculation of implied special load coefficients for one-rate users | 2449 |
| Load coefficient correction factor for the group | 2452 |
| Contributions of users on one-rate multi tariffs to system simultaneous maximum load by network level (kW) | 2501 |
| Contributions of users on two-rate multi tariffs to system simultaneous maximum load by network level (kW) | 2502 |

Table 2 provides a list of new calculation tables added to the DCP 268 model.

##### Table 2	New calculation tables in the DCP 268 model

| Table in the DCP 268 model | Table number |
| --- | --- |
| Volumes to be aggregated by tariff group This table aggregates tariffs by groups so that the volumes for off peak related MPAN tariffs can be combined with the relevant primary tariffs. | 2304 |
| Volumes aggregated by tariff group This table aggregates the volumes for off peak related MPAN tariffs with the volumes in the relevant primary tariffs. | 2305 |
| Aggregated volumes reordered by end user This table reorders tariffs and volumes by end user. | 2306 |
| Split of rate 1 units between distribution time bands (default) This table assigns all rate 1 units to the Red time band by default. | 2401 |
| Split of rate 2 units between distribution time bands (default) This table assigns all rate 2 units to the Amber time band by default. | 2402 |
| Split of rate 1 units between special distribution time bands (default) This table assigns all rate 1 units to the Black time band by default. | 2414 |
| Mapping of tariffs to tariff groups for coincidence adjustment factor This table maps the LV UMS tariff to the contribution to system-peak-time kW. | 2420 |
| Group contribution to system-peak-time kW This table calculates the contribution of the LV UMS tariff to the system-peak-time kW. | 2421 |
| Group contribution to peak band kW This table calculates the contribution of the LV UMS tariff to the peak band kW. | 2422 |
| Load coefficient correction factor for each group This table calculates the load coefficient correction factor for the LV UMS tariff as the ratio of 2421 to 2422. | 2423 |
| Load coefficient correction factor (based on group) This table is a remnant of the model’s ability to support multiple unmetered supplies tariffs. It has no impact on the results in the case of a model with a single unmetered supplies tariff. | 2424 |
| Load coefficient correction factor (kW at peak in band / band average kW) This table is a remnant of the model’s ability to support multiple unmetered supplies tariffs. It has no impact on the results in the case of a model with a single unmetered supplies tariff. | 2425 |
| Load coefficient correction factor (combined) This table is a remnant of the model’s ability to support multiple unmetered supplies tariffs. It has no impact on the results in the case of a model with a single unmetered supplies tariff. | 2426 |
| Tariff table before flattening This table sets out the tariff list before they are degrouped. | 3607 |
| Tariff table before tariff degrouping This table sets out a flattened tariff list before they are degrouped. | 3608 |
| Component applicability matrix This table sets out the applicability of different tariff components to each tariff. | 3609 |
| Tariff table after tariff degrouping This table sets out the tariffs after degrouping and the application of the component applicability matrix. | 3610 |

A number of calculation tables have moved or been renumbered as a result of changes in other tables. Table 3 provides a comparison of table numbers between the reference model and the DCP 268 model.

##### Table 3	List of calculation tables that have moved in the DCP 268 model

| Table name | Old table number | New table number |
| --- | --- | --- |
| LDNO discounts and volumes adjusted for discount | 2304 | 2307 |
| Equivalent volume for each end user | 2305 | 2308 |
| Adjust annual hours by distribution time band to match days in year | 2401 | 2405 |
| Split of rate 3 units between distribution time bands (default) | 2406 | 2403 |
| All units (MWh) | 2407 | 2404 |
| Calculation of implied load coefficients for three-rate users | 2410 | 2406 |
| Calculation of adjusted time band load coefficients | 2411 | 2407 |
| Normalisation of peaking probabilities | 2412 | 2408 |
| Peaking probabilities by network level (reshaped) | 2413 | 2409 |
| Pseudo load coefficient by time band and network level | 2414 | 2410 |
| Unit rate 1 pseudo load coefficient by network level | 2441 | 2411 |
| Unit rate 2 pseudo load coefficient by network level | 2442 | 2412 |
| Unit rate 3 pseudo load coefficient by network level | 2443 | 2413 |
| Adjust annual hours by special distribution time band to match days in year | 2444 | 2417 |
| Split of rate 2 units between special distribution time bands (default) | 2447 | 2415 |
| Split of rate 3 units between special distribution time bands (default) | 2448 | 2416 |
| Calculation of implied special load coefficients for three-rate users | 2450 | 2418 |
| Estimated contributions to peak demand | 2451 | 2419 |
| Calculation of special peaking probabilities | 2453 | 2427 |
| Special peaking probabilities by network level | 2454 | 2428 |
| Special peaking probabilities by network level (reshaped) | 2455 | 2429 |
| Pseudo load coefficient by special time band and network level | 2456 | 2430 |
| Unit rate 1 pseudo load coefficient by network level (special) | 2457 | 2431 |
| Unit rate 2 pseudo load coefficient by network level (special) | 2458 | 2432 |
| Unit rate 3 pseudo load coefficient by network level (special) | 2459 | 2433 |
| Unit rate 1 pseudo load coefficient by network level (combined) | 2460 | 2434 |
| Unit rate 2 pseudo load coefficient by network level (combined) | 2461 | 2435 |
| Unit rate 3 pseudo load coefficient by network level (combined) | 2462 | 2436 |
| Contributions of users on three-rate multi tariffs to system simultaneous maximum load by network level (kW) | 2503 | 2501 |
| Estimated contributions of users on each tariff to system simultaneous maximum load by network level (kW) | 2504 | 2502 |
| Contributions of users on each tariff to system simultaneous maximum load by network level (kW) | 2505 | 2503 |
| Forecast system simultaneous maximum load (kW) from forecast units | 2506 | 2504 |