| DCUSA Consultation |  | At what stage is this document in the process? |
| --- | --- | --- |
| DCP 348 DNO charging for installing capacity management and communications equipment to enable Flexibility in Connections Raised on the 28 June 2019 as a Standard Change |  | 01 – Change Proposal. 02 – Consultation. 03 – Change Report. 04 – Change Declaration. |
| Purpose of Change Proposal: The intent of this Change Proposal is to develop a transparent and consistent approach across all DNOs for charging for flexible connections. |  |  |
|  | The Working Group recommends that this Change Proposal should: proceed to Consultation Parties are invited to consider the questions set in section 9 and submit comments using the form attached as Attachment 1 to dcusa@electralink.co.uk by XX XXX XX. DCP 348 has been designated as a Part 1 Matter and a Standard Change. The Working Group will consider the consultation responses and determine the appropriate next steps for the progression of the Change Proposal (CP). |  |
|  | Impacted Parties: DNOs, IDNOs, Suppliers and CVA Registrants |  |
|  | Impacted Clauses: Section 1 of Schedule 22 – The Common Connection Charging Methodology |  |

| Contents 1 Summary 3 2 Governance 3 3 Why Change? 4 4 Working Group Assessment 4 5 Legal Text 5 6 Relevant Objectives 6 7 Impacts & Other Considerations 7 8 Implementation 8 9 Consultation Questions 8 Timetable The timetable for the progression of the CP is as follows: Change Proposal timetable:. #### Activity; #### Date. Initial Assessment Report Approved by Panel; 17 July 2019. Consultation issued to Parties; XX XXX XX. Change Report issued to Panel; 11 December 2019. Change Report issued for Voting; 20 December 2019. Party Voting Ends; 15 January 2020. Change Declaration Issued to Parties and the Authority; 17 January 2020. Implementation; 5 Working Days following Authority Approval. | Any questions? |
| --- | --- |
|  | Contact: Code Administrator |
|  | DCUSA@electralink.co.uk |
|  | 02074323000 |
|  | Proposer: Tim Hughes |
|  | thughes@westernpower.co.uk |
|  | 0117 933 2148 |

Summary

#### What?

## Background

## In its launch of the Access and Forward-Looking Charging Significant Code Review (the “Access SCR”) and wider decision letter dated 18 December 2018, Ofgem outlined the following as part of the scope of the industry-led Access Rights Allocation Working Group (the “ARAWG”):

“As proposed in our consultation, we confirm that the review will not take forward consideration of the use of auctions at this stage for the allocation of access rights. Instead, we believe that the Electricity System Operator and network companies should lead on reviewing incremental improvements to the allocation of access rights (e.g. better management of connection queues, allowing generation who have non-firm connections to trade with others to reduce the extent they are curtailed, and enabling the exchange of access rights between users). We think this will have benefits in supporting more efficient allocation of access and in revealing the value of increased network capacity.”

## The following Products have been identified for delivery by the ARAWG:

- Trading of non-firm distributed generation curtailment obligations;

- The exchange of access rights between users;

- Queue Management; and

- DNO charging for installing capacity management and communications equipment to enable Flexibility in Connections.

This Change Proposal (CP) relates to Product 4 only.

## Product 4 concerns charging for Flexible Connections. Ofgem has stated that it views Flexible Connections as a key component to reducing barriers to market entry for new participants. The Product 4 objective is to develop a consistent approach across all GB Distribution Network Operator (DNO)s for charging network users the costs associated with flexible schemes, which includes Active Network Management (ANM).

## ANM is a defined term within the Energy Network Association (ENA)’s Open Networks Terms and Definitions Document and is replicated below:

“Active Network Management is the use of distributed control system to continually monitor network limits, along with systems that provide signals to DER (Distributed Energy Resources) to modify outputs in line with these limits.”

## The ARAWG considered the principles for charging for system management equipment could apply across a broad spectrum of connection types and the use of the term ‘Flexible Connections’ was more appropriate than ‘ANM’. As a consequence, this CP and the associated proposed changes to the Common Connection Charging Methodology (CCCM) utilises these terms.

## The term ‘Flexible Connections’ is defined within the ENA’s Open Networks Terms and Definitions Document and these are replicated below:

“Flexible Connections are connection arrangements whereby a customer’s export or import is managed (often through real-time control) based upon contracted and agreed principles of availability of capacity. Timed connections and connections utilising Active Network Management arrangements are examples of Flexible Connections.

Occasionally, Flexible Connections are also referred to as Managed Connections.

The need for network access to be managed, may arise through capacity limitations which are local or remote from the Connection Point. For example, a Flexible Connection might comprise a Firm local connection, but with a constraint being present deeper in the network. Flexible connections are offered to customers so that reinforcement can be avoided or deferred”.

## The ARAWG considers that consistency of approach across all DNOs can best be provided through the publication of information within each DNOs CCCM showing how costs associated with Flexible Connections will be recovered.

#### Why?

## This change should be made to provide network users who require a flexible connection with greater certainty and understanding of the charges they may incur directly as part of the connection charge. In addition, this change seeks to develop a consistent methodology across all DNOs for charging network users the costs associated with flexible connection schemes.

#### How?

## The type of charge applied, whether directly (via the connection charge) or indirectly (via DUoS charges) is dictated according to the connection scheme to which it relates. The ARAWG determined that connection schemes would fall in to two main categories known as either Dedicated Schemes or Wide Area Schemes, defined as follows:

## A Dedicated Scheme is a scheme managing constraint(s) where there are no customers downstream of the constrain(s) who could connect new or additional [generation] without being controlled by a Dedicated Scheme.

## Dedicated Schemes can be sub-categorised in to two types:

- Type A considers a scenario involving only one customer

- Type B considers a scenario involving multiple customers

## A Wide Area Scheme is a scheme managing constraint(s) where there are customers downstream of the constrain(s) who could connect new or additional [generation] without being controlled by the Wide Area Scheme.

## An example of these schemes is shown below:

Dedicated Scheme – Type B

Wide Area Scheme – Type B

## According to how a connection is designated, i.e. a Dedicated or Wide Area Scheme, will determine the charging methodology applied. Some charges may be attributed directly to the network user within the connection charge, some charges may be shared, and some charges may be recovered through on-going DUoS.

## The rationale behind this methodology is given in section 3 below and the proposed charge allocation is shown in section 4 below.

Governance

#### Justification for Part 1 Matter

## This CP is considered a Part 1 Matter as it satisfies one or more of the following criteria:

## It is likely to have a significant impact on the interests of electricity consumers;

- It is likely to have a significant impact on competition in one or more of:

  - The generation of electricity;

  - The distribution of electricity;

  - The supply of electricity; and

  - Any commercial activities connected with the generation, distribution or supply of electricity.

#### Current Next Steps

  - The Working Group agree that the next steps are to issue this consultation document to Parties for a period of three weeks.

Why Change?

#### Background of DCP 348

## In December 2017, Scottish and Southern Electricity Networks (SSEN) submitted a Modification Proposal to Ofgem requesting a change to their Statement of Methodology and Charges for Connection (the Methodology) in order to provide clarity surrounding charges for operation and maintenance citing the need for greater clarity and cost reflectivity in the way in which operation and maintenance costs were calculated and applied to Flexible Connections.

## Following an industry wide consultation, Ofgem issued a Directive vetoing the Modification Proposal on the basis that SSEN had failed to sufficiently demonstrate how the modification would better achieve the Relevant Objectives (as listed in Standard Licence Condition 13 (SLC13)). Within that Directive, Ofgem stated their expectation that DNOs should keep their methodologies under review as experience with Flexible Connections is acquired and they encouraged DNOs to consider the issue further to help provide clarity to consumers about how costs of providing Flexible Connections are treated. This CP is the result of that work.

## It is also recognised that central ANM schemes are now being designed to control much larger areas of network, with participation no longer restricted to just distributed generation. These evolving designs can have the ability to manage technology agnostic flexibility services (demand-side response, energy storage and aggregators of multiple virtual power plants), provide capacity to accelerate the deployment of low carbon technologies (such as electric vehicles and heat pumps), and re-configure networks to optimise the capacity within existing assets. The benefits therefore go beyond just the individual flexible/ANM connected customer.

## The ARAWG agreed that any principles for cost recovery on Flexible Connections schemes should be developed and become part of the CCCM, thus ensuring:

## Transparency of charges;

- Consistency of approach;

- Transparency of allocation;

- Due consideration to application of ‘Minimum Scheme’ principles; and

- Recognition of any wider and future beneficiaries of ANM schemes.

## Transparency of charges – market entrants understand the charging rules that will determine the connection charges they will incur and therefore level of finance exposure.

## Consistency of approach – development of a coordinated and consistent framework of charging principles for the main cost elements across DNOs.

## Transparency of allocation – development of arrangements that recognise Flexible Connection schemes may deliver benefits for:

- An individual connection or clearly defined set of customers;

- A wider group of customers (new and future) in the same defined scheme;

- Wider network ANM schemes and/or where the network is of an undefined capacity; or

- Different DER technology types, e.g. DG, DSR, storage, EVs.

Minimum Scheme

## Due consideration was given by the ARAWG to the application of ‘Minimum Scheme’ principles and the potential impact of the proposed changes on the definition of ‘Minimum Scheme’, currently stated as:

“The Minimum Scheme is the Scheme with the lowest overall capital cost (as estimated by us), solely to provide the Required Capacity.

## The Required Capacity is defined as:

“is the Maximum Capacity agreed with the Customer. In the case of multiple connections (e.g. a housing development) it may be adjusted after consideration of the effects of diversity. Where an existing Customer requests and increase in capacity then it is the increase above their Existing Capacity.”

## Previous comments suggested that Flexible Connections did not meet the Required Capacity so could not be the Minimum Scheme (or could be above the Minimum Scheme and considered an enhanced Scheme).

## The ARAWG considered this further and agreed that there is more nuance. Network users now have choices via discussions with the DNO e.g. to accept less than 24/7 capacity continuity via a Flexible Connection – in effect the network user then defines their Required Capacity both in MW and the extent to which they are prepared to be Flexible. If the network user chooses 24/7 continuity the Minimum Scheme will not be a Flexible Connection and will include reinforcement (i.e. the scheme with reinforcement becomes the minimum).

## The ARAWG was also mindful of previous feedback to SSEN’s earlier Modification Proposal under which Ofgem expressed that it received extensive responses on whether a Flexible Connection could be a Minimum Scheme. While there was no straightforward consensus, the majority of the respondents agreed that a Flexible Connection can indeed qualify for this classification. They stated:

“The applicant should be at liberty to determine the level of security that will meet their needs and whether or not a flexible connection is a viable alternative to conventional reinforcement. On this basis either solution may be construed as the Minimum Scheme, i.e. the solution must reflect the scheme with the lowest overall capital costs according to the connection type selected by the applicant.”

## The ARAWG therefore concluded that principles surrounding the Minimum Scheme remained fit for purpose across the range of Flexible Connection products.

Cost Recovery of (Shared Benefit) ANM Control and Communications Equipment

## The existing CCCM was developed against a backdrop of traditional engineering assets with rules for the apportionment of asset reinforcement costs. These rules for apportionment are applied in recognition of the wider benefits to network users of New Network Capacity created.

## In contrast to this, flexible connections avoid the need for reinforcement by sharing available headroom and utilising existing assets closer to their maximum operating parameters. It was noted by the ARAWG that whilst no New Network Capacity is created by, for example ANM schemes, there remains wider benefits to network users, for example the connection of downstream micro-generation and other technologies.

## The ARAWG concluded that it was inappropriate for the costs of those elements of the ANM/Flexible Connections equipment which provide wider network benefit, to be levied on those users directly controlled by it.

Q1: Do you understand the intent of DCP 348?

Q2: Are you supportive of the principles of DCP 348?

Working Group Assessment

#### DCP 348 Working Group Assessment

## The DCUSA Panel established a Working Group to assess DCP 348. This Working Group consists of DNO and Independent Distribution Network Operator (IDNO) representatives. Meetings were held in open session and the minutes and papers of each meeting are available on the DCUSA website – www.dcusa.co.uk.

## The Proposer’s initial solution is to create an additional section to the CCCM relating to cost recovery for Flexible Connections. The new section will include a table showing how charges will be allocated to network users.

## It should be noted that some costs (those attributed to multiple users on a Dedicated Scheme) will be shared. The methodology for sharing costs has yet to be established but there were two alternatives tabled:

- Split of costs in proportion to capacity; and

- Equal split of costs regardless of capacity.

## Either method could be adopted but the ARAWG favoured the second option as it offered simplicity. It was argued that, unlike traditional reinforcement apportionment, Parties aren’t making use of a defined available capacity. The system is carrying out the same operations regardless of the size of a connection, albeit some connections will experience greater constraint then others.

## Q3: Do you agree with the proposed solution for this CP? Please provide your rationale.

## Q4: Do you believe the Working Group should consider a different solution? If so, please provide your rationale.

Legal Text

#### DCP 348 Proposed Legal Text

## The legal text is intended to provide a concise and clear commentary on the methodology applied for Flexible Connection scheme cost recovery. It will allow network users to assess the potential level of charges that will be applied to their connection scheme.

## The proposed changes made the following amendments to the legal text:

- Amend paragraph 1.7 of section 1 of Schedule 22 to include an additional bullet point to include the potential for costs associated with Flexible Connections to be included in the connection charge;

- New paragraphs 1.33 – 1.35 to be inserted into Section 1 of Schedule 22 to detail the Flexible Connection Scheme for Cost Recovery;

- All subsequent numbering from the newly inserted paragraphs 1.33 – 1.35 to be updated; and

- Three new definitions to be included in the glossary table in Section 1 of Schedule 22 for the following terms:

  - Flexible Connections;

  - Dedicated Scheme; and

  - Wide Area Scheme.

## Further consideration may be required to the definitions provided which have been replicated from the ENAs Open Network Terms and Definitions document.

## A copy of the proposed legal text can be found as Attachment 2.

Q5: Do you have any comments on the proposed legal text for DCP 348? Please provide your rationale.

Relevant Objectives

#### Assessment Against the DCUSA Objectives

## For a DCUSA Change Proposal to be approved it must be demonstrated that it better meets the DCUSA Objectives.

## The Proposer of DCP 348 believes that the proposed solution will better facilitate DCUSA General Objectives one and three and DCUSA Charging Objectives one, two, three and four. The rationale for these decisions can be found below.

| DCUSA General Objectives | Identified impact |
| --- | --- |
| 1 The development, maintenance and operation by the DNO Parties and IDNO Parties of efficient, co-ordinated, and economical Distribution Networks. | Positive |
| 2 The facilitation of effective competition in the generation and supply of electricity and (so far is consistent therewith) the promotion of such competition in the sale, distribution and purchase of electricity. | None |
| 3 The efficient discharge by the DNO Parties and IDNO Parties of obligations imposed upon them in their Distribution Licences. | Positive |
| 4 The promotion of efficiency in the implementation and administration of the DCUSA. | None |
| 5 Compliance with the Regulation on Cross-Border Exchange and Electricity and any relevant legally binding decisions of the European Commission and/or the Agency for the Co-operation of Energy Regulators. | None |

## DCUSA General Objective One is better facilitated as the implementation of the proposed change to the CCCM will provide clarity in relation to how each DNO and IDNO charges for flexible connections that serve to support the development, maintenance and operation of efficient, co-ordinated and economical Distribution Networks.

## DCUSA General Objective Three is better facilitated as implementing an update to each DNOs charging statement to reflect the proposed charging structure will ensure compliance with licence requirements to publish a CCCM that sets out the basis on which charges will be made for the provision of connections to the licensee’s Distribution System and be presented in such form and with such detail as would enable any person to make a reasonable estimate of the charges for which he would become liable in respect of the provision of connections to the licensee’s Distribution System.

| DCUSA Charging Objectives | Identified impact |
| --- | --- |
| 1 That compliance by each DNO Party with the Charging Methdologies facilitates the discharge by the DNO Party of the obligations imposed on it under the Act and by its Distribution Licence | Positive |
| 2 That compliance by each DNO Party with the Charging Methodologies facilitates competition in the generation and supply of electricity and will not restrict, distort, or prevent competition in the transmission or distribution of electricity or in participation in the operation of an Interconnector (as defined in the Distribtution Licences) | Positive |
| 3 That compliance by each DNO Party with the Charging Methodologies results in charges which, so far is reasonably practicable after taking account of implementation costs, reflect the costs incurred, or reasonably expected to be incurred, by the DNO Party in its Distribution Business | Positive |
| 4 That, so far is consistent with Clauses 3.2.1 to 3.2.3, the Charging Methodologies, so far as is reasonably practicable, properly take account of developments in each DNO Party’s Distribution Business | Positive |
| 5 That compliance by each DNO Party with the Charging Methodologies facilitates compliance with the Regulation on Cross-Border Exchange in Electricity and any relevant legally binding decisions of the European Commission and/or the Agency for the Co-operation of Energy Regulators. | None |
| 6 That compliance with the Charging Methodologies promoted efficency in its own implementation and administration | None |

## DCUSA Charging Objective One is better facilitated as updating the CCCM will ensure each DNOs obligation to prepare a charging statement that sets out the basis on which charges will be made for the provision of connections to the licensee’s Distribution System is maintained.

## DCUSA Charging Objective Two is better facilitated as updating the CCCM will ensure each DNOs methodology for charging for flexible connections is clear and transparent and will not restrict, distort, or prevent competition in the transmission or distribution of electricity.

## DCUSA Charging Objective Three is better facilitated as DNOs will be able to demonstrate how charges for recover of the cost of flexible connections are structured to reflect both specific and wider benefits to participants.

## DCUSA Charging Objective Four is better facilitated as the proposed change will ensure that the DNOs charging statements reflect developments in the way that connections are provided, particularly in relation to the implementation of flexible solutions as opposed to traditional reinforcement.

Q6: Which of the DCUSA Objectives does this CP better facilitate? Please provide supporting comments.

Impacts & Other Considerations

#### Does this Change Proposal impact a Significant Code Review (SCR) or other significant industry change projects, if so, how?

## This CP does not directly impact a Significant Code Review or other significant industry change projects. It does, however, support the Access SCR work. For clarity, the work undertaken by the ARAWG considers incremental improvements to the allocation of access rights and this access related work is directly relevant to but does not form part of the SCR.

#### Consumer Impact

## This CP does not have any impact on customers.

#### Environmental Impacts

## In accordance with DCUSA Clause 11.14.6, the proposer assessed whether there would be a material impact on greenhouse gas emissions if DCP 348 were implemented. The proposer did not identify any material impact on greenhouse gas emissions from the implementation of this CP.

#### Engagement with the Authority

## Ofgem were invited to join the Working Group but did not provide an observer to the Working Group.

Q7: Are you aware of any wider industry developments that may impact upon or be impacted by this CP?

Implementation

## The proposed implementation date for DCP 348 is immediately following Authority approval. To be able to efficiently make the changes to the DCUSA, it is suggested that this is 5 Working Days following receipt of the Authority approval.

Q8: The proposed implementation date for DCP 348 is 5 Working Days following Authority approval. Do you agree with the proposed implementation date? Please provide your rationale.

Consultation Questions

## The Working Group is seeking industry views on the following consultation questions:

| Number | Questions |
| --- | --- |
|  | Do you understand the intent of DCP 348? |
|  | Are you supportive of the principles of DCP 348? |
|  | ## Do you agree with the proposed solution for this CP? Please provide your rationale |
|  | Do you believe the Working Group should consider a different solution? If so, please provide your rationale. |
|  | Do you have any comments on the proposed legal text for DCP 348? Please provide your rationale. |
|  | Which of the DCUSA Objectives does this CP better facilitate? Please provide supporting comments. |
|  | Are you aware of any wider industry developments that may impact upon or be impacted by this CP? |
|  | The proposed implementation date for DCP 348 is the first DCUSA Release following Authority approval. Do you agree with the proposed implementation date? Please provide your rationale |

## Responses should be submitted using Attachment 1 to dcusa@electralink.co.uk no later than, XX XXX XX.

## Responses, or any part thereof, can be provided in confidence. Parties are asked to clearly indicate any parts of a response that are to be treated confidentially.

#### Attachments

Attachment 1 – DCP 348 Consultation Response Form

Attachment 2 – DCP 348 Proposed Legal Text

Attachment 3 – DCP 348 Change Proposal Form

http://www.chargingfutures.com/media/1327/non-scr-industry-led-access-pid-v11-final.pdf

http://www.energynetworks.org/assets/files/180723%20ON-PRJ-WS2%20-%20P3%20Terms%20and%20Definitions%20V1.1%20(published).pdf

https://www.ofgem.gov.uk/system/files/docs/2018/01/annex_a_-_ssen_modification_report_0.pdf

https://www.ofgem.gov.uk/system/files/docs/2018/04/decision_to_direct_ssen_not_to_make_a_modification.pdf