# DCP 216 EDCM FCP model r6818

Friday 6 February 2015

This document describes an EDCM/FCP tariff model developed for the DCP 216 working group.  The reference version is the April 2015 pre-release model published by the DCUSA Panel in December 2014.

## Structural changes

The layout, sheet names and table numbers have changed.  None of the calculations have changed.  Table 1 shows the mapping of items between the reference model and the DCP 216 model.

| Table 1 Mapping of items between the reference model and the DCP 216 model |  |
| --- | --- |
| Reference model | DCP 216 model |
| 911. FCP power flow modelling data (sheet 911) | Unchanged |
| 935. Tariff data (sheet 935) | Unchanged |
| 1100. Company, charging year, data version (sheet 11) | Unchanged |
| 1105. Diversity allowance between level exit and GSP Group (from CDCM table 2611) (sheet 11) | Unchanged |
| 1113. General inputs (sheet 11) | Unchanged |
| 1122. Forecast system simultaneous maximum load (kW) from CDCM users (from CDCM table 2506) (sheet 11) | Unchanged |
| 1131. Assets in CDCM model (£) (from CDCM table 2706) (sheet 11) | Unchanged |
| 1132. Override notional asset rate for 132kV/HV (£/kW) (sheet 11) | Unchanged |
| 1133. Maximum network use factor (sheet 11) | Unchanged |
| 1134. Minimum network use factor (sheet 11) | Unchanged |
| 1135. Loss adjustment factor to transmission for each network level (from CDCM table 2004) (sheet 11) | Unchanged |
| 1181. LDNO discounts (sheet 11) | Unchanged |
| 1182. CDCM end user tariffs (sheet 11) | Unchanged |
| 1183. LDNO volume data (sheet 11) | Unchanged |
| 4101. Notional asset rate (£/kW) (sheet Calc1) | 3917. Notional asset rate (£/kW) (sheet Fixed) |
| 4103. Power factor in 500 MW model (sheet Calc1) | 3403. Power factor in 500 MW model (sheet Param) |
| 4105. Loss factor to transmission (sheet Calc1) | 3607. Loss factor to transmission (sheet GenVol) |
| 4107. Active power equivalent of capacity adjusted to transmission (kW/kVA) (sheet Calc1) | 3909. Active power equivalent of capacity adjusted to transmission (kW/kVA) (sheet Fixed) |
| 4109. Notional asset rate for 132kV/HV (£/kW) (sheet Calc1) | 3919. Notional asset rate for 132kV/HV (£/kW) (sheet Fixed) |
| 4111. Notional asset rate adjusted (£/kW) (sheet Calc1) | 3921. Notional asset rate adjusted (£/kW) (sheet Fixed) |
| 4113. Capacity 132kV/HV (£/kVA) (sheet Calc1) | 3935. Capacity 132kV/HV (£/kVA) (sheet Fixed) |
| 4115. Capacity EHV circuits (£/kVA) (sheet Calc1) | 3931. Capacity EHV circuits (£/kVA) (sheet Fixed) |
| 4117. Capacity 132kV/EHV (£/kVA) (sheet Calc1) | 3929. Capacity 132kV/EHV (£/kVA) (sheet Fixed) |
| 4119. Capacity EHV/HV (£/kVA) (sheet Calc1) | 3933. Capacity EHV/HV (£/kVA) (sheet Fixed) |
| 4121. Capacity 132kV circuits (£/kVA) (sheet Calc1) | 3927. Capacity 132kV circuits (£/kVA) (sheet Fixed) |
| 4123. Total notional capacity assets (£/kVA) (sheet Calc1) | 3943. Total notional capacity assets (£/kVA) (sheet Fixed) |
| 4125. Maximum import capacity adjusted for part-year (kVA) (sheet Calc1) | 3601. Maximum import capacity adjusted for part-year (kVA) (sheet GenVol) |
| 4127. Total notional capacity assets (£) (sheet Calc1) | 3947. Total notional capacity assets (£) (sheet Fixed) |
| 4129. Non-exempt post-2010 export capacity (kVA) adjusted for part-year (sheet Calc1) | 3509. Non-exempt post-2010 export capacity (kVA) adjusted for part-year (sheet GenSR) |
| 4131. Non-exempt 2005-2010 export capacity (kVA) adjusted for part-year (sheet Calc1) | 3507. Non-exempt 2005-2010 export capacity (kVA) adjusted for part-year (sheet GenSR) |
| 4133. Non-exempt pre-2005 export capacity (kVA) adjusted for part-year (sheet Calc1) | 3505. Non-exempt pre-2005 export capacity (kVA) adjusted for part-year (sheet GenSR) |
| 4135. Chargeable export capacity adjusted for part-year (kVA) (sheet Calc1) | 3511. Chargeable export capacity adjusted for part-year (kVA) (sheet GenSR) |
| 4137. Exempt export capacity (kVA) adjusted for part-year (sheet Calc1) | 3503. Exempt export capacity (kVA) adjusted for part-year (sheet GenSR) |
| 4139. Sole use asset MEAV for demand (£) (sheet Calc1) | 3901. Sole use asset MEAV for demand (£) (sheet Fixed) |
| 4141. Demand sole use asset MEAV adjusted for part-year (£) (sheet Calc1) | 3905. Demand sole use asset MEAV adjusted for part-year (£) (sheet Fixed) |
| 4143. Total sole use assets for demand (£) (sheet Calc1) | 3923. Total sole use assets for demand (£) (sheet Fixed) |
| 4145. Super-red kW divided by kVA adjusted for part-year (sheet Calc1) | 3605. Super-red kW divided by kVA adjusted for part-year (sheet GenVol) |
| 4147. Peak-time active power consumption adjusted to transmission (kW/kVA) (sheet Calc1) | 3609. Peak-time active power consumption adjusted to transmission (kW/kVA) (sheet GenVol) |
| 4149. Consumption EHV circuits (£/kVA) (sheet Calc1) | 3941. Consumption EHV circuits (£/kVA) (sheet Fixed) |
| 4151. Consumption 132kV/EHV (£/kVA) (sheet Calc1) | 3939. Consumption 132kV/EHV (£/kVA) (sheet Fixed) |
| 4153. Consumption 132kV circuits (£/kVA) (sheet Calc1) | 3937. Consumption 132kV circuits (£/kVA) (sheet Fixed) |
| 4155. Total notional consumption assets (£/kVA) (sheet Calc1) | 3945. Total notional consumption assets (£/kVA) (sheet Fixed) |
| 4157. Total notional consumption assets (£) (sheet Calc1) | 3949. Total notional consumption assets (£) (sheet Fixed) |
| 4159. Sole use asset MEAV for non-exempt generation (£) (sheet Calc1) | 3903. Sole use asset MEAV for non-exempt generation (£) (sheet Fixed) |
| 4161. Generation sole use asset MEAV adjusted for part-year (£) (sheet Calc1) | 3907. Generation sole use asset MEAV adjusted for part-year (£) (sheet Fixed) |
| 4163. Generation sole use asset MEAV adjusted for part-year (£) (aggregate) (sheet Calc1) | 3925. Generation sole use asset MEAV adjusted for part-year (£) (aggregate) (sheet Fixed) |
| 4165. All notional assets in EDCM (£) (sheet Calc1) | 3951. All notional assets in EDCM (£) (sheet Fixed) |
| 4201. Non-DSM import capacity adjusted for part-year (kVA) (sheet Calc2) | 4001. Non-DSM import capacity adjusted for part-year (kVA) (sheet Dem1) |
| 4203. Location (sheet Calc2) | 3513. Location (sheet GenSR) |
| 4205. Parent location (sheet Calc2) | 3515. Parent location (sheet GenSR) |
| 4207. Grandparent location (sheet Calc2) | 3517. Grandparent location (sheet GenSR) |
| 4209. Grandparent group maximum demand (kVA) (sheet Calc2) | 4033. Grandparent group maximum demand (kVA) (sheet Dem1) |
| 4211. Grandparent group reactive factor, maximum demand (kVAr/kVA) (sheet Calc2) | 4035. Grandparent group reactive factor, maximum demand (kVAr/kVA) (sheet Dem1) |
| 4213. Grandparent group power factor, maximum demand (kW/kVA) (sheet Calc2) | 4039. Grandparent group power factor, maximum demand (kW/kVA) (sheet Dem1) |
| 4215. Unadjusted but capped red kVAr/agreed kVA (sheet Calc2) | 4003. Unadjusted but capped red kVAr/agreed kVA (sheet Dem1) |
| 4217. Parent location charge 1 £/kVA/year (sheet Calc2) | 3521. Parent location charge 1 £/kVA/year (sheet GenSR) |
| 4219. Parent group maximum demand (kVA) (sheet Calc2) | 4029. Parent group maximum demand (kVA) (sheet Dem1) |
| 4221. Parent group reactive factor, maximum demand (kVAr/kVA) (sheet Calc2) | 4031. Parent group reactive factor, maximum demand (kVAr/kVA) (sheet Dem1) |
| 4223. Parent group power factor, maximum demand (kW/kVA) (sheet Calc2) | 4037. Parent group power factor, maximum demand (kW/kVA) (sheet Dem1) |
| 4225. Grandparent location charge 1 £/kVA/year (sheet Calc2) | 3523. Grandparent location charge 1 £/kVA/year (sheet GenSR) |
| 4227. Super-red rate p/kWh (sheet Calc2) | 4045. Super-red rate p/kWh (sheet Dem1) |
| 4229. Super-red unit rate adjusted for DSM (p/kWh) (sheet Calc2) | 4053. Super-red unit rate adjusted for DSM (p/kWh) (sheet Dem1) |
| 4231. Location charge 1 £/kVA/year (sheet Calc2) | 3519. Location charge 1 £/kVA/year (sheet GenSR) |
| 4233. Import capacity charge p/kVA/day (sheet Calc2) | 4043. Import capacity charge p/kVA/day (sheet Dem1) |
| 4235. Import demand charge p/kVA/day (sheet Calc2) | 4041. Import demand charge p/kVA/day (sheet Dem1) |
| 4237. FCP capacity charge p/kVA/day (sheet Calc2) | 4047. FCP capacity charge p/kVA/day (sheet Dem1) |
| 4239. Import capacity charge from charge 1 (p/kVA/day) (sheet Calc2) | 4055. Import capacity charge from charge 1 (p/kVA/day) (sheet Dem1) |
| 4301. Total EDCM peak time consumption (kW) (sheet Calc3) | 3703. Total EDCM peak time consumption (kW) (sheet GenAgg) |
| 4303. EHV operating expenditure intensity (sheet Calc3) | 3401. EHV operating expenditure intensity (sheet Param) |
| 4305. HV and LV service asset levels (sheet Calc3) | 3413. HV and LV service asset levels (sheet Param) |
| 4307. HV and LV service assets in CDCM model (£) (sheet Calc3) | 3915. HV and LV service assets in CDCM model (£) (sheet Fixed) |
| 4309. EHV asset levels (sheet Calc3) | 3409. EHV asset levels (sheet Param) |
| 4311. EHV assets in CDCM model (£) (sheet Calc3) | 3911. EHV assets in CDCM model (£) (sheet Fixed) |
| 4313. HV and LV network asset levels (sheet Calc3) | 3411. HV and LV network asset levels (sheet Param) |
| 4315. HV and LV network assets in CDCM model (£) (sheet Calc3) | 3913. HV and LV network assets in CDCM model (£) (sheet Fixed) |
| 4317. Indirect cost charging rate (sheet Calc3) | 3957. Indirect cost charging rate (sheet Fixed) |
| 4319. Total demand sole use assets qualifying for DCP 189 discount (£) (sheet Calc3) | 4109. Total demand sole use assets qualifying for DCP 189 discount (£) (sheet DemAgg1) |
| 4321. Network rates charging rate (sheet Calc3) | 3955. Network rates charging rate (sheet Fixed) |
| 4323. Capacity eligible for GSP generation credits (kW) adjusted for part-year (sheet Calc3) | 3603. Capacity eligible for GSP generation credits (kW) adjusted for part-year (sheet GenVol) |
| 4325. Total CDCM peak time consumption (kW) (sheet Calc3) | 3701. Total CDCM peak time consumption (kW) (sheet GenAgg) |
| 4327. Estimated total peak-time consumption (kW) (sheet Calc3) | 3705. Estimated total peak-time consumption (kW) (sheet GenAgg) |
| 4329. Transmission exit charging rate (£/kW/year) (sheet Calc3) | 3707. Transmission exit charging rate (£/kW/year) (sheet GenAgg) |
| 4331. Generation credit (unrounded) p/kVA/day (sheet Calc3) | 3801. Generation credit (unrounded) p/kVA/day (sheet GenCap) |
| 4333. Has export charges? (sheet Calc3) | 3501. Has export charges? (sheet GenSR) |
| 4335. Chargeable export capacity adjusted for part-year (kVA) (total) (sheet Calc3) | 3709. Chargeable export capacity adjusted for part-year (kVA) (total) (sheet GenAgg) |
| 4337. Non-exempt post-2010 export capacity (kVA) adjusted for part-year (total) (sheet Calc3) | 3713. Non-exempt post-2010 export capacity (kVA) adjusted for part-year (total) (sheet GenAgg) |
| 4339. Non-exempt 2005-2010 export capacity (kVA) adjusted for part-year (total) (sheet Calc3) | 3711. Non-exempt 2005-2010 export capacity (kVA) adjusted for part-year (total) (sheet GenAgg) |
| 4341. Export capacity charge p/kVA/day (sheet Calc3) | 3715. Export capacity charge p/kVA/day (sheet GenAgg) |
| 4343. Export capacity charge (unrounded) p/kVA/day (sheet Calc3) | 3803. Export capacity charge (unrounded) p/kVA/day (sheet GenCap) |
| 4345. Net export capacity charge (or credit) (unrounded) (p/kVA/day) (sheet Calc3) | 3807. Net export capacity charge (or credit) (unrounded) (p/kVA/day) (sheet GenCap) |
| 4347. Export capacity rate (p/kVA/day) (sheet Calc3) | 3809. Export capacity rate (p/kVA/day) (sheet GenCap) |
| 4349. Direct cost charging rate (sheet Calc3) | 3953. Direct cost charging rate (sheet Fixed) |
| 4351. Generation fixed charge p/day (scaled for part year) (sheet Calc3) | 4027. Generation fixed charge p/day (scaled for part year) (sheet Dem1) |
| 4353. Generation credit (before exempt adjustment) p/kWh (sheet Calc3) | 3525. Generation credit (before exempt adjustment) p/kWh (sheet GenSR) |
| 4355. Generation credit (unrounded) p/kWh (sheet Calc3) | 3527. Generation credit (unrounded) p/kWh (sheet GenSR) |
| 4357. Export super-red unit rate (p/kWh) (sheet Calc3) | 3529. Export super-red unit rate (p/kWh) (sheet GenSR) |
| 4359. Net forecast EDCM generation revenue (£/year) (sheet Calc3) | 4107. Net forecast EDCM generation revenue (£/year) (sheet DemAgg1) |
| 4361. Revenue less costs and adjustments (£/year) (sheet Calc3) | 4111. Revenue less costs and adjustments (£/year) (sheet DemAgg1) |
| 4363. Other revenue charging rate (sheet Calc3) | 4113. Other revenue charging rate (sheet DemAgg1) |
| 4365. Demand revenue target pot (£/year) (sheet Calc3) | 4115. Demand revenue target pot (£/year) (sheet DemAgg1) |
| 4401. Direct costs on EDCM demand except through sole use asset charges (£/year) (sheet Calc4) | 4103. Direct costs on EDCM demand except through sole use asset charges (£/year) (sheet DemAgg1) |
| 4403. Indirect costs on EDCM demand (£/year) (sheet Calc4) | 4101. Indirect costs on EDCM demand (£/year) (sheet DemAgg1) |
| 4405. Number of super-red hours connected in year (sheet Calc4) | 4059. Number of super-red hours connected in year (sheet Dem1) |
| 4407. Revenue from demand charge 1 (£/year) (sheet Calc4) | 4117. Revenue from demand charge 1 (£/year) (sheet DemAgg1) |
| 4409. Additional amount to be recovered (£/year) (sheet Calc4) | 4119. Additional amount to be recovered (£/year) (sheet DemAgg1) |
| 4411. Network rates on EDCM demand except through sole use asset charges (£/year) (sheet Calc4) | 4105. Network rates on EDCM demand except through sole use asset charges (£/year) (sheet DemAgg1) |
| 4413. Proportion of residual to go into fixed adder (sheet Calc4) | 3407. Proportion of residual to go into fixed adder (sheet Param) |
| 4415. Residual residual (£/year) (sheet Calc4) | 4123. Residual residual (£/year) (sheet DemAgg1) |
| 4417. Network use factors (second set) (sheet Calc4) | 4005. Network use factors (second set) (sheet Dem1) |
| 4419. Capacity 132kV/HV (£/kVA) (sheet Calc4) | 4015. Capacity 132kV/HV (£/kVA) (sheet Dem1) |
| 4421. Capacity EHV circuits (£/kVA) (sheet Calc4) | 4011. Capacity EHV circuits (£/kVA) (sheet Dem1) |
| 4423. Capacity 132kV/EHV (£/kVA) (sheet Calc4) | 4009. Capacity 132kV/EHV (£/kVA) (sheet Dem1) |
| 4425. Capacity EHV/HV (£/kVA) (sheet Calc4) | 4013. Capacity EHV/HV (£/kVA) (sheet Dem1) |
| 4427. Capacity 132kV circuits (£/kVA) (sheet Calc4) | 4007. Capacity 132kV circuits (£/kVA) (sheet Dem1) |
| 4429. Second set of capacity assets (£/kVA) (sheet Calc4) | 4023. Second set of capacity assets (£/kVA) (sheet Dem1) |
| 4431. Consumption EHV circuits (£/kVA) (sheet Calc4) | 4021. Consumption EHV circuits (£/kVA) (sheet Dem1) |
| 4433. Consumption 132kV/EHV (£/kVA) (sheet Calc4) | 4019. Consumption 132kV/EHV (£/kVA) (sheet Dem1) |
| 4435. Consumption 132kV circuits (£/kVA) (sheet Calc4) | 4017. Consumption 132kV circuits (£/kVA) (sheet Dem1) |
| 4437. Second set of consumption assets (£/kVA) (sheet Calc4) | 4025. Second set of consumption assets (£/kVA) (sheet Dem1) |
| 4439. Non sole use notional assets subject to matching (£) (sheet Calc4) | 4061. Non sole use notional assets subject to matching (£) (sheet Dem1) |
| 4441. Total non sole use notional assets subject to matching (£) (sheet Calc4) | 4125. Total non sole use notional assets subject to matching (£) (sheet DemAgg1) |
| 4443. Annual charge on assets (sheet Calc4) | 4127. Annual charge on assets (sheet DemAgg1) |
| 4445. Amount to be recovered from adders ex costs (£/year) (sheet Calc4) | 4121. Amount to be recovered from adders ex costs (£/year) (sheet DemAgg1) |
| 4447. Factor for the allocation of capacity scaling (sheet Calc4) | 3405. Factor for the allocation of capacity scaling (sheet Param) |
| 4449. Marginal revenue effect of demand and indirect cost adders (sheet Calc4) | 4201. Marginal revenue effect of demand and indirect cost adders (sheet Dem2) |
| 4451. Total marginal revenue effect of demand adder (sheet Calc4) | 4305. Total marginal revenue effect of demand adder (sheet DemAgg2) |
| 4453. Fixed adder ex indirects application rate (sheet Calc4) | 4307. Fixed adder ex indirects application rate (sheet DemAgg2) |
| 4455. Data for capacity-based allocation of indirect costs (sheet Calc4) | 4203. Data for capacity-based allocation of indirect costs (sheet Dem2) |
| 4457. Total marginal effect of indirect cost adder (sheet Calc4) | 4301. Total marginal effect of indirect cost adder (sheet DemAgg2) |
| 4459. Indirect costs application rate (sheet Calc4) | 4303. Indirect costs application rate (sheet DemAgg2) |
| 4461. Capacity charge p/kVA/day (exit only) (sheet Calc4) | 4049. Capacity charge p/kVA/day (exit only) (sheet Dem1) |
| 4463. Import capacity charge before scaling (p/kVA/day) (sheet Calc4) | 4057. Import capacity charge before scaling (p/kVA/day) (sheet Dem1) |
| 4465. Capacity charge after applying indirect cost charge p/kVA/day (sheet Calc4) | 4401. Capacity charge after applying indirect cost charge p/kVA/day (sheet Dem3) |
| 4467. Capacity charge after applying fixed adder ex indirects p/kVA/day (sheet Calc4) | 4403. Capacity charge after applying fixed adder ex indirects p/kVA/day (sheet Dem3) |
| 4469. Demand scaling p/kVA/day (sheet Calc4) | 4405. Demand scaling p/kVA/day (sheet Dem3) |
| 4471. Total import capacity charge p/kVA/day (sheet Calc4) | 4407. Total import capacity charge p/kVA/day (sheet Dem3) |
| 4473. Has import charges? (sheet Calc4) | 3959. Has import charges? (sheet Fixed) |
| 4475. Super-red rate p/kWh (sheet Calc4) | 4409. Super-red rate p/kWh (sheet Dem3) |
| 4477. Import capacity charge p/kVA/day (sheet Calc4) | 4411. Import capacity charge p/kVA/day (sheet Dem3) |
| 4479. Demand fixed charge p/day (sheet Calc4) | 3961. Demand fixed charge p/day (sheet Fixed) |
| 4481. Adjustment to exceeded import capacity charge for DSM (p/kVA/day) (sheet Calc4) | 4051. Adjustment to exceeded import capacity charge for DSM (p/kVA/day) (sheet Dem1) |
| 4483. Exceeded import capacity charge (p/kVA/day) (sheet Calc4) | 4413. Exceeded import capacity charge (p/kVA/day) (sheet Dem3) |
| 4485. Export capacity charge (p/kVA/day) (sheet Calc4) | 3805. Export capacity charge (p/kVA/day) (sheet GenCap) |
| 4487. Export fixed charge (unrounded) p/day (sheet Calc4) | 3963. Export fixed charge (unrounded) p/day (sheet Fixed) |
| 4489. Export fixed charge p/day (sheet Calc4) | 3965. Export fixed charge p/day (sheet Fixed) |
| 4501. EDCM charge (sheet Results) | Unchanged |
| 4601. Horizontal information (sheet HSummary) | Unchanged |
| 4602. Total for all tariffs (£/year) (sheet HSummary) | Unchanged |
| 6001. Applicable discount for each tariff (sheet LDNORev) | Unchanged |
| 6002. LDNO discounted CDCM tariffs (sheet LDNORev) | Unchanged |
| 6003. Net revenue from discounted LDNO tariffs (£/year) (sheet LDNORev) | Unchanged |
| 6004. Total net revenue from discounted LDNO tariffs (£/year) (sheet LDNORev) | Unchanged |
| 6005. LDNO discounted CDCM tariffs (reordered) (sheet LDNORev) | Unchanged |
| 6101. Total EDCM revenue (£/year) (sheet Total) | Unchanged |

## Additional or modified input data

There are no additional input data or changes to input data.

## Additional or modified outputs

There are no additional output data or changes to output data.