| DCUSA Consultation |  | At what stage is this document in the process? |
| --- | --- | --- |
| DCP 319 & 321 Removal of residual charging for embedded generators in the CDCM & EDCM DCP 319 raised on 11 May 2018 DCP 321 raised on 12 June 2018 |  | 01 – Change Proposal. 02 – Consultation. 03 – Change Report. 04 – Change Declaration. |
| Purpose of Change Proposal: DCP 319 The intent of this change proposal is to amend the application of residual charging in respect of embedded generators. Purpose of Change Proposal: DCP 321 The intent of this Change Proposal is to amend the application of residual charging in respect of embedded generators in the EDCM. |  |  |
|  | The Workgroup recommends that this Change Proposal (CP) should: - proceed to Consultation ## Parties are invited to consider the questions set in section 9 and submit comments using the form attached as Attachment 1 to dcusa@electralink.co.uk by XX XXXX XX. DCP 319 and DCP 321 have been designated as a Part 1 Matter and a standard change. The Working Group will consider the consultation responses and determine the appropriate next steps for the progression of the Change Proposal. |  |
|  | DCP 319: Impacted Parties: embedded generators, suppliers, demand consumers to the extent that any revenue shortfall will be reflected as an increase to demand tariffs. DCP 321: Impacted Parties: Distribution Network Operators, embedded generators, Suppliers, demand consumers to the extent that any revenue shortfall will be reflected as an increase to demand tariffs. |  |
|  | DCP 319: Impacted Clauses: Schedule 16 – Various DCP 321: Impacted Clauses: Section 18 of DCUSA Schedules 17 and 18 |  |

| Contents 1. Summary 3 2 Governance 3 3 Why Change? 4 4 Working Group Assessment 4 5 Legal Text 5 6 Relevant Objectives 7 7 Impacts & Other Considerations 7 8 Implementation 9 9 Consultation Questions 9 Timetable The timetable for the progression of the CP is as follows: #### Change Proposal timetable Change Proposal timetable:. #### Activity; #### Date. Initial Assessment Report Approved by Panel; 08 March 2017. Consultation issued to Parties; 12 September 2017. Change Report issued to Panel; 13 December 2017. Change Report issued for Voting; 22 December 2017. Party Voting Ends; 17 January 2018. Change Declaration Issued to Parties; 19 January 2018. Authority Decision; 23 February 2018. Implementation; 01 April 2021. | Any questions? |
| --- | --- |
|  | Contact: Code Administrator |
|  | DCUSA@electralink.co.uk |
|  | 02074323000 |
|  | Proposer: Andrew Enzor |
|  | Andrew.Enzor@northernpowergrid.com |
|  | 07834 618994 |

- Summary

#### What?

## Changes are required to both the Common Distribution Charging Methodology (CDCM) and the Extra High Voltage (EHV) Distribution Charging Methodology (EDCM) to ensure that embedded generators (including storage sites) are not subject to residual charges for either demand or generation.

#### Why?

## Residual charges exist to ensure that distributors recover their allowed revenue. They generally recover sunk costs in respect of historic investments into network infrastructure for the purpose of serving demand customers. Embedded generators can provide a benefit to Distribution Network Operators (DNO)s by offsetting demand and so reducing the loading on, and subsequently deferring the need for reinforcement of, upstream assets. Embedded generators have an import capacity which ranges from a small capacity for start-up (of for example a wind turbine) through to a larger import capacity for the import element of a battery storage facility.

## In the CDCM, the current charging regime whereby the import element of an embedded generation connection is charged the ‘Half-Hourly (HH) metered’ tariff at the appropriate voltage (e.g. the import side of an Low Voltage (LV) connected embedded generator will be charged the ‘LV HH Metered’ tariff) exposes embedded generators to disproportionate costs in respect of residual charging for assets which the DNO has invested in predominantly for the purpose of serving demand customers, not embedded generators.

## Similarly in the EDCM, the current charging regime whereby the charges for the import element of an embedded generation connection includes an element of residual charging exposes embedded generators to disproportionate costs in respect of residual charging for assets which the DNO has invested in predominantly for the purpose of serving demand customers, not embedded generators.

#### How?

## In the CDCM, The detail for the solution should be developed by a working group, but it is initially envisaged that this change will be implemented by the introduction of a new set of tariffs which will be applied in respect of the demand element of embedded generation sites, which will mirror the existing LV HH metered, LV Sub HH metered and HV HH metered tariffs but with no ‘adder’ applied to unit rates (i.e. with no residual element).

## In the EDCM, The detail for the solution should be developed by a working group, but it is initially envisaged that this change will be implemented by making changes to section 18 of DCUSA Schedules 17 and 18 (clauses 18.18 to 18.21) to amend the application of residual charging for embedded generators.

- Governance

#### Justification for Part 1 Matter

## In accordance with paragraph 9.4 of DCUSA, both of these CPs are considered to be a Part 1 Matter because they :

## are likely to have a significant impact on the interests of electricity consumers; and

## are likely to have a significant impact on competition in generation.

## Requested Next Steps

## Following a review of the Consultation responses, the Working Group will work to agree the detail of the solution for DCP 319 & DCP 321.

- Why Change?

#### DCP 319

## Each export Meter Point Administration Number (MPAN) charged under the CDCM has an associated import MPAN, which is charged an import tariff. For example, a HH settled LV connected embedded generator will have an export MPAN on either the ‘LV Generation Intermittent’ or ‘LV Generation Non-Intermittent’ tariff (which attracts no residual charges) and an import MPAN on the ‘LV HH Metered’ tariff (which does attract residual charges). As a result, CDCM embedded generators are paying residual charges for import, with the level of residual charge paid varying dependent on the location of the embedded generator (i.e. within which DNO network the embedded generator is sited) and the size of the import (and specifically the unit volume imported since residual charging in the CDCM is applied exclusively to unit rates).

## Although the identified defect in the CDCM impacts all embedded generators, it has come to light primarily as a result of increased interest in connections for battery storage. More traditional forms of embedded generation generally have small import capacities, and so residual charging on the demand element is relatively small. Storage facilities have a much higher import capacity (generally equal to their export capacity) and so residual charging on the demand element represent a significant charge.

## If the change were not made, traditional forms of embedded generation will continue to be exposed to small demand residual charges as a result of their small import connections to the DNO network, whilst storage operators will face higher demand residual charges as a result of their much larger import connections to the DNO network. As a result, storage would not be competing on a level playing field with other forms of embedded generation.

## Any reduction in residual charges paid by embedded generators will be recovered from the remainder of CDCM demand customers. The demand from embedded generators is relatively small as a proportion of the total and hence the impact is expected to be noticeable but not substantial.

## An indication of the impact is shown in Table 1 below – this is based on published 2019/20 CDCM models, and significant assumptions on the level of demand associated with embedded generation, with these assumptions being summarised in the first part of the table, and the impact on core customer groups shown in the second part. Note – three new tariffs have been created for this purpose (named ‘xx HH Generation Import’) which would be the proposed tariffs to apply to the import element of embedded generators, and which exclude any residual charging element.

## Table 1 - Illustrative impact of removing residual charging for embedded generators

## As can be seen in Table 1, the impact on the import tariffs for embedded generators is significant, with average decreases in import charges for generators of 39%, 36% and 34% for LV, LV Sub and HV connected embedded generators respectively. The knock-on impact on other charges is smaller but not immaterial, with on average a 1% increase in other tariffs to make up the shortfall created.

## The impact is uniform for 13 DNO licensees, with decreases for the import tariffs for embedded generators and increases for all other tariffs, with the magnitude of the impact varying dependent on the magnitude of scaling in each DNO area and the volume of import assumed to be associated with embedded generation (which is proportional to the number of export MPANs in each region).

## The one remaining DNO licensee (the London region) sees the inverse of this impact, with import tariffs for embedded generators increasing and other tariffs decreasing – this is because scaling in the London region is negative, i.e. the underlying charges generated by the CDCM would generate revenue in excess of revenue allowances so underlying charges are ‘scaled’ down to allowed revenue. This means that the ‘pre-scaled’ tariffs (which are being applied to the import for embedded generators) are in fact higher than the scaled tariffs.

#### DCP 321

## Each embedded generator with charges calculated in the EDCM has an associated import capacity, with an import tariff calculated in respect of that import capacity. The export tariff for embedded generators does not attract any element of residual charging, whilst the associated import tariff attracts residual charging in the same way as the charges for a demand only customer. As a result, EDCM embedded generators are paying residual charges for import, with the level of residual charge paid varying dependent on:

## the size of the import;

## the unit volume expected to be imported by the customer in the relevant DNO’s peak super-red period (the forecast of which is used in the calculation of residual charges); and

## the level of residual revenue of the DNO licensee to whose network the generator is connected.

## Although the identified defect in the EDCM impacts all embedded generators, it has come to light primarily as a result of increased interest in connections for battery storage. More traditional forms of embedded generation generally have small import capacities, and so residual charging on the demand element is relatively small. Storage facilities have a much higher import capacity (generally equal to their export capacity) and so residual charging on the demand element represents a significant charge.

## If the change were not made, traditional forms of embedded generation will continue to be exposed to small demand residual charges as a result of their small import connections to the DNO network, whilst storage operators will face higher demand residual charges as a result of their much larger import connections to the DNO network. As a result, storage would not be competing on a level playing field with other forms of embedded generation.

## The solution developed will need to consider the impact on demand dominated customers with a small export capacity. If such customers were treated as embedded generators this would result in a distortion, with equivalent demand sites, one of which has a small onsite generator (and so not being subject to residual charging) and one which does not (and so is subject to residual charging), facing materially different charges. One option could be to remove residual charging on import capacities up to the level of any export capacity, with import capacity in excess of the export capacity still subject to residual charging. This would result in:

## a windfarm with, for example, 20,000kVA export capacity and 100kVA import capacity paying no residual charges (as the import capacity does not exceed the export capacity);

## a storage operator with, for example, 20,000kVA export capacity and 20,000kVA import capacity paying no residual charges (as the import capacity does not exceed the export capacity);

## an industrial site with onsite generation with, for example, 5,000kVA export capacity and 20,000kVA import capacity paying residual charges in respect of 15,000kVA of import capacity (the extent to which the import capacity exceeds the export capacity); and

## an industrial site with no onsite generation with, for example, 0kVA export capacity and 20,000kVA import capacity paying residual charges in respect of the full 20,000kVA import capacity.

## Any reduction in residual charges paid by EDCM embedded generators will be recovered from the remainder of EDCM demand customers.

- Working Group Assessment

#### DCP 319/321 Working Group Assessment

## The DCUSA Panel established a Working Group to assess both DCP 319 and DCP 321 together since they are cover the same issue, one affecting the CDCM and the other the EDCM. The Working Group consists of DNO, Supplier and IDNO representatives, a National Grid observer and an Ofgem observer. Meetings were held in open session and the minutes and papers of each meeting are available on the DCUSA website – www.dcusa.co.uk.

  - The Proposer provided an overview of DCP 319. He explained that residual charges exist to ensure that distributors recover their allowed revenue. They generally recover sunk costs in respect of historic investments into network infrastructure for the purpose of serving demand customers.

  - Embedded generators can provide a benefit to DNOs by offsetting demand and so reducing the loading on, and subsequently deferring the need for reinforcement of, upstream assets. Embedded generators have an import capacity which ranges from a small capacity for start-up (of for example a wind turbine) through to a larger import capacity for the import element of a battery storage facility. This current charging regime whereby the import element of an embedded generation connection is charged the ‘HH metered’ tariff at the appropriate voltage (e.g. the import side of an LV connected embedded generator will be charged the ‘LV HH Metered’ tariff) exposes embedded generators to disproportionate costs in respect of residual charging for assets which the DNO has invested in predominantly for the purpose of serving demand customers, not embedded generators.

  - The Proposer stated that the detail for the solution should be developed by a Working Group, but it is initially envisaged that this change will be implemented by the introduction of a new set of tariffs which will be applied in respect of the demand element of embedded generation sites, which will mirror the existing LV HH metered, LV Sub HH metered and HV HH metered tariffs but with no ‘adder’ applied to unit rates (i.e. with no residual element).

  - The Working Group noted that the issue over whether embedded generators (including storage sites) should be subject to residual charges for either demand or generation was discussed by the Distribution Charging Methodology Development Group. It was also highlighted that, within the Targeted Charging Review (TCR) consultation, Ofgem stated that storage should not pay for demand residual charging, and indicated that  this is now out of scope of the TCR and should be progressed through the standing code governance routes. Based on the latter is was agreed that a CP should be raised to accommodate this area.

  - The Proposer highlighted that this CP covers all generation, not just Storage to remove bias and avoid creating a distortion.

  - The Working Group discussed the wider scope of the CP to that of storage which Ofgem expressed an interest to progress though open governance and whether a formal exemption had been obtained from Ofgem since this is required if there is a Significant Code Review and was highlighted in the Ofgem TCR consultation document (Para 1.33).

  - <Ofgem comments on exemption and  the wider scope of the CP to include all generation>

## <add in anything specific to DCP321 here>

## Q1: Do you understand the intent of DCP 319 & DCP 321?

## Q2: Do you agree with the principles of DCP 319 & DCP 321?

  - A Working Group member mentioned that CP319 has complications. If a site has a large demand and has a small onsite generator, they should still pay, at least some, of the generation residual. The discussion broadened to potential solutions such as only the demand required to start the generator should be exempt from residual charges and opened the discussion to the examples highlighted in DCP321 (and covered under paragraph 3.12 above).

  - <further develop the thinking here and land on a solution>

## Q3:

  - <any specific areas of discussion resulting in a need for further information or resulting in a need to seek agreement from industry>

## Q4:

  - <any specific areas of discussion resulting in a need for further information or resulting in a need to seek agreement from industry>

## Q5:

  - <any specific areas of discussion resulting in a need for further information or resulting in a need to seek agreement from industry>

## Q6:

- Legal Text

## <to be developed further>

Q7: Do you have any comments on the legal text?

- Relevant Objectives

## Assessment Against the DCUSA Objectives

  - For a DCUSA Change Proposal to be approved it must be demonstrated that it better meets the DCUSA Objectives. There are five General DCUSA Objectives and six Charging Objectives. The full list of objectives is documented in the CP form provided as Attachment 4.

  - The Proposer as indicated that the objectives below are better facilitated. The Working Group seeks the industry’s thoughts on which DCUSA Charging are better facilitated.

DCP 319 & DCP 321

DCUSA General Objectives

General Objective 1 – N/A

DCP 319 & DCP 321

DCUSA Charging Objectives

Charging Objective 1 – that compliance by each DNO Party with the Charging Methodologies facilitates the discharge by the DNO Party of the obligations imposed on it under the Act and by its Distribution Licence

Charging Objective 2 – that compliance by each DNO Party with the Charging Methodologies competition in the generation and supply of electricity and will not restrict, distort, or prevent competition in the transmission or distribution of electricity or in participation in the operation of an Interconnector (as defined in the Distribution Licences)

Charging Objective 3 – that compliance by each DNO Party with the Charging Methodologies results in charges which, so far as is reasonably practicable after taking account of implementation costs, reflect the costs incurred, or reasonably expected to be incurred, by the DNO Party in its Distribution Business

Charging Objective 4 – that, so far as consistent with Clauses 3.2.1 to 3.2.3, the Charging Methodologies, so far as is reasonably practicable, properly take account of developments in each DNO Party’s Distribution Business

Q8: What DCUSA Charging Objectives are better facilitated by DCP319? Please provide your rationale.

Q9: What DCUSA Charging Objectives are better facilitated by DCP321? Please provide your rationale.

- Impacts & Other Considerations

  - Both change proposals have a significant crossover with Targeted Charging Review (TCR) Significant Code Review (SCR) which is currently being progressed by Ofgem, which is looking at residual charging more generally. Ofgem has indicated that it views this change as a ‘quick win’ which can be progressed in isolation whilst the TCR looks at the issue of residual charging more fundamentally.

#### Does this Change Proposal impact a Significant Code Review (SCR) or other significant industry change projects, if so, how?

## <to be discussed with Ofgem re wider scope>

#### Consumer Impacts

## < to be updated once an impact assessment has been completed if one consultation>

#### Environmental Impacts

## In accordance with DCUSA Clause 11.14.6, the Working Group assessed whether there would be a material impact on greenhouse gas emissions if DCP 319 and DCP 321 were implemented. The Working Group did not identify any material impact on greenhouse gas emissions from the implementation of this CP.

#### Engagement with the Authority

## Ofgem has been fully engaged throughout the development of DCP 319 & DCP 321 as an observer to the Working Group Meetings.

Q10: Are you aware of any wider industry developments that may impact upon or be impacted by this CP?

Q11: Are there any alternative solutions or unintended consequences that should be considered by the Working Group?

- Implementation

## DCP 319

## The proposed implementation date for DCP 319 was originally 01 April 2020. However, it was agreed that the implementation date should be amended to 01/04/2021 as the original April 2020 target implementation date is no longer feasible due to a need to gain Authority approval by the end of September 2018. The workplan goes beyond such a date.

## DCP 321

## It was agreed that both DCP 319 and DCP 321 should be delivered at the same time so the proposed implementation date is 01 April 2021.

Q12: Do you agree with both change proposals being implemented on the 01 April 2021? If not please provide your rationale

- Consultation Questions

## The Working Group is seeking industry views on the following consultation questions:

| Number | Questions |
| --- | --- |
|  | ## Do you understand the intent of DCP 319 & DCP 321? |
|  | ## Do you agree with the principles of DCP 319 & DCP 321? |
|  | Do you have any comments on the legal text? |
|  | What DCUSA Charging Objectives are better facilitated by DCP319? Please provide your rationale. |
|  | What DCUSA Charging Objectives are better facilitated by DCP321? Please provide your rationale. |
|  | Are you aware of any wider industry developments that may impact upon or be impacted by this CP? |
|  | Are there any alternative solutions or unintended consequences that should be considered by the Working Group? |
|  | Do you agree with both change proposals being implemented on the 01 April 2021? If not please provide your rationale |

## Responses should be submitted using Attachment 1 to dcusa@electralink.co.uk no later than, xx xxxx xx.

## Responses, or any part thereof, can be provided in confidence. Parties are asked to clearly indicate any parts of a response that are to be treated confidentially.

#### Attachments

Attachment 1 – DCP 319/321 Consultation Response Form

Attachment 3 – DCP 319 Change Proposal

Attachment 3 – DCP 321 Change Proposal