| DCUSA Change Report |  | At what stage is this document in the process? |
| --- | --- | --- |
| DCP 343 Use of a nominated calculation agent for the calculation of the LV mains split Raised on 12 February 2019 as a Standard Change |  | 01 – Change Proposal. 02 – Consultation. 03 – Change Report. 04 – Change Declaration. |
| Purpose of Change Proposal: The intent of DCP 343 is to remove the need for the procurement of a nominated calculation agent for the purpose of calculating the ‘LV mains split’ and to make minor associated housekeeping changes. |  |  |
|  | This document is issued in accordance with Clause 11.20 of the DCUSA, and details DCP 343 – Use of a nominated calculation agent for the calculation of the LV mains split. DCP 343 is considered a Part 2 matter and Parties are invited to consider the proposed amendment (Attachment 1) and submit their votes using the Voting form (Attachment 2) to dcusa@electralink.co.uk by XX XXX XX. The voting process for the proposed variation and the timetable of the progression of the Change Proposal (CP) through the DCUSA Change Control Process is set out in this document. If you have any questions about this paper or the DCUSA Change Process, please contact the DCUSA by email to dcusa@electralink.co.uk or telephone 020 7432 3011. |  |
|  | Parties Impacted: DNOs and IDNOs |  |
|  | Impacted Clauses: Clause 42 ‘Metering Equipment Data’ Schedule 29, paragraphs 33 and 34 |  |

| Contents 1 Executive Summary 3 2 Governance 3 3 Why Change? 4 4 Solution 5 5 Relevant Objectives 9 6 Impacts & Other Considerations 10 7 Implementation 10 8 Legal Text 11 9 Code Specific Matters 11 10 Recommendations 11 Timetable The timetable for the progression of the CP is as follows: #### Change Proposal timetable. #### Activity; #### Date. Initial Assessment Report Approved by Panel; 20 February 2019. Consultation issued to Parties; 07 May 2019. Change Report approved by Panel; XX XXX XX. Change Report issued for Voting; XX XXX XX. Party Voting Closes; XX XXX XX. Change Declaration Issued to Parties; XX XXX XX. Implementation; First DCUSA release following Party approval. | Any questions? |
| --- | --- |
|  | Contact: Code Administrator |
|  | DCUSA@electralink.co.uk |
|  | 020 7432 3011 |
|  | Proposer: Andrew Enzor |
|  | Andrew.enzor@northernpowergrid.com |
|  | 07834 61994 |

- Executive Summary

#### What?

## Schedule 29 details the calculation of Licenced Distribution Network Operator (LDNO) discounts. The calculation requires a ‘HV split’ and ‘LV mains split’ percentage to be determined. Clause 42.13 requires DNOs to annually procure a nominated calculation agent (NCA) for the calculation of those percentages.

  - The ‘HV split’ value used is an industry average. The calculation uses commercially sensitive input data from each DNO and LDNO. The NCA is used to ensure that such data remains confidential.

  - The ‘LV mains split’ value used is specific to each DNO licensee. DNOs have access to all of the input data required for the calculation so there is no need for the NCA.

#### Why?

## The use of an NCA is inefficient. The NCA typically charges for its services, and submissions to the NCA are required from all DNOs and LDNOs. All of the information required for the ‘LV mains split’ is available to DNOs, so the input values required can be prepared in the same way as all other inputs to the charging models. There is no need for an NCA to be used.

#### How?

## Clause 42.12 and 42.13 require DNOs to procure an NCA and for DNOs and LDNOs to provide data to that NCA for the calculation of both the ‘HV split’ and ‘LV mains split’. Those clauses will be amended to apply only the calculation of the ‘HV split’.

  - Paragraphs 33 and 34 of Schedule 29 detail the calculation which the NCA is required to perform to determine the ‘LV mains split’. Those paragraphs will be amended to require DNOs to carry out this calculation and will be clarified to ensure commonality is maintained without the use of an NCA.

- Governance

#### Justification for Part 2 Matter

## This Change Proposal affects Schedule 29 which is part of the charging methodologies but there will be no impact on LDNO discounts determined in accordance with Schedule 29 and so no impact on all-the-way tariffs. Hence, it is not considered to meet any of the criteria for a Part 1 Matter and should be treated as a Part 2 Matter.

#### Requested Next Steps

## The Panel considered that the Working Group has carried out the level of analysis required to enable Parties to understand the impact of the proposed amendment and to vote on DCP 343.

## The DCUSA Panel recommends that this CP:

- Be issued to Parties for Voting.

- Why Change?

#### Background of DCP 343

Use of the NCA

## Clause 42.13 requires DNOs to annually procure an NCA for the calculation of the ‘HV split’ and ‘LV mains split’ percentages. The ‘LV mains split’ value is used is specific to each DNO licensee. The calculation requires:

- The total length of a DNO’s LV mains used by LV-connected embedded networks which is currently provided to the NCA by DNOs based on information held in DNO’s internal systems;

- The number of end users on LV-connected embedded networks within a DNO’s Distribution Services Area which is currently provided to the NCA by LDNOs; and

- The average length of LV mains by LV end users on the DNO Party’s own LV network which is currently provided to the NCA by DNOs based on information on network lengths submitted to Ofgem in the most recent Regulatory Reporting Pack (RRP) and the DNO’s total LV customer count.

## The only input data which is not provided by DNOs is the count of end users on LV-connected embedded networks. But DNOs have access to this information in data received through Settlement for invoicing purposes. This is received on the D0314 ‘Non-Half Hourly Embedded Network DUoS Report’ which includes customer counts by line loss class (LLFC). The LLFC encodes the end customer type and DNO to LDNO boundary voltage. Provided the legal text is clear on which information the DNO should use for deriving customer counts then there is no need for the NCA.

## The customer counts used should align with the network length data used. This is because the customer counts and network lengths are used together to determine the average network length per customer – if the two do not align the average will be distorted. The network length data is taken from the latest RRP, so is as at the end of the most recently completed regulatory year. The customer counts should also be taken as at that date. Whether the precise D0314 flow to be used is specified (i.e. which reconciliation) has been considered by the Working Group and more detail on this can be found in section 4 below.

## Under current arrangements, each LDNO submits its own customer numbers to the NCA. The Working Group have considered whether there is a need for DNOs to confirm the customer counts used with each LDNO, or whether an LDNO should have the option to request the customer counts which have been used for their own portfolio. As drafted, the proposed legal text does not make such a provision it is the total LDNO customer count across all licensees which impacts the ‘LV mains split’ calculated and so the Proposer assets that there is limited value in each LDNO having sight of the customer counts used for their portfolio. The Working Group assessment of this can be found in section 4 below.

Housekeeping Changes

## Clauses 42.12 and 42.13 refer to the definitions ‘HV split’ and ‘LV mains split’ in Schedule 16. Since the implementation of DCP 234 ‘Merging the PCDM and extended PCDM’ these values have been defined in Schedule 29. Hence this reference will be updated.

## Clauses 42.12 and 42.13 require DNO and LDNOs to provide data to the NCA in October. The Proposer suggests that this is unnecessarily restrictive; hence will be amended to ‘no later than the end of October’.

- Solution

#### DCP 343 Assessment

## The DCUSA Panel established a Working Group to assess DCP 343. This Working Group consists of DNO and IDNO representatives and an Ofgem observer. Meetings were held in open session and the minutes and papers of each meeting are available on the DCUSA website – www.dcusa.co.uk

## The Working Group approached the NCA used for 2020/21 charges to understand the cost savings associated with requiring the NCA to calculate the HV Split only. The current NCA has confirmed that the work is fairly evenly split between the LV Split and the HV Split calculations. After taking away fixed overheads, is is assumed that there would be an approximate 40% cost saving for removing the LV component of the work that the NCA conducts.

## Under current arrangements for the calculation of the ‘LV Split’, LDNOs are required to provide the NCA with their customer counts for customers connected to LDNO networks with DNO to LDNO boundary at LV. DNOs receive customer count and usage data for LDNO customers via the D0314 ‘Non Half Hourly Embedded Network DUoS Report’ flow over the Data Transfer Network (DTN). This data is broken down by customer type and DNO to LDNO boundary, (based on the Line Loss Factor Class (LLFC) assigned by the LDNO). So DNOs already have access to the count of LDNO customers on LDNO networks with DNO to LDNO boundary at LV, which could be used to calculate the LV split. The Working Group sought Party views on whether this would be the most appropriate source of information for the purposes of calculating the LV Split. More information can be found in section x below.

## The current arrangements are not clear on the date at which customer counts should be taken. Given the customer counts are used to calculate the average network length per customer, customer count and network length data should be taken at the same point in time. Network data is required to be taken from the latest RRP submission, so is as at the end of the most recently completed regulatory year. Hence the Working Group thinks that customer counts should also be taken from the D0314 relating ot the most recent March 31st.

## The Working Group also discussed the need for LDNOs to check the data that the DNOs would be using for the calculation of the LV Split. Currently, LDNOs provide the data so have visibility of the customer counts used for their own portfolio. If this were amended to require DNOs to carry out the full calculation ‘in-house’, LDNOs would lose visibility of the customer counts used for their portfolio.

## The LV Split is determined based on the total LDNO customer count, not the count for an individual LDNOs portfolio. Hence LDNOs having visibility of their customer count is of limited value, as they will not have equivalent data for all other LDNOs. LDNOs also have access to the same data DNOs receive via the D0314 and the DNOs invoice based on that D0314, both of which detail the customer counts.

## Nonetheless, the Working Group discussed this slight loss of visibility, and considered that it may be appropriate to either require:

- DNOs to provide the customer count used for each LDNO to that LDNO for checking, along with the combined total for all LDNOs for information only;

- Report to each LDNO the customer count used for that LDNO and the combined total for all LDNOs for information only; or

- Report to each LDNO the customer count used for that LDNO and the combined total for all LDNOs if requested.

## The Proposer considers that the value of LDNOs having access to the customer count used for their own portfolio is low, and so supports option (c). The Working Group agreed with the Proposer and this was reflected in the draft legal text that was provided with the Working Group’s consultation document (attachment 4).

## The proposed solution for this CP is to remove the need for the NCA to calculate the LV Split. Instead, DNOs will be required to carry out the calculation based on the information they currently provide to the NCA for network lengths and DNO customer counts, alongside LDNO customer counts taken from the D0314 as at the most recent March 31st.

#### DCP 343 Consultation

## Working Group members sought Party views on the proposed solution and issued a consultation to all DCUSA Contract Managers on 07 May 2019. A copy of the consultation document alongside the Party responses and Working Group conclusions can be found as Attachment 4.

## The DCP 343 consultation document was seeking Party views on the proposed solution and draft legal text. There were eight respondents to the consultation consisting of DNOs and IDNOs.

Q1: Do you understand the intent of DCP 343?

## All respondents to this question agreed that they understood the intent of DCP 343.

Q2: Are you supportive of the principles of DCP 343?

## The majority of respondents to this question were fully supportive of the principles of DCP 343, however there were two respondents who were not.

## One respondent acknowledged that the use of an external NCA may be inefficient and costly, they were not wholly supportive of the proposed changed. The respondent voiced concerns regarding why the NCA was introduced for this purpose in the first place if the DNOs can complete the calculation themselves. There was also a question raised regarding any potential disadvantages for the LDNOs through the loss of independent adjudication.

## A further respondent was not supportive of the principles of DCP 343 as they believe that the proposed cost saving by not using the NCA will be negated by the need for the DNOs to complete the work themselves.

Q3: Do Parties agree that the D0314 flow relating to the most recent March 31st is the most appropriate source customer count data for the LV Split calculation? Please provide your rationale.

## It was noted that seven of the eight respondents believe that the D0314 data flow would be the most appropriate source of the customer count data needed to complete the LV Split calculation. One respondent suggested that this information should come from the Regulatory Reporting Pack (RRP) information that is submitted to Ofgem each year.

Q4: Do you agree that LDNOs should have the option to request the customer count used by a DNO for their portfolio? Please provide any comments.

## There were mixed responses to this question whereby some respondents thought that it was a good idea for the LDNOs to be able to request the data used by the DNO to conduct the calculation, however, some respondents did not see the value that this would add.

Q5: Do you agree with the proposed solution for this CP? Please provide your rationale.

## It was noted that seven of the respondents agree with the solution put forward by the Working Group. One respondent voiced that they did not think there was a problem and so there is no need to change the current arrangements. A further respondent re-highlighted their concerns raised in question two.

Q6: Do you believe the Working Group should consider a different solution? If so, please provide your rationale.

## No respondents to this question of the consultation provided a different solution for the Working Group to consider.

Q7: Do you have any comments on the proposed legal text for DCP 343? Please provide your rationale.

## Five respondents to the consultation did not provide any comments on the proposed legal text for DCP 343. Three other respondents provided comments for the Working Group to consider and the finalised legal text can be found in Section 8 below.

Q8: Which of the DCUSA Charging Objectives does this CP better facilitate? Please provide supporting comments.

## Seven of the eight respondents believe that DCUSA Charging Objective Six will be better facilitated by the implementation of DCP 343. However, one respondent believes that there would be a negative impact on DCUSA Charging Objective Six as they believe that CP creates an additional process and complication.

Q9: Are you aware of any wider industry developments that may impact upon or be impacted by this CP?

## The majority of respondents to the consultation did not believe that there were any wider impacts that needed to be considered by the Working Group. However, one respondent believes that the Working Group should consider the current Access and Forward-Looking Charging Significant Code Review as this will likely change the current charging methodologies.

Q10: The proposed implementation date for DCP 343 is the first DCUSA Release following Party approval. Do you agree with the proposed implementation date? Please provide your rationale.

## All respondents who provided a response to this question agreed that they were happy with the proposed implementation date for DCP 343.

#### Working Group Conclusions

## The Working Group concluded that…

- Relevant Objectives

#### Assessment against the DCUSA Objectives

## For a DCUSA Change Proposal to be approved it must be demonstrated that it better meets the DCUSA Objectives.

## The Proposer of DCP 343 believes that the proposed solution will better facilitate DCUSA Charging Objective six as the change will reduce the costs incurred by DNOs in procuring the NCA and improve efficiency for both DNOs and LDNOs by enabling DNOs to carry out the calculation of the ‘LV mains split’ internally.

## The Working Group sought Party views on which of the DCUSA Charging Objectives they thought would be better facilitated by the implementation of DCP 343. A summary of the Party views can be found in section x above and in the consolidated consultation responses document found in attachment 4.

## The Working Group unanimously agree with the Proposer of the Change Proposal that DCUSA Charging Objective six would be better facilitated by the implementation of the DCP 343 solution.

| DCUSA General Objectives | Identified impact |
| --- | --- |
| 1 That compliance by each DNO Party with the Charging Methodologies failitates the discharge by the DNO Party of the obligations imposed on it under the Act and by its Distribution Licence | None |
| 2 That compliance by each DNO Party with the Charging Methodologies facilitates competition in the generation and supply of electricity and will not restrict, distort, or prevent competition in the transmission or distribution of electricity or in participation in the operation of an Interconnector (as defined in the Distribution Licences) | None |
| 3 That compliance by each DNO Party with the Charging Methodologies results in charges which, so far as is reasonably practicable after taking account of implementation costs, reflect the costs incurred, or reasonably expected to be incurred, by the DNO Party in its Distribution Business | None |
| 4 That, so far is consistent with Clauses 3.2.1 to 3.2.3, the Charging Methodologies, so far as is reasonably practicable, properly take account of developments in each DNO Party’s Distribution Business | None |
| 5 That compliance by each DNO Party with the Charging Methodologies, facilitates compliance with the Regulation on Cross-Border Exchange in Electricity and any relevant legally binding decisions of the European Commission and/or the Agency for the Co-operation of Energy Regulators | None |
| 5 That compliance with the Charging Methodologies promotes efficiency in its own implementation and administration | Positive |

- Impacts & Other Considerations

## This Change Proposal will have a positive impact on DNOs by reducing the costs incurred in procuring the NCA. It will also have a positive impact on LDNOs by reducing the amount of data required to be provided to the NCA.

#### Does this Change Proposal impact a Significant Code Review (SCR) or other significant industry change projects, if so, how?

## There is no impact on any existing or anticipated SCR.

#### Consumer Impacts

## This Change Proposal does not have any impact on customers.

#### Environmental Impacts

## In accordance with DCUSA Clause 11.14.6, the Proposer assessed whether there would be a material impact on greenhouse gas emissions if DCP 343 were implemented. The Proposer did not identify any material impact on greenhouse gas emissions from the implementation of this Change Proposal.

#### Engagement with the Authority

## Ofgem were fully involved with the development of this Change Proposal as an observer to the Working Group.

- Implementation

## It is suggested that this Change Proposal should be implemented on the first DCUSA Release following Party approval and as soon as possible to avoid the inefficient use of an NCA for the calculation of 2021/22 charges.

- Legal Text

## The proposed changes to Clauses 42.12, 42.13 and paragraphs 33 and 34 of Schedule 29 can be found as attachment 1.

## The legal text removes the references to the NCA for the calculation of the ‘LV mains split’. Changes are made to the specification of data required for that calculation in Schedule 29 to ensure commonality across all DNOs without the use of an NCA.

- Code Specific Matters

#### Modelling Specification Documents

## Not applicable.

#### Reference Documents

## Not applicable.

- Recommendations

#### Panel’s Recommendation

## The Panel approved this Change Report on XX XXX XX. The Panel considered that the Working Group has carried out the level of analysis required to enable Parties to understand the impact of the proposed amendment and to vote on DCP 343.

## The Panel have recommended this report be issued for voting and DCUSA Parties should consider whether they wish to submit views regarding this CP. The Voting Form can be found in Attachment 2.

#### Attachments

- Attachment 1 – DCP 343 Legal Text

- Attachment 2 – DCP 343 Voting Form

- Attachment 3 – DCP 343 Change Proposal

- Attachment 4 – DCP 343 Consultation Documents

Details of the flow can be found on the MRASCo website: https://dtc.mrasco.com/