## Index
Index for Electricity North West in 2017/2018 (December 2015)
This document, model or dataset has been prepared by or for Reckon LLP on the instructions of the DCUSA Panel or one of its working
groups. Only the DCUSA Panel and its working groups have authority to approve this material as meeting their requirements.
Reckon LLP makes no representation about the suitability of this material for the purposes of complying with any licence
conditions or furthering any relevant objective.
UNLESS STATED OTHERWISE, THIS WORKBOOK IS ONLY A PROTOTYPE FOR TESTING PURPOSES AND ALL THE DATA IN THIS MODEL ARE FOR ILLUSTRATION ONLY.
This workbook is structured as a sequential series of named and numbered tables. There is a list of
tables below, with hyperlinks. Above each calculation table, there is a description of the calculations
and hyperlinks to tables from which data are used. Hyperlinks point to the first relevant table column
heading in the relevant table. Scrolling up or down is usually required after clicking a hyperlink in
order to bring the relevant data and/or headings into view. Some versions of Microsoft Excel can
display a "Back" button, which can be useful when using hyperlinks to navigate around the workbook.
Copyright 2009-2012 The Competitive Networks Association and others. Copyright 2012-2016 Franck Latrémolière, Reckon LLP and others.
The code used to generate this spreadsheet includes open-source software published at https://github.com/f20/power-models.
Use and distribution of the source code is subject to the conditions stated therein. |  | Colour coding
Any redistribution of this software must retain the following disclaimer: |  | Input data
THIS SOFTWARE IS PROVIDED BY AUTHORS AND CONTRIBUTORS "AS IS" AND ANY EXPRESS OR IMPLIED WARRANTIES, INCLUDING, BUT NOT LIMITED |  | Constant value
TO, THE IMPLIED WARRANTIES OF MERCHANTABILITY AND FITNESS FOR A PARTICULAR PURPOSE ARE DISCLAIMED. IN NO EVENT SHALL AUTHORS OR |  | Formula: calculation
CONTRIBUTORS BE LIABLE FOR ANY DIRECT, INDIRECT, INCIDENTAL, SPECIAL, EXEMPLARY, OR CONSEQUENTIAL DAMAGES (INCLUDING, BUT NOT |  | Formula: copy
LIMITED TO, PROCUREMENT OF SUBSTITUTE GOODS OR SERVICES; LOSS OF USE, DATA, OR PROFITS; OR BUSINESS INTERRUPTION) HOWEVER CAUSED |  | Unused cell in input data table
AND ON ANY THEORY OF LIABILITY, WHETHER IN CONTRACT, STRICT LIABILITY, OR TORT (INCLUDING NEGLIGENCE OR OTHERWISE) ARISING IN |  | Unused cell in other table
ANY WAY OUT OF THE USE OF THIS SOFTWARE, EVEN IF ADVISED OF THE POSSIBILITY OF SUCH DAMAGE. |  | Unlocked cell for notes
Worksheet | Table | Type of table
Input | 1300. Company, charging year, data version | Input data
Input | 1301. DNO LV mains usage | Input data
Input | 1302. DNO HV mains usage | Input data
Input | 1310. DPCR4 aggregate allowances (£) | Input data
Input | 1315. Analysis of allowed revenue for 2007/2008 (£/year) | Input data
Input | 1321. Units distributed (GWh) | Input data
Input | 1322. Losses (GWh) | Input data
Input | 1328. DCP 117/DCP 231 additional annual income (£) | Input data
Input | 1329. Net new connections and reinforcement costs (£) | Input data
Input | 1330. Allocated costs (£/year) | Input data
Input | 1331. Assets in CDCM model (£) | Input data
Input | 1332. All notional assets in EDCM (£) | Input data
Input | 1335. Total costs (£/year) | Input data
Input | 1355. MEAV data | Input data
Input | 1369. Net capex analysis pre-DCP 118 (£) | Input data
Input | 1380. Net capex: ratio of LV services to LV total | Input data
CDCM | 1401. Allocated costs after DCP 117 adjustments | Combine tables
CDCM | 1402. Expenditure data | Composite
CDCM | 1403. Allocation rules | Fixed data
CDCM | 1404. MEAV calculations | Composite
CDCM | 1405. MEAV by network level (£) | Sum-product calculation
CDCM | 1406. MEAV percentages | Calculation
CDCM | 1407. EHV asset levels | Fixed data
CDCM | 1408. Proportion of EHV notional assets which are in the CDCM | Calculation
CDCM | 1409. Proportion to be kept | Combine tables
CDCM | 1410. MEAV percentages after DCP 118 exclusions | Calculation
CDCM | 1411. EHV only | Fixed data
CDCM | 1412. LV only | Fixed data
CDCM | 1413. All allocation percentages | Calculation
CDCM | 1414. Complete allocation | Calculation
CDCM | 1415. Complete allocation: LV total share | Copy cells
CDCM | 1416. MEAV: ratio of LV services to LV total | Calculation
CDCM | 1417. Allocation of LV to LV services | Calculation
CDCM | 1418. Allocation to LV services | Calculation
CDCM | 1419. Allocation to LV mains | Calculation
CDCM | 1420. Complete allocation split between LV mains and services | Combine tables
CDCM | 1421. Complete allocation, adjusted for regulatory capitalisation | Calculation
CDCM | 1422. Total expensed for each level | Cell summation
CDCM | 1423. Expensed proportions | Calculation
CDCM | 1424. Net capex percentages | Special calculation
CDCM | 1425. Net capex percentages after DCP 118 exclusions | Calculation
CDCM | 1426. Net capex: LV total share | Copy cells
CDCM | 1427. Allocation to LV services | Calculation
CDCM | 1428. Allocation to LV mains | Calculation
CDCM | 1429. Net capex allocation split between LV mains and services | Combine tables
CDCM | 1430. Proportion of price control revenue attributed to opex | Calculation
CDCM | 1431. To be deducted from revenue and treated as "upstream" cost | Calculation
CDCM | 1432. Revenue to be allocated between network levels (£/year) | Calculation
CDCM | 1433. Adjustment factors to LV (kWh/GWh) | Special calculation
CDCM | 1434. Units flowing, loss adjusted to LV (kWh) | Sum-product calculation
CDCM | 1435. Units at LV | Copy cells
CDCM | 1436. Allocation to LV services | Copy cells
CDCM | 1437. Allocation to LV mains | Copy cells
CDCM | 1438. Units | Combine tables
CDCM | 1439. p/kWh split (DCP 117 modified) | Calculation
CDCM | 1440. p/kWh not split | Calculation
CDCM | 1441. Allocated proportion | Calculation
CDCM | 1442. Allocations to network levels | Copy cells
CDCM | 1443. Complete allocation, zeroing out negative numbers | Calculation
CDCM | 1444. Direct costs | Sum-product calculation
CDCM | 1445. Total costs | Cell summation
CDCM | 1446. Direct cost proportion for each network level | Calculation
CDCM | 1447. HV and LV direct cost proportions | Copy cells
EDCM | 1501. All allocation percentages | Calculation
EDCM | 1502. Complete allocation | Calculation
EDCM | 1503. Complete allocation, zeroing out negative numbers | Calculation
EDCM | 1504. Direct costs | Sum-product calculation
EDCM | 1505. Total costs | Cell summation
EDCM | 1506. Direct cost proportion for each network level | Calculation
EDCM | 1507. Splitting factors | Special calculation
EDCM | 1508. Splitting factor 132kV | Copy cells
EDCM | 1509. Splitting factor EHV | Copy cells
EDCM | 1510. Network levels not covered by DNO network | Combine tables
EDCM | 1511. MEAV calculations | Composite
EDCM | 1512. MEAV by network level (£) | Sum-product calculation
EDCM | 1513. MEAV percentages | Calculation
EDCM | 1514. Complete allocation, adjusted for regulatory capitalisation | Calculation
EDCM | 1515. Total expensed for each level | Cell summation
EDCM | 1516. Expensed proportions | Calculation
EDCM | 1517. p/kWh split (DCP 117 modified) | Calculation
EDCM | 1518. p/kWh not split | Calculation
EDCM | 1519. Allocated proportion | Calculation
EDCM | 1520. Allocation to EHV network levels | Copy cells
EDCM | 1521. Allocation between EHV network levels | Calculation
EDCM | 1522. Extended allocation | Combine tables
EDCM | 1523. Proportion of costs not covered by DNO network | Sum-product calculation
EDCM | 1524. Network levels not covered by all-the-way tariff | Fixed data
EDCM | 1525. Proportion of costs not covered by all-the-way tariff | Sum-product calculation
EDCM | 1526. LDNO discounts (EDCM) | Calculation
Results | 1601. LDNO discounts (CDCM) ⇒1037. For CDCM model | Composite
Results | 1602. Discount p/kWh ⇒1039. For Model G | Special calculation
Results | 1603. LDNO discounts (EDCM) ⇒1181. For EDCM model | Special calculation
Results | 1604. Discount p/kWh ⇒1184. For EDCM model | Special calculation
Technical model rules and version control
---
AdditionalRules:
- calcUnits: 1
dcp071: 1
dcp096: 1
dcp117: 2014
edcm: only
meav: 1
netCapex: 1
ppuCalc: 1
suffix: EDCM
PerlModule: ModelM
calcUnits: 1
colour: orange
dcp071: 1
dcp095: 1
dcp096: 1
dcp117: 2014
dcp118: 1
extraNotice: "This document, model or dataset has been prepared by or for Reckon LLP on the instructions of the DCUSA Panel or one of its working\r\ngroups. Only the DCUSA Panel and its working groups have authority to approve this material as meeting their requirements.\r\nReckon LLP makes no representation about the suitability of this material for the purposes of complying with any licence\r\nconditions or furthering any relevant objective."
meav: 1
netCapex: 1
ppuCalc: 1
protect: 1
revisionText: r7340
suffix: CDCM
template: '%-dcp266+'
validation: lenientnomsg
'~codeValidation':
ModelM/Allocation.pm: 3d11776d94b8af73509fe1b1105740434214db97
ModelM/Dcp095.pm: f562882da75794fe0abc40a766c052927023d069
ModelM/Dcp118.pm: e25f866f4905f437dbfa817334171de73a23880e
ModelM/Edcm.pm: 82108f03f5e184028a0eda571bf6769f93a5ce86
ModelM/Expenditure.pm: 1e451859d6d26b1ea4ca7144ae56d83b382bbd03
ModelM/Inputs.pm: 1da20283132050bbba06a3a242058ac3057b8431
ModelM/Master.pm: 32cf7a3f07c0fc531b64c30ec3e32fd330fd9bd4
ModelM/Meav.pm: c9988baf089fe3fdbb7739eabac5426f851e7077
ModelM/NetCapex.pm: 079a998501867440c2f6107f41205b32dbc21ffe
ModelM/Options.pm: 83cf2f629eb7c97917fe669954f61482827fa05c
ModelM/PPU.pm: 3d384d228c2704772a208c36814797953b305245
ModelM/Sheets.pm: cc391bb6b81be1a3fdf72d62ac2cef1dfaf72f09
ModelM/Units.pm: 8538e6762385523801685a4440264d873200ea1a
SpreadsheetModel/Arithmetic.pm: b1367f0a9de6b5af11373f288c79c34dcf1cd6d7
SpreadsheetModel/Book/FrontSheet.pm: 46ce018576f7ecdfeeb07df5d5468405cb06839c
SpreadsheetModel/Book/Manufacturing.pm: 9040f88f1055d734b9f84bc0189a66737bea3f46
SpreadsheetModel/Book/Validation.pm: ed2ab0782db26c535a153fdc187c4ac85d37bf0b
SpreadsheetModel/Book/WorkbookCreate.pm: 78d0cbbf7cd936390437511d753cb750038c4d79
SpreadsheetModel/Book/WorkbookFormats.pm: b659dd128e9de6350e6f389cbe5ac3c7e01ff09d
SpreadsheetModel/Columnset.pm: 7212dcdf0f873cf20dfa8366b66a8b1c688bcdd3
SpreadsheetModel/Custom.pm: 64258a1a23160d1b05311a838e34f4078f7516be
SpreadsheetModel/Dataset.pm: 0d4dd59d0e133cd7ac0d1f5f60d67b42da63633e
SpreadsheetModel/FormatLegend.pm: 6542b2c1f994e4aa10f155c435cabafa7a9f5778
SpreadsheetModel/GroupBy.pm: a05f4878f468a3191257c58c4711fc115bde7e7d
SpreadsheetModel/Label.pm: 053d8801da63a168d467ae3cf12c6c32325befe3
SpreadsheetModel/Labelset.pm: 04739284141966c1ce3b175d877edb97c79f48f4
SpreadsheetModel/Logger.pm: 833fe1cc3c01cd760064f51dd812b9db75a8b221
SpreadsheetModel/Notes.pm: deac2cc524c26b5965f89ee6ab62979a9443d683
SpreadsheetModel/Object.pm: ad87af5906c5d614f2ee9535b691ad91f03c7c38
SpreadsheetModel/Reshape.pm: 44d60329c15bdfdf839a71781406c921808898b4
SpreadsheetModel/Shortcuts.pm: 862755d9f7270e4db643182f2a94f4d19dff749b
SpreadsheetModel/Stack.pm: 05a927d320fe0b49a01b5d253723cf04175915ac
SpreadsheetModel/SumProduct.pm: 2ae76b5dc30c7b829aa206d41662d4147f4c1fa9
'~datasetName': Blank
'~datasetSource': Empty dataset
Generated on Wed 19 Oct 2016 07:19:57 by dcmf.co.uk

## Input
Input data for Electricity North West in 2017/2018 (December 2015)
This sheet contains the input data.
1300. Company, charging year, data version
| Company | Year | Version
Company, charging year, data version | Electricity North West | 2017/2018 | December 2015
1301. DNO LV mains usage
LV mains usage value provided each year by the Nominated Calculation Agent.
DNO LV mains usage
DNO LV mains usage | 5.6%
1302. DNO HV mains usage
HV mains usage value provided each year by the Nominated Calculation Agent.
DNO HV mains usage
DNO HV mains usage | 59%
1310. DPCR4 aggregate allowances (£)
In a legacy Method M workbook, these data are on sheet Calc-Allocation, possibly cells C47, C48 and C49.
| Aggregate return | Aggregate depreciation | Aggregate operating
DPCR4 aggregate allowances (£) | 370956256.4728 | 398500000 | 352040000
1315. Analysis of allowed revenue for 2007/2008 (£/year)
In a legacy Method M workbook, these data are on sheet Calc-Allocation, possibly cells F66 and F63.
| Total revenue | Net incentive revenue
Analysis of allowed revenue for 2007/2008 (£/year) | 397557845 | 11735622
1321. Units distributed (GWh)
These data are taken from the 2007/2008 regulatory reporting pack (table 5.1), cells G34 to G36.
Units distributed (GWh)
EHV (Includes 132kV) | 1422.2
HV | 7190.9
LV | 16988.7
1322. Losses (GWh)
This data item is taken from the 2007/2008 regulatory reporting pack (table 5.1), cell G40.
Losses (GWh)
Losses (GWh) | 1278.4
1328. DCP 117/DCP 231 additional annual income (£)
In a legacy Method M workbook, this item is on sheet Calc-Allocation, possibly cell G70.
DCP 117/DCP 231 additional annual income (£)
DCP 117/DCP 231 additional annual income (£) | 9123919.0156
1329. Net new connections and reinforcement costs (£)
These data are derived from a combination of the 2007/2008 regulatory reporting pack (table 2.4) and 10-year averages from the FBPQ.
In a post-DCP 117 legacy Method M workbook, these data are on sheet Calc-Opex, reading from right to left, possibly starting at cell H7.
| LV | HV/LV | HV | EHV&132
Load related new connections & reinforcement (net of contributions) | 5592992.279 |  | 5200104.015 | 23665150.7056
1330. Allocated costs (£/year)
These data are taken from the 2007/2008 regulatory reporting pack (tables 2.3 and 2.4).
In a legacy Method M workbook, these data are on sheet Calc-Opex, reading from right to left, possibly starting at cell H7.
| LV | HV/LV | HV | EHV&132
Load related new connections & reinforcement (net of contributions) | -35750740.0362 | 0 | 18269095.8959 | 26233456.4418
Non-load new & replacement assets (net of contributions) | 15938388.5901 | 9685121.607 | 11157007.7464 | 28810162.4061
Non-operational capex | 0 | 0 | 0 | 0
Faults | 9877892.1317 | 221494.2299 | 5059104.4011 | 2257709.6
Inspections, & Maintenance | 956531.8065 | 2918012.8049 | 212621.011 | 2019581.6865
Tree Cutting | 658870.4388 | 0 | 637969.2582 | 432144.5665
Network Policy | 0 | 0 | 0 | 0
Network Design & Engineering | 0 | 0 | 0 | 0
Project Management | 0 | 0 | 0 | 0
Engineering Mgt & Clerical Support | 0 | 0 | 0 | 0
Control Centre | 0 | 0 | 0 | 0
System Mapping - Cartographical | 0 | 0 | 0 | 0
Customer Call Centre | 0 | 0 | 0 | 0
Stores | 0 | 0 | 0 | 0
Vehicles & Transport | 0 | 0 | 0 | 0
IT & Telecoms | 0 | 0 | 0 | 0
Property Mgt | 0 | 0 | 0 | 0
HR & Non-operational Training | 0 | 0 | 0 | 0
Health & Safety & Operational Training | 0 | 0 | 0 | 0
Finance & Regulation | 0 | 0 | 0 | 0
CEO etc | 0 | 0 | 0 | 0
Atypical cash costs | 0 | 0 | 0 | 0
Pension deficit payments | 0 | 0 | 0 | 0
Metering | 0 | 0 | 0 | 0
Excluded services & de minimis | 0 | 0 | 0 | 0
Relevant distributed generation (less contributions) | 0 | 0 | 0 | 0
IFI | 0 | 0 | 0 | 0
Disallowed Related Party Margins | 0 | 0 | 0 | 0
Statutory Depreciation | 0 | 0 | 0 | 0
Network Rates | 0 | 0 | 0 | 0
Transmission Exit Charges | 0 | 0 | 0 | 0
Pension deficit repair payments by related parties (note 2) | 0 | 0 | 0 | 0
Non activity costs and reconciling amounts (note 3) | 0 | 0 | 0 | 0
1331. Assets in CDCM model (£)
These data are taken from the CDCM tariff model (Otex sheet).
They are also used as input data in the EDCM tariff model.
| GSP | 132kV circuits | 132kV/EHV | EHV circuits | EHV/HV | 132kV/HV | HV circuits | HV/LV | LV circuits | LV customer | HV customer
Assets in CDCM model (£) | 0 | 729633193.445 | 288610336.5401 | 750093688.0734 | 549905990.4219 | 0 | 1029777843.2114 | 803234906.0504 | 316643156.1686 | 1511494283.047 | 37341732.3792
1332. All notional assets in EDCM (£)
These data are taken from the EDCM tariff model.
All notional assets in EDCM (£)
All notional assets in EDCM (£) | 300000000
1335. Total costs (£/year)
These data are taken from the 2007/2008 regulatory reporting pack (table 1.3).
In a legacy Method M workbook, these data are on sheet Calc-Opex, starting at cell D7.
Total costs (£/year)
Load related new connections & reinforcement (net of contributions) | 9663452.079
Non-load new & replacement assets (net of contributions) | 63506587.8128
Non-operational capex | 4080425.6416
Faults | 16034394.6499
Inspections, & Maintenance | 4742987.9453
Tree Cutting | 1636888.1012
Network Policy | 798778.2353
Network Design & Engineering | 8508926.2052
Project Management | 3864575.4878
Engineering Mgt & Clerical Support | 15017576.0213
Control Centre | 2623191.3413
System Mapping - Cartographical | 1197192.2727
Customer Call Centre | 1373028.0456
Stores | 1137985.5952
Vehicles & Transport | 2007382.8744
IT & Telecoms | 12846120.17
Property Mgt | 6905002.6315
HR & Non-operational Training | 2752174.2734
Health & Safety & Operational Training | 814694.0593
Finance & Regulation | 8643531.1721
CEO etc | 2311540.3503
Atypical cash costs | 15445248
Pension deficit payments | 0
Metering | 617969.5895
Excluded services & de minimis | 15206595.2221
Relevant distributed generation (less contributions) | -434302.3965
IFI | 932220
Disallowed Related Party Margins | 11957154.8553
Statutory Depreciation | 59102484.3522
Network Rates | 17027400
Transmission Exit Charges | 18525181
Pension deficit repair payments by related parties (note 2) | 0
Non activity costs and reconciling amounts (note 3) | -26259723.5876
1355. MEAV data
In a legacy Method M workbook, these data are on sheet Data-MEAV.
| Asset quantity | Unit MEAV (£)
LV main overhead line km | 2269.9126 | 27528.4945
LV service overhead | 98345.9122 | 681.7466
LV overhead support | 60466.38 | 1527.7795
LV main underground consac km | 4612.8269 | 88045.2539
LV main underground plastic km | 4483.257 | 88045.2539
LV main underground paper km | 19315.005 | 88045.2539
LV service underground | 2352058.629 | 1060.2954
LV pillar indoors | 3191 | 7870.0352
LV pillar outdoors | 6908 | 7824.7095
LV board wall-mounted | 6237 | 7870.0352
LV board underground | 18880.6946 | 5120.6393
LV fuse pole-mounted | 19878 | 0
LV fuse tower-mounted | 0 | 0
6.6/11kV overhead open km | 7768.9155 | 11909.2573
6.6/11kV overhead covered km | 27 | 22212.5951
20kV overhead open pm | 0 | 0
20kV overhead covered km | 0 | 0
6.6/11kV overhead support | 99519.4269 | 3005.9102
20kV overhead support | 0 | 0
6.6/11kV underground km | 12867.9513 | 116046.9441
20kV underground km | 0 | 0
HV submarine km | 22 | 348140.8324
6.6/11kV breaker pole-mounted | 818 | 15888.8643
6.6/11kV breaker ground-mounted | 10480 | 41499.6567
6.6/11kV switch pole-mounted | 98 | 5075.0741
6.6/11kV switch ground-mounted | 14136 | 11282.9996
6.6/11kV ring main unit | 10373 | 19568.7845
6.6/11kV other switchgear pole-mounted | 9691 | 5075.0741
6.6/11kV other switchgear ground-mounted | 6 | 11282.9996
20kV breaker pole-mounted | 0 | 0
20kV breaker ground-mounted | 0 | 0
20kV switch pole-mounted | 0 | 0
20kV switch ground-mounted | 0 | 0
20kV ring main unit | 0 | 0
20kV other switchgear pole-mounted | 0 | 0
20kV other switchgear ground-mounted | 0 | 0
6.6/11kV transformer pole-mounted | 16930 | 4450.7904
6.6/11kV transformer ground-mounted | 16262 | 15399.7771
20kV transformer pole-mounted | 0 | 0
20kV transformer ground-mounted | 0 | 0
33kV overhead pole line km | 1050.4 | 23370.7033
33kV overhead tower line km | 309 | 72934.2137
66kV overhead pole line km | 0 | 0
66kV overhead tower line km | 0 | 0
33kV pole | 12500 | 5970.2809
33kV tower | 711 | 38899.9013
66kV pole | 0 | 0
66kV tower | 0 | 0
33kV underground non-pressurised km | 1616.383 | 317530.3093
33kV underground oil km | 364.134 | 317530.3093
33kV underground gas km | 261 | 317530.3093
66kV underground non-pressurised km | 0 | 0
66kV underground oil km | 0 | 0
66kV underground gas km | 0 | 0
EHV submarine km | 0 | 0
33kV breaker indoors | 1441 | 110751.1546
33kV breaker outdoors | 158 | 110751.1546
33kV switch ground-mounted | 63 | 110751.1546
33kV switch pole-mounted | 106 | 36917.0515
33kV ring main unit | 6 | 110751.1546
33kV other switchgear | 75 | 110751.1546
66kV breaker | 0 | 0
66kV other switchgear | 0 | 0
33kV transformer pole-mounted | 0 | 0
33kV transformer ground-mounted | 696 | 609771.075
33kV auxiliary transformer | 637 | 0
66kV transformer | 0 | 0
66kV auxiliary transformer | 0 | 0
132kV overhead pole conductor km | 32 | 38141.0525
132kV overhead tower conductor km | 1546.8 | 114423.1576
132kV pole | 52 | 17444.7399
132kV tower | 3125 | 52334.2196
132kV tower fittings | 6226 | 7062.4033
132kV underground non-pressurised km | 212.88 | 1004103.3965
132kV underground oil km | 166.32 | 1004103.3965
132kV underground gas km | 5 | 1004103.3965
132kV submarine km | 0 | 0
132kV breaker | 175 | 1138443.0824
132kV other switchgear | 1010 | 1138443.0824
132kV transformer | 153 | 1298754.9844
132kV auxiliary transformer | 142 | 0
132kV/EHV remote terminal unit pole-mounted | 0 | 0
132kV/EHV remote terminal unit ground-mounted | 449 | 33200
HV remote terminal unit pole-mounted | 650 | 33200
HV remote terminal unit ground-mounted | 1077 | 33200
1369. Net capex analysis pre-DCP 118 (£)
In a pre-DCP 118 legacy Method M workbook, these data are on sheet Calc-Net capex, possibly cells G6 to G10.
Net capex analysis pre-DCP 118 (£)
LV | 189441116.0471
LV/HV | 65660489.8857
HV | 193590941.2236
EHV | 144957922.8017
132kV | 232143789.9098
1380. Net capex: ratio of LV services to LV total
This figure can be calculated from FBPQ NL1 data, possibly as SUM('FBPQ NL1'!D10:M13)/SUM('FBPQ NL1'!D10:M16).
LV
LV services | 24.42%

## CDCM
Calculations (CDCM) for Electricity North West in 2017/2018 (December 2015)
1401. Allocated costs after DCP 117 adjustments
Data sources:
x1 = 1329. Net new connections and reinforcement costs (£)
x2 = 1330. Allocated costs (£/year)
Combine tables = x1 or x2
| LV | HV/LV | HV | EHV&132
Load related new connections & reinforcement (net of contributions) | 5592992.279 | 0 | 5200104.015 | 23665150.7056
Non-load new & replacement assets (net of contributions) | 15938388.5901 | 9685121.607 | 11157007.7464 | 28810162.4061
Non-operational capex | 0 | 0 | 0 | 0
Faults | 9877892.1317 | 221494.2299 | 5059104.4011 | 2257709.6
Inspections, & Maintenance | 956531.8065 | 2918012.8049 | 212621.011 | 2019581.6865
Tree Cutting | 658870.4388 | 0 | 637969.2582 | 432144.5665
Network Policy | 0 | 0 | 0 | 0
Network Design & Engineering | 0 | 0 | 0 | 0
Project Management | 0 | 0 | 0 | 0
Engineering Mgt & Clerical Support | 0 | 0 | 0 | 0
Control Centre | 0 | 0 | 0 | 0
System Mapping - Cartographical | 0 | 0 | 0 | 0
Customer Call Centre | 0 | 0 | 0 | 0
Stores | 0 | 0 | 0 | 0
Vehicles & Transport | 0 | 0 | 0 | 0
IT & Telecoms | 0 | 0 | 0 | 0
Property Mgt | 0 | 0 | 0 | 0
HR & Non-operational Training | 0 | 0 | 0 | 0
Health & Safety & Operational Training | 0 | 0 | 0 | 0
Finance & Regulation | 0 | 0 | 0 | 0
CEO etc | 0 | 0 | 0 | 0
Atypical cash costs | 0 | 0 | 0 | 0
Pension deficit payments | 0 | 0 | 0 | 0
Metering | 0 | 0 | 0 | 0
Excluded services & de minimis | 0 | 0 | 0 | 0
Relevant distributed generation (less contributions) | 0 | 0 | 0 | 0
IFI | 0 | 0 | 0 | 0
Disallowed Related Party Margins | 0 | 0 | 0 | 0
Statutory Depreciation | 0 | 0 | 0 | 0
Network Rates | 0 | 0 | 0 | 0
Transmission Exit Charges | 0 | 0 | 0 | 0
Pension deficit repair payments by related parties (note 2) | 0 | 0 | 0 | 0
Non activity costs and reconciling amounts (note 3) | 0 | 0 | 0 | 0
1402. Expenditure data
Data sources:
x1 = 1335. Total costs (£/year)
x2 = 1401. Allocated costs after DCP 117 adjustments
Kind: | Copy cells | Cell summation
Formula: | = x1 | =SUM(x2)
| Total costs (£/year) | Amounts already allocated
Load related new connections & reinforcement (net of contributions) | 9663452.079 | 34458246.9996
Non-load new & replacement assets (net of contributions) | 63506587.8128 | 65590680.3495
Non-operational capex | 4080425.6416 | 0
Faults | 16034394.6499 | 17416200.3628
Inspections, & Maintenance | 4742987.9453 | 6106747.3089
Tree Cutting | 1636888.1012 | 1728984.2634
Network Policy | 798778.2353 | 0
Network Design & Engineering | 8508926.2052 | 0
Project Management | 3864575.4878 | 0
Engineering Mgt & Clerical Support | 15017576.0213 | 0
Control Centre | 2623191.3413 | 0
System Mapping - Cartographical | 1197192.2727 | 0
Customer Call Centre | 1373028.0456 | 0
Stores | 1137985.5952 | 0
Vehicles & Transport | 2007382.8744 | 0
IT & Telecoms | 12846120.17 | 0
Property Mgt | 6905002.6315 | 0
HR & Non-operational Training | 2752174.2734 | 0
Health & Safety & Operational Training | 814694.0593 | 0
Finance & Regulation | 8643531.1721 | 0
CEO etc | 2311540.3503 | 0
Atypical cash costs | 15445248 | 0
Pension deficit payments | 0 | 0
Metering | 617969.5895 | 0
Excluded services & de minimis | 15206595.2221 | 0
Relevant distributed generation (less contributions) | -434302.3965 | 0
IFI | 932220 | 0
Disallowed Related Party Margins | 11957154.8553 | 0
Statutory Depreciation | 59102484.3522 | 0
Network Rates | 17027400 | 0
Transmission Exit Charges | 18525181 | 0
Pension deficit repair payments by related parties (note 2) | 0 | 0
Non activity costs and reconciling amounts (note 3) | -26259723.5876 | 0
1403. Allocation rules
| Allocation key | Percentage capitalised | Direct cost indicator
Load related new connections & reinforcement (net of contributions) | Do not allocate | 100% | 1
Non-load new & replacement assets (net of contributions) | MEAV | 100% | 1
Non-operational capex | MEAV | 23.5% | 1
Faults | MEAV | 23.5% | 1
Inspections, & Maintenance | MEAV | 23.5% | 1
Tree Cutting | MEAV | 23.5% | 1
Network Policy | MEAV | 52.57% | 0
Network Design & Engineering | MEAV | 52.57% | 0
Project Management | MEAV | 52.57% | 0
Engineering Mgt & Clerical Support | MEAV | 52.57% | 0
Control Centre | MEAV | 52.57% | 0
System Mapping - Cartographical | MEAV | 52.57% | 0
Customer Call Centre | MEAV | 52.57% | 0
Stores | MEAV | 52.57% | 0
Vehicles & Transport | MEAV | 52.57% | 0
IT & Telecoms | Do not allocate | 52.57% | 0
Property Mgt | Do not allocate | 52.57% | 0
HR & Non-operational Training | MEAV | 52.57% | 0
Health & Safety & Operational Training | MEAV | 52.57% | 0
Finance & Regulation | MEAV | 52.57% | 0
CEO etc | MEAV | 52.57% | 0
Atypical cash costs | Do not allocate | 0% | 1
Pension deficit payments | Do not allocate | 57.7% | 1
Metering | Do not allocate | 0% | 1
Excluded services & de minimis | Do not allocate | 0% | 1
Relevant distributed generation (less contributions) | Do not allocate | 0% | 1
IFI | Do not allocate | 0% | 1
Disallowed Related Party Margins | Do not allocate | 0% | 1
Statutory Depreciation | Do not allocate | 0% | 1
Network Rates | Do not allocate | 0% | 1
Transmission Exit Charges | Deduct from revenue | 0% | 1
Pension deficit repair payments by related parties (note 2) | Do not allocate | 0% | 1
Non activity costs and reconciling amounts (note 3) | Do not allocate | 0% | 1
1404. MEAV calculations
Data sources:
x1 = 1355. Asset quantity (in MEAV data)
x2 = 1355. Unit MEAV (£) (in MEAV data)
Kind: | Calculation | Fixed data |  |  |  | Fixed data | Fixed data
Formula: | =x1*x2
MEAV mapping
| MEAV (£) | LV | HV/LV | HV | EHV&132 | MEAV mapping: LV services | MEAV mapping: LV total
LV main overhead line km | 62487276.205 | 1 | 0 | 0 | 0 |  | 1
LV service overhead | 67046992.0635 | 1 | 0 | 0 | 0 | 1 | 1
LV overhead support | 92379293.0047 | 1 | 0 | 0 | 0 |  | 1
LV main underground consac km | 406137515.741 | 1 | 0 | 0 | 0 |  | 1
LV main underground plastic km | 394729500.644 | 1 | 0 | 0 | 0 |  | 1
LV main underground paper km | 1700594519.3414 | 1 | 0 | 0 | 0 |  | 1
LV service underground | 2493876903.5737 | 1 | 0 | 0 | 0 | 1 | 1
LV pillar indoors | 25113282.4599 | 1 | 0 | 0 | 0 |  | 1
LV pillar outdoors | 54053093.1556 | 1 | 0 | 0 | 0 |  | 1
LV board wall-mounted | 49085409.8095 | 1 | 0 | 0 | 0 |  | 1
LV board underground | 96681226.1014 | 1 | 0 | 0 | 0 |  | 1
LV fuse pole-mounted | 0 | 1 | 0 | 0 | 0 |  | 1
LV fuse tower-mounted | 0 | 1 | 0 | 0 | 0 |  | 1
6.6/11kV overhead open km | 92522014.4114 | 0 | 0 | 1 | 0
6.6/11kV overhead covered km | 599740.0676 | 0 | 0 | 1 | 0
20kV overhead open pm | 0 | 0 | 0 | 1 | 0
20kV overhead covered km | 0 | 0 | 0 | 1 | 0
6.6/11kV overhead support | 299146455.5545 | 0 | 0 | 1 | 0
20kV overhead support | 0 | 0 | 0 | 1 | 0
6.6/11kV underground km | 1493286424.6894 | 0 | 0 | 1 | 0
20kV underground km | 0 | 0 | 0 | 1 | 0
HV submarine km | 7659098.313 | 0 | 0 | 1 | 0
6.6/11kV breaker pole-mounted | 12997091.0316 | 0 | 0 | 1 | 0
6.6/11kV breaker ground-mounted | 434916402.4024 | 0 | 0 | 1 | 0
6.6/11kV switch pole-mounted | 497357.2606 | 0 | 0 | 1 | 0
6.6/11kV switch ground-mounted | 159496482.5324 | 0 | 1 | 0 | 0
6.6/11kV ring main unit | 202987001.6003 | 0 | 1 | 0 | 0
6.6/11kV other switchgear pole-mounted | 49182542.989 | 0 | 0 | 1 | 0
6.6/11kV other switchgear ground-mounted | 67697.9977 | 0 | 0 | 1 | 0
20kV breaker pole-mounted | 0 | 0 | 0 | 1 | 0
20kV breaker ground-mounted | 0 | 0 | 0 | 1 | 0
20kV switch pole-mounted | 0 | 0 | 0 | 1 | 0
20kV switch ground-mounted | 0 | 0 | 1 | 0 | 0
20kV ring main unit | 0 | 0 | 1 | 0 | 0
20kV other switchgear pole-mounted | 0 | 0 | 0 | 1 | 0
20kV other switchgear ground-mounted | 0 | 0 | 0 | 1 | 0
6.6/11kV transformer pole-mounted | 75351880.6356 | 0 | 1 | 0 | 0
6.6/11kV transformer ground-mounted | 250431175.5218 | 0 | 1 | 0 | 0
20kV transformer pole-mounted | 0 | 0 | 1 | 0 | 0
20kV transformer ground-mounted | 0 | 0 | 1 | 0 | 0
33kV overhead pole line km | 24548586.7775 | 0 | 0 | 0 | 1
33kV overhead tower line km | 22536672.0438 | 0 | 0 | 0 | 1
66kV overhead pole line km | 0 | 0 | 0 | 0 | 1
66kV overhead tower line km | 0 | 0 | 0 | 0 | 1
33kV pole | 74628511.4286 | 0 | 0 | 0 | 1
33kV tower | 27657829.7962 | 0 | 0 | 0 | 1
66kV pole | 0 | 0 | 0 | 0 | 1
66kV tower | 0 | 0 | 0 | 0 | 1
33kV underground non-pressurised km | 513250593.8824 | 0 | 0 | 0 | 1
33kV underground oil km | 115623581.6343 | 0 | 0 | 0 | 1
33kV underground gas km | 82875410.7184 | 0 | 0 | 0 | 1
66kV underground non-pressurised km | 0 | 0 | 0 | 0 | 1
66kV underground oil km | 0 | 0 | 0 | 0 | 1
66kV underground gas km | 0 | 0 | 0 | 0 | 1
EHV submarine km | 0 | 0 | 0 | 0 | 1
33kV breaker indoors | 159592413.8351 | 0 | 0 | 0 | 1
33kV breaker outdoors | 17498682.433 | 0 | 0 | 0 | 1
33kV switch ground-mounted | 6977322.7423 | 0 | 0 | 0 | 1
33kV switch pole-mounted | 3913207.4639 | 0 | 0 | 0 | 1
33kV ring main unit | 664506.9278 | 0 | 0 | 0 | 1
33kV other switchgear | 8306336.5979 | 0 | 0 | 0 | 1
66kV breaker | 0 | 0 | 0 | 0 | 1
66kV other switchgear | 0 | 0 | 0 | 0 | 1
33kV transformer pole-mounted | 0 | 0 | 0 | 0 | 1
33kV transformer ground-mounted | 424400668.1931 | 0 | 0 | 0 | 1
33kV auxiliary transformer | 0 | 0 | 0 | 0 | 1
66kV transformer | 0 | 0 | 0 | 0 | 1
66kV auxiliary transformer | 0 | 0 | 0 | 0 | 1
132kV overhead pole conductor km | 1220513.6806 | 0 | 0 | 0 | 1
132kV overhead tower conductor km | 176989740.1106 | 0 | 0 | 0 | 1
132kV pole | 907126.4739 | 0 | 0 | 0 | 1
132kV tower | 163544436.404 | 0 | 0 | 0 | 1
132kV tower fittings | 43970523.2177 | 0 | 0 | 0 | 1
132kV underground non-pressurised km | 213753531.0396 | 0 | 0 | 0 | 1
132kV underground oil km | 167002476.9001 | 0 | 0 | 0 | 1
132kV underground gas km | 5020516.9823 | 0 | 0 | 0 | 1
132kV submarine km | 0 | 0 | 0 | 0 | 1
132kV breaker | 199227539.4226 | 0 | 0 | 0 | 1
132kV other switchgear | 1149827513.2388 | 0 | 0 | 0 | 1
132kV transformer | 198709512.6191 | 0 | 0 | 0 | 1
132kV auxiliary transformer | 0 | 0 | 0 | 0 | 1
132kV/EHV remote terminal unit pole-mounted | 0 | 0 | 0 | 0 | 1
132kV/EHV remote terminal unit ground-mounted | 14906800 | 0 | 0 | 0 | 1
HV remote terminal unit pole-mounted | 21580000 | 0 | 0 | 1 | 0
HV remote terminal unit ground-mounted | 35756400 | 0 | 0 | 1 | 0
1405. MEAV by network level (£)
Data sources:
x1 = 1404. MEAV mapping (in MEAV calculations)
x2 = 1404. MEAV (£) (in MEAV calculations)
Sum-product calculation =SUMPRODUCT(x1, x2)
| LV | HV/LV | HV | EHV&132
MEAV by network level (£) | 5442185012.0996 | 688266540.2901 | 2448211224.7173 | 3817554554.5639
1406. MEAV percentages
Data sources:
x1 = 1405. MEAV by network level (£)
Calculation =x1/SUM(x1)
| LV | HV/LV | HV | EHV&132
MEAV percentages | 43.9% | 5.552% | 19.75% | 30.8%
1407. EHV asset levels
| GSP | 132kV circuits | 132kV/EHV | EHV circuits | EHV/HV | 132kV/HV | HV circuits | HV/LV | LV circuits | LV customer | HV customer
EHV asset levels | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
1408. Proportion of EHV notional assets which are in the CDCM
Data sources:
x1 = 1332. All notional assets in EDCM (£)
x2 = 1407. EHV asset levels
x3 = 1331. Assets in CDCM model (£)
Calculation =1/(1+x1/SUMPRODUCT(x2,x3))
EHV&132
Proportion of EHV notional assets which are in the CDCM | 88.54%
1409. Proportion to be kept
Data sources:
x1 = 1408. Proportion of EHV notional assets which are in the CDCM
x2 = Default to 1
Combine tables = x1 or x2
| LV | HV/LV | HV | EHV&132
Proportion to be kept | 100% | 100% | 100% | 88.54%
1410. MEAV percentages after DCP 118 exclusions
Data sources:
x1 = 1406. MEAV percentages
x2 = 1409. Proportion to be kept
Calculation =x1*x2/SUMPRODUCT(x1,x2)
| LV | HV/LV | HV | EHV&132
MEAV percentages after DCP 118 exclusions | 45.51% | 5.755% | 20.47% | 28.26%
1411. EHV only
| LV | HV/LV | HV | EHV&132
EHV only | 0 | 0 | 0 | 1
1412. LV only
| LV | HV/LV | HV | EHV&132
LV only | 1 | 0 | 0 | 0
1413. All allocation percentages
Data sources:
x1 = 1403. Allocation key (in Allocation rules)
x2 = 1412. LV only
x3 = 1410. MEAV percentages after DCP 118 exclusions
x4 = 1411. EHV only
Calculation =IF(x1="60%MEAV",0.4*x2+x3,IF(x1="MEAV",x3,IF(x1="EHV only",x4,IF(x1="LV only",x2,0))))
| LV | HV/LV | HV | EHV&132
Load related new connections & reinforcement (net of contributions) | 0% | 0% | 0% | 0%
Non-load new & replacement assets (net of contributions) | 45.51% | 5.755% | 20.47% | 28.26%
Non-operational capex | 45.51% | 5.755% | 20.47% | 28.26%
Faults | 45.51% | 5.755% | 20.47% | 28.26%
Inspections, & Maintenance | 45.51% | 5.755% | 20.47% | 28.26%
Tree Cutting | 45.51% | 5.755% | 20.47% | 28.26%
Network Policy | 45.51% | 5.755% | 20.47% | 28.26%
Network Design & Engineering | 45.51% | 5.755% | 20.47% | 28.26%
Project Management | 45.51% | 5.755% | 20.47% | 28.26%
Engineering Mgt & Clerical Support | 45.51% | 5.755% | 20.47% | 28.26%
Control Centre | 45.51% | 5.755% | 20.47% | 28.26%
System Mapping - Cartographical | 45.51% | 5.755% | 20.47% | 28.26%
Customer Call Centre | 45.51% | 5.755% | 20.47% | 28.26%
Stores | 45.51% | 5.755% | 20.47% | 28.26%
Vehicles & Transport | 45.51% | 5.755% | 20.47% | 28.26%
IT & Telecoms | 0% | 0% | 0% | 0%
Property Mgt | 0% | 0% | 0% | 0%
HR & Non-operational Training | 45.51% | 5.755% | 20.47% | 28.26%
Health & Safety & Operational Training | 45.51% | 5.755% | 20.47% | 28.26%
Finance & Regulation | 45.51% | 5.755% | 20.47% | 28.26%
CEO etc | 45.51% | 5.755% | 20.47% | 28.26%
Atypical cash costs | 0% | 0% | 0% | 0%
Pension deficit payments | 0% | 0% | 0% | 0%
Metering | 0% | 0% | 0% | 0%
Excluded services & de minimis | 0% | 0% | 0% | 0%
Relevant distributed generation (less contributions) | 0% | 0% | 0% | 0%
IFI | 0% | 0% | 0% | 0%
Disallowed Related Party Margins | 0% | 0% | 0% | 0%
Statutory Depreciation | 0% | 0% | 0% | 0%
Network Rates | 0% | 0% | 0% | 0%
Transmission Exit Charges | 0% | 0% | 0% | 0%
Pension deficit repair payments by related parties (note 2) | 0% | 0% | 0% | 0%
Non activity costs and reconciling amounts (note 3) | 0% | 0% | 0% | 0%
1414. Complete allocation
Data sources:
x1 = 1403. Allocation key (in Allocation rules)
x2 = 1401. Allocated costs after DCP 117 adjustments
x3 = 1402. Total costs (£/year) (copy) (in Expenditure data)
x4 = 1402. Amounts already allocated (in Expenditure data)
x5 = 1413. All allocation percentages
Calculation =IF(x1="Kill",0,x2+(x3-x4)*x5)
| LV | HV/LV | HV | EHV&132
Load related new connections & reinforcement (net of contributions) | 5592992.279 | 0 | 5200104.015 | 23665150.7056
Non-load new & replacement assets (net of contributions) | 14989964.1932 | 9565175.5234 | 10730351.3117 | 28221096.7846
Non-operational capex | 1856911.4182 | 234841.3357 | 835346.7159 | 1153326.1717
Faults | 9249062.9283 | 141966.9629 | 4776220.4655 | 1867144.2932
Inspections, & Maintenance | 335915.0972 | 2839524.1622 | -66568.4672 | 1634117.1531
Tree Cutting | 616959.5133 | -5300.4239 | 619115.2872 | 406113.7247
Network Policy | 363506.2996 | 45972.201 | 163526.2677 | 225773.467
Network Design & Engineering | 3872224.0313 | 489715.4785 | 1741951.4987 | 2405035.1966
Project Management | 1758682.7896 | 222418.4801 | 791157.7678 | 1092316.4503
Engineering Mgt & Clerical Support | 6834166.5399 | 864308.7565 | 3074405.4451 | 4244695.2798
Control Centre | 1193756.3337 | 150972.9162 | 537021.0034 | 741441.088
System Mapping - Cartographical | 544815.712 | 68902.1825 | 245089.7826 | 338384.5956
Customer Call Centre | 624834.6813 | 79022.0846 | 281086.9673 | 388084.3124
Stores | 517872.0632 | 65494.652 | 232968.9629 | 321649.9173
Vehicles & Transport | 913515.527 | 115531.2011 | 410952.3954 | 567383.7509
IT & Telecoms | 0 | 0 | 0 | 0
Property Mgt | 0 | 0 | 0 | 0
HR & Non-operational Training | 1252453.612 | 158396.2898 | 563426.4518 | 777897.9198
Health & Safety & Operational Training | 370749.2389 | 46888.2067 | 166784.5629 | 230272.0508
Finance & Regulation | 3933479.7732 | 497462.4179 | 1769507.8928 | 2443081.0881
CEO etc | 1051930.8639 | 133036.421 | 473219.6614 | 653353.404
Atypical cash costs | 0 | 0 | 0 | 0
Pension deficit payments | 0 | 0 | 0 | 0
Metering | 0 | 0 | 0 | 0
Excluded services & de minimis | 0 | 0 | 0 | 0
Relevant distributed generation (less contributions) | 0 | 0 | 0 | 0
IFI | 0 | 0 | 0 | 0
Disallowed Related Party Margins | 0 | 0 | 0 | 0
Statutory Depreciation | 0 | 0 | 0 | 0
Network Rates | 0 | 0 | 0 | 0
Transmission Exit Charges | 0 | 0 | 0 | 0
Pension deficit repair payments by related parties (note 2) | 0 | 0 | 0 | 0
Non activity costs and reconciling amounts (note 3) | 0 | 0 | 0 | 0
1415. Complete allocation: LV total share
Data sources:
x1 = 1414. Complete allocation
Copy cells = x1
LV
Load related new connections & reinforcement (net of contributions) | 5592992.279
Non-load new & replacement assets (net of contributions) | 14989964.1932
Non-operational capex | 1856911.4182
Faults | 9249062.9283
Inspections, & Maintenance | 335915.0972
Tree Cutting | 616959.5133
Network Policy | 363506.2996
Network Design & Engineering | 3872224.0313
Project Management | 1758682.7896
Engineering Mgt & Clerical Support | 6834166.5399
Control Centre | 1193756.3337
System Mapping - Cartographical | 544815.712
Customer Call Centre | 624834.6813
Stores | 517872.0632
Vehicles & Transport | 913515.527
IT & Telecoms | 0
Property Mgt | 0
HR & Non-operational Training | 1252453.612
Health & Safety & Operational Training | 370749.2389
Finance & Regulation | 3933479.7732
CEO etc | 1051930.8639
Atypical cash costs | 0
Pension deficit payments | 0
Metering | 0
Excluded services & de minimis | 0
Relevant distributed generation (less contributions) | 0
IFI | 0
Disallowed Related Party Margins | 0
Statutory Depreciation | 0
Network Rates | 0
Transmission Exit Charges | 0
Pension deficit repair payments by related parties (note 2) | 0
Non activity costs and reconciling amounts (note 3) | 0
1416. MEAV: ratio of LV services to LV total
Data sources:
x1 = 1404. MEAV mapping: LV services
x2 = 1404. MEAV (£) (in MEAV calculations)
x3 = 1404. MEAV mapping: LV total
Calculation =SUMPRODUCT(x1,x2)/SUMPRODUCT(x3,x2)
LV
LV services | 47.06%
1417. Allocation of LV to LV services
Data sources:
x1 = 1403. Allocation key (in Allocation rules)
x2 = 1416. MEAV: ratio of LV services to LV total
Calculation =IF(x1="60%MEAV",0.4+0.6*x2,IF(x1="MEAV",x2,IF(x1="EHV only",0,IF(x1="LV only",1,0))))
Allocation of LV to LV services
Load related new connections & reinforcement (net of contributions) | 0%
Non-load new & replacement assets (net of contributions) | 47.06%
Non-operational capex | 47.06%
Faults | 47.06%
Inspections, & Maintenance | 47.06%
Tree Cutting | 47.06%
Network Policy | 47.06%
Network Design & Engineering | 47.06%
Project Management | 47.06%
Engineering Mgt & Clerical Support | 47.06%
Control Centre | 47.06%
System Mapping - Cartographical | 47.06%
Customer Call Centre | 47.06%
Stores | 47.06%
Vehicles & Transport | 47.06%
IT & Telecoms | 0%
Property Mgt | 0%
HR & Non-operational Training | 47.06%
Health & Safety & Operational Training | 47.06%
Finance & Regulation | 47.06%
CEO etc | 47.06%
Atypical cash costs | 0%
Pension deficit payments | 0%
Metering | 0%
Excluded services & de minimis | 0%
Relevant distributed generation (less contributions) | 0%
IFI | 0%
Disallowed Related Party Margins | 0%
Statutory Depreciation | 0%
Network Rates | 0%
Transmission Exit Charges | 0%
Pension deficit repair payments by related parties (note 2) | 0%
Non activity costs and reconciling amounts (note 3) | 0%
1418. Allocation to LV services
Data sources:
x1 = 1415. Complete allocation: LV total share
x2 = 1417. Allocation of LV to LV services
Calculation =x1*x2
LV services
Load related new connections & reinforcement (net of contributions) | 0
Non-load new & replacement assets (net of contributions) | 7053813.3878
Non-operational capex | 873805.064
Faults | 4352322.8653
Inspections, & Maintenance | 158071.2522
Tree Cutting | 290322.0594
Network Policy | 171054.8184
Network Design & Engineering | 1822148.8298
Project Management | 827581.7104
Engineering Mgt & Clerical Support | 3215947.3373
Control Centre | 561744.798
System Mapping - Cartographical | 256373.4185
Customer Call Centre | 294027.8698
Stores | 243694.5709
Vehicles & Transport | 429872.1445
IT & Telecoms | 0
Property Mgt | 0
HR & Non-operational Training | 589365.9212
Health & Safety & Operational Training | 174463.1215
Finance & Regulation | 1850973.8868
CEO etc | 495006.1198
Atypical cash costs | 0
Pension deficit payments | 0
Metering | 0
Excluded services & de minimis | 0
Relevant distributed generation (less contributions) | 0
IFI | 0
Disallowed Related Party Margins | 0
Statutory Depreciation | 0
Network Rates | 0
Transmission Exit Charges | 0
Pension deficit repair payments by related parties (note 2) | 0
Non activity costs and reconciling amounts (note 3) | 0
1419. Allocation to LV mains
Data sources:
x1 = 1415. Complete allocation: LV total share
x2 = 1417. Allocation of LV to LV services
Calculation =x1*(1-x2)
LV mains
Load related new connections & reinforcement (net of contributions) | 5592992.279
Non-load new & replacement assets (net of contributions) | 7936150.8054
Non-operational capex | 983106.3542
Faults | 4896740.063
Inspections, & Maintenance | 177843.8451
Tree Cutting | 326637.4539
Network Policy | 192451.4812
Network Design & Engineering | 2050075.2016
Project Management | 931101.0792
Engineering Mgt & Clerical Support | 3618219.2026
Control Centre | 632011.5357
System Mapping - Cartographical | 288442.2935
Customer Call Centre | 330806.8115
Stores | 274177.4922
Vehicles & Transport | 483643.3824
IT & Telecoms | 0
Property Mgt | 0
HR & Non-operational Training | 663087.6908
Health & Safety & Operational Training | 196286.1174
Finance & Regulation | 2082505.8865
CEO etc | 556924.7441
Atypical cash costs | 0
Pension deficit payments | 0
Metering | 0
Excluded services & de minimis | 0
Relevant distributed generation (less contributions) | 0
IFI | 0
Disallowed Related Party Margins | 0
Statutory Depreciation | 0
Network Rates | 0
Transmission Exit Charges | 0
Pension deficit repair payments by related parties (note 2) | 0
Non activity costs and reconciling amounts (note 3) | 0
1420. Complete allocation split between LV mains and services
Data sources:
x1 = 1418. Allocation to LV services
x2 = 1419. Allocation to LV mains
x3 = 1414. Complete allocation
Combine tables = x1 or x2 or x3
| LV services | LV mains | HV/LV | HV | EHV&132
Load related new connections & reinforcement (net of contributions) | 0 | 5592992.279 | 0 | 5200104.015 | 23665150.7056
Non-load new & replacement assets (net of contributions) | 7053813.3878 | 7936150.8054 | 9565175.5234 | 10730351.3117 | 28221096.7846
Non-operational capex | 873805.064 | 983106.3542 | 234841.3357 | 835346.7159 | 1153326.1717
Faults | 4352322.8653 | 4896740.063 | 141966.9629 | 4776220.4655 | 1867144.2932
Inspections, & Maintenance | 158071.2522 | 177843.8451 | 2839524.1622 | -66568.4672 | 1634117.1531
Tree Cutting | 290322.0594 | 326637.4539 | -5300.4239 | 619115.2872 | 406113.7247
Network Policy | 171054.8184 | 192451.4812 | 45972.201 | 163526.2677 | 225773.467
Network Design & Engineering | 1822148.8298 | 2050075.2016 | 489715.4785 | 1741951.4987 | 2405035.1966
Project Management | 827581.7104 | 931101.0792 | 222418.4801 | 791157.7678 | 1092316.4503
Engineering Mgt & Clerical Support | 3215947.3373 | 3618219.2026 | 864308.7565 | 3074405.4451 | 4244695.2798
Control Centre | 561744.798 | 632011.5357 | 150972.9162 | 537021.0034 | 741441.088
System Mapping - Cartographical | 256373.4185 | 288442.2935 | 68902.1825 | 245089.7826 | 338384.5956
Customer Call Centre | 294027.8698 | 330806.8115 | 79022.0846 | 281086.9673 | 388084.3124
Stores | 243694.5709 | 274177.4922 | 65494.652 | 232968.9629 | 321649.9173
Vehicles & Transport | 429872.1445 | 483643.3824 | 115531.2011 | 410952.3954 | 567383.7509
IT & Telecoms | 0 | 0 | 0 | 0 | 0
Property Mgt | 0 | 0 | 0 | 0 | 0
HR & Non-operational Training | 589365.9212 | 663087.6908 | 158396.2898 | 563426.4518 | 777897.9198
Health & Safety & Operational Training | 174463.1215 | 196286.1174 | 46888.2067 | 166784.5629 | 230272.0508
Finance & Regulation | 1850973.8868 | 2082505.8865 | 497462.4179 | 1769507.8928 | 2443081.0881
CEO etc | 495006.1198 | 556924.7441 | 133036.421 | 473219.6614 | 653353.404
Atypical cash costs | 0 | 0 | 0 | 0 | 0
Pension deficit payments | 0 | 0 | 0 | 0 | 0
Metering | 0 | 0 | 0 | 0 | 0
Excluded services & de minimis | 0 | 0 | 0 | 0 | 0
Relevant distributed generation (less contributions) | 0 | 0 | 0 | 0 | 0
IFI | 0 | 0 | 0 | 0 | 0
Disallowed Related Party Margins | 0 | 0 | 0 | 0 | 0
Statutory Depreciation | 0 | 0 | 0 | 0 | 0
Network Rates | 0 | 0 | 0 | 0 | 0
Transmission Exit Charges | 0 | 0 | 0 | 0 | 0
Pension deficit repair payments by related parties (note 2) | 0 | 0 | 0 | 0 | 0
Non activity costs and reconciling amounts (note 3) | 0 | 0 | 0 | 0 | 0
1421. Complete allocation, adjusted for regulatory capitalisation
Data sources:
x1 = 1420. Complete allocation split between LV mains and services
x2 = 1403. Percentage capitalised (in Allocation rules)
Calculation =x1*(1-x2)
| LV services | LV mains | HV/LV | HV | EHV&132
Load related new connections & reinforcement (net of contributions) | 0 | 0 | 0 | 0 | 0
Non-load new & replacement assets (net of contributions) | 0 | 0 | 0 | 0 | 0
Non-operational capex | 668460.874 | 752076.361 | 179653.6218 | 639040.2377 | 882294.5213
Faults | 3329526.9919 | 3746006.1482 | 108604.7266 | 3653808.6561 | 1428365.3843
Inspections, & Maintenance | 120924.5079 | 136050.5415 | 2172235.9841 | -50924.8774 | 1250099.6221
Tree Cutting | 222096.3754 | 249877.6522 | -4054.8243 | 473623.1947 | 310676.9994
Network Policy | 81131.3004 | 91279.7375 | 21804.6149 | 77560.5087 | 107084.3554
Network Design & Engineering | 864245.19 | 972350.6681 | 232272.0515 | 826207.5958 | 1140708.1938
Project Management | 392522.0052 | 441621.2418 | 105493.0851 | 375246.1293 | 518085.6924
Engineering Mgt & Clerical Support | 1525323.8221 | 1716121.3678 | 409941.6432 | 1458190.5026 | 2013258.9712
Control Centre | 266435.5577 | 299763.0714 | 71606.4542 | 254709.0619 | 351665.508
System Mapping - Cartographical | 121597.9124 | 136808.1798 | 32680.3052 | 116246.0839 | 160495.8137
Customer Call Centre | 139457.4187 | 156901.6707 | 37480.1747 | 133319.5486 | 184068.3894
Stores | 115584.335 | 130042.3846 | 31064.1134 | 110497.1791 | 152558.5558
Vehicles & Transport | 203888.3581 | 229392.0563 | 54796.4487 | 194914.7212 | 269110.113
IT & Telecoms | 0 | 0 | 0 | 0 | 0
Property Mgt | 0 | 0 | 0 | 0 | 0
HR & Non-operational Training | 279536.2564 | 314502.4917 | 75127.3603 | 267233.1661 | 368956.9834
Health & Safety & Operational Training | 82747.8585 | 93098.5055 | 22239.0765 | 79105.9182 | 109218.0337
Finance & Regulation | 877916.9145 | 987732.542 | 235946.4248 | 839277.5936 | 1158753.3601
CEO etc | 234781.4026 | 264149.4061 | 63099.1745 | 224448.0854 | 309885.5195
Atypical cash costs | 0 | 0 | 0 | 0 | 0
Pension deficit payments | 0 | 0 | 0 | 0 | 0
Metering | 0 | 0 | 0 | 0 | 0
Excluded services & de minimis | 0 | 0 | 0 | 0 | 0
Relevant distributed generation (less contributions) | 0 | 0 | 0 | 0 | 0
IFI | 0 | 0 | 0 | 0 | 0
Disallowed Related Party Margins | 0 | 0 | 0 | 0 | 0
Statutory Depreciation | 0 | 0 | 0 | 0 | 0
Network Rates | 0 | 0 | 0 | 0 | 0
Transmission Exit Charges | 0 | 0 | 0 | 0 | 0
Pension deficit repair payments by related parties (note 2) | 0 | 0 | 0 | 0 | 0
Non activity costs and reconciling amounts (note 3) | 0 | 0 | 0 | 0 | 0
1422. Total expensed for each level
Data sources:
x1 = 1421. Complete allocation, adjusted for regulatory capitalisation
Cell summation =SUM(x1)
| LV services | LV mains | HV/LV | HV | EHV&132
Total expensed for each level | 9526177.0809 | 10717774.0262 | 3849990.4351 | 9672503.3054 | 10715286.0164
1423. Expensed proportions
Data sources:
x1 = 1422. Total expensed for each level
Calculation =x1/SUM(x1)
| LV services | LV mains | HV/LV | HV | EHV&132
Expensed proportions | 21.42% | 24.09% | 8.655% | 21.74% | 24.09%
1424. Net capex percentages
Data sources:
x1 = 1369. Net capex analysis pre-DCP 118 (£)
Special calculation =(x1 or x1+x1)/SUM(x1:x1)
| LV | HV/LV | HV | EHV&132
Net capex percentages | 22.94% | 7.951% | 23.44% | 45.67%
1425. Net capex percentages after DCP 118 exclusions
Data sources:
x1 = 1424. Net capex percentages
x2 = 1409. Proportion to be kept
Calculation =x1*x2/SUMPRODUCT(x1,x2)
| LV | HV/LV | HV | EHV&132
Net capex percentages after DCP 118 exclusions | 24.21% | 8.39% | 24.74% | 42.67%
1426. Net capex: LV total share
Data sources:
x1 = 1425. Net capex percentages after DCP 118 exclusions
Copy cells = x1
LV
Net capex: LV total share | 24.21%
1427. Allocation to LV services
Data sources:
x1 = 1426. Net capex: LV total share
x2 = 1380. Net capex: ratio of LV services to LV total
Calculation =x1*x2
LV services
Allocation to LV services | 5.911%
1428. Allocation to LV mains
Data sources:
x1 = 1426. Net capex: LV total share
x2 = 1380. Net capex: ratio of LV services to LV total
Calculation =x1*(1-x2)
LV mains
Allocation to LV mains | 18.3%
1429. Net capex allocation split between LV mains and services
Data sources:
x1 = 1427. Allocation to LV services
x2 = 1428. Allocation to LV mains
x3 = 1425. Net capex percentages after DCP 118 exclusions
Combine tables = x1 or x2 or x3
| LV services | LV mains | HV/LV | HV | EHV&132
Net capex allocation split between LV mains and services | 5.911% | 18.3% | 8.39% | 24.74% | 42.67%
1430. Proportion of price control revenue attributed to opex
Data sources:
x1 = 1310. Aggregate operating (in DPCR4 aggregate allowances (£))
x2 = 1310. Aggregate return (in DPCR4 aggregate allowances (£))
x3 = 1310. Aggregate depreciation (in DPCR4 aggregate allowances (£))
Calculation =x1/(x2+x3+x1)
Proportion of price control revenue attributed to opex
Proportion of price control revenue attributed to opex | 31.39%
1431. To be deducted from revenue and treated as "upstream" cost
Data sources:
x1 = 1403. Allocation key (in Allocation rules)
x2 = 1335. Total costs (£/year)
Calculation =SUMIF(x1,"Deduct from revenue",x2)
To be deducted from revenue and treated as "upstream" cost
To be deducted from revenue and treated as "upstream" cost | 18525181
1432. Revenue to be allocated between network levels (£/year)
Data sources:
x1 = 1315. Total revenue (in Analysis of allowed revenue for 2007/2008 (£/year))
x2 = 1315. Net incentive revenue (in Analysis of allowed revenue for 2007/2008 (£/year))
x3 = 1431. To be deducted from revenue and treated as "upstream" cost
Calculation =x1-x2-x3
Revenue to be allocated between network levels (£/year)
Revenue to be allocated between network levels (£/year) | 367297042
1433. Adjustment factors to LV (kWh/GWh)
Data sources:
x1 = 1322. Losses (GWh)
x2 = 1321. Units distributed (GWh)
Special calculation =1000000*(1+x1/(x2+x2/2+x2/4)/[1, 2 or 4])/(1+x1/(x2+x2/2+x2/4))
| LV | HV/LV | HV | EHV&132
EHV (Includes 132kV) |  |  |  | 956845.9949
HV |  |  | 971230.6633 | 971230.6633
LV | 1000000 | 1000000 | 1000000 | 1000000
1434. Units flowing, loss adjusted to LV (kWh)
Data sources:
x1 = 1433. Adjustment factors to LV (kWh/GWh)
x2 = 1321. Units distributed (GWh)
Sum-product calculation =SUMPRODUCT(x1, x2)
| LV | HV/LV | HV | EHV&132
Units flowing, loss adjusted to LV (kWh) | 16988700000 | 16988700000 | 23972722576.638 | 25333548950.6303
1435. Units at LV
Data sources:
x1 = 1434. Units flowing, loss adjusted to LV (kWh)
Copy cells = x1
LV
Units at LV | 16988700000
1436. Allocation to LV services
Data sources:
x1 = 1435. Units at LV
Copy cells =x1
LV services
Allocation to LV services | 16988700000
1437. Allocation to LV mains
Data sources:
x1 = 1435. Units at LV
Copy cells =x1
LV mains
Allocation to LV mains | 16988700000
1438. Units
Data sources:
x1 = 1436. Allocation to LV services
x2 = 1437. Allocation to LV mains
x3 = 1434. Units flowing, loss adjusted to LV (kWh)
Combine tables = x1 or x2 or x3
| LV services | LV mains | HV/LV | HV | EHV&132
Units | 16988700000 | 16988700000 | 16988700000 | 23972722576.638 | 25333548950.6303
1439. p/kWh split (DCP 117 modified)
Data sources:
x1 = 1430. Proportion of price control revenue attributed to opex
x2 = 1429. Net capex allocation split between LV mains and services
x3 = 1423. Expensed proportions
x4 = 1432. Revenue to be allocated between network levels (£/year)
x5 = 1328. DCP 117/DCP 231 additional annual income (£)
x6 = 1438. Units
Calculation =(((1-x1)*x2+x1*x3)*x4+x5*x3)/x6*100
| LV services | LV mains | HV/LV | HV | EHV&132
p/kWh split (DCP 117 modified) | 0.24452 | 0.44786 | 0.18784 | 0.3729 | 0.54272
1440. p/kWh not split
Data sources:
x1 = 1315. Net incentive revenue (in Analysis of allowed revenue for 2007/2008 (£/year))
x2 = 1431. To be deducted from revenue and treated as "upstream" cost
x3 = 1438. Units
Calculation =100*(x1+x2)/x3
EHV&132
p/kWh not split | 0.11945
1441. Allocated proportion
Data sources:
x1 = 1439. p/kWh split (DCP 117 modified)
x2 = 1440. p/kWh not split
Calculation =x1/(SUM(x1)+x2)
| LV services | LV mains | HV/LV | HV | EHV&132
Allocated proportion | 12.77% | 23.38% | 9.808% | 19.47% | 28.34%
1442. Allocations to network levels
Data sources:
x1 = 1441. Allocated proportion
Kind: | Copy cells | Copy cells | Copy cells | Copy cells
Formula: | = x1 | = x1 | = x1 | = x1
| LV services allocation | LV mains allocation | HV/LV allocation | HV allocation
Allocations to network levels | 12.77% | 23.38% | 9.808% | 19.47%
1443. Complete allocation, zeroing out negative numbers
Data sources:
x1 = 1414. Complete allocation
Calculation =MAX(0,x1)
| LV | HV/LV | HV | EHV&132
Load related new connections & reinforcement (net of contributions) | 5592992.279 | 0 | 5200104.015 | 23665150.7056
Non-load new & replacement assets (net of contributions) | 14989964.1932 | 9565175.5234 | 10730351.3117 | 28221096.7846
Non-operational capex | 1856911.4182 | 234841.3357 | 835346.7159 | 1153326.1717
Faults | 9249062.9283 | 141966.9629 | 4776220.4655 | 1867144.2932
Inspections, & Maintenance | 335915.0972 | 2839524.1622 | 0 | 1634117.1531
Tree Cutting | 616959.5133 | 0 | 619115.2872 | 406113.7247
Network Policy | 363506.2996 | 45972.201 | 163526.2677 | 225773.467
Network Design & Engineering | 3872224.0313 | 489715.4785 | 1741951.4987 | 2405035.1966
Project Management | 1758682.7896 | 222418.4801 | 791157.7678 | 1092316.4503
Engineering Mgt & Clerical Support | 6834166.5399 | 864308.7565 | 3074405.4451 | 4244695.2798
Control Centre | 1193756.3337 | 150972.9162 | 537021.0034 | 741441.088
System Mapping - Cartographical | 544815.712 | 68902.1825 | 245089.7826 | 338384.5956
Customer Call Centre | 624834.6813 | 79022.0846 | 281086.9673 | 388084.3124
Stores | 517872.0632 | 65494.652 | 232968.9629 | 321649.9173
Vehicles & Transport | 913515.527 | 115531.2011 | 410952.3954 | 567383.7509
IT & Telecoms | 0 | 0 | 0 | 0
Property Mgt | 0 | 0 | 0 | 0
HR & Non-operational Training | 1252453.612 | 158396.2898 | 563426.4518 | 777897.9198
Health & Safety & Operational Training | 370749.2389 | 46888.2067 | 166784.5629 | 230272.0508
Finance & Regulation | 3933479.7732 | 497462.4179 | 1769507.8928 | 2443081.0881
CEO etc | 1051930.8639 | 133036.421 | 473219.6614 | 653353.404
Atypical cash costs | 0 | 0 | 0 | 0
Pension deficit payments | 0 | 0 | 0 | 0
Metering | 0 | 0 | 0 | 0
Excluded services & de minimis | 0 | 0 | 0 | 0
Relevant distributed generation (less contributions) | 0 | 0 | 0 | 0
IFI | 0 | 0 | 0 | 0
Disallowed Related Party Margins | 0 | 0 | 0 | 0
Statutory Depreciation | 0 | 0 | 0 | 0
Network Rates | 0 | 0 | 0 | 0
Transmission Exit Charges | 0 | 0 | 0 | 0
Pension deficit repair payments by related parties (note 2) | 0 | 0 | 0 | 0
Non activity costs and reconciling amounts (note 3) | 0 | 0 | 0 | 0
1444. Direct costs
Data sources:
x1 = 1443. Complete allocation, zeroing out negative numbers
x2 = 1403. Direct cost indicator (in Allocation rules)
Sum-product calculation =SUMPRODUCT(x1, x2)
| LV | HV/LV | HV | EHV&132
Direct costs | 32641805.4292 | 12781507.9842 | 22161137.7953 | 56946948.8328
1445. Total costs
Data sources:
x1 = 1443. Complete allocation, zeroing out negative numbers
Cell summation =SUM(x1)
| LV | HV/LV | HV | EHV&132
Total costs | 55873792.8948 | 15719629.2721 | 32612236.455 | 71376317.3534
1446. Direct cost proportion for each network level
Data sources:
x1 = 1444. Direct costs
x2 = 1445. Total costs
Calculation =x1/x2
| LV | HV/LV | HV | EHV&132
Direct cost proportion for each network level | 58.42% | 81.31% | 67.95% | 79.78%
1447. HV and LV direct cost proportions
Data sources:
x1 = 1446. Direct cost proportion for each network level
Kind: | Copy cells | Copy cells
Formula: | = x1 | = x1
| LV direct proportion | HV direct proportion
HV and LV direct cost proportions | 58.42% | 67.95%

## EDCM
Calculations (EDCM) for Electricity North West in 2017/2018 (December 2015)
1501. All allocation percentages
Data sources:
x1 = 1403. Allocation key (in Allocation rules)
x2 = 1412. LV only
x3 = 1406. MEAV percentages
x4 = 1411. EHV only
Calculation =IF(x1="60%MEAV",0.4*x2+x3,IF(x1="MEAV",x3,IF(x1="EHV only",x4,IF(x1="LV only",x2,0))))
| LV | HV/LV | HV | EHV&132
Load related new connections & reinforcement (net of contributions) | 0% | 0% | 0% | 0%
Non-load new & replacement assets (net of contributions) | 43.9% | 5.552% | 19.75% | 30.8%
Non-operational capex | 43.9% | 5.552% | 19.75% | 30.8%
Faults | 43.9% | 5.552% | 19.75% | 30.8%
Inspections, & Maintenance | 43.9% | 5.552% | 19.75% | 30.8%
Tree Cutting | 43.9% | 5.552% | 19.75% | 30.8%
Network Policy | 43.9% | 5.552% | 19.75% | 30.8%
Network Design & Engineering | 43.9% | 5.552% | 19.75% | 30.8%
Project Management | 43.9% | 5.552% | 19.75% | 30.8%
Engineering Mgt & Clerical Support | 43.9% | 5.552% | 19.75% | 30.8%
Control Centre | 43.9% | 5.552% | 19.75% | 30.8%
System Mapping - Cartographical | 43.9% | 5.552% | 19.75% | 30.8%
Customer Call Centre | 43.9% | 5.552% | 19.75% | 30.8%
Stores | 43.9% | 5.552% | 19.75% | 30.8%
Vehicles & Transport | 43.9% | 5.552% | 19.75% | 30.8%
IT & Telecoms | 0% | 0% | 0% | 0%
Property Mgt | 0% | 0% | 0% | 0%
HR & Non-operational Training | 43.9% | 5.552% | 19.75% | 30.8%
Health & Safety & Operational Training | 43.9% | 5.552% | 19.75% | 30.8%
Finance & Regulation | 43.9% | 5.552% | 19.75% | 30.8%
CEO etc | 43.9% | 5.552% | 19.75% | 30.8%
Atypical cash costs | 0% | 0% | 0% | 0%
Pension deficit payments | 0% | 0% | 0% | 0%
Metering | 0% | 0% | 0% | 0%
Excluded services & de minimis | 0% | 0% | 0% | 0%
Relevant distributed generation (less contributions) | 0% | 0% | 0% | 0%
IFI | 0% | 0% | 0% | 0%
Disallowed Related Party Margins | 0% | 0% | 0% | 0%
Statutory Depreciation | 0% | 0% | 0% | 0%
Network Rates | 0% | 0% | 0% | 0%
Transmission Exit Charges | 0% | 0% | 0% | 0%
Pension deficit repair payments by related parties (note 2) | 0% | 0% | 0% | 0%
Non activity costs and reconciling amounts (note 3) | 0% | 0% | 0% | 0%
1502. Complete allocation
Data sources:
x1 = 1403. Allocation key (in Allocation rules)
x2 = 1401. Allocated costs after DCP 117 adjustments
x3 = 1335. Total costs (£/year)
x4 = 1402. Amounts already allocated (in Expenditure data)
x5 = 1501. All allocation percentages
Calculation =IF(x1="Kill",0,x2+(x3-x4)*x5)
| LV | HV/LV | HV | EHV&132
Load related new connections & reinforcement (net of contributions) | 5592992.279 | 0 | 5200104.015 | 23665150.7056
Non-load new & replacement assets (net of contributions) | 15023430.6748 | 9569407.9887 | 10745406.4808 | 28168342.6685
Non-operational capex | 1791387.7012 | 226554.6307 | 805870.3385 | 1256612.9712
Faults | 9271252.0464 | 144773.1938 | 4786202.4209 | 1832166.9888
Inspections, & Maintenance | 357814.426 | 2842293.7437 | -56716.8759 | 1599596.6515
Tree Cutting | 618438.3989 | -5113.3911 | 619780.5759 | 403782.5174
Network Policy | 350679.4713 | 44350.0076 | 157756.0145 | 245992.7419
Network Design & Engineering | 3735587.1895 | 472435.1828 | 1680484.3033 | 2620419.5296
Project Management | 1696625.2071 | 214570.1329 | 763240.6592 | 1190139.4885
Engineering Mgt & Clerical Support | 6593013.4133 | 833810.4129 | 2965920.7482 | 4624831.4469
Control Centre | 1151632.9715 | 145645.6257 | 518071.466 | 807841.2781
System Mapping - Cartographical | 525591.1274 | 66470.8726 | 236441.4468 | 368688.8259
Customer Call Centre | 602786.5155 | 76233.6798 | 271168.4204 | 422839.4299
Stores | 499598.223 | 63183.5815 | 224748.3271 | 350455.4636
Vehicles & Transport | 881280.8537 | 111454.5211 | 396451.3653 | 618196.1343
IT & Telecoms | 0 | 0 | 0 | 0
Property Mgt | 0 | 0 | 0 | 0
HR & Non-operational Training | 1208259.0342 | 152807.0551 | 543545.1613 | 847563.0228
Health & Safety & Operational Training | 357666.8334 | 45233.6908 | 160899.3363 | 250894.1989
Finance & Regulation | 3794681.4369 | 479908.7606 | 1707068.3315 | 2661872.6431
CEO etc | 1014812.0118 | 128342.0448 | 456521.4436 | 711864.8501
Atypical cash costs | 0 | 0 | 0 | 0
Pension deficit payments | 0 | 0 | 0 | 0
Metering | 0 | 0 | 0 | 0
Excluded services & de minimis | 0 | 0 | 0 | 0
Relevant distributed generation (less contributions) | 0 | 0 | 0 | 0
IFI | 0 | 0 | 0 | 0
Disallowed Related Party Margins | 0 | 0 | 0 | 0
Statutory Depreciation | 0 | 0 | 0 | 0
Network Rates | 0 | 0 | 0 | 0
Transmission Exit Charges | 0 | 0 | 0 | 0
Pension deficit repair payments by related parties (note 2) | 0 | 0 | 0 | 0
Non activity costs and reconciling amounts (note 3) | 0 | 0 | 0 | 0
1503. Complete allocation, zeroing out negative numbers
Data sources:
x1 = 1502. Complete allocation
Calculation =MAX(0,x1)
| LV | HV/LV | HV | EHV&132
Load related new connections & reinforcement (net of contributions) | 5592992.279 | 0 | 5200104.015 | 23665150.7056
Non-load new & replacement assets (net of contributions) | 15023430.6748 | 9569407.9887 | 10745406.4808 | 28168342.6685
Non-operational capex | 1791387.7012 | 226554.6307 | 805870.3385 | 1256612.9712
Faults | 9271252.0464 | 144773.1938 | 4786202.4209 | 1832166.9888
Inspections, & Maintenance | 357814.426 | 2842293.7437 | 0 | 1599596.6515
Tree Cutting | 618438.3989 | 0 | 619780.5759 | 403782.5174
Network Policy | 350679.4713 | 44350.0076 | 157756.0145 | 245992.7419
Network Design & Engineering | 3735587.1895 | 472435.1828 | 1680484.3033 | 2620419.5296
Project Management | 1696625.2071 | 214570.1329 | 763240.6592 | 1190139.4885
Engineering Mgt & Clerical Support | 6593013.4133 | 833810.4129 | 2965920.7482 | 4624831.4469
Control Centre | 1151632.9715 | 145645.6257 | 518071.466 | 807841.2781
System Mapping - Cartographical | 525591.1274 | 66470.8726 | 236441.4468 | 368688.8259
Customer Call Centre | 602786.5155 | 76233.6798 | 271168.4204 | 422839.4299
Stores | 499598.223 | 63183.5815 | 224748.3271 | 350455.4636
Vehicles & Transport | 881280.8537 | 111454.5211 | 396451.3653 | 618196.1343
IT & Telecoms | 0 | 0 | 0 | 0
Property Mgt | 0 | 0 | 0 | 0
HR & Non-operational Training | 1208259.0342 | 152807.0551 | 543545.1613 | 847563.0228
Health & Safety & Operational Training | 357666.8334 | 45233.6908 | 160899.3363 | 250894.1989
Finance & Regulation | 3794681.4369 | 479908.7606 | 1707068.3315 | 2661872.6431
CEO etc | 1014812.0118 | 128342.0448 | 456521.4436 | 711864.8501
Atypical cash costs | 0 | 0 | 0 | 0
Pension deficit payments | 0 | 0 | 0 | 0
Metering | 0 | 0 | 0 | 0
Excluded services & de minimis | 0 | 0 | 0 | 0
Relevant distributed generation (less contributions) | 0 | 0 | 0 | 0
IFI | 0 | 0 | 0 | 0
Disallowed Related Party Margins | 0 | 0 | 0 | 0
Statutory Depreciation | 0 | 0 | 0 | 0
Network Rates | 0 | 0 | 0 | 0
Transmission Exit Charges | 0 | 0 | 0 | 0
Pension deficit repair payments by related parties (note 2) | 0 | 0 | 0 | 0
Non activity costs and reconciling amounts (note 3) | 0 | 0 | 0 | 0
1504. Direct costs
Data sources:
x1 = 1503. Complete allocation, zeroing out negative numbers
x2 = 1403. Direct cost indicator (in Allocation rules)
Sum-product calculation =SUMPRODUCT(x1, x2)
| LV | HV/LV | HV | EHV&132
Direct costs | 32655315.5263 | 12783029.5569 | 22157363.8312 | 56925652.503
1505. Total costs
Data sources:
x1 = 1503. Complete allocation, zeroing out negative numbers
Cell summation =SUM(x1)
| LV | HV/LV | HV | EHV&132
Total costs | 55067529.815 | 15617475.1251 | 32239680.8546 | 72647251.5565
1506. Direct cost proportion for each network level
Data sources:
x1 = 1504. Direct costs
x2 = 1505. Total costs
Calculation =x1/x2
| LV | HV/LV | HV | EHV&132
Direct cost proportion for each network level | 59.3% | 81.85% | 68.73% | 78.36%
1507. Splitting factors
Data sources:
x1 = 1301. DNO LV mains usage
x2 = 1302. DNO HV mains usage
x3 = 1506. Direct cost proportion for each network level
Special calculation Special calculation
| LV | HV | EHV | 132kV
Splitting factors | 96.68% | 59.45% | 21.64% | 21.64%
1508. Splitting factor 132kV
Data sources:
x1 = 1507. Splitting factors
Copy cells =x1
132kV
LDNO 132kV: LV demand | 21.64%
LDNO 132kV: LV Sub dem ¦ LV gen | 21.64%
LDNO 132kV: HV dem ¦ LV Sub gen | 21.64%
LDNO 132kV: HV generation | 21.64%
1509. Splitting factor EHV
Data sources:
x1 = 1507. Splitting factors
Copy cells =x1
EHV
LDNO EHV: LV demand | 21.64%
LDNO EHV: LV Sub dem ¦ LV gen | 21.64%
LDNO EHV: HV dem ¦ LV Sub gen | 21.64%
LDNO EHV: HV generation | 21.64%
1510. Network levels not covered by DNO network
Data sources:
x1 = 1508. Splitting factor 132kV
x2 = 1509. Splitting factor EHV
x3 = Network levels not covered by DNO network
Combine tables = x1 or x2 or x3
| LV | HV/LV | HV | EHV/HV | EHV | 132kV/EHV | 132kV
LDNO HVplus: LV demand | 1 | 1 | 1
LDNO HVplus: LV Sub dem ¦ LV gen | 1 | 1 | 1
LDNO HVplus: HV dem ¦ LV Sub gen | 1 | 1 | 1
LDNO HVplus: HV generation | 1 | 1 | 1
LDNO EHV: LV demand | 1 | 1 | 1 | 1 | 0.21641
LDNO EHV: LV Sub dem ¦ LV gen | 1 | 1 | 1 | 1 | 0.21641
LDNO EHV: HV dem ¦ LV Sub gen | 1 | 1 | 1 | 1 | 0.21641
LDNO EHV: HV generation | 1 | 1 | 1 | 1 | 0.21641
LDNO 132kV/EHV: LV demand | 1 | 1 | 1 | 1 | 1
LDNO 132kV/EHV: LV Sub dem ¦ LV gen | 1 | 1 | 1 | 1 | 1
LDNO 132kV/EHV: HV dem ¦ LV Sub gen | 1 | 1 | 1 | 1 | 1
LDNO 132kV/EHV: HV generation | 1 | 1 | 1 | 1 | 1
LDNO 132kV: LV demand | 1 | 1 | 1 | 1 | 1 | 1 | 0.21641
LDNO 132kV: LV Sub dem ¦ LV gen | 1 | 1 | 1 | 1 | 1 | 1 | 0.21641
LDNO 132kV: HV dem ¦ LV Sub gen | 1 | 1 | 1 | 1 | 1 | 1 | 0.21641
LDNO 132kV: HV generation | 1 | 1 | 1 | 1 | 1 | 1 | 0.21641
LDNO 0000: LV demand | 1 | 1 | 1 | 1 | 1 | 1 | 1
LDNO 0000: LV Sub dem ¦ LV gen | 1 | 1 | 1 | 1 | 1 | 1 | 1
LDNO 0000: HV dem ¦ LV Sub gen | 1 | 1 | 1 | 1 | 1 | 1 | 1
LDNO 0000: HV generation | 1 | 1 | 1 | 1 | 1 | 1 | 1
1511. MEAV calculations
Data sources:
x1 = 1404. MEAV (£) (in MEAV calculations)
Kind: | Copy cells | Fixed data
Formula: | = x1
MEAV EDCM mapping
| MEAV (£) | EHV/HV | EHV | 132kV/EHV | 132kV
LV main overhead line km | 62487276.205
LV service overhead | 67046992.0635
LV overhead support | 92379293.0047
LV main underground consac km | 406137515.741
LV main underground plastic km | 394729500.644
LV main underground paper km | 1700594519.3414
LV service underground | 2493876903.5737
LV pillar indoors | 25113282.4599
LV pillar outdoors | 54053093.1556
LV board wall-mounted | 49085409.8095
LV board underground | 96681226.1014
LV fuse pole-mounted | 0
LV fuse tower-mounted | 0
6.6/11kV overhead open km | 92522014.4114
6.6/11kV overhead covered km | 599740.0676
20kV overhead open pm | 0
20kV overhead covered km | 0
6.6/11kV overhead support | 299146455.5545
20kV overhead support | 0
6.6/11kV underground km | 1493286424.6894
20kV underground km | 0
HV submarine km | 7659098.313
6.6/11kV breaker pole-mounted | 12997091.0316 | 1 | 0 | 0 | 0
6.6/11kV breaker ground-mounted | 434916402.4024 | 1 | 0 | 0 | 0
6.6/11kV switch pole-mounted | 497357.2606
6.6/11kV switch ground-mounted | 159496482.5324
6.6/11kV ring main unit | 202987001.6003
6.6/11kV other switchgear pole-mounted | 49182542.989
6.6/11kV other switchgear ground-mounted | 67697.9977
20kV breaker pole-mounted | 0 | 1 | 0 | 0 | 0
20kV breaker ground-mounted | 0 | 1 | 0 | 0 | 0
20kV switch pole-mounted | 0
20kV switch ground-mounted | 0
20kV ring main unit | 0
20kV other switchgear pole-mounted | 0
20kV other switchgear ground-mounted | 0
6.6/11kV transformer pole-mounted | 75351880.6356
6.6/11kV transformer ground-mounted | 250431175.5218
20kV transformer pole-mounted | 0
20kV transformer ground-mounted | 0
33kV overhead pole line km | 24548586.7775 | 0 | 1 | 0 | 0
33kV overhead tower line km | 22536672.0438 | 0 | 1 | 0 | 0
66kV overhead pole line km | 0 | 0 | 1 | 0 | 0
66kV overhead tower line km | 0 | 0 | 1 | 0 | 0
33kV pole | 74628511.4286 | 0 | 1 | 0 | 0
33kV tower | 27657829.7962 | 0 | 1 | 0 | 0
66kV pole | 0 | 0 | 1 | 0 | 0
66kV tower | 0 | 0 | 1 | 0 | 0
33kV underground non-pressurised km | 513250593.8824 | 0 | 1 | 0 | 0
33kV underground oil km | 115623581.6343 | 0 | 1 | 0 | 0
33kV underground gas km | 82875410.7184 | 0 | 1 | 0 | 0
66kV underground non-pressurised km | 0 | 0 | 1 | 0 | 0
66kV underground oil km | 0 | 0 | 1 | 0 | 0
66kV underground gas km | 0 | 0 | 1 | 0 | 0
EHV submarine km | 0 | 0 | 1 | 0 | 0
33kV breaker indoors | 159592413.8351 | 0 | 0 | 1 | 0
33kV breaker outdoors | 17498682.433 | 0 | 0 | 1 | 0
33kV switch ground-mounted | 6977322.7423 | 0 | 0 | 1 | 0
33kV switch pole-mounted | 3913207.4639 | 0 | 0 | 1 | 0
33kV ring main unit | 664506.9278 | 0 | 0 | 1 | 0
33kV other switchgear | 8306336.5979 | 1 | 0 | 0 | 0
66kV breaker | 0 | 0 | 0 | 1 | 0
66kV other switchgear | 0 | 1 | 0 | 0 | 0
33kV transformer pole-mounted | 0 | 1 | 0 | 0 | 0
33kV transformer ground-mounted | 424400668.1931 | 1 | 0 | 0 | 0
33kV auxiliary transformer | 0 | 1 | 0 | 0 | 0
66kV transformer | 0 | 1 | 0 | 0 | 0
66kV auxiliary transformer | 0 | 1 | 0 | 0 | 0
132kV overhead pole conductor km | 1220513.6806 | 0 | 0 | 0 | 1
132kV overhead tower conductor km | 176989740.1106 | 0 | 0 | 0 | 1
132kV pole | 907126.4739 | 0 | 0 | 0 | 1
132kV tower | 163544436.404 | 0 | 0 | 0 | 1
132kV tower fittings | 43970523.2177 | 0 | 0 | 0 | 1
132kV underground non-pressurised km | 213753531.0396 | 0 | 0 | 0 | 1
132kV underground oil km | 167002476.9001 | 0 | 0 | 0 | 1
132kV underground gas km | 5020516.9823 | 0 | 0 | 0 | 1
132kV submarine km | 0 | 0 | 0 | 0 | 1
132kV breaker | 199227539.4226 | 0 | 0 | 0 | 1
132kV other switchgear | 1149827513.2388 | 0 | 0 | 0 | 1
132kV transformer | 198709512.6191 | 0 | 0 | 1 | 0
132kV auxiliary transformer | 0 | 0 | 0 | 1 | 0
132kV/EHV remote terminal unit pole-mounted | 0 | 1 | 0 | 0 | 0
132kV/EHV remote terminal unit ground-mounted | 14906800 | 1 | 0 | 0 | 0
HV remote terminal unit pole-mounted | 21580000
HV remote terminal unit ground-mounted | 35756400
1512. MEAV by network level (£)
Data sources:
x1 = 1511. MEAV EDCM mapping (in MEAV calculations)
x2 = 1511. MEAV (£) (in MEAV calculations) (copy)
Sum-product calculation =SUMPRODUCT(x1, x2)
| EHV/HV | EHV | 132kV/EHV | 132kV
MEAV by network level (£) | 895527298.225 | 861121186.2813 | 387355646.0213 | 2121463917.4703
1513. MEAV percentages
Data sources:
x1 = 1512. MEAV by network level (£)
Calculation =x1/SUM(x1)
| EHV/HV | EHV | 132kV/EHV | 132kV
MEAV percentages | 20.99% | 20.19% | 9.081% | 49.74%
1514. Complete allocation, adjusted for regulatory capitalisation
Data sources:
x1 = 1502. Complete allocation
x2 = 1403. Percentage capitalised (in Allocation rules)
Calculation =x1*(1-x2)
| LV | HV/LV | HV | EHV&132
Load related new connections & reinforcement (net of contributions) | 0 | 0 | 0 | 0
Non-load new & replacement assets (net of contributions) | 0 | 0 | 0 | 0
Non-operational capex | 1370411.5914 | 173314.2925 | 616490.809 | 961308.9229
Faults | 7092507.8155 | 110751.4932 | 3661444.852 | 1401607.7464
Inspections, & Maintenance | 273728.0359 | 2174354.7139 | -43388.4101 | 1223691.4384
Tree Cutting | 473105.3752 | -3911.7442 | 474132.1406 | 308893.6258
Network Policy | 166327.2732 | 21035.2086 | 74823.6777 | 116674.3575
Network Design & Engineering | 1771789.004 | 224076.0072 | 797053.705 | 1242864.9829
Project Management | 804709.3357 | 101770.614 | 362005.0447 | 564483.1594
Engineering Mgt & Clerical Support | 3127066.2619 | 395476.2788 | 1406736.2109 | 2193557.5553
Control Centre | 546219.5184 | 69079.7202 | 245721.2963 | 383159.1182
System Mapping - Cartographical | 249287.8717 | 31527.1349 | 112144.1782 | 174869.1101
Customer Call Centre | 285901.6443 | 36157.6343 | 128615.1818 | 200552.7416
Stores | 236959.4372 | 29967.9727 | 106598.1315 | 166221.0264
Vehicles & Transport | 417991.5089 | 52862.8794 | 188036.8826 | 293210.4265
IT & Telecoms | 0 | 0 | 0 | 0
Property Mgt | 0 | 0 | 0 | 0
HR & Non-operational Training | 573077.2599 | 72476.3863 | 257803.47 | 401999.1417
Health & Safety & Operational Training | 169641.3791 | 21454.3395 | 76314.5552 | 118999.1185
Finance & Regulation | 1799817.4055 | 227620.7251 | 809662.5096 | 1262526.1946
CEO etc | 481325.3372 | 60872.6318 | 216528.1207 | 337637.4984
Atypical cash costs | 0 | 0 | 0 | 0
Pension deficit payments | 0 | 0 | 0 | 0
Metering | 0 | 0 | 0 | 0
Excluded services & de minimis | 0 | 0 | 0 | 0
Relevant distributed generation (less contributions) | 0 | 0 | 0 | 0
IFI | 0 | 0 | 0 | 0
Disallowed Related Party Margins | 0 | 0 | 0 | 0
Statutory Depreciation | 0 | 0 | 0 | 0
Network Rates | 0 | 0 | 0 | 0
Transmission Exit Charges | 0 | 0 | 0 | 0
Pension deficit repair payments by related parties (note 2) | 0 | 0 | 0 | 0
Non activity costs and reconciling amounts (note 3) | 0 | 0 | 0 | 0
1515. Total expensed for each level
Data sources:
x1 = 1514. Complete allocation, adjusted for regulatory capitalisation
Cell summation =SUM(x1)
| LV | HV/LV | HV | EHV&132
Total expensed for each level | 19839866.0551 | 3798886.2885 | 9490722.3557 | 11352256.1647
1516. Expensed proportions
Data sources:
x1 = 1515. Total expensed for each level
Calculation =x1/SUM(x1)
| LV | HV/LV | HV | EHV&132
Expensed proportions | 44.6% | 8.54% | 21.34% | 25.52%
1517. p/kWh split (DCP 117 modified)
Data sources:
x1 = 1430. Proportion of price control revenue attributed to opex
x2 = 1424. Net capex percentages
x3 = 1516. Expensed proportions
x4 = 1432. Revenue to be allocated between network levels (£/year)
x5 = 1328. DCP 117/DCP 231 additional annual income (£)
x6 = 1434. Units flowing, loss adjusted to LV (kWh)
Calculation =(((1-x1)*x2+x1*x3)*x4+x5*x3)/x6*100
| LV | HV/LV | HV | EHV&132
p/kWh split (DCP 117 modified) | 0.66694 | 0.18049 | 0.35717 | 0.57959
1518. p/kWh not split
Data sources:
x1 = 1315. Net incentive revenue (in Analysis of allowed revenue for 2007/2008 (£/year))
x2 = 1431. To be deducted from revenue and treated as "upstream" cost
x3 = 1434. Units flowing, loss adjusted to LV (kWh)
Calculation =100*(x1+x2)/x3
EHV&132
p/kWh not split | 0.11945
1519. Allocated proportion
Data sources:
x1 = 1517. p/kWh split (DCP 117 modified)
x2 = 1518. p/kWh not split
Calculation =x1/(SUM(x1)+x2)
| LV | HV/LV | HV | EHV&132
Allocated proportion | 35.03% | 9.481% | 18.76% | 30.45%
1520. Allocation to EHV network levels
Data sources:
x1 = 1519. Allocated proportion
Copy cells = x1
EHV&132
Allocation to EHV network levels | 30.45%
1521. Allocation between EHV network levels
Data sources:
x1 = 1513. MEAV percentages
x2 = 1520. Allocation to EHV network levels
Calculation =x1*x2
| EHV/HV | EHV | 132kV/EHV | 132kV
Allocation between EHV network levels | 6.392% | 6.147% | 2.765% | 15.14%
1522. Extended allocation
Data sources:
x1 = 1521. Allocation between EHV network levels
x2 = 1519. Allocated proportion
Combine tables = x1 or x2
| LV | HV/LV | HV | EHV/HV | EHV | 132kV/EHV | 132kV
Extended allocation | 35.03% | 9.481% | 18.76% | 6.392% | 6.147% | 2.765% | 15.14%
1523. Proportion of costs not covered by DNO network
Data sources:
x1 = 1510. Network levels not covered by DNO network
x2 = 1522. Extended allocation
Sum-product calculation =SUMPRODUCT(x1, x2)
Proportion of costs not covered by DNO network
LDNO HVplus: LV demand | 63.28%
LDNO HVplus: LV Sub dem ¦ LV gen | 63.28%
LDNO HVplus: HV dem ¦ LV Sub gen | 63.28%
LDNO HVplus: HV generation | 63.28%
LDNO EHV: LV demand | 71%
LDNO EHV: LV Sub dem ¦ LV gen | 71%
LDNO EHV: HV dem ¦ LV Sub gen | 71%
LDNO EHV: HV generation | 71%
LDNO 132kV/EHV: LV demand | 75.82%
LDNO 132kV/EHV: LV Sub dem ¦ LV gen | 75.82%
LDNO 132kV/EHV: HV dem ¦ LV Sub gen | 75.82%
LDNO 132kV/EHV: HV generation | 75.82%
LDNO 132kV: LV demand | 81.86%
LDNO 132kV: LV Sub dem ¦ LV gen | 81.86%
LDNO 132kV: HV dem ¦ LV Sub gen | 81.86%
LDNO 132kV: HV generation | 81.86%
LDNO 0000: LV demand | 93.73%
LDNO 0000: LV Sub dem ¦ LV gen | 93.73%
LDNO 0000: HV dem ¦ LV Sub gen | 93.73%
LDNO 0000: HV generation | 93.73%
1524. Network levels not covered by all-the-way tariff
| LV | HV/LV | HV | EHV/HV | EHV | 132kV/EHV | 132kV
LDNO HVplus: LV demand
LDNO HVplus: LV Sub dem ¦ LV gen | 1
LDNO HVplus: HV dem ¦ LV Sub gen | 1 | 1
LDNO HVplus: HV generation | 1 | 1 | 1
LDNO EHV: LV demand
LDNO EHV: LV Sub dem ¦ LV gen | 1
LDNO EHV: HV dem ¦ LV Sub gen | 1 | 1
LDNO EHV: HV generation | 1 | 1 | 1
LDNO 132kV/EHV: LV demand
LDNO 132kV/EHV: LV Sub dem ¦ LV gen | 1
LDNO 132kV/EHV: HV dem ¦ LV Sub gen | 1 | 1
LDNO 132kV/EHV: HV generation | 1 | 1 | 1
LDNO 132kV: LV demand
LDNO 132kV: LV Sub dem ¦ LV gen | 1
LDNO 132kV: HV dem ¦ LV Sub gen | 1 | 1
LDNO 132kV: HV generation | 1 | 1 | 1
LDNO 0000: LV demand
LDNO 0000: LV Sub dem ¦ LV gen | 1
LDNO 0000: HV dem ¦ LV Sub gen | 1 | 1
LDNO 0000: HV generation | 1 | 1 | 1
1525. Proportion of costs not covered by all-the-way tariff
Data sources:
x1 = 1524. Network levels not covered by all-the-way tariff
x2 = 1522. Extended allocation
Sum-product calculation =SUMPRODUCT(x1, x2)
Proportion of costs not covered by all-the-way tariff
LDNO HVplus: LV demand | 0%
LDNO HVplus: LV Sub dem ¦ LV gen | 35.03%
LDNO HVplus: HV dem ¦ LV Sub gen | 44.52%
LDNO HVplus: HV generation | 63.28%
LDNO EHV: LV demand | 0%
LDNO EHV: LV Sub dem ¦ LV gen | 35.03%
LDNO EHV: HV dem ¦ LV Sub gen | 44.52%
LDNO EHV: HV generation | 63.28%
LDNO 132kV/EHV: LV demand | 0%
LDNO 132kV/EHV: LV Sub dem ¦ LV gen | 35.03%
LDNO 132kV/EHV: HV dem ¦ LV Sub gen | 44.52%
LDNO 132kV/EHV: HV generation | 63.28%
LDNO 132kV: LV demand | 0%
LDNO 132kV: LV Sub dem ¦ LV gen | 35.03%
LDNO 132kV: HV dem ¦ LV Sub gen | 44.52%
LDNO 132kV: HV generation | 63.28%
LDNO 0000: LV demand | 0%
LDNO 0000: LV Sub dem ¦ LV gen | 35.03%
LDNO 0000: HV dem ¦ LV Sub gen | 44.52%
LDNO 0000: HV generation | 63.28%
1526. LDNO discounts (EDCM)
Data sources:
x1 = 1523. Proportion of costs not covered by DNO network
x2 = 1525. Proportion of costs not covered by all-the-way tariff
Calculation =1-MAX(0,(1-x1)/(1-x2))
LDNO discounts (EDCM)
LDNO HVplus: LV demand | 63.28%
LDNO HVplus: LV Sub dem ¦ LV gen | 43.48%
LDNO HVplus: HV dem ¦ LV Sub gen | 33.82%
LDNO HVplus: HV generation | 0%
LDNO EHV: LV demand | 71%
LDNO EHV: LV Sub dem ¦ LV gen | 55.36%
LDNO EHV: HV dem ¦ LV Sub gen | 47.73%
LDNO EHV: HV generation | 21.03%
LDNO 132kV/EHV: LV demand | 75.82%
LDNO 132kV/EHV: LV Sub dem ¦ LV gen | 62.78%
LDNO 132kV/EHV: HV dem ¦ LV Sub gen | 56.42%
LDNO 132kV/EHV: HV generation | 34.15%
LDNO 132kV: LV demand | 81.86%
LDNO 132kV: LV Sub dem ¦ LV gen | 72.08%
LDNO 132kV: HV dem ¦ LV Sub gen | 67.3%
LDNO 132kV: HV generation | 50.6%
LDNO 0000: LV demand | 93.73%
LDNO 0000: LV Sub dem ¦ LV gen | 90.34%
LDNO 0000: HV dem ¦ LV Sub gen | 88.69%
LDNO 0000: HV generation | 82.91%

## Results
Results for Electricity North West in 2017/2018 (December 2015)
1601. LDNO discounts (CDCM) ⇒1037. For CDCM model
Data sources:
x1 = 1442. LV services allocation (in Allocations to network levels)
x2 = 1442. LV mains allocation (in Allocations to network levels)
x3 = 1301. DNO LV mains usage
x4 = 1447. LV direct proportion (in HV and LV direct cost proportions)
x5 = 1442. HV/LV allocation (in Allocations to network levels)
x6 = 1442. HV allocation (in Allocations to network levels)
x7 = 1302. DNO HV mains usage
x8 = 1447. HV direct proportion (in HV and LV direct cost proportions)
Kind: | Fixed data | Calculation | Calculation | Calculation | Calculation
Formula: | [ [ ] ] | =x1+x2*(1-x3*x4) | =x1+x2+x5+x6*(1-x7*x8) | =(x5+x6*(1-x7*x8))/(1-x2-x1) | =x6*(1-x7*x8)/(1-x1-x2-x5)
| No discount | LDNO LV: LV user | LDNO HV: LV user | LDNO HV: LV Sub user | LDNO HV: HV user
LDNO discount |  | 35.39% | 57.62% | 33.63% | 21.58%
1602. Discount p/kWh ⇒1039. For Model G
Data sources:
x1 = 1601. No discount (in LDNO discounts (CDCM) ⇒1037. For CDCM model)
x2 = 1439. p/kWh split (DCP 117 modified)
x3 = 1440. p/kWh not split
x4 = 1601. LDNO LV: LV user (in LDNO discounts (CDCM) ⇒1037. For CDCM model)
x5 = 1601. LDNO HV: LV user (in LDNO discounts (CDCM) ⇒1037. For CDCM model)
x6 = 1601. LDNO HV: LV Sub user (in LDNO discounts (CDCM) ⇒1037. For CDCM model)
x7 = 1601. LDNO HV: HV user (in LDNO discounts (CDCM) ⇒1037. For CDCM model)
Kind: | Special calculation | Special calculation | Special calculation | Special calculation | Special calculation
Formula: | Special calculation | Special calculation | Special calculation | Special calculation | Special calculation
| No discount | LDNO LV: LV user | LDNO HV: LV user | LDNO HV: LV Sub user | LDNO HV: HV user
LDNO discount p/kWh | 0 | 0.67773 | 1.1036 | 0.64407 | 0.41337
1603. LDNO discounts (EDCM) ⇒1181. For EDCM model
Data sources:
x1 = 1526. LDNO discounts (EDCM)
Kind: | Special calculation | Special calculation | Special calculation | Special calculation
Formula: | =x1 | =x1 | =x1 | =x1
| LV demand | LV Sub demand or LV generation | HV demand or LV Sub generation | HV generation
Boundary 0000 | 93.73% | 90.34% | 88.69% | 82.91%
Boundary 132kV | 81.86% | 72.08% | 67.3% | 50.6%
Boundary 132kV/EHV | 75.82% | 62.78% | 56.42% | 34.15%
Boundary EHV | 71% | 55.36% | 47.73% | 21.03%
Boundary HVplus | 63.28% | 43.48% | 33.82% | 0%
1604. Discount p/kWh ⇒1184. For EDCM model
Data sources:
x1 = 1603. LV demand (in LDNO discounts (EDCM) ⇒1181. For EDCM model)
x2 = 1517. p/kWh split (DCP 117 modified)
x3 = 1518. p/kWh not split
x4 = 1603. LV Sub demand or LV generation (in LDNO discounts (EDCM) ⇒1181. For EDCM model)
x5 = 1603. HV demand or LV Sub generation (in LDNO discounts (EDCM) ⇒1181. For EDCM model)
x6 = 1603. HV generation (in LDNO discounts (EDCM) ⇒1181. For EDCM model)
Kind: | Special calculation | Special calculation | Special calculation | Special calculation
Formula: | Special calculation | Special calculation | Special calculation | Special calculation
| LV demand | LV Sub demand or LV generation | HV demand or LV Sub generation | HV generation
Boundary 0000 | 1.7842 | 1.7198 | 1.6883 | 1.5784
Boundary 132kV | 1.5583 | 1.3721 | 1.2812 | 0.96323
Boundary 132kV/EHV | 1.4433 | 1.195 | 1.0739 | 0.65001
Boundary EHV | 1.3516 | 1.0539 | 0.90869 | 0.40033
Boundary HVplus | 1.2046 | 0.82761 | 0.64374 | 0