## Slide 1: CMP223 – User Commitment for Relevant Distributed Generators
Wayne Mullins
Capacity Development Manager
wayne.mullins@nationalgrid.com
Tel: 01926 653999

## Slide 2: What is User Commitment?
Section 15 of the CUSC
Defines the liabilities associated with:
  reductions in Transmission Entry Capacity; and
  reductions in Developer Capacity for pre-commissioning Relevant Distributed Generation with a construction agreement; or
  Reductions in Interconnector Capacity.
Outlines relating security requirements.

## Slide 3: Liabilities under Section 15
Section 15 uses two components: Attributable and Wider liabilities
Attributable:
  Specific projects for each generator
  Based on actual project costs
Wider:
  Generic £/MW for all generators in a zone
  Based on total annual TO asset spend

## Slide 4: Options for Pre-Commissioning
Fixed Actual
£
Pre-Trigger
Cancellation Charge
£/kW
Commissioning
Wider
75%
75%
50%
50%
100%
100%
25%
25%
Fixed Attributable
Trigger Date
Y-2
Y-1
Y
Y-3
£
Commissioning
Wider
75%
50%
100%
25%
Actual Attributable
Trigger Date
Y-2
Y-1
Y
Y-3

## Slide 5: How is Attributable Calculated?
Year
Liability reduced by factors
Fixed or variable
Trigger date
Commissioning date
Project specific
User Key consents
Security reduced by likelihood of connection
£
100%
42%
10%
Notes: VAR = Total capex for that projects works up to MITS substation (CUSC Charging definition of local).
Each pre-commissioning user has their own Attributable VAR
  Based on capex of works up to MITS substation (CUSC Charging definition of local).
  100% on Generation
Liability = VAR – Reduction factors
Reduction factors:
  Asset reuse
  Sharing with other users
  Proportion of TO strategic overbuild
Security = reduced at trigger points (Directly Connected)
  Prior to Trigger Date – 100%
  Prior to Key Consents – 42%
  Prior to Commissioning – 10%
Pre commissioning have two options for attributable liability.
  Fixed
    fixed liability based on final estimate of cost
    Annual generic profile (factors)
    Non Reconcilable
  Actual
    Variable liability based on estimate of cost up to end of next 6 month period
    Reconcilable

## Slide 6: Pre-Commissioning Delays
£
New Commissioning Date
Wider
75%
75%
50%
50%
100%
100%
25%
25%
Fixed Attributable
25%
25%
Delay

Commissioning Date
Trigger Date
User Delay
25%
25%
£

## Slide 7: Pre-Commissioning Delays
£
New Commissioning Date
Wider
£3/MW
75%
75%
50%
50%
100%
100%
25%
25%
Fixed Attributable
Delay

Commissioning Date
Trigger Date
TO Delay
25%
25%
£3/MW
New Trigger Date
£

## Slide 8: Fixed Approach - Capping
For users on the Fixed approach, the generic pre-Trigger Date liability is capped at the first Cancellation Charge Profile year (i.e. 25% of Wider + Attributable)
£1
/kW
£2
/kW
£3
/kW
Capped at
Y-3 liability

## Slide 9: Pre-Commissioning Example
A 100MW generator connecting to a non-MITS substation
Attributable works = £18M
Wider liability (£5k/MW*100/MW) = £0.5M
Total liability dependent upon timing = £18.5M in year 4
Security depends on % reduction, and timing e.g.
  10%* £18.5M = £1.85M in year 4 post-consents
M
M
M
Wider Zone A
£5000/MW
Wider Zone B
£2500/MW
£10M
£8M

## Slide 10: What is CMP223?
Proposed by Carnedd Wen Onshore Wind Farm Ltd.
WACM1 Approved by Ofgem on 14th July 2015.
Applies from 1st April 2016.
Aims to encourage DNOs to replicate CUSC Security Arrangements:
  Provides clarity over liabilities and security amounts for each Relevant Distributed Generation project; and
  Provides mechanism for DNOs to recover unsecured element of a bad debt.

## Slide 11: Implementation
National Grid are currently considering appropriate implementation steps.
Revised security statements to be provided in January.
Security percentages for DGs to be initially amended to 45% (pre-consent) and 26% (post-consent).
Data request to DNOs for information on each project to enable the calculation of security amounts.

## Slide 12: Post-Implementation
Annual data request to enable security percentages to be kept under review.
DNOs to keep SO informed of project status (consents, commissioning, cancellation/capacity changes).
Subject to a DNO replicating the CUSC arrangements, they would be eligible to recover unsecured bad debt should certain debt recovery steps be taken.

## Slide 13: Example 1 – Attributable and Wider Works
A 100MW generation connecting via a new GSP
Attributable as at end of forthcoming period = £19.5m
Wider Works = £5m
Wider liability (£5k/MW*100/MW) = £0.5m
Total liability = £20m
Security:
  Pre-Trigger (100%): £19.5m (0% wider)
  Post-Trigger, Pre-Consents (45%): £9m (year 4)
  Post-Trigger, Post Consents (26%): £5.2m (year 4)
M
M
M
M
Wider Zone A
£5000/MW
Wider Zone B
£2500/MW
£19.5m
£5m

## Slide 14: Example 2 – Attributable Works only
A 100MW generation connecting via a new GSP
Attributable as at end of forthcoming period = £19.5m
No additional wider works
Wider liability (£5k/MW*100/MW) = £0.5m
Total liability = £20m
Security:
  Pre-Trigger (100%): £19.5m (0% wider)
  Post-Trigger, Pre-Consents (45%): £9m (year 4)
  Post-Trigger, Post Consents (26%): £5.2m (year 4)
M
M
M
M
Wider Zone A
£5000/MW
Wider Zone B
£2500/MW
£19.5m

## Slide 15: Example 3 – Wider Works only
A 100MW generation connecting via an existing GSP
No Attributable works
Wider Works = £5m
Wider liability (£5k/MW*100/MW) = £0.5m
Total liability = £0.5m
Security:
  Pre-Trigger (100%): £0m (0% wider)
  Post-Trigger, Pre-Consents (45%): £225k (year 4)
  Post-Trigger, Post Consents (26%): £130k (year 4)
M
M
M
M
Wider Zone A
£5000/MW
Wider Zone B
£2500/MW
£5m

## Slide 16: Example 3 – No Works
A 100MW generation connecting via an existing GSP
No Attributable works
No Wider Works
Wider liability = £0m
Total liability = £0m
No Security Requirement.
M
M
M
M
Wider Zone A
£5000/MW
Wider Zone B
£2500/MW

## Slide 17: Cancellation/Capacity Reduction
Cancellation charge incurred on capacity reduction:
  e.g. For a £20m liability for 100MW, £2m is charged if 10MW generation cancels.
Actual Attributable Liability reconciled to actual cost (e.g. charge falls if capacity is used by another project).
  e.g. The £1.95m attributable works element of the £2m above could be reconciled, should another project appear and makes use of the works.
Wider and Fixed Actual Liabilities not reconciled (e.g. always applied at rate specified).
  e.g. None of the £2m above would be reconciled if the liability is fixed.