DCMF MIG Issues Form  -  The completed form should be issued to DCMF@electralink.co.uk

| Document Control |  |
| --- | --- |
| Issue Title: | Building Network Operator (BNO) Networks |
| Issue Number: | 89 |
| Attachments: | None |
| Date Submitted | 12 Apr 2016 |

| Originator details |  |
| --- | --- |
| Originator Name | Tom Chevalier |
| Company Name | Power Data Associates Ltd |
| Industry Role | Interested observer |
| Email Address | Tom.Chevalier@PowerDataAssociates.com |
| Telephone Number | 01525 601202 |

Nature of Issue

The charges applicable to Domestic and small non-domestic customers have been described at MIG as an ‘average charge’ applicable to all customers whether they are connected directly to a DNO network or via a private network. In a number of DNO areas the DNO has taken the view that they are not responsible for the network within a block of flats, their responsibility ends at the cable entering the building. This approach is one of the options included within ENA Engineering Recommendation G87 - Guidelines for the Provision of Low Voltage Connections to Multiple Occupancy Buildings. Ofgem determined a case in London (ref: RBA/TR/A/DET/159) which reaffirmed that the DNO was not responsible for the services within the building. Despite the MPANs being registered in the DNO registration system and for the charges to be the average domestic charges. As a result of the determination the landlord (and flat owners) incurred costs to replace the private network within the building. Other DNOs have taken a view that they have provided and do maintain the network within a multi-occupancy. In the last price control they have received an income allowance to cover these costs. In this example the DNO is obtaining the same ‘average revenue’ from the domestic customer within the flat within the multi-occupancy building as they are from a house on a housing estate. If the building distribution network was an IDNO network, rather than an unlicensed network, then the IDNO would be receiving a use of system income to cover the cost of provision, maintenance and ultimate renewal of the building distribution network. The ESQCR requires the DNO to be aware of all the connections to their network, which in this scenario includes the private network. In practice the historical records often do not exist. The actual ownership and responsibility of the network in many buildings is not known.

Proposed Solution

- The landlord (or equivalent) responsible for a private network should receive revenue from the DNO equivalent to the discounted values applicable if this were an IDNO network - This would enable the landlord to receive a share of the existing Use of System charges to enable them to maintain the private network - Taking this approach would more fairly address the balance the charges applicable to these different customer groups.

Target Implementation Date

Effective from 1st April 2018, or as soon thereafter

Assigned by ElectraLink

www.ena-eng.org/ENA-Docs/EADocs.asp?WCI=DocumentDetail&DocumentID=8025

https://epr.ofgem.gov.uk/Document   then search RBA/TR/A/DET/159