## Index
0
UNLESS STATED OTHERWISE, THIS WORKBOOK IS ONLY A PROTOTYPE FOR TESTING PURPOSES AND ALL THE DATA IN THIS MODEL ARE FOR ILLUSTRATION ONLY.
This workbook is structured as a series of named and numbered tables. There is a list of tables below, with hyperlinks. Above
each calculation table, there is a description of the calculations and hyperlinks to tables from which data are used. Hyperlinks
point to the relevant table column heading of the relevant table. Scrolling up or down is usually required after clicking a
hyperlink in order to bring the relevant data and/or headings into view. Some versions of Microsoft Excel can display a "Back"
button, which can be useful when using hyperlinks to navigate around the workbook.
Copyright 2009-2012 The Competitive Networks Association and others. Copyright 2012-2014 Franck Latrémolière, Reckon LLP and others.
The code used to generate this spreadsheet includes open-source software published at https://github.com/f20/power-models.
Use and distribution of the source code is subject to the conditions stated therein.
Any redistribution of this software must retain the following disclaimer: |  | Colour coding
THIS SOFTWARE IS PROVIDED BY AUTHORS AND CONTRIBUTORS "AS IS" AND ANY EXPRESS OR IMPLIED WARRANTIES, INCLUDING, BUT NOT LIMITED |  | Input data
TO, THE IMPLIED WARRANTIES OF MERCHANTABILITY AND FITNESS FOR A PARTICULAR PURPOSE ARE DISCLAIMED. IN NO EVENT SHALL AUTHORS OR |  | Constant value
CONTRIBUTORS BE LIABLE FOR ANY DIRECT, INDIRECT, INCIDENTAL, SPECIAL, EXEMPLARY, OR CONSEQUENTIAL DAMAGES (INCLUDING, BUT NOT |  | Formula: calculation
LIMITED TO, PROCUREMENT OF SUBSTITUTE GOODS OR SERVICES; LOSS OF USE, DATA, OR PROFITS; OR BUSINESS INTERRUPTION) HOWEVER CAUSED |  | Formula: copy
AND ON ANY THEORY OF LIABILITY, WHETHER IN CONTRACT, STRICT LIABILITY, OR TORT (INCLUDING NEGLIGENCE OR OTHERWISE) ARISING IN |  | Unused cell in input data table
ANY WAY OUT OF THE USE OF THIS SOFTWARE, EVEN IF ADVISED OF THE POSSIBILITY OF SUCH DAMAGE. |  | Unused cell in other table
Unlocked cell for notes
List of data tables
Worksheet | Data table | Type of table
Input | 1300. Company, charging year, data version | Input data
Input | 1301. DNO LV mains usage | Input data
Input | 1302. DNO HV mains usage | Input data
Input | 1310. DPCR4 aggregate allowances | Input data
Input | 1315. Analysis of allowed revenue for 2007/2008 | Input data
Input | 1320. Units flowing | Input data
Input | 1330. Allocated costs | Input data
Input | 1331. Assets in CDCM model (£) (from CDCM table 2705 or 2706) | Input data
Input | 1332. All notional assets in EDCM (£) (from EDCM table 4167, 4168, 4169 or 4170) | Input data
Input | 1335. Total costs | Input data
Input | 1355. MEAV data | Input data
Input | 1370. Net capex percentages | Input data
Input | 1375. Network length percentages | Input data
Input | 1380. Net capex: ratio of LV services to LV total | Input data
Input | 1385. Network length: ratio of LV services to LV total | Input data
Input | 1399. Current LDNO discounts | Input data
Calculations | 1401. Allocation rules | Fixed data
Calculations | 1402. Expenditure data | Composite
Calculations | 1403. To be deducted from revenue and treated as "upstream" cost | Calculation
Calculations | 1404. MEAV calculations | Composite
Calculations | 1405. MEAV by network level (£) | Sum-product calculation
Calculations | 1406. MEAV percentages | Calculation
Calculations | 1408. EHV asset levels | Fixed data
Calculations | 1409. Proportion of EHV notional assets which are in the CDCM | Calculation
Calculations | 1410. Proportion to be kept | Combine tables
Calculations | 1411. MEAV percentages after exclusions | Calculation
Calculations | 1412. EHV only | Fixed data
Calculations | 1413. LV only | Fixed data
Calculations | 1414. All allocation percentages | Calculation
Calculations | 1415. Complete allocation | Calculation
Calculations | 1416. Complete allocation: LV total share | Copy cells
Calculations | 1417. MEAV: ratio of LV services to LV total | Calculation
Calculations | 1418. Allocation of LV to LV services | Calculation
Calculations | 1419. Allocation to LV services | Calculation
Calculations | 1420. Allocation to LV mains | Calculation
Calculations | 1421. Complete allocation split between LV mains and services | Combine tables
Calculations | 1422. Complete allocation, adjusted for regulatory capitalisation | Calculation
Calculations | 1423. Total expensed for each level | Cell summation
Calculations | 1424. Expensed proportions | Calculation
Calculations | 1426. Net capex percentages after exclusions | Calculation
Calculations | 1427. Net capex: LV total share | Copy cells
Calculations | 1428. Allocation to LV services | Calculation
Calculations | 1429. Allocation to LV mains | Calculation
Calculations | 1430. Net capex allocation split between LV mains and services | Combine tables
Calculations | 1431. Proportion of price control revenue attributed to opex | Calculation
Calculations | 1432. Revenue to be allocated between network levels (£/year) | Calculation
Calculations | 1433. Units at LV | Copy cells
Calculations | 1434. Allocation to LV services | Copy cells
Calculations | 1435. Allocation to LV mains | Copy cells
Calculations | 1436. Units | Combine tables
Calculations | 1437. p/kWh split | Calculation
Calculations | 1438. p/kWh not split | Calculation
Calculations | 1439. Allocated proportion | Calculation
Calculations | 1440. Complete allocation, zeroing out negative numbers | Calculation
Calculations | 1441. Direct costs | Sum-product calculation
Calculations | 1442. Total costs | Cell summation
Calculations | 1443. Direct cost proportion | Calculation
Calculations | 1444. Direct cost proportions | Copy cells
Results | 1501. Allocations to network levels | Copy cells
Results | 1502. LDNO discounts | Calculation
Results | 1503. Change from current discounts | Calculation
Technical model rules and version control
---
PerlModule: ModelM
dcp071: 1
dcp095: 1
dcp096: 1
dcp118: 1
meav: 1
protect: 1
revisionText: r6909
template: '%-postDCP118-rawMEAV'
validation: lenientnomsg
'~codeValidation':
Ancillary/Validation.pm: 96f25555ac9f150f8323e94672276d96629bbb9f
ModelM/Allocation.pm: 10bedb1dbae6ed2a36492faefa8f7c0819082251
ModelM/Dcp095.pm: 8ec36c594a443c2ca5e267b73cd589f422c607a0
ModelM/Dcp118.pm: b2cdae96645463c719dd9ba19a46c7bbaf7cca19
ModelM/Discounts.pm: 8f05cb85c6753aec834db9bfcc9e0d041e824cec
ModelM/Expenditure.pm: 7d8961fe8ad1c2259948eafd144a959e83a6ac27
ModelM/Inputs.pm: c81187a329f3c464e07c0a8248ff223c4ac40ae8
ModelM/Master.pm: 889801d10968d90aa575d5428dedc3c314b44802
ModelM/Meav.pm: e96059bfc3a83e6c5c3c70ac775d85c9820bab7e
ModelM/NetCapex.pm: fbf8ae0c08a36cd6d671be096f398b8da1687cc9
ModelM/Options.pm: ac5f85ea3ebff80253c223d1d93accbb3d277563
ModelM/Sheets.pm: 454fec85371b072e91aa3238ba24ed6ce213ee1c
SpreadsheetModel/Arithmetic.pm: d05af02a3d702819113db2d96dadd9c10bec50b7
SpreadsheetModel/ColourCodeWriter.pm: 9b1c0e8d10a62ae9d6673777d603c5451fdb4352
SpreadsheetModel/Columnset.pm: 990563472fef47809e1f943a3c805152cc8fe661
SpreadsheetModel/Custom.pm: 5140fbe9dbf5e964fd20edd041df189208b0fb50
SpreadsheetModel/Dataset.pm: a658d333f97cdf780bfef6eaa6fa44e725190935
SpreadsheetModel/GroupBy.pm: d69fd118ce022337f462866910bbe77c2da20909
SpreadsheetModel/Label.pm: 053d8801da63a168d467ae3cf12c6c32325befe3
SpreadsheetModel/Labelset.pm: 7cc0064cbf35f3484b9606e63f2631781c102f58
SpreadsheetModel/Logger.pm: 2fc01d0cc58f5a56a8a6ae240092e887aa6fde0e
SpreadsheetModel/Notes.pm: c896660bda6f48fd4b5d5259ff9755564e5f65d5
SpreadsheetModel/Object.pm: 3b4623df658a5763ee817ade825cea58a5caf113
SpreadsheetModel/Reshape.pm: db327684ed6c50c3084959ea625b473eb287e3c8
SpreadsheetModel/Shortcuts.pm: 81b68efc70dd2263c3478f3ce3269cf6ebb3ee8b
SpreadsheetModel/Stack.pm: 8de817fe546517bdc84ebd9cd9ad3d7f9131038c
SpreadsheetModel/SumProduct.pm: 876e4b18ee3e43381390ea6a261ee17ac06fc171
SpreadsheetModel/WorkbookCreate.pm: 3d036c0fa83fd4979989d4110eb65c4e38e5d77d
SpreadsheetModel/WorkbookFormats.pm: 78a7594c7e47acbc37cac888e3b9c299dd5ea9d6
'~datasetName': ENWL-2014-02
'~datasetSource':
file: ModelM/Data-2014-02/ENWL.yml
validation: 06c09e0584b083156243726c7b8c7c5db8a7ff4c
Generated on Tue 12 May 2015 10:52:56 by dcmf.co.uk

## Input
0
This sheet contains the input data.
1300. Company, charging year, data version
| Company | Year | Version
Company, charging year, data version | Electricity North West | 2014/2015 | February 2014 | Input data compiled by Franck from public sources. E&OE. This dataset is intended to match the February 2014 price notice.
1301. DNO LV mains usage
DNO LV mains usage
DNO LV mains usage | 16%
1302. DNO HV mains usage
DNO HV mains usage
DNO HV mains usage | 40%
1310. DPCR4 aggregate allowances
From sheet Calc-Allocation, cells C47, C48, C49.
| Aggregate return | Aggregate depreciation | Aggregate operating
DPCR4 aggregate allowances | 370956256.4728 | 398500000 | 352040000
1315. Analysis of allowed revenue for 2007/2008
From sheet Calc-Allocation, cells F66 and F63.
| Total revenue | Net incentive revenue
Analysis of allowed revenue for 2007/2008 | 260870929 | 11735622
1320. Units flowing
From sheet Calc-Units, cells C23, C23, D23, E23.
| LV | HV/LV | HV | EHV&132
Units flowing | 16988700000 | 16988700000 | 23972722577 | 25333548951
1330. Allocated costs
From sheet Calc-Opex, starting at cell H7, reversing column order.
| LV | HV/LV | HV | EHV&132
Load related new connections & reinforcement (net of contributions) | -35750740.0362 | 0 | 18269095.8959 | 26233456.4418
Non-load new & replacement assets (net of contributions) | 15938388.5901 | 9685121.607 | 11157007.7464 | 28810162.4061
Non-operational capex | 0 | 0 | 0 | 0
Faults | 9877892.1317 | 221494.2299 | 5059104.4011 | 2257709.6
Inspections, & Maintenance | 956531.8065 | 2918012.8049 | 212621.011 | 2019581.6865
Tree Cutting | 658870.4388 | 0 | 637969.2582 | 432144.5665
Network Policy
Network Design & Engineering
Project Management
Engineering Mgt & Clerical Support
Control Centre
System Mapping - Cartographical
Customer Call Centre
Stores
Vehicles & Transport
IT & Telecoms
Property Mgt
HR & Non-operational Training
Health & Safety & Operational Training
Finance & Regulation
CEO etc
Atypical cash costs
Pension deficit payments
Metering
Excluded services & de minimis
Relevant distributed generation (less contributions)
IFI
Disallowed Related Party Margins
Statutory Depreciation
Network Rates
Transmission Exit Charges
Pension deficit repair payments by related parties (note 2)
Non activity costs and reconciling amounts (note 3)
1331. Assets in CDCM model (£) (from CDCM table 2705 or 2706)
| GSP | 132kV circuits | 132kV/EHV | EHV circuits | EHV/HV | 132kV/HV | HV circuits | HV/LV | LV circuits | LV customer | HV customer
Assets in CDCM model (£) (from CDCM table 2705 or 2706) |  | 623249883.4443 | 327046854.3901 | 740271158.9189 | 680326387.0697 | 0 | 1227537069.1087 | 807760082.6265 | 437526948.9708 | 1448359168.4651 | 38392255.4723
1332. All notional assets in EDCM (£) (from EDCM table 4167, 4168, 4169 or 4170)
All notional assets in EDCM (£) (from EDCM table 4167, 4168, 4169 or 4170)
All notional assets in EDCM (£) (from EDCM table 4167, 4168, 4169 or 4170) | 246500000 | Reverse engineered
1335. Total costs
From sheet Calc-Opex, starting at cell D7.
Total costs
Load related new connections & reinforcement (net of contributions) | 9663452.079
Non-load new & replacement assets (net of contributions) | 63506587.8128
Non-operational capex | 4080425.6416
Faults | 16034394.6499
Inspections, & Maintenance | 4742987.9453
Tree Cutting | 1636888.1012
Network Policy | 798778.2353
Network Design & Engineering | 8508926.2052
Project Management | 3864575.4878
Engineering Mgt & Clerical Support | 15017576.0213
Control Centre | 2623191.3413
System Mapping - Cartographical | 1197192.2727
Customer Call Centre | 1373028.0456
Stores | 1137985.5952
Vehicles & Transport | 2007382.8744
IT & Telecoms | 12846120.17
Property Mgt | 6905002.6315
HR & Non-operational Training | 2752174.2734
Health & Safety & Operational Training | 814694.0593
Finance & Regulation | 8643531.1721
CEO etc | 2311540.3503
Atypical cash costs | 15445248
Pension deficit payments | 0
Metering | 617969.5895
Excluded services & de minimis | 15206595.2221
Relevant distributed generation (less contributions) | -434302.3965
IFI | 932220
Disallowed Related Party Margins | 11957154.8553
Statutory Depreciation | 59102484.3522
Network Rates | 17027400
Transmission Exit Charges | 9083000
Pension deficit repair payments by related parties (note 2) | 0
Non activity costs and reconciling amounts (note 3) | -26259723.5876
1355. MEAV data
From sheet Data-MEAV.
| Asset quantity | Unit MEAV (£)
LV main overhead line km | 2269.9126 | 27528.4945
LV service overhead | 98345.9122 | 681.7466
LV overhead support | 60466.38 | 1527.7795
LV main underground consac km | 4612.8269 | 88045.2539
LV main underground plastic km | 4483.257 | 88045.2539
LV main underground paper km | 19315.005 | 88045.2539
LV service underground | 2352058.629 | 1060.2954
LV pillar indoors | 3191 | 7870.0352
LV pillar outdoors | 6908 | 7824.7095
LV board wall-mounted | 6237 | 7870.0352
LV board underground | 18880.6946 | 5120.6393
LV fuse pole-mounted | 19878 | 0
LV fuse tower-mounted | 0 | 0
6.6/11kV overhead open km | 7768.9155 | 11909.2573
6.6/11kV overhead covered km | 27 | 22212.5951
20kV overhead open pm | 0 | 0
20kV overhead covered km | 0 | 0
6.6/11kV overhead support | 99519.4269 | 3005.9102
20kV overhead support | 0 | 0
6.6/11kV underground km | 12867.9513 | 116046.9441
20kV underground km | 0 | 0
HV submarine km | 22 | 348140.8324
6.6/11kV breaker pole-mounted | 818 | 15888.8643
6.6/11kV breaker ground-mounted | 10480 | 41499.6567
6.6/11kV switch pole-mounted | 98 | 5075.0741
6.6/11kV switch ground-mounted | 14136 | 11282.9996
6.6/11kV ring main unit | 10373 | 19568.7845
6.6/11kV other switchgear pole-mounted | 9691 | 5075.0741
6.6/11kV other switchgear ground-mounted | 6 | 11282.9996
20kV breaker pole-mounted | 0 | 0
20kV breaker ground-mounted | 0 | 0
20kV switch pole-mounted | 0 | 0
20kV switch ground-mounted | 0 | 0
20kV ring main unit | 0 | 0
20kV other switchgear pole-mounted | 0 | 0
20kV other switchgear ground-mounted | 0 | 0
6.6/11kV transformer pole-mounted | 16930 | 4450.7904
6.6/11kV transformer ground-mounted | 16262 | 15399.7771
20kV transformer pole-mounted | 0 | 0
20kV transformer ground-mounted | 0 | 0
33kV overhead pole line km | 1050.4 | 23370.7033
33kV overhead tower line km | 309 | 72934.2137
66kV overhead pole line km | 0 | 0
66kV overhead tower line km | 0 | 0
33kV pole | 12500 | 5970.2809
33kV tower | 711 | 38899.9013
66kV pole | 0 | 0
66kV tower | 0 | 0
33kV underground non-pressurised km | 1616.383 | 317530.3093
33kV underground oil km | 364.134 | 317530.3093
33kV underground gas km | 261 | 317530.3093
66kV underground non-pressurised km | 0 | 0
66kV underground oil km | 0 | 0
66kV underground gas km | 0 | 0
EHV submarine km | 0 | 0
33kV breaker indoors | 1441 | 110751.1546
33kV breaker outdoors | 158 | 110751.1546
33kV switch ground-mounted | 63 | 110751.1546
33kV switch pole-mounted | 106 | 36917.0515
33kV ring main unit | 6 | 110751.1546
33kV other switchgear | 75 | 110751.1546
66kV breaker | 0 | 0
66kV other switchgear | 0 | 0
33kV transformer pole-mounted | 0 | 0
33kV transformer ground-mounted | 696 | 609771.075
33kV auxiliary transformer | 637 | 0
66kV transformer | 0 | 0
66kV auxiliary transformer | 0 | 0
132kV overhead pole conductor km | 32 | 38141.0525
132kV overhead tower conductor km | 1546.8 | 114423.1576
132kV pole | 52 | 17444.7399
132kV tower | 3125 | 52334.2196
132kV tower fittings | 6226 | 7062.4033
132kV underground non-pressurised km | 212.88 | 1004103.3965
132kV underground oil km | 166.32 | 1004103.3965
132kV underground gas km | 5 | 1004103.3965
132kV submarine km | 0 | 0
132kV breaker | 175 | 1138443.0824
132kV other switchgear | 1010 | 1138443.0824
132kV transformer | 153 | 1298754.9844
132kV auxiliary transformer | 142 | 0
132kV/EHV remote terminal unit pole-mounted | 0 | 0
132kV/EHV remote terminal unit ground-mounted | 449 | 33200
HV remote terminal unit pole-mounted | 650 | 33200
HV remote terminal unit ground-mounted | 1077 | 33200
1370. Net capex percentages
From pre-DCP 118 sheet Calc-Net capex starting at cell H6.
| LV | HV/LV | HV | EHV&132
Net capex percentages | 22.94% | 7.951% | 23.44% | 45.67%
1375. Network length percentages
| LV | HV/LV | HV | EHV&132
Network length percentages | 54% | 0% | 36.33% | 9.66%
1380. Net capex: ratio of LV services to LV total
LV
LV services | 24.42%
1385. Network length: ratio of LV services to LV total
LV
LV services | 0%
1399. Current LDNO discounts
| LDNO LV: LV user | LDNO HV: LV user | LDNO HV: LV Sub user | LDNO HV: HV user
Current LDNO discounts | 33.41% | 58.44% | 35.67% | 24.29%

## Calculations
0
1401. Allocation rules
| Allocation key | Percentage capitalised | Direct cost indicator
Load related new connections & reinforcement (net of contributions) | MEAV | 100% | 1
Non-load new & replacement assets (net of contributions) | MEAV | 100% | 1
Non-operational capex | MEAV | 23.5% | 1
Faults | MEAV | 23.5% | 1
Inspections, & Maintenance | MEAV | 23.5% | 1
Tree Cutting | MEAV | 23.5% | 1
Network Policy | MEAV | 52.57% | 0
Network Design & Engineering | MEAV | 52.57% | 0
Project Management | MEAV | 52.57% | 0
Engineering Mgt & Clerical Support | MEAV | 52.57% | 0
Control Centre | MEAV | 52.57% | 0
System Mapping - Cartographical | MEAV | 52.57% | 0
Customer Call Centre | MEAV | 52.57% | 0
Stores | MEAV | 52.57% | 0
Vehicles & Transport | MEAV | 52.57% | 0
IT & Telecoms | Do not allocate | 52.57% | 0
Property Mgt | Do not allocate | 52.57% | 0
HR & Non-operational Training | MEAV | 52.57% | 0
Health & Safety & Operational Training | MEAV | 52.57% | 0
Finance & Regulation | MEAV | 52.57% | 0
CEO etc | MEAV | 52.57% | 0
Atypical cash costs | Do not allocate | 0% | 1
Pension deficit payments | Do not allocate | 57.7% | 1
Metering | Do not allocate | 0% | 1
Excluded services & de minimis | Do not allocate | 0% | 1
Relevant distributed generation (less contributions) | Do not allocate | 0% | 1
IFI | Do not allocate | 0% | 1
Disallowed Related Party Margins | Do not allocate | 0% | 1
Statutory Depreciation | Do not allocate | 0% | 1
Network Rates | Do not allocate | 0% | 1
Transmission Exit Charges | Deduct from revenue | 0% | 1
Pension deficit repair payments by related parties (note 2) | Do not allocate | 0% | 1
Non activity costs and reconciling amounts (note 3) | Do not allocate | 0% | 1
1402. Expenditure data
Data sources:
x1 = 1335. Total costs
x2 = 1330. Allocated costs
Kind: | Copy cells | Cell summation
Formula: | = x1 | =SUM(x2)
| Total costs | Amounts already allocated
Load related new connections & reinforcement (net of contributions) | 0 | 0
Non-load new & replacement assets (net of contributions) | 0 | 0
Non-operational capex | 0 | 0
Faults | 0 | 0
Inspections, & Maintenance | 0 | 0
Tree Cutting | 0 | 0
Network Policy | 0 | 0
Network Design & Engineering | 0 | 0
Project Management | 0 | 0
Engineering Mgt & Clerical Support | 0 | 0
Control Centre | 0 | 0
System Mapping - Cartographical | 0 | 0
Customer Call Centre | 0 | 0
Stores | 0 | 0
Vehicles & Transport | 0 | 0
IT & Telecoms | 0 | 0
Property Mgt | 0 | 0
HR & Non-operational Training | 0 | 0
Health & Safety & Operational Training | 0 | 0
Finance & Regulation | 0 | 0
CEO etc | 0 | 0
Atypical cash costs | 0 | 0
Pension deficit payments | 0 | 0
Metering | 0 | 0
Excluded services & de minimis | 0 | 0
Relevant distributed generation (less contributions) | 0 | 0
IFI | 0 | 0
Disallowed Related Party Margins | 0 | 0
Statutory Depreciation | 0 | 0
Network Rates | 0 | 0
Transmission Exit Charges | 0 | 0
Pension deficit repair payments by related parties (note 2) | 0 | 0
Non activity costs and reconciling amounts (note 3) | 0 | 0
1403. To be deducted from revenue and treated as "upstream" cost
Data sources:
x1 = 1401. Allocation key (in Allocation rules)
x2 = 1402. Total costs (copy) (in Expenditure data)
Calculation =SUMIF(x1,"Deduct from revenue",x2)
To be deducted from revenue and treated as "upstream" cost
To be deducted from revenue and treated as "upstream" cost | 0
1404. MEAV calculations
Data sources:
x1 = 1355. Asset quantity (in MEAV data)
x2 = 1355. Unit MEAV (£) (in MEAV data)
Kind: | Calculation | Fixed data |  |  |  | Fixed data | Fixed data
Formula: | =x1*x2
MEAV mapping
| MEAV (£) | LV | HV/LV | HV | EHV&132 | MEAV mapping: LV services | MEAV mapping: LV total
LV main overhead line km | 0 | 1 | 0 | 0 | 0 |  | 1
LV service overhead | 0 | 1 | 0 | 0 | 0 | 1 | 1
LV overhead support | 0 | 1 | 0 | 0 | 0 |  | 1
LV main underground consac km | 0 | 1 | 0 | 0 | 0 |  | 1
LV main underground plastic km | 0 | 1 | 0 | 0 | 0 |  | 1
LV main underground paper km | 0 | 1 | 0 | 0 | 0 |  | 1
LV service underground | 0 | 1 | 0 | 0 | 0 | 1 | 1
LV pillar indoors | 0 | 1 | 0 | 0 | 0 |  | 1
LV pillar outdoors | 0 | 1 | 0 | 0 | 0 |  | 1
LV board wall-mounted | 0 | 1 | 0 | 0 | 0 |  | 1
LV board underground | 0 | 1 | 0 | 0 | 0 |  | 1
LV fuse pole-mounted | 0 | 1 | 0 | 0 | 0 |  | 1
LV fuse tower-mounted | 0 | 1 | 0 | 0 | 0 |  | 1
6.6/11kV overhead open km | 0 | 0 | 0 | 1 | 0
6.6/11kV overhead covered km | 0 | 0 | 0 | 1 | 0
20kV overhead open pm | 0 | 0 | 0 | 1 | 0
20kV overhead covered km | 0 | 0 | 0 | 1 | 0
6.6/11kV overhead support | 0 | 0 | 0 | 1 | 0
20kV overhead support | 0 | 0 | 0 | 1 | 0
6.6/11kV underground km | 0 | 0 | 0 | 1 | 0
20kV underground km | 0 | 0 | 0 | 1 | 0
HV submarine km | 0 | 0 | 0 | 1 | 0
6.6/11kV breaker pole-mounted | 0 | 0 | 0 | 1 | 0
6.6/11kV breaker ground-mounted | 0 | 0 | 0 | 1 | 0
6.6/11kV switch pole-mounted | 0 | 0 | 0 | 1 | 0
6.6/11kV switch ground-mounted | 0 | 0 | 1 | 0 | 0
6.6/11kV ring main unit | 0 | 0 | 1 | 0 | 0
6.6/11kV other switchgear pole-mounted | 0 | 0 | 0 | 1 | 0
6.6/11kV other switchgear ground-mounted | 0 | 0 | 0 | 1 | 0
20kV breaker pole-mounted | 0 | 0 | 0 | 1 | 0
20kV breaker ground-mounted | 0 | 0 | 0 | 1 | 0
20kV switch pole-mounted | 0 | 0 | 0 | 1 | 0
20kV switch ground-mounted | 0 | 0 | 1 | 0 | 0
20kV ring main unit | 0 | 0 | 1 | 0 | 0
20kV other switchgear pole-mounted | 0 | 0 | 0 | 1 | 0
20kV other switchgear ground-mounted | 0 | 0 | 0 | 1 | 0
6.6/11kV transformer pole-mounted | 0 | 0 | 1 | 0 | 0
6.6/11kV transformer ground-mounted | 0 | 0 | 1 | 0 | 0
20kV transformer pole-mounted | 0 | 0 | 1 | 0 | 0
20kV transformer ground-mounted | 0 | 0 | 1 | 0 | 0
33kV overhead pole line km | 0 | 0 | 0 | 0 | 1
33kV overhead tower line km | 0 | 0 | 0 | 0 | 1
66kV overhead pole line km | 0 | 0 | 0 | 0 | 1
66kV overhead tower line km | 0 | 0 | 0 | 0 | 1
33kV pole | 0 | 0 | 0 | 0 | 1
33kV tower | 0 | 0 | 0 | 0 | 1
66kV pole | 0 | 0 | 0 | 0 | 1
66kV tower | 0 | 0 | 0 | 0 | 1
33kV underground non-pressurised km | 0 | 0 | 0 | 0 | 1
33kV underground oil km | 0 | 0 | 0 | 0 | 1
33kV underground gas km | 0 | 0 | 0 | 0 | 1
66kV underground non-pressurised km | 0 | 0 | 0 | 0 | 1
66kV underground oil km | 0 | 0 | 0 | 0 | 1
66kV underground gas km | 0 | 0 | 0 | 0 | 1
EHV submarine km | 0 | 0 | 0 | 0 | 1
33kV breaker indoors | 0 | 0 | 0 | 0 | 1
33kV breaker outdoors | 0 | 0 | 0 | 0 | 1
33kV switch ground-mounted | 0 | 0 | 0 | 0 | 1
33kV switch pole-mounted | 0 | 0 | 0 | 0 | 1
33kV ring main unit | 0 | 0 | 0 | 0 | 1
33kV other switchgear | 0 | 0 | 0 | 0 | 1
66kV breaker | 0 | 0 | 0 | 0 | 1
66kV other switchgear | 0 | 0 | 0 | 0 | 1
33kV transformer pole-mounted | 0 | 0 | 0 | 0 | 1
33kV transformer ground-mounted | 0 | 0 | 0 | 0 | 1
33kV auxiliary transformer | 0 | 0 | 0 | 0 | 1
66kV transformer | 0 | 0 | 0 | 0 | 1
66kV auxiliary transformer | 0 | 0 | 0 | 0 | 1
132kV overhead pole conductor km | 0 | 0 | 0 | 0 | 1
132kV overhead tower conductor km | 0 | 0 | 0 | 0 | 1
132kV pole | 0 | 0 | 0 | 0 | 1
132kV tower | 0 | 0 | 0 | 0 | 1
132kV tower fittings | 0 | 0 | 0 | 0 | 1
132kV underground non-pressurised km | 0 | 0 | 0 | 0 | 1
132kV underground oil km | 0 | 0 | 0 | 0 | 1
132kV underground gas km | 0 | 0 | 0 | 0 | 1
132kV submarine km | 0 | 0 | 0 | 0 | 1
132kV breaker | 0 | 0 | 0 | 0 | 1
132kV other switchgear | 0 | 0 | 0 | 0 | 1
132kV transformer | 0 | 0 | 0 | 0 | 1
132kV auxiliary transformer | 0 | 0 | 0 | 0 | 1
132kV/EHV remote terminal unit pole-mounted | 0 | 0 | 0 | 0 | 1
132kV/EHV remote terminal unit ground-mounted | 0 | 0 | 0 | 0 | 1
HV remote terminal unit pole-mounted | 0 | 0 | 0 | 1 | 0
HV remote terminal unit ground-mounted | 0 | 0 | 0 | 1 | 0
1405. MEAV by network level (£)
Data sources:
x1 = 1404. MEAV mapping (in MEAV calculations)
x2 = 1404. MEAV (£) (in MEAV calculations)
Sum-product calculation =SUMPRODUCT(x1, x2)
| LV | HV/LV | HV | EHV&132
MEAV by network level (£) | 0 | 0 | 0 | 0
1406. MEAV percentages
Data sources:
x1 = 1405. MEAV by network level (£)
Calculation =x1/SUM(x1)
| LV | HV/LV | HV | EHV&132
MEAV percentages | 0% | 0% | 0% | 0%
1407. MEAV percentages (copy)
Data sources:
x1 = 1406. MEAV percentages
Copy cells = x1
| LV | HV/LV | HV | EHV&132
MEAV percentages | 0% | 0% | 0% | 0%
1408. EHV asset levels
| GSP | 132kV circuits | 132kV/EHV | EHV circuits | EHV/HV | 132kV/HV | HV circuits | HV/LV | LV circuits | LV customer | HV customer
EHV asset levels | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
1409. Proportion of EHV notional assets which are in the CDCM
Data sources:
x1 = 1332. All notional assets in EDCM (£) (from EDCM table 4167, 4168, 4169 or 4170)
x2 = 1408. EHV asset levels
x3 = 1331. Assets in CDCM model (£) (from CDCM table 2705 or 2706)
Calculation =1/(1+x1/SUMPRODUCT(x2,x3))
EHV&132
Proportion of EHV notional assets which are in the CDCM | 0%
1410. Proportion to be kept
Data sources:
x1 = 1409. Proportion of EHV notional assets which are in the CDCM
x2 = Default to 1
Combine tables = x1 or x2
| LV | HV/LV | HV | EHV&132
Proportion to be kept | 100% | 100% | 100% | 0%
1411. MEAV percentages after exclusions
Data sources:
x1 = 1407. MEAV percentages (copy)
x2 = 1410. Proportion to be kept
Calculation =x1*x2/SUMPRODUCT(x1,x2)
| LV | HV/LV | HV | EHV&132
MEAV percentages after exclusions | 0% | 0% | 0% | 0%
1412. EHV only
| LV | HV/LV | HV | EHV&132
EHV only | 0 | 0 | 0 | 1
1413. LV only
| LV | HV/LV | HV | EHV&132
LV only | 1 | 0 | 0 | 0
1414. All allocation percentages
Data sources:
x1 = 1401. Allocation key (in Allocation rules)
x2 = 1413. LV only
x3 = 1411. MEAV percentages after exclusions
x4 = 1412. EHV only
x5 = 1375. Network length percentages
Calculation =IF(x1="60%MEAV",0.4*x2+x3,IF(x1="MEAV",x3,IF(x1="EHV only",x4,IF(x1="LV only",x2,IF(x1="Network length",x5,0)))))
| LV | HV/LV | HV | EHV&132
Load related new connections & reinforcement (net of contributions) | 0% | 0% | 0% | 0%
Non-load new & replacement assets (net of contributions) | 0% | 0% | 0% | 0%
Non-operational capex | 0% | 0% | 0% | 0%
Faults | 0% | 0% | 0% | 0%
Inspections, & Maintenance | 0% | 0% | 0% | 0%
Tree Cutting | 0% | 0% | 0% | 0%
Network Policy | 0% | 0% | 0% | 0%
Network Design & Engineering | 0% | 0% | 0% | 0%
Project Management | 0% | 0% | 0% | 0%
Engineering Mgt & Clerical Support | 0% | 0% | 0% | 0%
Control Centre | 0% | 0% | 0% | 0%
System Mapping - Cartographical | 0% | 0% | 0% | 0%
Customer Call Centre | 0% | 0% | 0% | 0%
Stores | 0% | 0% | 0% | 0%
Vehicles & Transport | 0% | 0% | 0% | 0%
IT & Telecoms | 0% | 0% | 0% | 0%
Property Mgt | 0% | 0% | 0% | 0%
HR & Non-operational Training | 0% | 0% | 0% | 0%
Health & Safety & Operational Training | 0% | 0% | 0% | 0%
Finance & Regulation | 0% | 0% | 0% | 0%
CEO etc | 0% | 0% | 0% | 0%
Atypical cash costs | 0% | 0% | 0% | 0%
Pension deficit payments | 0% | 0% | 0% | 0%
Metering | 0% | 0% | 0% | 0%
Excluded services & de minimis | 0% | 0% | 0% | 0%
Relevant distributed generation (less contributions) | 0% | 0% | 0% | 0%
IFI | 0% | 0% | 0% | 0%
Disallowed Related Party Margins | 0% | 0% | 0% | 0%
Statutory Depreciation | 0% | 0% | 0% | 0%
Network Rates | 0% | 0% | 0% | 0%
Transmission Exit Charges | 0% | 0% | 0% | 0%
Pension deficit repair payments by related parties (note 2) | 0% | 0% | 0% | 0%
Non activity costs and reconciling amounts (note 3) | 0% | 0% | 0% | 0%
1415. Complete allocation
Data sources:
x1 = 1401. Allocation key (in Allocation rules)
x2 = 1330. Allocated costs
x3 = 1402. Total costs (copy) (in Expenditure data)
x4 = 1402. Amounts already allocated (in Expenditure data)
x5 = 1414. All allocation percentages
Calculation =IF(x1="Kill",0,x2+(x3-x4)*x5)
| LV | HV/LV | HV | EHV&132
Load related new connections & reinforcement (net of contributions) | 0 | 0 | 0 | 0
Non-load new & replacement assets (net of contributions) | 0 | 0 | 0 | 0
Non-operational capex | 0 | 0 | 0 | 0
Faults | 0 | 0 | 0 | 0
Inspections, & Maintenance | 0 | 0 | 0 | 0
Tree Cutting | 0 | 0 | 0 | 0
Network Policy | 0 | 0 | 0 | 0
Network Design & Engineering | 0 | 0 | 0 | 0
Project Management | 0 | 0 | 0 | 0
Engineering Mgt & Clerical Support | 0 | 0 | 0 | 0
Control Centre | 0 | 0 | 0 | 0
System Mapping - Cartographical | 0 | 0 | 0 | 0
Customer Call Centre | 0 | 0 | 0 | 0
Stores | 0 | 0 | 0 | 0
Vehicles & Transport | 0 | 0 | 0 | 0
IT & Telecoms | 0 | 0 | 0 | 0
Property Mgt | 0 | 0 | 0 | 0
HR & Non-operational Training | 0 | 0 | 0 | 0
Health & Safety & Operational Training | 0 | 0 | 0 | 0
Finance & Regulation | 0 | 0 | 0 | 0
CEO etc | 0 | 0 | 0 | 0
Atypical cash costs | 0 | 0 | 0 | 0
Pension deficit payments | 0 | 0 | 0 | 0
Metering | 0 | 0 | 0 | 0
Excluded services & de minimis | 0 | 0 | 0 | 0
Relevant distributed generation (less contributions) | 0 | 0 | 0 | 0
IFI | 0 | 0 | 0 | 0
Disallowed Related Party Margins | 0 | 0 | 0 | 0
Statutory Depreciation | 0 | 0 | 0 | 0
Network Rates | 0 | 0 | 0 | 0
Transmission Exit Charges | 0 | 0 | 0 | 0
Pension deficit repair payments by related parties (note 2) | 0 | 0 | 0 | 0
Non activity costs and reconciling amounts (note 3) | 0 | 0 | 0 | 0
1416. Complete allocation: LV total share
Data sources:
x1 = 1415. Complete allocation
Copy cells = x1
LV
Load related new connections & reinforcement (net of contributions) | 0
Non-load new & replacement assets (net of contributions) | 0
Non-operational capex | 0
Faults | 0
Inspections, & Maintenance | 0
Tree Cutting | 0
Network Policy | 0
Network Design & Engineering | 0
Project Management | 0
Engineering Mgt & Clerical Support | 0
Control Centre | 0
System Mapping - Cartographical | 0
Customer Call Centre | 0
Stores | 0
Vehicles & Transport | 0
IT & Telecoms | 0
Property Mgt | 0
HR & Non-operational Training | 0
Health & Safety & Operational Training | 0
Finance & Regulation | 0
CEO etc | 0
Atypical cash costs | 0
Pension deficit payments | 0
Metering | 0
Excluded services & de minimis | 0
Relevant distributed generation (less contributions) | 0
IFI | 0
Disallowed Related Party Margins | 0
Statutory Depreciation | 0
Network Rates | 0
Transmission Exit Charges | 0
Pension deficit repair payments by related parties (note 2) | 0
Non activity costs and reconciling amounts (note 3) | 0
1417. MEAV: ratio of LV services to LV total
Data sources:
x1 = 1404. MEAV mapping: LV services
x2 = 1404. MEAV (£) (in MEAV calculations)
x3 = 1404. MEAV mapping: LV total
Calculation =SUMPRODUCT(x1,x2)/SUMPRODUCT(x3,x2)
LV
LV services | 0%
1418. Allocation of LV to LV services
Data sources:
x1 = 1401. Allocation key (in Allocation rules)
x2 = 1417. MEAV: ratio of LV services to LV total
x3 = 1385. Network length: ratio of LV services to LV total
Calculation =IF(x1="60%MEAV",0.4+0.6*x2,IF(x1="MEAV",x2,IF(x1="EHV only",0,IF(x1="LV only",1,IF(x1="Network length",x3,0)))))
Allocation of LV to LV services
Load related new connections & reinforcement (net of contributions) | 0%
Non-load new & replacement assets (net of contributions) | 0%
Non-operational capex | 0%
Faults | 0%
Inspections, & Maintenance | 0%
Tree Cutting | 0%
Network Policy | 0%
Network Design & Engineering | 0%
Project Management | 0%
Engineering Mgt & Clerical Support | 0%
Control Centre | 0%
System Mapping - Cartographical | 0%
Customer Call Centre | 0%
Stores | 0%
Vehicles & Transport | 0%
IT & Telecoms | 0%
Property Mgt | 0%
HR & Non-operational Training | 0%
Health & Safety & Operational Training | 0%
Finance & Regulation | 0%
CEO etc | 0%
Atypical cash costs | 0%
Pension deficit payments | 0%
Metering | 0%
Excluded services & de minimis | 0%
Relevant distributed generation (less contributions) | 0%
IFI | 0%
Disallowed Related Party Margins | 0%
Statutory Depreciation | 0%
Network Rates | 0%
Transmission Exit Charges | 0%
Pension deficit repair payments by related parties (note 2) | 0%
Non activity costs and reconciling amounts (note 3) | 0%
1419. Allocation to LV services
Data sources:
x1 = 1416. Complete allocation: LV total share
x2 = 1418. Allocation of LV to LV services
Calculation =x1*x2
LV services
Load related new connections & reinforcement (net of contributions) | 0
Non-load new & replacement assets (net of contributions) | 0
Non-operational capex | 0
Faults | 0
Inspections, & Maintenance | 0
Tree Cutting | 0
Network Policy | 0
Network Design & Engineering | 0
Project Management | 0
Engineering Mgt & Clerical Support | 0
Control Centre | 0
System Mapping - Cartographical | 0
Customer Call Centre | 0
Stores | 0
Vehicles & Transport | 0
IT & Telecoms | 0
Property Mgt | 0
HR & Non-operational Training | 0
Health & Safety & Operational Training | 0
Finance & Regulation | 0
CEO etc | 0
Atypical cash costs | 0
Pension deficit payments | 0
Metering | 0
Excluded services & de minimis | 0
Relevant distributed generation (less contributions) | 0
IFI | 0
Disallowed Related Party Margins | 0
Statutory Depreciation | 0
Network Rates | 0
Transmission Exit Charges | 0
Pension deficit repair payments by related parties (note 2) | 0
Non activity costs and reconciling amounts (note 3) | 0
1420. Allocation to LV mains
Data sources:
x1 = 1416. Complete allocation: LV total share
x2 = 1418. Allocation of LV to LV services
Calculation =x1*(1-x2)
LV mains
Load related new connections & reinforcement (net of contributions) | 0
Non-load new & replacement assets (net of contributions) | 0
Non-operational capex | 0
Faults | 0
Inspections, & Maintenance | 0
Tree Cutting | 0
Network Policy | 0
Network Design & Engineering | 0
Project Management | 0
Engineering Mgt & Clerical Support | 0
Control Centre | 0
System Mapping - Cartographical | 0
Customer Call Centre | 0
Stores | 0
Vehicles & Transport | 0
IT & Telecoms | 0
Property Mgt | 0
HR & Non-operational Training | 0
Health & Safety & Operational Training | 0
Finance & Regulation | 0
CEO etc | 0
Atypical cash costs | 0
Pension deficit payments | 0
Metering | 0
Excluded services & de minimis | 0
Relevant distributed generation (less contributions) | 0
IFI | 0
Disallowed Related Party Margins | 0
Statutory Depreciation | 0
Network Rates | 0
Transmission Exit Charges | 0
Pension deficit repair payments by related parties (note 2) | 0
Non activity costs and reconciling amounts (note 3) | 0
1421. Complete allocation split between LV mains and services
Data sources:
x1 = 1419. Allocation to LV services
x2 = 1420. Allocation to LV mains
x3 = 1415. Complete allocation
Combine tables = x1 or x2 or x3
| LV services | LV mains | HV/LV | HV | EHV&132
Load related new connections & reinforcement (net of contributions) | 0 | 0 | 0 | 0 | 0
Non-load new & replacement assets (net of contributions) | 0 | 0 | 0 | 0 | 0
Non-operational capex | 0 | 0 | 0 | 0 | 0
Faults | 0 | 0 | 0 | 0 | 0
Inspections, & Maintenance | 0 | 0 | 0 | 0 | 0
Tree Cutting | 0 | 0 | 0 | 0 | 0
Network Policy | 0 | 0 | 0 | 0 | 0
Network Design & Engineering | 0 | 0 | 0 | 0 | 0
Project Management | 0 | 0 | 0 | 0 | 0
Engineering Mgt & Clerical Support | 0 | 0 | 0 | 0 | 0
Control Centre | 0 | 0 | 0 | 0 | 0
System Mapping - Cartographical | 0 | 0 | 0 | 0 | 0
Customer Call Centre | 0 | 0 | 0 | 0 | 0
Stores | 0 | 0 | 0 | 0 | 0
Vehicles & Transport | 0 | 0 | 0 | 0 | 0
IT & Telecoms | 0 | 0 | 0 | 0 | 0
Property Mgt | 0 | 0 | 0 | 0 | 0
HR & Non-operational Training | 0 | 0 | 0 | 0 | 0
Health & Safety & Operational Training | 0 | 0 | 0 | 0 | 0
Finance & Regulation | 0 | 0 | 0 | 0 | 0
CEO etc | 0 | 0 | 0 | 0 | 0
Atypical cash costs | 0 | 0 | 0 | 0 | 0
Pension deficit payments | 0 | 0 | 0 | 0 | 0
Metering | 0 | 0 | 0 | 0 | 0
Excluded services & de minimis | 0 | 0 | 0 | 0 | 0
Relevant distributed generation (less contributions) | 0 | 0 | 0 | 0 | 0
IFI | 0 | 0 | 0 | 0 | 0
Disallowed Related Party Margins | 0 | 0 | 0 | 0 | 0
Statutory Depreciation | 0 | 0 | 0 | 0 | 0
Network Rates | 0 | 0 | 0 | 0 | 0
Transmission Exit Charges | 0 | 0 | 0 | 0 | 0
Pension deficit repair payments by related parties (note 2) | 0 | 0 | 0 | 0 | 0
Non activity costs and reconciling amounts (note 3) | 0 | 0 | 0 | 0 | 0
1422. Complete allocation, adjusted for regulatory capitalisation
Data sources:
x1 = 1421. Complete allocation split between LV mains and services
x2 = 1401. Percentage capitalised (in Allocation rules)
Calculation =x1*(1-x2)
| LV services | LV mains | HV/LV | HV | EHV&132
Load related new connections & reinforcement (net of contributions) | 0 | 0 | 0 | 0 | 0
Non-load new & replacement assets (net of contributions) | 0 | 0 | 0 | 0 | 0
Non-operational capex | 0 | 0 | 0 | 0 | 0
Faults | 0 | 0 | 0 | 0 | 0
Inspections, & Maintenance | 0 | 0 | 0 | 0 | 0
Tree Cutting | 0 | 0 | 0 | 0 | 0
Network Policy | 0 | 0 | 0 | 0 | 0
Network Design & Engineering | 0 | 0 | 0 | 0 | 0
Project Management | 0 | 0 | 0 | 0 | 0
Engineering Mgt & Clerical Support | 0 | 0 | 0 | 0 | 0
Control Centre | 0 | 0 | 0 | 0 | 0
System Mapping - Cartographical | 0 | 0 | 0 | 0 | 0
Customer Call Centre | 0 | 0 | 0 | 0 | 0
Stores | 0 | 0 | 0 | 0 | 0
Vehicles & Transport | 0 | 0 | 0 | 0 | 0
IT & Telecoms | 0 | 0 | 0 | 0 | 0
Property Mgt | 0 | 0 | 0 | 0 | 0
HR & Non-operational Training | 0 | 0 | 0 | 0 | 0
Health & Safety & Operational Training | 0 | 0 | 0 | 0 | 0
Finance & Regulation | 0 | 0 | 0 | 0 | 0
CEO etc | 0 | 0 | 0 | 0 | 0
Atypical cash costs | 0 | 0 | 0 | 0 | 0
Pension deficit payments | 0 | 0 | 0 | 0 | 0
Metering | 0 | 0 | 0 | 0 | 0
Excluded services & de minimis | 0 | 0 | 0 | 0 | 0
Relevant distributed generation (less contributions) | 0 | 0 | 0 | 0 | 0
IFI | 0 | 0 | 0 | 0 | 0
Disallowed Related Party Margins | 0 | 0 | 0 | 0 | 0
Statutory Depreciation | 0 | 0 | 0 | 0 | 0
Network Rates | 0 | 0 | 0 | 0 | 0
Transmission Exit Charges | 0 | 0 | 0 | 0 | 0
Pension deficit repair payments by related parties (note 2) | 0 | 0 | 0 | 0 | 0
Non activity costs and reconciling amounts (note 3) | 0 | 0 | 0 | 0 | 0
1423. Total expensed for each level
Data sources:
x1 = 1422. Complete allocation, adjusted for regulatory capitalisation
Cell summation =SUM(x1)
| LV services | LV mains | HV/LV | HV | EHV&132
Total expensed for each level | 0 | 0 | 0 | 0 | 0
1424. Expensed proportions
Data sources:
x1 = 1423. Total expensed for each level
Calculation =x1/SUM(x1)
| LV services | LV mains | HV/LV | HV | EHV&132
Expensed proportions | 0% | 0% | 0% | 0% | 0%
1425. Net capex percentages (copy)
Data sources:
x1 = 1370. Net capex percentages
Copy cells = x1
| LV | HV/LV | HV | EHV&132
Net capex percentages | 0% | 0% | 0% | 0%
1426. Net capex percentages after exclusions
Data sources:
x1 = 1425. Net capex percentages (copy)
x2 = 1410. Proportion to be kept
Calculation =x1*x2/SUMPRODUCT(x1,x2)
| LV | HV/LV | HV | EHV&132
Net capex percentages after exclusions | 0% | 0% | 0% | 0%
1427. Net capex: LV total share
Data sources:
x1 = 1426. Net capex percentages after exclusions
Copy cells = x1
LV
Net capex: LV total share | 0%
1428. Allocation to LV services
Data sources:
x1 = 1427. Net capex: LV total share
x2 = 1380. Net capex: ratio of LV services to LV total
Calculation =x1*x2
LV services
Allocation to LV services | 0%
1429. Allocation to LV mains
Data sources:
x1 = 1427. Net capex: LV total share
x2 = 1380. Net capex: ratio of LV services to LV total
Calculation =x1*(1-x2)
LV mains
Allocation to LV mains | 0%
1430. Net capex allocation split between LV mains and services
Data sources:
x1 = 1428. Allocation to LV services
x2 = 1429. Allocation to LV mains
x3 = 1426. Net capex percentages after exclusions
Combine tables = x1 or x2 or x3
| LV services | LV mains | HV/LV | HV | EHV&132
Net capex allocation split between LV mains and services | 0% | 0% | 0% | 0% | 0%
1431. Proportion of price control revenue attributed to opex
Data sources:
x1 = 1310. Aggregate operating (in DPCR4 aggregate allowances)
x2 = 1310. Aggregate return (in DPCR4 aggregate allowances)
x3 = 1310. Aggregate depreciation (in DPCR4 aggregate allowances)
Calculation =x1/(x2+x3+x1)
Proportion of price control revenue attributed to opex
Proportion of price control revenue attributed to opex | 0%
1432. Revenue to be allocated between network levels (£/year)
Data sources:
x1 = 1315. Total revenue (in Analysis of allowed revenue for 2007/2008)
x2 = 1315. Net incentive revenue (in Analysis of allowed revenue for 2007/2008)
x3 = 1403. To be deducted from revenue and treated as "upstream" cost
Calculation =x1-x2-x3
Revenue to be allocated between network levels (£/year)
Revenue to be allocated between network levels (£/year) | 0
1433. Units at LV
Data sources:
x1 = 1320. Units flowing
Copy cells = x1
LV
Units at LV | 0
1434. Allocation to LV services
Data sources:
x1 = 1433. Units at LV
Copy cells =x1
LV services
Allocation to LV services | 0
1435. Allocation to LV mains
Data sources:
x1 = 1433. Units at LV
Copy cells =x1
LV mains
Allocation to LV mains | 0
1436. Units
Data sources:
x1 = 1434. Allocation to LV services
x2 = 1435. Allocation to LV mains
x3 = 1320. Units flowing
Combine tables = x1 or x2 or x3
| LV services | LV mains | HV/LV | HV | EHV&132
Units | 0 | 0 | 0 | 0 | 0
1437. p/kWh split
Data sources:
x1 = 1431. Proportion of price control revenue attributed to opex
x2 = 1430. Net capex allocation split between LV mains and services
x3 = 1424. Expensed proportions
x4 = 1432. Revenue to be allocated between network levels (£/year)
x5 = 1436. Units
Calculation =((1-x1)*x2+x1*x3)*x4/x5*100
| LV services | LV mains | HV/LV | HV | EHV&132
p/kWh split | 0 | 0 | 0 | 0 | 0
1438. p/kWh not split
Data sources:
x1 = 1315. Net incentive revenue (in Analysis of allowed revenue for 2007/2008)
x2 = 1403. To be deducted from revenue and treated as "upstream" cost
x3 = 1436. Units
Calculation =100*(x1+x2)/x3
EHV&132
p/kWh not split | 0
1439. Allocated proportion
Data sources:
x1 = 1437. p/kWh split
x2 = 1438. p/kWh not split
Calculation =x1/(SUM(x1)+x2)
| LV services | LV mains | HV/LV | HV | EHV&132
Allocated proportion | 0% | 0% | 0% | 0% | 0%
1440. Complete allocation, zeroing out negative numbers
Data sources:
x1 = 1415. Complete allocation
Calculation =MAX(0,x1)
| LV | HV/LV | HV | EHV&132
Load related new connections & reinforcement (net of contributions) | 0 | 0 | 0 | 0
Non-load new & replacement assets (net of contributions) | 0 | 0 | 0 | 0
Non-operational capex | 0 | 0 | 0 | 0
Faults | 0 | 0 | 0 | 0
Inspections, & Maintenance | 0 | 0 | 0 | 0
Tree Cutting | 0 | 0 | 0 | 0
Network Policy | 0 | 0 | 0 | 0
Network Design & Engineering | 0 | 0 | 0 | 0
Project Management | 0 | 0 | 0 | 0
Engineering Mgt & Clerical Support | 0 | 0 | 0 | 0
Control Centre | 0 | 0 | 0 | 0
System Mapping - Cartographical | 0 | 0 | 0 | 0
Customer Call Centre | 0 | 0 | 0 | 0
Stores | 0 | 0 | 0 | 0
Vehicles & Transport | 0 | 0 | 0 | 0
IT & Telecoms | 0 | 0 | 0 | 0
Property Mgt | 0 | 0 | 0 | 0
HR & Non-operational Training | 0 | 0 | 0 | 0
Health & Safety & Operational Training | 0 | 0 | 0 | 0
Finance & Regulation | 0 | 0 | 0 | 0
CEO etc | 0 | 0 | 0 | 0
Atypical cash costs | 0 | 0 | 0 | 0
Pension deficit payments | 0 | 0 | 0 | 0
Metering | 0 | 0 | 0 | 0
Excluded services & de minimis | 0 | 0 | 0 | 0
Relevant distributed generation (less contributions) | 0 | 0 | 0 | 0
IFI | 0 | 0 | 0 | 0
Disallowed Related Party Margins | 0 | 0 | 0 | 0
Statutory Depreciation | 0 | 0 | 0 | 0
Network Rates | 0 | 0 | 0 | 0
Transmission Exit Charges | 0 | 0 | 0 | 0
Pension deficit repair payments by related parties (note 2) | 0 | 0 | 0 | 0
Non activity costs and reconciling amounts (note 3) | 0 | 0 | 0 | 0
1441. Direct costs
Data sources:
x1 = 1440. Complete allocation, zeroing out negative numbers
x2 = 1401. Direct cost indicator (in Allocation rules)
Sum-product calculation =SUMPRODUCT(x1, x2)
| LV | HV/LV | HV | EHV&132
Direct costs | 0 | 0 | 0 | 0
1442. Total costs
Data sources:
x1 = 1440. Complete allocation, zeroing out negative numbers
Cell summation =SUM(x1)
| LV | HV/LV | HV | EHV&132
Total costs | 0 | 0 | 0 | 0
1443. Direct cost proportion
Data sources:
x1 = 1441. Direct costs
x2 = 1442. Total costs
Calculation =x1/x2
| LV | HV/LV | HV | EHV&132
Direct cost proportion | 0% | 0% | 0% | 0%
1444. Direct cost proportions
Data sources:
x1 = 1443. Direct cost proportion
Kind: | Copy cells | Copy cells
Formula: | = x1 | = x1
| LV direct proportion | HV direct proportion
Direct cost proportions | 0% | 0%

## Results
0
1501. Allocations to network levels
Data sources:
x1 = 1439. Allocated proportion
Kind: | Copy cells | Copy cells | Copy cells | Copy cells
Formula: | = x1 | = x1 | = x1 | = x1
| LV services allocation | LV mains allocation | HV/LV allocation | HV allocation
Allocations to network levels | 0% | 0% | 0% | 0%
1502. LDNO discounts
Data sources:
x1 = 1501. LV services allocation (in Allocations to network levels)
x2 = 1501. LV mains allocation (in Allocations to network levels)
x3 = 1301. DNO LV mains usage
x4 = 1444. LV direct proportion (in Direct cost proportions)
x5 = 1501. HV/LV allocation (in Allocations to network levels)
x6 = 1501. HV allocation (in Allocations to network levels)
x7 = 1302. DNO HV mains usage
x8 = 1444. HV direct proportion (in Direct cost proportions)
Kind: | Calculation | Calculation | Calculation | Calculation
Formula: | =x1+x2*(1-x3*x4) | =x1+x2+x5+x6*(1-x7*x8) | =(x5+x6*(1-x7*x8))/(1-x2-x1) | =x6*(1-x7*x8)/(1-x1-x2-x5)
| LDNO LV: LV user | LDNO HV: LV user | LDNO HV: LV Sub user | LDNO HV: HV user
LDNO discounts | 0% | 0% | 0% | 0%
1503. Change from current discounts
Data sources:
x1 = 1502. LDNO LV: LV user (in LDNO discounts)
x2 = 1399. LDNO LV: LV user (in Current LDNO discounts)
x3 = 1502. LDNO HV: LV user (in LDNO discounts)
x4 = 1399. LDNO HV: LV user (in Current LDNO discounts)
x5 = 1502. LDNO HV: LV Sub user (in LDNO discounts)
x6 = 1399. LDNO HV: LV Sub user (in Current LDNO discounts)
x7 = 1502. LDNO HV: HV user (in LDNO discounts)
x8 = 1399. LDNO HV: HV user (in Current LDNO discounts)
Kind: | Calculation | Calculation | Calculation | Calculation
Formula: | =x1-x2 | =x3-x4 | =x5-x6 | =x7-x8
| LDNO LV: LV user | LDNO HV: LV user | LDNO HV: LV Sub user | LDNO HV: HV user
Change from current discounts | 0% | 0% | 0% | 0%