DCUSA Change Report

DCP 222 - Non billing of excess Reactive Power charges

Executive Summary

DCP 222 seeks to allow Distribution Network Operators (DNOs) to not charge excess reactive power charges to generators who operate, at the instruction of the DNO, with a power factor less than 0.95. This document presents the Change Report for DCP 222 and invites respondents to vote on the proposed change.

# PURPOSE

## This document is issued in accordance with Clause 11.20 of the DCUSA and details DCP 222 ‘Non billing of excess Reactive Power charges’.

## The voting process for the proposed variation and the timetable of the progression of the Change Proposal (CP) through the DCUSA Change Control Process is set out in this document.

## Parties are invited to consider the proposed legal drafting amendments (Attachment 1) and submit their votes using the voting form (Attachment 2) to dcusa@electralink.co.uk no later than 12 February 2016.

- background

## DCP 222 has been raised by Western Power Distribution to investigate options for Distribution Network Operators (DNOs) to not charge excess reactive power charges to generators who operate, at the request of the DNO, with a power factor less than 0.95.

## This CP has been raised as a result of an issue flagged by National Grid in their paper on the System Operability Framework in September 2014. It suggests that currently there is a rapidly emerging issue around falling Volt Ampere Reactive (VAR)1 demand leading to high voltage levels on the National Electricity Transmission System operated by National Grid under low load conditions.

## The proposer of this change has stated that following recent Statement of Works Applications to National Grid under the Connection and Use of System Code (CUSC) some DNOs are asking for generators to operate to help control reactive flows. These conditions may result in generators being requested to operate outside of the 0.95 power factor limit to assist with this system wide voltage control issue. This issue relates to EHV, 22kV or 11kV generators, although so far no DNO has currently required any HV or LV generator to operate outside the 0.95 power factor.

## There are currently two methodologies for charging Distribution Use of System (DUoS), the Extra-high-voltage Distribution Charging Methodology (EDCM) which applies to EHV designated properties and the Common Distribution Charging Methodology (CDCM) which applies to HV and LV connected Customers (including Generators). The EDCM does not have specific reactive power charges whereas the CDCM does. As a result, this CP is only looking to address issues with the CDCM.

## As such those generators charged under the CDCM would currently be charged an excess reactive power charge if they were to operate outside 0.95 power factor limit. This would discourage generators carrying out this instruction given that those generators would be only generating outside 0.95 power factor for the wider system benefits of all customers and at the instruction of the DNO. The removal of the excess reactive power charge may therefore be appropriate where a DNO requests a generator to operate outside of the 0.95 power factor limit.

## The proposed DCP 222 solution is to insert new tariffs, which mirror existing HV tariffs, except they have no reactive power charges being applied to them in paragraph 146 table 7 and to add a new ‘note 7’ which states:

## ‘Where a DNO has requested a generator to operate with a power factor of less than 0.95, excess reactive power charges will not be applicable’.

## Additional information on the CP is contained within the CP form provided as Attachment 6.

# DCP 222 WORKING GROUP ASSESSMENT

## The DCUSA Panel established a Working Group to assess DCP 222. The group consists of Distributor, Supplier and Ofgem representatives. Meetings were held in open session and the minutes and papers of each meeting are available on the DCUSA website – www.dcusa.co.uk. The topics discussed by the Working Group are detailed below.

## During the development of the Change Proposal the Working Group did not feel this change was required and requested the proposer consider withdrawing this change.

## In their assessment of DCP 222, the Working Group agreed that it was important to understand the issue from the perspective of National Grid and as a result requested National Grid provided details by DNO area where the requirement for Generators to operate outside 0.95 Power Factor is likely to be an issue in the future and, if it is, what is the estimated year in which it could become a problem. The National Grid response is provided as Attachment 5.

## In their response National Grid highlighted that high volts on the network caused by falling MVAr demand (there are a number of reasons for this including the changing generation portfolio, extent of cable networks, greater use of power electronics and inverter technology, reduced industrial demand and energy efficient light bulbs) is an acknowledged serious and widespread issue.

## The Working Group agreed that the change should go to a consultation with two options (the Option proposed in the CP form, Option 1 (Attachment 6), and an alternative Option, Option 2) to be considered. Option 2 would not seek to introduce new tariffs or require additional LLFCs to be created as per Option 1.

# DCP 222 – FIRST CONSULTATION

## Two consultations were issued in relation to DCP 222. The first consultation was issued to gather information and feedback from Distribution Network Operators (DNOs), Independent Distribution Network Operators (IDNOs), Suppliers, Citizens Advice, Elexon, National Grid, any other interested Parties and the Authority. The DCP 222 consultation was issued on 30 March 2015 and there were eight responses received.

## A summary of the responses received, and the Working Group’s conclusions are set out below. The full set of responses and the Working Group’s comments are provided in Attachment 3.

Question 1 - Are you supportive of the intent of DCP 222?

## The Working Group noted that the majority of respondents were supportive of the intent of the CP.

## One of the respondents stated that they were not supportive of the CP because more information is needed to assist Parties to assess if this is an issue which affects them or if this is to affect only a small number of sites in certain locations.

Question 2 - Are you supportive of the principles of DCP 222?

## The Working Group noted that six out of eight respondents were supportive of the principles of the CP.

## One of the respondents was concerned that this change may be too restrictive. Where a special arrangement is being put in place for a particular customer if the DNO felt it was appropriate to not charge for reactive power would the DNO be precluded from doing so by this change.

Question 3 - Are there any unintended consequences of this proposal?

## The Working Group noted that a majority of respondents felt that there may be unintended consequences of the proposal.

## One respondent suggested that the generator will benefit by being permitted to operate outside the 0.95 power factor for approximately 17520 HH periods and all other customers would have to socialise the excess Reactive Power Charge that would normally be applied in this situation. The Working Group noted that this would be for a small number of customers and that the customer would only need to operate outside of 0.95 on a small number of designated HH periods. It was noted that although you could change a tariff for a specific customer for a particular day, you would not be able to do so for specific HH periods.

## A respondent pointed out that change is a step towards distributed generation being able to provide reactive services not only to the DNO but also to the Transmission System Operators (TSOs). The Working Group noted that it could be argued that Distribution Customers are paying to alleviate the system wide voltage control issue with no costs being borne by the Transmission System Operator (TSO).

## It was highlighted that although DNOs could request for generators to operate in a certain way, the generator could choose to not provide the service of operating outside of the power factor 0.95 and instead pay for extra reinforcement of the network in order to be connected.

## The Working Group expressed concerns that this arrangement may lead to a trilateral agreement between the Customer, Distributor and the National Grid and agreed to invite National Grid, the six DNOs and the Suppliers to share their views on the proposed change and how it might affect industry Parties.

Question 4: The Working Group considers that DCUSA General Objectives 1 and the DCUSA charging objectives General Objective 3 and Charging Objective 1 are better facilitated by DCP 222, do you agree with this opinion?  Please provide supporting comments on this and any other DCUSA Objective you feel may be impacted by DCP 222.

## The Working Group noted that six of the eight consultation respondents agreed that the proposal better facilitates the DCUSA objectives.

## The following table outlines which DCUSA Charging Objectives respondents stated as being better facilitated by the CP:

| DCUSA General Objectives | No. Of Respondents that agree it is better facilitated | DCUSA Charging Objectives | No. Of Respondents that agree it is better facilitated |
| --- | --- | --- | --- |
| Objective 1 | 6 | Objective 1 | 6 |
| Objective 2 | 0 | Objective 2 | 0 |
| Objective 3 | 6 | Objective 3 | 0 |
| Objective 4 | 0 | Objective 4 | 0 |
| Objective 5 | 0 | Objective 5 | 0 |

Question 5: Should a customer who has been asked during the charging year to move Line Loss Factor Class (LLFCs) and operate under these conditions, have their charge be moved retrospectively?

## The Working Group noted that six out of the eight respondents felt that a customer who has been requested during the charging year to operate outside the power factor of 0.95 should not have their charge moved.

## Those respondents that felt that the customer should not be charged provided the following comments in their responses:

- A customer should not be penalised for following the instructions of the Network Operator and operating outside of a 0.95 power factor – however, the tariff will have been published 15 months in advance so rather than moving a customer during the charging year, there will have to be a rigid process where customers who are expected to operate outside 0.95 power factor are notified of this 15 months in advance of that tariff being applied.

- The Customer should benefit from the date the request is effective. This is no different than the existing processes of tariff changes undertaken by suppliers.

- There is no valid reason we can see to justify retrospective application and this could be misinterpreted as a precedent for how other LLFC changes in other contexts are handled.

- It should be properly controlled by the DNOs when adding connection conditions to generation connection offers.

## The Working Group agreed that they needed to consult on this issue further in order to get enough feedback from industry parties.

Question 6: Should a customer who has been asked to operate outside the 0.95 power factor for a short duration benefit from not being charged for the reactive element for the full year?

## The Working Group noted that mixed responses were received to this question.

## Some respondents felt that a customer who has been asked to operate outside the 0.95 power should not benefit from not being charged for the reactive element for the full year. It was noted that this may be a practical way of doing it and that customers should benefit from the start of the agreement.

## One respondent pointed out that customers should not benefit for the full year if it not required by the network operator and that there should only benefit for the specific time period.

Question 7: The change proposal (CP) suggests that new LLFCs are needed to achieve its intent (Option 1); do you think there is a better way of achieving the intent of the CP? If so, please provide further details? Do you believe the alternative option, Option 2, a viable alternative?

## The Working Group noted that the majority of respondents felt that Option 2 may not be a viable alternative as it is less transparent compared to Option 1.

## It was noted that two respondents felt that a new LLFC would make the proposed change clear and transparent.

Question 8: Do you foresee any implementation issues with the two options proposed?

## The Working Group noted that a majority of respondents felt that there could be issues with the two proposed solutions.

## One respondent highlighted that Option 1 has issues with generators being moved between LLFCs year on year dependent on the specific need of the power system. If generators are on a “no RP charge” tariff but they are not explicitly required to operate outside of a 0.95 power factor but choose to do so, they will have been treated in a different manner than other generators; this is clearly unfair on those other generators.

## The Working Group noted that some respondents felt that the Option 2 solution is not clear on how it would work with other DNO billing systems or if they would be compatible with Suppliers’ billing systems.

Question 9: Are there any alternative solutions or matters that should be considered?

## The Working Group noted that three respondents provided comments on solutions that could be considered.

## One respondent felt that the change should allow but not require generators to operate at less than 0.95 power factor without incurring reactive power charges.

## Another respondent suggested that it may not be most cost effective to request generators to import significant quantities of reactive power causing losses in the distribution system.

## The Working Group noted that it would be in the connection agreement with new generators so long as both Parties agree to it.

Question 10: Are you supportive of the proposed implementation date?

## The Working Group noted that six of the eight consultation respondents were supportive of the proposed implementation date of 1 April 2016.

## One respondent felt that this change should not be implemented in the near future as no DNO has demonstrated the immediate need or given any indication of timescales where they feel this will be an issue. A Working Group member clarified that no evidence had been produced from a DNO where this is an issue or a timescale provided.

Question 11: Please state any other comments or views on the CP.

## Two respondents provided further comments regarding the proposed change.

## One respondent felt that this change introduces an additional level of complexity and uncertainty to the CDCM charging model which currently has average charges for most customers and introduces semi-site specific tariffs for this group of customers.

## The Working Group noted that the Option 2 solution will have costs to the DNOs as their billing application will need to be amended.

# DCP 222 – SECOND CONSULTATION

## The Working Group issued a second consultation to address concerns raised by respondents in the first consultation. It was noted that respondents felt that this arrangement may lead to a potential trilateral agreement between the Customer, DNO and National Grid being required. The Working Group also agreed to invite National Grid, the six DNOs and the Suppliers (DCUSA Contract Managers) to attend their next meeting to discuss their concerns.

## The DCP 222 consultation two was issued on 6 May 2015 and there were seven responses received. A summary of the responses received, and the Working Group’s conclusions are set out below. The full set of responses and the Working Group’s comments are provided in Attachment 4.

## Question 1: National Grid has not explicitly requested that all DNOs provide this service, so do you believe that this service should be reflected by a change to the Common Distribution Charging Methodology (CDCM) for LV & HV connections?

## The Working Group noted that a majority of respondents felt that this change should not be reflected by a change to the CDCM for LV and HV connections.

## One respondent highlighted that if National Grid want to ask generators to operate outside of the 0.95 Power Factor this can be achieved through commercial agreements between National Grid and the Generator where National Grid can agree to pay charges for reactive power.

Question 2: The Working Group discussed whether it is correct that National Grid may benefit from this service without incurring any costs. Do you agree with this assumption?

## The Working Group noted that all of the respondents agreed that National Grid should bear the costs of providing the service and not the DNOs.

Question 3: Has National Grid specifically requested that these connection conditions be added to new LV and / or HV generator connection offers and if so, on how many instances has this been included within new connection agreements?

## A majority of respondents noted that National Grid had not specifically requested for the connection conditions to be added to new LV and / or HV generator connection offers.

Question 4: This change proposes an arrangement that could lead to a trilateral agreement between the Customer, DNO and National Grid.  Do you believe this to be the case? Please provide comments?

## The Working Group noted that a majority of respondents felt that the change could lead to an agreement between the National Grid and the DNOs.

## The Working Group observed that if the change is made to the DCUSA there should be communication set up between DNOs and National Grid. It was noted that it is important for DNOs to understand the process and how charges will be applied to them.

Question 5: Should the non-billing of excess reactive power only apply to new customers?

## The Working Group noted that all the respondents felt that the non-billing of excess reactive power should apply to all customer not just new customers.

Question 6: When is it envisaged (if at all) that this requirement to request that 11kV generators operate outside a 0.95 power factor will be needed in each DNO License area - and if appropriate, how many generators will this be expected to impact?

## The Working noted that a majority of DNOs agree that there will not be an impact on generators in the future.

Question 7: If you are a DNO or IDNO and do not use the Durabill billing system, please advise how Option Two could be incorporated into your existing  billing system – if at all?

## The Working Group noted that two respondent provided further comments in their answers.

## One of the respondents pointed out that their billing system does not have the ability to switch off an individual tariff component, rather tariffs are inserted and a tariff is linked to an individual customer.  It would be possible for them to employ significant and costly changes to the system to work around this.

Question 8: If you are a Supplier do you envisage there being any billing or validation systems issues as result of Option Two being implemented?

## The Working Group noted that one response was received stating that additional IT development may be needed to implement this change.

# DCP 222 WORKING GROUP CONCLUSIONS

## The Working Group discussed the responses further and noted that most of the respondents did not believe that there is a need to make a change to the CDCM model generation connections. for this change, which the Working Group supported.

## It was highlighted that if National Grid is not changing the charging arrangements for DNOs then it would be unfair for DNOs to amend the methodology for their customers, as it is also less efficient for DNOs to operate outside 0.95 power factor limits. The Working Group requested National Grid to evaluate the cost/benefit for the customer. It was noted that this would identify the benefits for putting this change in place and also indicate the costs of not making the change at this time

## The financial cost of making this change is seen by the Working Group as negligible whereas the cost of postponing this change for  five years will be £200 million across the 14 DNO areas. This is data is taken from Attachment 7(Deliverable 5, Second Year Final Report Stage 2 - REACT Project Page 22).). Also at the current time it was felt that this issue does not impact all DNOs, however the evidence from National Grid suggested that all DNOs are likely to, even if its not for a number of years.

## Based upon the feedback from the two consultations, the Working Group supports Option 1 which is to insert new tariffs which mirror existing HV tariffs except they have no reactive power charges being applied to them into Section 16 of the DCUSA. (Attachment 1).

## The Working Group agrees that the CP should be issued for industry voting.

# PROPOSED LEGAL TEXT

## The proposed legal drafting of DCP 222 has been considered by the Working Group, and reviewed by the DCUSA legal advisor, and is provided as Attachment 1.

## This text amends the paragraph 146 table 7, and inserts new tariffs with no reactive power charges being applied to them and also inserts a new note 7.

# EVALUATION AGAINST THE DCUSA OBJECTIVES

## The DCP 222 Working Group has discussed the proposed amendment to DCUSA. The Working Group unanimously agrees that the legal text developed better facilitates the DCUSA Objectives.

DCUSA Charging Objectives

## Charging Objective One - that compliance by each DNO Party with the Charging Methodologies facilitates the discharge by the DNO Party of the obligations imposed on it under the Act and by its Distribution Licence

## The Working Group has identified that DCP 222 better facilitates DCUSA Charging Objective One because a common methodology will result in consistency and also transparency of process.

## Charging Objective Two - that compliance by each DNO Party with the Charging Methodologies facilitates competition in the generation and supply of electricity and will not restrict, distort, or prevent competition in the transmission or distribution of electricity or in participation in the operation of an Interconnector (as defined in the Distribution Licences).

## The Working Group agrees that Charging Objective Three is better facilitated as

## Charging Objective Three - that compliance by each DNO Party with the Charging Methodologies results in charges which, so far as is reasonably practicable after taking account of implementation costs, reflect the costs incurred, or reasonably expected to be incurred, by the DNO Party in its Distribution Business.

The Working Group agrees that Charging Objective Three is better facilitated as

DCUSA General Objectives

## General Objective One - The development, maintenance and operation by the DNO Parties and IDNO Parties of efficient, co-ordinated, and economical Distribution Networks

## The Working Group agree that this will ensure generators are not financially penalised or discouraged from operating outside a 0.95 power factor when the Network Operator requires them to.

## General Objective Two - The facilitation of effective competition in the generation and supply of electricity and (so far as is consistent therewith) the promotion of such competition in the sale, distribution and purchase of electricity

## The Working Group agrees that General Objective Two is better facilitated as

## General Objective Three - The efficient discharge by the DNO Parties and IDNO Parties of obligations imposed upon them in their Distribution Licences

## The Working Group agree that General Objective three is better facilitated  as a result of this change proposal by ensuring that the wording within DCUSA does not create an inconsistency with the Distribution Licence, which would be in place at that time.

# IMPLEMENTATION

## The proposed implementation date of DCP 222 is 1 April 2018.

## DCP 222 is classified as a Part 1 matter and therefore will go to the Authority for determination after the voting process has completed.

# ENGAGEMENT WITH THE AUTHORITY

## Ofgem has been fully engaged throughout the development of DCP 222 as a member of the Working Group.

# ENVIRONMENTAL IMPACT

## In accordance with DCUSA Clause 11.14.6, the Working Group assessed whether there would be a material impact on greenhouse gas emissions if DCP 222 were implemented. The Working Group did not identify any material impact on greenhouse gas emissions from the implementation of this CP.

# PANEL RECOMMENDATION

## The Panel approved this Change Report on 2020 January 2016. The Panel considered that the Working Group had carried out the level of analysis required to enable Parties to understand the impact of the proposed amendment and to vote on DCP 222.

## The timetable for the progression of the Change Proposals is set out below:

| Activity | Date |
| --- | --- |
| Change Report approved by DCUSA Panel | 20 January 2016 |
| Change Report issued for voting | 22 January 2016 |
| Voting closes | 12 February 2016 |
| Change Declaration | 16 February 2016 |
| Authority Decision | 22 March 2016 |
| DCP 222 Implemented | 1 April 2018 |

# NEXT STEPS

## Parties are invited to consider the proposed amendment (Attachment 1) and submit their votes using the Voting form (Attachment 2) to DCUSA@electralink.co.uk by 12 February 2016.

## If you have any questions about this paper or the DCUSA Change Process please contact the DCUSA by email DCUSA@electralink.co.uk  to or telephone 020 7432 2842.

# ATTACHMENTS:

# Attachment 1 – DCP 222 Legal Text

# Attachment 2 – Voting Form

# Attachment 3 – DCP 222 Consultation One Document

# Attachment 4 – DCP 222 Consultation Two Document

# Attachment 5 –National Grid Response

# Attachment 6 – Change Proposal Form

# Attachment 7 - National Grid Report (Deliverable 5. Second Year Final Report Stage 2 - REACT Project)

The development, maintenance and operation by the DNO Parties and IDNO Parties of efficient, co-ordinated, and economical Distribution Network

The efficient discharge by the DNO Parties and IDNO Parties of obligations imposed upon them in their Distribution Licences

That compliance by each DNO Party with the Charging Methodologies facilitates the discharge by the DNO Party of the obligations imposed on it under the Act and by its Distribution Licence