# DCP 183 EDCM FCP model r6404

- Monday 13 January 2014

  - This document describes an EDCM/FCP tariff model developed for the DCP 183 working group.  The reference version is model F201 published by the DCUSA Panel in 2013.

## Structural changes

  - The general structure of the model is unchanged.

## Additional input data

No additional input data are required in the model.

## Modified input data

There are no changes to the input data.

## Additional or modified outputs

There are no additional output data.

## Additional calculation tables

Tables 4149. Super red kVAr divided by kVA adjusted for part-year and 4151. Super-red kVAr/agreed kVA (capped) have been introduced.  They perform pre-processing steps on super red kVAr data that were not previously required.

Table 4153. Peak-time capacity use adjusted to transmission (kW/kVA) has been introduced.  The formulas in the new table take account of the tariff-specific reactive power flow and the assumed power factor in the 500 MW model.  The unit is still kW/kVA, because the 500 MW model is sized in kW (at an assumed power factor), not in kVA.

Table 4455. Peak-time capacity use per kVA of agreed capacity has been introduced.  The formulas in the new table take account of the tariff-specific reactive power flow.

## Modified calculation tables

  - Old table 4149 is now 4311. Peak-time active power consumption adjusted to transmission (kW/kVA) as it is no longer needed to calculate notional assets.

Old tables 4151 to 4167 are now numbered 4155 to 4171.

Old tables 4311 to 4371 are now numbered 4313 to 4373.

Old tables 4455 to 4489 are now numbered 4457 to 4491.

  - Tables 4155 to 4159 (which calculate notional consumption assets) now refer to table 4153. Peak-time capacity use adjusted to transmission (kW/kVA) (instead of Peak-time active power consumption adjusted to transmission (kW/kVA)).

  - Tables 4459, 4463 and 4469 (related to the fixed adder and the allocation of indirect costs) now refer to table 4455. Peak-time capacity use per kVA of agreed capacity (instead of Super red kW divided by kVA adjusted for part-year).

## Other changes

The only other changes are the correction of a few cosmetic defects in model F201:

The description of table 1131 now correctly refers to table 2706 in post-DCP 130 CDCM models as well as table 2705 in pre-DCP 130 CDCM models.

Table 4317 (previously 4315) no longer has a typo in its name.

Tables 4327 and 4475 (previously 4325 and 4473) have more explicit names and simplified Excel formulas.

Table 4453 now correctly refers to all “adders” rater than just the “fixed adder”.

The table previously known as 4701 (total EDCM revenue, including LDNOs on discounted CDCM tariffs) is now 6101, reflecting its dependency on table 6004.

## Basis of impact statement

  - The impact statement is purely illustrative and does not reflect any actual tariff.  It uses DNO-level data disclosed as part of the MIG Issue 70 process, and the illustrative import tariffs summarised in the tables below.

Table 1	Location of illustrative tariffs

| - Tariffs | DNO areas | Location |
| --- | --- | --- |
| Tariff 1: Demand 0011 zero charge 1 Tariff 3: Demand 0011 zero charge 1 high reactive Tariff 5: Demand 0011 zero charge 1 LDNO | Any DNO area | Nowhere |
| Tariff 2: Demand 0011 high charge 1 Tariff 4: Demand 0011 high charge 1 high reactive Tariff 6: Demand 0011 high charge 1 LDNO | ENWL | D1_kirlon_11_a |
|  | NPG Northeast | nessfield (1018) |
|  | NPG Yorkshire | hazelhead (1034) |
|  | UKPN EPN | 11185 |
|  | UKPN LPN | 7225 |
|  | UKPN SPN | 84460 |
|  | WPD SWales | BROF5 |
|  | WPD SWest | STBU5 |

Table 2	Common parameters to all illustrative tariffs

| Maximum import capacity (kVA) | Customer category for demand scaling | Network use factor: EHV circuits | Network use factor: EHV/HV |
| --- | --- | --- | --- |
| 15,000 | 0011 | 1.000 | 1.000 |

Table 3	Specific parameters for individual illustrative tariffs

| - Tariff | Sole use asset MEAV (£) | Super red kW import divided by kVA capacity | Super red kVAr import divided by kVA capacity | Proportion exposed to indirect cost allocation |
| --- | --- | --- | --- | --- |
| Tariff 1: Demand 0011 zero charge 1 | 50,000 | 0.500 |  | 1.000 |
| Tariff 2: Demand 0011 high charge 1 | 50,000 | 0.500 |  | 1.000 |
| Tariff 3: Demand 0011 zero charge 1 high reactive | 50,000 | 0.500 | 1.000 | 1.000 |
| Tariff 4: Demand 0011 high charge 1 high reactive | 50,000 | 0.500 | 1.000 | 1.000 |
| Tariff 5: Demand 0011 zero charge 1 LDNO | 25,000 | 0.500 |  | 0.500 |
| Tariff 6: Demand 0011 high charge 1 LDNO | 25,000 | 0.500 |  | 0.500 |

  - The impact statement takes account of the impact on DNO data of the illustrative tariffs above, but does not take full account of the impact of the change on the actual tariffs.