# DCP 183 EDCM LRIC model r6405

- Monday 13 January 2014

  - This document describes an EDCM/LRIC tariff model developed for the DCP 183 working group.  The reference version is model L201 published by the DCUSA Panel in 2013.

## Structural changes

  - The general structure of the model is unchanged.

## Additional input data

No additional input data cells are required in the model as there is already a column “Super red kVAr import divided by kVA capacity” in table 935. Tariff data.  In model L201 these input data are not used.  In the DCP 183 model they are used.

## Modified input data

There are no changes to the input data.

## Additional or modified outputs

There are no additional output data.

## Additional calculation tables

  - Tables 4150. Super red kVAr divided by kVA adjusted for part-year and 4152. Super-red kVAr/agreed kVA (capped) have been introduced.  They perform pre-processing steps on super red kVAr data that were not previously required.

  - Table 4154. Peak-time capacity use adjusted to transmission (kW/kVA) has been introduced.  The formulas in the new table take account of the tariff-specific reactive power flow and the assumed power factor in the 500 MW model.  The unit is still kW/kVA, because the 500 MW model is sized in kW (at an assumed power factor), not in kVA.

  - Table 4456. Peak-time capacity use per kVA of agreed capacity has been introduced.  The formulas in the new table take account of the tariff-specific reactive power flow.

## Modified calculation tables

  - Old table 4150 is now 4312. Peak-time active power consumption adjusted to transmission (kW/kVA) as it is no longer needed to calculate notional assets.

  - Old tables 4152 to 4168 are now numbered 4156 to 4172.

  - Old tables 4316 to 4388 are now numbered 4318 to 4390.

  - Old tables 4456 to 4490 are now numbered 4458 to 4492.

  - Tables 4156 to 4160 (which calculate notional consumption assets) now refer to table 4154. Peak-time capacity use adjusted to transmission (kW/kVA) (instead of Peak-time active power consumption adjusted to transmission (kW/kVA)).

  - Tables 4460, 4464 and 4470 (related to the fixed adder and the allocation of indirect costs) now refer to table 4456. Peak-time capacity use per kVA of agreed capacity (instead of Super red kW divided by kVA adjusted for part-year).

## Other changes

The only other changes are the correction of a few cosmetic defects in model L201:

The description of table 1131 now correctly refers to table 2706 in post-DCP 130 CDCM models as well as table 2705 in pre-DCP 130 CDCM models.

Table 4318 (previously 4316) no longer has a typo in its name.

Tables 4328 and 4476 (previously 4326 and 4474) have more explicit names and simplified Excel formulas.

Table 4454 now correctly refers to all “adders” rater than just the “fixed adder”.

The table previously known as 4701 (total EDCM revenue, including LDNOs on discounted CDCM tariffs) is now 6101, reflecting its dependency on table 6004.

## Basis of impact statement

  - The impact statement is purely illustrative and does not reflect any actual tariff.  It uses DNO-level data disclosed as part of the MIG Issue 70 process, and the illustrative import tariffs summarised in the tables below.

Table 1	Location of illustrative tariffs

| - Tariffs | DNO areas | Location |
| --- | --- | --- |
| Tariff 1: Demand 0011 zero charge 1 Tariff 3: Demand 0011 zero charge 1 high reactive Tariff 5: Demand 0011 zero charge 1 LDNO | Any DNO area | Nowhere |
| Tariff 2: Demand 0011 high charge 1 Tariff 4: Demand 0011 high charge 1 high reactive Tariff 6: Demand 0011 high charge 1 LDNO | ENWL | D1_kirlon_11_a |
|  | NPG Northeast | nessfield (1018) |
|  | NPG Yorkshire | hazelhead (1034) |
|  | UKPN EPN | 11185 |
|  | UKPN LPN | 7225 |
|  | UKPN SPN | 84460 |
|  | WPD SWales | BROF5 |
|  | WPD SWest | STBU5 |

Table 2	Common parameters to all illustrative tariffs

| Maximum import capacity (kVA) | Customer category for demand scaling | Network use factor: EHV circuits | Network use factor: EHV/HV |
| --- | --- | --- | --- |
| 15,000 | 0011 | 1.000 | 1.000 |

Table 3	Specific parameters for individual illustrative tariffs

| - Tariff | Sole use asset MEAV (£) | Super red kW import divided by kVA capacity | Super red kVAr import divided by kVA capacity | Proportion exposed to indirect cost allocation |
| --- | --- | --- | --- | --- |
| Tariff 1: Demand 0011 zero charge 1 | 50,000 | 0.500 |  | 1.000 |
| Tariff 2: Demand 0011 high charge 1 | 50,000 | 0.500 |  | 1.000 |
| Tariff 3: Demand 0011 zero charge 1 high reactive | 50,000 | 0.500 | 1.000 | 1.000 |
| Tariff 4: Demand 0011 high charge 1 high reactive | 50,000 | 0.500 | 1.000 | 1.000 |
| Tariff 5: Demand 0011 zero charge 1 LDNO | 25,000 | 0.500 |  | 0.500 |
| Tariff 6: Demand 0011 high charge 1 LDNO | 25,000 | 0.500 |  | 0.500 |

  - The impact statement takes account of the impact on DNO data of the illustrative tariffs above, but does not take full account of the impact of the change on the actual tariffs.