## Summary
Impact of moving WC customers from LV HH Metered tariff to LV network, non-CT, non-domestic tariff
Maximum | 30.78%
95% Upper Limit | 17.03%
Average | -12.76%
95% Lower Limit | -48.35%
Minimum | -68.97%

## Impact
[10 empty] | LV HH Metered |  |  |  |  | LV Network Non-Domestic Non-CT |  |  |  | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
Customer | DNO Ref | DNO | Red Units | Amber Units | Green Units | Capacity | Reactive Charges (£) | MD | Load Factor | Income from Unit Rates | Income from Fixed Charges | Income from Capacity Charges | Income from Reactive Charges | Total Charges | Income from Unit Rates | Income from Fixed Charges | Total Charge | % Change (Impact of moving to new tariff) | Unit rate 1 p/kWh | Unit rate 2 p/kWh | Unit rate 3 p/kWh | Fixed charge p/MPAN/day | Capacity charge p/kVA/day | Reactive power charge p/kVArh | Unit rate 1 p/kWh | Unit rate 2 p/kWh | Unit rate 3 p/kWh | Fixed charge p/MPAN/day | Capacity charge p/kVA/day | Reactive power charge p/kVArh
Customer 1 | 1 | ENWL | 5483.6 | 27740.4 | 35323.1 | 60 | 4.55 | 19 | 41.18% | 1147.8644 | 42.0115 | 733.65 | 4.55 | 1928.0759 | 1824.3835 | 12.0815 | 1836.465 | -4.751% | 14.135 | 1.14 | 0.16 | 11.51 | 3.35 | 0.381 | 22.09 | 1.884 | 0.256 | 3.31 | 0 | 0
Customer 1 | 2 | NPG - NEDL | 5483.6 | 27740.4 | 35323.1 | 60 | 4.55 | 19 | 41.18% | 972.0564 | 49.7495 | 319.74 | 4.55 | 1346.0959 | 1339.0098 | 16.1695 | 1355.1793 | 0.6748% | 11.95 | 0.984 | 0.124 | 13.63 | 1.46 | 0.304 | 16.207 | 1.394 | 0.18 | 4.43 | 0 | 0
Customer 1 | 3 | NPG - YEDL | 5483.6 | 27740.4 | 35323.1 | 60 | 4.55 | 19 | 41.18% | 799.352 | 47.669 | 319.74 | 4.55 | 1171.311 | 1093.6905 | 15.768 | 1109.4585 | -5.281% | 9.377 | 0.963 | 0.051 | 13.06 | 1.46 | 0.329 | 12.687 | 1.343 | 0.072 | 4.32 | 0 | 0
Customer 1 | 4 | SPEN - SPD | 5483.6 | 27740.4 | 35323.1 | 60 | 4.55 | 19 | 41.18% | 760.5707 | 92.491 | 529.98 | 4.55 | 1387.5917 | 975.8281 | 23.4695 | 999.2976 | -27.98% | 9.22 | 0.746 | 0.136 | 25.34 | 2.42 | 0.267 | 11.083 | 1.02 | 0.241 | 6.43 | 0 | 0
Customer 1 | 5 | SPEN - SPM | 5483.6 | 27740.4 | 35323.1 | 60 | 4.55 | 19 | 41.18% | 1473.5342 | 67.963 | 529.98 | 4.55 | 2076.0272 | 1778.0842 | 17.374 | 1795.4582 | -13.51% | 18.78 | 1.271 | 0.258 | 18.62 | 2.42 | 0.762 | 22.14 | 1.641 | 0.308 | 4.76 | 0 | 0
Customer 1 | 6 | SSE-SEPD | 5483.6 | 27740.4 | 35323.1 | 60 | 4.55 | 19 | 41.18% | 833.3539 | 35.9525 | 545.31 | 4.55 | 1419.1664 | 1091.9109 | 17.082 | 1108.9929 | -21.86% | 9.98 | 0.946 | 0.067 | 9.85 | 2.49 | 0.312 | 12.321 | 1.358 | 0.112 | 4.68 | 0 | 0
Customer 1 | 7 | SSE - SHEPD | 5483.6 | 27740.4 | 35323.1 | 60 | 4.55 | 19 | 41.18% | 1166.549 | 80.592 | 836.58 | 4.55 | 2088.271 | 1475.5854 | 39.3105 | 1514.8959 | -27.46% | 6.974 | 2.246 | 0.456 | 22.08 | 3.82 | 0.512 | 8.846 | 2.841 | 0.573 | 10.77 | 0 | 0
Customer 1 | 8 | UKPN - EPN | 5483.6 | 27740.4 | 35323.1 | 60 | 4.55 | 19 | 41.18% | 622.907 | 46.0995 | 681.09 | 4.55 | 1354.6465 | 768.1324 | 16.8265 | 784.9589 | -42.05% | 10.268 | 0.161 | 0.043 | 12.63 | 3.11 | 0.311 | 12.507 | 0.219 | 0.061 | 4.61 | 0 | 0
Customer 1 | 9 | UKPN - LPN | 5483.6 | 27740.4 | 35323.1 | 60 | 4.55 | 19 | 41.18% | 334.3203 | 35.2955 | 917.61 | 4.55 | 1291.7758 | 463.0961 | 15.403 | 478.4991 | -62.96% | 4.316 | 0.338 | 0.011 | 9.67 | 4.19 | 0.296 | 5.82 | 0.496 | 0.018 | 4.22 | 0 | 0
Customer 1 | 10 | UKPN - SPN | 5483.6 | 27740.4 | 35323.1 | 60 | 4.55 | 19 | 41.18% | 745.3377 | 45.5155 | 681.09 | 4.55 | 1476.4932 | 749.239 | 15.6585 | 764.8975 | -48.19% | 12.509 | 0.181 | 0.026 | 12.47 | 3.11 | 0.353 | 12.427 | 0.21 | 0.027 | 4.29 | 0 | 0
Customer 1 | 11 | WPD - EastM | 5483.6 | 27740.4 | 35323.1 | 60 | 4.55 | 19 | 41.18% | 693.5236 | 31.025 | 505.89 | 4.55 | 1234.9886 | 897.3297 | 19.491 | 916.8207 | -25.76% | 10.373 | 0.419 | 0.024 | 8.5 | 2.31 | 0.358 | 13.122 | 0.595 | 0.036 | 5.34 | 0 | 0
Customer 1 | 12 | WPD - SWales | 5483.6 | 27740.4 | 35323.1 | 60 | 4.55 | 19 | 41.18% | 1373.9159 | 37.2665 | 608.82 | 4.55 | 2024.5524 | 1803.8835 | 25.915 | 1829.7985 | -9.62% | 16.371 | 1.574 | 0.112 | 10.21 | 2.78 | 0.568 | 21.464 | 2.065 | 0.153 | 7.1 | 0 | 0
Customer 1 | 13 | WPD - SWest | 5483.6 | 27740.4 | 35323.1 | 60 | 4.55 | 19 | 41.18% | 1540.4605 | 32.047 | 589.11 | 4.55 | 2166.1675 | 2060.7199 | 25.2215 | 2085.9414 | -3.704% | 25.405 | 0.344 | 0.147 | 8.78 | 2.69 | 0.399 | 33.572 | 0.521 | 0.213 | 6.91 | 0 | 0
Customer 1 | 14 | WPD - WestM | 5483.6 | 27740.4 | 35323.1 | 60 | 4.55 | 19 | 41.18% | 788.8434 | 31.755 | 707.37 | 4.55 | 1532.5184 | 1015.9679 | 22.6665 | 1038.6344 | -32.23% | 11.07 | 0.593 | 0.049 | 8.7 | 3.23 | 0.393 | 14.063 | 0.787 | 0.075 | 6.21 | 0 | 0
Customer 2 | 1 | ENWL | 3861 | 17344 | 43647.9 | 20 | 54 | 17 | 43.55% | 813.3106 | 42.0115 | 244.55 | 54 | 1153.8721 | 1291.3945 | 12.0815 | 1303.476 | 12.97% | 14.135 | 1.14 | 0.16 | 11.51 | 3.35 | 0.381 | 22.09 | 1.884 | 0.256 | 3.31 | 0 | 0
Customer 2 | 2 | NPG - NEDL | 3861 | 17344 | 43647.9 | 20 | 54 | 17 | 43.55% | 686.1779 | 49.7495 | 106.58 | 54 | 896.5074 | 946.0939 | 16.1695 | 962.2634 | 7.335% | 11.95 | 0.984 | 0.124 | 13.63 | 1.46 | 0.304 | 16.207 | 1.394 | 0.18 | 4.43 | 0 | 0
Customer 2 | 3 | NPG - YEDL | 3861 | 17344 | 43647.9 | 20 | 54 | 17 | 43.55% | 551.3291 | 47.669 | 106.58 | 54 | 759.5781 | 754.2015 | 15.768 | 769.9695 | 1.368% | 9.377 | 0.963 | 0.051 | 13.06 | 1.46 | 0.329 | 12.687 | 1.343 | 0.072 | 4.32 | 0 | 0
Customer 2 | 4 | SPEN - SPD | 3861 | 17344 | 43647.9 | 20 | 54 | 17 | 43.55% | 544.7316 | 92.491 | 176.66 | 54 | 867.8826 | 710.0149 | 23.4695 | 733.4844 | -15.49% | 9.22 | 0.746 | 0.136 | 25.34 | 2.42 | 0.267 | 11.083 | 1.02 | 0.241 | 6.43 | 0 | 0
Customer 2 | 5 | SPEN - SPM | 3861 | 17344 | 43647.9 | 20 | 54 | 17 | 43.55% | 1058.1496 | 67.963 | 176.66 | 54 | 1356.7726 | 1273.876 | 17.374 | 1291.25 | -4.829% | 18.78 | 1.271 | 0.258 | 18.62 | 2.42 | 0.762 | 22.14 | 1.641 | 0.308 | 4.76 | 0 | 0
Customer 2 | 6 | SSE-SEPD | 3861 | 17344 | 43647.9 | 20 | 54 | 17 | 43.55% | 578.6461 | 35.9525 | 181.77 | 54 | 850.3686 | 760.131 | 17.082 | 777.213 | -8.603% | 9.98 | 0.946 | 0.067 | 9.85 | 2.49 | 0.312 | 12.321 | 1.358 | 0.112 | 4.68 | 0 | 0
Customer 2 | 7 | SSE - SHEPD | 3861 | 17344 | 43647.9 | 20 | 54 | 17 | 43.55% | 857.8468 | 80.592 | 278.86 | 54 | 1271.2988 | 1084.3896 | 39.3105 | 1123.7001 | -11.61% | 6.974 | 2.246 | 0.456 | 22.08 | 3.82 | 0.512 | 8.846 | 2.841 | 0.573 | 10.77 | 0 | 0
Customer 2 | 8 | UKPN - EPN | 3861 | 17344 | 43647.9 | 20 | 54 | 17 | 43.55% | 443.1399 | 46.0995 | 227.03 | 54 | 770.2694 | 547.5038 | 16.8265 | 564.3303 | -26.74% | 10.268 | 0.161 | 0.043 | 12.63 | 3.11 | 0.311 | 12.507 | 0.219 | 0.061 | 4.61 | 0 | 0
Customer 2 | 9 | UKPN - LPN | 3861 | 17344 | 43647.9 | 20 | 54 | 17 | 43.55% | 230.0647 | 35.2955 | 305.87 | 54 | 625.2302 | 318.5931 | 15.403 | 333.9961 | -46.58% | 4.316 | 0.338 | 0.011 | 9.67 | 4.19 | 0.296 | 5.82 | 0.496 | 0.018 | 4.22 | 0 | 0
Customer 2 | 10 | UKPN - SPN | 3861 | 17344 | 43647.9 | 20 | 54 | 17 | 43.55% | 525.7136 | 45.5155 | 227.03 | 54 | 852.2591 | 528.0138 | 15.6585 | 543.6723 | -36.21% | 12.509 | 0.181 | 0.026 | 12.47 | 3.11 | 0.353 | 12.427 | 0.21 | 0.027 | 4.29 | 0 | 0
Customer 2 | 11 | WPD - EastM | 3861 | 17344 | 43647.9 | 20 | 54 | 17 | 43.55% | 483.6484 | 31.025 | 168.63 | 54 | 737.3034 | 625.5505 | 19.491 | 645.0415 | -12.51% | 10.373 | 0.419 | 0.024 | 8.5 | 2.31 | 0.358 | 13.122 | 0.595 | 0.036 | 5.34 | 0 | 0
Customer 2 | 12 | WPD - SWales | 3861 | 17344 | 43647.9 | 20 | 54 | 17 | 43.55% | 953.9645 | 37.2665 | 202.94 | 54 | 1248.171 | 1253.6599 | 25.915 | 1279.5749 | 2.516% | 16.371 | 1.574 | 0.112 | 10.21 | 2.78 | 0.568 | 21.464 | 2.065 | 0.153 | 7.1 | 0 | 0
Customer 2 | 13 | WPD - SWest | 3861 | 17344 | 43647.9 | 20 | 54 | 17 | 43.55% | 1104.7128 | 32.047 | 196.37 | 54 | 1387.1298 | 1479.5472 | 25.2215 | 1504.7687 | 8.481% | 25.405 | 0.344 | 0.147 | 8.78 | 2.69 | 0.399 | 33.572 | 0.521 | 0.213 | 6.91 | 0 | 0
Customer 2 | 14 | WPD - WestM | 3861 | 17344 | 43647.9 | 20 | 54 | 17 | 43.55% | 551.6501 | 31.755 | 235.79 | 54 | 873.1951 | 712.2056 | 22.6665 | 734.8721 | -15.84% | 11.07 | 0.593 | 0.049 | 8.7 | 3.23 | 0.393 | 14.063 | 0.787 | 0.075 | 6.21 | 0 | 0
Customer 3 | 1 | ENWL | 3586.4 | 17421.4 | 38679.4 | 30 | 6 | 9.2 | 74.06% | 767.4286 | 42.0115 | 366.825 | 6 | 1182.2651 | 1219.4742 | 12.0815 | 1231.5557 | 4.169% | 14.135 | 1.14 | 0.16 | 11.51 | 3.35 | 0.381 | 22.09 | 1.884 | 0.256 | 3.31 | 0 | 0
Customer 3 | 2 | NPG - NEDL | 3586.4 | 17421.4 | 38679.4 | 30 | 6 | 9.2 | 74.06% | 647.9638 | 49.7495 | 159.87 | 6 | 863.5833 | 893.7251 | 16.1695 | 909.8946 | 5.363% | 11.95 | 0.984 | 0.124 | 13.63 | 1.46 | 0.304 | 16.207 | 1.394 | 0.18 | 4.43 | 0 | 0
Customer 3 | 3 | NPG - YEDL | 3586.4 | 17421.4 | 38679.4 | 30 | 6 | 9.2 | 74.06% | 523.7913 | 47.669 | 159.87 | 6 | 737.3303 | 716.8251 | 15.768 | 732.5931 | -0.6425% | 9.377 | 0.963 | 0.051 | 13.06 | 1.46 | 0.329 | 12.687 | 1.343 | 0.072 | 4.32 | 0 | 0
Customer 3 | 4 | SPEN - SPD | 3586.4 | 17421.4 | 38679.4 | 30 | 6 | 9.2 | 74.06% | 513.2337 | 92.491 | 264.99 | 6 | 876.7147 | 668.3963 | 23.4695 | 691.8658 | -21.08% | 9.22 | 0.746 | 0.136 | 25.34 | 2.42 | 0.267 | 11.083 | 1.02 | 0.241 | 6.43 | 0 | 0
Customer 3 | 5 | SPEN - SPM | 3586.4 | 17421.4 | 38679.4 | 30 | 6 | 9.2 | 74.06% | 994.7448 | 67.963 | 264.99 | 6 | 1333.6978 | 1199.0467 | 17.374 | 1216.4207 | -8.793% | 18.78 | 1.271 | 0.258 | 18.62 | 2.42 | 0.762 | 22.14 | 1.641 | 0.308 | 4.76 | 0 | 0
Customer 3 | 6 | SSE-SEPD | 3586.4 | 17421.4 | 38679.4 | 30 | 6 | 9.2 | 74.06% | 548.6444 | 35.9525 | 272.655 | 6 | 863.2519 | 721.7839 | 17.082 | 738.8659 | -14.41% | 9.98 | 0.946 | 0.067 | 9.85 | 2.49 | 0.312 | 12.321 | 1.358 | 0.112 | 4.68 | 0 | 0
Customer 3 | 7 | SSE - SHEPD | 3586.4 | 17421.4 | 38679.4 | 30 | 6 | 9.2 | 74.06% | 817.7782 | 80.592 | 418.29 | 6 | 1322.6602 | 1033.8279 | 39.3105 | 1073.1384 | -18.87% | 6.974 | 2.246 | 0.456 | 22.08 | 3.82 | 0.512 | 8.846 | 2.841 | 0.573 | 10.77 | 0 | 0
Customer 3 | 8 | UKPN - EPN | 3586.4 | 17421.4 | 38679.4 | 30 | 6 | 9.2 | 74.06% | 412.9321 | 46.0995 | 340.545 | 6 | 805.5766 | 510.2983 | 16.8265 | 527.1248 | -34.57% | 10.268 | 0.161 | 0.043 | 12.63 | 3.11 | 0.311 | 12.507 | 0.219 | 0.061 | 4.61 | 0 | 0
Customer 3 | 9 | UKPN - LPN | 3586.4 | 17421.4 | 38679.4 | 30 | 6 | 9.2 | 74.06% | 217.9281 | 35.2955 | 458.805 | 6 | 718.0286 | 302.1009 | 15.403 | 317.5039 | -55.78% | 4.316 | 0.338 | 0.011 | 9.67 | 4.19 | 0.296 | 5.82 | 0.496 | 0.018 | 4.22 | 0 | 0
Customer 3 | 10 | UKPN - SPN | 3586.4 | 17421.4 | 38679.4 | 30 | 6 | 9.2 | 74.06% | 490.2122 | 45.5155 | 340.545 | 6 | 882.2727 | 492.7103 | 15.6585 | 508.3688 | -42.38% | 12.509 | 0.181 | 0.026 | 12.47 | 3.11 | 0.353 | 12.427 | 0.21 | 0.027 | 4.29 | 0 | 0
Customer 3 | 11 | WPD - EastM | 3586.4 | 17421.4 | 38679.4 | 30 | 6 | 9.2 | 74.06% | 454.296 | 31.025 | 252.945 | 6 | 744.266 | 588.1893 | 19.491 | 607.6803 | -18.35% | 10.373 | 0.419 | 0.024 | 8.5 | 2.31 | 0.358 | 13.122 | 0.595 | 0.036 | 5.34 | 0 | 0
Customer 3 | 12 | WPD - SWales | 3586.4 | 17421.4 | 38679.4 | 30 | 6 | 9.2 | 74.06% | 904.6633 | 37.2665 | 304.41 | 6 | 1252.3398 | 1188.7163 | 25.915 | 1214.6313 | -3.011% | 16.371 | 1.574 | 0.112 | 10.21 | 2.78 | 0.568 | 21.464 | 2.065 | 0.153 | 7.1 | 0 | 0
Customer 3 | 13 | WPD - SWest | 3586.4 | 17421.4 | 38679.4 | 30 | 6 | 9.2 | 74.06% | 1027.9133 | 32.047 | 294.555 | 6 | 1360.5153 | 1377.1788 | 25.2215 | 1402.4003 | 3.079% | 25.405 | 0.344 | 0.147 | 8.78 | 2.69 | 0.399 | 33.572 | 0.521 | 0.213 | 6.91 | 0 | 0
Customer 3 | 14 | WPD - WestM | 3586.4 | 17421.4 | 38679.4 | 30 | 6 | 9.2 | 74.06% | 519.2763 | 31.755 | 353.685 | 6 | 910.7163 | 670.4714 | 22.6665 | 693.1379 | -23.89% | 11.07 | 0.593 | 0.049 | 8.7 | 3.23 | 0.393 | 14.063 | 0.787 | 0.075 | 6.21 | 0 | 0
Customer 4 | 1 | ENWL | 5581.4 | 32007 | 27976.7 | 60 | 0 | 20.4 | 36.69% | 1198.5734 | 42.0115 | 733.65 | 0 | 1974.2349 | 1907.5635 | 12.0815 | 1919.645 | -2.765% | 14.135 | 1.14 | 0.16 | 11.51 | 3.35 | 0.381 | 22.09 | 1.884 | 0.256 | 3.31 | 0 | 0
Customer 4 | 2 | NPG - NEDL | 5581.4 | 32007 | 27976.7 | 60 | 0 | 20.4 | 36.69% | 1016.6173 | 49.7495 | 319.74 | 0 | 1386.1068 | 1401.1131 | 16.1695 | 1417.2826 | 2.249% | 11.95 | 0.984 | 0.124 | 13.63 | 1.46 | 0.304 | 16.207 | 1.394 | 0.18 | 4.43 | 0 | 0
Customer 4 | 3 | NPG - YEDL | 5581.4 | 32007 | 27976.7 | 60 | 0 | 20.4 | 36.69% | 845.8634 | 47.669 | 319.74 | 0 | 1213.2724 | 1158.1095 | 15.768 | 1173.8775 | -3.247% | 9.377 | 0.963 | 0.051 | 13.06 | 1.46 | 0.329 | 12.687 | 1.343 | 0.072 | 4.32 | 0 | 0
Customer 4 | 4 | SPEN - SPD | 5581.4 | 32007 | 27976.7 | 60 | 0 | 20.4 | 36.69% | 791.4256 | 92.491 | 529.98 | 0 | 1413.8966 | 1012.4818 | 23.4695 | 1035.9513 | -26.73% | 9.22 | 0.746 | 0.136 | 25.34 | 2.42 | 0.267 | 11.083 | 1.02 | 0.241 | 6.43 | 0 | 0
Customer 4 | 5 | SPEN - SPM | 5581.4 | 32007 | 27976.7 | 60 | 0 | 20.4 | 36.69% | 1527.1758 | 67.963 | 529.98 | 0 | 2125.1188 | 1847.1251 | 17.374 | 1864.4991 | -12.26% | 18.78 | 1.271 | 0.258 | 18.62 | 2.42 | 0.762 | 22.14 | 1.641 | 0.308 | 4.76 | 0 | 0
Customer 4 | 6 | SSE-SEPD | 5581.4 | 32007 | 27976.7 | 60 | 0 | 20.4 | 36.69% | 878.5543 | 35.9525 | 545.31 | 0 | 1459.8168 | 1153.6733 | 17.082 | 1170.7553 | -19.8% | 9.98 | 0.946 | 0.067 | 9.85 | 2.49 | 0.312 | 12.321 | 1.358 | 0.112 | 4.68 | 0 | 0
Customer 4 | 7 | SSE - SHEPD | 5581.4 | 32007 | 27976.7 | 60 | 0 | 20.4 | 36.69% | 1235.6978 | 80.592 | 836.58 | 0 | 2152.8698 | 1563.356 | 39.3105 | 1602.6665 | -25.56% | 6.974 | 2.246 | 0.456 | 22.08 | 3.82 | 0.512 | 8.846 | 2.841 | 0.573 | 10.77 | 0 | 0
Customer 4 | 8 | UKPN - EPN | 5581.4 | 32007 | 27976.7 | 60 | 0 | 20.4 | 36.69% | 636.6594 | 46.0995 | 681.09 | 0 | 1363.8489 | 785.2268 | 16.8265 | 802.0533 | -41.19% | 10.268 | 0.161 | 0.043 | 12.63 | 3.11 | 0.311 | 12.507 | 0.219 | 0.061 | 4.61 | 0 | 0
Customer 4 | 9 | UKPN - LPN | 5581.4 | 32007 | 27976.7 | 60 | 0 | 20.4 | 36.69% | 352.1543 | 35.2955 | 917.61 | 0 | 1305.0598 | 488.628 | 15.403 | 504.031 | -61.38% | 4.316 | 0.338 | 0.011 | 9.67 | 4.19 | 0.296 | 5.82 | 0.496 | 0.018 | 4.22 | 0 | 0
Customer 4 | 10 | UKPN - SPN | 5581.4 | 32007 | 27976.7 | 60 | 0 | 20.4 | 36.69% | 763.3839 | 45.5155 | 681.09 | 0 | 1489.9894 | 768.369 | 15.6585 | 784.0275 | -47.38% | 12.509 | 0.181 | 0.026 | 12.47 | 3.11 | 0.353 | 12.427 | 0.21 | 0.027 | 4.29 | 0 | 0
Customer 4 | 11 | WPD - EastM | 5581.4 | 32007 | 27976.7 | 60 | 0 | 20.4 | 36.69% | 719.7824 | 31.025 | 505.89 | 0 | 1256.6974 | 932.9046 | 19.491 | 952.3956 | -24.21% | 10.373 | 0.419 | 0.024 | 8.5 | 2.31 | 0.358 | 13.122 | 0.595 | 0.036 | 5.34 | 0 | 0
Customer 4 | 12 | WPD - SWales | 5581.4 | 32007 | 27976.7 | 60 | 0 | 20.4 | 36.69% | 1448.8551 | 37.2665 | 608.82 | 0 | 2094.9416 | 1901.7406 | 25.915 | 1927.6556 | -7.985% | 16.371 | 1.574 | 0.112 | 10.21 | 2.78 | 0.568 | 21.464 | 2.065 | 0.153 | 7.1 | 0 | 0
Customer 4 | 13 | WPD - SWest | 5581.4 | 32007 | 27976.7 | 60 | 0 | 20.4 | 36.69% | 1569.1845 | 32.047 | 589.11 | 0 | 2190.3415 | 2100.1344 | 25.2215 | 2125.3559 | -2.967% | 25.405 | 0.344 | 0.147 | 8.78 | 2.69 | 0.399 | 33.572 | 0.521 | 0.213 | 6.91 | 0 | 0
Customer 4 | 14 | WPD - WestM | 5581.4 | 32007 | 27976.7 | 60 | 0 | 20.4 | 36.69% | 821.3711 | 31.755 | 707.37 | 0 | 1560.4961 | 1057.7899 | 22.6665 | 1080.4564 | -30.76% | 11.07 | 0.593 | 0.049 | 8.7 | 3.23 | 0.393 | 14.063 | 0.787 | 0.075 | 6.21 | 0 | 0
Customer 5 | 1 | ENWL | 646.2 | 3336 | 6840.9 | 10 | 0 | 5.4 | 22.88% | 140.3162 | 42.0115 | 122.275 | 0 | 304.6027 | 223.1085 | 12.0815 | 235.19 | -22.79% | 14.135 | 1.14 | 0.16 | 11.51 | 3.35 | 0.381 | 22.09 | 1.884 | 0.256 | 3.31 | 0 | 0
Customer 5 | 2 | NPG - NEDL | 646.2 | 3336 | 6840.9 | 10 | 0 | 5.4 | 22.88% | 118.5299 | 49.7495 | 53.29 | 0 | 221.5694 | 163.5471 | 16.1695 | 179.7166 | -18.89% | 11.95 | 0.984 | 0.124 | 13.63 | 1.46 | 0.304 | 16.207 | 1.394 | 0.18 | 4.43 | 0 | 0
Customer 5 | 3 | NPG - YEDL | 646.2 | 3336 | 6840.9 | 10 | 0 | 5.4 | 22.88% | 96.2087 | 47.669 | 53.29 | 0 | 197.1677 | 131.7113 | 15.768 | 147.4793 | -25.2% | 9.377 | 0.963 | 0.051 | 13.06 | 1.46 | 0.329 | 12.687 | 1.343 | 0.072 | 4.32 | 0 | 0
Customer 5 | 4 | SPEN - SPD | 646.2 | 3336 | 6840.9 | 10 | 0 | 5.4 | 22.88% | 93.7698 | 92.491 | 88.33 | 0 | 274.5908 | 122.1321 | 23.4695 | 145.6016 | -46.98% | 9.22 | 0.746 | 0.136 | 25.34 | 2.42 | 0.267 | 11.083 | 1.02 | 0.241 | 6.43 | 0 | 0
Customer 5 | 5 | SPEN - SPM | 646.2 | 3336 | 6840.9 | 10 | 0 | 5.4 | 22.88% | 181.4064 | 67.963 | 88.33 | 0 | 337.6994 | 218.8824 | 17.374 | 236.2564 | -30.04% | 18.78 | 1.271 | 0.258 | 18.62 | 2.42 | 0.762 | 22.14 | 1.641 | 0.308 | 4.76 | 0 | 0
Customer 5 | 6 | SSE-SEPD | 646.2 | 3336 | 6840.9 | 10 | 0 | 5.4 | 22.88% | 100.6327 | 35.9525 | 90.885 | 0 | 227.4702 | 132.583 | 17.082 | 149.665 | -34.2% | 9.98 | 0.946 | 0.067 | 9.85 | 2.49 | 0.312 | 12.321 | 1.358 | 0.112 | 4.68 | 0 | 0
Customer 5 | 7 | SSE - SHEPD | 646.2 | 3336 | 6840.9 | 10 | 0 | 5.4 | 22.88% | 151.1871 | 80.592 | 139.43 | 0 | 371.2091 | 191.137 | 39.3105 | 230.4475 | -37.92% | 6.974 | 2.246 | 0.456 | 22.08 | 3.82 | 0.512 | 8.846 | 2.841 | 0.573 | 10.77 | 0 | 0
Customer 5 | 8 | UKPN - EPN | 646.2 | 3336 | 6840.9 | 10 | 0 | 5.4 | 22.88% | 74.6644 | 46.0995 | 113.515 | 0 | 234.2789 | 92.299 | 16.8265 | 109.1255 | -53.42% | 10.268 | 0.161 | 0.043 | 12.63 | 3.11 | 0.311 | 12.507 | 0.219 | 0.061 | 4.61 | 0 | 0
Customer 5 | 9 | UKPN - LPN | 646.2 | 3336 | 6840.9 | 10 | 0 | 5.4 | 22.88% | 39.9182 | 35.2955 | 152.935 | 0 | 228.1487 | 55.3868 | 15.403 | 70.7898 | -68.97% | 4.316 | 0.338 | 0.011 | 9.67 | 4.19 | 0.296 | 5.82 | 0.496 | 0.018 | 4.22 | 0 | 0
Customer 5 | 10 | UKPN - SPN | 646.2 | 3336 | 6840.9 | 10 | 0 | 5.4 | 22.88% | 88.65 | 45.5155 | 113.515 | 0 | 247.6805 | 89.1559 | 15.6585 | 104.8144 | -57.68% | 12.509 | 0.181 | 0.026 | 12.47 | 3.11 | 0.353 | 12.427 | 0.21 | 0.027 | 4.29 | 0 | 0
Customer 5 | 11 | WPD - EastM | 646.2 | 3336 | 6840.9 | 10 | 0 | 5.4 | 22.88% | 82.65 | 31.025 | 84.315 | 0 | 197.99 | 107.1063 | 19.491 | 126.5973 | -36.06% | 10.373 | 0.419 | 0.024 | 8.5 | 2.31 | 0.358 | 13.122 | 0.595 | 0.036 | 5.34 | 0 | 0
Customer 5 | 12 | WPD - SWales | 646.2 | 3336 | 6840.9 | 10 | 0 | 5.4 | 22.88% | 165.9598 | 37.2665 | 101.47 | 0 | 304.6963 | 218.0553 | 25.915 | 243.9703 | -19.93% | 16.371 | 1.574 | 0.112 | 10.21 | 2.78 | 0.568 | 21.464 | 2.065 | 0.153 | 7.1 | 0 | 0
Customer 5 | 13 | WPD - SWest | 646.2 | 3336 | 6840.9 | 10 | 0 | 5.4 | 22.88% | 185.6991 | 32.047 | 98.185 | 0 | 315.9311 | 248.8939 | 25.2215 | 274.1154 | -13.24% | 25.405 | 0.344 | 0.147 | 8.78 | 2.69 | 0.399 | 33.572 | 0.521 | 0.213 | 6.91 | 0 | 0
Customer 5 | 14 | WPD - WestM | 646.2 | 3336 | 6840.9 | 10 | 0 | 5.4 | 22.88% | 94.6689 | 31.755 | 117.895 | 0 | 244.3189 | 122.2601 | 22.6665 | 144.9266 | -40.68% | 11.07 | 0.593 | 0.049 | 8.7 | 3.23 | 0.393 | 14.063 | 0.787 | 0.075 | 6.21 | 0 | 0
Customer 6 | 1 | ENWL | 5768.1 | 25211.4 | 12033.2 | 40 | 0.305 | 27.8 | 17.66% | 1121.984 | 42.0115 | 489.1 | 0.305 | 1653.4005 | 1779.9611 | 12.0815 | 1792.0426 | 8.385% | 14.135 | 1.14 | 0.16 | 11.51 | 3.35 | 0.381 | 22.09 | 1.884 | 0.256 | 3.31 | 0 | 0
Customer 6 | 2 | NPG - NEDL | 5768.1 | 25211.4 | 12033.2 | 40 | 0.305 | 27.8 | 17.66% | 952.2893 | 49.7495 | 213.16 | 0.305 | 1215.5038 | 1307.9426 | 16.1695 | 1324.1121 | 8.935% | 11.95 | 0.984 | 0.124 | 13.63 | 1.46 | 0.304 | 16.207 | 1.394 | 0.18 | 4.43 | 0 | 0
Customer 6 | 3 | NPG - YEDL | 5768.1 | 25211.4 | 12033.2 | 40 | 0.305 | 27.8 | 17.66% | 789.7975 | 47.669 | 213.16 | 0.305 | 1050.9315 | 1079.0519 | 15.768 | 1094.8199 | 4.176% | 9.377 | 0.963 | 0.051 | 13.06 | 1.46 | 0.329 | 12.687 | 1.343 | 0.072 | 4.32 | 0 | 0
Customer 6 | 4 | SPEN - SPD | 5768.1 | 25211.4 | 12033.2 | 40 | 0.305 | 27.8 | 17.66% | 736.261 | 92.491 | 353.32 | 0.305 | 1182.377 | 925.4348 | 23.4695 | 948.9043 | -19.75% | 9.22 | 0.746 | 0.136 | 25.34 | 2.42 | 0.267 | 11.083 | 1.02 | 0.241 | 6.43 | 0 | 0
Customer 6 | 5 | SPEN - SPM | 5768.1 | 25211.4 | 12033.2 | 40 | 0.305 | 27.8 | 17.66% | 1434.7317 | 67.963 | 353.32 | 0.305 | 1856.3197 | 1727.8387 | 17.374 | 1745.2127 | -5.985% | 18.78 | 1.271 | 0.258 | 18.62 | 2.42 | 0.762 | 22.14 | 1.641 | 0.308 | 4.76 | 0 | 0
Customer 6 | 6 | SSE-SEPD | 5768.1 | 25211.4 | 12033.2 | 40 | 0.305 | 27.8 | 17.66% | 822.2185 | 35.9525 | 363.54 | 0.305 | 1222.016 | 1066.5356 | 17.082 | 1083.6176 | -11.33% | 9.98 | 0.946 | 0.067 | 9.85 | 2.49 | 0.312 | 12.321 | 1.358 | 0.112 | 4.68 | 0 | 0
Customer 6 | 7 | SSE - SHEPD | 5768.1 | 25211.4 | 12033.2 | 40 | 0.305 | 27.8 | 17.66% | 1023.3867 | 80.592 | 557.72 | 0.305 | 1662.0037 | 1295.4522 | 39.3105 | 1334.7627 | -19.69% | 6.974 | 2.246 | 0.456 | 22.08 | 3.82 | 0.512 | 8.846 | 2.841 | 0.573 | 10.77 | 0 | 0
Customer 6 | 8 | UKPN - EPN | 5768.1 | 25211.4 | 12033.2 | 40 | 0.305 | 27.8 | 17.66% | 638.0331 | 46.0995 | 454.06 | 0.305 | 1138.4976 | 783.9695 | 16.8265 | 800.796 | -29.66% | 10.268 | 0.161 | 0.043 | 12.63 | 3.11 | 0.311 | 12.507 | 0.219 | 0.061 | 4.61 | 0 | 0
Customer 6 | 9 | UKPN - LPN | 5768.1 | 25211.4 | 12033.2 | 40 | 0.305 | 27.8 | 17.66% | 335.4894 | 35.2955 | 611.74 | 0.305 | 982.8299 | 462.9179 | 15.403 | 478.3209 | -51.33% | 4.316 | 0.338 | 0.011 | 9.67 | 4.19 | 0.296 | 5.82 | 0.496 | 0.018 | 4.22 | 0 | 0
Customer 6 | 10 | UKPN - SPN | 5768.1 | 25211.4 | 12033.2 | 40 | 0.305 | 27.8 | 17.66% | 770.2929 | 45.5155 | 454.06 | 0.305 | 1270.1734 | 772.9947 | 15.6585 | 788.6532 | -37.91% | 12.509 | 0.181 | 0.026 | 12.47 | 3.11 | 0.353 | 12.427 | 0.21 | 0.027 | 4.29 | 0 | 0
Customer 6 | 11 | WPD - EastM | 5768.1 | 25211.4 | 12033.2 | 40 | 0.305 | 27.8 | 17.66% | 706.8487 | 31.025 | 337.26 | 0.305 | 1075.4387 | 911.2299 | 19.491 | 930.7209 | -13.46% | 10.373 | 0.419 | 0.024 | 8.5 | 2.31 | 0.358 | 13.122 | 0.595 | 0.036 | 5.34 | 0 | 0
Customer 6 | 12 | WPD - SWales | 5768.1 | 25211.4 | 12033.2 | 40 | 0.305 | 27.8 | 17.66% | 1354.6003 | 37.2665 | 405.88 | 0.305 | 1798.0518 | 1777.0912 | 25.915 | 1803.0062 | 0.2755% | 16.371 | 1.574 | 0.112 | 10.21 | 2.78 | 0.568 | 21.464 | 2.065 | 0.153 | 7.1 | 0 | 0
Customer 6 | 13 | WPD - SWest | 5768.1 | 25211.4 | 12033.2 | 40 | 0.305 | 27.8 | 17.66% | 1569.8018 | 32.047 | 392.74 | 0.305 | 1994.8938 | 2093.4486 | 25.2215 | 2118.6701 | 6.205% | 25.405 | 0.344 | 0.147 | 8.78 | 2.69 | 0.399 | 33.572 | 0.521 | 0.213 | 6.91 | 0 | 0
Customer 6 | 14 | WPD - WestM | 5768.1 | 25211.4 | 12033.2 | 40 | 0.305 | 27.8 | 17.66% | 793.9285 | 31.755 | 471.58 | 0.305 | 1297.5685 | 1018.6065 | 22.6665 | 1041.273 | -19.75% | 11.07 | 0.593 | 0.049 | 8.7 | 3.23 | 0.393 | 14.063 | 0.787 | 0.075 | 6.21 | 0 | 0
Customer 7 | 1 | ENWL | 11554.1 | 49855.7 | 67136.6 | 70 | 0 | 19.2 | 76.43% | 2308.9456 | 42.0115 | 855.925 | 0 | 3206.8821 | 3663.4518 | 12.0815 | 3675.5333 | 14.61% | 14.135 | 1.14 | 0.16 | 11.51 | 3.35 | 0.381 | 22.09 | 1.884 | 0.256 | 3.31 | 0 | 0
Customer 7 | 2 | NPG - NEDL | 11554.1 | 49855.7 | 67136.6 | 70 | 0 | 19.2 | 76.43% | 1954.5444 | 49.7495 | 373.03 | 0 | 2377.3239 | 2688.4073 | 16.1695 | 2704.5768 | 13.77% | 11.95 | 0.984 | 0.124 | 13.63 | 1.46 | 0.304 | 16.207 | 1.394 | 0.18 | 4.43 | 0 | 0
Customer 7 | 3 | NPG - YEDL | 11554.1 | 49855.7 | 67136.6 | 70 | 0 | 19.2 | 76.43% | 1597.778 | 47.669 | 373.03 | 0 | 2018.477 | 2183.7691 | 15.768 | 2199.5371 | 8.97% | 9.377 | 0.963 | 0.051 | 13.06 | 1.46 | 0.329 | 12.687 | 1.343 | 0.072 | 4.32 | 0 | 0
Customer 7 | 4 | SPEN - SPD | 11554.1 | 49855.7 | 67136.6 | 70 | 0 | 19.2 | 76.43% | 1528.5173 | 92.491 | 618.31 | 0 | 2239.3183 | 1950.8682 | 23.4695 | 1974.3377 | -11.83% | 9.22 | 0.746 | 0.136 | 25.34 | 2.42 | 0.267 | 11.083 | 1.02 | 0.241 | 6.43 | 0 | 0
Customer 7 | 5 | SPEN - SPM | 11554.1 | 49855.7 | 67136.6 | 70 | 0 | 19.2 | 76.43% | 2976.7384 | 67.963 | 618.31 | 0 | 3663.0114 | 3582.9905 | 17.374 | 3600.3645 | -1.71% | 18.78 | 1.271 | 0.258 | 18.62 | 2.42 | 0.762 | 22.14 | 1.641 | 0.308 | 4.76 | 0 | 0
Customer 7 | 6 | SSE-SEPD | 11554.1 | 49855.7 | 67136.6 | 70 | 0 | 19.2 | 76.43% | 1669.7156 | 35.9525 | 636.195 | 0 | 2341.8631 | 2175.8141 | 17.082 | 2192.8961 | -6.361% | 9.98 | 0.946 | 0.067 | 9.85 | 2.49 | 0.312 | 12.321 | 1.358 | 0.112 | 4.68 | 0 | 0
Customer 7 | 7 | SSE - SHEPD | 11554.1 | 49855.7 | 67136.6 | 70 | 0 | 19.2 | 76.43% | 2231.6849 | 80.592 | 976.01 | 0 | 3288.2869 | 2823.1688 | 39.3105 | 2862.4793 | -12.95% | 6.974 | 2.246 | 0.456 | 22.08 | 3.82 | 0.512 | 8.846 | 2.841 | 0.573 | 10.77 | 0 | 0
Customer 7 | 8 | UKPN - EPN | 11554.1 | 49855.7 | 67136.6 | 70 | 0 | 19.2 | 76.43% | 1295.5114 | 46.0995 | 794.605 | 0 | 2136.2159 | 1595.2086 | 16.8265 | 1612.0351 | -24.54% | 10.268 | 0.161 | 0.043 | 12.63 | 3.11 | 0.311 | 12.507 | 0.219 | 0.061 | 4.61 | 0 | 0
Customer 7 | 9 | UKPN - LPN | 11554.1 | 49855.7 | 67136.6 | 70 | 0 | 19.2 | 76.43% | 674.5722 | 35.2955 | 1070.545 | 0 | 1780.4127 | 931.8175 | 15.403 | 947.2205 | -46.8% | 4.316 | 0.338 | 0.011 | 9.67 | 4.19 | 0.296 | 5.82 | 0.496 | 0.018 | 4.22 | 0 | 0
Customer 7 | 10 | UKPN - SPN | 11554.1 | 49855.7 | 67136.6 | 70 | 0 | 19.2 | 76.43% | 1552.9967 | 45.5155 | 794.605 | 0 | 2393.1172 | 1558.6519 | 15.6585 | 1574.3104 | -34.22% | 12.509 | 0.181 | 0.026 | 12.47 | 3.11 | 0.353 | 12.427 | 0.21 | 0.027 | 4.29 | 0 | 0
Customer 7 | 11 | WPD - EastM | 11554.1 | 49855.7 | 67136.6 | 70 | 0 | 19.2 | 76.43% | 1423.515 | 31.025 | 590.205 | 0 | 2044.745 | 1836.9396 | 19.491 | 1856.4306 | -9.21% | 10.373 | 0.419 | 0.024 | 8.5 | 2.31 | 0.358 | 13.122 | 0.595 | 0.036 | 5.34 | 0 | 0
Customer 7 | 12 | WPD - SWales | 11554.1 | 49855.7 | 67136.6 | 70 | 0 | 19.2 | 76.43% | 2751.4434 | 37.2665 | 710.29 | 0 | 3498.9999 | 3612.2112 | 25.915 | 3638.1262 | 3.976% | 16.371 | 1.574 | 0.112 | 10.21 | 2.78 | 0.568 | 21.464 | 2.065 | 0.153 | 7.1 | 0 | 0
Customer 7 | 13 | WPD - SWest | 11554.1 | 49855.7 | 67136.6 | 70 | 0 | 19.2 | 76.43% | 3205.5135 | 32.047 | 687.295 | 0 | 3924.8555 | 4281.6916 | 25.2215 | 4306.9131 | 9.734% | 25.405 | 0.344 | 0.147 | 8.78 | 2.69 | 0.399 | 33.572 | 0.521 | 0.213 | 6.91 | 0 | 0
Customer 7 | 14 | WPD - WestM | 11554.1 | 49855.7 | 67136.6 | 70 | 0 | 19.2 | 76.43% | 1607.5801 | 31.755 | 825.265 | 0 | 2464.6001 | 2067.5699 | 22.6665 | 2090.2364 | -15.19% | 11.07 | 0.593 | 0.049 | 8.7 | 3.23 | 0.393 | 14.063 | 0.787 | 0.075 | 6.21 | 0 | 0
Customer 8 | 1 | ENWL | 16625.4 | 99131.5 | 50135 | 75 | 100.85 | 66.7 | 28.39% | 3560.3154 | 42.0115 | 917.0625 | 100.85 | 4620.2394 | 5668.5339 | 12.0815 | 5680.6154 | 22.95% | 14.135 | 1.14 | 0.16 | 11.51 | 3.35 | 0.381 | 22.09 | 1.884 | 0.256 | 3.31 | 0 | 0
Customer 8 | 2 | NPG - NEDL | 16625.4 | 99131.5 | 50135 | 75 | 100.85 | 66.7 | 28.39% | 3024.3567 | 49.7495 | 399.675 | 100.85 | 3574.6312 | 4166.6147 | 16.1695 | 4182.7842 | 17.01% | 11.95 | 0.984 | 0.124 | 13.63 | 1.46 | 0.304 | 16.207 | 1.394 | 0.18 | 4.43 | 0 | 0
Customer 8 | 3 | NPG - YEDL | 16625.4 | 99131.5 | 50135 | 75 | 100.85 | 66.7 | 28.39% | 2539.169 | 47.669 | 399.675 | 100.85 | 3087.363 | 3476.6977 | 15.768 | 3492.4657 | 13.12% | 9.377 | 0.963 | 0.051 | 13.06 | 1.46 | 0.329 | 12.687 | 1.343 | 0.072 | 4.32 | 0 | 0
Customer 8 | 4 | SPEN - SPD | 16625.4 | 99131.5 | 50135 | 75 | 100.85 | 66.7 | 28.39% | 2340.5665 | 92.491 | 662.475 | 100.85 | 3196.3825 | 2974.5597 | 23.4695 | 2998.0292 | -6.206% | 9.22 | 0.746 | 0.136 | 25.34 | 2.42 | 0.267 | 11.083 | 1.02 | 0.241 | 6.43 | 0 | 0
Customer 8 | 5 | SPEN - SPM | 16625.4 | 99131.5 | 50135 | 75 | 100.85 | 66.7 | 28.39% | 4511.5598 | 67.963 | 662.475 | 100.85 | 5342.8478 | 5462.0273 | 17.374 | 5479.4013 | 2.556% | 18.78 | 1.271 | 0.258 | 18.62 | 2.42 | 0.762 | 22.14 | 1.641 | 0.308 | 4.76 | 0 | 0
Customer 8 | 6 | SSE-SEPD | 16625.4 | 99131.5 | 50135 | 75 | 100.85 | 66.7 | 28.39% | 2630.5894 | 35.9525 | 681.6375 | 100.85 | 3449.0294 | 3450.7725 | 17.082 | 3467.8545 | 0.5458% | 9.98 | 0.946 | 0.067 | 9.85 | 2.49 | 0.312 | 12.321 | 1.358 | 0.112 | 4.68 | 0 | 0
Customer 8 | 7 | SSE - SHEPD | 16625.4 | 99131.5 | 50135 | 75 | 100.85 | 66.7 | 28.39% | 3614.5645 | 80.592 | 1045.725 | 100.85 | 4841.7315 | 4574.2823 | 39.3105 | 4613.5928 | -4.712% | 6.974 | 2.246 | 0.456 | 22.08 | 3.82 | 0.512 | 8.846 | 2.841 | 0.573 | 10.77 | 0 | 0
Customer 8 | 8 | UKPN - EPN | 16625.4 | 99131.5 | 50135 | 75 | 100.85 | 66.7 | 28.39% | 1888.2558 | 46.0995 | 851.3625 | 100.85 | 2886.5678 | 2327.0191 | 16.8265 | 2343.8456 | -18.8% | 10.268 | 0.161 | 0.043 | 12.63 | 3.11 | 0.311 | 12.507 | 0.219 | 0.061 | 4.61 | 0 | 0
Customer 8 | 9 | UKPN - LPN | 16625.4 | 99131.5 | 50135 | 75 | 100.85 | 66.7 | 28.39% | 1058.1316 | 35.2955 | 1147.0125 | 100.85 | 2341.2896 | 1468.3148 | 15.403 | 1483.7178 | -36.63% | 4.316 | 0.338 | 0.011 | 9.67 | 4.19 | 0.296 | 5.82 | 0.496 | 0.018 | 4.22 | 0 | 0
Customer 8 | 10 | UKPN - SPN | 16625.4 | 99131.5 | 50135 | 75 | 100.85 | 66.7 | 28.39% | 2272.1344 | 45.5155 | 851.3625 | 100.85 | 3269.8624 | 2287.7511 | 15.6585 | 2303.4096 | -29.56% | 12.509 | 0.181 | 0.026 | 12.47 | 3.11 | 0.353 | 12.427 | 0.21 | 0.027 | 4.29 | 0 | 0
Customer 8 | 11 | WPD - EastM | 16625.4 | 99131.5 | 50135 | 75 | 100.85 | 66.7 | 28.39% | 2151.9461 | 31.025 | 632.3625 | 100.85 | 2916.1836 | 2789.466 | 19.491 | 2808.957 | -3.677% | 10.373 | 0.419 | 0.024 | 8.5 | 2.31 | 0.358 | 13.122 | 0.595 | 0.036 | 5.34 | 0 | 0
Customer 8 | 12 | WPD - SWales | 16625.4 | 99131.5 | 50135 | 75 | 100.85 | 66.7 | 28.39% | 4338.2252 | 37.2665 | 761.025 | 100.85 | 5237.3667 | 5692.2479 | 25.915 | 5718.1629 | 9.18% | 16.371 | 1.574 | 0.112 | 10.21 | 2.78 | 0.568 | 21.464 | 2.065 | 0.153 | 7.1 | 0 | 0
Customer 8 | 13 | WPD - SWest | 16625.4 | 99131.5 | 50135 | 75 | 100.85 | 66.7 | 28.39% | 4638.3937 | 32.047 | 736.3875 | 100.85 | 5507.6782 | 6204.742 | 25.2215 | 6229.9635 | 13.11% | 25.405 | 0.344 | 0.147 | 8.78 | 2.69 | 0.399 | 33.572 | 0.521 | 0.213 | 6.91 | 0 | 0
Customer 8 | 14 | WPD - WestM | 16625.4 | 99131.5 | 50135 | 75 | 100.85 | 66.7 | 28.39% | 2452.8477 | 31.755 | 884.2125 | 100.85 | 3469.6652 | 3155.7962 | 22.6665 | 3178.4627 | -8.393% | 11.07 | 0.593 | 0.049 | 8.7 | 3.23 | 0.393 | 14.063 | 0.787 | 0.075 | 6.21 | 0 | 0
Customer 9 | 1 | ENWL | 16104.4 | 65394 | 66188.2 | 45 | 80.91 | 43.7 | 38.58% | 3127.7497 | 42.0115 | 550.2375 | 80.91 | 3800.9087 | 4958.9267 | 12.0815 | 4971.0082 | 30.78% | 14.135 | 1.14 | 0.16 | 11.51 | 3.35 | 0.381 | 22.09 | 1.884 | 0.256 | 3.31 | 0 | 0
Customer 9 | 2 | NPG - NEDL | 16104.4 | 65394 | 66188.2 | 45 | 80.91 | 43.7 | 38.58% | 2650.0261 | 49.7495 | 239.805 | 80.91 | 3020.4906 | 3640.7712 | 16.1695 | 3656.9407 | 21.07% | 11.95 | 0.984 | 0.124 | 13.63 | 1.46 | 0.304 | 16.207 | 1.394 | 0.18 | 4.43 | 0 | 0
Customer 9 | 3 | NPG - YEDL | 16104.4 | 65394 | 66188.2 | 45 | 80.91 | 43.7 | 38.58% | 2173.6098 | 47.669 | 239.805 | 80.91 | 2541.9938 | 2969.0622 | 15.768 | 2984.8302 | 17.42% | 9.377 | 0.963 | 0.051 | 13.06 | 1.46 | 0.329 | 12.687 | 1.343 | 0.072 | 4.32 | 0 | 0
Customer 9 | 4 | SPEN - SPD | 16104.4 | 65394 | 66188.2 | 45 | 80.91 | 43.7 | 38.58% | 2062.6809 | 92.491 | 397.485 | 80.91 | 2633.5669 | 2611.383 | 23.4695 | 2634.8525 | 0.04882% | 9.22 | 0.746 | 0.136 | 25.34 | 2.42 | 0.267 | 11.083 | 1.02 | 0.241 | 6.43 | 0 | 0
Customer 9 | 5 | SPEN - SPM | 16104.4 | 65394 | 66188.2 | 45 | 80.91 | 43.7 | 38.58% | 4026.3296 | 67.963 | 397.485 | 80.91 | 4572.6876 | 4842.4894 | 17.374 | 4859.8634 | 6.28% | 18.78 | 1.271 | 0.258 | 18.62 | 2.42 | 0.762 | 22.14 | 1.641 | 0.308 | 4.76 | 0 | 0
Customer 9 | 6 | SSE-SEPD | 16104.4 | 65394 | 66188.2 | 45 | 80.91 | 43.7 | 38.58% | 2270.1925 | 35.9525 | 408.9825 | 80.91 | 2796.0375 | 2946.4044 | 17.082 | 2963.4864 | 5.989% | 9.98 | 0.946 | 0.067 | 9.85 | 2.49 | 0.312 | 12.321 | 1.358 | 0.112 | 4.68 | 0 | 0
Customer 9 | 7 | SSE - SHEPD | 16104.4 | 65394 | 66188.2 | 45 | 80.91 | 43.7 | 38.58% | 2893.6883 | 80.592 | 627.435 | 80.91 | 3682.6253 | 3661.6971 | 39.3105 | 3701.0077 | 0.4992% | 6.974 | 2.246 | 0.456 | 22.08 | 3.82 | 0.512 | 8.846 | 2.841 | 0.573 | 10.77 | 0 | 0
Customer 9 | 8 | UKPN - EPN | 16104.4 | 65394 | 66188.2 | 45 | 80.91 | 43.7 | 38.58% | 1787.3451 | 46.0995 | 510.8175 | 80.91 | 2425.1721 | 2197.765 | 16.8265 | 2214.5915 | -8.683% | 10.268 | 0.161 | 0.043 | 12.63 | 3.11 | 0.311 | 12.507 | 0.219 | 0.061 | 4.61 | 0 | 0
Customer 9 | 9 | UKPN - LPN | 16104.4 | 65394 | 66188.2 | 45 | 80.91 | 43.7 | 38.58% | 923.3783 | 35.2955 | 688.2075 | 80.91 | 1727.7913 | 1273.5442 | 15.403 | 1288.9472 | -25.4% | 4.316 | 0.338 | 0.011 | 9.67 | 4.19 | 0.296 | 5.82 | 0.496 | 0.018 | 4.22 | 0 | 0
Customer 9 | 10 | UKPN - SPN | 16104.4 | 65394 | 66188.2 | 45 | 80.91 | 43.7 | 38.58% | 2150.0715 | 45.5155 | 510.8175 | 80.91 | 2787.3145 | 2156.492 | 15.6585 | 2172.1505 | -22.07% | 12.509 | 0.181 | 0.026 | 12.47 | 3.11 | 0.353 | 12.427 | 0.21 | 0.027 | 4.29 | 0 | 0
Customer 9 | 11 | WPD - EastM | 16104.4 | 65394 | 66188.2 | 45 | 80.91 | 43.7 | 38.58% | 1960.3954 | 31.025 | 379.4175 | 80.91 | 2451.7479 | 2526.1414 | 19.491 | 2545.6324 | 3.829% | 10.373 | 0.419 | 0.024 | 8.5 | 2.31 | 0.358 | 13.122 | 0.595 | 0.036 | 5.34 | 0 | 0
Customer 9 | 12 | WPD - SWales | 16104.4 | 65394 | 66188.2 | 45 | 80.91 | 43.7 | 38.58% | 3739.8837 | 37.2665 | 456.615 | 80.91 | 4314.6752 | 4908.3025 | 25.915 | 4934.2175 | 14.36% | 16.371 | 1.574 | 0.112 | 10.21 | 2.78 | 0.568 | 21.464 | 2.065 | 0.153 | 7.1 | 0 | 0
Customer 9 | 13 | WPD - SWest | 16104.4 | 65394 | 66188.2 | 45 | 80.91 | 43.7 | 38.58% | 4413.5748 | 32.047 | 441.8325 | 80.91 | 4968.3643 | 5888.2528 | 25.2215 | 5913.4743 | 19.02% | 25.405 | 0.344 | 0.147 | 8.78 | 2.69 | 0.399 | 33.572 | 0.521 | 0.213 | 6.91 | 0 | 0
Customer 9 | 14 | WPD - WestM | 16104.4 | 65394 | 66188.2 | 45 | 80.91 | 43.7 | 38.58% | 2202.9757 | 31.755 | 530.5275 | 80.91 | 2846.1682 | 2829.0537 | 22.6665 | 2851.7202 | 0.1951% | 11.07 | 0.593 | 0.049 | 8.7 | 3.23 | 0.393 | 14.063 | 0.787 | 0.075 | 6.21 | 0 | 0
Customer 10 | 1 | ENWL | 12025 | 55632 | 62051 | 50 | 50 | 39.2 | 37.77% | 2433.2201 | 42.0115 | 611.375 | 50 | 3136.6066 | 3863.2799 | 12.0815 | 3875.3614 | 23.55% | 14.135 | 1.14 | 0.16 | 11.51 | 3.35 | 0.381 | 22.09 | 1.884 | 0.256 | 3.31 | 0 | 0
Customer 10 | 2 | NPG - NEDL | 12025 | 55632 | 62051 | 50 | 50 | 39.2 | 37.77% | 2061.3496 | 49.7495 | 266.45 | 50 | 2427.5491 | 2836.0936 | 16.1695 | 2852.2631 | 17.5% | 11.95 | 0.984 | 0.124 | 13.63 | 1.46 | 0.304 | 16.207 | 1.394 | 0.18 | 4.43 | 0 | 0
Customer 10 | 3 | NPG - YEDL | 12025 | 55632 | 62051 | 50 | 50 | 39.2 | 37.77% | 1694.9664 | 47.669 | 266.45 | 50 | 2059.0854 | 2317.4262 | 15.768 | 2333.1942 | 13.31% | 9.377 | 0.963 | 0.051 | 13.06 | 1.46 | 0.329 | 12.687 | 1.343 | 0.072 | 4.32 | 0 | 0
Customer 10 | 4 | SPEN - SPD | 12025 | 55632 | 62051 | 50 | 50 | 39.2 | 37.77% | 1608.1091 | 92.491 | 441.65 | 50 | 2192.2501 | 2049.7201 | 23.4695 | 2073.1896 | -5.431% | 9.22 | 0.746 | 0.136 | 25.34 | 2.42 | 0.267 | 11.083 | 1.02 | 0.241 | 6.43 | 0 | 0
Customer 10 | 5 | SPEN - SPM | 12025 | 55632 | 62051 | 50 | 50 | 39.2 | 37.77% | 3125.4693 | 67.963 | 441.65 | 50 | 3685.0823 | 3766.3732 | 17.374 | 3783.7472 | 2.677% | 18.78 | 1.271 | 0.258 | 18.62 | 2.42 | 0.762 | 22.14 | 1.641 | 0.308 | 4.76 | 0 | 0
Customer 10 | 6 | SSE-SEPD | 12025 | 55632 | 62051 | 50 | 50 | 39.2 | 37.77% | 1767.9479 | 35.9525 | 454.425 | 50 | 2308.3254 | 2306.5799 | 17.082 | 2323.6619 | 0.6644% | 9.98 | 0.946 | 0.067 | 9.85 | 2.49 | 0.312 | 12.321 | 1.358 | 0.112 | 4.68 | 0 | 0
Customer 10 | 7 | SSE - SHEPD | 12025 | 55632 | 62051 | 50 | 50 | 39.2 | 37.77% | 2371.0708 | 80.592 | 697.15 | 50 | 3198.8128 | 2999.7888 | 39.3105 | 3039.0993 | -4.993% | 6.974 | 2.246 | 0.456 | 22.08 | 3.82 | 0.512 | 8.846 | 2.841 | 0.573 | 10.77 | 0 | 0
Customer 10 | 8 | UKPN - EPN | 12025 | 55632 | 62051 | 50 | 50 | 39.2 | 37.77% | 1350.9765 | 46.0995 | 567.575 | 50 | 2014.651 | 1663.6519 | 16.8265 | 1680.4784 | -16.59% | 10.268 | 0.161 | 0.043 | 12.63 | 3.11 | 0.311 | 12.507 | 0.219 | 0.061 | 4.61 | 0 | 0
Customer 10 | 9 | UKPN - LPN | 12025 | 55632 | 62051 | 50 | 50 | 39.2 | 37.77% | 713.8608 | 35.2955 | 764.675 | 50 | 1563.8313 | 986.9589 | 15.403 | 1002.3619 | -35.9% | 4.316 | 0.338 | 0.011 | 9.67 | 4.19 | 0.296 | 5.82 | 0.496 | 0.018 | 4.22 | 0 | 0
Customer 10 | 10 | UKPN - SPN | 12025 | 55632 | 62051 | 50 | 50 | 39.2 | 37.77% | 1621.0344 | 45.5155 | 567.575 | 50 | 2284.1249 | 1627.9277 | 15.6585 | 1643.5862 | -28.04% | 12.509 | 0.181 | 0.026 | 12.47 | 3.11 | 0.353 | 12.427 | 0.21 | 0.027 | 4.29 | 0 | 0
Customer 10 | 11 | WPD - EastM | 12025 | 55632 | 62051 | 50 | 50 | 39.2 | 37.77% | 1495.3436 | 31.025 | 421.575 | 50 | 1997.9436 | 1931.2693 | 19.491 | 1950.7603 | -2.362% | 10.373 | 0.419 | 0.024 | 8.5 | 2.31 | 0.358 | 13.122 | 0.595 | 0.036 | 5.34 | 0 | 0
Customer 10 | 12 | WPD - SWales | 12025 | 55632 | 62051 | 50 | 50 | 39.2 | 37.77% | 2913.7575 | 37.2665 | 507.35 | 50 | 3508.374 | 3824.7848 | 25.915 | 3850.6998 | 9.757% | 16.371 | 1.574 | 0.112 | 10.21 | 2.78 | 0.568 | 21.464 | 2.065 | 0.153 | 7.1 | 0 | 0
Customer 10 | 13 | WPD - SWest | 12025 | 55632 | 62051 | 50 | 50 | 39.2 | 37.77% | 3337.5403 | 32.047 | 490.925 | 50 | 3910.5123 | 4459.0444 | 25.2215 | 4484.2658 | 14.67% | 25.405 | 0.344 | 0.147 | 8.78 | 2.69 | 0.399 | 33.572 | 0.521 | 0.213 | 6.91 | 0 | 0
Customer 10 | 14 | WPD - WestM | 12025 | 55632 | 62051 | 50 | 50 | 39.2 | 37.77% | 1691.4703 | 31.755 | 589.475 | 50 | 2362.7003 | 2175.4378 | 22.6665 | 2198.1043 | -6.966% | 11.07 | 0.593 | 0.049 | 8.7 | 3.23 | 0.393 | 14.063 | 0.787 | 0.075 | 6.21 | 0 | 0

## Tariffs
CDCM Tariffs (April 2014):
|  | LV HH Metered | [5 empty] | LV Network Non-Domestic Non-CT
Ref | DNO: | Unit rate 1 p/kWh | Unit rate 2 p/kWh | Unit rate 3 p/kWh | Fixed charge p/MPAN/day | Capacity charge p/kVA/day | Reactive power charge p/kVArh | Unit rate 1 p/kWh | Unit rate 2 p/kWh | Unit rate 3 p/kWh | Fixed charge p/MPAN/day | Capacity charge p/kVA/day | Reactive power charge p/kVArh
1 | ENWL | 14.135 | 1.14 | 0.16 | 11.51 | 3.35 | 0.381 | 22.09 | 1.884 | 0.256 | 3.31 | 0 | 0
2 | NPG - NEDL | 11.95 | 0.984 | 0.124 | 13.63 | 1.46 | 0.304 | 16.207 | 1.394 | 0.18 | 4.43 | 0 | 0
3 | NPG - YEDL | 9.377 | 0.963 | 0.051 | 13.06 | 1.46 | 0.329 | 12.687 | 1.343 | 0.072 | 4.32 | 0 | 0
4 | SPEN - SPD | 9.22 | 0.746 | 0.136 | 25.34 | 2.42 | 0.267 | 11.083 | 1.02 | 0.241 | 6.43 | 0 | 0
5 | SPEN - SPM | 18.78 | 1.271 | 0.258 | 18.62 | 2.42 | 0.762 | 22.14 | 1.641 | 0.308 | 4.76 | 0 | 0
6 | SSE-SEPD | 9.98 | 0.946 | 0.067 | 9.85 | 2.49 | 0.312 | 12.321 | 1.358 | 0.112 | 4.68 | 0 | 0
7 | SSE - SHEPD | 6.974 | 2.246 | 0.456 | 22.08 | 3.82 | 0.512 | 8.846 | 2.841 | 0.573 | 10.77 | 0 | 0
8 | UKPN - EPN | 10.268 | 0.161 | 0.043 | 12.63 | 3.11 | 0.311 | 12.507 | 0.219 | 0.061 | 4.61 | 0 | 0
9 | UKPN - LPN | 4.316 | 0.338 | 0.011 | 9.67 | 4.19 | 0.296 | 5.82 | 0.496 | 0.018 | 4.22 | 0 | 0
10 | UKPN - SPN | 12.509 | 0.181 | 0.026 | 12.47 | 3.11 | 0.353 | 12.427 | 0.21 | 0.027 | 4.29 | 0 | 0
11 | WPD - EastM | 10.373 | 0.419 | 0.024 | 8.5 | 2.31 | 0.358 | 13.122 | 0.595 | 0.036 | 5.34 | 0 | 0
12 | WPD - SWales | 16.371 | 1.574 | 0.112 | 10.21 | 2.78 | 0.568 | 21.464 | 2.065 | 0.153 | 7.1 | 0 | 0
13 | WPD - SWest | 25.405 | 0.344 | 0.147 | 8.78 | 2.69 | 0.399 | 33.572 | 0.521 | 0.213 | 6.91 | 0 | 0
14 | WPD - WestM | 11.07 | 0.593 | 0.049 | 8.7 | 3.23 | 0.393 | 14.063 | 0.787 | 0.075 | 6.21 | 0 | 0

## Customers
Customer | Red Units | Amber Units | Green Units | Capacity | Reactive Charges (£) | MD | Load Factor
Customer 1 | 5483.6 | 27740.4 | 35323.1 | 60 | 4.55 | 19 | 41.18%
Customer 2 | 3861 | 17344 | 43647.9 | 20 | 54 | 17 | 43.55%
Customer 3 | 3586.4 | 17421.4 | 38679.4 | 30 | 6 | 9.2 | 74.06%
Customer 4 | 5581.4 | 32007 | 27976.7 | 60 | 0 | 20.4 | 36.69%
Customer 5 | 646.2 | 3336 | 6840.9 | 10 | 0 | 5.4 | 22.88%
Customer 6 | 5768.1 | 25211.4 | 12033.2 | 40 | 0.305 | 27.8 | 17.66%
Customer 7 | 11554.1 | 49855.7 | 67136.6 | 70 | 0 | 19.2 | 76.43%
Customer 8 | 16625.4 | 99131.5 | 50135 | 75 | 100.85 | 66.7 | 28.39%
Customer 9 | 16104.4 | 65394 | 66188.2 | 45 | 80.91 | 43.7 | 38.58%
Customer 10 | 12025 | 55632 | 62051 | 50 | 50 | 39.2 | 37.77%