## Summary
Percentage increase in Exceeded Capacity Charge in 2012/13 & 2013/14
Tariff | Average | Minimum | Maximum
LV HH Metered | 131.9% | 59.56% | 219.4%
LV Sub HH Metered | 68.6% | 15.47% | 153.5%
HV HH Metered | 76.54% | 13.93% | 233.2%
HV Sub HH Metered | 35.29% | 0.468% | 139.9%

## 3701r
3701. Tariffs — by row
LV HH Metered
| Unit rate 1 p/kWh | Unit rate 2 p/kWh | Unit rate 3 p/kWh | Fixed charge p/MPAN/day | Capacity charge p/kVA/day | Exceeded capacity charge p/kVA/day | Reactive power charge p/kVArh | Percentage increase in Exceeded Capacity Charge
ENW 2012 02 DCP161on100 | 8.918 | 0.622 | 0.095 | 11.5 | 3.38 | 5.67 | 0.242 | 67.75%
ENW 2013 02 DCP161on132 | 11.537 | 0.941 | 0.142 | 11.93 | 3.35 | 5.58 | 0.316 | 66.57%
NP Northeast 2012 02 DCP161on100 | 7.747 | 1.057 | 0.107 | 11.54 | 1.34 | 4.22 | 0.282 | 214.9%
NPG Northeast 2013 02 DCP161on132 | 9.072 | 1.097 | 0.121 | 12.3 | 1.4 | 4.31 | 0.344 | 207.9%
NP Yorkshire 2012 02 DCP161on100 | 7.216 | 0.734 | 0.044 | 11.91 | 1.29 | 4.12 | 0.284 | 219.4%
NPG Yorkshire 2013 02 DCP161on132 | 7.974 | 0.795 | 0.046 | 12.32 | 1.37 | 4.28 | 0.299 | 212.4%
SPEN SPD 2012 02 DCP161on100 | 8.582 | 0.787 | 0.156 | 21.73 | 2.24 | 3.59 | 0.247 | 60.27%
SPEN SPD 2013 02 DCP161on132 | 9.218 | 0.772 | 0.159 | 22.04 | 2.25 | 3.59 | 0.273 | 59.56%
SPEN SPM 2012 02 DCP161on100 | 12.403 | 0.908 | 0.155 | 17.35 | 2.34 | 4.57 | 0.666 | 95.3%
SPEN SPM 2013 02 DCP161on132 | 15.226 | 1.057 | 0.182 | 17.4 | 2.35 | 4.58 | 0.629 | 94.89%
SSEPD SEPD 2012 02 DCP161on100 | 9.729 | 1.078 | 0.061 | 8.34 | 2.38 | 4.58 | 0.309 | 92.44%
SSEPD SEPD 2013 02 DCP161on132 | 10.074 | 0.992 | 0.054 | 8.7 | 2.36 | 4.54 | 0.306 | 92.37%
SSEPD SHEPD 2012 02 DCP161on100 | 6.387 | 1.865 | 0.535 | 19.34 | 3.48 | 6.43 | 0.412 | 84.77%
SSEPD SHEPD 2013 02 DCP161on132 | 6.894 | 1.977 | 0.476 | 21.36 | 3.75 | 6.67 | 0.487 | 77.87%
UKPN EPN 2012 02 DCP161on100 | 7.744 | 0.216 | 0.109 | 11.95 | 2.58 | 7.22 | 0.259 | 179.8%
UKPN EPN 2013 02 DCP161on132 | 8.148 | 0.2 | 0.091 | 12.59 | 3.02 | 7.28 | 0.265 | 141.1%
UKPN LPN 2012 02 DCP161on100 | 3.535 | 0.386 | 0.068 | 8.73 | 2.7 | 6.6 | 0.277 | 144.4%
UKPN LPN 2013 02 DCP161on132 | 3.691 | 0.365 | 0.047 | 9.38 | 3.98 | 6.63 | 0.267 | 66.58%
UKPN SPN 2012 02 DCP161on100 | 8.858 | 0.295 | 0.055 | 12.64 | 2.38 | 6.06 | 0.276 | 154.6%
UKPN SPN 2013 02 DCP161on132 | 10.606 | 0.265 | 0.05 | 13.16 | 2.79 | 6.1 | 0.318 | 118.6%
WPD EastM 2012 02 DCP161on100 | 8.255 | 0.569 | 0.033 | 9.31 | 2.21 | 5.46 | 0.314 | 147.1%
WPD EastM 2013 02 DCP161on132 | 8.026 | 0.516 | 0.031 | 10.18 | 2.32 | 5.56 | 0.302 | 139.7%
WPD SWales 2012 02 DCP161on100 | 13.796 | 0.972 | 0.144 | 9.41 | 2.45 | 6.73 | 0.443 | 174.7%
WPD SWales 2013 02 DCP161on132 | 16.458 | 1.367 | 0.163 | 10.66 | 2.74 | 7.04 | 0.551 | 156.9%
WPD SWest 2012 02 DCP161on100 | 20.727 | 0.251 | 0.161 | 8.43 | 2.43 | 7.23 | 0.329 | 197.5%
WPD SWest 2013 02 DCP161on132 | 24.41 | 0.287 | 0.161 | 9.05 | 2.6 | 7.44 | 0.382 | 186.2%
WPD WestM 2012 02 DCP161on100 | 7.706 | 0.604 | 0.048 | 10.13 | 3.16 | 6.99 | 0.298 | 121.2%
WPD WestM 2013 02 DCP161on132 | 8.705 | 0.627 | 0.056 | 10.42 | 3.22 | 7.07 | 0.332 | 119.6%
LV Sub HH Metered
| Unit rate 1 p/kWh | Unit rate 2 p/kWh | Unit rate 3 p/kWh | Fixed charge p/MPAN/day | Capacity charge p/kVA/day | Exceeded capacity charge p/kVA/day | Reactive power charge p/kVArh | Percentage increase in Exceeded Capacity Charge
ENW 2012 02 DCP161on100 | 9.693 | 0.612 | 0.094 | 33.69 | 3.29 | 6.14 | 0.245 | 86.63%
ENW 2013 02 DCP161on132 | 11.547 | 0.89 | 0.137 | 34.94 | 3.29 | 6.09 | 0.297 | 85.11%
NP Northeast 2012 02 DCP161on100 | 7.038 | 0.838 | 0.074 | 38.57 | 1.97 | 3.85 | 0.232 | 95.43%
NPG Northeast 2013 02 DCP161on132 | 8.417 | 0.889 | 0.089 | 41.1 | 2.05 | 3.95 | 0.283 | 92.68%
NP Yorkshire 2012 02 DCP161on100 | 6.036 | 0.566 | 0.031 | 39.82 | 1.72 | 3.42 | 0.218 | 98.84%
NPG Yorkshire 2013 02 DCP161on132 | 6.761 | 0.624 | 0.035 | 41.18 | 1.79 | 3.55 | 0.232 | 98.32%
SPEN SPD 2012 02 DCP161on100 | 5.717 | 0.415 | 0.056 | 7.67 | 4.17 | 4.85 | 0.19 | 16.31%
SPEN SPD 2013 02 DCP161on132 | 7.967 | 0.522 | 0.04 | 7.78 | 4.2 | 4.88 | 0.215 | 16.19%
SPEN SPM 2012 02 DCP161on100 | 10.531 | 0.592 | 0.117 | 6.12 | 4.86 | 7 | 0.505 | 44.03%
SPEN SPM 2013 02 DCP161on132 | 13.531 | 0.724 | 0.154 | 6.14 | 4.87 | 7 | 0.49 | 43.74%
SSEPD SEPD 2012 02 DCP161on100 | 8.357 | 0.606 | 0.027 | 3.29 | 4.55 | 6.31 | 0.243 | 38.68%
SSEPD SEPD 2013 02 DCP161on132 | 7.647 | 0.48 | 0.019 | 3.43 | 4.39 | 6.05 | 0.209 | 37.81%
SSEPD SHEPD 2012 02 DCP161on100 | 5.237 | 1.554 | 0.483 | 7.62 | 6.31 | 8.88 | 0.326 | 40.73%
SSEPD SHEPD 2013 02 DCP161on132 | 5.813 | 1.689 | 0.422 | 8.42 | 6.65 | 9.2 | 0.406 | 38.35%
UKPN EPN 2012 02 DCP161on100 | 6.881 | 0.172 | 0.07 | 8.19 | 3.75 | 6.33 | 0.209 | 68.8%
UKPN EPN 2013 02 DCP161on132 | 6.921 | 0.139 | 0.052 | 8.63 | 4.7 | 6.4 | 0.203 | 36.17%
UKPN LPN 2012 02 DCP161on100 | 2.2 | 0.188 | 0.023 | 5.98 | 5.15 | 8.2 | 0.198 | 59.22%
UKPN LPN 2013 02 DCP161on132 | 2.052 | 0.153 | 0.012 | 6.43 | 7.24 | 8.36 | 0.177 | 15.47%
UKPN SPN 2012 02 DCP161on100 | 8.798 | 0.235 | 0.041 | 8.67 | 3.64 | 6.11 | 0.241 | 67.86%
UKPN SPN 2013 02 DCP161on132 | 10.323 | 0.195 | 0.037 | 9.03 | 4.35 | 5.96 | 0.274 | 37.01%
WPD EastM 2012 02 DCP161on100 | 6.683 | 0.409 | 0.022 | 9.31 | 3 | 5.32 | 0.256 | 77.33%
WPD EastM 2013 02 DCP161on132 | 6.704 | 0.384 | 0.021 | 10.18 | 3.12 | 5.44 | 0.243 | 74.36%
WPD SWales 2012 02 DCP161on100 | 13.778 | 0.934 | 0.141 | 6.8 | 2.93 | 6.57 | 0.386 | 124.2%
WPD SWales 2013 02 DCP161on132 | 12.451 | 1.017 | 0.122 | 7.7 | 3.2 | 6.84 | 0.486 | 113.7%
WPD SWest 2012 02 DCP161on100 | 18.692 | 0.149 | 0.114 | 6.09 | 2.73 | 6.92 | 0.269 | 153.5%
WPD SWest 2013 02 DCP161on132 | 22.433 | 0.17 | 0.115 | 6.54 | 2.87 | 7.06 | 0.318 | 146%
WPD WestM 2012 02 DCP161on100 | 7.11 | 0.497 | 0.029 | 10.13 | 4.16 | 6.55 | 0.234 | 57.45%
WPD WestM 2013 02 DCP161on132 | 7.452 | 0.481 | 0.034 | 10.42 | 4.21 | 6.6 | 0.267 | 56.77%
HV HH Metered
| Unit rate 1 p/kWh | Unit rate 2 p/kWh | Unit rate 3 p/kWh | Fixed charge p/MPAN/day | Capacity charge p/kVA/day | Exceeded capacity charge p/kVA/day | Reactive power charge p/kVArh | Percentage increase in Exceeded Capacity Charge
ENW 2012 02 DCP161on100 | 7.442 | 0.378 | 0.06 | 98.93 | 3.14 | 6.65 | 0.169 | 111.8%
ENW 2013 02 DCP161on132 | 8.823 | 0.608 | 0.098 | 102.6 | 3.19 | 6.67 | 0.206 | 109.1%
NP Northeast 2012 02 DCP161on100 | 5.72 | 0.598 | 0.045 | 98.08 | 1.76 | 3.7 | 0.173 | 110.2%
NPG Northeast 2013 02 DCP161on132 | 6.743 | 0.627 | 0.057 | 104.51 | 1.83 | 3.79 | 0.215 | 107.1%
NP Yorkshire 2012 02 DCP161on100 | 4.954 | 0.426 | 0.021 | 101.26 | 1.61 | 3.23 | 0.169 | 100.6%
NPG Yorkshire 2013 02 DCP161on132 | 5.539 | 0.471 | 0.025 | 104.72 | 1.68 | 3.36 | 0.178 | 100%
SPEN SPD 2012 02 DCP161on100 | 5.585 | 0.406 | 0.054 | 116.11 | 4.53 | 5.78 | 0.14 | 27.59%
SPEN SPD 2013 02 DCP161on132 | 6.25 | 0.41 | 0.031 | 117.78 | 4.56 | 5.81 | 0.16 | 27.41%
SPEN SPM 2012 02 DCP161on100 | 8.097 | 0.363 | 0.082 | 92.72 | 3.72 | 6.51 | 0.353 | 75%
SPEN SPM 2013 02 DCP161on132 | 10.592 | 0.445 | 0.108 | 92.97 | 3.72 | 6.52 | 0.347 | 75.27%
SSEPD SEPD 2012 02 DCP161on100 | 6.871 | 0.431 | 0.017 | 80.04 | 5.09 | 6.5 | 0.177 | 27.7%
SSEPD SEPD 2013 02 DCP161on132 | 7.036 | 0.375 | 0.014 | 83.51 | 4.93 | 6.28 | 0.174 | 27.38%
SSEPD SHEPD 2012 02 DCP161on100 | 3.695 | 1.115 | 0.372 | 185.62 | 9.22 | 10.79 | 0.233 | 17.03%
SSEPD SHEPD 2013 02 DCP161on132 | 4.026 | 1.185 | 0.307 | 204.97 | 9.66 | 11.23 | 0.281 | 16.25%
UKPN EPN 2012 02 DCP161on100 | 4.665 | 0.112 | 0.038 | 82.4 | 3.54 | 5.71 | 0.139 | 61.3%
UKPN EPN 2013 02 DCP161on132 | 4.66 | 0.087 | 0.027 | 86.79 | 3.92 | 5.76 | 0.135 | 46.94%
UKPN LPN 2012 02 DCP161on100 | 1.771 | 0.137 | 0.013 | 64.11 | 5.44 | 8.18 | 0.119 | 50.37%
UKPN LPN 2013 02 DCP161on132 | 1.706 | 0.115 | 0.006 | 68.89 | 7.32 | 8.34 | 0.112 | 13.93%
UKPN SPN 2012 02 DCP161on100 | 6.442 | 0.151 | 0.025 | 67.95 | 3.09 | 5.2 | 0.185 | 68.28%
UKPN SPN 2013 02 DCP161on132 | 7.475 | 0.122 | 0.023 | 70.76 | 3.08 | 5.07 | 0.208 | 64.61%
WPD EastM 2012 02 DCP161on100 | 4.934 | 0.231 | 0.01 | 93.62 | 3.86 | 6.07 | 0.159 | 57.25%
WPD EastM 2013 02 DCP161on132 | 4.636 | 0.204 | 0.009 | 102.32 | 3.99 | 6.2 | 0.148 | 55.39%
WPD SWales 2012 02 DCP161on100 | 10.169 | 0.662 | 0.098 | 75.82 | 2.95 | 7.02 | 0.299 | 138%
WPD SWales 2013 02 DCP161on132 | 12.469 | 1.002 | 0.116 | 85.89 | 3.24 | 7.32 | 0.385 | 125.9%
WPD SWest 2012 02 DCP161on100 | 15.398 | 0.063 | 0.068 | 67.97 | 2.08 | 6.93 | 0.208 | 233.2%
WPD SWest 2013 02 DCP161on132 | 18.909 | 0.072 | 0.071 | 72.95 | 2.22 | 7.07 | 0.25 | 218.5%
WPD WestM 2012 02 DCP161on100 | 4.438 | 0.26 | 0.012 | 101.91 | 4.9 | 6.8 | 0.143 | 38.78%
WPD WestM 2013 02 DCP161on132 | 5.298 | 0.292 | 0.017 | 104.75 | 4.95 | 6.85 | 0.171 | 38.38%
HV Sub HH Metered
| Unit rate 1 p/kWh | Unit rate 2 p/kWh | Unit rate 3 p/kWh | Fixed charge p/MPAN/day | Capacity charge p/kVA/day | Exceeded capacity charge p/kVA/day | Reactive power charge p/kVArh | Percentage increase in Exceeded Capacity Charge
ENW 2012 02 DCP161on100 | 5.79 | 0.236 | 0.039 | 129.84 | 2.2 | 5.23 | 0.14 | 137.7%
ENW 2013 02 DCP161on132 | 7.207 | 0.452 | 0.076 | 134.66 | 2.25 | 5.29 | 0.175 | 135.1%
NP Northeast 2012 02 DCP161on100 | 4.936 | 0.382 | 0.013 | 189.81 | 2.52 | 3.02 | 0.141 | 19.84%
NPG Northeast 2013 02 DCP161on132 | 5.389 | 0.377 | 0.023 | 202.25 | 2.6 | 3.1 | 0.199 | 19.23%
NP Yorkshire 2012 02 DCP161on100 | 3.995 | 0.279 | 0.009 | 195.96 | 2.49 | 2.98 | 0.12 | 19.68%
NPG Yorkshire 2013 02 DCP161on132 | 4.464 | 0.314 | 0.015 | 202.66 | 2.59 | 3.09 | 0.127 | 19.31%
SPEN SPD 2012 02 DCP161on100 | 3.627 | 0.264 | 0.035 | 250.16 | 5.16 | 5.35 | 0.097 | 3.682%
SPEN SPD 2013 02 DCP161on132 | 4.167 | 0.273 | 0.021 | 253.75 | 5.19 | 5.38 | 0.114 | 3.661%
SPEN SPM 2012 02 DCP161on100 | 6.397 | 0.183 | 0.055 | 199.77 | 4.04 | 5 | 0.254 | 23.76%
SPEN SPM 2013 02 DCP161on132 | 8.786 | 0.226 | 0.074 | 200.31 | 4.04 | 5 | 0.262 | 23.76%
SSEPD SEPD 2012 02 DCP161on100 | 5.949 | 0.323 | 0.011 | 134.57 | 3.22 | 3.34 | 0.156 | 3.727%
SSEPD SEPD 2013 02 DCP161on132 | 6.247 | 0.283 | 0.01 | 140.4 | 3.13 | 3.25 | 0.154 | 3.834%
SSEPD SHEPD 2012 02 DCP161on100 | 2.959 | 0.905 | 0.319 | 312.09 | 6.16 | 6.19 | 0.206 | 0.487%
SSEPD SHEPD 2013 02 DCP161on132 | 3.617 | 1.075 | 0.286 | 344.64 | 6.41 | 6.44 | 0.251 | 0.468%
UKPN EPN 2012 02 DCP161on100 | 3.201 | 0.075 | 0.017 | 82.4 | 4.59 | 5.55 | 0.097 | 20.92%
UKPN EPN 2013 02 DCP161on132 | 3.125 | 0.057 | 0.01 | 86.79 | 5.16 | 5.58 | 0.092 | 8.14%
UKPN LPN 2012 02 DCP161on100 | 2.119 | 0.162 | 0.014 | 64.11 | 2.42 | 2.95 | 0.134 | 21.9%
UKPN LPN 2013 02 DCP161on132 | 2.037 | 0.134 | 0.007 | 68.89 | 2.91 | 3.03 | 0.128 | 4.124%
UKPN SPN 2012 02 DCP161on100 | 5.423 | 0.103 | 0.016 | 67.95 | 3.39 | 4.17 | 0.156 | 23.01%
UKPN SPN 2013 02 DCP161on132 | 6.39 | 0.086 | 0.017 | 70.76 | 3.57 | 4.06 | 0.181 | 13.73%
WPD EastM 2012 02 DCP161on100 | 4.403 | 0.178 | 0.007 | 93.62 | 3.2 | 3.96 | 0.144 | 23.75%
WPD EastM 2013 02 DCP161on132 | 4.048 | 0.153 | 0.005 | 102.32 | 3.29 | 4.05 | 0.133 | 23.1%
WPD SWales 2012 02 DCP161on100 | 8.877 | 0.573 | 0.088 | 75.82 | 2.37 | 3.98 | 0.275 | 67.93%
WPD SWales 2013 02 DCP161on132 | 10.56 | 0.846 | 0.101 | 85.89 | 2.54 | 4.15 | 0.351 | 63.39%
WPD SWest 2012 02 DCP161on100 | 14.083 | 0.03 | 0.052 | 67.97 | 1.48 | 3.55 | 0.176 | 139.9%
WPD SWest 2013 02 DCP161on132 | 17.168 | 0.034 | 0.053 | 72.95 | 1.55 | 3.62 | 0.186 | 133.5%
WPD WestM 2012 02 DCP161on100 | 4.703 | 0.304 | 0.012 | 101.91 | 4.17 | 4.81 | 0.163 | 15.35%
WPD WestM 2013 02 DCP161on132 | 5.424 | 0.325 | 0.018 | 104.75 | 4.2 | 4.84 | 0.191 | 15.24%