DCUSA CONSULTATION

DCP 138 - Implementation of alternative network use factor (NUF) calculation method in EDCM

# PURPOSE

## The Distribution Connection and Use of System Agreement (DCUSA) is a multi-party contract between electricity Distributors and electricity Suppliers and large Generators. Parties to the DCUSA can raise Change Proposals (CPs) to amend the Agreement with the consent of other Parties and (where applicable) the Authority.

## This document is a Consultation issued to DNO, IDNO, Suppliers, any other interested Parties and the Authority in accordance with Clause 11.14 of the DCUSA seeking industry views on DCP 138 ‘Implementation of alternative network use factor (NUF) calculation method in EDCM’. Parties are invited to consider the questions set out below and submit comments using the form attached as Attachment 1 to dcusa@electralink.co.uk by 24 April 2015.

# BACKGROUND OF DCP 138

## Network Use Factors (NUFs) are the notional value of assets at a given network level required to supply a unit of power to a specific EDCM demand customer relative to the average notional value of assets at the same network level required to supply a unit of power to CDCM customers.

## In September 2011 Ofgem approved the DNO’s proposals for the EDCM for import subject to three conditions; Condition 3 was that the DNOs should review the methodology for determining NUFs.

## DNOs subsequently developed a revised methodology for the calculation of NUFs. In April 2012 a consultation was issued by the Energy Networks Association (ENA) seeking views on this revised methodology. The ENA consultation is provided as Attachment 2. Two responses to the consultation were received.

## In June 2012, following the close of the consultation, the ENA issued a report on Condition 3. This report is provided as Attachment 3 and sets out the DNOs proposals for the calculation of NUFs and details the consultation responses received.

## Ofgem reviewed this report and on 4 November 2014 published its decision letter  which is provided as Attachment 4 of its decision to approve the fulfilment of condition 3 set pursuant to standard licence condition (SLC) 50A.21 of the electricity distribution licence

## DCP 138 has subsequently been raised with the intent of incorporating the DNOs revised methodology for the calculation of NUFs, as set out in the Condition 3 report, into the DCUSA and is provided as Attachment 5.

# WORKING GROUP ASSESSMENT OF DCP 138

## The DCUSA Panel established a Working Group to assess DCP 138. The group is comprised of Supplier, Distributor and Ofgem representatives. Meetings were held in open session and the minutes and papers of each meeting are available on the DCUSA website – www.dcusa.co.uk.

## The Working Group discussed the CP and noted that the solution was fully developed prior to the CP being raised. It was highlighted that during its development of the proposal, the ENA had carried out an impact assessment and issued an industry consultation.

## The Working Group agreed to issue an additional consultation to give DCUSA Parties a further opportunity to comment on the proposals.

# ASSESSMENT AGAINST THE DCUSA OBJECTIVES

## The Working Group has identified that the Change Proposal better meets the following DCUSA Objectives:

- Charging Objective 1 - The CP better meets Charging Objective 1 by allocating only the proportion of the asset annuitised modern equivalent asset value (MEAV) which is deemed to be used by customers, to that EDCM customer, in the calculation of NUFs.

- Charging Objective 2 - The CP better meets Charging Objective 2 by allocating the costs associated with unused capacity on the network to all demand users of the network (EDCM and CDCM) and preventing the over allocation of the MEAV of lightly utilised assets to EDCM customer.

- Charging Objective 3 - The CP better meets Charging Objective 3 by increasing the cost reflectivity and better representing actual management and design of the network which would drive reinforcement requirements by considering contingency scenarios.

- Charging Objective 4 - The CP better meets Charging Objective 4 by facilitating the industry requirement to be consistent with the principles of the network assessment.

- General Objective 1 - The CP better meets General Objective 1 by reflecting utilisation of assets more efficiently in the calculation of NUFs.

- General Objective 2 - The CP better meets General Objective 2 by not over allocating costs to customers and socialising the unused capacity costs and by reducing volatility by creating stable prices.

- General Objective 3 - The CP better meets General Objective 3 by satisfying the licence obligation on DNOs to review the charging methodology and bring about changes to improve the methodology.

# IMPACT ASSESSMENT

# An impact assessment has been undertaken by the Working Group on a site-specific basis and customers can view the impact on their site by searching via their LLFC or MPAN data.

## TABLE: Summary of the findings from the Impact Analysis – 	Impacted Customers

|  | Number of impacted customers |  |  |  | Total |
| --- | --- | --- | --- | --- | --- |
| Percentage increase or decrease in import capacity rate charges | Area 1 | Area 2 | Area 3 | Area 3 |  |
| 0 -10 |  |  |  |  |  |

## The impact on the EDCM revenue pot per licence area is given in the table below.

## TABLE: Summary of the findings from the Impact Analysis – 	Impact on the pot

|  | Area 1 | Area 2 | Area 3 | Area 3 | Total |
| --- | --- | --- | --- | --- | --- |
| Percentage increase or decrease |  |  |  |  |  |
| Monetary increase or decrease |  |  |  |  |  |

# STAKEHOLDER ENGAGEMENT

## The Working Group contacted the DCUSA Contract Managers to request that the consultation document is distributed to impacted customers, i.e. customers that may experience a change in their annualised bill of the order of around £10,000 or a 10% different in their bill as a result of the implementation of this change based on the findings of the impact analysis undertaken.

# DCP 138 – LEGAL DRAFTING

## The proposed legal text is provided as Attachment 6.

# DCP 138 – IMPLEMENTATION

## The proposed implementation date for DCP 138 is 1 April 2016.

# DCP 138 – CONSULTATION QUESTIONS

## The Working Group is seeking industry views on the following consultation questions:

| Question Number | Question |
| --- | --- |
| 1 | ## Do you understand the intent of the CP? |
| 2 | ## Are you supportive of the principles of the CP? |
| 3 | ## Do you consider that the proposal better facilitates the DCUSA Charging and General Objectives? Please give supporting reasons. |
| 4 | ## Are you supportive of the proposed implementation date of 1 April 2016? |
| 5 | Do you have any comments on the proposed legal text? |
| 6 | ## Are there any alternative solutions or matters that should be considered by the Working Group? |
| 7 | ## Are you aware of any wider industry developments that may impact upon or be impacted by this CP? If so, please give details, and comment on whether the benefit of the change may outweigh the potential impact and whether the duration of the change is likely to be limited. |
| 8 | Do you have any further comments? |

## Responses should be submitted using Attachment 1 to dcusa@electralink.co.uk no later than 24 April 2015.

## Responses, or any part thereof, can be provided in confidence. Parties are asked to clearly indicate any parts of a response that are to be treated confidentially.

# next steps

## Responses to the Consultation will be reviewed by the DCP 138 Working Group. The Working Group will then determine the progression route for the CP.

## If you have any questions about this paper or the DCUSA Change Process please contact the DCUSA helpdesk by email to dcusa@electralink.co.uk or telephone 020 7432 2842.

# attachments

# Attachment 1 – Response Form

# Attachment 2 – ENA Consultation Document

# Attachment 3 – ENA Report on Condition 3

# Attachment 4 – Ofgem Decision Letter – 4 November 2014

# Attachment 5 – DCP 138

# Attachment 6 – Proposed Legal Text

Ofgem (2011) Electricity distribution charging: decision on the methodology for higher voltage import charges, ref 116/11

that compliance by each DNO Party with the Charging Methodologies facilitates the discharge by the DNO Party of the obligations imposed on it under the Act and by its Distribution Licence.

that compliance by each DNO Party with the Charging Methodologies facilitates competition in the generation and supply of electricity and will not restrict, distort, or prevent competition in the transmission or distribution of electricity or in participation in the operation of an Interconnector (as defined in the Distribution Licences).

that compliance by each DNO Party with the Charging Methodologies results in charges which, so far as is reasonably practicable after taking account of implementation costs, reflect the costs incurred, or reasonably expected to be incurred, by the DNO Party in its Distribution Busines

that, so far as is consistent with Clauses 3.2.1 to 3.2.3, the Charging Methodologies, so far as is reasonably practicable, properly take account of developments in each DNO Party’s Distribution Business.

The development, maintenance and operation by the DNO Parties and IDNO Parties of efficient, co-ordinated, and economical Distribution Networks.

The facilitation of effective competition in the generation and supply of electricity and (so far as is consistent therewith) the promotion of such competition in the sale, distribution and purchase of electricity.

The efficient discharge by the DNO Parties and IDNO Parties of obligations imposed upon them in their Distribution Licences.