## SPN
| Table 1010 - no of days |  | Table 1017 - diversity allowance |  | Table 1020: Change In 500MW Model |  | Table 1022 - 1028: service model inputs |  | Table 1032: LAF values |  | Table 1037 - LDNO discounts |  | Table 1041: load characteristics |  | Table 1055: NGC exit |  | Table 1059: Otex |  | Table 1060: Customer Contribs |  | Table 1061/1062: TPR data |  | Table 1068 - annual hours in time bands |  | Table 1069: Peaking probabailities |  | Table 1092: power factor |  | Table 1053: volumes and mpans etc forecast |  | Table 1076: allowed revenue
Cumulative Gradient | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh)
Domestic Unrestricted | 0.05072% | 0.00095052 | 0.05072% | 0.00095052 | 0.05072% | 0.00095052 | 0.09881% | 0.0018515 | -0.002641% | -4.9484e-05 | 0.05072% | 0.00095052 | 5.486% | 0.1028 | 5.486% | 0.1028 | 5.708% | 0.10696 | 5.865% | 0.10991 | 6.079% | 0.11391 | 6.079% | 0.11391 | 6.025% | 0.11291 | 6.292% | 0.11791 | 4.062% | 0.07568 | 25.26% | 0.47068
Domestic Two Rate | 0.04039% | 0.00061488 | 0.04039% | 0.00061488 | 0.04039% | 0.00061488 | -0.05196% | -0.00079096 | -0.06705% | -0.0010207 | -0.06705% | -0.0010207 | -1.503% | -0.022876 | -1.463% | -0.022273 | -1.424% | -0.021678 | -1.36% | -0.020699 | -0.8582% | -0.013064 | -0.8582% | -0.013064 | -0.8068% | -0.012282 | -0.5295% | -0.0080597 | -2.684% | -0.040716 | 18.24% | 0.27672
Domestic Off Peak (related MPAN) | 0% | 0 | 0% | 0 | 0% | 0 | 0.2857% | 0.001 | 0.2857% | 0.001 | 0.2857% | 0.001 | 2.857% | 0.01 | 2.857% | 0.01 | 2.286% | 0.008 | 3.143% | 0.011 | -10.29% | -0.036 | -10.29% | -0.036 | -14.29% | -0.05 | -14% | -0.049 | -15.71% | -0.055 | 2.857% | 0.01
Small Non Domestic Unrestricted | 0.02085% | 0.00033523 | 0.02085% | 0.00033523 | 0.02085% | 0.00033523 | -0.06183% | -0.0009943 | -0.04134% | -0.00066477 | -0.04134% | -0.00066477 | -14.38% | -0.23132 | -14.38% | -0.23132 | -14.63% | -0.23529 | -14.49% | -0.23295 | -14.3% | -0.22995 | -14.3% | -0.22995 | -14.36% | -0.23095 | -14.11% | -0.22695 | -16.04% | -0.25718 | 2.92% | 0.046817
Small Non Domestic Two Rate | 0.01444% | 0.00015278 | 0.01444% | 0.00015278 | 0.01444% | 0.00015278 | -0.06601% | -0.00069833 | -0.0003672% | -3.8843e-06 | -0.0003672% | -3.8843e-06 | -5.545% | -0.058658 | -5.545% | -0.058658 | -5.94% | -0.062836 | -5.78% | -0.061147 | -7.613% | -0.080539 | -7.613% | -0.080539 | -7.525% | -0.079599 | -7.234% | -0.076521 | -9.484% | -0.10038 | 11.86% | 0.12553
Small Non Domestic Off Peak (related MPAN) | 0% | 0 | 0% | 0 | 0% | 0 | 0.4367% | 0.001 | 0.8734% | 0.002 | 0.8734% | 0.002 | 3.057% | 0.007 | 3.057% | 0.007 | 3.057% | 0.007 | 4.367% | 0.01 | 7.86% | 0.018 | 7.86% | 0.018 | 0.8734% | 0.002 | 1.31% | 0.003 | -0.8734% | -0.002 | 20.09% | 0.046
LV Medium Non-Domestic | 0.03865% | 0.00047381 | 0.03865% | 0.00047381 | 0.03865% | 0.00047381 | 0.009985% | 0.00012242 | 0.09645% | 0.0011825 | 0.09645% | 0.0011825 | -6.367% | -0.078052 | -6.367% | -0.078052 | -6.728% | -0.08248 | -6.461% | -0.079215 | -9.057% | -0.11104 | -9.057% | -0.11104 | -8.979% | -0.11008 | -8.777% | -0.1076 | -10.87% | -0.13335 | 9.744% | 0.11957
LV Sub Medium Non-Domestic |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
HV Medium Non-Domestic |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
LV HH Metered | 0.1199% | 0.0015418 | 0.1199% | 0.0015418 | 0.1199% | 0.0015418 | 0.3831% | 0.0049262 | 0.4864% | 0.0062539 | 0.5023% | 0.0064589 | -2.597% | -0.033398 | -2.597% | -0.033398 | -2.598% | -0.033401 | -1.266% | -0.016274 | -1.104% | -0.014192 | -1.104% | -0.014192 | -0.9496% | -0.012209 | -1.924% | -0.024739 | -4.003% | -0.051874 | 14.89% | 0.19291
LV Sub HH Metered | 0.1381% | 0.0017409 | 0.1381% | 0.0017409 | 0.1381% | 0.0017409 | 0.711% | 0.0089608 | 0.6957% | 0.0087684 | 0.7039% | 0.0088709 | -1.606% | -0.02024 | -1.598% | -0.020138 | -1.673% | -0.021082 | 0.7521% | 0.0094784 | 0.9373% | 0.011812 | 0.9539% | 0.012021 | 0.9605% | 0.012105 | 0.2754% | 0.0034704 | 3.379% | 0.03634 | 26.08% | 0.28042
HV HH Metered | -0.03052% | -0.0002821 | -0.03052% | -0.0002821 | -0.03052% | -0.0002821 | 0.1997% | 0.0018456 | 0.2161% | 0.0019972 | 0.2267% | 0.0020951 | 0.8138% | 0.0075224 | 0.8242% | 0.0076184 | 0.4409% | 0.0040758 | -2.78% | -0.025697 | -2.428% | -0.022447 | -2.428% | -0.022447 | -2.509% | -0.023192 | -3.118% | -0.028824 | -5.08% | -0.047327 | 16.79% | 0.15644
HV Sub HH Metered | -0.05685% | -0.00042093 | -0.05685% | -0.00042093 | -0.05685% | -0.00042093 | -0.9898% | -0.0073283 | -0.8458% | -0.0062623 | -0.8314% | -0.006156 | 0.2068% | 0.0015313 | 0.2068% | 0.0015313 | -0.769% | -0.0056939 | -2.403% | -0.017794 | -2.127% | -0.015749 | -2.127% | -0.015749 | -2.043% | -0.015123 | -2.731% | -0.020223 |  | 0 |  | 0
NHH UMS | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | -0.1277% | -0.002 | -0.1277% | -0.002 | 11.56% | 0.181 | 11.62% | 0.182 | 12.52% | 0.196 | 12.64% | 0.198 | 12.9% | 0.202 | 12.9% | 0.202 | 12.84% | 0.201 | 13.09% | 0.205 | 10.66% | 0.167 | 29.76% | 0.466
LV UMS (Pseudo HH Metered) | -0.0542% | -0.00085042 | -0.0542% | -0.00085042 | -0.0542% | -0.00085042 | -0.004253% | -6.6734e-05 | -0.1238% | -0.0019425 | -0.1143% | -0.0017929 | 11.59% | 0.1818 | 11.59% | 0.18187 | 12.54% | 0.19672 | 12.72% | 0.19953 | 12.96% | 0.20342 | 12.97% | 0.20349 | 12.3% | 0.19304 | 12.51% | 0.19633 | 13.57% | 0.20716 | 33.11% | 0.50554
|  |  | Table 1017 - diversity allowance |  | Table 1020: Change In 500MW Model |  | Table 1022 - 1028: service model inputs |  | Table 1032: LAF values |  | Table 1037 - LDNO discounts |  | Table 1041: load characteristics |  | Table 1055: NGC exit |  | Table 1059: Otex |  | Table 1060: Customer Contribs |  | Table 1061/1062: TPR data |  | Table 1068 - annual hours in time bands |  | Table 1069: Peaking probabailities |  | Table 1092: power factor |  | Table 1053: volumes and mpans etc forecast |  | Table 1076: allowed revenue
Step Gradient |  |  | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh)
Domestic Unrestricted |  |  | 0% | - | 0% | - | 0.04808% | 0.00090103 | -0.1014% | -0.001901 | 0.05336% | 0.001 | 5.435% | 0.10185 | 0% | - | 0.2219% | 0.0041588 | 0.1575% | 0.0029505 | 0.2135% | 0.004 | 0% | - | -0.05336% | -0.001 | 0.2668% | 0.005 | -2.23% | -0.042231 | 21.2% | 0.395
Domestic Two Rate |  |  | 0% | - | 0% | - | -0.09235% | -0.0014058 | -0.01509% | -0.00022976 | 0% | - | -1.436% | -0.021856 | 0.03963% | 0.00060324 | 0.03907% | 0.00059469 | 0.06433% | 0.00097928 | 0.5016% | 0.0076356 | 0% | - | 0.05132% | 0.00078121 | 0.2774% | 0.0042227 | -2.154% | -0.032656 | 20.93% | 0.31744
Domestic Off Peak (related MPAN) |  |  | - | - | - | - | - | 0.001 | 0% | - | 0% | - | 2.571% | 0.009 | 0% | - | -0.5714% | -0.002 | 0.8571% | 0.003 | -13.43% | -0.047 | 0% | - | -4% | -0.014 | 0.2857% | 0.001 | -1.714% | -0.006 | 18.57% | 0.065
Small Non Domestic Unrestricted |  |  | 0% | - | 0% | - | -0.08268% | -0.0013295 | 0.02049% | 0.00032953 | 0% | - | -14.34% | -0.23066 | 0% | - | -0.2466% | -0.0039658 | 0.1452% | 0.0023352 | 0.1866% | 0.003 | 0% | - | -0.06218% | -0.001 | 0.2487% | 0.004 | -1.93% | -0.030229 | 18.96% | 0.304
Small Non Domestic Two Rate |  |  | 0% | - | 0% | - | -0.08046% | -0.00085111 | 0.06565% | 0.00069445 | 0% | - | -5.545% | -0.058654 | 0% | - | -0.3949% | -0.0041778 | 0.1597% | 0.0016889 | -1.833% | -0.019392 | 0% | - | 0.08886% | 0.00093996 | 0.291% | 0.0030783 | -2.25% | -0.023861 | 21.34% | 0.22591
Small Non Domestic Off Peak (related MPAN) |  |  | - | - | - | - | - | 0.001 | 0.4367% | 0.001 | 0% | - | 2.183% | 0.005 | 0% | - | 0% | - | 1.31% | 0.003 | 3.493% | 0.008 | 0% | - | -6.987% | -0.016 | 0.4367% | 0.001 | -2.183% | -0.005 | 20.96% | 0.048
LV Medium Non-Domestic |  |  | 0% | - | 0% | - | -0.02866% | -0.00035139 | 0.08646% | 0.00106 | 0% | - | -6.463% | -0.079235 | 0% | - | -0.3612% | -0.0044279 | 0.2663% | 0.0032649 | -2.596% | -0.031821 | 0% | - | 0.07772% | 0.00095284 | 0.2022% | 0.0024791 | -2.089% | -0.025741 | 20.61% | 0.25292
LV Sub Medium Non-Domestic |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
HV Medium Non-Domestic |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
LV HH Metered |  |  | 0% | - | 0% | - | 0.2632% | 0.0033844 | 0.1033% | 0.0013276 | 0.01595% | 0.00020505 | -3.1% | -0.039857 | 0% | - | -0.0002453% | -3.1541e-06 | 1.332% | 0.017127 | 0.1619% | 0.0020817 | 0% | - | 0.1542% | 0.0019829 | -0.9745% | -0.012529 | -2.079% | -0.027135 | 18.89% | 0.24479
LV Sub HH Metered |  |  | 0% | - | 0% | - | 0.5729% | 0.0072199 | -0.01527% | -0.00019244 | 0.008135% | 0.00010252 | -2.31% | -0.029111 | 0.008135% | 0.00010252 | -0.0749% | -0.00094398 | 2.425% | 0.03056 | 0.1852% | 0.0023337 | 0.0166% | 0.00020916 | 0.006605% | 8.3246e-05 | -0.6851% | -0.0086341 | 3.104% | 0.032869 | 22.7% | 0.24408
HV HH Metered |  |  | 0% | - | 0% | - | 0.2302% | 0.0021277 | 0.0164% | 0.00015164 | 0.01059% | 9.7917e-05 | 0.5871% | 0.0054273 | 0.01038% | 9.5974e-05 | -0.3832% | -0.0035426 | -3.221% | -0.029773 | 0.3516% | 0.0032503 | 0% | - | -0.08057% | -0.00074474 | -0.6093% | -0.005632 | -1.962% | -0.018503 | 21.87% | 0.20377
HV Sub HH Metered
NHH UMS |  |  | - | - | - | - | - | - | - | -0.002 | 0% | - | 11.69% | 0.183 | 0.06386% | 0.001 | 0.894% | 0.014 | 0.1277% | 0.002 | 0.2554% | 0.004 | 0% | - | -0.06386% | -0.001 | 0.2554% | 0.004 | -2.427% | -0.038 | 19.09% | 0.299
LV UMS (Pseudo HH Metered) |  |  | 0% | - | 0% | - | 0.04994% | 0.00078368 | -0.1195% | -0.0018758 | 0.009533% | 0.00014958 | 11.7% | 0.18359 | 0.004766% | 7.4791e-05 | 0.946% | 0.014844 | 0.1789% | 0.0028077 | 0.248% | 0.0038915 | 0.004766% | 7.4791e-05 | -0.6659% | -0.010449 | 0.2097% | 0.0032908 | 1.054% | 0.010826 | 19.54% | 0.29838
|  |  | 0% |  | 0% |  | 0.5729% |  | 0.4367% |  | 0.05336% |  | 11.7% |  | 0.06386% |  | 0.946% |  | 2.425% |  | 3.493% |  | 0.0166% |  | 0.1542% |  | 0.4367% |  | 3.104% |  | 22.7%
Comment |  |  | Update to reflect latest data |  | Update to reflect latest data |  | Update to reflect latest data |  | Update to reflect latest data and correct error in LV circuit losses |  | Update to reflect latest data |  | Update to reflect latest data and the three year rolling average |  | Update to reflect latest data |  | Update to reflect latest data |  | No Change |  | Update to reflect latest data and the three year rolling average |  | Update to reflect latest data |  | Update to reflect latest data and the three year rolling average |  | Update to reflect latest data |  | Updated to represent the latest business expectations. This could be volatile as customers start to respond to the cost signals in the various time bands. |  | Profiled Allowed Revenue is known going forward.
YoY Tariff Disturbance Analysis - South Eastern Power Networks
Instructions
Starting with the current year's CDCM (with values)
Transfer each of the inputs from the CDCM indicatives in turn noting the cumulative affect in tariff changes. This table captures those changes

## SPN Summary
DNO : ENW
SPN CDCM CHARGES - Effective from April 2012 - ACTUALS LV/HV Charges | [10 empty] | Commentary
| Open LLFCs | PCs | Unit rate 1 p/kWh | Unit rate 2 p/kWh | Unit rate 3 p/kWh | Fixed charge p/MPAN/day | Capacity charge p/kVA/day | Reactive power charge p/kVArh | Excess capacity charge (p/kVA) | Closed LLFCs | average p/kWh this year | average p/kWh last year | Percentage change % | Typical Bill | Main drivers for change
Domestic Unrestricted | 300,301 | 1 | 1.962 | 0 | 0 | 4.03 | 0 | 0 |  |  | 2.3337 | 1.8749 | 24.47% | 92.3488
Domestic Two Rate | 100,101,250 | 2 | 2.487 | 0.129 | 0 | 4.03 | 0 | 0 |  |  | 1.7938 | 1.5229 | 17.78% | 108.8747
Domestic Off Peak (related MPAN) | 251,283,296 | 2 | 0.36 | 0 | 0 | 0 | 0 | 0 |  |  | 0.36 | 0.35 | 2.857% | 17.2559
Small Non Domestic Unrestricted | 320,324 | 3 | 1.51 | 0 | 0 | 4.33 | 0 | 0 |  |  | 1.6499 | 1.6085 | 2.576% | 186.3504
Small Non Domestic Two Rate | 120124270274 | 4 | 1.572 | 0.091 | 0 | 4.33 | 0 | 0 |  |  | 1.184 | 1.058 | 11.91% | 286.9934
Small Non Domestic Off Peak (related MPAN) | 10287297 | 4 | 0.275 | 0 | 0 | 0 | 0 | 0 |  |  | 0.275 | 0.229 | 20.09% | 25.5433
LV Medium Non-Domestic | 480,481,482,483,484,485,486,487 | 5-8 | 1.501 | 0.08 | 0 | 30.43 | 0 | 0 |  |  | 1.3468 | 1.2262 | 9.831% | 1603.3732
LV Sub Medium Non-Domestic | n/a | 5-8 | 1.064 | 0.053 | 0 | 8.67 | 0 | 0
HV Medium Non-Domestic | n/a | 5-8 | 0.791 | 0.025 | 0 | 67.95 | 0 | 0
LV HH Metered | 550 | 0 | 8.858 | 0.295 | 0.055 | 12.64 | 2.38 | 0.276 |  |  | 1.4889 | 1.2867 | 15.71% | 7324.2116
LV Sub HH Metered | 756 | 0 | 8.798 | 0.235 | 0.041 | 8.67 | 3.64 | 0.241 |  |  | 1.3558 | 1.2615 | 7.474% | 10178.352
HV HH Metered | 650 | 0 | 6.442 | 0.151 | 0.025 | 67.95 | 3.09 | 0.185 |  |  | 1.088 | 0.92529 | 17.58% | 39029.937
HV Sub HH Metered | 771 | 0 | 5.423 | 0.103 | 0.016 | 67.95 | 3.39 | 0.156 |  |  |  | 0.74113
NHH UMS | 351,352,353,354,355,356,357,358,359,360,361,362,363,364,365,366 | 1&8 | 2.032 | 0 | 0 | 0 | 0 | 0 |  |  | 2.032 | 1.566 | 29.76% | 1080.0786
LV UMS (Pseudo HH Metered) | 350 | 0 | 18.576 | 1.174 | 0.592 | 0 | 0 | 0 |  |  | 2.0326 | 1.5692 | 29.53% | 195381.8024
LV Generation NHH | 922,932,933 | 8 | -0.696 | 0 | 0 | 0 | 0 | 0 |  |  | -0.696 | -0.617 | 12.8% | -69.3541
LV Sub Generation NHH | #N/A | 8 | -0.632 | 0 | 0 | 0 | 0 | 0 |  | 0
LV Generation Intermittent | 921 | 0 | -0.696 | 0 | 0 | 0 | 0 | 0.204 |  | 0 | -0.696 | -0.617 | 12.8% | -705.8533
LV Generation Non-Intermittent | 935 | 0 | -6.27 | -0.282 | -0.056 | 0 | 0 | 0.204 |  | 0 | -0.92169 | -0.73263 | 25.81% | -1420.1288
LV Sub Generation Intermittent | 781 | 0 | -0.632 | 0 | 0 | 0 | 0 | 0.189 |  | 0
LV Sub Generation Non-Intermittent | 782 | 0 | -5.774 | -0.241 | -0.047 | 0 | 0 | 0.189 |  | 0
HV Generation Intermittent | 926 | 0 | -0.473 | 0 | 0 | 32.44 | 0 | 0.161 |  | 0 | 19.4473 | 9.1205 | 113.2% | 115.5945
HV Generation Non-Intermittent | 937 | 0 | -4.56 | -0.139 | -0.025 | 32.44 | 0 | 0.161 |  | 0 | -0.50702 | -0.4662 | 8.754% | -21183.7956
HV Sub Generation Non-Intermittent | 792 | 0 | -4.442 | -0.126 | -0.022 | 32.44 | 0 | 0.133 |  | 0
HV Sub Generation Intermittent | 791 | 0 | -0.456 | 0 | 0 | 32.44 | 0 | 0.133 |  | 0
1.4564
1.3817
0.93758
1.759
1.2462
0.88845
1.8012
-0.8
-0.8
-1.086
-1.3047
-0.54659
-0.58591
-2.2743