## SPM
| Table 1010 - no of days |  | Table 1017 - diversity allowance |  | Table 1020: Change In 500MW Model |  | Table 1022 - 1028: service model inputs |  | Table 1032: LAF values |  | Table 1037 - LDNO discounts |  | Table 1041: load characteristics |  | Table 1055: NGC exit |  | Table 1059: Otex |  | Table 1060: Customer Contribs |  | Table 1061/1062: TPR data |  | Table 1068 - annual hours in time bands |  | Table 1069: Peaking probabailities |  | Table 1092: power factor |  | Table 1053: volumes and mpans etc forecast |  | Table 1076: allowed revenue
Cumulative Gradient | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh)
Domestic Unrestricted | 0.0669% | 0.002 | 0.0669% | 0.002 | -0.001137% | -3.3998e-05 | -0.001137% | -3.3998e-05 | -0.3693% | -0.01104 | -0.3359% | -0.01004 | -1.373% | -0.04104 | -1.373% | -0.04104 | -0.5073% | -0.015166 | -0.5073% | -0.015166 | -0.4739% | -0.014166 | -0.4739% | -0.014166 | -0.407% | -0.012166 | -0.5408% | -0.016166 | 6.639% | 0.19862 | 13.22% | 0.39562
Domestic Two Rate | 0.05589% | 0.001 | 0.05589% | 0.001 | -0.01606% | -0.00028736 | -0.01606% | -0.00028736 | -0.4032% | -0.007214 | -0.3784% | -0.0067703 | 1.618% | 0.028959 | 1.65% | 0.029516 | 2.052% | 0.03672 | 2.052% | 0.03672 | 2.083% | 0.037277 | 2.058% | 0.036833 | 1.058% | 0.018936 | 0.9343% | 0.016718 | 8.193% | 0.14679 | 15.15% | 0.27148
Domestic Off Peak (related MPAN) | 0% | 0 | 0% | 0 | -3.203% | -0.009 | -3.203% | -0.009 | -4.27% | -0.012 | -4.27% | -0.012 | -4.626% | -0.013 | -4.626% | -0.013 | -3.203% | -0.009 | -3.203% | -0.009 | -4.982% | -0.014 | -4.982% | -0.014 | 3.203% | 0.009 | 2.847% | 0.008 | 9.964% | 0.028 | 16.37% | 0.046
Small Non Domestic Unrestricted | 0.05109% | 0.001237 | 0.05109% | 0.001237 | -0.353% | -0.0085479 | -0.353% | -0.0085479 | -0.8095% | -0.0196 | -0.7682% | -0.0186 | 2.495% | 0.0604 | 2.536% | 0.0614 | 2.031% | 0.049179 | 2.031% | 0.049179 | 2.072% | 0.050179 | 2.072% | 0.050179 | 2.114% | 0.051179 | 1.99% | 0.048179 | 9.526% | 0.23065 | 16.84% | 0.40765
Small Non Domestic Two Rate | 0.04516% | 0.00084621 | 0.04516% | 0.00084621 | -0.572% | -0.010719 | -0.572% | -0.010719 | -1.06% | -0.019854 | -1.06% | -0.019854 | 5.681% | 0.10646 | 5.681% | 0.10646 | 4.98% | 0.093313 | 4.98% | 0.093313 | 3.848% | 0.07211 | 3.795% | 0.07111 | 4.205% | 0.078803 | 4.049% | 0.075873 | 12.48% | 0.23255 | 20.02% | 0.37304
Small Non Domestic Off Peak (related MPAN) | 0.5025% | 0.001 | 0.5025% | 0.001 | -5.025% | -0.01 | -5.025% | -0.01 | -6.03% | -0.012 | -6.03% | -0.012 | -6.533% | -0.013 | -6.533% | -0.013 | -3.518% | -0.007 | -3.518% | -0.007 | -4.523% | -0.009 | -4.523% | -0.009 | 11.06% | 0.022 | 11.06% | 0.022 | 18.09% | 0.036 | 24.12% | 0.048
LV Medium Non-Domestic | 0.04346% | 0.00099702 | 0.04346% | 0.00099702 | -0.4112% | -0.0094332 | -0.4112% | -0.0094332 | -0.8914% | -0.020451 | -0.8552% | -0.019619 | -0.1832% | -0.0042026 | -0.1484% | -0.0034041 | -1.044% | -0.023946 | -1.044% | -0.023946 | -0.8972% | -0.020583 | -0.9408% | -0.021583 | -1.564% | -0.035876 | -1.712% | -0.039272 | 5.688% | 0.13049 | 12.87% | 0.29529
LV Sub Medium Non-Domestic | 0.05937% | 0.0012001 | 0.05937% | 0.0012001 | -0.2978% | -0.0060185 | -0.2978% | -0.0060185 | 0.659% | 0.01332 | 0.699% | 0.01413 | 2.273% | 0.04594 | 2.273% | 0.04594 | 0.7014% | 0.014178 | 0.7014% | 0.014178 | 0.8326% | 0.01683 | 0.8232% | 0.01664 | 0.2588% | 0.0052303 | 0.0985% | 0.001991 | 8.19% | 0.16492 | 15.89% | 0.32004
HV Medium Non-Domestic | 0.005516% | 8.8475e-05 | 0.005516% | 8.8475e-05 | 3.556% | 0.057039 | 3.556% | 0.057039 | 5.074% | 0.081383 | 5.079% | 0.081459 | 6.7% | 0.10746 | 6.7% | 0.10746 | 5.418% | 0.086893 | 5.418% | 0.086893 | 6.288% | 0.10085 | 6.289% | 0.10087 | 5.575% | 0.089414 | 5.386% | 0.086385 | 18.99% | 0.28479 | 29.13% | 0.43688
LV HH Metered | 0.03153% | 0.00064061 | 0.03153% | 0.00064061 | -1.256% | -0.02553 | -1.256% | -0.02553 | -1.813% | -0.036829 | -1.786% | -0.036286 | -0.9308% | -0.018913 | -0.9158% | -0.018607 | -0.745% | -0.015136 | -0.745% | -0.015136 | -0.7182% | -0.014593 | -0.7311% | -0.014855 | -0.7943% | -0.016139 | -0.3445% | -0.0069994 | 6.713% | 0.13636 | 13.32% | 0.27053
LV Sub HH Metered | 0.06688% | 0.0012882 | 0.06688% | 0.0012882 | -1.703% | -0.032795 | -1.703% | -0.032795 | -0.9759% | -0.018798 | -0.9602% | -0.018495 | -0.7491% | -0.014428 | -0.7386% | -0.014227 | -0.8652% | -0.016664 | -0.8652% | -0.016664 | -0.839% | -0.01616 | -0.8503% | -0.016377 | -0.5037% | -0.0097011 | -0.1196% | -0.0023044 | 6.73% | 0.12996 | 13.28% | 0.25649
HV HH Metered | 0.03484% | 0.0004416 | 0.03484% | 0.0004416 | 1.323% | 0.016767 | 1.323% | 0.016767 | 2.544% | 0.032253 | 2.567% | 0.032545 | -0.1379% | -0.0017478 | -0.1303% | -0.0016512 | -1.066% | -0.013517 | -1.066% | -0.013517 | -1.028% | -0.013029 | -1.02% | -0.012932 | -0.9301% | -0.01179 | -0.6216% | -0.0078794 | 7.777% | 0.10055 | 15.82% | 0.20459
HV Sub HH Metered
NHH UMS | 0% | 0 | 0% | 0 | 0.4375% | 0.009 | 0.4375% | 0.009 | 0.1945% | 0.004 | 0.1945% | 0.004 | -0.1458% | -0.003 | -0.1458% | -0.003 | 1.799% | 0.037 | 1.799% | 0.037 | 1.799% | 0.037 | 1.847% | 0.038 | 1.847% | 0.038 | 1.75% | 0.036 | 9.042% | 0.186 | 15.36% | 0.316
LV UMS (Pseudo HH Metered) | 0.03152% | 0.0006482 | 0.03152% | 0.0006482 | 0.4723% | 0.0097139 | 0.4723% | 0.0097139 | 0.2041% | 0.0041977 | 0.2177% | 0.0044767 | -0.1316% | -0.0027064 | -0.1225% | -0.0025204 | 1.794% | 0.036904 | 1.794% | 0.036904 | 1.85% | 0.038044 | 1.83% | 0.037648 | 2.006% | 0.041263 | 1.877% | 0.038614 | 9.167% | 0.18853 | 15.49% | 0.31852
|  |  | Table 1017 - diversity allowance |  | Table 1020: Change In 500MW Model |  | Table 1022 - 1028: service model inputs |  | Table 1032: LAF values |  | Table 1037 - LDNO discounts |  | Table 1041: load characteristics |  | Table 1055: NGC exit |  | Table 1059: Otex |  | Table 1060: Customer Contribs |  | Table 1061/1062: TPR data |  | Table 1068 - annual hours in time bands |  | Table 1069: Peaking probabailities |  | Table 1092: power factor |  | Table 1053: volumes and mpans etc forecast |  | Table 1076: allowed revenue
Step Gradient |  |  | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh)
Domestic Unrestricted |  |  | 0% | - | -0.06804% | -0.002034 | 0% | - | -0.3682% | -0.011006 | 0.03345% | 0.001 | -1.037% | -0.031 | 0% | - | 0.8655% | 0.025875 | 0% | - | 0.03345% | 0.001 | 0% | - | 0.0669% | 0.002 | -0.1338% | -0.004 | 7.18% | 0.21478 | 6.585% | 0.197
Domestic Two Rate |  |  | 0% | - | -0.07195% | -0.0012874 | 0% | - | -0.3871% | -0.0069266 | 0.0248% | 0.00044373 | 1.997% | 0.03573 | 0.03109% | 0.00055627 | 0.4026% | 0.0072046 | 0% | - | 0.03109% | 0.00055627 | -0.0248% | -0.00044373 | -1% | -0.017897 | -0.124% | -0.0022186 | 7.258% | 0.13007 | 6.959% | 0.12469
Domestic Off Peak (related MPAN) |  |  | - | - | - | -0.009 | 0% | - | -1.068% | -0.003 | 0% | - | -0.3559% | -0.001 | 0% | - | 1.423% | 0.004 | 0% | - | -1.779% | -0.005 | 0% | - | 8.185% | 0.023 | -0.3559% | -0.001 | 7.117% | 0.02 | 6.406% | 0.018
Small Non Domestic Unrestricted |  |  | 0% | - | -0.4041% | -0.009785 | 0% | - | -0.4564% | -0.011052 | 0.0413% | 0.001 | 3.263% | 0.079 | 0.0413% | 0.001 | -0.5048% | -0.012222 | 0% | - | 0.0413% | 0.001 | 0% | - | 0.0413% | 0.001 | -0.1239% | -0.003 | 7.536% | 0.18247 | 7.31% | 0.177
Small Non Domestic Two Rate |  |  | 0% | - | -0.6172% | -0.011565 | 0% | - | -0.4875% | -0.0091352 | 0% | - | 6.741% | 0.12631 | 0% | - | -0.7014% | -0.013144 | 0% | - | -1.132% | -0.021203 | -0.05337% | -0.001 | 0.4105% | 0.0076923 | -0.1563% | -0.0029292 | 8.43% | 0.15668 | 7.538% | 0.14049
Small Non Domestic Off Peak (related MPAN) |  |  | 0% | - | -5.528% | -0.011 | 0% | - | -1.005% | -0.002 | 0% | - | -0.5025% | -0.001 | 0% | - | 3.015% | 0.006 | 0% | - | -1.005% | -0.002 | 0% | - | 15.58% | 0.031 | 0% | - | 7.035% | 0.014 | 6.03% | 0.012
LV Medium Non-Domestic |  |  | 0% | - | -0.4546% | -0.01043 | 0% | - | -0.4802% | -0.011018 | 0.03625% | 0.00083155 | 0.672% | 0.015417 | 0.0348% | 0.00079846 | -0.8954% | -0.020542 | 0% | - | 0.1466% | 0.0033623 | -0.04359% | -0.001 | -0.623% | -0.014293 | -0.148% | -0.0033954 | 7.399% | 0.16976 | 7.183% | 0.1648
LV Sub Medium Non-Domestic |  |  | 0% | - | -0.3571% | -0.0072185 | 0% | - | 0.9567% | 0.019338 | 0.04006% | 0.00080983 | 1.574% | 0.03181 | 0% | - | -1.571% | -0.031762 | 0% | - | 0.1312% | 0.0026522 | -0.009409% | -0.00019017 | -0.5645% | -0.01141 | -0.1603% | -0.0032393 | 8.092% | 0.16293 | 7.704% | 0.15512
HV Medium Non-Domestic |  |  | 0% | - | 3.551% | 0.05695 | 0% | - | 1.518% | 0.024344 | 0.00476% | 7.6347e-05 | 1.621% | 0.026004 | 0% | - | -1.282% | -0.02057 | 0% | - | 0.8703% | 0.013959 | 0.00119% | 1.9087e-05 | -0.7143% | -0.011457 | -0.1889% | -0.0030296 | 13.61% | 0.19841 | 10.14% | 0.15208
LV HH Metered |  |  | 0% | - | -1.288% | -0.02617 | 0% | - | -0.5561% | -0.011299 | 0.02672% | 0.00054281 | 0.855% | 0.017373 | 0.01504% | 0.00030565 | 0.1708% | 0.0034711 | 0% | - | 0.02672% | 0.00054281 | -0.01286% | -0.0002613 | -0.06319% | -0.001284 | 0.4498% | 0.0091393 | 7.058% | 0.14336 | 6.605% | 0.13417
LV Sub HH Metered |  |  | 0% | - | -1.77% | -0.034083 | 0% | - | 0.7267% | 0.013997 | 0.0157% | 0.0003024 | 0.2112% | 0.0040672 | 0.01047% | 0.0002016 | -0.1266% | -0.0024377 | 0% | - | 0.02617% | 0.000504 | -0.01126% | -0.0002168 | 0.3466% | 0.006676 | 0.384% | 0.0073967 | 6.85% | 0.13226 | 6.553% | 0.12653
HV HH Metered |  |  | 0% | - | 1.288% | 0.016326 | 0% | - | 1.222% | 0.015486 | 0.02305% | 0.00029217 | -2.705% | -0.034293 | 0.007621% | 9.66e-05 | -0.9361% | -0.011866 | 0% | - | 0.03848% | 0.00048775 | 0.007714% | 9.7786e-05 | 0.09009% | 0.001142 | 0.3085% | 0.0039103 | 8.399% | 0.10843 | 8.047% | 0.10404
HV Sub HH Metered
NHH UMS |  |  | - | - | - | 0.009 | 0% | - | -0.2431% | -0.005 | 0% | - | -0.3403% | -0.007 | 0% | - | 1.945% | 0.04 | 0% | - | 0% | - | 0.04861% | 0.001 | 0% | - | -0.09723% | -0.002 | 7.292% | 0.15 | 6.32% | 0.13
LV UMS (Pseudo HH Metered) |  |  | 0% | - | 0.4408% | 0.0090657 | 0% | - | -0.2682% | -0.0055162 | 0.01357% | 0.000279 | -0.3492% | -0.0071831 | 0.009043% | 0.000186 | 1.917% | 0.039424 | 0% | - | 0.05547% | 0.0011409 | -0.0193% | -0.0003969 | 0.1758% | 0.0036151 | -0.1288% | -0.0026491 | 7.289% | 0.14992 | 6.32% | 0.12999
|  |  | 0% |  | 3.551% |  | 0% |  | 1.518% |  | 0.0413% |  | 6.741% |  | 0.0413% |  | 3.015% |  | 0% |  | 0.8703% |  | 0.04861% |  | 15.58% |  | 0.4498% |  | 13.61% |  | 10.14%
Comment |  |  | No Change |  | Model updated to reflect current position |  | No Change |  | Updated to represent the published losses for 2012/13 |  | Updated |  | Load characteristics were updated to reflect the three year rolling average |  | Updated to represent the latest forecast exit charge position based on information available from NGET, Negligable impact |  | Updated to reflect the latest busisness forecasts. Negligable impact |  | No Change |  | Data updated to reflect the three year rolling average |  | Updated |  | Updated |  | Updated |  | Updated to represent the latest business expectations. This could be volatile as customers start to respond to the cost signals in the various time bands. |  | Profiled Allowed Revenue is known going forward.
WSC YoY Tariff Disturbance Analysis - SP Energy Networks (SPM)
Instructions
Starting with the current year's CDCM (with values)
Transfer each of the inputs from the CDCM indicatives in turn noting the cumulative affect in tariff changes. This table captures those changes

## SPM Summary
DNO : SP Manweb
ALL DNO's CDCM CHARGES - Effective from April 2012 - ACTUALS LV/HV Charges | [10 empty] | Commentary
| Open LLFCs | PCs | Unit rate 1 p/kWh | Unit rate 2 p/kWh | Unit rate 3 p/kWh | Fixed charge p/MPAN/day | Capacity charge p/kVA/day | Reactive power charge p/kVArh | Excess capacity charge (p/kVA) | Closed LLFCs | average p/kWh this year | average p/kWh last year | Percentage change % | Typical Bill | Main drivers for change
Domestic Unrestricted | 101, 102 | 1 | 3.03 |  | 0 | 3.55 |  |  |  |  | 3.3873 | 2.9902 | 13.28% | 122.8392 | Revised revenue allowances and volume forecasts
Domestic Two Rate | 103, 105, 111, 112, 113, 114, 115, 116, 117, 118, 119, 120, 131, 132, 133, 134, 147, 148, 149, 150 | 2 | 3.786 | 0.363 |  | 3.55 |  |  |  | 145, 146 | 2.0632 | 1.7897 | 15.28% | 149.7249 | Revised revenue allowances and volume forecasts
Domestic Off Peak (related MPAN) | 104, 106, 130, 153, 155 | 2 | 0.327 |  |  | 0 |  |  |  | 135, 136, 137, 138, 140, 141, 142, 143 | 0.327 | 0.281 | 16.37% | 15.4706 | Revised revenue allowances and volume forecasts
Small Non Domestic Unrestricted | 201, 202, 203, 209 | 3 | 2.722 |  |  | 4.51 |  |  |  | 207 | 2.829 | 2.4215 | 16.83% | 435.3087 | Revised revenue allowances and volume forecasts
Small Non Domestic Two Rate | 205, 211, 231, 232 | 4 | 2.923 | 0.214 |  | 4.51 |  |  |  | 208, 210 | 2.2366 | 1.8739 | 19.36% | 708.5555 | Revised revenue allowances and volume forecasts
Small Non Domestic Off Peak (related MPAN) | 212 | 4 | 0.247 |  |  | 0 |  |  |  | 233, 234, 235, 236, 237 | 0.247 | 0.199 | 24.12% | 14.653 | Revised revenue allowances, volume forecasts & peaking probabilities
LV Medium Non-Domestic | 401, 402 | 5-8 | 3.099 | 0.206 |  | 22.2 |  |  |  |  | 2.5895 | 2.2944 | 12.86% | 2794.7742 | Revised revenue allowances and volume forecasts
LV Sub Medium Non-Domestic | 403, 404 | 5-8 | 2.736 | 0.179 |  | 28.53 |  |  |  |  | 2.3336 | 2.0215 | 15.44% | 2611.9048 | Revised revenue allowances and volume forecasts
HV Medium Non-Domestic |  | 5-8 | 1.839 | 0.106 |  | 365.41 |  |  |  | 405 | 1.9364 | 1.6051 | 20.64% | 5518.6309 | Revised revenue allowances and volume forecasts
LV HH Metered | 511, 591 | 0 | 12.403 | 0.908 | 0.155 | 17.35 | 2.34 | 0.666 | 2.34 | 501 | 2.3018 | 2.033 | 13.22% | 6767.9989 | Revised revenue allowances and volume forecasts
LV Sub HH Metered | 513, 592 | 0 | 10.531 | 0.592 | 0.117 | 6.12 | 4.86 | 0.505 | 4.86 | 503 | 2.1874 | 1.9281 | 13.45% | 14324.1286 | Revised revenue allowances and volume forecasts
HV HH Metered | 515, 593 | 0 | 8.097 | 0.363 | 0.082 | 92.72 | 3.72 | 0.353 | 3.72 | 505 | 1.4975 | 1.2688 | 18.03% | 43381.2407 | Revised revenue allowances and volume forecasts
HV Sub HH Metered |  | 0 | 6.397 | 0.183 | 0.055 | 199.77 | 4.04 | 0.254 | 4.04 | 507, 517, 594 |  | 1.0388 |  |  | Tariff Removed following introduction of EDCM
NHH UMS | 900, 901, 902, 903, 904, 905, 906, 907 | 1&8 | 2.373 | [6 empty] | 912, 913 | 2.373 | 2.057 | 15.36% | 2542.1565 | Revised revenue allowances and volume forecasts
LV UMS (Pseudo HH Metered) | 910 | 0 | 15.658 | 1.588 | 0.524 | [5 empty] | 2.3753 | 2.0567 | 15.49% | 214221.9163 | Revised revenue allowances and volume forecasts
LV Generation NHH | 781, 782, 783, 784, 785 | 8 | -1.154 | [7 empty] | -1.154 | -1.16 | -0.5172% | -58.2668
LV Sub Generation NHH | 780 | 8 | -1.03 | [7 empty] | -1.03 | -1.024 | 0.5859% | -98.6638
LV Generation Intermittent | 786, 787 | 0 | -1.154 |  |  |  |  | 0.434 |  |  | -1.0923 | -1.16 | -5.832% | -1985.124
LV Generation Non-Intermittent | 791, 795 | 0 | -8.537 | -0.844 | -0.125 |  |  | 0.434 |  |  | -1.163 | -1.1597 | 0.285% | -14323.415
LV Sub Generation Intermittent | 788, 789 | 0 | -1.03 |  |  |  |  | 0.404 |  |  | -1.0155 | -1.0239 | -0.8273% | -3729.6429
LV Sub Generation Non-Intermittent | 792, 796 | 0 | -7.737 | -0.729 | -0.11 |  |  | 0.404 |  |  | -1.1381 | -1.0239 | 11.15% | -298.1227
HV Generation Intermittent | 770, 771 | 0 | -0.664 |  |  | 67.71 |  | 0.307 |  |  | -0.65781 | -0.63464 | 3.65% | -27065.6301
HV Generation Non-Intermittent | 793, 797 | 0 | -5.522 | -0.356 | -0.065 | 67.71 |  | 0.307 |  |  | -0.67573 | -0.64228 | 5.208% | -37757.5371
HV Sub Generation Non-Intermittent | 794, 798 | 0 | -5.224 | -0.31 | -0.06 | 67.71 |  | 0.226 |  |  | -0.76297 | -0.58964 | 29.4% | -21837.578
HV Sub Generation Intermittent | 772, 773 | 0 | -0.617 |  |  | 67.71 |  | 0.226 |  |  | -0.59905 | -0.57492 | 4.198% | -8324.5226

## SPD
| Table 1010 - no of days |  | Table 1017 - diversity allowance |  | Table 1020: Change In 500MW Model |  | Table 1022 - 1028: service model inputs |  | Table 1032: LAF values |  | Table 1037 - LDNO discounts |  | Table 1041: load characteristics |  | Table 1055: NGC exit |  | Table 1059: Otex |  | Table 1060: Customer Contribs |  | Table 1061/1062: TPR data |  | Table 1068 - annual hours in time bands |  | Table 1069: Peaking probabailities |  | Table 1092: power factor |  | Table 1053: volumes and mpans etc forecast |  | Table 1076: allowed revenue
Cumulative Gradient | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh)
Domestic Unrestricted | 0.03879% | 0.001 | 0.03879% | 0.001 | 0.03879% | 0.001 | 0.03879% | 0.001 | -0.03517% | -0.00090665 | 0.0812% | 0.0020933 | 0.003621% | 9.3346e-05 | 0.003621% | 9.3346e-05 | 1.196% | 0.030831 | 1.196% | 0.030831 | 1.196% | 0.030831 | 1.196% | 0.030831 | 1.196% | 0.030831 | 1.274% | 0.032831 | 3.529% | 0.091266 | 7.821% | 0.20227
Domestic Two Rate | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | -0.06375% | -0.001129 | 0.04873% | 0.00086298 | 3.425% | 0.060659 | 3.453% | 0.061157 | 3.952% | 0.06998 | 3.952% | 0.06998 | 3.839% | 0.067984 | 3.783% | 0.066984 | 4.652% | 0.082373 | 4.736% | 0.083867 | 6.328% | 0.1129 | 10.91% | 0.19463
Domestic Off Peak (related MPAN) | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | -1.274% | -0.002 | -1.274% | -0.002 | 0.6369% | 0.001 | 0.6369% | 0.001 | 42.04% | 0.066 | 42.04% | 0.066 | 44.59% | 0.07 | 49.04% | 0.077
Small Non Domestic Unrestricted | 0.009658% | 0.00019932 | 0.009658% | 0.00019932 | 0.009658% | 0.00019932 | 0.009658% | 0.00019932 | -0.1552% | -0.0032027 | -0.0001644% | -3.3936e-06 | 0.7751% | 0.015997 | 0.8235% | 0.016997 | -0.7209% | -0.014879 | -0.7209% | -0.014879 | -0.7694% | -0.015879 | -0.7209% | -0.014879 | -0.7694% | -0.015879 | -0.6725% | -0.013879 | 1.606% | 0.033118 | 6.454% | 0.13312
Small Non Domestic Two Rate | 0.04115% | 0.00065761 | 0.04115% | 0.00065761 | 0.04115% | 0.00065761 | 0.04115% | 0.00065761 | -0.1202% | -0.0019203 | -0.01553% | -0.00024819 | 0.9023% | 0.014419 | 0.9023% | 0.014419 | -0.4966% | -0.0079353 | -0.4966% | -0.0079353 | -0.6218% | -0.0099353 | -0.6535% | -0.010443 | -0.952% | -0.015212 | -0.8885% | -0.014197 | 0.7384% | 0.011849 | 5.524% | 0.088645
Small Non Domestic Off Peak (related MPAN) | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | -0.2699% | -0.002 | -0.135% | -0.001 | -0.2699% | -0.002 | -0.135% | -0.001 | -2.564% | -0.019 | -2.564% | -0.019 | -2.834% | -0.021 | -2.699% | -0.02 | -0.135% | -0.001 | 0% | 0 | 2.159% | 0.016 | 7.018% | 0.052
LV Medium Non-Domestic | 0.01618% | 0.00025051 | 0.01618% | 0.00025051 | 0.01618% | 0.00025051 | 0.01618% | 0.00025051 | -0.179% | -0.0027708 | -0.04146% | -0.00064178 | -0.8372% | -0.01296 | -0.8372% | -0.01296 | -2.282% | -0.035326 | -2.282% | -0.035326 | -1.826% | -0.028271 | -1.826% | -0.028271 | -3.878% | -0.060033 | -3.814% | -0.059047 | -1.13% | -0.017432 | 3.711% | 0.057261
LV Sub Medium Non-Domestic |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
HV Medium Non-Domestic | 0.06567% | 0.000951 | 0.06567% | 0.000951 | 0.06567% | 0.000951 | 0.06567% | 0.000951 | 1.057% | 0.015301 | 1.156% | 0.016746 | 0.5666% | 0.0082044 | 0.6328% | 0.0091644 | 1.651% | 0.023902 | 1.651% | 0.023902 | 1.86% | 0.026941 | 1.861% | 0.026955 | 1.935% | 0.028022 | 2.001% | 0.028982 | 10.28% | 0.13082 | 15.74% | 0.20037
LV HH Metered | 0.02971% | 0.00048703 | 0.02971% | 0.00048703 | 0.02971% | 0.00048703 | 0.02971% | 0.00048703 | -0.2489% | -0.0040805 | -0.02273% | -0.00037258 | -2.759% | -0.045234 | -2.753% | -0.045134 | -3.23% | -0.052952 | -3.23% | -0.052952 | -3.271% | -0.053626 | -3.291% | -0.053952 | -3.836% | -0.06289 | -4.07% | -0.066713 | -2.024% | -0.033398 | 2.248% | 0.03708
LV Sub HH Metered | 0.1334% | 0.0028706 | 0.1334% | 0.0028706 | 0.1334% | 0.0028706 | 0.1334% | 0.0028706 | 0.543% | 0.011682 | 0.7637% | 0.016428 | -0.89% | -0.019146 | -0.885% | -0.019038 | 0.9967% | 0.02144 | 0.9967% | 0.02144 | 0.9867% | 0.021225 | 0.9967% | 0.02144 | 0.9906% | 0.02131 | 0.9901% | 0.021299 | -6.021% | -0.12728 | -3.035% | -0.064159
HV HH Metered | -0.03845% | -0.00046578 | -0.03845% | -0.00046578 | -0.03845% | -0.00046578 | -0.03845% | -0.00046578 | 0.7935% | 0.009612 | 0.8787% | 0.010645 | 1.719% | 0.020829 | 1.727% | 0.020924 | 0.3058% | 0.003705 | 0.3058% | 0.003705 | 0.29% | 0.0035131 | 0.2232% | 0.0027041 | 0.3163% | 0.0038314 | 0.1935% | 0.0023445 | 2.064% | 0.025359 | 6.806% | 0.083611
HV Sub HH Metered |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
NHH UMS | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0.1095% | 0.002 | 0% | 0 | 0% | 0 | 2.901% | 0.053 | 2.901% | 0.053 | 2.901% | 0.053 | 2.901% | 0.053 | 2.901% | 0.053 | 2.956% | 0.054 | 5.2% | 0.095 | 9.25% | 0.169
LV UMS (Pseudo HH Metered) | 0.0175% | 0.00029901 | 0.0175% | 0.00029901 | 0.0175% | 0.00029901 | 0.0175% | 0.00029901 | 0.05114% | 0.00087375 | 0.16% | 0.0027342 | 0.04653% | 0.00079485 | 0.05576% | 0.00095265 | 3.027% | 0.051714 | 3.027% | 0.051714 | 3.013% | 0.051478 | 3.001% | 0.051274 | 5.012% | 0.085622 | 5.076% | 0.08671 | 19.24% | 0.30077 | 23.65% | 0.36972
|  |  | Table 1017 - diversity allowance |  | Table 1020: Change In 500MW Model |  | Table 1022 - 1028: service model inputs |  | Table 1032: LAF values |  | Table 1037 - LDNO discounts |  | Table 1041: load characteristics |  | Table 1055: NGC exit |  | Table 1059: Otex |  | Table 1060: Customer Contribs |  | Table 1061/1062: TPR data |  | Table 1068 - annual hours in time bands |  | Table 1069: Peaking probabailities |  | Table 1092: power factor |  | Table 1053: volumes and mpans etc forecast |  | Table 1076: allowed revenue
Step Gradient |  |  | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh)
Domestic Unrestricted |  |  | 0% | - | 0% | - | 0% | - | -0.07396% | -0.0019067 | 0.1164% | 0.003 | -0.07758% | -0.002 | 0% | - | 1.192% | 0.030738 | 0% | - | 0% | - | 0% | - | 0% | - | 0.07758% | 0.002 | 2.255% | 0.058435 | 4.292% | 0.111
Domestic Two Rate |  |  | - | - | - | - | - | - | - | -0.001129 | 0.1125% | 0.001992 | 3.377% | 0.059796 | 0.02812% | 0.000498 | 0.4983% | 0.0088236 | 0% | - | -0.1127% | -0.001996 | -0.05647% | -0.001 | 0.869% | 0.015389 | 0.08436% | 0.001494 | 1.592% | 0.029032 | 4.581% | 0.081726
Domestic Off Peak (related MPAN) |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -0.002 | 0% | - | 1.911% | 0.003 | 0% | - | 41.4% | 0.065 | 0% | - | 2.548% | 0.004 | 4.459% | 0.007
Small Non Domestic Unrestricted |  |  | 0% | - | 0% | - | 0% | - | -0.1648% | -0.003402 | 0.155% | 0.0031993 | 0.7752% | 0.016 | 0.04845% | 0.001 | -1.544% | -0.031875 | 0% | - | -0.04845% | -0.001 | 0.04845% | 0.001 | -0.04845% | -0.001 | 0.0969% | 0.002 | 2.278% | 0.046997 | 4.849% | 0.1
Small Non Domestic Two Rate |  |  | 0% | - | 0% | - | 0% | - | -0.1613% | -0.0025779 | 0.1046% | 0.0016721 | 0.9179% | 0.014667 | 0% | - | -1.399% | -0.022354 | 0% | - | -0.1252% | -0.002 | -0.03174% | -0.00050725 | -0.2985% | -0.0047692 | 0.06349% | 0.0010145 | 1.627% | 0.026046 | 4.786% | 0.076797
Small Non Domestic Off Peak (related MPAN) |  |  | - | - | - | - | - | - | - | -0.002 | 0.135% | 0.001 | -0.135% | -0.001 | 0.135% | 0.001 | -2.429% | -0.018 | 0% | - | -0.2699% | -0.002 | 0.135% | 0.001 | 2.564% | 0.019 | 0.135% | 0.001 | - | 0.016 | 4.858% | 0.036
LV Medium Non-Domestic |  |  | 0% | - | 0% | - | 0% | - | -0.1952% | -0.0030213 | 0.1375% | 0.002129 | -0.7958% | -0.012318 | 0% | - | -1.445% | -0.022366 | 0% | - | 0.4558% | 0.0070551 | 0% | - | -2.052% | -0.031762 | 0.06371% | 0.00098623 | 2.685% | 0.041615 | 4.841% | 0.074693
LV Sub Medium Non-Domestic |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
HV Medium Non-Domestic |  |  | 0% | - | 0% | - | 0% | - | 0.991% | 0.01435 | 0.09975% | 0.0014445 | -0.5898% | -0.0085413 | 0.06629% | 0.00096 | 1.018% | 0.014738 | 0% | - | 0.2099% | 0.0030393 | 0.0009551% | 1.3831e-05 | 0.07368% | 0.0010669 | 0.06629% | 0.00096 | 8.278% | 0.10184 | 5.464% | 0.069546
LV HH Metered |  |  | 0% | - | 0% | - | 0% | - | -0.2786% | -0.0045675 | 0.2262% | 0.0037079 | -2.737% | -0.044861 | 0.00608% | 9.9678e-05 | -0.4769% | -0.0078185 | 0% | - | -0.04108% | -0.00067341 | -0.01992% | -0.00032659 | -0.5452% | -0.0089376 | -0.2332% | -0.0038231 | 2.045% | 0.033316 | 4.272% | 0.070478
LV Sub HH Metered |  |  | 0% | - | 0% | - | 0% | - | 0.4096% | 0.0088114 | 0.2206% | 0.0047462 | -1.654% | -0.035574 | 0.004992% | 0.00010738 | 1.882% | 0.040478 | 0% | - | -0.009983% | -0.00021476 | 0.009983% | 0.00021476 | -0.006055% | -0.00013024 | -0.0005001% | -1.0758e-05 | -7.012% | -0.14858 | 2.986% | 0.063118
HV HH Metered |  |  | 0% | - | 0% | - | 0% | - | 0.8319% | 0.010078 | 0.08528% | 0.0010331 | 0.8407% | 0.010184 | 0.007816% | 9.4681e-05 | -1.421% | -0.017219 | 0% | - | -0.01584% | -0.0001919 | -0.06678% | -0.00080894 | 0.09306% | 0.0011273 | -0.1227% | -0.001487 | 1.871% | 0.023014 | 4.742% | 0.058253
HV Sub HH Metered
NHH UMS |  |  | - | - | - | - | - | - | - | - | - | 0.002 | -0.1095% | -0.002 | - | - | - | 0.053 | 0% | - | 0% | - | 0% | - | 0% | - | 0.05473% | 0.001 | 2.244% | 0.041 | 4.05% | 0.074
LV UMS (Pseudo HH Metered) |  |  | 0% | - | 0% | - | 0% | - | 0.03364% | 0.00057474 | 0.1089% | 0.0018604 | -0.1135% | -0.0019393 | 0.009237% | 0.0001578 | 2.971% | 0.050762 | 0% | - | -0.01385% | -0.0002367 | -0.01191% | -0.00020352 | 2.011% | 0.034348 | 0.06369% | 0.001088 | 14.16% | 0.21406 | 4.41% | 0.068953
|  |  | 0% |  | 0% |  | 0% |  | 0.991% |  | 0.2262% |  | 3.377% |  | 0.135% |  | 2.971% |  | 0% |  | 1.911% |  | 0.135% |  | 41.4% |  | 0.135% |  | 14.16% |  | 5.464%
Comment |  |  | No Change |  | No Change |  | No Change |  | Updated to represent the published losses for 2012/13 |  | Updated |  | Load characteristics were updated to reflect the three year rolling average |  | Updated to represent the latest forecast exit charge position based on information available from NGET, Negligable impact |  | Updated to reflect the latest busisness forecasts. Negligable impact |  | No Change |  | Data updated to reflect the three year rolling average |  | Updated |  | Updated |  | Updated |  | Updated to represent the latest business expectations. This could be volatile as customers start to respond to the cost signals in the various time bands. |  | Profiled Allowed Revenue is known going forward.
WSC YoY Tariff Disturbance Analysis - SP Energy Networks (SPD)
Instructions
Starting with the current year's CDCM (with values)
Transfer each of the inputs from the CDCM indicatives in turn noting the cumulative affect in tariff changes. This table captures those changes

## SPD Summary
DNO : SP Distribution
ALL DNO's CDCM CHARGES - Effective from April 2012 - ACTUALS LV/HV Charges | [10 empty] | Commentary
| Open LLFCs | PCs | Unit rate 1 p/kWh | Unit rate 2 p/kWh | Unit rate 3 p/kWh | Fixed charge p/MPAN/day | Capacity charge p/kVA/day | Reactive power charge p/kVArh | Excess capacity charge (p/kVA) | Closed LLFCs | average p/kWh this year | average p/kWh last year | Percentage change % | Typical Bill | Main drivers for change
Domestic Unrestricted | 100, 101, 110, 111, 160, 161 | 1 | 2.319 |  | 0 | 4.45 |  |  |  |  | 2.7884 | 2.5788 | 8.126% | 96.4843 | Revised revenue allowances and volume forecasts
Domestic Two Rate | 114, 115, 118, 119, 120, 121, 162, 163 | 2 | 3.035 | 0.352 |  | 4.45 |  |  |  |  | 1.9787 | 1.7715 | 11.7% | 114.3939 | Revised revenue allowances and volume forecasts
Domestic Off Peak (related MPAN) | 112, 113, 116, 117, 132, 133, 136, 137, 164, 165, 166 | 2 | 0.234 | [6 empty] | 130, 134, 135 | 0.234 | 0.157 | 49.04% | 10.0459 | Revised revenue allowances, volume forecasts, peaking probabilities & power factor
Small Non Domestic Unrestricted | 201, 204 | 3 | 2.085 |  |  | 5.64 |  |  |  | 200, 202, 203, 205 | 2.1956 | 2.0641 | 6.368% | 408.7064 | Revised revenue allowances and volume forecasts
Small Non Domestic Two Rate | 221, 224, 260 | 4 | 2.769 | 0.401 |  | 5.64 |  |  |  | 220, 222 | 1.6932 | 1.5981 | 5.954% | 416.612 | Revised revenue allowances and volume forecasts
Small Non Domestic Off Peak (related MPAN) | 225, 240, 241, 301, 302 | 4 | 0.793 | [6 empty] | 223, 242, 243, 244, 245, 246 | 0.793 | 0.741 | 7.018% | 111.2555 | Revised revenue allowances and volume forecasts
LV Medium Non-Domestic | 400, 402 | 5-8 | 1.532 | 0.222 |  | 28.96 |  |  |  |  | 1.6001 | 1.5482 | 3.352% | 1827.7207 | Revised revenue allowances
LV Sub Medium Non-Domestic | 404 | 5-8 | 1.369 | 0.186 | [10 empty] | No Customers
HV Medium Non-Domestic |  | 5-8 | 0.901 | 0.075 |  | 330.7 |  |  |  | 401 | 1.4731 | 1.4497 | 1.612% | 3076.6103 | Revised revenue allowances and volume forecasts
LV HH Metered | 500, 504 | 0 | 8.582 | 0.787 | 0.156 | 21.73 | 2.24 | 0.247 | 2.24 |  | 1.6869 | 1.6402 | 2.846% | 9072.8625 | Revised revenue allowances
LV Sub HH Metered | 506, 507 | 0 | 5.717 | 0.415 | 0.056 | 7.67 | 4.17 | 0.19 | 4.17 |  | 2.0495 | 2.1544 | -4.867% | 4551.7834 | Volume forecasts
HV HH Metered | 501, 505 | 0 | 5.585 | 0.406 | 0.054 | 116.11 | 4.53 | 0.14 | 4.53 |  | 1.3121 | 1.2128 | 8.193% | 52714.4684 | Revised revenue allowances and volume forecasts
HV Sub HH Metered |  | 0 | 3.627 | 0.264 | 0.035 | 250.16 | 5.16 | 0.097 | 5.16 | 508, 509 |  |  |  |  | Tariff Removed following introduction of EDCM
NHH UMS | 900, 901, 902, 903, 904, 905, 906, 907, 908, 909 | 1&8 | 1.996 | [7 empty] | 1.996 | 1.827 | 9.25% | 848.8818 | Volume forecasts
LV UMS (Pseudo HH Metered) | 910 | 0 | 14.684 | 1.883 | 0.739 | [5 empty] | 1.9333 | 1.7084 | 13.16% | 337424.5687 | Volume forecasts
LV Generation NHH | 781, 782, 783, 784, 785 | 8 | -0.671 | [7 empty] | -0.671 | -0.62 | 8.226% | -36.448
LV Sub Generation NHH | 602 | 8 | -0.588 | [7 empty] | -0.588 |  |  | -143.0192
LV Generation Intermittent | 603, 608 | 0 | -0.671 |  |  |  |  | 0.138 |  |  | -0.66062 | -0.60132 | 9.862% | -1485.3
LV Generation Non-Intermittent | 604, 607 | 0 | -4.381 | -0.535 | -0.14 |  |  | 0.138 |  |  | -0.68427 | -0.62724 | 9.091% | -2104.2713
LV Sub Generation Intermittent | 609 | 0 | -0.588 |  |  |  |  | 0.124 |  |  | -0.57592 |  |  | -425.701
LV Sub Generation Non-Intermittent | 610 | 0 | -3.953 | -0.455 | -0.114 |  |  | 0.124
HV Generation Intermittent | 611, 612 | 0 | -0.339 |  |  | 84.79 |  | 0.101 |  |  | -0.33545 | -0.3053 | 9.877% | -48147.8243
HV Generation Non-Intermittent | 605, 606 | 0 | -2.768 | -0.201 | -0.027 | 84.79 |  | 0.101 |  |  | -0.33686 | -0.3097 | 8.768% | -48421.6761
HV Sub Generation Non-Intermittent | 614 | 0 | -2.281 | -0.166 | -0.022 | 84.79 |  | 0.053 |  |  | -0.27787 |  |  | -32530.7321
HV Sub Generation Intermittent | 613 | 0 | -0.279 |  |  | 84.79 |  | 0.053 |  |  | -0.279