## SHEPD
| Table 1010 - no of days |  | Table 1017 - diversity allowance |  | Table 1020: Change In 500MW Model |  | Table 1022 - 1028: service model inputs |  | Table 1032: LAF values |  | Table 1037 - LDNO discounts |  | Table 1041: load characteristics |  | Table 1055: NGC exit |  | Table 1059: Otex |  | Table 1060: Customer Contribs |  | Table 1061/1062: TPR data |  | Table 1068 - annual hours in time bands |  | Table 1069: Peaking probabailities |  | Table 1092: power factor |  | Table 1053: volumes and mpans etc forecast |  | Table 1076: allowed revenue
Cumulative Gradient | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh)
Domestic Unrestricted | 0.05645% | 0.0018792 | 0.132% | 0.0043961 | 0.09374% | 0.0031208 | 0.09374% | 0.0031208 | 0.09011% | 0.003 | 0.09011% | 0.003 | 5.146% | 0.17133 | 5.206% | 0.17333 | 5.738% | 0.19103 | 5.738% | 0.19103 | 5.712% | 0.19015 | 4.698% | 0.15639 | 4.574% | 0.15227 | 4.634% | 0.15427 | 8.53% | 0.28523 | 23.39% | 0.78223
Domestic Two Rate | 0.0551% | 0.0014055 | 0.07948% | 0.0020273 | 0.09785% | 0.0024959 | 0.09785% | 0.0024959 | 0.09608% | 0.0024507 | 0.09608% | 0.0024507 | 4.099% | 0.10455 | 4.173% | 0.10645 | 3.728% | 0.095097 | 3.728% | 0.095097 | 1.689% | 0.04308 | 4.57% | 0.11656 | 8.498% | 0.21676 | 8.537% | 0.21776 | 11.23% | 0.29128 | 28.43% | 0.73722
Domestic Off Peak (related MPAN) | 0.06716% | 0.001 | 0% | 0 | 0.1343% | 0.002 | 0.1343% | 0.002 | 0.1343% | 0.002 | 0.1343% | 0.002 | -5.91% | -0.088 | -5.843% | -0.087 | -7.388% | -0.11 | -7.388% | -0.11 | -7.858% | -0.117 | -12.22% | -0.182 | -11.89% | -0.177 | -11.89% | -0.177 | -8.193% | -0.122 | 6.985% | 0.104
Small Non Domestic Unrestricted | 0.04699% | 0.0012304 | 0.08797% | 0.0023037 | 0.1234% | 0.0032304 | 0.1234% | 0.0032304 | 0.1322% | 0.0034607 | 0.1322% | 0.0034607 | 3.781% | 0.09901 | 3.857% | 0.10101 | 3.309% | 0.086655 | 3.309% | 0.086655 | 3.3% | 0.086424 | 2.225% | 0.058272 | 2.099% | 0.054964 | 2.137% | 0.055964 | 6.203% | 0.16249 | 22.04% | 0.57749
Small Non Domestic Two Rate | 0.0313% | 0.0007168 | 0.03239% | 0.00074177 | 0.126% | 0.0028852 | 0.126% | 0.0028852 | 0.1063% | 0.0024336 | 0.1063% | 0.0024336 | 5.15% | 0.11794 | 5.245% | 0.1201 | 4.319% | 0.098895 | 4.319% | 0.098895 | 4.386% | 0.10043 | 7.138% | 0.16345 | 8.224% | 0.18831 | 8.275% | 0.18948 | 12.45% | 0.28607 | 30.22% | 0.69451
Small Non Domestic Off Peak (related MPAN) | 0% | 0 | 0% | 0 | 0.07582% | 0.001 | 0.07582% | 0.001 | 0.07582% | 0.001 | 0.07582% | 0.001 | -5.989% | -0.079 | -5.989% | -0.079 | -7.582% | -0.1 | -7.582% | -0.1 | -8.643% | -0.114 | -12.89% | -0.17 | -10.92% | -0.144 | -10.84% | -0.143 | -7.127% | -0.094 | 8.491% | 0.112
LV Medium Non-Domestic | 0.05319% | 0.0012436 | 0.03405% | 0.00079606 | 0.09536% | 0.0022295 | 0.09536% | 0.0022295 | 0.06448% | 0.0015074 | 0.06448% | 0.0015074 | 3.485% | 0.081489 | 3.56% | 0.083239 | 2.864% | 0.066953 | 2.864% | 0.066953 | 6.305% | 0.1474 | 8.755% | 0.20468 | 7.534% | 0.17615 | 7.598% | 0.17765 | 11.34% | 0.26671 | 28.2% | 0.6631
LV Sub Medium Non-Domestic |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
HV Medium Non-Domestic | 0.1633% | 0.0046334 | 0.3006% | 0.0085311 | 0.4101% | 0.01164 | 0.4101% | 0.01164 | 0.5571% | 0.015811 | 0.5571% | 0.015811 | -2.593% | -0.073586 | -2.558% | -0.072586 | 0.02093% | 0.00059409 | 0.02093% | 0.00059409 | -0.2549% | -0.007234 | -0.1632% | -0.0046302 | -0.9703% | -0.027537 | -0.9703% | -0.027537 | 31.39% | 0.6874 | 46.71% | 1.023
LV HH Metered | 0.01371% | 0.00035922 | -0.0765% | -0.0020038 | -0.04709% | -0.0012336 | -0.04709% | -0.0012336 | -0.1241% | -0.0032498 | -0.1241% | -0.0032498 | -8.058% | -0.21108 | -8.007% | -0.20976 | -7.641% | -0.20016 | -7.641% | -0.20016 | -7.642% | -0.20017 | -6.249% | -0.1637 | -7.424% | -0.19448 | -7.529% | -0.19722 | -3.124% | -0.081849 | 9.874% | 0.25871
LV Sub HH Metered | 0.008047% | 0.00097585 | 0.244% | 0.029584 | 0.5262% | 0.063811 | 0.5262% | 0.063811 | 0.8102% | 0.098252 | 0.8102% | 0.098252 | -9.158% | -1.1106 | -9.149% | -1.1095 | -13.14% | -1.5929 | -13.14% | -1.5929 | -13.14% | -1.5929 | -14.01% | -1.6987 | -14.36% | -1.7413 | -18.46% | -2.2382 | -1.443% | -0.037415 | 11.62% | 0.30123
HV HH Metered | 0.09942% | 0.0023625 | -0.192% | -0.0045618 | 0.2787% | 0.006622 | 0.2787% | 0.006622 | 0.4097% | 0.009735 | 0.4097% | 0.009735 | -7.108% | -0.1689 | -7.054% | -0.16762 | -6.984% | -0.16597 | -6.984% | -0.16597 | -6.977% | -0.1658 | -6.686% | -0.15889 | -6.903% | -0.16404 | -6.977% | -0.1658 | -3.302% | -0.080376 | 8.319% | 0.20249
HV Sub HH Metered | -0.1085% | -0.0017188 | 0.7592% | 0.012021 | -0.2771% | -0.0043885 | -0.2771% | -0.0043885 | 0.1237% | 0.0019589 | 0.1237% | 0.0019589 | -12.82% | -0.20293 | -12.74% | -0.2017 | -19.51% | -0.30899 | -19.51% | -0.30899 | -19.49% | -0.30863 | -17.24% | -0.27296 | -9.625% | -0.15241 | -9.543% | -0.15111 |  | 0 | 0% | 0
NHH UMS | 0% | 0 | 0.1941% | 0.008 | 0.07278% | 0.003 | 0.07278% | 0.003 | 0.09704% | 0.004 | 0.09704% | 0.004 | -10.65% | -0.439 | -10.6% | -0.437 | -9.073% | -0.374 | -9.073% | -0.374 | -9.098% | -0.375 | -10.02% | -0.413 | -10.02% | -0.413 | -9.995% | -0.412 | -6.453% | -0.266 | 5.167% | 0.213
LV UMS (Pseudo HH Metered) | 0% | 0 | 0.2118% | 0.0079868 | 0.09554% | 0.0036026 | 0.09554% | 0.0036026 | 0.09554% | 0.0036026 | 0.09554% | 0.0036026 | -10.52% | -0.3966 | -10.49% | -0.39541 | -8.693% | -0.32778 | -8.693% | -0.32778 | -8.709% | -0.32838 | -7.727% | -0.29137 | -10.59% | -0.39919 | -10.55% | -0.3978 | 124.5% | 2.1523 | 153.7% | 2.6574
|  |  | Table 1017 - diversity allowance |  | Table 1020: Change In 500MW Model |  | Table 1022 - 1028: service model inputs |  | Table 1032: LAF values |  | Table 1037 - LDNO discounts |  | Table 1041: load characteristics |  | Table 1055: NGC exit |  | Table 1059: Otex |  | Table 1060: Customer Contribs |  | Table 1061/1062: TPR data |  | Table 1068 - annual hours in time bands |  | Table 1069: Peaking probabailities |  | Table 1092: power factor |  | Table 1053: volumes and mpans etc forecast |  | Table 1076: allowed revenue
Step Gradient |  |  | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh) | % Change | Absolute change (average p/kWh)
Domestic Unrestricted |  |  | 0.0756% | 0.0025169 | -0.03831% | -0.0012753 | 0% | - | -0.003628% | -0.00012078 | 0% | - | 5.056% | 0.16833 | 0.06007% | 0.002 | 0.5317% | 0.0177 | 0% | - | -0.02641% | -0.00087922 | -1.014% | -0.033758 | -0.1238% | -0.0041208 | 0.06007% | 0.002 | 3.896% | 0.13096 | 14.86% | 0.497
Domestic Two Rate |  |  | 0.02438% | 0.00062186 | 0.01837% | 0.00046855 | 0% | - | -0.001772% | -4.5206e-05 | 0% | - | 4.003% | 0.1021 | 0.07454% | 0.0019013 | -0.4452% | -0.011355 | 0% | - | -2.039% | -0.052017 | 2.881% | 0.073485 | 3.928% | 0.1002 | 0.03921% | 0.001 | 2.696% | 0.07352 | 17.2% | 0.44594
Domestic Off Peak (related MPAN) |  |  | -0.06716% | -0.001 | - | 0.002 | 0% | - | 0% | - | 0% | - | -6.044% | -0.09 | 0.06716% | 0.001 | -1.545% | -0.023 | 0% | - | -0.4701% | -0.007 | -4.365% | -0.065 | 0.3358% | 0.005 | 0% | - | 3.694% | 0.055 | 15.18% | 0.226
Small Non Domestic Unrestricted |  |  | 0.04099% | 0.0010733 | 0.03539% | 0.00092668 | 0% | - | 0.008797% | 0.00023037 | 0% | - | 3.649% | 0.09555 | 0.07638% | 0.002 | -0.5482% | -0.014356 | 0% | - | -0.008797% | -0.00023037 | -1.075% | -0.028152 | -0.1264% | -0.0033089 | 0.03819% | 0.001 | 4.065% | 0.10653 | 15.84% | 0.415
Small Non Domestic Two Rate |  |  | 0.001091% | 2.4975e-05 | 0.09361% | 0.0021434 | 0% | - | -0.01972% | -0.0004516 | 0% | - | 5.044% | 0.1155 | 0.0947% | 0.0021684 | -0.9262% | -0.021209 | 0% | - | 0.06684% | 0.0015306 | 2.752% | 0.063021 | 1.086% | 0.024863 | 0.05103% | 0.0011684 | 4.174% | 0.096588 | 17.77% | 0.40844
Small Non Domestic Off Peak (related MPAN) |  |  | - | - | - | 0.001 | 0% | - | 0% | - | 0% | - | -6.065% | -0.08 | 0% | - | -1.592% | -0.021 | 0% | - | -1.061% | -0.014 | -4.246% | -0.056 | 1.971% | 0.026 | 0.07582% | 0.001 | 3.715% | 0.049 | 15.62% | 0.206
LV Medium Non-Domestic |  |  | -0.01914% | -0.00044758 | 0.06131% | 0.0014334 | 0% | - | -0.03089% | -0.00072208 | 0% | - | 3.421% | 0.079982 | 0.07483% | 0.0017495 | -0.6966% | -0.016285 | 0% | - | 3.441% | 0.080447 | 2.45% | 0.05728 | -1.22% | -0.028533 | 0.06412% | 0.0014991 | 3.744% | 0.089061 | 16.86% | 0.39639
LV Sub Medium Non-Domestic |  |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
HV Medium Non-Domestic |  |  | 0.1373% | 0.0038977 | 0.1095% | 0.0031086 | 0% | - | 0.147% | 0.0041712 | 0% | - | -3.15% | -0.089397 | 0.03524% | 0.001 | 2.579% | 0.073181 | 0% | - | -0.2758% | -0.007828 | 0.09175% | 0.0026038 | -0.8072% | -0.022907 | 0% | - | 32.36% | 0.71493 | 15.33% | 0.33564
LV HH Metered |  |  | -0.09021% | -0.002363 | 0.0294% | 0.00077024 | 0% | - | -0.07697% | -0.0020162 | 0% | - | -7.934% | -0.20783 | 0.05039% | 0.0013199 | 0.3665% | 0.0095994 | 0% | - | -0.0006026% | -1.5786e-05 | 1.392% | 0.036475 | -1.175% | -0.030777 | -0.1046% | -0.0027399 | 4.405% | 0.11537 | 13% | 0.34056
LV Sub HH Metered |  |  | 0.2359% | 0.028608 | 0.2822% | 0.034227 | 0% | - | 0.284% | 0.03444 | 0% | - | -9.968% | -1.2088 | 0.009222% | 0.0011184 | -3.986% | -0.48344 | 0% | - | -2.34e-05% | -2.8379e-06 | -0.8722% | -0.10577 | -0.3511% | -0.042574 | -4.098% | -0.49697 | 17.01% | 2.2008 | 13.06% | 0.33864
HV HH Metered |  |  | -0.2914% | -0.0069244 | 0.4706% | 0.011184 | 0% | - | 0.131% | 0.003113 | 0% | - | -7.517% | -0.17864 | 0.05392% | 0.0012814 | 0.0694% | 0.0016492 | 0% | - | 0.007411% | 0.00017612 | 0.2907% | 0.0069088 | -0.2169% | -0.0051543 | -0.07417% | -0.0017625 | 3.675% | 0.085428 | 11.62% | 0.28286
HV Sub HH Metered |  |  | 0.8677% | 0.01374 | -1.036% | -0.01641 | 0% | - | 0.4009% | 0.0063473 | 0% | - | -12.94% | -0.20489 | 0.07781% | 0.001232 | -6.776% | -0.10729 | 0% | - | 0.02245% | 0.0003555 | 2.253% | 0.035668 | 7.613% | 0.12055 | 0.0822% | 0.0013016 | 9.543% | 0.15111 | - | -
NHH UMS |  |  | - | 0.008 | -0.1213% | -0.005 | 0% | - | 0.02426% | 0.001 | 0% | - | -10.75% | -0.443 | 0.04852% | 0.002 | 1.528% | 0.063 | 0% | - | -0.02426% | -0.001 | -0.9219% | -0.038 | 0% | - | 0.02426% | 0.001 | 3.542% | 0.146 | 11.62% | 0.479
LV UMS (Pseudo HH Metered) |  |  | - | 0.0079868 | -0.1163% | -0.0043841 | 0% | - | 0% | - | 0% | - | -10.61% | -0.40021 | 0.03161% | 0.0011921 | 1.794% | 0.067636 | 0% | - | -0.01598% | -0.00060265 | 0.9816% | 0.037013 | -2.86% | -0.10783 | 0.03706% | 0.0013974 | 135% | 2.5501 | 29.21% | 0.50517
|  |  | 0.8677% |  | 0.4706% |  | 0% |  | 0.4009% |  | 0% |  | 5.056% |  | 0.0947% |  | 2.579% |  | 0% |  | 3.441% |  | 2.881% |  | 7.613% |  | 0.0822% |  | 135% |  | 29.21%
Comment |  |  | Model updated to reflect current position |  | Updated to reflect current position |  | No Change |  | Updated to represent the published losses for 2012/13 |  | No Change |  | Load characteristics were updated to reflect the three year rolling average |  | Updated to represent the latest forecast exit charge position based on information available from NGET, Negligable impact |  | Updated to reflect the latest busisness forecasts |  | No Change |  | Data updated to reflect the three year rolling average |  | Updated to reflect latest data |  | Updated to reflect latest data |  | Updated to reflect latest data |  | Updated to represent the latest business expectations. Impacts could be significant as customers respond to macroeconomic signals. |  | Profiled Allowed Revenue is known going forward.
WSC YoY Tariff Disturbance Analysis - Northern Powergrid (Northeast)
Instructions
Starting with the current year's CDCM (with values)
Transfer each of the inputs from the CDCM indicatives in turn noting the cumulative affect in tariff changes. This table captures those changes
WSC YoY Tariff Disturbance Analysis - Scottish Hydro Electric Power Distribution (SHEPD)
Instructions
Starting with the current year's CDCM (with values)
Transfer each of the inputs from the CDCM indicatives in turn noting the cumulative affect in tariff changes. This table captures those changes

## SHEPD Summary
DNO : Scottish Hydro Electric Power Distribution
ALL DNO's CDCM CHARGES - Effective from April 2012 - ACTUALS LV/HV Charges | [10 empty] | Commentary
| Open LLFCs | PCs | Unit rate 1 p/kWh | Unit rate 2 p/kWh | Unit rate 3 p/kWh | Fixed charge p/MPAN/day | Capacity charge p/kVA/day | Reactive power charge p/kVArh | Excess capacity charge (p/kVA) | Closed LLFCs | average p/kWh this year | average p/kWh last year | Percentage change % | Typical Bill | Main drivers for change
Domestic Unrestricted | 100, 300, 120, 320, 105, 305, 125, 325, 106, 126 | 1 | 3.56 |  | 0 | 6.25 | 0 | 0 |  |  | 4.1262 | 3.3305 | 23.89% | 166.2355 | Revised revenue allowances and volume forecasts
Domestic Two Rate | 101, 301, 121, 321, 127-128 | 2 | 4.12 | 2.139 |  | 6.25 | 0 | 0 |  |  | 3.3303 | 2.5513 | 30.53% | 275.6412 | Revised revenue allowances and volume forecasts
Domestic Off Peak (related MPAN) | 102, 302, 122, 322 | 2 | 1.593 |  |  |  | 0 | 0 |  | 104, 304, 124, 324 | 1.593 | 1.489 | 6.985% | 103.1961 | Revised LAF values and revenue allowances
Small Non Domestic Unrestricted | 150, 350, 170, 370, 177, 153, 353, 173, 373, 154, 354, 174, 374, 156, 356, 176, 376 | 3 | 2.972 |  |  | 9.72 | 0 | 0 |  |  | 3.1973 | 2.6191 | 22.07% | 503.5811 | Revised Allowed revenues and load characteristics
Small Non Domestic Two Rate | 151, 351, 171, 371, 178 | 4 | 4.15 | 1.034 |  | 9.72 | 0 | 0 |  |  | 2.9924 | 2.2901 | 30.66% | 792.2609 | Revised Allowed revenues and load characteristics
Small Non Domestic Off Peak (related MPAN) | 152, 352, 172, 372 | 4 | 1.431 |  |  |  | 0 | 0 |  | 155, 355, 175, 375 | 1.431 | 1.319 | 8.491% | 168.1659 | Revised Allowed revenues and peaking probabilities
LV Medium Non-Domestic | 501 | 5-8 | 3.407 | 1.118 |  | 60.6 | 0 | 0 |  | 502 | 3.0146 | 2.3384 | 28.92% | 3771.7927 | Revised Allowed revenues and load characteristics
LV Sub Medium Non-Domestic | 504 | 5-8 | 2.041 | 0.675 |  | 7.62 | 0 | 0
HV Medium Non-Domestic |  | 5-8 | 1.943 | 0.507 |  | 569.36 | 0 | 0 |  | 601-602 | 3.2132 | 2.8426 | 13.03% | 3940.1383 | Revised Allowed revenues and load characteristics
LV HH Metered | 500 | 0 | 6.387 | 1.865 | 0.535 | 19.34 | 3.48 | 0.412 | 3.48 |  | 2.8788 | 2.621 | 9.833% | 12650.5193 | Revised revenue allowances and volume forecasts
LV Sub HH Metered | 505 | 0 | 5.237 | 1.554 | 0.483 | 7.62 | 6.31 | 0.326 | 6.31 |  | 2.8934 | 12.1289 | -76.14% | 57009.4212 | Revised volume forecasts and revenue allowances
HV HH Metered | 600 | 0 | 3.695 | 1.115 | 0.372 | 185.62 | 9.22 | 0.233 | 9.22 |  | 2.6366 | 2.3797 | 10.8% | 60472.2761 | Revised LAF values and load Characteristics
HV Sub HH Metered | 605 | 0 | 2.959 | 0.905 | 0.319 | 312.09 | 6.16 | 0.206 | 6.16 |  |  | 1.5837 | -100% |  | Revised revenue allowances and otex
NHH UMS | 800-803 | 1&8 | 4.335 |  |  |  | 0 | 0 |  |  | 4.335 | 4.122 | 5.167% | 296.702 | Revised revenue allowances and volume forecasts
LV UMS (Pseudo HH Metered) | 804 | 0 | 17.176 | 5.478 | 2.02 |  | 0 | 0 |  |  | 4.3866 | 3.7707 | 16.33% | 444847.9151 | Revised revenue allowances and volume forecasts
LV Generation NHH | 951 | 8 | -0.916 |  |  |  | 0 | 0 |  |  | -0.916 | -0.864 | 6.019% | -105.0493
LV Sub Generation NHH | 952 | 8 | -0.816 |  |  |  | 0 | 0 |  |  |  | -0.769 | -100%
LV Generation Intermittent | 1, 909 | 0 | -0.916 |  |  |  | 0 | 0.195 |  |  | -0.916 | -0.86382 | 6.04% | -9367.8022
LV Generation Non-Intermittent | 2 | 0 | -3.065 | -0.845 | -0.171 |  | 0 | 0.195 |  |  | -0.84804 | -0.87961 | -3.59% | -13336.576
LV Sub Generation Intermittent | 3 | 0 | -0.816 |  |  |  | 0 | 0.17
LV Sub Generation Non-Intermittent | 4 | 0 | -2.728 | -0.753 | -0.154 |  | 0 | 0.17 |  |  | -0.75055 |  |  | -3639.3606
HV Generation Intermittent | 5, 910 | 0 | -0.422 |  |  | 229.88 | 0 | 0.154 |  |  | -0.3954 | -0.37962 | 4.156% | -12471.9319
HV Generation Non-Intermittent | 6 | 0 | -1.393 | -0.389 | -0.086 | 229.88 | 0 | 0.154 |  |  | -0.43681 | -0.43905 | -0.5115% | -44509.2005
HV Sub Generation Non-Intermittent | 8, 520, 522-524, 528 | 0 | -0.797 | -0.227 | -0.056 | 229.88 | 0 | 0.047 |  |  |  | -0.26236 | -100%
HV Sub Generation Intermittent | 7, 521, 525-527 | 0 | -0.246 |  |  | 229.88 | 0 | 0.047 |  |  |  | -0.20944 | -100%