## ENWL 1415
Electricity North West: illustrative impact of DCP 133
| 500MW Data (14/15 Base) | HIDAM Data
| Baseline value | New value | Change | Percentage change
Table 1017 diversity allowance: GSPs | 8.478% | 8.478% | 0% | 0%
Table 1017 diversity allowance: 132kV | 4.308% | 14.25% | 9.945% | 230.8%
Table 1017 diversity allowance: EHV | 8.501% | 4.996% | -3.505% | -41.23%
Table 1017 diversity allowance: HV | 33.41% | 88.02% | 54.61% | 163.5%
Table 1018 proportion through 132kV/HV | 0% | 0% | 0%
Table 1019 Network model GSP peak demand (MW) | 500 | 500 | 0 | 0%
Table 1020 Gross asset cost (£): 132kV | 69440518 | 86758645 | 17318127 | 24.94%
Table 1020 Gross asset cost (£): 132kV/EHV | 36438520 | 15973000 | -20465520 | -56.16%
Table 1020 Gross asset cost (£): EHV | 79532173 | 92423988 | 12891815 | 16.21%
Table 1020 Gross asset cost (£): EHV/HV | 64113475 | 31562000 | -32551475 | -50.77%
Table 1020 Gross asset cost (£): 132kV/HV | 0 | 0 | 0
Table 1020 Gross asset cost (£): HV | 117354064 | 135746706 | 18392642 | 15.67%
Table 1020 Gross asset cost (£): HV/LV | 94490955 | 51831512 | -42659443 | -45.15%
Table 1020 Gross asset cost (£): LV circuits | 62237013 | 155397130 | 93160117 | 149.7%
Total asset value | 523606718 | 569692981 | 46086263 | 8.802%

## ENWL 1516
Electricity North West: illustrative impact of DCP 133
| 500MW Data (15/16 Base) | HIDAM Data
| Baseline value | New value | Change | Percentage change
Table 1017 diversity allowance: GSPs | 8.478% | 8.478% | 0% | 0%
Table 1017 diversity allowance: 132kV | 4.308% | 14.25% | 9.945% | 230.8%
Table 1017 diversity allowance: EHV | 8.501% | 4.996% | -3.505% | -41.23%
Table 1017 diversity allowance: HV | 33.41% | 88.02% | 54.61% | 163.5%
Table 1018 proportion through 132kV/HV | 0% | 0% | 0%
Table 1019 Network model GSP peak demand (MW) | 500 | 500 | 0 | 0%
Table 1020 Gross asset cost (£): 132kV | 83368103 | 86758645 | 3390542 | 4.067%
Table 1020 Gross asset cost (£): 132kV/EHV | 34102423 | 15973000 | -18129423 | -53.16%
Table 1020 Gross asset cost (£): EHV | 84319183 | 92423988 | 8104805 | 9.612%
Table 1020 Gross asset cost (£): EHV/HV | 61366614 | 31562000 | -29804614 | -48.57%
Table 1020 Gross asset cost (£): 132kV/HV | 0 | 0 | 0
Table 1020 Gross asset cost (£): HV | 107407524 | 135746706 | 28339182 | 26.38%
Table 1020 Gross asset cost (£): HV/LV | 88717504 | 51831512 | -36885992 | -41.58%
Table 1020 Gross asset cost (£): LV circuits | 56877258 | 155397130 | 98519872 | 173.2%
Total asset value | 516158609 | 569692981 | 53534372 | 10.37%