## WPD South West
WPD South West: illustrative impact of DCP 133
| Baseline value | New value | Change | Percentage change
Table 1017 diversity allowance: GSPs | 2.2% | 2.2% | 0% | 0%
Table 1017 diversity allowance: 132kV | 3.1% | 1.979% | -1.121% | -36.15%
Table 1017 diversity allowance: EHV | 7.5% | 6.51% | -0.9902% | -13.2%
Table 1017 diversity allowance: HV | 37% | 55.64% | 18.64% | 50.38%
Table 1018 proportion through 132kV/HV |  |  | 0%
Table 1019 Network model GSP peak demand (MW) | 500 | 500 | 0 | 0%
Table 1020 Gross asset cost (£): 132kV | 105833335.3598 | 79980380.8369 | -25852954.523 | -24.43%
Table 1020 Gross asset cost (£): 132kV/EHV | 15763212.1061 | 17914757.1201 | 2151545.014 | 13.65%
Table 1020 Gross asset cost (£): EHV | 46510205.4597 | 32368681.5397 | -14141523.92 | -30.41%
Table 1020 Gross asset cost (£): EHV/HV | 37179765.2824 | 33985982.055 | -3193783.2274 | -8.59%
Table 1020 Gross asset cost (£): 132kV/HV | 0 | 0 | 0
Table 1020 Gross asset cost (£): HV | 155422237.3656 | 96944957.754 | -58477279.6116 | -37.62%
Table 1020 Gross asset cost (£): HV/LV | 60655664.0284 | 39064705.7017 | -21590958.3267 | -35.6%
Table 1020 Gross asset cost (£): LV circuits | 135264477.9031 | 91788573.6479 | -43475904.2552 | -32.14%
Total asset value | 556628897.5051 | 392048038.6553 | -164580858.8498 | -29.57%
Gross asset cost (%): 132kV | 19.01% | 20.4% | 1.387% | 7.297%
Gross asset cost (%): 132kV/EHV | 2.832% | 4.57% | 1.738% | 61.36%
Gross asset cost (%): EHV | 8.356% | 8.256% | -0.09939% | -1.189%
Gross asset cost (%): EHV/HV | 6.679% | 8.669% | 1.989% | 29.78%
Gross asset cost (%): 132kV/HV | 0% | 0% | 0%
Gross asset cost (%): HV | 27.92% | 24.73% | -3.194% | -11.44%
Gross asset cost (%): HV/LV | 10.9% | 9.964% | -0.9327% | -8.559%
Gross asset cost (%): LV circuits | 24.3% | 23.41% | -0.8881% | -3.655%

## WPD South Wales
WPD South Wales: illustrative impact of DCP 133
| Baseline value | New value | Change | Percentage change
Table 1017 diversity allowance: GSPs | 6.383% | 6.383% | 0% | 0%
Table 1017 diversity allowance: 132kV | 5.3% | 5.885% | 0.5845% | 11.03%
Table 1017 diversity allowance: EHV | 9.9% | 3.765% | -6.135% | -61.97%
Table 1017 diversity allowance: HV | 37% | 53% | 16% | 43.24%
Table 1018 proportion through 132kV/HV | 30% | 31.43% | 1.43% | 4.767%
Table 1019 Network model GSP peak demand (MW) | 500 | 500 | 0 | 0%
Table 1020 Gross asset cost (£): 132kV | 123290662.2245 | 82861126.1543 | -40429536.0702 | -32.79%
Table 1020 Gross asset cost (£): 132kV/EHV | 11408190.1604 | 12849344.3547 | 1441154.1943 | 12.63%
Table 1020 Gross asset cost (£): EHV | 39713623.7238 | 22096592.0475 | -17617031.6763 | -44.36%
Table 1020 Gross asset cost (£): EHV/HV | 27462026.8238 | 24056290.6339 | -3405736.1899 | -12.4%
Table 1020 Gross asset cost (£): 132kV/HV | 8835479.482 | 9693016.8639 | 857537.3819 | 9.706%
Table 1020 Gross asset cost (£): HV | 155569906.088 | 115093234.4334 | -40476671.6546 | -26.02%
Table 1020 Gross asset cost (£): HV/LV | 54881718.3434 | 42374158.0688 | -12507560.2746 | -22.79%
Table 1020 Gross asset cost (£): LV circuits | 117702639.0371 | 96285079.2121 | -21417559.8249 | -18.2%
Total asset value | 538864245.883 | 405308841.7686 | -133555404.1144 | -24.78%
Gross asset cost (%): 132kV | 22.88% | 20.44% | -2.436% | -10.65%
Gross asset cost (%): 132kV/EHV | 2.117% | 3.17% | 1.053% | 49.75%
Gross asset cost (%): EHV | 7.37% | 5.452% | -1.918% | -26.03%
Gross asset cost (%): EHV/HV | 5.096% | 5.935% | 0.839% | 16.46%
Gross asset cost (%): 132kV/HV | 1.64% | 2.392% | 0.7519% | 45.86%
Gross asset cost (%): HV | 28.87% | 28.4% | -0.4735% | -1.64%
Gross asset cost (%): HV/LV | 10.18% | 10.45% | 0.2701% | 2.652%
Gross asset cost (%): LV circuits | 21.84% | 23.76% | 1.913% | 8.759%

## WPD Mid East
WPD Mid East: illustrative impact of DCP 133
| Baseline value | New value | Change | Percentage change
Table 1017 diversity allowance: GSPs | 2.471% | 2.471% | 0% | 0%
Table 1017 diversity allowance: 132kV | 4.501% | 1.713% | -2.788% | -61.94%
Table 1017 diversity allowance: EHV | 7.902% | 7.086% | -0.8157% | -10.32%
Table 1017 diversity allowance: HV | 34% | 41.81% | 7.809% | 22.97%
Table 1018 proportion through 132kV/HV | 7.504% | 4.35% | -3.154% | -42.03%
Table 1019 Network model GSP peak demand (MW) | 500 | 500 | 0 | 0%
Table 1020 Gross asset cost (£): 132kV | 80687373 | 126018760.8254 | 45331387.8254 | 56.18%
Table 1020 Gross asset cost (£): 132kV/EHV | 27014302 | 24309512.1646 | -2704789.8354 | -10.01%
Table 1020 Gross asset cost (£): EHV | 38536126 | 54806425.1794 | 16270299.1794 | 42.22%
Table 1020 Gross asset cost (£): EHV/HV | 54028073 | 44581884.5537 | -9446188.4463 | -17.48%
Table 1020 Gross asset cost (£): 132kV/HV | 3931805 | 2353705.0953 | -1578099.9047 | -40.14%
Table 1020 Gross asset cost (£): HV | 95303265 | 83790554.1399 | -11512710.8601 | -12.08%
Table 1020 Gross asset cost (£): HV/LV | 62053432 | 51249107.628 | -10804324.372 | -17.41%
Table 1020 Gross asset cost (£): LV circuits | 68876299 | 83417358.8765 | 14541059.8765 | 21.11%
Total asset value | 430430675 | 470527308.4629 | 40096633.4629 | 9.315%
Gross asset cost (%): 132kV | 18.75% | 26.78% | 8.037% | 42.87%
Gross asset cost (%): 132kV/EHV | 6.276% | 5.166% | -1.11% | -17.68%
Gross asset cost (%): EHV | 8.953% | 11.65% | 2.695% | 30.1%
Gross asset cost (%): EHV/HV | 12.55% | 9.475% | -3.077% | -24.52%
Gross asset cost (%): 132kV/HV | 0.9135% | 0.5002% | -0.4132% | -45.24%
Gross asset cost (%): HV | 22.14% | 17.81% | -4.334% | -19.57%
Gross asset cost (%): HV/LV | 14.42% | 10.89% | -3.525% | -24.45%
Gross asset cost (%): LV circuits | 16% | 17.73% | 1.727% | 10.79%

## WPD Mid West
WPD Mid West: illustrative impact of DCP 133
| Baseline value | New value | Change | Percentage change
Table 1017 diversity allowance: GSPs | 5.649% | 5.649% | 0% | 0%
Table 1017 diversity allowance: 132kV | 2.557% | 1.072% | -1.484% | -58.06%
Table 1017 diversity allowance: EHV | 2.663% | 1.716% | -0.9469% | -35.56%
Table 1017 diversity allowance: HV | 34% | 18.02% | -15.98% | -46.99%
Table 1018 proportion through 132kV/HV | 69.26% | 73.23% | 3.974% | 5.738%
Table 1019 Network model GSP peak demand (MW) | 500 | 500 | 0 | 0%
Table 1020 Gross asset cost (£): 132kV | 69289826 | 79362461.0971 | 10072635.0971 | 14.54%
Table 1020 Gross asset cost (£): 132kV/EHV | 10805721 | 5972361.5689 | -4833359.4311 | -44.73%
Table 1020 Gross asset cost (£): EHV | 12445869 | 15439187.079 | 2993318.079 | 24.05%
Table 1020 Gross asset cost (£): EHV/HV | 21265349 | 12518909.4775 | -8746439.5225 | -41.13%
Table 1020 Gross asset cost (£): 132kV/HV | 19659026 | 36210847.6205 | 16551821.6205 | 84.19%
Table 1020 Gross asset cost (£): HV | 108538973 | 72622135.3337 | -35916837.6663 | -33.09%
Table 1020 Gross asset cost (£): HV/LV | 68061984 | 41379890.4126 | -26682093.5874 | -39.2%
Table 1020 Gross asset cost (£): LV circuits | 94672478 | 58295315.1629 | -36377162.8371 | -38.42%
Total asset value | 404739226 | 321801107.7522 | -82938118.2478 | -20.49%
Gross asset cost (%): 132kV | 17.12% | 24.66% | 7.542% | 44.06%
Gross asset cost (%): 132kV/EHV | 2.67% | 1.856% | -0.8139% | -30.48%
Gross asset cost (%): EHV | 3.075% | 4.798% | 1.723% | 56.02%
Gross asset cost (%): EHV/HV | 5.254% | 3.89% | -1.364% | -25.96%
Gross asset cost (%): 132kV/HV | 4.857% | 11.25% | 6.395% | 131.7%
Gross asset cost (%): HV | 26.82% | 22.57% | -4.25% | -15.85%
Gross asset cost (%): HV/LV | 16.82% | 12.86% | -3.957% | -23.53%
Gross asset cost (%): LV circuits | 23.39% | 18.12% | -5.276% | -22.55%