## UKPN EPN
Eastern Power Networks: illustrative impact of DCP 133
| Baseline value | New value | Change | Percentage change
Table 1017 diversity allowance: GSPs | 1.5% | 1.5% | 0% | 0%
Table 1017 diversity allowance: 132kV | 1.3% | 1.266% | -0.0343% | -2.638%
Table 1017 diversity allowance: EHV | 6.8% | 6.818% | 0.0182% | 0.2676%
Table 1017 diversity allowance: HV | 18% | 78.85% | 60.85% | 338.1%
Table 1018 proportion through 132kV/HV | 14% | 13.43% | -0.5658% | -4.041%
Table 1019 Network model GSP peak demand (MW) | 500 | 500 | 0 | 0%
Table 1020 Gross asset cost (£): 132kV | 123092152 | 132195680.1633 | 9103528.1633 | 7.396% | 0% | #DIV/0!
Table 1020 Gross asset cost (£): 132kV/EHV | 19080154 | 17488784 | -1591370 | -8.34% | 0% | #DIV/0!
Table 1020 Gross asset cost (£): EHV | 100509454 | 130004950.3319 | 29495496.3319 | 29.35% | 0% | #DIV/0!
Table 1020 Gross asset cost (£): EHV/HV | 14803568 | 22315611 | 7512043 | 50.74% | 0% | #DIV/0!
Table 1020 Gross asset cost (£): 132kV/HV | 3773459 | 4720424 | 946965 | 25.1% | 0% | #DIV/0!
Table 1020 Gross asset cost (£): HV | 112725087 | 119676492.5439 | 6951405.5439 | 6.167% | 0% | #DIV/0!
Table 1020 Gross asset cost (£): HV/LV | 65370232 | 40029156 | -25341076 | -38.77% | 0% | #DIV/0!
Table 1020 Gross asset cost (£): LV circuits | 134548959 | 152319554.1473 | 17770595.1473 | 13.21% | 0% | #DIV/0!
Total asset value | 573903065 | 618750652.1863 | 44847587.1863 | 7.814%
Gross asset cost (%): 132kV | 21.45% | 21.36% | -0.08331% | -0.3884%
Gross asset cost (%): 132kV/EHV | 3.325% | 2.826% | -0.4982% | -14.98%
Gross asset cost (%): EHV | 17.51% | 21.01% | 3.498% | 19.97%
Gross asset cost (%): EHV/HV | 2.579% | 3.607% | 1.027% | 39.82%
Gross asset cost (%): 132kV/HV | 0.6575% | 0.7629% | 0.1054% | 16.03%
Gross asset cost (%): HV | 19.64% | 19.34% | -0.3002% | -1.528%
Gross asset cost (%): HV/LV | 11.39% | 6.469% | -4.921% | -43.2%
Gross asset cost (%): LV circuits | 23.44% | 24.62% | 1.173% | 5.002%

## UKPN LPN
London Power Networks: illustrative impact of DCP 133
| Baseline value | New value | Change | Percentage change
Table 1017 diversity allowance: GSPs | 3% | 3% | 0% | 0%
Table 1017 diversity allowance: 132kV | 4.7% | 3.428% | -1.272% | -27.06%
Table 1017 diversity allowance: EHV | 1.5% | 1.662% | 0.1623% | 10.82%
Table 1017 diversity allowance: HV | 20% | 48.88% | 28.88% | 144.4%
Table 1018 proportion through 132kV/HV | 69% | 78.73% | 9.725% | 14.09%
Table 1019 Network model GSP peak demand (MW) | 500 | 500 | 0 | 0%
Table 1020 Gross asset cost (£): 132kV | 244113739 | 132555425.6937 | -111558313.3063 | -45.7% | 0% | #DIV/0!
Table 1020 Gross asset cost (£): 132kV/EHV | 5069980 | 5710939 | 640959 | 12.64% | 0% | #DIV/0!
Table 1020 Gross asset cost (£): EHV | 19730350 | 35589835.7421 | 15859485.7421 | 80.38% | 0% | #DIV/0!
Table 1020 Gross asset cost (£): EHV/HV | 4597814 | 5088190.8 | 490376.8 | 10.67% | 0% | #DIV/0!
Table 1020 Gross asset cost (£): 132kV/HV | 20724995 | 24822271.65 | 4097276.65 | 19.77% | 0% | #DIV/0!
Table 1020 Gross asset cost (£): HV | 181874932 | 159382410.7627 | -22492521.2373 | -12.37% | 0% | #DIV/0!
Table 1020 Gross asset cost (£): HV/LV | 70889369 | 33481368 | -37408001 | -52.77% | 0% | #DIV/0!
Table 1020 Gross asset cost (£): LV circuits | 118704439 | 119199384.0391 | 494945.0391 | 0.417% | 0% | #DIV/0!
Total asset value | 665705618 | 515829825.6876 | -149875792.3124 | -22.51%
Gross asset cost (%): 132kV | 36.67% | 25.7% | -10.97% | -29.92%
Gross asset cost (%): 132kV/EHV | 0.7616% | 1.107% | 0.3455% | 45.37%
Gross asset cost (%): EHV | 2.964% | 6.9% | 3.936% | 132.8%
Gross asset cost (%): EHV/HV | 0.6907% | 0.9864% | 0.2957% | 42.82%
Gross asset cost (%): 132kV/HV | 3.113% | 4.812% | 1.699% | 54.57%
Gross asset cost (%): HV | 27.32% | 30.9% | 3.578% | 13.09%
Gross asset cost (%): HV/LV | 10.65% | 6.491% | -4.158% | -39.05%
Gross asset cost (%): LV circuits | 17.83% | 23.11% | 5.277% | 29.59%

## UKPN SPN
South Eastern Power Networks: illustrative impact of DCP 133
| Baseline value | New value | Change | Percentage change
Table 1017 diversity allowance: GSPs | 0.4% | 0.4% | 0% | 0%
Table 1017 diversity allowance: 132kV | 2.7% | 2.6% | -0.1% | -3.704%
Table 1017 diversity allowance: EHV | 7.3% | 7.278% | -0.02189% | -0.2999%
Table 1017 diversity allowance: HV | 15% | 98.74% | 83.74% | 558.3%
Table 1018 proportion through 132kV/HV | 14% | 13.42% | -0.5792% | -4.137%
Table 1019 Network model GSP peak demand (MW) | 500 | 500 | 0 | 0%
Table 1020 Gross asset cost (£): 132kV | 114626059 | 120167242.1187 | 5541183.1187 | 4.834% | 0% | #DIV/0!
Table 1020 Gross asset cost (£): 132kV/EHV | 18809239 | 17488784 | -1320455 | -7.02% | 0% | #DIV/0!
Table 1020 Gross asset cost (£): EHV | 71364325 | 103098315.4362 | 31733990.4362 | 44.47% | 0% | #DIV/0!
Table 1020 Gross asset cost (£): EHV/HV | 11958961 | 22315611 | 10356650 | 86.6% | 0% | #DIV/0!
Table 1020 Gross asset cost (£): 132kV/HV | 3773459 | 4720424 | 946965 | 25.1% | 0% | #DIV/0!
Table 1020 Gross asset cost (£): HV | 100085616 | 117753446.6044 | 17667830.6044 | 17.65% | 0% | #DIV/0!
Table 1020 Gross asset cost (£): HV/LV | 60704967 | 53694283 | -7010684 | -11.55% | 0% | #DIV/0!
Table 1020 Gross asset cost (£): LV circuits | 99217603 | 193626017.7794 | 94408414.7794 | 95.15% | 0% | #DIV/0!
Total asset value | 480540229 | 632864123.9387 | 152323894.9387 | 31.7%
Gross asset cost (%): 132kV | 23.85% | 18.99% | -4.866% | -20.4%
Gross asset cost (%): 132kV/EHV | 3.914% | 2.763% | -1.151% | -29.4%
Gross asset cost (%): EHV | 14.85% | 16.29% | 1.44% | 9.696%
Gross asset cost (%): EHV/HV | 2.489% | 3.526% | 1.037% | 41.69%
Gross asset cost (%): 132kV/HV | 0.7853% | 0.7459% | -0.03937% | -5.014%
Gross asset cost (%): HV | 20.83% | 18.61% | -2.221% | -10.67%
Gross asset cost (%): HV/LV | 12.63% | 8.484% | -4.148% | -32.84%
Gross asset cost (%): LV circuits | 20.65% | 30.6% | 9.948% | 48.18%