## NPG Northeast
Northern Powergrid Northeast: illustrative impact of DCP 133
| Baseline value | New value | Change | Percentage change
Table 1017 diversity allowance: GSPs | 14.54% | 14.54% | 0% | 0%
Table 1017 diversity allowance: 132kV | 27.24% | 5.598% | -21.64% | -79.45%
Table 1017 diversity allowance: EHV | 21.27% | 31.02% | 9.747% | 45.82%
Table 1017 diversity allowance: HV | 34% | 71.81% | 37.81% | 111.2%
Table 1018 proportion through 132kV/HV | 0% | 0% | 0%
Table 1019 Network model GSP peak demand (MW) | 500 | 500 | 0 | 0%
Table 1020 Gross asset cost (£): 132kV | 41031057.5026 | 44482297.8013 | 3451240.2986 | 8.411%
Table 1020 Gross asset cost (£): 132kV/EHV | 16462015.1738 | 20187500 | 3725484.8262 | 22.63%
Table 1020 Gross asset cost (£): EHV | 87366305.7411 | 111998256.0399 | 24631950.2988 | 28.19%
Table 1020 Gross asset cost (£): EHV/HV | 23901769.539 | 39000000 | 15098230.461 | 63.17%
Table 1020 Gross asset cost (£): 132kV/HV | 0 | 0 | 0
Table 1020 Gross asset cost (£): HV | 125247239.9678 | 85531907.9726 | -39715331.9952 | -31.71%
Table 1020 Gross asset cost (£): HV/LV | 60562831.412 | 75818250 | 15255418.588 | 25.19%
Table 1020 Gross asset cost (£): LV circuits | 71720842.823 | 79218838.1151 | 7497995.2921 | 10.45%
Total asset value | 426292062.1592 | 456237049.9288 | 29944987.7696 | 7.025%

## NPG Yorkshire
Northern Powergrid Yorkshire: illustrative impact of DCP 133
| Baseline value | New value | Change | Percentage change
Table 1017 diversity allowance: GSPs | 7.818% | 7.818% | 0% | 0%
Table 1017 diversity allowance: 132kV | 12.08% | 4.926% | -7.151% | -59.21%
Table 1017 diversity allowance: EHV | 22.29% | 26.16% | 3.866% | 17.34%
Table 1017 diversity allowance: HV | 34% | 75.71% | 41.71% | 122.7%
Table 1018 proportion through 132kV/HV | 0% | 0% | 0%
Table 1019 Network model GSP peak demand (MW) | 500 | 500 | 0 | 0%
Table 1020 Gross asset cost (£): 132kV | 49032961.7202 | 43341009.03 | -5691952.6903 | -11.61%
Table 1020 Gross asset cost (£): 132kV/EHV | 13528526.1818 | 20187500 | 6658973.8182 | 49.22%
Table 1020 Gross asset cost (£): EHV | 82440683.9053 | 83515901.2434 | 1075217.3381 | 1.304%
Table 1020 Gross asset cost (£): EHV/HV | 22643339.1028 | 39000000 | 16356660.8972 | 72.24%
Table 1020 Gross asset cost (£): 132kV/HV | 0 | 0 | 0
Table 1020 Gross asset cost (£): HV | 98996026.0428 | 67905730.2076 | -31090295.8351 | -31.41%
Table 1020 Gross asset cost (£): HV/LV | 59144641.7112 | 71184700 | 12040058.2888 | 20.36%
Table 1020 Gross asset cost (£): LV circuits | 76460929.4498 | 90285450.6532 | 13824521.2034 | 18.08%
Total asset value | 402247108.1138 | 415420291.1342 | 13173183.0204 | 3.275%