## SEPD
SEPD: illustrative impact of DCP 133 option 1017-18-20
| Baseline value | New value | Change | Percentage change
Table 1017 diversity allowance: GSPs | 1.861% | 1.861% | 0% | 0%
Table 1017 diversity allowance: 132kV | 4.3% | 5.638% | 1.338% | 31.13%
Table 1017 diversity allowance: EHV | 6.513% | 5.609% | -0.9047% | -13.89%
Table 1017 diversity allowance: HV | 37% | 69.57% | 32.57% | 88.02%
Table 1018 proportion through 132kV/HV | 0% | 9.897% | 9.897%
Table 1019 Network model GSP peak demand (MW) | 500 | 500 | 0 | 0%
Table 1020 Gross asset cost (£): 132kV | 66468400 | 93988354.0774 | 27519954.0774 | 41.4%
Table 1020 Gross asset cost (£): 132kV/EHV | 17885050 | 8610000 | -9275050 | -51.86%
Table 1020 Gross asset cost (£): EHV | 42243600 | 81936076.0011 | 39692476.0011 | 93.96%
Table 1020 Gross asset cost (£): EHV/HV | 38598645 | 26157302.01 | -12441342.99 | -32.23%
Table 1020 Gross asset cost (£): 132kV/HV | 0 | 2130885 | 2130885
Table 1020 Gross asset cost (£): HV | 147634901.1 | 84168415.2712 | -63466485.8288 | -42.99%
Table 1020 Gross asset cost (£): HV/LV | 53675203.5 | 31562326 | -22112877.5 | -41.2%
Table 1020 Gross asset cost (£): LV circuits | 68048721 | 81385205.574 | 13336484.574 | 19.6%

## SHEPD
SHEPD: illustrative impact of DCP 133 option 1017-18-20
| Baseline value | New value | Change | Percentage change
Table 1017 diversity allowance: GSPs | 8% | 8% | 0% | 0%
Table 1017 diversity allowance: 132kV |  | 0% | 0%
Table 1017 diversity allowance: EHV | 10.3% | 11.59% | 1.295% | 12.57%
Table 1017 diversity allowance: HV | 37% | 67.14% | 30.14% | 81.45%
Table 1018 proportion through 132kV/HV | 0% | 0% | 0%
Table 1019 Network model GSP peak demand (MW) | 500 | 500 | 0 | 0%
Table 1020 Gross asset cost (£): 132kV |  | 0 | 0
Table 1020 Gross asset cost (£): 132kV/EHV |  | 0 | 0
Table 1020 Gross asset cost (£): EHV | 54228670 | 183504158.033 | 129275488.033 | 238.4%
Table 1020 Gross asset cost (£): EHV/HV | 61734185 | 45882976 | -15851209 | -25.68%
Table 1020 Gross asset cost (£): 132kV/HV |  | 0 | 0
Table 1020 Gross asset cost (£): HV | 175384877.13 | 251999471.765 | 76614594.635 | 43.68%
Table 1020 Gross asset cost (£): HV/LV | 45544728.6 | 32882364 | -12662364.6 | -27.8%
Table 1020 Gross asset cost (£): LV circuits | 79508520 | 85841061.4137 | 6332541.4137 | 7.965%