DCP115

Following the last working group meeting, Michael pulled together legal text and circulated it to some members of the working group on 20 May 2014.

Franck subsequently amended that draft to fully reflect the tracked changes back to the published NTC and circulated that version to the same audience on 27 May 2014.

I have used that as the basis for these drafts. In regard to formatting I have indented any sub-clauses to ease reading.

In circulating DCP115, Franck identified/re-iterated a concern with the use of the terminology “peak import” and “peak export” in Clause 12.3. Instead Franck suggested that Clause12.8 needed to continue to refer to these concepts and that they should be defined therein as they should not, in his view, be in 12.3.

In response to this Matthew expressed concern that 12.3 should make clear that peak or maximum use is not necessarily the half hourly value used in settlements/duos billing and may be for a shorter time period.

Franck then made the point that changes to Clause 12.3 are more relevant to DCP114 than DCP115 and circulated a new draft of DCP114, later on 27 May 2014, that altered Clause 12.3 by inserting a new second sentence as follows “This obligation applies at all times; it is not sufficient to ensure that the quantities of imports or export recorded through settlement metering over periods of half an hour or longer are compliant”

Apart from having a preference for definitions to be in the definitions section, I think referencing peak import and export in the latter part of Clause 12.8 may be inconsistent with not referencing it at the start of that Clause (which in Franck’s draft still referenced the import and/or export of electricity).

I therefore wonder if the points made can be reflected by merely adding “at any time” in 12.8. The attached draft therefore removes Franck’s references to “peak” from 12.8 and inserts “at any time” instead. The inserted phrase is highlighted for ease of reference.

DCP114

Following the last working group meeting, Michael pulled together legal text and circulated it to some members of the working group on 20 May 2014.

Franck subsequently amended that draft to fully reflect the tracked changes back to the published NTC and circulated that version to the same audience on 27 May 2014.

I have used that as the basis for these drafts. In regard to formatting I have indented any sub-clauses to ease reading.

Following some exchanges between Franck and Matthew regarding DCP115 (see above), Franck circulated a revised DCP114 that included changes to Clause 12.3 (also described above).

On reflection I wonder if the points made can be reflected by merely adding “at any time” to the end of the first sentence of Clause 12.3. The inserted phrase is highlighted for ease of reference. This is the only change I have made to the version that Michael had pulled together to reflect the last working group meeting.

Note that references to the import or export of electricity are therefore consistently used throughout Clause 12.