## Cover (hidden)
Consolidated assumptions log
For information
Author | CEPA-TNEI
Client | DCUSA
Model date | 2018-06-08
Description | This workbook sets out a series of assumptions that have been made during redevelopment of the CDCM, EDCM (LRIC and FCP) and PCDM charging models. [CDCM_v1_20180530.xlsx, EDCM-LRIC_v1_20180530.xlsx, EDCM-FCP_v1_20180530.xlsx, PCDM_v1_20180530.xlsx, provided 30/05/2018] Assumptions contained herein also appear in annexes to model guides developed in support of the abovementioned models. These assumptions can be used to help to clarify or serve to amend the DCUSA legal text. During model redevelopment, each logged assumption took precedence over the DCUSA text under the understanding that they would ultimately be reflected in the DCUSA text through a housekeeping change. Material assumptions were approved by DCUSA Ltd with the consent of DNOs.
Disclaimer | This file has been prepared solely for the use and benefit of DCUSA Limited. Neither the authors nor Cambridge Economic Policy Associates/TNEI accept or assume any responsibility or duty of care to any third party. © All rights reserved by Cambridge Economic Policy Associates Ltd (CEPA) and TNEI Services Ltd (TNEI).

## EDCM - LRIC Assumptions Log
Assumptions log
|  | ID | DCUSA text reference | Assumption | Worksheet reference | Description | Type | Justification | Grouping | Proposed Solution | EDCM FCP/LRIC Equivalent
|  | #REF! | Schedules 17/18 | Outputs to other models | CDCM; Outputs to other models | Schedule 16 does not define which parts of the CDCM should be taken as inputs to the EDCM and PCDM. Some of these inputs are defined in Schedules 17/18 - namely paragraphs 9.2 and 15.11 with respect to system simultaneous maximum load and the Diversity Allowance. Where these are defined, they are identified using table numbers from the existing models. We assume firstly that these table references will be updated in Schedules 17/18 to reflect the current table reference numbers, and secondly that the outputs exported to the EDCM and PDCM should match the outputs used by the existing models. For instance, system simultaneous maximum load should be exported to the EDCM before adjusting for standing charges (as per existing CDCM table 2506) and not after adjusting for standing charges (as per existing CDCM table 2611). | Part 2 | Legal text change required to use new model references | CDCM - Housekeeping (minor) | Quick fix: Request CEPA/TNEI to update table references in the model to be used for 2020/21 charges to include the old table reference so that DNOs can still comply with the existing legal text (which specifies table references from the old model) when setting 2020/21 charges. This requires the 'System peak load, all unit rates, total' in CDCM model section 106-C to include in its reference table number 2506, and the 'Adjusted network model cumulative diversity factor' in CDCM model section 102-A to include in its reference table number 2611. Longer term solution: Define outputs to other models in CDCM legal text, and cross-reference these clauses of schedules 17 and 18 to the new clauses in the CDCM
|  | #REF! | Schedule 18 Section 2 | LRIC inputs | EDCM LRIC; LRIC inputs | The model assumes that this is only relevant to the calculation of the power flow inputs. | n/a | No change needed, correct assumption | No Action
|  | #REF! | Schedule 18 Paragraph 6.3 | Power flow inputs | EDCM LRIC; LRIC inputs | The model assumes that demand flows are entered as a negative value and that generation flows are entered as a positive value. | Part 2 | Clarification only | EDCM (LRIC Only) - Housekeeping (minor) | Amend final sentence of para 6.3: 'If the active power flow is generation-dominated (i.e. positive), then PF is replaced with 1'
|  | #REF! | Schedule 18 Paragraph 6.3 | Cluster of linked locations | EDCM LRIC; Charge 1 (LRIC) | The model assumes that a cluster of linked locations may comprise a maximum of eleven points rather than eight (e.g. ten linked locations rather than seven). | Part 2 | Change only made to bring number of locations under open governance to enable parties to increase if necessary | EDCM (LRIC only) - Housekeeping (minor) | Amend para 6.4: 'A Connectee can be assigned to a cluster of up to 11 linked locations. If the Connectee is attached to a cluster of linked locations, the sums of active power flows and reactive power flows at each location are used to calculate PF. If the sum of active power flows is generation-dominated (i.e. positive), then PF is replaced with 1.'
|  | #REF! | Schedule 18 Paragraph 6.3 | Demand dominated | EDCM LRIC; Charge 1 (LRIC) | The model assumes that a site is generation dominated if the sum of active power flows across all linked locations is greater than or equal to zero. | Part 2 | Clarification only | EDCM (LRIC only) - Housekeeping (minor)
|  | #REF! | Schedule 18 Paragraph 8.3 | DSM adjustment | EDCM LRIC; Charge 1 (LRIC), Import super-red | The model assumes that the DSM adjustment can be made to the charges as calculated in Schedule 18 Section 6, rather than to the “raw” LRIC inputs in order to simplify the modelling. This is because the charges are ultimately linearly dependent on the LRIC charge inputs. | n/a | No change needed; order of calculation in model and legal text does not align but with no impact on charges and so no need for change | No Action
|  | #REF! | Schedule 18 Paragraph 8.3 | Super-red DSM adjustment | EDCM LRIC; Import super-red | The model assumes that “the DSM-adjusted remote (or parent and grandparent) element of the LRIC charge 1 is applied to units consumed during the super-red time band” means that the super-red import charge is adjusted for DSM. | Part 2 | Clarification only | EDCM (LRIC and FCP) - Housekeeping (minor) | Amend the last sentence of para 8.3: 'The DSM-adjusted local element of the LRIC charge 1 is applied to the [Maximum] Import Capacity charge, and the DSM-adjusted remote [(or parent and grandparent) ]element of the LRIC charge 1 is applied to [units consumed during ]the super-red unit rate[time band].'
|  | #REF! | Schedule 18 Paragraph 9.2 | Part-year adjustment | EDCM LRIC; Capacities, Transmission | The model assumes that the adjustment for part-year referenced in this paragraph will apply to both the kW/kVA parameter and maximum import capacity. | Part 2 | Clarification only | EDCM (LRIC and FCP) - Housekeeping (minor) | Amend definitions after para 9.2: 'Total EDCM peak time consumption (in kW) calculated by multiplying: (i) the Maximum Import Capacity of each Connectee (if necessary adjusted for Connectees connected for part of the Charging Year by multiplying by the proportion of the year for which the Connectee is expected to be connected); by (ii) the forecast peak-time kW divided by forecast maximum kVA of that Connectee (adjusted for losses to transmission and, if necessary, for Connectees connected for part of the Charging Year by multiplying by the proportion of the super-red period for which the Connectee is expected to be connected) and aggregating across all EDCM Customer demand.'
|  | #REF! | Schedule 18 Paragraph 9.2 | kW/kVA part-year adjustment | EDCM LRIC; Capacities | For a part-year adjustment to super-red kW/kVA, the model assumes that this is calculated by multiplying by the proportion of super-red hours as a customer and dividing by the proportion of the year as a customer. | Part 2 | Clarification only | EDCM (LRIC and FCP) - Housekeeping (minor)
|  | #REF! | Schedule 18 Paragraph 9.2 | Losses to transmission adjustment | EDCM LRIC; Transmission | The model assumes the losses to transmission adjustment only applies to the kW/kVA parameter. | Part 2 | Clarification only | EDCM (LRIC and FCP) - Housekeeping (minor)
|  | #REF! | Schedule 18 Paragraph 10.3 | Part-year adjustment | EDCM LRIC; Capacities | The model assumes that both chargeable capacity and the capacity eligible for GSP credits should be adjusted for part-year connected customers. | Part 1 | The model has historically been inconsistent with the legal text. So arguably part two in that we are just aligning legal text to model. But also arguably part one as, if the model were aligned to the legal text previously, this would have an impact on charges. | EDCM (LRIC and FCP) - Legal text and model mis-aligned | Amend definitions after para 10.3: 'Capacity eligible for credits (in kW) is the capacity that is made available by the generator under the agreement with the DNO, if necessary adjusted for Connectees connected for part of the year by multiplying by the proportion of the year for which the Connectee is expected to be connected. Chargeable Export Capacity (in kVA) is the forecast average value of the maximum export capacity of the generator over the charging year, less any capacity that is exempt from use of system charges in the charging year, if necessary adjusted for Connectees connected for part of the year by multiplying by the proportion of the year for which the Connectee is expected to be connected.'
|  | #REF! | Schedule 18 Paragraph 12.3 | Part-year adjustment to capacity | EDCM LRIC; Capacities | The model assumes that the part-year adjustment to the capacity described here, and all other part-year adjustments to capacity, simply involve multiplying the capacity by the proportion of the days in which the customer is connected. | Part 2 | Clarification only | EDCM (LRIC and FCP) - Housekeeping (minor) | Amend definitions under para 12.3: 'Total Pre-2005 EDCM DG capacity is the aggregate maximum export capacity of all nonexempt EDCM generators that connected before 1 April 2005, adjusted (by multiplying by the proportion of the year for which the generator is expected to be connected) for part-year connected generators. In the case of generators that have subsequently increased their maximum export capacity, the part of their capacity that was added after 1 April 2005 would be ignored. Total 2005–2010 EDCM generation capacity is the sum of the maximum export capacities of all non-exempt EDCM generators that connected between 1 April 2005 and 31 March 2010, adjusted (by multiplying by the proportion of the year for which the generator is expected to be connected) for part-year connected generators. Total Post–2010 EDCM generation capacity is the sum of the maximum export capacities of all non-exempt EDCM generators that connected on or after 1 April 2010, adjusted (by multiplying by the proportion of the year for which the generator is expected to be connected) for part-year connected generators. In the case of generators that originally connected before 1 April 2010 and have increased their maximum export capacity on or after 1 April 2010, the capacity that was added after 1 April 2010 should be included. Total 2005–2010 CDCM generation capacity is the sum of the maximum export capacities of all non-exempt CDCM generators that connected between 1 April 2005 and 31 March 2010, adjusted (by multiplying by the proportion of the year for which the generator is expected to be connected) for part-year connected generators. Total Post–2010 CDCM generation capacity is the sum of the maximum export capacities of all non-exempt CDCM generators that connected on or after 1 April 2010, adjusted (by multiplying by the proportion of the year for which the generator is expected to be connected) for partyear connected generators.'
|  | #REF! | Schedule 18 Paragraph 15.11 | Network asset rate calculation | EDCM LRIC; Asset values | The model assumes that the network asset rate at each voltage level is calculated as the asset values for that voltage level divided by the product of maximum demand at that voltage level and the loss adjustment factor to that voltage level. | Part 2 | Clarification only | EDCM (LRIC and FCP) - Housekeeping (minor) | Amend definitions after para 15.11: 'NAR L is the network asset rate at level L in £/kW based on the 500 MW model calculated as the asset values for that voltage level divided by the product of maximum demand at that voltage level and the loss adjustment factor to that voltage level'
|  | #REF! | Schedule 18 Paragraph 15.11 | Peak time active power consumption in (kW/kVA) | EDCM LRIC; Import capacity | The model assumes that this is a customer specific parameter and is equal to the average forecast super-red kW/kVA. | Part 2 | Clarification only | EDCM (LRIC and FCP) - Housekeeping (minor) | Amend definitions after para 15.11: 'D is the peak time active power consumption for each Connectee in (kW/kVA). This is calculated as the [historical peak-time] super-red kW import divided by [historical maximum] kVA capacity.'
|  | #REF! | Schedule 18 Paragraph 15.13 | NUFs for mixed import-export sites that are generation-dominated | EDCM LRIC; Tariff inputs | The model assumes that the calculation described in this paragraph is carried out prior to NUFs being input into the model. | n/a | No change - point of interface into model is not a matter for the methodology | No Action
|  | #REF! | Schedule 18 Paragraph 16.1, 16.10 | Generation and transmission charge revenue. | EDCM LRIC; Import capacity | The model assumes that generation revenue should be explicitly deducted from the calculation of the EDCM Demand Revenue Target, whereas that transmission charges should not be included in the overall revenue target and are therefore not deducted here. | n/a | No change - legal text is considered sufficiently clear as it stands | No Action
|  | #REF! | Schedule 18 Paragraph 17.1, 17.2 | Fixed charge calculation | EDCM LRIC; Fixed | The model assumes that the formulae in Schedule 18 Paragraph 17.2 can supersede the one for import charges in 17.1, as when the capitalised O&M percentage is 0% they are equal. | n/a | No change - the legal text states at the end of the first section of para 17.2 'the calculation for the import fixed charge in paragraph 17.1 will not apply', so this is considered explicit in legal text and not a modelling assumption. | No Action
|  | #REF! | Schedule 18 Paragraph 18.4-18.8 | Network use factor cap and collar | EDCM LRIC; General inputs | The model assumes that this is calculated elsewhere and entered as an input. | n/a | No change - point of interface into model is not a matter for the methodology | No Action
|  | #REF! | Schedule 18 Paragraph 18.16 | Charging rate for indirect costs | EDCM LRIC; Import capacity | The model assumes that the reference to "for each connectee" is incorrect and that this in fact is a single rate across all connectees. | Part 1 | The model has historically been inconsistent with the legal text. So arguably part two in that we are just aligning legal text to model. But also arguably part one as, if the model were aligned to the legal text previously, this would have an impact on charges. | EDCM (LRIC and FCP) - Legal text and model mis-aligned | Amend para 18.16: 'A p/kVA/day charging rate for indirect costs [for each EDCM Connectee] is calculated on the basis of historical demand at the time of the DNO Party’s peak and 50 per cent of Maximum Import Capacity of [that] each Connectee'
|  | #REF! | Schedule 18 Paragraph 18.17 | Multiplication by LDNO factor | EDCM LRIC; Import capacity | The model assumes that the multiplication by the LDNO factor is the same as the scaling down by 50% as described in Schedule 18 Paragraph 26.11. Therefore, this multiplication is conditional on whether or not residual revenue is negative. | Part 1 | The legal text has historically been both internally inconsistent between paragraph 26.11 (which states that the 0.5 reduction should only apply if residual is negative) contradicts paragraphs 18.17 (which applies the 0.5 reduction regardless of residual) and 18.21 (which does not apply the 0.5 reduction at all). The model has been aligned with 26.11 but not 18.17 and 18.21. | EDCM (LRIC and FCP) - Legal text and model mis-aligned | Quick fix: Amend definitions under para 18.16 to maintain existing assumption: LDNO factor takes the value 0.5 if the EDCM Connectee is connected to an IDNO Party’s network and residual revenue contribution rate as defined in paragraph 16.6 is positive, and 1 otherwise. Amend definitions under para 18.17 to maintain existing assumption: LDNO factor takes the value 0.5 if the EDCM Connectee is connected to an IDNO Party’s network and residual revenue contribution rate as defined in paragraph 16.6 is positive, and 1 otherwise. Amend definitions under paragraph 18.20: Volume for scaling is calculated as the sum of (0.5 + coincidence factor)* import capacity * LDNO Factor LDNO factor takes the value 0.5 if the EDCM Connectee is connected to an IDNO Party’s network and residual revenue contribution rate as defined in paragraph 16.6 is positive, and 1 otherwise. Amend formulae and add definition to 18.21: Import capacity based fixed adder in p/kVA/day = Fixed adder * (0.5 + coincidence factor) * LDNO Factor LDNO factor takes the value 0.5 if the EDCM Connectee is connected to an IDNO Party’s network and residual revenue contribution rate as defined in paragraph 16.6 is positive, and 1 otherwise. Amend paragraph 26.11 ...would be scaled down by a factor of 50 per cent, however, the scaling [down will not apply where the residual revenue is negative] will only apply where the residual revenue contribution rate as defined in paragraph 16.6 is positive. For discussion: Is this the correct approach? It is logical that the residual charging application is not scaled down by 0.5 when the residual is negative (as this would result in an LDNO connectee paying more than an equivalent DNO connectee. But residual revenue being negative should not impact an LDNO connectee's contribution to indirect costs, and only does so because
|  | #REF! | Schedule 18 Paragraph 18.20 | Reference to Annex 3 | EDCM LRIC; N/A | The model assumes that the reference to Annex 3 is a typo or legacy reference from a previous version. | Part 2 | Housekeeping correction | EDCM (LRIC and FCP) - Housekeeping (minor) | Amend definitions under para 18.20: 'EDCM NR and DOC capacity contribution is the sum of the import capacity based direct costs contribution from each EDCM Connectee [(from annex 3)].'
|  | #REF! | Schedule 18 Paragraph 18.20 | Reference to Annex 3 | EDCM LRIC; N/A | The model assumes that the volume for scaling parameter is calculated incorrectly in this paragraph, and that this should in fact be equal to the volume for scaling as calculated in Schedule 18 Paragraph 18.17 | Part 1 | The model has historically been inconsistent with the legal text. So arguably part two in that we are just aligning legal text to model. But also arguably part one as, if the model were aligned to the legal text previously, this would have an impact on charges. | EDCM (LRIC and FCP) - Legal text and model mis-aligned | Align definition of volume for scaling across para 18.20 and 18.17
|  | #REF! | Schedule 18 Paragraph 18.20 | LRIC revenue estimate | EDCM LRIC; Import super-red | The model assumes that the estimate of LRIC recovery is made based on the super-red charge before it is adjusted as per Schedule 18 Paragraph 19.7, in order to remove the chance of a circular reference error. | Part 2 | Clarification only | EDCM (LRIC and FCP) - Housekeeping (minor) | Amend definitions in para 18.20: 'Aggregate indirect cost contribution is the sum of the import capacity based and import sole use asset based indirect cost contribution (before any adjustments under clauses 19.7 and 19.8) from each EDCM Connectee. SU recovery is the forecast notional recovery from the application of import fixed charges (before any rounding or any adjustments under clauses 19.7 and 19.8) for sole use assets relating to EDCM Connectees. LRIC recovery is the forecast notional recovery from the application of LRIC charges (before any rounding or any adjustments under clauses 19.7 and 19.8) to all EDCM Connectees only.
|  | #REF! | Schedule 18 Paragraph 19.5 | Rounding | EDCM LRIC; Import capacity | The model assumes that this calculation is carried out before rounding. | Part 2 | Clarification only | EDCM (LRIC and FCP) - Housekeeping (minor) | Amend para 19.1: 'The tariff application rules for the EDCM are the same as for the CDCM wherever possible. Once all other calculations have been carried out, each component of each tariff is rounded...'
|  | #REF! | Schedule 18 Paragraph 19.7 | Super-red adjustment | EDCM LRIC; Import super-red | The model assumes that this calculation refers to the import capacity charge before bounding at zero, as otherwise it would never be negative. | n/a | No change needed - methodology follows logical order, with the step to bound being after this step | No action
|  | #REF! | Schedule 18 Paragraph 19.7 | Part-year adjustment | EDCM LRIC; Import super-red | The model assumes that the Average kW/kVA parameter referenced in this paragraph is the [Average kW/kVA] parameter without part-year adjustment. | Part 2 | Clarification only | EDCM (LRIC and FCP) - Housekeeping (minor) | Amend para 19.7: 'If the EDCM import capacity charge (p/kVA/day) calculated above is negative and the Connectee’s average kW/kVA [(adjusted for part year)] is not equal to zero, the final EDCM super-red unit rate is adjusted as follows:'
|  | #REF! | Schedule 18 Paragraph 19.8 | Setting negative charges to zero | EDCM LRIC; Import capacity, Import super-red | The model assumes that any negative import capacity charges or import super-red charges are set to zero before rounding. | n/a | Dealt with in solution to issue 72 | No Action
|  | #REF! | Schedule 18 Paragraph 19.9 | Transmission credits | EDCM LRIC; Tariff inputs | The model assumes that "may include transmission credits" is wholly determined by the proportion eligible for credits, which is part of the input data. | Part 2 | Clarification only | EDCM (LRIC and FCP) - Housekeeping (minor) | Amend para 19.10: 'Final EDCM export charges will have: 1. An export fixed charge on sole use assets (in p/day) 2. An export capacity charge (in p/kVA/day)[, which might include transmission exit credits to qualifying generators.] 3. An export super-red unit rate (in p/kWh) 4. An exceeded export capacity charge (in p/kVA/day)'
|  | #REF! | Schedule 18 Paragraph 20.6 | Exceeded export capacity charge | EDCM LRIC; Exceeded export | The model assumes that no specific calculation is required for connectees with agreements with the DNO. | Part 2 | Clarification only | EDCM (LRIC and FCP) - Housekeeping (minor) | Amend para 20.6: '(i) For Connectees other than those that have an agreement with the DNO, the terms of which require them, for the purposes of P2/6 compliance, to export power during supergrid transformer (SGT) outage conditions, the exceeded portion of the export capacity is charged at the same rate as the capacity that is within the Maximum Export Capacity. (ii) For Connectees which have an agreement with the DNO, the terms of which require them, for the purposes of P2/6 compliance, to export power during supergrid transformer (SGT) outage conditions, the exceeded portion of the export capacity is charged at the capacity rate before the adjustment specified in clause 10.3 is applied. This is charged for the duration of the month in which the breach occurs.'
|  | #REF! | Schedule 18 Paragraph 20.9 | Exceeded import capacity charge | EDCM LRIC; Exceeded import | The model assumes that this uses the import capacity charge before it is rounded but after it is bounded at zero to remove negative values. | n/a | Dealt with in solution to issue 72 | No Action
|  | #REF! | Schedule 18 Paragraph 20.9 | Super-red hours | EDCM LRIC; Exceeded import | The model assumes that “super-red hours” in this calculation refers to the number of super-red hours for which the customer is connected, as in Schedule 17 Paragraph 20.9. | Part 2 | Clarification only | EDCM (LRIC only) - Housekeeping (minor) | Amend 20.9: '[Exceeded capacity charge in p/kVA/day] = [Import capacity charge p/kVA/day] + (([LRIC capacity charge p/kVA/day] + ([LRIC super-red rate p/kWh] * [Average kW/kVA adjusted for part year] * [number of super-red hours connected] / ([days in Charging Year] – [Days for which not a customer]))) * (1 - ([chargeable capacity]/ [Maximum Import Capacity]))'
|  | #REF! | Schedule 18 Paragraph 25.2 | LDNO discount calculation | EDCM LRIC; LDNO calculations | The model assumes that, when calculating LDNO discounts, generation tariffs can have discounts other than 0% or 100% (as they do in the CDCM). | Part 2 | Clarification only | EDCM (LRIC and FCP) - Housekeeping (minor) | Amend para 25.2: 'In each case, the discount applied to all CDCM tariff components. Discount percentages are capped [to] at 100 per cent.'
|  | #REF! | Schedule 18 Paragraph 25.2 | LDNO discounts for generators with no reactive power charge | EDCM LRIC; LDNO calculations | The model assumes that LDNO discounts do not need to be calculated for the variants of the CDCM generation tariffs which do not have a reactive power charge | Part 2 | Clarification only | EDCM (LRIC and FCP) - Housekeeping (minor) | Replicate clause 147 of schedule 16 (which lists tariffs for discounts) at clause 25.3 of schedule 18
|  | #REF! | Schedule 18 Paragraph 26.11 | LDNO scaling by 50% | EDCM LRIC; Import capacity | The model assumes that this refers to residual revenue as calculated in Schedule 18 Paragraph 18.18 and Schedule 18 Paragraph 18.20. | Part 2 | Clarification only | EDCM (LRIC and FCP) - Housekeeping (minor) | Amend clause 26.11: 'For EDCM Connectees connected to the IDNO Party’s network, the capacity-based charge for the DNO Party’s indirect costs (as per clause 18.18) and the 20% share of residual revenue (as per clause 18.20) that is applied as a fixed adder, would be scaled down by a factor of 50 per cent, however, the scaling down will not apply where the residual revenue is negative.'
End of sheet

## OtherIssues (hidden)
Other issues
|  | ID | DCUSA text reference | Issue | Type | Justification | Grouping | Proposed Solution | EDCM FCP/LRIC Equivalent
|  | 1 | Schedule 17, 20.2 | Value AE defined as import consumption but should relate to export | Part 2 | Minor correction only | EDCM (LRIC and FCP) - Housekeeping (minor) | Amend definitions under export formula in para 20.2: 'AE = [Import]Export consumption in kWh' | 4
|  | 2 | Schedule 18, 18.18 | /LRIC recovery used, should be LRIC recovery | Part 2 | Minor correction only | EDCM (LRIC only) - Housekeeping (minor) | Amend formula under para 18.18: Residual revenue charging rate (per cent) = 0.8 * (EDCM demand revenue target – EDCM NR and DOC capacity contribution - Aggregate indirect cost contribution – SU recovery - [/]LRIC recovery) / Total adjusted site-specific shared assets
|  | 3 | Schedule 18, 18.20 | FCP/LRIC recovery used, should be LRIC recovery | Part 2 | Minor correction only | EDCM (LRIC only) - Housekeeping (minor) | Amend formula under para 18.20: Single fixed adder in p/kVA/day = 100 / DC * 0.2 * (EDCM demand revenue target – EDCM NR and DOC capacity contribution - Aggregate indirect cost contribution - SU recovery - [FCP/]LRIC recovery) / Volume for scaling
|  | 4 | Schedule 18, 20.2 | Value AE defined as import consumption but should relate to export production | Part 2 | Minor correction only | EDCM (LRIC and FCP) - Housekeeping (minor) | Amend definitions under export formula in para 20.2: 'AE = [Import]Export consumption in kWh' | 1
End of sheet

## Aligning_EDCM_Issues (hidden)
FCP |  |  |  |  | LRIC
ID | DCUSA text reference | Assumption | Worksheet reference | Description | ID | DCUSA text reference | Assumption | Worksheet reference | Description
17 | #N/A | #N/A | #N/A | #N/A | 50 | #N/A | #N/A | #N/A | #N/A
18 | #N/A | #N/A | #N/A | #N/A | n/a
n/a |  |  |  |  | 51 | #N/A | #N/A | #N/A | #N/A
19 | #N/A | #N/A | #N/A | #N/A | n/a
20 | #N/A | #N/A | #N/A | #N/A | n/a
21 | #N/A | #N/A | #N/A | #N/A | n/a
n/a |  |  |  |  | 52 | #N/A | #N/A | #N/A | #N/A
n/a |  |  |  |  | 53 | #N/A | #N/A | #N/A | #N/A
22 | #N/A | #N/A | #N/A | #N/A | 54 | #N/A | #N/A | #N/A | #N/A
23 | #N/A | #N/A | #N/A | #N/A | 55 | #N/A | #N/A | #N/A | #N/A
24 | #N/A | #N/A | #N/A | #N/A | 56 | #N/A | #N/A | #N/A | #N/A
25 | #N/A | #N/A | #N/A | #N/A | 57 | #N/A | #N/A | #N/A | #N/A
26 | #N/A | #N/A | #N/A | #N/A | 58 | #N/A | #N/A | #N/A | #N/A
27 | #N/A | #N/A | #N/A | #N/A | 59 | #N/A | #N/A | #N/A | #N/A
28 | #N/A | #N/A | #N/A | #N/A | 60 | #N/A | #N/A | #N/A | #N/A
29 | #N/A | #N/A | #N/A | #N/A | 61 | #N/A | #N/A | #N/A | #N/A
30 | #N/A | #N/A | #N/A | #N/A | 62 | #N/A | #N/A | #N/A | #N/A
31 | #N/A | #N/A | #N/A | #N/A | 63 | #N/A | #N/A | #N/A | #N/A
32 | #N/A | #N/A | #N/A | #N/A | 64 | #N/A | #N/A | #N/A | #N/A
33 | #N/A | #N/A | #N/A | #N/A | 65 | #N/A | #N/A | #N/A | #N/A
34 | #N/A | #N/A | #N/A | #N/A | 66 | #N/A | #N/A | #N/A | #N/A
35 | #N/A | #N/A | #N/A | #N/A | 67 | #N/A | #N/A | #N/A | #N/A
36 | #N/A | #N/A | #N/A | #N/A | 68 | #N/A | #N/A | #N/A | #N/A
37 | #N/A | #N/A | #N/A | #N/A | 69 | #N/A | #N/A | #N/A | #N/A
38 | #N/A | #N/A | #N/A | #N/A | 70 | #N/A | #N/A | #N/A | #N/A
39 | #N/A | #N/A | #N/A | #N/A | 71 | #N/A | #N/A | #N/A | #N/A
40 | #N/A | #N/A | #N/A | #N/A | 72 | #N/A | #N/A | #N/A | #N/A
41 | #N/A | #N/A | #N/A | #N/A | 73 | #N/A | #N/A | #N/A | #N/A
42 | #N/A | #N/A | #N/A | #N/A | 74 | #N/A | #N/A | #N/A | #N/A
43 | #N/A | #N/A | #N/A | #N/A | 75 | #N/A | #N/A | #N/A | #N/A
44 | #N/A | #N/A | #N/A | #N/A | 76 | #N/A | #N/A | #N/A | #N/A
45 | #N/A | #N/A | #N/A | #N/A | 77 | #N/A | #N/A | #N/A | #N/A
46 | #N/A | #N/A | #N/A | #N/A | 78 | #N/A | #N/A | #N/A | #N/A
n/a |  |  |  |  | 79 | #N/A | #N/A | #N/A | #N/A
47 | #N/A | #N/A | #N/A | #N/A | 80 | #N/A | #N/A | #N/A | #N/A
48 | #N/A | #N/A | #N/A | #N/A | 81 | #N/A | #N/A | #N/A | #N/A
49 | #N/A | #N/A | #N/A | #N/A | 82 | #N/A | #N/A | #N/A | #N/A

## Summary (hidden)
Type | Part 1 | Part 2 | Outstanding | n/a | Total
CDCM - Housekeeping (minor) | 0 | 1 | 0 | 0 | 1
CDCM - Housekeeping (major) | 0 | 0 | 0 | 0 | 0
CDCM - Legal text and model mis-aligned | 0 | 0 | 0 | 0 | 0
EDCM (LRIC and FCP) - Housekeeping (minor) | 0 | 18 | 0 | 0 | 18
EDCM (LRIC and FCP) - Legal text and model mis-aligned | 4 | 0 | 0 | 0 | 4
EDCM (FCP Only) - Housekeeping (minor) | 0 | 0 | 0 | 0 | 0
EDCM (LRIC Only) - Housekeeping (minor) | 0 | 6 | 0 | 0 | 6
PCDM - Housekeeping (minor) | 0 | 0 | 0 | 0 | 0
PCDM - Housekeeping (removing unnecessary clauses) | 0 | 0 | 0 | 0 | 0
No Action | 0 | 0 | 0 | 9 | 9
Outstanding | 0 | 0 | 0 | 0 | 0
Total | 4 | 25 | 0 | 9 | 38
Expected Total |  |  |  |  | 4
Check |  |  |  |  | O