| DCUSA Consultation |  | At what stage is this document in the process? |
| --- | --- | --- |
| DCP 350 Creation of Embedded Capacity Registers Date raised: 10 July 2019 Proposer Name: Alessandra De Zottis (represented by Lisa Waters) Company Name: UK Power Reserve (On behalf of the BEIS’ Panel of Technical Experts (PTE) Company Category: Supplier |  | 01 – Change Proposal. 02 – Consultation. 03 – Change Report. 04 – Change Declaration. |
| Purpose of this Change Proposal: To require the DNOs to create a national, public register of all sites that use their networks and influence the operation of the GB power market. The Register would contain details of each connected site and would be kept up to date by the DNOs. |  |  |
|  | This document is a Consultation issued to DCUSA Parties and any other interested Parties in accordance with Clause 11.14 of the DCUSA seeking industry views on DCP 350 ‘Creation of Embedded Capacity Registers’ The Working Group recommends that this Change Proposal should proceed to consultation. Parties are invited to consider the questions set in section 10 and submit comments using the form attached as Attachment 1 to dcusa@electralink.co.uk by DD MONTH 2019 The Working Group will consider the consultation responses and determine the appropriate next steps for the progression of the Change Proposal (CP). |  |
|  | Impacted Parties: DNOs, IDNOs and CVA Registrants |  |
|  | Impacted Clauses: A new schedule [31] defining the contents of the Embedded Capacity Register and the obligations on the DNOs to keep the registers correct, up to date and publicly available (location to be determined). |  |

| Contents 1 Summary 3 2 Governance 7 3 Why Change? 7 4 Working Group Assessment 9 5 Code Specific Matters 12 6 Relevant Objectives 13 7 Impacts & Other Considerations 16 8 Implementation 17 9 Legal Text 17 10 Consultation Questions 17 11 Attachments 18 Timetable The timetable for the progression of the CP is as follows: #### Change Proposal timetable #### Activity; #### Date. Initial Assessment Report Approved by Panel; 17 July 2019. Consultation issued to Parties; 16 October 2019. Change Report issued to Panel; 11 December 2019. Change Report issued for Voting; 20 December 2019. Party Voting Ends; 10 January 2020. Change Declaration issued to Authority; 14 January 2020. Authority Decision; 18 February 2020. Implementation Date; 27 February 2020. | Any questions? |
| --- | --- |
|  | Contact: Code Administrator |
|  | dcusa&electralink.co.uk |
|  | 0207432 3011 |
|  | Proposer: Lisa Waters – on behalf of the Panel of Technical Experts |
|  | lisa@waterswye.co.uk |
|  | 020 8239 9917 |

Summary

#### What?

## While it is possible to see the generation/DSR/interconnectors connected to, or using, the GB transmission networks via registers held by the ESO, it is not possible to see the embedded power plants/DSR/storage.  With increasing use of embedded generation/DSR/storage for balancing, within the capacity market and to manage local issues, it is important that this market becomes more transparent.  This proposal would therefore require the DNOs to publish and maintain a register of all generators/DSR/storage (starting with those >1MW) connected to and using their networks.

## There needs to be a nation register, but we believe that this is probably best made up of regional registers, which would have identical data fields and would be aggregated to create a GB wide register of embedded sites.

#### Why?

## The market needs to rely on information to economically and efficiently plan and operate their businesses, as well as to effectively compete with one another to best meet the needs of customers.  The more transparent the market, the more efficient the market should become.  The transparency that this change would deliver should help:

- DNOs to check that they do know what is connected to and using their networks, which in turn will help with the efficiency of planning, investment and operational decisions;

- Generators/DSR/storage owners will be able to see what is in their local region which can influence operations and investments;

- Those in the wholesale market will be able to see which sites may be influencing the wholesale prices and the volume of capacity that could move between the various parts of the market (such as BM, ancillary services, etc.);

- Investors would be able to more easily see how the market is developing and where their options could be in terms of future investments in technology and location;

- New build and existing embedded sites may also be able to better understand who their projects are interacting with and may be able to trade rights (depending on Ofgem’s charging review) or swap locations, etc. to get the most efficient outcome for their investments;

- Suppliers may be able to improve their forecasting with a better understanding of how the market may operate, such as being able to see changes in say solar capacity in real time rather than via annual updates;

- The ESO in undertaking its market wide forecasts, such as the FES, NOA and Capacity Market Report, would have access to much more robust data on actual installed capacity of different types of resources; and

- Government, Ofgem and their advisers will also be able to far more easily see how well policies are working, such as the roll out of renewable or new technologies, or identify if trading capacity would be practical, etc.

## This CP has been proposed to address ongoing concerns of the BEIS Panel of Technical Experts (“PTE”), whose role is to impartially scrutinise and quality assure the analysis carried out by National Grid (NG) for the purposes of informing the policy decisions for the Capacity Market (CM). In fulfilment of this role, the PTE have scrutinised NG’s Electricity Capacity Reports (ECRs) across number of years and believe that the lack of data on embedded generation available to the ESO, is impacting the ESO’s ability to accurately forecast. Without the necessary data to assess system security, the PTE believe that neither the Government nor the regulator can be sure that their policies are as robust as they could be.

## This proposal would therefore better fulfil the DCUSA objectives, notably objectives 1, 2 and 3 as transparency will improve efficiency and competition.

#### How?

## With the growth in embedded generation, and in order to inform the market and help with market forecasts done by the ESO, a register of embedded generation is also needed.  The proposal would be for each DNO to populate, and then keep up to date, as register of sites connected to their networks.  This change proposes that the registers are presented both on the DNOs’ individual websites and in an amalgamated register on another website.  The GB wide register could be on either the ESO’s website, with the other registers, or on another central website such as the DCUSA website.

## The National Grid ESO maintains the Transmission Entry Capacity (TEC) Register which contains the following information:

- Customer Name (meter registrant)

- Project Name (power station/customer name)

- Connection Site (local substation name)

- MW Connected (current TEC)

- MW Increase / Decrease (expected increase/decrease TEC)

- MW Total (total TEC Capacity held)

- MW Effective Date (date the site goes live/expected to go-live/TEC changes)

- Project Status (scoping, awaiting consent, consented, live, terminated, etc.)

- HOST TO (which TO)

- Plant Type (CHP, CCGT, storage, etc.)

## There is also an interconnector register and an embedded register, which includes the Scottish sites holding TEC, provide similar information.  The purpose of this CP is to create a similar register of information on embedded sites.

## The proposed data items for the new Embedded Capacity Registers (ECR) would be:

- Customer Name (meter registrant)

- Project Name (power station/customer name)

- Connection Site (local substation name, local GSP and Ordnance Survey (OS) Grid Reference)

- MW Connected (current connection capacity – size of physical connection rather than export/import rights)

- MW Capacity (current capacity rights – to use the network)

- MW Increase / Decrease (expected increase/decrease – i.e. where a site is altering a capacity right or is a new site not yet commissioned)

- MW Total (export and import capacity to be held at a date in time)

- MW Effective Date (date the site goes live/expected to go-live/capacity changes)

- Project Status (scoping, awaiting consent, consented, live, terminated, interactive, etc.)

- Host DNO (which DNO)

- Plant Type (CHP, CCGT, solar, wind, storage, etc.)

- Type of connection (firm, non-firm, shared)

- Licence area (DNO, IDNO)

- MPAN

## This data will be given for both existing sites and those seeking to connect.  However, it has to be recognised that the DNOs operate connection queues and individual connections can be interactive with each other.  It may therefore be advantageous to find a way to show which prospective generators are interacting with each other.

## The Proposer believes that there is a good case for requiring that the MPANs associated with each site are also disclosed that the generation from each fuel type could be collected under the BSC and past to the ESO, BEIS and Ofgem to allow for easier monitoring of aggregate emissions, informing wider policies.  It is noted that MPANs are already on the CM Register, so for many sites this data is already public.

## As the intent of this proposal is to also identify the location of renewable generation as its operation is weather dependent, therefore a supplier, ESO, etc. would also benefit from linking the type of generation with say local weather forecasts.  To align data provisions across transmission and distribution it has been proposed that an OS Grid Reference is provided, as the CM Register already requires this data.

## To allow for time for the register to be set up, the proposal would be to initially set-up the register for all sites >1MW connection capacity (as it is believed this data should be easy to locate and transpose).  This will then be extended to include smaller sites (exact size to be determined by the Working Group).  However, the work on the Loss of Mains Protection Settings should have resulted in the identification of the majority of embedded power stations, so there is a belief that creating a register should not be onerous nor take very long.

## Some of this data should be easily found from other registers, such as the DNOs’ charging systems, SVA data, capacity market registers, etc.  Who owns the data needs to be considered in constructing the register, but the Proposer has set out their belief that as connection agreements are held by the DNOs that the data is theirs and they can therefore publish it, as the ESO does with the data they hold. For capacity market plant the majority of the data is on the CM Registers, so would appear to present no publication issues.  However, if deemed necessary the registers may have to go-live with less data while any data ownership questions can be resolved, but publication of as much data as soon as possible is the key to delivering benefits as quickly as possible.  The Proposer has suggested that the Working Group may also decide that for smaller sites, for example domestic solar, it may be best to keep aggregate data by post code or other defined area.

## In order to make the embedded capacity registers as robust as possible, it is proposed that there is an obligation on all DCUSA Parties to notify the host DNO of any changes or errors in the register, and an obligation on the DNOs to make any corrections on a weekly basis.

## The expectation is that the registers would be made available in the public domain, which aligns with the approach used by the ESO’s in publishing their registers.  While there has been a historic preference for password protection, as anyone can get a password this is an ineffective hurdle to data access.  The Proposer notes that the DNOs do publish Long Term Development Statements (LTDS), these are password protected, and hold some of the information this CP seeks to include, but not enough sufficient information to be of value for the detailed forecasting that the ESO needs for its role in the CM.

## In the longer term this data can be expanded as part of the centralised energy data systems that the Energy Data Task Force is likely to recommend.  It is also noted that the Open Networks Project has also been working on proposals for a System Wide Resources Register that includes the data in this CP, but also commercial services data and reinforcement works.  Whilst it is not the intent of this CP to stop such developments, the Proposer believes the GB energy market needs at least this basic data within the next few months to achieve better whole system outcomes in a rapidly changing market.

Governance

#### Justification for Part 1 Matter

## DCPs 350 is considered to be classified as a Part 1 Matter, as it is designed to introduce a new requirement on network operators to share data that is not currently shared and this may potentially have a material impact on competition, notably in generation. It is for that reason that it is felt that the change should be provided to the Authority for final decision.

#### Requested Next Steps

## Following a review of the Consultation responses, the Working Group will work to agree the detail of the solution for DCP 350 and if appropriate progress to the Change Report phase. The Proposer notes that the sooner this data is published the sooner that all parties will be able to benefit from it and in turn, the sooner the effects feed through to end customers and therefore have a strong desire to progress this CP in a timely manner.

Why Change?

#### General Background

## The Proposer believes that the Government’s policies around security of electricity supply will be more efficiently implemented if the ESO can undertake more robust forecasting to inform policy.  The Panel of Technical Experts (PTE) has been disappointed by the ESO’s inability to get data on embedded generation and it is their belief that this CP will help not only them, but all market players and policy makers.

## There is a market wide need to better understand the role of embedded sites, and that need is becoming increasingly urgent as embedded generation in particular increases.  The market is obviously in need of better data for forecasting, a fact the ESO acknowledges, but other parties are also becoming increasingly concerned by the lack of transparency in the market.  For example, it is difficult for Ofgem to know if there is the potential for renewables and conventional technologies to share capacity as the data on the capacity by region is not there and they have their own energy Data Exchange service.  Likewise, traders cannot see the volumes of different types of generation which may join the BM or TERRE in future. Given this in the availability of data, it is understood that the ESO has considered creating its own such register but has not yet done so.

#### Change Proposal Background

## The Proposer believes that the DNOs are the industry parties best placed to create these regional registers, and keep them up to date, giving a GB wide register.  The act of creating the registers will enhance their own knowledge of their networks, helping them to ensure that they have a detailed record of the sites on their own networks.  It is expected that this will lead them to be able to use the data to inform their decisions on reinforcements, better understand changes in system usage, where they need new services (as DSOs they are expected to buy local services), etc.  All of which should enhance the performance of the DNOs.

## There is established economic theory that suggests allowing greater information transparency in a decentralised manner will lead to an increase in the effective use of resources and create a more efficient and competitive market.  The more efficient the market is then the better the value it will deliver to customers.  The Proposer believes that with greater information transparency, Ofgem and BEIS could potentially monitor the impact of and where needed, fine tune their policies more easily to enhance the benefits for customers and the environment at a lower cost.

## On a more microeconomic level, the Proposer believes that placing an obligation on network companies for the provision of certain data that is not currently openly shared will allow the correct de-rating of different technology types. Continuing to think along the same lines, it is believed that it is probably the case that the embedded, conventional plants probably should have high de-rating than their larger competitors. The creation and publication of an embedded capacity register might also act as mechanism to facilitate parties trading locally with each other, as well as assisting to inform investors about the assets that sit in a congested area (far more than a heat map can) and it will allow them to make an informed decision about whether to progress an investment.

## Ofgem has always been keen that suppliers should be better at forecasting their own customers’ output, which includes the embedded generators such that they may be able to better understand the contracted background in any given area. It is the Proposers belief that In a world with active DSOs that the provision of an embedded capacity register could become even more important.

## For traders and wholesale market participants this data will also substantially improve their market knowledge.  They will know what assets can respond to price signals, the rate of deployment of specific technologies, etc. and this is expected to enhance competition and therefore improve the efficiency of the market.

## The Proposer acknowledges that there will likely be a cost associated with this CP but believe a solution could be achieved quickly and at a relatively low cost.

Question 1 - Do you understand the intent of the CPs?

Question 2 – Are you supportive of the principles that support this CP, which is to increase the availability of accessible data which is expected to assist in transitioning to a zero-carbon economy?

Working Group Assessment

#### DCP 350 Working Group Assessment

## The DCUSA Panel established a Working Group to assess DCP 350. This Working Group consists of representatives from DNOs, Suppliers and Independent Distribution Network Operators as well as a representative of a storage operator and observers from Elexon and Ofgem. Meetings were held in open session and the minutes and papers of each meeting are available on the DCUSA website – www.dcusa.co.uk.

## The Working Group developed this consultation document to gather information and feedback from market participants on the CP.

## Following the initial meetings of the Working Group, it was agreed that the proposed solution set out in the CP form should be further developed. In undertaking this development, the Working Group split out x components of the CPs, being:

- The exact items to be contained in the ECR

- The format used to publish the ECR

- The location(s) where the ECR is to be made available

- The frequency by which the ECR is to be updated

- The governance arrangements needed to ensure the ECR is populated in a consistent manner and a mechanism to allow for amendments to the structure of the ECR

- Data privacy interactions

This is draft text as we are not lawyers, but we would expect this to be a new schedule to the DCUSA on the Embedded Capacity Register, but only its existence and requirement to update needs to necessarily go in the Code, with details sitting outside to facilitate easier change:

The following requirements apply in relation to the Embedded Capacity Register:

1.	Each DNO will build and maintain an Embedded Capacity Registers (ECR) covering their licenced area and which must contain the fields (either in the Code or in a document referenced by the Code):

- Customer Name (meter registrant)

- Project Name (power station/customer name)

- Connection Site (local substation name, local GSP and OS Grid Reference)

- MW Connected (current connection capacity – size of physical connection rather than export/import rights)

- MW Capacity (current capacity rights – to use the network)

- MW Increase / Decrease (expected increase/decrease – i.e. where a site is altering a capacity right)

- MW Total (export and import capacity to be held at a date in time)

- MW Effective Date (date the site goes live/expected to go-live/capacity changes)

- Project Status (scoping, awaiting consent, consented, live, terminated, interactive, etc.)

- Host DNO (which DNO)

- Plant Type (CHP, CCGT, solar, wind, storage, DSR, etc.)

- Type of connection (firm, non-firm, shared)

- Licence area (DNO, IDNO)

- MPAN

- The Embedded Capacity Register is to comply with best practice regarding accessibility and the use of widely used or open formats.

- The Embedded Capacity Register is to be made available on the public facing pages of the DCUSA and/or ESO web-site (the Public Pages) that are accessible by all.

- The following information shall also be accessible through the Public Pages:

- Each DNO’s Embedded Capacity Register

- An explanation as to the fields in the Register

- Contact details for each DNO so that a site which believes its details are incorrect can contact for a correction

- A date by each to show when the Register was last up dated

- Links to maps for each DNO region so that parties can identify regions referred to.

- Links to each DNO’s heat map.

- Each DNO will update their Embedded Capacity Register not less than weekly if there are changes to be made.

- All the registered are to be combined to create one GB Embedded Capacity Register which will be on the Public Pages [ESO or DCUSA web-site, or both?].

- All DCUSA parties will be required to notify the relevant DNO if they are aware that any of the data on the registers is incorrect and the DNO must up date that data within a week.

We would note that the text in the DCUSA itself is probably best kept minimal and the details of the Register able to change with no requirement for a further code change.  This has been an issue for the BSC with BMRS data, requiring mods to add new fuel types, etc.  It is not difficult to envisage new fuel types, co-location, EV types, etc. all becoming potentially important pieces of data in the longer term, and therefore a form of governance to achieve timely changes to the Register is need.

While not a DCUSA issue, the PTE hopes that the ESO will help inform this modification and may, depending on the DNO’s register design, improve its own data provision to align with the new register.

#### Text Commentary

The PTE suggest that the Code only covers the creation and maintenance of the register, but the details sit outside the code such that the register details can be altered or refined without recourse to another modification to the Code.  We therefore believe that the text should be very limited, but obligate the DNOs to both create and keep updated the Register.  It can then be for the Panel to review and alter the content as the market develops.

#### The exact items to be contained in the ECR

## xx

## xx

              - Question 3 – Do you agree with the data items that the Working Group have decided should be included in an ECR?

#### The format used to publish the ECR

## xx

## xx

Question 4 – Do you agree with the format chosen by the Working Group for publishing the ECR?

## The location(s) where the ECR is to be made available   xx

## xx

## xx

Question 5 – Do you believe that the combined ECR should be published on the DCUSA website and if so, do you believe it should be available via the public facing pages? If not, then please explain why not.

Whichever way you answer, the Working Group would appreciate if you could provide any rationale for your choice.

#### The frequency by which the ECR is to be updated

## xx

## xx.

Question 6 – Do you agree with the proposal to mandate that the ECR is to be updated on a monthly basis?

#### The governance arrangements needed to ensure the ECR is populated in a consistent manner and a mechanism to allow for future amendments to the structure of the ECR

## xx

## xx

Question 7 - Do you believe that the governance arrangements proposed by the Working Group as to how the ECR is populated will lead to DNOs updating it in a consistent manner?

Question 8 - Do you agree with the Working Group’s proposed mechanism to deal with future amendments to the structure of the ECR?

#### Data privacy interactions

## xx

## xx

Question 8 - Do you believe  that the Working Group has sufficiently covered off concerns related to data privacy? And if not, then what else do you consider that Working Group needs to do?

Code Specific Matters

#### Consideration of Industry Codes

## The Working Group discussed how this CP crosses over with a number of ongoing industry workstreams, noting that there are some are directly related to this CP and some others designed to facilitate possible enduring solutions. In developing this CP, the Working Group has, where possible, maintained consistency with the other ongoing workstreams.

## Both the Open Networks Project and Energy Data Task Force are looking into this issue.  However, the PTE believes there is now a pressing need to start to make progress on creating a register as the Capacity Market in particular needs more robust forecasting on embedded plat to deliver the policy intent.  Both the Open Networks Project and Energy Data Task Force are looking into this issue.  However, the PTE believes there is now a pressing need to start to make progress on creating a register as the Capacity Market in particular needs more robust forecasting on embedded plat to deliver the policy intent.  We have liaised with both these groups and they see no reason that their work could not build on this proposal in future.  The Proposer has liaised with both these groups and they see no reason that their work could not build on this proposal in future.

## This is an issue that is often discussed in relation to the ESO’s forecasting role, with National Grid planning to deliver such a register itself under its ESO Ambition Document, as well as mentioning the need for such data in documents such as its Forward Plan – see: https://www.nationalgrideso.com/document/141256/download

## https://www.nationalgrideso.com/about-us/business-plans/forward-plans-2021

## The Government’s Panel of Technical Experts has also recommended that the ESO gets better data on embedded power plants in order to improve the forecasting underpinning the capacity market:

## https://assets.publishing.service.gov.uk/government/uploads/system/uploads/attachment_data/file/723234/Panel_of_Technical_Experts_2018_Report_on_the_ECR.pdf

## The Open Networks Project has a workstream looking at a System Wide Resources Register (product 8) the details of which are here:

## http://www.energynetworks.org/electricity/futures/open-networks-project/open-networks-project-workstream-products.html/workstream-1-t-d-process.html

## The Energy Data Task Force is also looking across industry data:

## https://es.catapult.org.uk/impact/specialisms/energy-data-taskforce/

## Given the above, the Secretariat convened a meeting of the relevant code administrators and regulatory bodies to facilitate a discussion that took place on DD MONTH 2019. It was noted that the discussion centred around the potential for alignment to be achieved across the industry. Attendees included representatives from National Grid as the Electricity System Operator, Elexon as the Code Administrator for the BSC, ElectraLink as the Code Administrator for DCUSA and representatives from the ENA, Ofgem and BEIS. A high-level overview of the topics covered is set out below:

- furthering the collective understanding of interacting workstreams and considering progress to date:

- the expected timelines to produce finished products:

- views/thoughts as to whether there is a solution that provides consistency in the legal requirements (e.g. common definitions, principles and outcomes) and where appropriate the use of common processes and systems:

- how achieving alignment/consistency might interact with the timescales for development:

- what contingency arrangements might be needed to facilitate alignment/consistency:

Relevant Objectives

#### Assessment Against the DCUSA Objectives

## For a DCUSA Change Proposal to be approved it must be demonstrated that it better facilitates the DCUSA Objectives. There are five General Objectives and six Charging Objectives. The full list of objectives is documented in the DCUSA.

## The Proposer considers that the following DCUSA Objectives are better facilitated by DCP 350.

| #### DCUSA General Objectives | Identified impact |
| --- | --- |
| - The development, maintenance and operation by the DNO Parties and IDNO Parties of efficient, co-ordinated, and economical Distribution Networks | Positive |
| - The facilitation of effective competition in the generation and supply of electricity and (so far as is consistent therewith) the promotion of such competition in the sale, distribution and purchase of electricity | Positive |
| - The efficient discharge by the DNO Parties and IDNO Parties of obligations imposed upon them in their Distribution Licences | Positive |
| - The promotion of efficiency in the implementation and administration of the DCUSA | None |
| - Compliance with the Regulation on Cross-Border Exchange in Electricity and any relevant legally binding decisions of the European Commission and/or the Agency for the Co-operation of Energy Regulators. | None |

## The rationale provided by the Proposer set out in the CP form, provided as Attachment 2 is detailed below.

## The provision of robust, transparent data on the number, size, types and location of embedded market participants will help in the development and operation of a more competitive and economically efficient market.  This will help policy makers design “better” policy and drive market developments to deliver the best deal for customers.  It will help inform forecasting by the ESO, DNOs, Suppliers and other participants.  It will also help investors to reach decisions on location, technology choices, etc.

## By improving transparency and market knowledge, the GB electricity market can operate more efficiently which will ultimately benefit customers.  The modification therefore better fulfils objectives 1, 2 and 3.

Question 10 – Do you consider that DCP 350 better facilitates the DCUSA General Objectives?

              - If so, please detail which of the General Objectives you believe are better facilitated and provide supporting reasons.

If not, please provide supporting reasons

Impacts & Other Considerations

#### Significant Code Review Impacts

##### TCR SCR Interaction

## [WG to consider]

##### Electricity Network Access and Forward-Looking Charging Review SCR Interaction

## [WG to consider]

##### Other SCRs

## [WG to consider]

#### Impact Assessment

## [WG to consider]

#### Environmental Impacts

## In accordance with DCUSA Clause 11.14.6, the Working Group assessed whether there would be a material impact on greenhouse gas emissions if DCPs 350 were implemented. The Working Group did not identify any material impact on greenhouse gas emissions from the implementation of this CP.

#### Engagement with the Authority

## Ofgem has been fully engaged throughout the development of the CPs as an observer of the Working Group.

Implementation

## The Proposer notes that the PTE would like to see the ESO have access to this data as soon as possible, with even more detail on the larger sites by December 2019 being an improvement on where the market currently is.  It is expected that this is a product that will develop over time, but if the DNOs could harvest existing data by late this year it would improve the ESO’s forecasts for the next Electricity Capacity Report to the Secretary of State next summer.

## It is proposed that this CP should be implemented in the DCUSA release scheduled for 27 February 2020, which would be the next scheduled DCUSA release following Authority approval.

Question 11 – Are you supportive of the proposed implementation date of 27 February 2020?

Legal Text

## The legal text for DCP 350 is provided as Attachment X.

## The legal text sets out

## .

Question 12 – Do you have any comments on the draft legal text for DCP 350?

Consultation Questions

## The Working Group is seeking industry views on the following consultation questions:

| No. | Questions |
| --- | --- |
|  | Do you understand the intent of the CPs? |

## Responses should be submitted using Attachment 1 to dcusa@electralink.co.uk no later than, close of play on DD MONTH 2019.

## Responses, or any part thereof, can be provided in confidence. Parties are asked to clearly indicate any parts of a response that are to be treated confidentially.

Attachments

- Attachment 1 – DCP 350 Consultation Response Form

- Attachment 2 – DCP 350 Change Proposal Form

- Attachment 3 – DCP 350 Example ECR

- Attachment 4 – DCP 350 Draft Legal Text

- Attachment 5 – x