## Slide 1: Facebook petition by electricians
Safe Isolations Working Group
30 March 2021

## Slide 2: The Petition
https://www.change.org/p/anne-marie-trevelyan-allow-qualified-electricians-to-pull-dno-fuses-to-be-able-to-work-safely?utm_content=cl_sharecopy_27819188_en-GB%3A4&recruiter=1188310103&recruited_by_id=bb7e3450-856a-11eb-9d7e-f7f33091a669&utm_source=share_petition&utm_medium=copylink&utm_campaign=psf_combo_share_message&utm_term=psf_combo_share_message&share_bandit_exp=message-27819188-en-GB
I feel that as qualified electricians we should have the power to pull the main DNO supply fuse without the possibility of prosecution, we are more than qualified to cut and reseal these fuses to allow us to carry out our job in the safest way possible without having to wait for and pay the DNO.
As at 24 March there were 750 signatures
I’ve extracted some comments from those who’ve signed – bear in mind that as they’ve signed that there are only comments are in agreement

## Slide 3: Comments on petition (1 of 3)
As an Electrician it is imperative that safe isolation be undertaken, having to wait hours for the DNO to turn up, for an exorbitant fee, is not practical nor economical. We are more than capable of safe isolation procedures and capable of resealing the main fuse. If this is not the case then they should be legally required to install a 2 pole isolator under EWAR.
We are more than capable of doing this safely. The dnos should retrofit their services with isolators or make the meter monkeys fit one when they install a smart meter.
need to be able to work safely, without pulling the fuse to safely isolate the supply this is not possible. calling the dno or the supplier is not viable and will incurr un needed costs. Also as a qualified electrician I have undertaken much more indepth training than the meter installers who would come to pull it for me.

## Slide 4: Comments on petition (2 of 3)
Either make isolation or allow isolation. They had a chance with the new generation of meters to separate the incoming tails and the consumer side and once and for all distinguish between unlawful tampering and routine upgrade and maintenance.
We should be able to as we work to current regulations and we have to replace consumer units and certify them
It would make life so much safer and easier for us qualified sparks, maybe u have to show that u are proper qualified with ur tickets, not just part p as that means nothing
If the DNO provided isolators as standard then this wouldn't be an issue, as they don't we should be allowed to work safely without persecution from the DNO, it's a simple process that can be carried out safely.

## Slide 5: Comments on petition (3 of 3)
its ridiculous that we arent allowed to work safely and customers have to wait for a third party for works to commence. If an acreditation scheme was launched we could all be registered, notify the supplier and the DNO of our actions and leave a simple web/paperwork trail for the red tape men to support it!!
It’s a ridiculous old law that assumes everyone is a thief and puts lives at risk.
This is a restrictive practice based on antiquated laws. If safety was the goal, the ability of disconnect is obviously a positive step.

## Slide 6: Comments on facebook (1 of 3)
I pull main fuses all the time I don’t give a f what they say my safety comes first. And yes I re-seal them
Just pull it.
o pull the fuse,you need Authourisation from the Local DNO. FR Clothing Full Face Visor Rubber Gloves Prospective Short Circuit Current at a single phase Cut-out is 21 kva. Goes off like a bomb!
Dunno what you on about the tags already broke.
Pull them sealed or not
You mean you don't have replacement seals in your toolbox??????
If xxx has 6mm bonding he pulls the the fuse and loads it up with 60 amp then calls the DNO to rub it in no drama
have been pulling main fuses for legitimate reasons for 30 odd years without a care in the world. Also who are the petition aimed at ? The DNOs? Pretty sure its nothing to do with the government or in any law.
.

## Slide 7: Comments on facebook (2 of 3)
I do it every board change lol
You’re allowed to as long as it’s for “health & safety reasons”.
Don't need a petition regulation 14 has your back even in a court of lawr
totally agree "in principal" for sparkies to be able to remove cut out fuses "legally". BUT not all sparkies are as safety minded and proffessional as you guys on here, and like me im sure other DNO lads & lasses on here have seen many a dodgy cut out ready to go "bang" and im sure your all aware of the fault level at that point, depending on where you are potentially there could be a 400 amp fuse at each end of the main, thats fed by at least two 500Kva Transformers. And yes I know the less proffessional ones will simply break seals anyway, but the rule at the moment may deter some from doing it. I have a collegue, a very experienced and capable jointer who last year suffered bad burns to the side of his face (despite having full PPE on) becasue the cutout disintegrated without any visible signs of distress, as he removed the fuse. As I say im in favour of trained and authorised Sparkies doing it....
I’ve done my mocopa and before I’d of I did I would of agreed with all of you but after seeing what has happened to qualified professionals when they haven’t worn all their ppe because they became complacent I’d recommend anyone wanting to remove a cutout must attend a course that makes you aware of the consequences and regular equipment checks to retain the ability to remove cutouts

## Slide 8: Comments on facebook (3 of 3)
ts not acctualy illegal to pull the fuse ( for the right reason). Its just illegal to Tamper with it or damage it. So, if you can justify pulling it ( note, there may be an element of criminal damage by cutting off the seal, but a court would never take this seriously if done for the right reason) , cause no damage , replace it and re seal it . you have not committed any offences. To tamper refers to an act which is unlawfull. its the same as opening an unlocked car door to remove the hand brake in order to move the car which is causing an obstruction... Hand Brake back on close door. No damage , lawfull action, No offence committed.
Technically it is illegal, through a number of regulations and agreements between customer, supplier & DNO. Suppliers have the responsibility (and liability) so call them and they have to arrange isolation for you... I've seen the results of cut-out failure and the life changing injuries..
Electricity at work act. You can pull a main fuse if there is no means of isolation what else are you going to do! Why do people keep asking the same question! Just pull the f
Pull it, blow torch incoming terminals. Put old board to one side as evidence of loose tails

## Slide 9: The IET Forum Page
https://www2.theiet.org/forums/forum/messageview.cfm?catid=205&threadid=106805
The legal authority already exists for a court trial to cover inteference with the supplier's equipment, under the terms of the ESQCR regulations, the EAW regulations , the H&SAW etc act, the parts of the Theft Act that apply to Electricity Abstraction as well as the Electricity Act sections 6 & 7. All it needs, is for the DNOs to decide to enforce it. There is also a condition under my employer's terms and conditions for electricity supply, which require the customer not to damage the supplier's equipment and also not to permit anyone other than the supply company to interfere with the seals. We have a record of who sealed every cutout and meter in the island together with the seal numbers, plus a dated photographic record showing its condition including the seals. Missing seals would be reported by meter readers and are investigated. In terms of the maximum penalty, the "scale charge" on conviction is a maximum of £3,000 and / or 4 months "full board and lodgings" courtesy of Her Majesty.
A lot of various comments – bear in mind the comments are those of the IET Members and may not reflect the views of the IET itself

## Slide 10: What next?
It’s unclear who the petition is being sent to, it’s a change.org petition which doesn’t automatically go anywhere.
Some of these comments will be bravado others will be true.
How can we reinforce the actual requirements?
What is the HSE view?