## Contents
Embedded Capacity Register |  | Version 3.0 (of template)
Last Updated [DD/MM/YYYY]:
About
Embedded Capacity Register: means, for each DNO/IDNO Party, a register of site-specific data items for sites which are connected to the DNO/IDNO Party's Distribution System (or which are the subject of an accepted connection offer to be connected to the Distribution System), and which: (a) have an import capacity of 1 MW or more and are subject to a DSR Contract; and/or (b) have generation with a registered capacity of 1 MW or more. The required register format and data items are described in Schedule 31 (Embedded Capacity Register). This Embedded Capacity Register (ECR) includes details of connected generation (including storage) and flexible demand resources connected to [name of DNO/IDNO]'s Distribution System. Generation assets are included where the Registered Capacity is greater than or equal to 1MW. Sites providing Demand Side Response (DSR) are included where the contracted capacity is greater than or equal to 1MW. Part 1 of the ECR provides information on generation (including storage) assets. Part 2 of the ECR provides information on demand sites providing Demand Side Response (DSR) services. The sheets that make up the ECR are: Definitions Part 1 - this describes the different data fields used in Part 1 of the ECR. Register Part 1 - this comprises a list of generation (including storage) assets. Definitions Part 2 (DSR) - this describes the different data fields used in Part 2 of the ECR. Register Part 2 - this comprises a list of demand sites providing DSR services.
Contacts and other useful information
Contact details If you believe that any details pertaining to your site or a specific site are incorrect then please use the contact details provided to notify us so that the details can be corrected in the next version.
DNO/IDNO to provide contact details
| Regional Maps To assist you in identifying the geographic regions referred to in the register, there is a map here. | Please see the 'Electricity distribution map' section on the following website:
https://www.energynetworks.org/operating-the-networks/whos-my-network-operator
Additional Information To assist you in understanding how the capacity of connected generation impacts on our network, we provide the following links to addittional information e.g. heat maps for our regions / areas
DNO/IDNO to provide links to addittional information that readers may find helpful

## Definitions Part 1
Part 1
Introduction
For clarity, sites associated with generation (including storage) are shown in Part 1 of the Embedded Capacity Register. Sites subject to a DSR Contract associated with consumption units are shown in Part 2 of the Embedded Capacity Register.
Register Definitions
| Heading | Explanation
General Data
| Export MPAN / MSID | The core meter point administration number, a 13-digit reference used in MPAS to identify the relevant Metering Point. For generation and storage sites, the "Export" MPAN (or MSID for CVA registered sites) should be included. For "Accepted to Connect" generation or storage entries, please indicate "data not available".
| Import MPAN / MSID | The core meter point administration number, a 13-digit reference used in MPAS to identify the relevant Metering Point. For sites subject to a DSR contract and for storage sites, the "Import" MPAN (or MSID for CVA registered sites) should be included. For generation sites, including generators taking on-site supplies, please indicate "not applicable". For "Accepted to Connect" storage sites, please indicate "data not available".
| Customer Name | Name of party that is connected or contracted to connect.
| Customer Site | Name of customer site/project name.
| Address Line 1 | Address line 1 of the Customer Site.
| Address Line 2 | Address line 2 of the Customer Site.
| Town/ City | Town / City of the Customer Site.
| County | County of the Customer Site.
| Postcode | Postcode of the Customer Site.
| Country | GB country of the Customer Site.
| Location (X-coordinate): Eastings (where data is held) | Six digit British National Grid X coordinate of the Customer Site. Generally this is the same as the Point of Connection / Metering Point. In exceptional cases where the Point of Connection or Metering Point is not located at the Customer Site, the coordinates of the Customer Site is included.
| Location (Y-coordinate): Northings (where data is held) | Six or seven digit British National Grid Y coordinate of the Customer Site. (In Northern Scotland, these will be seven digit coordinates.) Generally this is the same as the Point of Connection / Metering Point. In exceptional cases where the Point of Connection or Metering Point is not located at the Customer Site, the coordinates of the Customer Site is included.
| Grid Supply Point | The point of connection between the transmission system and the distribution system that is linked with the Customer Site.
| Bulk Supply Point | The supply point on the distribution system (representing an EHV/EHV transformation level) that is linked with the Customer Site.
| Primary | The primary substation on the distribution system that is linked with the Customer Site.
| Point of Connection (POC) Voltage (kV) | The voltage at the Point of Connection to the distribution system.
| Licence Area | Licence area Customer Site is connected within
| Energy Source 1 | Meaning any of the below energy source types used in the production of electricity:
Advanced Fuel (produced via gasification or pyrolysis of biofuel or waste)
Biofuel - Biogas from anaerobic digestion (excluding landfill & sewage)
Biofuel - Landfill gas
Biofuel - Sewage gas
Biofuel - Other
Biomass
Fossil - Brown coal/lignite
Fossil - Coal gas
Fossil - Gas
Fossil - Hard coal
Fossil - Oil
Fossil - Oil shale
Fossil - Peat
Fossil - Other
Geothermal
Hydrogen
Nuclear
Solar
Stored Energy (all stored energy irrespectve of the original energy source)
Waste
Water (flowing water or head of water)
Wind
Other
Data not available
| Energy Conversion Technology 1 | Meaning any of the below technology types that export electricity onto a distribution system:
Engine (combustion / reciprocating)
Steam turbine (thermal power plant)
Gas turbine (OCGT)
Steam-gas turbine (CCGT)
Fuel Cell
Hydro - Run of river
Hydro - Reservoir (not pumped)
Hydro - Other
Tidal lagoons
Tidal stream devices
Wave devices
Photovoltaic
Offshore wind turbines
Onshore wind turbines
Geothermal power plant
Storage - Chemical
Storage - Electrical
Storage - Mechanical - Compressed Air (Adiabatic & Diabatic)
Storage - Mechanical - Liquid Air
Storage - Mechanical - Pumped Hydro
Storage - Mechanical - Flywheel
Storage - Thermal
Storage - Electrochemical (Batteries)
Storage - Other
Interconnector
Other
Data not available
| CHP Cogeneration (Yes/No) | Indicates whether the generation in the Customer Site forms part of a CHP scheme.
| Storage Capacity 1 (MWh) | This is the energy capacity of the storage facility (MWh).
| Storage Duration 1 (Hours) | Divide the storage capacity (MWh) by the Registered Capacity (MW) and round it down to the nearest 0.5 (half-hour). If the value is less than 0.5 before rounding, it could be rounded to 0.5 hours so that it is not zero.
| Energy Source & Energy Conversion Technology 1 - Registered Capacity (MW) | This is the Registered Capacity of the "Energy Source 1" expressed in MW.
| Energy Source 2 | Where there is more than one plant type at a site, the "Energy Source 2" and "Energy Source 3" fields would be used to show the energy source types additional to the "Energy Source 1". Meaning any of the energy source types stated above for the "Energy Source 1".
| Energy Conversion Technology 2 | Defined as above for “Energy Conversion Technology 1”.
| CHP Cogeneration 2 (Yes/No) | Indicates whether the generation in the Customer Site forms part of a CHP scheme.
| Storage Capacity 2 (MWh) | This is the energy capacity of the storage facility (MWh).
| Storage Duration 2 (Hours) | Divide the storage capacity (MWh) by the Registered Capacity (MW) and round it down to the nearest 0.5 (half-hour). If the value is less than 0.5 before rounding, it could be rounded to 0.5 hours so that it is not zero.
| Energy Source & Energy Conversion Technology 2 - Registered Capacity (MW) | This is the Registered Capacity of the "Energy Source 2" expressed in MW.
| Energy Source 3 | Defined as above for “Energy Source 2”
| Energy Conversion Technology 3 | Defined as above for “Energy Conversion Technology 2”
| CHP Cogeneration 3 (Yes/No) | Indicates whether the generation in the Customer Site forms part of a CHP scheme.
| Storage Capacity 3 (MWh) | This is the energy capacity of the storage facility (MWh).
| Storage Duration 3 (Hours) | Divide the storage capacity (MWh) by the Registered Capacity (MW) and round it down to the nearest 0.5 (half-hour). If the value is less than 0.5 before rounding, it could be rounded to 0.5 hours so that it is not zero.
| Energy Source & Energy Conversion Technology 3 - Registered Capacity (MW) | This is the Registered Capacity of the "Energy Source 3" expressed in MW.
| Flexible Connection (Yes/No) | Indicates whether the connection is subject to a flexible connection arrangement e.g. Active Network Management (ANM) during system normal conditions.
| Connection Status | “Connected" or "Accepted to Connect"?
Already Connected
| Already connected Registered Capacity (MW) | This is the total Registered Capacity of generation already connected at the site expressed in MW.
| Maximum Export Capacity (MW) | This is the total MW export capacity permitted as per the connection agreement.
| Maximum Export Capacity (MVA) | This is the total MVA export capacity permitted as per the connection agreement.
| Maximum Import Capacity (MW) | This is the total MW import capacity permitted as per the connection agreement.
| Maximum Import Capacity (MVA) | This is the total MVA export capacity permitted as per the connection agreement.
| Date Connected | Date the connection was provided in the case of a new connection. In cases where there was an existing connection, this is date the new equipment was connected.
Accepted to Connect
| Accepted to Connect Registered Capacity (MW) | This is the Registered Capacity of generation that is not already connected, but has been Accepted to Connect, expressed in MW.
| Change to Maximum Export Capacity (MW) | This is the new/additional MW export capacity (i.e. not yet connected) that has been accepted to connect as per the connection agreement.
| Change to Maximum Export Capacity (MVA) | This is the new/additional MVA export capacity (i.e. not yet connected) that has been accepted to connect as per the connection agreement.
| Change to Maximum Import Capacity (MW) | This is the new/additional MW import capacity (i.e. not yet connected) that has been accepted to connect as per the connection agreement.
| Change to Maximum Import Capacity (MVA) | This is the new/additional MVA import capacity (i.e. not yet connected) that has been accepted to connect as per the connection agreement.
| Date Accepted | Date the Customer accepted the connection offer from the DNO or IDNO.
| Target Energisation Date | Estimated date of energisation. This date is likely to change to reflect the latest date notified by customers.
Services Provided
| Distribution Service Provider (Y/N) | Indicates whether a service is provided to the DNO.
| Transmission Service Provider (Y/N) | Indicates whether a service is provided to the ESO or a TO.
| Reference | Unique reference to the service(s) being provided.
Reinforcement Works
| In a Connection Queue (Y/N) | Indicates whether the connection to the Customer Site is in a connection queue.
| Distribution Reinforcement Reference | Unique reference to relevant distribution reinforcement required for connection.
| Transmission Reinforcement Reference | Unique reference to relevant transmission reinforcement required for connection.
Last Update of Data Row
| Last Updated | Date on which entry was last updated.
Note
For each site that meets the criteria to be included in its Embedded Capacity Register, each DNO/IDNO Party shall use reasonable endeavours to populate all relevant fields in the Embedded Capacity Register. Where the DNO/IDNO Party does not hold data for a specific field for a specific site, then the DNO/IDNO Party will populate the relevant field with the words ‘data not available’. If a specific field is not applicable to a specific site, then the DNO/IDNO Party will populate the relevant field with the words ‘data not applicable’.

## Register Part 1
General Data | [36 empty] | Already Connected | [5 empty] | Accepted to Connect | [6 empty] | Services Provided |  |  | Reinforcement Works |  |  | Last Update of Data Row
Export MPAN / MSID | Import MPAN / MSID | Customer Name | Customer Site | Address Line 1 | Address Line 2 | Town/ City | County | Postcode | Country | Location (X-coordinate): Eastings (where data is held) | Location (y-coordinate): Northings (where data is held) | Grid Supply Point | Bulk Supply Point | Primary | Point of Connection (POC) Voltage (kV) | Licence Area | Energy Source 1 | Energy Conversion Technology 1 | CHP Cogeneration (Yes/No) | Storage Capacity 1 (MWh) | Storage Duration 1 (Hours) | Energy Source & Energy Conversion Technology 1 - Registered Capacity (MW) | Energy Source 2 | Energy Conversion Technology 2 | CHP Cogeneration 2 (Yes/No) | Storage Capacity 2 (MWh) | Storage Duration 2 (Hours) | Energy Source & Energy Conversion Technology 2 - Registered Capacity (MW) | Energy Source 3 | Energy Conversion Technology 3 | CHP Cogeneration 3 (Yes/No) | Storage Capacity 3 (MWh) | Storage Duration 3 (Hours) | Energy Source & Energy Conversion Technology 3 - Registered Capacity (MW) | Flexible Connection (Yes/No) | Connection Status | Already connected Registered Capacity (MW) | Maximum Export Capacity (MW) | Maximum Export Capacity (MVA) | Maximum Import Capacity (MW) | Maximum Import Capacity (MVA) | Date Connected | Accepted to Connect Registered Capacity (MW) | Change to Maximum Export Capacity (MW) | Change to Maximum Export Capacity (MVA) | Change to Maximum Import Capacity (MW) | Change to Maximum Import Capacity (MVA) | Date Accepted | Target Energisation Date | Distribution Service Provider (Y/N) | Transmission Service Provider (Y/N) | Reference | In a Connection Queue (Y/N) | Distribution Reinforcement Reference | Transmission Reinforcement Reference | Last Updated

## Definitions Part 2 (DSR)
Part 2
Introduction
For clarity, sites subject to a DSR Contract associated with consumption units are shown in Part 2 of the Embedded Capacity Register. Sites associated with generation (including storage) are shown in Part 1 of the Embedded Capacity Register.
Register Definitions
| Heading | Explanation
General Data
| Import MPAN / MSID | The core meter point administration number, a 13-digit reference used in MPAS to identify the relevant Metering Point. For sites subject to a DSR contract and for storage sites, the "Import" MPAN (or MSID for CVA registered sites) should be included. For generation sites, including generators taking on-site supplies, please indicate "not applicable". For "Accepted to Connect" storage sites, please indicate "data not available".
| Customer Name | Name of party that is connected or contracted to connect.
| Customer Site | Name of customer site/project name.
| Address Line 1 | Address line 1 of the Customer Site.
| Address Line 2 | Address line 2 of the Customer Site.
| Town/ City | Town / City of the Customer Site.
| County | County of the Customer Site.
| Postcode | Postcode of the Customer Site.
| Country | GB country of the Customer Site.
| Location (X-coordinate): Eastings (where data is held) | Six digit British National Grid X coordinate of the Customer Site. Generally this is the same as the Point of Connection / Metering Point. In exceptional cases where the Point of Connection or Metering Point is not located at the Customer Site, the coordinates of the Customer Site is included.
| Location (Y-coordinate): Northings (where data is held) | Six or seven digit British National Grid Y coordinate of the Customer Site. (In Northern Scotland, these will be seven digit coordinates.) Generally this is the same as the Point of Connection / Metering Point. In exceptional cases where the Point of Connection or Metering Point is not located at the Customer Site, the coordinates of the Customer Site is included.
| Grid Supply Point | The point of connection between the transmission system and the distribution system that is linked with the Customer Site.
| Bulk Supply Point | The supply point on the distribution system (representing an EHV/EHV transformation level) that is linked with the Customer Site.
| Primary | The primary substation on the distribution system that is linked with the Customer Site.
| Point of Connection (POC) Voltage (kV) | The voltage at the Point of Connection to the distribution system.
| Licence Area | Licence area Customer Site is connected within
| Flexible Connection (Yes/No) | Indicates whether the connection is subject to a flexible connection arrangement e.g. Active Network Management (ANM) during system normal conditions.
Already Contracted DSR
| DSR Capacity (MW) | This is the capacity of the demand that is included in a DSR services contract.
| Maximum Import Capacity (MW) | This is the total MW import capacity permitted as per the connection agreement.
| Maximum Import Capacity (MVA) | This is the total MVA export capacity permitted as per the connection agreement.
| Date Contracted | This is the date the DSR services contract commenced.
Services Provided
| Distribution Service Provider (Y/N) | Indicates whether a service is provided to the DNO.
| Transmission Service Provider (Y/N) | Indicates whether a service is provided to the ESO or a TO.
| Reference | Unique reference to the service(s) being provided.
Last Update of Data Row
| Last Updated | Date on which entry was last updated.
Note
For each site that meets the criteria to be included in its Embedded Capacity Register, each DNO/IDNO Party shall use reasonable endeavours to populate all relevant fields in the Embedded Capacity Register. Where the DNO/IDNO Party does not hold data for a specific field for a specific site, then the DNO/IDNO Party will populate the relevant field with the words ‘data not available’. If a specific field is not applicable to a specific site, then the DNO/IDNO Party will leave the field blank.

## Register Part 2 (DSR)
General Data | [16 empty] | Already Connected |  |  |  | Services Provided
Import MPAN / MSID | Customer Name | Customer Site | Address Line 1 | Address Line 2 | Town/ City | County | Postcode | Country | Location (X-coordinate): Eastings (where data is held) | Location (y-coordinate): Northings (where data is held) | Grid Supply Point | Bulk Supply Point | Primary | Point of Connection (POC) Voltage (kV) | Licence Area | Flexible Connection (Yes/No) | DSR Capacity (MW) | Maximum Import Capacity (MW) for Site | Maximum Import Capacity (MVA) for Site | Date Contracted | Distribution Service Provider (Y/N) | Transmission Service Provider (Y/N) | Reference | Last Updated

## Distribution_Services
NS1 | NS2 | NS3 | NS4 | NS5 | NS6 | NS7 | NS8
Distribution Services
Asset Reference | Aggregated Service? (Yes/No) | Service Reference | Grid Supply Point | Type of Service | MW Provided | Contract End Date | Exclusivity? (Yes/No)

## Reinforcements
NR1 | NR2 | NR3 | NR4 | NR5 | NR6 | NR7
NETWORK REINFORCEMENT
Distribution Reinforcement Reference (DER Template 54) | Works Reference | Works Description | Works Completion Date | Reinforcement Driver | Reinforcement Type | Licence Area
NR1 | NR2 | NR3 | NR4 | NR5 | NR6 | NR7
NETWORK REINFORCEMENT
Transmission Reinforcement Reference (DER Template 55) | Works Reference | Works Description | Works Completion Date | Reinforcement Driver | Reinforcement Type | Licence Area

## Lists (hidden)
| ECR Energy Source | Technology options for: Advanced Fuel (produced via gasification or pyrolysis of biofuel or waste) | Technology options for: Biofuel - Biogas from anaerobic digestion (excluding landfill & sewage) | Technology options for: Biofuel - Landfill gas | Technology options for: Biofuel - Sewage gas | Technology options for: Biofuel - Other | Technology options for: Biomass | Technology options for: Fossil - Brown coal/lignite | Technology options for: Fossil - Coal gas | Technology options for: Fossil - Gas | Technology options for: Fossil - Hard coal | Technology options for: Fossil - Oil | Technology options for: Fossil - Oil shale | Technology options for: Fossil - Peat | Technology options for: Fossil - Other | Technology options for: Geothermal | Technology options for: Hydrogen | Technology options for: Nuclear | Technology options for: Solar | Technology options for: Stored Energy (all stored energy irrespective of the original energy source) | Technology options for: Waste | Technology options for: Water (flowing water or head of water) | Technology options for: Wind | Technology options for: Other | Technology options for: Data not available | Flexible Connection (Yes/No) | Distribution Service Provider | Transmission Service Provider | Licence Area (Host DNO) | Status | CHP Co-Generation | Connection queue | Country | Reinforcment Driver | Reinforcement Type | Aggregated Service? | Exclusivity?
AdvancedFuelproducedviagasificationorpyrolysisofbiofuelorwaste | Advanced Fuel (produced via gasification or pyrolysis of biofuel or waste) | Engine (combustion / reciprocating) | Engine (combustion / reciprocating) | Engine (combustion / reciprocating) | Engine (combustion / reciprocating) | Engine (combustion / reciprocating) | Steam turbine (thermal power plant) | Steam turbine (thermal power plant) | Engine (combustion / reciprocating) | Engine (combustion / reciprocating) | Steam turbine (thermal power plant) | Engine (combustion / reciprocating) | Engine (combustion / reciprocating) | Steam turbine (thermal power plant) | Engine (combustion / reciprocating) | Geothermal power plant | Engine (combustion / reciprocating) | Steam turbine (thermal power plant) | Photovoltaic | Storage - Chemical | Steam turbine (thermal power plant) | Hydro - Run of river | Offshore wind turbines | Interconnector | Engine (combustion / reciprocating) | Yes | Yes | Yes | Eastern Power Networks plc | Accecpted to Connect | Yes | Yes | England | Connections Driven | Thermal Uprating | Yes | Yes
BiofuelBiogasfromanaerobicdigestionexcludinglandfillsewage | Biofuel - Biogas from anaerobic digestion (excluding landfill & sewage) | Steam turbine (thermal power plant) | Steam turbine (thermal power plant) | Steam turbine (thermal power plant) | Steam turbine (thermal power plant) | Steam turbine (thermal power plant) | Other | Other | Steam turbine (thermal power plant) | Steam turbine (thermal power plant) | Other | Steam turbine (thermal power plant) | Steam turbine (thermal power plant) | Other | Steam turbine (thermal power plant) | Other | Steam turbine (thermal power plant) | Other | Other | Storage - Electrical | Other | Hydro - Reservoir (not pumped) | Onshore wind turbines | --- | Steam turbine (thermal power plant) | No | No | No | Electricity North West plc | Connected | No | No | Scotland | General Reinforcements | Voltage Related | No | No
BiofuelLandfillgas | Biofuel - Landfill gas | Gas turbine (OCGT) | Gas turbine (OCGT) | Gas turbine (OCGT) | Gas turbine (OCGT) | Gas turbine (OCGT) | Data not available | Data not available | Gas turbine (OCGT) | Gas turbine (OCGT) | Data not available | Gas turbine (OCGT) | Gas turbine (OCGT) | Data not available | Gas turbine (OCGT) | Data not available | Gas turbine (OCGT) | Data not available | Data not available | Storage - Mechanical - Compressed Air (Adiabatic & Diabatic) | Data not available | Hydro - Other | Other | Engine (combustion / reciprocating) | Gas turbine (OCGT) | To Be Confirmed | To Be Confirmed | To Be Confirmed | London Power Networks plc |  | To Be Confirmed | To Be Confirmed | Wales |  | Short Circuit Uprating
BiofuelSewagegas | Biofuel - Sewage gas | Steam-gas turbine (CCGT) | Steam-gas turbine (CCGT) | Steam-gas turbine (CCGT) | Steam-gas turbine (CCGT) | Steam-gas turbine (CCGT) |  |  | Steam-gas turbine (CCGT) | Steam-gas turbine (CCGT) |  | Steam-gas turbine (CCGT) | Steam-gas turbine (CCGT) |  | Steam-gas turbine (CCGT) |  | Steam-gas turbine (CCGT) |  |  | Storage - Mechanical - Liquid Air |  | Tidal lagoons | Data not available | Steam turbine (thermal power plant) | Steam-gas turbine (CCGT) |  |  |  | Northern Powergrid (Northeast) plc |  |  |  | To Be Confirmed |  | Condition Based Replacement
BiofuelOther | Biofuel - Other | Other | Other | Other | Other | Other |  |  | Other | Other |  | Other | Other |  | Other |  | Fuel cell |  |  | Storage - Mechanical - Pumped Hydro |  | Tidal stream devices |  | Gas turbine (OCGT) | Other |  |  |  | Northern Powergrid (Yorkshire) plc | [5 empty] | Harmonics Related
Biomass | Biomass | Data not available | Data not available | Data not available | Data not available | Data not available |  |  | Data not available | Data not available |  | Data not available | Data not available |  | Data not available |  | Other |  |  | Storage - Mechanical - Flywheel |  | Wave devices |  | Steam-gas turbine (CCGT) | Data not available |  |  |  | Scottish Hydro Electric Power Distribution plc | [5 empty] | Other
FossilBrowncoallignite | Fossil - Brown coal/lignite | [15 empty] | Data not available |  |  | Storage - Thermal |  | Other |  | Other |  |  |  |  | South Eastern Power Networks plc
FossilCoalgas | Fossil - Coal gas | [18 empty] | Storage - Electrochemical (Batteries) |  | Data not available |  | Data not available |  |  |  |  | Southern Electric Power Distribution plc
FossilGas | Fossil - Gas | [18 empty] | Storage - Other |  | (For pumped hydro please select Stored Energy in the energy source column) | [6 empty] | SP Distribution Ltd
FossilHardcoal | Fossil - Hard coal | [18 empty] | Data not available | [8 empty] | SP Manweb plc
FossilOil | Fossil - Oil | [27 empty] | Western Power Distribution (East Midlands) plc
FossilOilshale | Fossil - Oil shale | [27 empty] | Western Power Distribution (South Wales) plc
FossilPeat | Fossil - Peat | [27 empty] | Western Power Distribution (South West) plc
FossilOther | Fossil - Other | [27 empty] | Western Power Distribution (West Midlands) plc
Geothermal | Geothermal
Hydrogen | Hydrogen
Nuclear | Nuclear
Solar | Solar
StoredEnergyallstoredenergyirrespectiveoftheoriginalenergysource | Stored Energy (all stored energy irrespective of the original energy source)
Waste | Waste
Waterflowingwaterorheadofwater | Water (flowing water or head of water)
Wind | Wind
Other | Other
Datanotavailable | Data not available