## Example 1
Example 1
Motorway service area, expanding from 2MVA to 20MVA within existing site for EV charging, over next 25 years. Estimated ramped profile and phasing plan provided, requesting initial extension asset to cater for full, long-term anticipated load.
High | 2 Points
Low | 1 Point
Criteria | Non-Speculative | Points | Speculative | Points | Justification / Comments
1. Their detailed electrical load requirements are not known HIGH | Where the load requirement estimates are within [20%] of Industry Guidelines |  | Where the load requirement estimates are [100%] greater than Industry Guidelines |  | Industry guidelines not available so neither apply
2. The development is phased over a period of time and the timing of the phases is unclear LOW | Overall short timescale, less than [24] months OR A clear phasing plan is provided for development. |  | Overall long timescale, more than [10] years AND A phasing plan is not provided for development. |  | N/A
3. The development is phased over a period of time and the timing of the phases is unclear (housing developments only) HIGH | Where there are less than [100] dwellings OR Where there are less than three permanent (distribution) substations on the total site (housing development sites only). |  | Where there are more than [5000] dwellings OR Where there are more than [10] permanent (distribution) substations on the total site (housing development sites only). |  | N/A
4. The capacity requested caters for future expansion rather than the immediate requirements of (an) end user(s) HIGH | A profile is provided which gives forward notice of ramped capacity | 2 | No ramp profile and capacity is for future expansion. |  | A ramped load profile has been provided
5. The capacity requested caters for future expansion rather than the immediate requirements of (an) end user(s) HIGH | A financial commitment to assets needed for future expansion rather than immediate requirements. | 2 | N/A | N/A | In this example the customer has requested extension assets for the final 20MVA load. As this will be over the minimum scheme for the initial 2MVA, this will be charged in full plus O&M and there constitutes a financial commitment.
6. The capacity requested caters for future speculative phases of a development rather than the initial phase(s) of the development HIGH | When more than [75%] of the total connections is delivered in the first phase OR More than [75%] of the total load is delivered in the first phase |  | The infrastructure only is being provided, with no connections for end users requested. AND Not within Local Authority development plans |  | N/A
7. Planning Permission granted | Project has achieved Outline Planning Permission- LOW OR Project has achieved Detailed Planning Permission- HIGH |  | N/A | N/A | No planning approval so unable to score in either column.
| NON-SPECULATIVE TOTAL POINTS: | 4 | SPECULATIVE TOTAL POINTS: | 0
Final Outcome:
Non-Speculative
Conclusion
In this application only criteria 4 and 5 apply. Because the customer has met the criteria of making a financial commitment to the project by a.) paying O&M Charges for the assets that are required for future needs and b.) providing a ramped load profile. Note, provision of a ramped load profile is also considerred as a financial commitment because DUoS charges will be applied under the terms of the connection agreement in accordance with the profile provided. Ramped load profiles are normally available for applications over 1MVA. Hence, in accordance with the scoring methodology, as the total value of points summated in the non-speculative column is greater than those in the speculative column, the application will be considerred as a non-speculative application and the cost apportionment rules will be applied where appropriate.
Note on E7: Melissa Kendal:
Note on F7: Melissa Kendal:

## Example 2
Example 2
Generation connection for PV and possibly battery storage, no land interest or planning permission, but letter of authority. Several different PV outputs and battery capacities under investigation.
High | 2 Points
Low | 1 Point
Criteria | Non-Speculative | Points | Speculative | Points | Justification / Comments
1. Their detailed electrical load requirements are not known HIGH | Where the load requirement estimates are within [20%] of Industry Guidelines |  | Where the load requirement estimates are [100%] greater than Industry Guidelines |  | No load requirements so not applicable
2. The development is phased over a period of time and the timing of the phases is unclear LOW | Overall short timescale, less than [24] months OR A clear phasing plan is provided for development. |  | Overall long timescale, more than [10] years AND A phasing plan is not provided for development. |  | N/A
3. The development is phased over a period of time and the timing of the phases is unclear HIGH | Where there are less than [100] dwellings OR Where there are less than three permanent (distribution) substations on the total site (housing development sites only). |  | Where there are more than [5000] dwellings OR Where there are more than [10] permanent (distribution) substations on the total site (housing development sites only). |  | N/A
4. The capacity requested caters for future expansion rather than the immediate requirements of (an) end user(s) HIGH | A profile is provided which gives forward notice of ramped capacity (see paragraph XX). |  | No ramp profile and capacity is for future expansion. |  | N/A
5. The capacity requested caters for future expansion rather than the immediate requirements of (an) end user(s) HIGH | A financial commitment to assets needed for future expansion rather than immediate requirements. |  | N/A | N/A | N/A
6. The capacity requested caters for future speculative phases of a development rather than the initial phase(s) of the development HIGH | When more than [75%] of the total connections is delivered in the first phase OR More than [75%] of the total load is delivered in the first phase |  | The infrastructure only is being provided, with no connections for end users requested. AND Not within Local Authority development plans |  | N/A
7. Planning Permission granted | Project has achieved Outline Planning Permission- LOW OR Project has achieved Detailed Planning Permission- HIGH |  | N/A | N/A | N/A
| NON-SPECULATIVE TOTAL POINTS: | 0 | SPECULATIVE TOTAL POINTS: | 0
Final Outcome:
Not Eligible for Scoring
Conclusion
In this example, the Minimum Information requirements have not been met e.g. the Customer's requested capacity is not known, therefore the application is not eligible to be scored
Note on E8: Melissa Kendal:
Note on F8: Melissa Kendal:

## Example 3
Example 3
Housing development with associated infrastructure (e.g. schools, light commercial/retail provision) for 6000 houses, 30MVA. Features in local area energy plan, request is for initial infrastructure and 1 distribution sub-station to feed site offices. No overall land interest or outline planning permission application submitted to date. Overall phasing plan provided, but no developers have yet been awarded rights to develop any land.
High | 2 Points
Low | 1 Point
Criteria | Non-Speculative | Points | Speculative | Points | Justification / Comments
1. Their detailed electrical load requirements are not known HIGH | Where the load requirement estimates are within [20%] of Industry Guidelines | 2 | Where the load requirement estimates are [100%] greater than Industry Guidelines |  | The application cites an average load of 5kW which is within the BSRIA guidelines of 5.5kW per house
2. The development is phased over a period of time and the timing of the phases is unclear LOW | Overall short timescale, less than [24] months OR A clear phasing plan is provided for development. |  | Overall long timescale, more than [10] years AND A phasing plan is not provided for development. |  | N/A No detail provided so can't score
3. The development is phased over a period of time and the timing of the phases is unclear HIGH | Where there are less than [100] dwellings OR Where there are less than three permanent (distribution) substations on the total site (housing development sites only). |  | Where there are more than [5000] dwellings OR Where there are more than [10] permanent (distribution) substations on the total site (housing development sites only). | 2 | Application is for 6,000 dwellings
4. The capacity requested caters for future expansion rather than the immediate requirements of (an) end user(s) HIGH | A profile is provided which gives forward notice of ramped capacity (see paragraph XX). |  | No ramp profile and capacity is for future expansion. | 2 | No electrical load profile provided
5. The capacity requested caters for future expansion rather than the immediate requirements of (an) end user(s) HIGH | A financial commitment to assets needed for future expansion rather than immediate requirements. |  | N/A | N/A | N/A
6. The capacity requested caters for future speculative phases of a development rather than the initial phase(s) of the development HIGH | When more than [75%] of the total connections is delivered in the first phase OR More than [75%] of the total load is delivered in the first phase |  | The infrastructure only is being provided, with no connections for end users requested. AND Not within Local Authority development plans |  | N/A
7. Planning Permission granted | Project has achieved Outline Planning Permission- LOW OR Project has achieved Detailed Planning Permission- HIGH |  | N/A | N/A | No planning approval so ignoring appearance on local area energy plan
| NON-SPECULATIVE TOTAL POINTS: | 2 | SPECULATIVE TOTAL POINTS: | 4
Final Outcome:
Speculative
Conclusion
This Cutomer application is for a load that scores in favour of being non-speculative for Criteria 1 when taking into account that the non-domestic elements do not exceed the Building Services Research and Information Association (BSRIA) industry guidelines for domestic housing of 5.5kW per property. The application is for more than 6,000 domestic dwellings, so meets the requirement for Speculative pts to be awarded for Criteria 3. There is no electrical load profile provided, so meets the requirement for Speculative pts to be awarded for Criteria 4. No other criteria are met. As the total value of pts allocated to the Speculative column (4pts) is greater than the total value of pts allocated to theNon-Speculative column (2pts), this application shall be priced on the basis that it is Speculative.
Note on E7: Melissa Kendal:
Note on F7: Melissa Kendal:

## Example 4
Example 4
Mixed commercial development in area identified for redevelopment in city centre. Previously mixed office space above retail outlets. Unoccupied site for several years, acquired by developers, but no definite plans. Identified for development in local area plan, but no outline planning request submitted yet. Existing buildings likely to be demolished. Customer applies for 10MVA supply for redeveloped site; outline load breakdown retail/domestic/commercial, however detailed ramp up profile has been provided for full capacity.
High | 2 Points
Low | 1 Point
Criteria | Non-Speculative | Points | Speculative | Points | Justification / Comments
1. Their detailed electrical load requirements are not known HIGH | Where the load requirement estimates are within [20%] of Industry Guidelines |  | Where the load requirement estimates are [100%] greater than Industry Guidelines |  | Insufficient information to verify alignment of load with industry requirements
2. The development is phased over a period of time and the timing of the phases is unclear LOW | Overall short timescale, less than [24] months OR A clear phasing plan is provided for development. |  | Overall long timescale, more than [10] years AND A phasing plan is not provided for development. |  | N/A
3. The development is phased over a period of time and the timing of the phases is unclear HIGH | Where there are less than [100] dwellings OR Where there are less than three permanent (distribution) substations on the total site (housing development sites only). |  | Where there are more than [5000] dwellings OR Where there are more than [10] permanent (distribution) substations on the total site (housing development sites only). |  | N/A
4. The capacity requested caters for future expansion rather than the immediate requirements of (an) end user(s) HIGH | A profile is provided which gives forward notice of ramped capacity (see paragraph XX). | 2 | No ramp profile and capacity is for future expansion. |  | A detailed ramp up load profile has been provided
5. The capacity requested caters for future expansion rather than the immediate requirements of (an) end user(s) HIGH | A financial commitment to assets needed for future expansion rather than immediate requirements. |  | N/A | N/A | N/A
6. The capacity requested caters for future speculative phases of a development rather than the initial phase(s) of the development | When more than [75%] of the total connections is delivered in the first phase OR More than [75%] of the total load is delivered in the first phase |  | The infrastructure only is being provided, with no connections for end users requested. AND Not within Local Authority development plans |  | N/A
7. Planning Permission granted | Project has achieved Outline Planning Permission- LOW OR Project has achieved Detailed Planning Permission- HIGH |  | N/A | N/A | N/A
| NON-SPECULATIVE TOTAL POINTS: | 2 | SPECULATIVE TOTAL POINTS: | 0
Final Outcome:
Non-Speculative
Conclusion
Whilst this Customer application has met the Minimum Information requirements for the project as a whole, there is insufficient detail provided to determine whether the load assumptions are aligned to Industry Guidelines, so no score can be attributed under Criteria 1. A detailed ramp up load profile has been provided, so the requirements of Criteria 4 have been met. No other criteria are met. Therefore, as the total value of pts allocated to the Non-Speculative column (2pts) is greater than the total value of pts allocated to the Speculative column (0pts), this application shall be priced on the basis that it is Non-Speculative.
Note on E7: Melissa Kendal:
Note on F7: Melissa Kendal:

## Example 5
Example 5
An application has been received for a new 6MVA housing development with future expansion to 12MVA (total). Timescales for the future expansion are unknown. The new housing Development has been designed with Low carbon technologies such as EV chargers and Heat pumps making the typical ADMD of 12-14kVA per plot. The First Phase of the Development has received detailed planning approval and will start Q4 2022. The latter phases of the development have not received planning approval. A timescale of 2 – 3 years has been indicated to the developer for the connection of a new 20MVA Primary Substation to accommodate the full capacity.
High | 2 Points
Low | 1 Point
Criteria | Non-Speculative | Points | Speculative | Points | Justification / Comments
1. Their detailed electrical load requirements are not known (for Commercial use only) HIGH | Where the load requirement estimates are within [20%] of Industry Guidelines |  | Where the load requirement estimates are [100%] greater than Industry Guidelines |  | The industry Guidelines aren't sufficiently detailed to determine whether 12-14kVA per plot is realistic or not. The BSRIA guidelines are very high-level and at 5.5kW does not take the identified technology into account
2. The development is phased over a period of time and the timing of the phases is unclear LOW | Overall short timescale, less than [24] months OR A clear phasing plan is provided for development. |  | Overall long timescale, more than [10] years AND A phasing plan is not provided for development. |  | N/A
3. The development is phased over a period of time and the timing of the phases is unclear HIGH | Where there are less than [100] dwellings OR Where there are less than three permanent (distribution) substations on the total site (housing development sites only). |  | Where there are more than [5000] dwellings OR Where there are more than [10] permanent (distribution) substations on the total site (housing development sites only). |  | Number of dwelings not stated.
4. The capacity requested caters for future expansion rather than the immediate requirements of (an) end user(s) HIGH | A profile is provided which gives forward notice of ramped capacity (see paragraph XX). |  | No ramp profile and capacity is for future expansion. | 2 | No profile available
5. The capacity requested caters for future expansion rather than the immediate requirements of (an) end user(s) HIGH | A financial commitment to assets needed for future expansion rather than immediate requirements. |  | N/A | N/A | N/A
6. The capacity requested caters for future speculative phases of a development rather than the initial phase(s) of the development HIGH | When more than [75%] of the total connections is delivered in the first phase OR More than [75%] of the total load is delivered in the first phase |  | The infrastructure only is being provided, with no connections for end users requested. AND Not within Local Authority development plans |  | NB: Only 50% of load will commence in 2022
7. Planning Permission granted | Project has achieved Outline Planning Permission- LOW OR Project has achieved Detailed Planning Permission- HIGH | 2 | N/A | N/A
| NON-SPECULATIVE TOTAL POINTS: | 2 | SPECULATIVE TOTAL POINTS: | 2
Final Outcome:
Non-Speculative
Conclusion
Whilst this Customer application has met the minimum Information requirements for the project as a whole, there is insufficient detail in the Industry Guidelines to accurately assess the new technological equipment that is intended to be installed in this housing development, so no score can be attributed under Criteria 1. The number of dwellings to be built is not specified, so no scores can be attributed to Criteria 3. No detailed ramp up load profile has been provided, so the Speculative requirements of Criteria 4 are met. No other criteria are met. Therefore, as the total value of pts allocated to the Non-Speculative column (2pts) is equal to the total value of pts allocated to the Speculative column (2pts), this application shall be priced on the basis that it is Not Speculative as per the scoring methodology described above.
Note on E7: Melissa Kendal:
Note on F7: Melissa Kendal: