5A. RE-CLASSIFICATION OF A SINGLE SITE

5A.1A	DNO/IDNO Party shall no longer treat a Single Site as a Final Demand Site (and shall re-classify it as a Non-Final Demand Site) if the DNO/IDNO Party at any time has been notified that the Single Site is an Eligible Services Facility and has been provided with the certification necessary to satisfy the definition of a Non-Final Demand Site.

5A.1B	for a Final Demand Site that is defined as a Backup Connection Site or Licence Exempt Back-Up Connection Site, and has been provided with the evidence necessary to satisfy the definition, the site will be allocated to the relevant “No Residual” charging band based on the voltage of connection.

5A.2	Where Paragraph 5A.1A and 5A.1B  applies the:

(a)	DNO/IDNO Party will notify the relevant Customer's import/export Registrant(s) of the re-classification by the end of the following month;

(b)	re-classification shall apply from the next billing period; and

ADD A NEW DEFINITION INTO S8.2:

| Backup Connection Site | A Single Site which has the sole purpose of providing redundancy to a specified other Single Site, and where the redundant capacity can only be used at times when the capacity at the specified other Single Site is unavailable. |
| --- | --- |
| Licence Exempt System | Means an electricity distribution system that is not owned or operated by a DNO/IDNO Party. |
| Licence Exempt System Back-Up Connection Site | Is a connection to the DNOs Distribution System which is used for redundancy purposes and the primary source of power is via the Licence Exempt System. The capacity reserved for redundancy must be a subset of the capacity reserved by the licence exempt system. |