Para 5A.1B replaced with the below:

5A.1B For a Backup Connection to a Final Demand Site, and where the evidence necessary to satisfy the definition has been provided, that Backup Connection will be allocated to the relevant “No Residual” charging band based on the voltage of connection.

| The below definition added, and all other new definitions removed: |  |
| --- | --- |
| Backup Connection | An import Metering Point or Metering System with associated metering equipment which only measures electricity which is consumed at a Single Site for the sole purpose of providing redundancy, and where the redundant capacity can only be used at times when the capacity provided by another Metering Point or Metering System with associated metering equipment is unavailable, and where the Single Site is generally operated such that the redundant capacity is only required under exceptional circumstances such as in the event of unexpected equipment failure, maintenance of equipment, or other technical reason. and: (i) if registered in MPAS, is subject to certification from a Supplier Party that the site meets the criteria in the paragraph above, which certificate has been provided to the DNO/IDNO Party; or (ii) if registered in CMRS, is subject to certification from the Customer (or its CVA Registrant) that the site meets the criteria in the paragraph above, which certificate has been provided to the DNO/IDNO Party. |