| Company | Confidential/ Anonymous | - Do you understand the intent of the CP? | - Working Group Comments |
| --- | --- | --- | --- |
| SP Energy Networks | Non-confidential | - Yes |  |
| Northern Powergrid | Non-confidential | - Yes |  |
| Scottish Hydro Electric Power Distribution plc and Southern Electric Power Distribution plc | Non-confidential | - Yes |  |
| National Grid Electricity Distribution | Non-confidential | - Yes |  |
| UK Power Networks | Non-confidential | - Yes |  |
| Working Group Conclusions: |  |  |  |

| Company | Confidential/ Anonymous | - Are you supportive of the principle of the CP? | - Working Group Comments |
| --- | --- | --- | --- |
| SP Energy Networks | Non-confidential | - Yes |  |
| Northern Powergrid | Non-confidential | - Yes. We agree that issue of fairness needs to be addressed where a site has been reallocated to a different band within the 24 months to be averaged for the banding allocation exercise. However, we do not think this CP goes far enough, as it does not consider the impact on other customers who have changed capacity within the 24-month period but have not triggered the 50% clause or have not sought a reallocation (e.g. if banding was not transparent to a customer). - - These would be ineligible for reallocation under the proposed changes to section 6 of Schedule 32 and would therefore be banded on an average including some months at their old capacity, which could see them allocated into a different (perhaps ‘unfair’) band. - - A customer could be in a higher band in two successive banding periods because they have not reduced their capacity by more than 50% and because of the timing of that reduction. If the reduction was before the 24-month period they would be allocated to a band based on the lower capacity, but if it was within the 24-month period then some months at the old capacity will be included which could see them allocated to a different band. - - Most customers will be unaware of the months to be included in the 24-month average and therefore cannot ensure that they request any changes in capacity before this period begins. Further, and in line with Ofgem’s TCR decision, residual charges should not incentivise behaviour. Hence, it is arguably not preferable that a customer should seek to change in a certain way – at a certain time – to influence the outcome of what is in simple terms a cost-recovery mechanism. - - The 24-month period to be used for the next allocation process includes several months from before the TCR changes were implemented in Apr-22, meaning that it is likely that most customers were not aware of the impacts of the TCR change and the implications of higher MICs in time to request changes to their MICs which will impact the next allocation exercise. - - It is possible that two sites with the same starting MIC and reducing by the same amount (<50%) could be allocated to different bands depending on the effective from date of their change in capacity. |  |
| Scottish Hydro Electric Power Distribution plc and Southern Electric Power Distribution plc | Non-confidential | - Yes |  |
| National Grid Electricity Distribution | Non-confidential | - Yes |  |
| UK Power Networks | Non-confidential | - Yes |  |
| Working Group Conclusions: |  |  |  |

| Company | Confidential/ Anonymous | - Are there any other DCUSA changes that you are aware of that this Change could impact? If so, please provide the change numbers and your rationale. | - Working Group Comments |
| --- | --- | --- | --- |
| SP Energy Networks | Non-confidential | - No |  |
| Northern Powergrid | Non-confidential | Yes. DCP407 ‘Access SCR: Speculative Development’ also proposes to amend section 6 of Schedule 32 to ensure a fair allocation of a Final Demand Site with a phased MIC (comparable to one without a phased MIC). DCP407 is likely to impact paragraph 6.5, which is also proposed to be amended by DCP389 as identified by the Working Group.. In our DCP407 consultation response, we proposed changes to the wording that would be implemented by DCP389, therefore all of these CPs may be ‘interactive’ and therefore additional care needs to be taken. |  |
| Scottish Hydro Electric Power Distribution plc and Southern Electric Power Distribution plc | Non-confidential | DCP 389 would be impacted by this change, as 389 looks to introduce an annual review. If this change was to be implemented then the specific scenarios within the proposal could occur during the annual review and would need to be taken into account. We do not believe the introduction of this change proposal would make DCP 389 any less viable to implement and would make the annual review process fairer. |  |
| National Grid Electricity Distribution | Non-confidential | - No |  |
| UK Power Networks | Non-confidential | - As noted by the working group, DCP389 which has been with the Authority for a decision since 13 July, does have a potential impact upon this CP, and so consideration does need to be given to what (if anything) can be done, in the absence of an earlier Ofgem decision on DCP389, to avoid the need for a further CP were this CP and DCP389 to both be approved. |  |
| Working Group Conclusions: |  |  |  |

| Company | Confidential/ Anonymous | - Do you consider that the proposal better facilitates the DCUSA Charging Objectives? Please give supporting reasons. | - Working Group Comments |
| --- | --- | --- | --- |
| SP Energy Networks | Non-confidential | Yes, we agree with the proposer that the change enacted by DCP 410 would facilitate better competition by removing methodology barriers which could unfairly reallocate sites to the wrong band. |  |
| Northern Powergrid | Non-confidential | - Charging Objective 2 will be positively impacted for single sites that have changed capacity by more than 50% within the 24-month period to be used for the banding allocation exercise. - The impact remains negative for single sites that have changed capacity by less than 50% within the 24-month period, as described in our answer to Q2 above. Therefore, it is our view that this CP could have a greater positive impact on Charging Objective 2. |  |
| Scottish Hydro Electric Power Distribution plc and Southern Electric Power Distribution plc | Non-confidential | Yes the proposal prevents customers being reallocated to ‘incorrect’ bands based on outdated data. In line with Objective 2 this proposal sets out to ‘reduce harmful distortions which impact competition in the market’. |  |
| National Grid Electricity Distribution | Non-confidential | We agree that this change would have a positive effect on Charging Objective 2. |  |
| UK Power Networks | Non-confidential | We are in agreement with the working group, that this change will better facilitate DCUSA Charging Objective 2, as it will allow sites to be allocated to an appropriate residual charging band based on a fairer assessment of the average capacity/consumption and thus would promote enhanced competition among similar end users. |  |
| Working Group Conclusions: |  |  |  |

| Company | Confidential/ Anonymous | - Are you aware of any wider industry developments that may impact upon or be impacted by this DCP? | - Working Group Comments |
| --- | --- | --- | --- |
| SP Energy Networks | Non-confidential | No |  |
| Northern Powergrid | Non-confidential | - No |  |
| Scottish Hydro Electric Power Distribution plc and Southern Electric Power Distribution plc | Non-confidential | - No |  |
| National Grid Electricity Distribution | Non-confidential | - No |  |
| UK Power Networks | Non-confidential | - No |  |
| Working Group Conclusions: |  |  |  |

| Company | Confidential/ Anonymous | - Are you supportive of the proposed implementation date? | - Working Group Comments |
| --- | --- | --- | --- |
| SP Energy Networks | Non-confidential | Yes |  |
| Northern Powergrid | Non-confidential | - We believe that the legal text has been misinterpreted by the working group and that the change needs to be implemented by Apr-24 in order to be used for the next round of banding allocations rather than Apr-23. - The legal text specifies that the data needs to be provided to the banding agent by 31 March in year t-3, which would be 31 March 2024 (i.e. March in the 2023/24 regulatory year), therefore this could be implemented by Apr-24 at the latest. |  |
| Scottish Hydro Electric Power Distribution plc and Southern Electric Power Distribution plc | Non-confidential | - Yes |  |
| National Grid Electricity Distribution | Non-confidential | - Yes |  |
| UK Power Networks | Non-confidential | - Yes |  |
| Working Group Conclusions: |  |  |  |

| Company | Confidential/ Anonymous | - Do you have any comments on the draft legal text? | - Working Group Comments |
| --- | --- | --- | --- |
| SP Energy Networks | Non-confidential | The new paragraphs of legal text all end with “following the effective from date of the reallocation”. This does not read well, we would suggest rewording slightly to “following the date of the band reallocation”, to enhance understanding for the layperson. |  |
| Northern Powergrid | Non-confidential | This CP goes someway to address the concerns we set out in DCP360 ‘Ofgem Targeted Charging Review Implementation: Allocation to Bands and Interventions’, where we did not support the ‘blind average’ approach taken to allocating a Final Demand Site to a charging band. We argued for a more proactive approach which we considered would reduce the potential for: - reallocations mid-price control period; and - disputes raised by customers. However, this CP does not go far enough. We propose that the legal text is amended to allow a DNO/IDNO Party to consider changes in MIC during the period in which average data is being assessed and which is not restricted to where a Final Demand Site has been reallocated in the previous fixed banding period via the exceptional circumstances. We do not think that this necessarily needs to be subject to a prescriptive materiality test but we recognise that the absence of such a defined threshold may lead to inconsistent approaches taken by different DNO/IDNO Party(ies). As such, the Working Group should consider a lower threshold to satisfy this test when initially allocating a Final Demand Site to a charging band, such as [20%]. Whilst this threshold may be arbitrary, the 50% test that exists now is equally so. - We recognise that either method would create divergence between the revised allocation approach (to be implemented by this CP) and the exceptional circumstances set out in section 6 of Schedule 32. It is our view that facilitating allocation of a Final Demand Site to the appropriate charging band would reduce the number of customers seeking reallocation mid-period – and therefore a change to the materiality applicable to exceptional circumstances is not necessary to justify this CP being implemented (i.e. different approaches to materiality can be justified). |  |
| Scottish Hydro Electric Power Distribution plc and Southern Electric Power Distribution plc | Non-confidential | - No |  |
| National Grid Electricity Distribution | Non-confidential | - No |  |
| UK Power Networks | Non-confidential | - No |  |
| Working Group Conclusions: |  |  |  |