| DCUSA Change Report |  | At what stage is this document in the process? |
| --- | --- | --- |
| DCP 414 DCP Title: Transitional Protection for NHH CT Customers affected by regulatory change. Raised on the 18 October 2022 as a Standard Change |  | 01 – Change Proposal. 02 – Consultation. 03 – Change Report. 04 – Change Declaration. |
| Purpose of Change Proposal: DCP 414 seeks to provide transitional protection for Non-Half-Hourly Current Transformer customers moving to Half-Hourly settlement & prevent penal excess capacity charges being applied to customers in any instance that the Maximum Import Capacity is a zero value because there is no site-specific connection agreement in place between users & Distribution Network Operators. |  |  |
|  | This document is issued in accordance with Clause 11.20 of the DCUSA, and details DCP 414 ‘C Transitional Protection for NHH CT Customers affected by regulatory change’ Parties are invited to consider the proposed amendment (Attachment 1) and submit their votes using the Voting form (Attachment 2) to dcusa@electralink.co.uk by xx xxx 2023. The voting process for the proposed variation and the timetable of the progression of the Change Proposal (CP) through the DCUSA Change Control Process is set out in this document. If you have any questions about this paper or the DCUSA Change Process, please contact the DCUSA by email to dcusa@electralink.co.uk or telephone 020 7432 3011. |  |
|  | Parties Impacted: Suppliers/DNOs/IDNOs. |  |
|  | Impacted Clauses: Section 2A – Schedule 2B – Schedule 16 – Schedule 32. |  |

| Contents 1 Executive Summary 3 2 Governance 5 3 Why Change? 6 4 DCP 414 Working Group Assessment 8 5 DCP414 Consultations 9 6 Working Group Conclusions & Final Solution 13 7 Relevant Objectives 13 8 Impacts & Other Considerations 15 9 Implementation 15 10 Legal Text 16 11 Code Specific Matters 16 12 Recommendations 17 13 Attachments 17 Timetable The timetable for the progression of the CP is as follows: #### Change Proposal timetable. #### Activity; #### Date. Initial Assessment Report Approved by Panel; 18 October 2022. Consultation one issued to Parties Consultation two issued to Parties; 14 November 2022 10 January 2023. Change Report issued to Panel; 08 February 2023. Change Report issued for Voting; 17 February 2023. Party Voting Ends; 10 March 2023. Change Declaration Issued to Parties; 14 March 2023. Change Declaration issued to Authority; 14 March2023. Authority Decision Implementation Date; TBC 29 June 2023. | Any questions? |
| --- | --- |
|  | Contact: Code Administrator |
|  | DCUSA@electralink.co.uk |
|  | 0207 432 3011 |
|  | Proposer: Lee Stone |
|  | Lee.stone@eonenergy.com |
|  | 07971 474426 |

Executive Summary

#### What?

  - The Proposer suggests that the purpose of this Change Proposal (CP) is threefold as follows:

- To remove the excess capacity rate on new Half-Hourly (HH) customers where there is no Maximum Import Capacity (MIC) available;

- To make arrangements for the transitional protection for Non-Half-Hourly (NHH) Current Transformer (CT) customers affected by Balancing and Settlement Code (BSC) Modification P432 and Market-wide Half-Hourly Settlement (MHHS); and

- To ensure a fair and consistent approach is adopted wherever a change of residual charging band occurs as a consequence of regulation change.

#### Why?

  - To enact the Code Change and Development Group (CCDG) recommendation to carry out Change of Measurement Class (CoMC) ahead of the required migration to the MHHS Target Operating Model, (TOM), on the basis that it is a key enabler to facilitate the transition of the Advanced metered segment to the MHHS TOM by placing obligations on BSC parties for CT Advanced Meters ahead of the migration to MHHS to become HH settled.

  - On 26th August 2022 the Authority decided to send back P432 citing two reasons that require further development to enable the authority to make a final decision. The first reason is in relation to the proposed timings to implement P432 considering the current market conditions, which is being addressed by the P432 working group and explained further in later paragraphs. The second reason is in relation to the likelihood of excess capacity charges being applied to customers in scope of the P432 solution, for which this modification seeks to address. The below extract from Ofgem’s Decision to send back P432 outlines:

“We understand and appreciate the benefits of de-risking the MHHS Programme and as such agree with the recommendation made by the CCDG to migrate CT Advanced Meters ahead of MHHS migration. However, we also recognise that in current market conditions, which have changed since this modification’s conception, it may not be appropriate to require suppliers to prioritise migration of CT meters over the coming months.

We also agree with concerns that costs to customers might increase inappropriately if their capacity requirements are not properly understood ahead of migration. We indicated in our decision on DCP161 that we expected Network Operators to engage with customers being moved to HH to ensure that appropriate capacity limits were being set. We understand that no code requirements have been introduced to ensure that this happens and that customers who are moved to HH in response to regulatory (rather than customer) requirements may be at risk of being exposed to higher prices than is appropriate for their usage. We consider that it is important, particularly in the context of current energy prices, that action is taken to address this generally, and specifically in relation to P432”

#### How?

  - This CP aims to create transitional protection for customers affected by P432 and for any other regulatory reason that requires users to move from NHH-HH including MHHS programme requirements.

  - Many elements of the required protections have been provided by amending the transitional text implemented by DCP248 'Providing protection for customers against being charged inappropriate capacity charges during the implementation of P272’, as described in Clause 19 and Schedule 16, Part 4 of the DCUSA.

Clause 19

  - The transitional protection section in Clause 19 has been amended to cater for P432 and any other CT Metering Points migrated during the MHHS Programme. In addition, an obligation has been placed on Supplier Parties to communicate with their customers, as part of the migration process, regarding the protection that is to be provided and the process to be adopted to assign a MIC value where none is agreed in advance.

  - Distributors contact details as defined in SLC 14 charging statements, usually found in paragraph 1.12, are to be provided by the supplier so those customers wishing to agree a MIC in advance of the migration can do so.

Schedule 16 Part 4

  - Currently this covers the provision to retrospectively apply the MIC for a period of 12 months for P272 “Mandatory Half Hourly Settlement for Profile Classes (PCs) 5-8”  migration. This has been amended to cater for P432 and CT Metering Points migrated during the MHHS Programme.

  - Rather than provide a sunset clause which closed off the provisions of P272 protection on 31st March 2017, this has been amended to 12 months from the migration date.

  - During this period an agreement between distributors and customers may be reached on the MIC to replace the default value. In such circumstances, the revised MIC will be applied retrospectively from the date of the migration. This ensures that where the MIC is agreed, the charges are backdated to the migration date so that the customer is protected from either excess capacity charges due to the default MIC being set too low or being overcharged capacity charges where it is set too high.

  - Where customers have not entered negotiations with the distributor to agree a MIC during the 12-month period, the distributor will re-assess the value based on the data received and the maximum demand values during the period and calculate a more appropriate value to replace the default value. The customer will also be notified of this revised value.

Schedule 2B

  - Schedule 2B “National Terms of Connection (NTC)”, Section 3, Clause 12 “Limitations of capacity” specifies that retrospective changes cannot be applied to the MIC. An additional clause has been added to make it clear that such clauses do not apply where Part 4 of Schedule 16 of the DCUSA is applicable.

Schedule 32

  - An amendment to the exceptional Circumstances section has also been added to paragraph 6.1A to provide an additional criterion to where a Final Demand Site may be reallocated to a different charging band. This now caters for where there is a change to the Maximum Import Capacity, in accordance with Part 4 of Schedule 16.

Governance

#### Justification for Part 1 Or Part 2 Matter

  - This CP should be treated as a Part 1 Matter as it is likely to have a significant impact on the interests of electricity consumers (see Clause 9.4.1). It should also be noted that this has been raised following the Authority’s decision to send back P432.

#### Requested Next Steps

  - The Panel has considered whether the Working Group have carried out the level of analysis required to enable Parties to understand the impact of the proposed amendment and to vote on DCP 414.

  - The DCUSA Panel recommends that this CP:

- be issued to Parties for voting.

Why Change?

#### Background of DCP 414.

  - The DCP 161 ’Excess Capacity Charges’  implemented in April 2018 introduced the ability for DNOs to apply an excess capacity charge to reflect costs and charges a DNO could incur wherever sites demand exceeds the MIC.

  - In 2015, Ofgem deferred the implementation of DCP161 to enable industry to work through the bulk of NHH-HH migrations in line with P322 “Revised Implementation Arrangements for Mandatory Half Hourly Settlement for Profile Classes 5-8” , resulting in DCP161 implementation 1 year later (as opposed to before) than the P272 mandate completed. This meant most customers that moved to HH via P272 were not charged at an excess capacity charge, even those who had not agreed a MIC. Therefore, this presents a strong case to prevent excess capacity charges being levied on customer bills in the first instance, as opposed the reconciling once a MIC is agreed, which could take 12 months to achieve.

  - In addition, DCP 385 “No Retrospective Capacity Reductions” implemented on 4th November 2021 also prevents customers from retrospectively agreeing a MIC on the basis that capacity charges should send cost signals to reflect current and future (as opposed to retrospective) availability of capacity across a distribution network, in accordance with the Charging Methodology (Schedule 16) and LC14 Charging Statements, any changes to the MIC are only applied going forwards.

  - DCP161 & DCP385 were implemented in a window between P272 in 2017 & P432 being raised in December 2021. DCUSA Schedule 16 (CDCM) part 4 provided protection for customers affected by BSC Modification P272, which was and remains a regulatory (rather than customer) requirement to move customers to HH. The scope of P272 focussed on moving PCs 05-08 meters only which by PC definition required settlement meters to have maximum demand (MD) recording capability. As such meters were configured to record a maximum demand (KW &/or KVA) resulting in Meter Point Administration Number (MPAN) allocation to the PCs 05-08 range. This requirement does not extend to meters allocated to PCs 01-04, reducing the likelihood of being able to collect the required data to inform the capacity level for each MIC.

  - DCP161 & DCP385 have addressed defects applicable to customers who are established CT HH customers, as such reversing the changes to cater for the remaining NHH CT customers to move into HH settlement could send inappropriate cost signals to the existing HH market, even if enacted on a temporary basis to facilitate the required CoMC activity.

Background to P432

  - The combined total of NHH CT Meters in scope of P432 and those not in scope of P432 (not advanced CT meters) is estimated to be 50,000 accounting for approximately 800 – 1,500 GWh per year [1-2% of the total Supplier Volume Allocation import volume] moving to HH Settlement via the existing CoMC process, such that all CT Metering Systems will be settled HH no later than migration for the Advanced segment under MHHS TOM.

  - If P432 is approved, then CoMC activity would see Domestic CT users transfer from Measurement Class A (NHH) to Measurement Class F (Domestic HH) and Non-Domestic CT users with Advanced CT meters connected transfer from Measurement Class A to Measurement Class C (more than 100kW) or Measurement Class E (100kW or less). DCUSA Schedule 16 (CDCM) outlines that where a non-domestic user moves from aggregated Distribution Use of System (DUoS) tariffs to site specific DUoS tariffs, capacity charges become a separate chargeable item, with a capacity charge rate and an excess capacity charge rate, with both rates charged on a p/kVA/day basis, and represented as such in the network bill, concurrent with the CoMC EFD.

  - As noted in Section 1 above, the Proposer suggests it may also be appropriate to consider further changes to better enable supplier and DNO sharing of information. The rationale for this suggestion is the potential that the P432 migration window could be more than 2 years and is likely to overlap with the MHHS TOM Transition. Ultimately the requirement to ensure a MIC is in place does not go away and in turn DCUSA parties should actively promote and collaborate to ensure a MIC is in place at the earliest opportunity, particularly where it can be informed by accurate information (e.g. customer data, loads tests etc) early. As such DNOs may want to understand and in turn plan their resource for agreeing MICs, which would require suppliers to share information on the basis that they control the CoMC process. As such it may be appropriate to provide transitional clauses to facilitate such requirements in Section 2A – Distributor to supplier/Generator relationships.

  - The method of transition to HH settlement under P432 (Via CoMC) and MHHS Transition (TBC but likely to be by connection type) are going to be different, as measurement classes will not exist under the MHHS TOM arrangements. P432’s current proposed migration window may also enable the ability for suppliers to migrate Advanced CT meters into the MHHS TOM rather than CoMC because the M11 “Advanced & UMS segment go live” MMHS programme milestone is earlier than the proposed completion date NHH-HH activity under P432. The issues that prevent a customer’s ability to set a MIC in advance remain the same for both P432 and MHHS TOM, which provides the rationale for this modification to implement a solution that prevents excess capacity charging from occurring for the entire NHH CT metered population transitioning to HH settlement arrangements, as opposed to just Advanced CT meters impacted by P432’s proposals.

Additional Background to this CP

  - A key element in calculating a site specific kVA level requires the measurement of reactive power (kVArh) as well as active power (kWh) to HH settlement periods. Currently NHH advanced CT meters allocated to PC 01-04 do not have requirements in place to measure maximum demand. As such it is likely in many cases that the Meter Equipment Manager will be instructed to re-configure the advanced meter to include the reactive power recording measurements on the meter around the time the MPAN becomes HH, in order to meet requirements defined in each DNO’s Licence condition (LC) 14 Use of System Charging Statements.

  - In practical terms, the reason why suppliers may choose to configure metering in line with the MPAN HH EFD is because the act of re-programming an advanced meter may result in the loss of required NHH tariff configurations, which form a key part of NHH settlement arrangements as well as customer billing.

  - This means that many of the existing NHH advanced CT meters in scope of P432 will not currently be recording reactive power measurements of any kind. This makes it challenging for customers to accurately inform the MIC ahead of moving to HH settlement, leading to customer exposure against the excess capacity charging rate for any capacity taken above the MIC. Conversely if an assumption of reactive power is made (e.g. through a power factor assumption if historical active power HH data is available) then the MIC level could be set too high, which could not be retrospectively adjusted because of the DCP385 solution. As such calculating and agreeing a MIC with a customer in advance of moving to HH settlement is both problematic and can cause financial detriment to customers by being exposed to higher prices than is appropriate for their use of the network.

  - If suppliers were to CoMC NHH advanced CT customers to HH settlement from PC 03-04 without customers agreeing a MIC with their DNO, therefore resulting in a zero MIC being applied to the MPAN, capacity charges could be levied only on the higher excess capacity charging rates for all demand.

DCP 414 Working Group Assessment

  - The DCUSA Panel established a Working Group to assess DCP 414. Meetings were held in open session and the minutes and papers of each meeting are available on the DCUSA website.

  - The Working Group reviewed the CP and noted that it had been raised following Ofgem’s send back of BSC modification P432. This was sent back to ensure that costs to customers do not increase inappropriately if their capacity requirements are not properly understood ahead of migration. Ofgem also stated that no code requirements have been introduced to ensure that this happens and that customers who are moved to HH in response to regulatory (rather than customer) requirements may be at risk of being exposed to higher prices than is appropriate for their usage. An extract of the Ofgem statement is in paragraph 1.3 together with a link the P432 send back decision document.

  - The Ofgem representative advised that the position with the BSC Modification is that Ofgem weren’t comfortable for that activity to begin until a solution is set in place on the DCUSA side.

  - It was clear that this CP could also extend to the MHHS migration. As P432 scope is limited to advanced meters and there may be some CT metered customers who did not transition during P272. Therefore, this same methodology could be applied to the MHHS migration.

  - The communication between parties and customers was discussed. During DCP 248 ‘Providing protection for customers against being charged inappropriate capacity charges during the implementation of P272’’, this was distributor led. The Working Group agreed to explore this further with contributions from suppliers. For this to be developed, it was helpful to understand if there were any lessons learned from the industry changes raised to support the migration due to P272.

  - The Working Group discussed the current Change of Measurement Class process specifically where this related to CT customers moving from NHH to HH measurement classes that would result in tariffs with a capacity charge.

  - One area that needed to be considered was transitional protection that will be required for these customers and ultimately the proposal was seeking to have a fairer and more transparent way of charging customers entering the HH market.

  - The Working Group also considered the implementation timeline. P432 had an implementation date of June 2023 as long as the Ofgem decision is made by April 2023. If the Ofgem decision comes later than April 2023 the implementation date will be 3 months post decision. Based on this the suggested date for DCP 414 was also June 2023.

  - Another area the Working Group wanted further information on was whether the current process was automated or manual, and if the former what would the likely system impact be because of the currently proposed solution.

  - A series of questions were developed which the Working Group believe would assist in developing the solution that formed part of the first consultation with outcome of the results assisting in the solution.

DCP414 Consultations

  - The Working Group undertook two consultations during the development of the change proposal.

Consultation 1

  - The first consultation was issued to parties on 14 November 2022. There were nine responses received to the consultation. The Working Group’s conclusions can be found in Attachment x with a summary of each shown below.

  - All respondents understood the intent of the change proposal with six of the nine supporting the principles. Those that didn’t stated that there was no rationale to treating customers differently or their lack of support for P432.

  - Respondents identified several lessons learn during the transition of P272 ranging from as long a transition period as possible so that accurate data can be obtained, it should be supplier led and communication with the customer being important.

  - The existing process for establishing the capacity was either to use known data, customer provide data or a default value. The process was manual.

  - The number of customers identified was circa 60,000. P432 suggested around 50,000 impacted customers which is derived from data in 2018.

  - Many respondents mentioned that if the process was to charge the customer at the non excess capacity rates on the total demand once they have migrated to HH settled, in the absence of a valid MIC, new tariffs, new Market Domain Data and new Line Loss Factor Classes would indicate an implementation date of April 2025, and this would require changed to the CDCM, unless a derogation was granted as CDCM changes typically take no less than 15 months and large changes to billing systems and a data cleanse activity would be required which can take up to six months to test and implement.

  - One respondent raised that a similar process could be introduced similar to the P272 process by having a default MIC and a reconciliation process.

  - On potential wider industry developments, over and above those already known, was the decision to allow a reverse migration during MHHS.

  - Most of the responses (seven) said that if the change is approved the implementation date should be in line with P432.

  - Another respondent raised that as billing systems required changing, the testing period for these changes can take up to 6 months so there was a risk that the initial stated implementation date for DCP 414 (June 2023) would create a risk as there wouldn’t be enough time to rigorously test the changes that would be needed.

  - Another respondent stated that April 2025 would be an appropriate implementation date.

Areas for consideration

  - After consideration of the first consultation responses, the Working Group identified the following areas for further consideration:

- MIC charging;

- Scope of the change proposal;

- Communications approach;

- Reverse migration; and

- Additional protection (National Terms of Connection and Schedule32).

MIC Charging

  - The Working Group identified three options for the solution. These were:

- Matching excess capacity charging rate to capacity charging rate;

- Using default values, similarly to what was used for P272; or

- Agree the MIC prior to migration.

Option 1 - Matching excess capacity charging rate to capacity charging rate.

  - Distributors would need to amend the excess charging rate to be the same as the normal capacity charging rate which would result in a new set of tariffs being introduced. In addition, post the migration, distributors would then need to “unpick” the changes back to their current state. This option is the one contained within the change proposal and feedback on this was received during the first consultation.

  - Parties raised concerns over the proposed solution indicating that it would:

- take too long to implement;

- would impact distributors systems and processes significantly;

- lead to CDCM changes and model changes which would mean an implementation date of 2025 or derogations required from the Authority; and

- curtailing the migration window for P432.

Option 2 - Using default values

  - The distributors would need to introduce a default value for all customers that did not have a MIC. There would be an enhanced reconciliation process whereby the distributors would reconcile the MIC value after 12 months based on metered data and any network constraints during that period, if not agreed with the customer in that intervening period. Any existing rights on capacity changes will remain noting that the National Terms of Connection preventing any amendments to the MIC would not apply during the 12 month post migration.

  - A number of respondents suggested the use of a default MIC within their consultation response. The Working Group believe that this is the easiest option to develop and implement and give the most optimal outcome for customers. It was also noted as the solution that could be delivered alongside P432.

  - If this Option is supported, the Working Group believe that rather than the industry determine the default value the distributors should decide what the value should be especially since these values are already part of some distributors’ systems and processes.

  - An argument was put forward to determine a more accurate default value based on the type of customer rather than one value fitting all. Whilst this approach may provide a more accurate value, it is still an estimate, would result in significant work in advance to obtain the data, agree industry values by customer type and process time in entering the data on the distribution systems. In addition, the value of a default is that it is easily identifiable (i.e. that a customer has a default MIC) and the advanced reconciliation process will mitigate any inaccuracies.

  - The Working Group opted to leave the default value to the discretion of the distributor and this would need to be provided to suppliers as part of the communication to customers.

Option 3 - Agree the MIC prior to migration

  - This process would require Suppliers to ensure that their agents can collect the data that would calculate the MIC in advance of migration. This option was developed because some of this data may already be available, and the metering equipment will need to be configured to provide it at the change of measurement class stage. The MIC could be either calculated or agreed with the customer prior to migration thereby avoiding the need for any system changes associated with Option 1.

  - The Working Group agreed that this option would still need to have a MIC default value included for sites where such data has not been made available and this change proposal would not prevent a customer agreeing a MIC in advance of the migration.

  - It was also noted that this option may also require some Retail Energy Code changes around Meter Equipment Managers and suppliers.

  - The Working Group believe that option 2 is the best solution to develop further.

Scope of the change proposal

  - The scope of the change is broad enough to not only cater for P432 but also for any other NHH CT metered customers that are not covered by the BSC Modification that will be migrated during the MHHS Programme.

  - It is clear from the feedback during the first consultation that the P272 migration still has some customers that have not migrated. These customers will be picked up by the MHHS Programme and will need to have the same protection provided initially by P272 (which has now lapsed due to a sunset clause) and avoids a further change proposal.

  - The Working Group agreed to cater for both the migrations of P432 and the MHHS migrations scenarios.

  - The Working Group then discussed whether to have a sunset clause. The MHHS Programme is still developing, and consulting on, a replan where the date of the transition period may be amended.

  - Equally P432 is suggesting that the migration is completed by the MHHS Transition Timetable M14 milestone (all Suppliers must accept MSIDs under the new TOM (one way gate) which is circa six months later than M11 (start of 1 year migration for UMS/Advanced).

  - Notwithstanding the reverse migration that M14 could introduce (covered later in this document in paragraph 5.35) the Working Group therefore favoured a twelve-month period from the migration date of each Metering Point. This is a more flexible approach since the migration needs to cover both the P432 timescales and those of the MHHS Programme.

Communications Approach

  - The Working Group discussed the communications required for the change proposal. It recognised the concerns raised within the first consultation regarding the approach adopted for P272 and agreed that this did not work satisfactorily. There was support for this to be led by suppliers. Suppliers have the main relationship with the customer, they have their contact details and more importantly they will be leading on both the P432 migration and the MHHS migration.

  - As part of the amendment to DCUSA Clause 19 covering the transitional protection an additional obligation has been placed on Suppliers to communicate with their customers, as part of the migration process, on the protection that is to be provided and the process to be adopted on MIC values where none is agreed in advance.

  - The Working Group agreed that communication prior to migration should include as a minimum the following information:

- Site address information, including MPAN and meter serial number;

- Reason for the correspondence;

- Migration date;

- Maximum Import Capacity, or if not already agreed with the Customer, MIC default value;

- Distributor’s contact details; and

- Explanation of the consequences and protections offered, including any amendment to the MIC and any rebates that may be warranted.

Reverse migration

  - There is a window where a customer moves to HH settlements but may move back to NHH settlements. Whilst ultimately, they will eventually be settled HH this may result in a customer entering the protection offered by this change proposal and then reverting back.

  - The Working Group considered the impact and have suggested that this protection should only cover the 12 months following the first migration.

Additional protection (NTC and Schedule32)

  - Schedule 2B “National Terms of Connection (NTC)”, Section 3, Clause 12 “Limitations of capacity” specifies that retrospective changes cannot be applied to the MIC.

  - To counter this the Working Group have added an additional paragraph to make it clear that such obligations do not apply where Part 4 of Schedule 16 of the DCUSA is applicable.

  - An amendment to the Exceptional Circumstances section of schedule 32 has also been added to paragraph 6.1A to provide an additional criterion to where a Final Demand Site may be reallocated to a different charging band. This now caters for where there is a change to the MIC, in accordance with Part 4 of Schedule 16.

Consultation Two

  - The second consultation was issued to parties on [         ] 2022. There were [    ] responses received to the consultation. The Working Group’s conclusions can be found in Attachment x with a summary of each shown below.

- Question 1 – Which option do you support? Please provide rationale.

- Question 2 – Where the customer has not agreed a MIC during the 12 month period post migration should the distributor calculate the MIC and notify the customer of the revised value? Please provide rationale.

- Question 3 – Do you believe that the MIC Default value should be left to the distributor to determine? Please provide rationale.

- Question 4 – Should the CT Metered Customers not covered by P432 be extended the same protection? Please provide rationale

- Question 5 – Should the MIC protection be subject to sunset clause or a defined period after the migration has taken place? Please provide rationale.

- Question 6 – Do you agree with the Working Group that the communications should be led by the supplier? Please provide your rationale.

Question 7– Is there any further information that needs to be added to the obligation placed on the supplier? Please provide your rationale.

Question 8– Should the protection offered be a once only protection even though customers may revert back? And are there any unintended consequences Please provide your rationale.

- Question 9– Is the additional protection provided in the national terms of connection and the Residual Charges schedules sufficient? Please provide your rationale.

- Question 10 – Do you consider that the proposal better facilitates the DCUSA objectives? Please give supporting reasons.

- Question 11: What date do you believe this change proposal should be implemented? Please provide rationale.

- Question 12:  Do you have any comments on the draft legal text?

Question 13: Do you have any further comments on this change proposal?

Working Group Conclusions & Final Solution

  - After reviewing the second consultation responses, the Working Group……

Relevant Objectives

#### Assessment Against the DCUSA Objectives

  - For a DCUSA Change Proposal to be approved it must be demonstrated that it better facilitates the DCUSA Objectives. There are five General Objectives and six Charging Objectives. The full list of objectives is documented in the CP form provided as Attachment 4.

  - The Working Group considers that the following DCUSA Objectives are better facilitated by DCP 414.

|  | DCUSA General Objectives | Identified impact |
| --- | --- | --- |
| ☐ | The development, maintenance and operation by the DNO Parties and IDNO Parties of efficient, co-ordinated, and economical Distribution Networks | None |
|  | The facilitation of effective competition in the generation and supply of electricity and (so far as is consistent therewith) the promotion of such competition in the sale, distribution and purchase of electricity | Positive |
| ☐ | The efficient discharge by the DNO Parties and IDNO Parties of obligations imposed upon them in their Distribution Licences | None |
| ☐ | The promotion of efficiency in the implementation and administration of the DCUSA | None |
| ☐ | Compliance with the EU Internal Market Regulation and any relevant legally binding decisions of the European Commission and/or the Agency for the Co-operation of Energy Regulators. | None |

|  | DCUSA Charging Objectives | Identified impact |
| --- | --- | --- |
| ☐ | - That compliance by each DNO Party with the Charging Methodologies facilitates the discharge by the DNO Party of the obligations imposed on it under the Act and by its Distribution Licence | None |
|  | That compliance by each DNO Party with the Charging Methodologies facilitates competition in the generation and supply of electricity and will not restrict, distort, or prevent competition in the transmission or distribution of electricity or in participation in the operation of an Interconnector (as defined in the Distribution Licences) | Positive |
|  | That compliance by each DNO Party with the Charging Methodologies results in charges which, so far as is reasonably practicable after taking account of implementation costs, reflect the costs incurred, or reasonably expected to be incurred, by the DNO Party in its Distribution Business | Positive |
|  | That, so far as is consistent with Clauses 3.2.1 to 3.2.3, the Charging Methodologies, so far as is reasonably practicable, properly take account of developments in each DNO Party’s Distribution Business | None |
| ☐ | That compliance by each DNO Party with the Charging Methodologies facilitates compliance with the EU Internal Market Regulation and any relevant legally binding decisions of the European Commission and/or the Agency for the Co-operation of Energy Regulators; and | None |
| ☐ | That compliance with the Charging Methodologies promotes efficiency in its own implementation and administration. | None |

  - The view of the Working Group is below:

- General Objective 2: This change will ensure that a consistent approach is taken by DCUSA parties when dealing with customers affected by P272, P432 & MHHS TOM transition when they seek to actively agree an enduring MIC;

- Charging Objective 2: This change will ensure that DNOs apply a common approach when dealing with customers affected by P432 and the onward transition to MHHS, when they seek to actively agree an enduring MIC and where they are not able to prevent excess capacity rates being levied;

- Charging Objective 3: This change will allow time for customers affected by P432 to actively engage with the DNO and agree a MIC which is appropriate for their requirements and hence the costs they impose on the network; and

- Charging Objective 4: This change will permit DNOs to adopt their own approaches to initially overcome the administrative burden of setting an initial MIC for the c. 50,000 CT metered sites affected by P432 whilst allowing affected sites sufficient time to actively agree an enduring MIC. This change will also ensure that all DNOs are applying a common approach when dealing with customers affected by P432 when they seek to actively agree an enduring MIC.

Impacts & Other Considerations

#### Impacts on other Industry Codes

  - The Working does not believe that this Change Proposal will have any impact on any other industry codes apart from P432 for which this change proposal was helped to faciliate.

| BSC……………... | ☒ | MRA………… | ☐ | Grid Code………. | ☐ | REC………. | ☐ |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CUSC…………… | ☐ | SEC………… | ☐ | Distrbution Code.. | ☐ | None………. | ☐ |

#### Consideration of Wider Industry Impacts?

  - The Working Group did not identify any additional wider industry impacts other than those already highlighted in other areas of this Change Report.

Implementation

  - The proposed implementation date is June 2023, this is to align with P432’s proposed implementation date along with BSC CP1558 “New Registration data items and processes to support the MHHS Programme.

Legal Text

Legal Text

  - As noted in Section 1 above, it is suggested that amendments will need to be made to a number of areas of the DCUSA, including:

  - The transitional protection section in Clause 19 has been amended to cater for P432 and any other CT Metering Points migrated during MHHS Programme. In addition, an obligation has been placed on Supplier Parties to communicate with their customers, as part of the migration process, on the protection that is to be provided and the process to be adopted on MIC values where none is agreed in advance;

  - Schedule 2B “National Terms of Connection (NTC)”, Section 3, Clause 12Limitations of capacity” specifies that retrospective changes cannot be applied to the MIC. . An additional clause has been added to make it clear that such clauses do not apply where Part 4 of Schedule 16 of the DCUSA is applicable

  - Schedule 16 Part 4 has been amended to:

  - replace references relating to P272 to cater for P432 and CT Metering Points migrated during MHHS Programme;

  - replace the sunset clause to cover a period 12 months from the migration date;

  - additional protection is also provided where customers have not entered negotiations with the distributor to agree a MIC during the 12-month period, the distributor will re-assess the value based on the data received and the maximum demand values during the period and calculate a more appropriate value to replace the default value. The customer will also be notified of this revised value; and

  - An amendment to the exceptional Circumstances section of Schedule 32 has also been added to paragraph 6.1A to provide an additional criterion to where a Final Demand Site may be reallocated to a different charging band. This now caters for where there is a change to the Maximum Import Capacity, in accordance with Part 4 of Schedule 16.

  - Proposed legal drafting for this DCP can be found in Attachment 5- DCP 414 Draft Legal text.

Code Specific Matters

#### Modelling Specification Documents

  - N/A

#### Reference Documents

  - N/A

Recommendations

#### Panel’s Recommendation

  - The Panel approved this Change Report on 15 February 2023. The Panel considered that the Working Group has carried out the level of analysis required to enable Parties to understand the impact of the proposed amendment and to vote on DCP 414.

  - The Panel have recommended that this report is issued for Voting and DCUSA Parties should consider whether they wish to submit views regarding this Change Proposal.

  - Parties are invited to vote in favour of either alternative solution, both solutions expressing a preference, or to reject both.

Attachments

Attachment 1 - DCP 414 Draft Legal text.

Attachment 2 – DCP 414 Voting Form

Attachment 3 – DCP Consultation 1 Responses & Working Group Comments

Attachment 4 – DCP Consultation 2 Responses & Working Group Comments

Attachment 5 - DCP 414 Change Proposal

P432 'Half Hourly Settlement for CT Advanced Metering Systems' - Elexon BSC

Decision to Send Back Modification P432 ‘Half Hourly Settlement for CT Advanced Metering Systems’ | Ofgem

Decision to defer implementation of DCP161 | Ofgem

Programme Overview - MHHS Programme

Providing protection for customers against being charged inappropriate capacity charges during the implementation of P272 - DCUSA

P272 - Elexon BSC

Excess Capacity Charges - DCUSA

P322 - Elexon BSC