| Row Labels | Average of Connected Maximum Export Capacity (MW) | Average of Connected Maximum Import Capacity (MW) | Average of % | Count of % |
| --- | --- | --- | --- | --- |
| Biofuel - Biogas from anaerobic digestion (excluding landfill & sewage) |  |  |  |  |
| Engine (combustion / reciprocating) | 3.61 | 0.51 | 21.21% | 10 |
| Gas turbine (OCGT) | 1.00 | 0.20 | 20.00% | 1 |
| Steam-gas turbine (CCGT) | 2.38 | 0.00 | 0.00% | 1 |
| Biofuel - Biogas from anaerobic digestion (excluding landfill & sewage) Total | 3.29 | 0.45 | 19.34% | 12 |
| Biofuel - Landfill gas |  |  |  |  |
| Engine (combustion / reciprocating) | 2.00 | 0.12 | 7.83% | 43 |
| Gas turbine (OCGT) | 5.12 | 0.51 | 11.55% | 53 |
| Steam turbine (thermal power plant) | 1.20 | 0.05 | 4.17% | 1 |
| Biofuel - Landfill gas Total | 3.70 | 0.33 | 9.82% | 97 |
| Biofuel - Sewage gas |  |  |  |  |
| Gas turbine (OCGT) | 3.50 | 0.15 | 4.29% | 1 |
| Biofuel - Sewage gas Total | 3.50 | 0.15 | 4.29% | 1 |
| Biomass |  |  |  |  |
| Steam turbine (thermal power plant) | 8.23 | 1.09 | 18.45% | 22 |
| Steam-gas turbine (CCGT) | 47.04 | 7.00 | 13.16% | 4 |
| Biomass Total | 14.20 | 2.00 | 17.63% | 26 |
| Fossil - Gas |  |  |  |  |
| Engine (combustion / reciprocating) | 11.64 | 1.21 | 11.46% | 120 |
| Gas turbine (OCGT) | 11.17 | 0.36 | 5.32% | 34 |
| Steam-gas turbine (CCGT) | 3.73 | 0.22 | 7.82% | 12 |
| Fossil - Gas Total | 10.97 | 0.96 | 9.94% | 166 |
| Fossil - Oil |  |  |  |  |
| Engine (combustion / reciprocating) | 12.44 | 1.45 | 28.72% | 63 |
| Fossil - Oil Total | 12.44 | 1.45 | 28.72% | 63 |
| Gas |  |  |  |  |
| Engine (combustion / reciprocating) | 9.03 | 0.40 | 4.61% | 2 |
| Gas Total | 9.03 | 0.40 | 4.61% | 2 |
| HYDRO (TO BE CONFIRMED) |  |  |  |  |
| HYDRO POWER SYSTEM | 3.75 | 0.01 | 0.22% | 2 |
| HYDRO (TO BE CONFIRMED) Total | 3.75 | 0.01 | 0.22% | 2 |
| Solar |  |  |  |  |
| Photovoltaic | 6.19 | 0.16 | 4.47% | 665 |
| Solar Total | 6.19 | 0.16 | 4.47% | 665 |
| Stored Energy (all stored energy irrespective of the original energy source) |  |  |  |  |
| Storage - Electrochemical (Batteries) | 19.22 | 9.55 | 48.49% | 15 |
| Stored Energy (all stored energy irrespective of the original energy source) Total | 19.22 | 9.55 | 48.49% | 15 |
| Waste |  |  |  |  |
| Steam turbine (thermal power plant) | 22.19 | 3.51 | 19.39% | 20 |
| Steam-gas turbine (CCGT) | 31.33 | 8.07 | 27.81% | 6 |
| Waste Total | 24.30 | 4.56 | 21.34% | 26 |
| Water (flowing water or head of water) |  |  |  |  |
| HYDRO - OTHER | 1.73 | 0.04 | 2.66% | 22 |
| Hydro - Run of river | 2.80 | 0.06 | 2.65% | 7 |
| TIDAL STREAM DEVICES | 14.16 | 0.19 | 1.34% | 1 |
| Water (flowing water or head of water) Total | 2.39 | 0.05 | 2.62% | 30 |
| Wind |  |  |  |  |
| Offshore wind turbines | 92.24 | 3.73 | 4.21% | 4 |
| Onshore wind turbines | 10.13 | 0.30 | 6.47% | 155 |
| Wind Total | 12.20 | 0.38 | 6.42% | 159 |

| Average % of MIC vs MEC for Energy Sources across Point of Connection (POC) Voltage (kV) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Point of Connection (POC) Voltage (kV) | 0.4 | 6.6 | 11 | 25 | 33 | 49.9 | 66 | 132 | (blank) |
| Advanced Fuel (Produced Via Gasification Or Pyrolysis Of Biofuel Or Waste) |  |  | 5.7% |  | 47.7% |  |  |  | 1.2% |
| Biofuel - Biogas from anaerobic digestion (excluding landfill & sewage) |  |  | 15.8% |  | 10.0% |  |  |  |  |
| Biofuel - Landfill gas |  | 11.8% | 10.1% |  | 3.7% |  |  |  |  |
| Biofuel - Sewage gas |  |  | 3.3% |  | 3.2% |  |  |  | 3.1% |
| Biomass |  |  | 29.1% |  | 10.6% |  | 2.9% | 6.5% | 12.7% |
| Fossil - Coal gas |  | 3.1% | 2.7% |  |  |  |  |  |  |
| Fossil - Gas |  | 15.1% | 9.5% |  | 7.2% |  | 1.0% | 14.8% | 12.3% |
| Fossil - Oil |  | 60.2% | 60.4% | 100.0% | 4.1% |  | 16.5% | 32.0% | 95.0% |
| Fossil - Other |  |  | 13.2% |  |  |  |  |  |  |
| Gas |  |  |  |  |  |  |  |  | 35.8% |
| Hydro (To Be Confirmed) |  |  |  |  |  |  |  |  | 0.4% |
| Solar | 45.5% | 15.9% | 10.7% |  | 4.9% | 100.0% | 1.3% | 25.1% | 17.6% |
| Stored Energy (all stored energy irrespective of the original energy source) |  | 99.6% | 89.8% |  | 88.2% |  | 100.0% | 99.0% | 97.5% |
| Waste |  |  | 28.9% |  | 19.7% |  | 16.0% | 19.5% | 20.7% |
| Water (flowing water or head of water) |  | 4.0% | 4.5% |  | 1.8% |  |  |  | 1.0% |
| Wind | 8.2% | 3.8% | 13.1% |  | 4.2% |  | 17.2% | 3.3% | 4.9% |
| Grand Total | 20.7% | 33.0% | 17.8% | 100.0% | 11.5% | 100.0% | 14.9% | 49.5% | 23.6% |