| DCUSA Consultation |  | At what stage is this document in the process? |
| --- | --- | --- |
| DCP 388: Amendments to Facilitate Appropriate Residual Charging for Sites with a Mix of Final and Non-Final Demand.. Date raised: 13th April 2021 Proposer Name: Lee Stone Company Name: E.ON Energy Solutions Limited Company Category: Supplier | 01 – Change Proposal. 02 – Consultation. 03 – Change Report. 04 – Change Declaration. |
| Purpose of Change Proposal: The intent of this modification is to define “Mixed Demand” Sites and apply a proportionate Residual charge where a Site meets the mixed demand definition. |  |  |
|  | This document is a Consultation issued to DCUSA Parties and any other interested Parties in accordance with Clause 11.14 of the DCUSA seeking industry views on DCP 388 Parties are invited to consider the questions set in section 10 and submit comments using the form attached as Attachment 1 to dcusa@electralink.co.uk by xxxx The Working Group will consider the consultation responses and determine the appropriate next steps for the progression of the Change Proposal (CP) to the Change Report phase. |  |
|  | Impacted Parties: DNOs, IDNOs, Suppliers and CVA Registrants |  |
|  | Impacted Clauses: Schedule 32 |  |

| Contents 1 Summary 3 2 Governance 5 3 Why Change? 5 4 Working Group Assessment 7 5 Code Specific Matters 17 6 Solution and Legal Text 17 7 Relevant Objectives 17 8 Impacts & Other Considerations 19 9 Implementation Date 19 10 Consultation Questions 20 11 Attachments 21 Timetable The timetable for the progression of the CP is as follows: #### Change Proposal timetable #### Activity; #### Date. Initial Assessment Report Approved by Panel; 21 April 2021. First Consultation issued to Parties; 04 April 2022. Second Consultation issued to Parties; June 2023. Change Report issued to Panel; July 2023. Change Report issued for Voting; July 2023. Party Voting Ends; August 2023. Change Declaration issued to Authority; August 2023. Authority Decision; TBC. Implementation Date; 01 April 2024. | Any questions? |
| --- | --- |
|  | Contact: Code Administrator |
|  | dcusa@electralink.co.uk |
|  | 0207432 3011 |
|  | Proposer: Lee Stone |
|  | Lee.stone@eonenergy.com |
|  | 07971 474426 |

Summary

#### What?

## On 21 November 2019 the Authority published its Targeted Charging Review (TCR) Significant Code Review (SCR) Decision (the ‘TCR Decision’). At the same time, the Authority Directed that Distribution Network Operators (DNOs) raise one or more modifications to the Distribution Connection and Use of System Agreement (the ‘DCUSA’), to implement the TCR Decision on 01 April 2022 (the ‘TCR Direction’).

## A similar direction was given to National Grid Electricity System Operator (NGESO) to modify the Connection and Use of System Code (CUSC).

## Paragraph 3.58 of the TCR Decision outlined a number of aspects that network licensees should consider and states:

“35.8 Network licensees, or the DNOs or ESO only where specified, must consider and seek to identify the most appropriate arrangements in relation to the following aspects and develop modification proposals consistent with the SCR Decision Principles set out above in relation to:

1) The frequency of the charge, considering a proposal of a p/site/day structure.

2) A mechanism for identifying which sites should be classified as final demand (as opposed to generation or intermediate demand) for the purpose of determining their applicable contribution to residual charges. An appropriate process must be established to assess and identify or, where a practical and proportionate approach cannot be identified, to robustly estimate sites with final demand for the purposes of residual charging. Industry should consider and build on thinking undertaken through development of the proposed solution being considered under CMP280 and CMP281 and DCP341 and DCP342, as well as considerations under the approach developed by the Low Carbon Contracts Company (LCCC) when estimating charges for a CfD generator and work undertaken by Elexon and the LCCC on how to charge Final Consumption, as they consider relevant. Where necessary, network licensees should also consider possible methodologies for robustly estimating sites with final demand, including potential numerical approaches such as considering the relative proportions of import to export at a site.

3) The approach to establishing appropriate and proportionate arrangements for residual charges for Independent Distribution Network Operator (IDNO) network customers, customers connected with private wires and complex sites, considering relative charging arrangements on IDNO networks and the customer’s voltage of connection.”

## DCUSA CP (DCP) 359: OFGEM Targeted Charging Review Implementation – Customers: Who should Pay? was brought forward to modify the DCUSA to introduce definitions for the new terms for ‘Final Demand’ and ‘Single Site’. The change report outlines that the workgroup de-scoped complex sites and private networks agreeing that DCP328 - Use of system charging for private networks with competition in supply is best placed to deal with those arrangements once DCP359 has been implemented. In its final decision on DCP 359, published on 30th September 2020, Ofgem outlined its reasons for decision:

“Under DCP359, customers connected to complex sites and private wires that currently receive a residual charge will continue to do so. DCP328 focuses on private networks; if the proposed solution for DCP328 does not apply to complex sites (that are not part of private networks), we would expect a party to propose a modification to address residual charging for such complex sites. For the avoidance of doubt, nothing in this letter in any way fetters our discretion with respect to DCP328”.

## The intent of DCP328 is to ensure that use of system charging remains cost-reflective when supply competition on a private network is in place. Since recommencing after a short delay, the scope of this modification has not changed so only addresses private wires. It should also be noted that the term “complex site” in the of the TCR relates to sites that have a mix of final & non-final demand.

## It is therefore considered that further development is required to determine a consistent approach to the application of the residual charge over both transmission and distribution charging, ensuring mixed use sites are charged consistency over both codes. It should be noted that CMP363 & CMP364: TNUoS Demand Residual charges for transmission connected sites with a mix of Final and non-Final Demand have been raised by NGESO to clarify the TNUoS Demand Residual charging arrangements for transmission connected sites that have a mix of Final and non-Final Demand in the CUSC.

#### Why?

## This CP has been raised to enable DNOs to satisfy specific requirements set out in the TCR Direction. The DCUSA and the CUSC are increasingly likely to become inconsistent regarding the treatment of the residual charge over transmission and distribution, leading to inappropriate charging arrangements in terms of how the residual charge calculation is set out for mixed use sites over both transmission & distribution connections and to ensure that the network companies are fully compliant with Ofgem’s TCR direction and SCR principles.

#### How?

## A ‘Mixed Demand’ definition should be introduced that clarifies that this is a combination of Final and Non-Final Demand. A Mixed Demand Site will have the Demand Residual methodology applied based on the Final Demand less the Non-Final demand.

## The Working Group are providing two options for consideration within this consultation, one for existing customers whose sites have actual metered data to calculate the Final and Non-Final Demand and another for new customers whose sites do not have any actual metered data to calculate the Final and Non-Final Demand. These options are

- New customers

  - Customer self declares the split of final demand and non-final demand and provides certificate confirming that a certain amount of their demand is ‘non-final demand’ which is then deducted from the total of the site. This process will require an annual review to take place after the customer self declares and a reconciliation if necessary.

- Existing customers

  - Customer self declares the split of final demand and non-final demand and provides certificate confirming that a certain amount of their demand is ‘non-final demand’

  - This is then verified alongside actual metered data where available. If there is no actual metered data then:

  - Additional Metering installed to measure the various components of a mixed use site and some form of process to provide the data so as to determine the split of the final demand from the non-final demand.

Governance

#### Justification for Part 1 Matter

## This proposal is to address a distortion that may otherwise come into existence with respect to approach that is being taken for the treatment of mixed-use sites in accordance with the TCR direction. Therefore, DCP 388 is considered to be a Part 1 Matter.

#### Next Steps

## This CP should:

• 	Be treated as a Part 1 Matter;

• 	Be treated as a Standard Change; and

• 	Proceed to the Working Group consultation phase.

Why Change?

## As noted in section 1 above, following Ofgem’s decision on the TCR, a number of CPs were raised, as required by Ofgem’s direction to licencees, to implement the decision. One of those CPs was DCP 359, which was brought forward to modify the DCUSA to introduce definitions for the new terms for ‘Final Demand’ and ‘Single Site’. It was also to deal with the requirement set out in the Direction which stated:

“Further arrangements

30)	appropriate arrangements to develop the following:

…..

c.	any consequential changes that may be required in relation to residual charges for Independent Distribution Network Operators (IDNOs), consumers connected to private wire and complex sites, noting that the Authority expects that the IDNO charging regime (which operates via a Relative Price Control) to continue to function as it does today; and

……. “

## The DCP 359 Working Group de-scoped complex sites and private networks, agreeing that DCP328 ‘Use of system charging for private networks with competition in supply’ was best placed to deal with those arrangements once DCP359 has been implemented. However, in its final decision on DCP 359, published on 30th September 2020, Ofgem outlined that “if the proposed solution for DCP328 does not apply to complex sites (that are not part of private networks), we would expect a party to propose a modification to address residual charging for such complex sites.”.

## It should be noted the term ‘Complex Site’ has now been determined to mean ‘mixed use sites’ and that DCP 388 has been raised, in part, due to similar changes being raised to the CUSC to deal with the same issue. It was noted that the CUSC changes (CMP 363 and CMP 364) have been raised as a result of Ofgem’s decision on CMP334. This was because Ofgem set out the following in their CMP334 decision:

“Private wires / complex sites

In the TCR Direction, we directed (paragraph 33.c) that ‘appropriate arrangements to develop any consequential changes that may be required in relation to residual charges for […] consumers connected to private wires and complex sites.’ At the Workgroup Consultation stage, two respondents raised concerns that the definitions in the proposals for CMP334 and DCP359 do not work for complex sites.

We agree that the Workgroup has failed to bring forward a proposal that covers private wires and complex sites. The Workgroup indicated in the CMP334 FMR that changes to private wires and complex sites would be dealt with through DCP328, not this modification. DCP328 is only applicable to distribution-connected customers, and therefore would not cover transmission-connected customers. As a result, our view is that this obligation of the TCR Direction has not been discharged and will continue to apply notwithstanding our decision on this proposal. This is addressed further below in the “Other Issues” section of this letter.”

## It should be noted that latest update with respect to CMP363/CMP364 is from their Workgroup meeting held on 6 September 2021 where it was noted that the decisions on Transmission Demand Residual Modifications (CMP335/336, CMP343/340) were anticipated on 27 August 2021 and the Workgroup need to consider these before finalising the solution and Workgroup Report which had been planned to be issued to the CUSC Panel in September 2021. A revised timeline was to be confirmed once a revised expected decision date for the suite of Transmission Demand Residual Modifications. The expectation is that CMP363/364 will be re-started now that an Authority decision has recently been published on CMP335/336 and CMP343/340.

Working Group Assessment

#### DCP 388 Working Group Assessment

## The DCUSA Panel established a Working Group to assess/develop the DCP 388. This Working Group consists of representatives from DNOs, Suppliers, IDNOs, Generators and National Grid Electricity System Operator (NGESO) as well as observers from a number of consultancies and Ofgem. Meetings were held in open session and the minutes and papers of each meeting are available on the DCUSA website – www.dcusa.co.uk.

## The Working Group developed this consultation document to gather information and feedback from market participants on this CP.

## The Working Group agreed that it would be prudent to review the information contained in the CP form, as this review would flush out any potential issues or points for further discussion.

## Members discussed some concerns related to the CP, which included that the potential solution being developed under the CUSC arrangements might be practical and appropriate for transmission-connected sites where the residual is allocated relative to consumption that is based on available metered data, whereas the same approach might be impractical for distribution-connected sites.

## It was noted that the main issue with attempting to align the arrangements across transmission and distribution is related to the fact that the scale of additional metering would be far greater at distribution than at transmission. The concern here is that the number of sites making use of this arrangement may make the process unfeasible, with one Working Group member suggesting it could be in the tens of thousands.

Consultation 1

## The Working Group agreed to include the table below to capture the various concerns which have been grouped under five general headings and set against the different banding configurations.

Table 1 - General Issues / Concerns

| Banding configurations | Data Availability | Metering | Connection Agreement | System/Process Changes | Compatibility with CMP 363/364 |
| --- | --- | --- | --- | --- | --- |
| Designated EHV Properties with MIC Designated Properties connected at HV with MIC Designated Properties connected at LV with MIC | MIC is attributable to a whole site | Splitting the MIC between final and non-final demand is not a current process and robust solution would be needed to verify any split of MIC Additional metering may be needed for the non-final demand element | A site’s MIC is contained with the connection agreement | Distributors will need new processes to be able to determine relevant allocation Suppliers may need processes to validate | Not compatible because at transmission the residual is allocated relative to consumption that is based on available metered data No concept of additional metering at distribution |
| Designated Properties connected at LV without a MIC HH (i.e., the aggregated half-hourly market) | Distributors don’t currently receive the data applicable for these sites as standard Data made available to Distributors for these sites isn’t complete | Additional metering may be needed for the non-final demand element | Not applicable | Dependent upon solution Number of sites may be quite significant | May be more compatible with CMP363/364 but dependent on solution No concept of additional metering at distribution |
| Designated Properties connected at LV without MIC NHH | Currently Distributors use EACs received via the P0222 data flows for the purposes of banding these sites EAC data is subject to large variances over time | Additional metering may be needed for the non-final demand element | Not applicable | Dependent upon solution Number of sites may be quite significant | Not compatible with CMP363/364 No concept of additional metering at distribution |
| Domestic Premises DCP 388 does not propose to amend the process for Domestic premises | single band only | single band only | Not applicable | single band only | single band only |
| Unmetered Supplies DCP 388 does not propose to amend the process for Unmetered Supplies | single band only | single band only | Not applicable | single band only | single band only |

## Given the extent of the concerns raised, the Working Group agreed that it would be sensible to create a table of the potential solutions that were available and to consult on these as options to determine which, if any, should be developed further. It should be noted that the solutions were only high-level at this stage and that the Working Group agreed to not provide any potential legal text amendments with the first consultation but agreed to use the responses to the initial consultation to feed into development of legal text for any preferred options.

## The table below sets out the four potential options that the Working Group believed should be considered and which includes columns describing pros and cons against each option and a final column which highlights which of the issues / areas of concern that would be addressed by the potential solution. Other options such as no change and a Metering Point Administration Number equalling a site (thereby unpicking multi-feeder sites) where tabled but rejected by the Working Group. The main reason for each being that on the former Parties can reject the change to achieve the same outcome and the latter because this would be against the Ofgem policy relating to a site in the Targeted Charging review. The Working Group noted that the table below should be read together with the relevant paragraphs below it as they provide more detail as to what the potential solutions will look like as well as further explaining any potential issues.

Table 2 – Options being considered

| No. | Option | Pro | Con | Issues Resolved | Banding configurations |
| --- | --- | --- | --- | --- | --- |
| 1 | Customer self declares the split of final demand and non-final demand and provides certificate confirming that a certain amount of their demand is ‘non-final demand’ which is then deducted from the total of the site. This could be backed up with an assurance process of what the final and non-final demand actually is and then provide the right for a DNO/IDNO to conduct an audit / site visit. (further explained in paragraphs 4.10 to 4.14 below) | This would be easier to apply to sites with capacity-based charges. | This option would be based on ‘trust’ and thus the DNO would need to take it on that basis. This would be almost impossible to apply to sites allocated to no MIC bands (as the metered data isn’t available to DNOs/IDNOs) Seems to contradict the intent of the TCR, Wouldn’t be consistent with the solution being developed by CMP363/364. Significant industry costs associated with conducting any audits Number of certificates being submitted and needing to be verified is likely to be significant (e.g. in the tens of thousands) | Resolves Identified issues around: Data Availability / Metering / Connection Agreement | Could be applied to all Banding configurations |
| 2 | Development of a predetermined, standardised proportion of import capacity/consumption of generator to determine the non-final demand element on a mixed-use site. (further explained in paragraphs 4.15 to 4.20 below) | Consistent approach via industry approved calculation (which will be developed as part of this CP if taken forward) Supports Ofgem’s proportionality approach. Minimal cost solution | Further change would be required if a new technology is introduced or where updated data becomes available. Still based on estimation rather than actual metered data | Resolves Identified issues around: Data Availability / Metering / Connection Agreement | Could be applied to all Banding configurations |
| 3 | Additional Meter installed and some form of process to provide the data (further explained in paragraphs 4.21 to 4.26 below) | Can be applied to MIC sites. | Significant industry costs associated with conducting any audits. Significant customer costs associated with the metering arrangements as HH settlement and additional metering would be required (if not already in place). Significant industry costs associated with obtaining / using data from additional metering. This would be almost impossible to apply to sites allocated to no MIC bands (as the metered data isn’t available to DNOs/IDNOs) There will be a delay between implementation and when data is available to use Cannot be applied to LV, no MIC, NHH sites. | Resolves Identified issues around: Data Availability / Metering / Connection Agreement / Compatibility with CMP 363/364 | Designated EHV Properties with MIC Designated Properties connected at HV with MIC Designated Properties connected at LV with MIC Designated Properties connected at LV without a MIC HH (i.e., the aggregated half-hourly market) |
| 4 | Finding a solution which may be similar to what was developed for P375 (permitting the use of behind-the-boundary asset metering) (further explained in paragraphs 4.27 to 4.36 below) | Data and information would be made available. | Likely to be the most expensive option, with such costs being pushed onto consumers. Is reliant on progressing BSC changes and therefore the implementation would be delayed. There will be a delay between implementation and when data is available to use. Is only applicable to sites that are HH metered Cannot be applied to LV, no MIC, NHH sites. | Resolves identified issues around: Data Availability / Metering / Connection Agreement | Designated EHV Properties with MIC Designated Properties connected at HV with MIC Designated Properties connected at LV with MIC Designated Properties connected at LV without a MIC HH (i.e., the aggregated half-hourly market) |

## With respect to the options above, the Working Group agreed that it would be beneficial to provide further information about each option and seek feedback from industry on each option. Therefore, the paragraphs below have been split under relevant subheadings to and set out each option in more detail.

#### OPTION 1: Customer provides certificate that a certain amount of their demand is ‘Non-Final Demand’

## It was noted that roots of this option are based on the current method by which a Single Site is determined to be a Final Demand Site or a Non-Final Demand Site, and therefore whether or not to apply the residual fixed charge to that site. Rather than a customer providing a certificate that confirms that the import capacity or consumption is purely for the operation of the generator and not for any other purpose, a customer would certify that a certain amount of import capacity or consumption is for the operation of the generator. It is this certified amount, which would be deducted from the total import capacity or consumption of the site for the purposes of allocating a site to a residual charging band.

## Such a solution would likely necessitate further information to be provided, of which, the Working Group believe that any such certificate should include details of what type of generating equipment is on site. It was noted that this extra information could be useful in verifying the validity of a certificate by comparing against an average for a specific type of generator or other known parameters.

## The Working Group also considered whether a right should be granted to DNOs/IDNOs so as to be able to conduct an assurance process. It was noted that granting DNOs/IDNOs such a right would, at a minimum, act as a deterrent to providing incorrect information.

## The Working Group noted that although such an approach may be easier to apply to sites with capacity-based charges, it may prove rather more difficult to apply to sites with consumption-based charges. Further to this, it was noted that such a solution would be likely based on trust and some members expressed concerns related to the possibility of incentivising gaming opportunities and ultimately undermining what the TCR was trying to resolve.

## The Working Group sought views on whether industry believed the option of a customer providing a certificate that a certain amount of their demand is ‘Non-Final Demand’ which is then deducted from the total of the site is a viable solution and should be developed further.

For information: Under CMP363/364 the process of self-certification is not being considered as an option.

#### OPTION 2: Development of a predetermined, standardised proportion of import capacity/consumption of generator to determine the non-final demand element on a mixed-use site

## This option would apply a reduction to the capacity/consumption that would otherwise be used as a basis on which to allocate a site to a residual charging band based on:

- Generation technology type; and

- level of import required for or directly relating to Electricity Storage and/or Electricity Generation (and not import for another activity) of each generation technology type.

## The import capacity/consumption required to support each type of generation as a proportion of the maximum export capacity/consumption will be determined based on current installations.

## A percentage value of the Export Capacity/consumption of each generator could be used to determine the Import Capacity/consumption deemed to be necessary for the operation of the generator, with the Import Capacity/consumption that is used as a basis for allocating a site to a residual charging band reduced by this amount.

## The table below provides an example of this solution:

| Type of generation | % of import capacity/consumption (required for start-up / exempt from residual charges) |
| --- | --- |
| LANDFILL GAS | X% |
| COMBINED CYCLE GAS TURBINE (CCGT) | X% |
| CHP SEWAGE TREATMENT, USING A SPARK IGNITION ENGINE | X% |
| CHP SEWAGE TREATMENT USING A GAS TURBINE | X% |
| ENERGY FROM WASTE | X% |
| WIND FARM | X% |
| SMALL HYDRO | X% |
| STORAGE | X% |

## It should be noted that during Working Group discussions, members raised concerns about how such a percentage would be understood/agreed and believe that this may be quite an onerous task. Therefore, the Working Group decided not to define the solution further but to seek views from industry as to the viability of this option.

## The Working Group sought views on whether industry support this option, and if so, if industry have ideas as to how the Working Group could determine the appropriate percentage for each type of generation and if the solution can be applied to both MIC and non-MIC sites.

For information: Under CMP363/364 the Development of an agreed proportion of import capacity/consumption of generator to determine the non-final demand element on a mixed-use site is not being considered as an option.

#### OPTION 3: Metering installed and some form of process to provide the data plus customer certification requirement

## It should be noted that this option effectively includes the parameters of Option 1 (see above) which is that customer would provide a certificate that a certain amount of their demand is ‘non-final demand’ which is then deducted from the total of the site and then adds a requirement around additional metering needing to be in place.

## As it currently stands, there is a reliance on boundary meters which do not distinguish between different loads behind the meter. The reliance on boundary meters is in contradiction with the belief that the basis for the calculation of consumption levies should be on final demand, i.e. excluding demand for the purpose of operating a generator. It should be noted that additional metering may be in place already or will need to be installed if not in place.

## The Working Group discussed how the data from additional meters could be used to determine the correct allocation of import consumption or capacity on mixed or co-located sites. Specifically. the extent to which import associated/co-located with the generation (including storage) can be excluded for the purposes of allocating a site to a residual charging band.

## It was noted that the approach could be on an ‘opt-in’ basis, meaning that generators wishing to avoid residual charges levied on imports associated with their generating units will need to ensure that those generating units (and any directly associated load) is metered separately to any other on-site load. A process could be designed to allow the customer or a sites registrant to provide the metering data to the DNO/IDNO directly, which would be used to reduce the consumption or capacity value used in allocating a site to a residual charging band. This option would likely require data for at least a 12 month period prior to being able to be considered for re-allocation to a different residual charging band.

## The Working Group considered that the additional metering approach would require significant cross code interaction and quite possibly a longer lead time to implement as well as significant costs to be borne by distributors and generators alike. In addition, the Working Group had concerns over whether this option is practicable for non MIC sites.

## The Working Group sought industry views on the additional metering approach and welcome any comments with respect to cross code interactions, non MIC sites and implementation timescales.

For information: The way in which CMP363/364 is dealing with metering arrangements and customer certification is as follows:

CUSC CMP 363 is proposing to include a covering guidance note to state that:

- A Transmission Site is not obliged to submit a declaration; however, they would liable for the TNUoS Demand Residual charge if they didn’t submit such a declaration; and

- Clarify that a false declaration would be a breach of CUSC, and they have a responsibility to keep the obligation up to date e.g. re-declare if there changes to Site usage that would impact on their Transmission Band.

- The declaration would include:

  - The name of the single “Site”;

  - Tick boxes as to whether or not it will have a mix of final demand or be pure nonfinal demand;

  - Where there is Final Demand, a diagram showing the metering configuration (including metering identification) to capture, for complicated sites, the logic of how to isolate Non-Final Demand volumes from the rest of the site; and

  - Signatures/sign off from their Company Directors in line with current CUSC processes.

#### OPTION 4: Finding a solution which may be similar to what was developed for P375, using behind-the-boundary asset metering

## It was noted that there have been two Balancing and Settlement Code (BSC) modifications which explored the idea of using “secondary meters” that can distinguish different loads behind the boundary meter.

## Initial discussions on this topic go back to Project TERRE, a Europe-wide programme designed to establish a new replacement reserve balancing product in participating countries, which included plans for wider access of the Balancing Mechanism (BM) through BSC modification P344 ‘Project TERRE’ which sought to align the BSC with TERRE requirements.

## Prior to P344, in order to participate in the BM sites were required to be registered as a central volume allocation, with these sites now referred to as Primary BM Units. P344 saw the introduction of Secondary BM Units, which used the supplier volume registered boundary point metering systems. The P344 workgroup involved in developing the solution for the modification, raised an issue related to balancing services being delivered, but not being visible, at the boundary point.

## This resulted in issue group 70, which recommended the raising of modification P375 ‘Settlement of Secondary BM Units using metering behind the site Boundary Point’. It was noted that the P375 solution uses an asset metering system identifier, rather than an MPAN, and this is paired that up with a boundary point MPAN to identify the connection between the asset and the site boundary point.

## Ofgem decided to approve P375 on 24 February 2021 and their decision document contained the below summary:

“The proposed modification, raised by Flexitricity Limited (the Proposer) on 13 December 2018, allows, in the case of independent assets behind the boundary meter, for secondary meters to be used for the purpose of settlement of balancing services (bid-offer acceptances), rather than using metering equipment at the site boundary point. Allowing metering closer to the asset within a site that provides the balancing service means that only activity related to that asset is submitted for settlement, and the independent, uncontrollable activity of other assets within the site boundary (behind the same boundary point meter) is removed, reducing inaccuracy in settlement. Simplistically, this modification allows balancing related services to be separated from imbalance related activities. The Proposer believes that code objectives (b), (c) and (e) are better facilitated by this change, and that there is a neutral impact on the other code objectives.

In order to facilitate the use of a meter located between the boundary point and the asset for the purposes of reflecting balancing services for settlement, a new code of practice (COP 11) has been established. This includes the creation of asset metering system identifiers (AMSIDs), to be registered with the settlement volume allocation agent (SVAA), to complement the existing metering system identifiers (MSIDs) used for boundary point meters. This code of practice allows existing metering set-ups to be used for this purpose, as well as being the standard for new meters to attain in new sites.

This modification is predicated on the independence of assets behind the boundary meter. As such, stringent independence checks by the SVAA are required, in accordance with their performance assurance framework . These checks will be done at the point of registration of the asset meter, and further checks can be conducted should the site trigger concerns over ‘gaming’ (where non-balancing assets respond deliberately and dependently to the balancing service response of the balancing asset) through use of an automated technique using statistical methods.”

## To this end, the Working Group also noted that P395 ‘Aligning BSC Reporting with EMR Regulations – an enduring solution’ may have a role to play.

## The Working Group note that P395 is still being developed under the BSC change process seeks to introduce new and amended processes so that the BM Unit Gross Demand Report to the EMR Settlement limited (EMRS) only includes electricity ‘supplied’ to premises by Suppliers, correctly excluding electricity imported by Generators or Battery Storage facilities operated by a licensee for generation activities, for use in calculating Final Consumption Levies (FCL) in accordance with Secretary of State for Business, Energy and Industrial Strategy (BEIS) regulations.

## The following points were covered within the recent P395 consultation issued by Elexon:

- The P395 Solution builds on processes developed for P375 for registering Assets and collecting and processing data from Asset metering by enabling SVAA to receive metered data for Asset Meters from HHDCs. The main difference is that the Asset Metering Systems in question would be registered by Suppliers, rather than by Asset Metering Virtual Lead Parties (AMVLPs).

- Under the P395 solution, Suppliers and CVA Registrants will be required to declare details of the site(s) for which they wish to have their Gross BM Unit Demand adjusted for the purposes of Final Consumption Levy charging. There are three distinct types of declaration required:

1)	EMR MSID Declaration – where there is no Final Demand at a SVA-connected site, Suppliers will be required to declare the Import MSID(s) for each site – there is no requirement to register Generators / Storage Facilities as Assets.

2)	EMR AMSID Declaration – where there is final demand at a SVA-connected site, Suppliers will be required to declare the MSID Pair(s) and AMSID Pair(s) for each site – Suppliers will be required to register each Generator and Storage Facility as an Asset in accordance with BSCP602 in order to obtain an AMSID Pair for each (unless a Generator or Storage Facility has already been registered as an asset using the P375 process, when the Supplier should use the existing AMSID Pair).

3)	EMR CVA BM Unit Declaration – where the Generators / Storage Facilities are located behind a CVA-connected site, the CVA Registrant will be required to declare the relevant CVA BM Unit.

## It should be noted that DCP 388 will need to cover off sites that are active in the BM and those that are not but that P375 is only applicable to the former. Therefore, such a solution for DCP 388 could be based on P375 but would be expanded upon. In addition, the Working Group had concerns over whether this option is practicable for non MIC sites.

## The Working Group sought views on whether industry believe the approach set out under option 4, which is based on finding a solution using a settlements process which may be similar to what which was developed for P375, should be further developed and whether it can be extended to non MIC sites.

#### Consultation 1Summeray of Responses

  - The first consultation was issued to parties on 04 April 2022. There were eleven responses received to the consultation. The Working Group’s conclusions can be found in Attachment 4 DCP 388 Consolidated Consultation 4 Responses, with a summary of each shown below.

## Nine out of the eleven respondents indicated that they understood the intent of DCP 388. The remaining two respondents were either unsure what the intent of DCP 388 was or believed it to be ambiguous.

## Given two respondents hadn’t properly understood the intent of DCP 388, the Working Group agreed to add clarity to the future consultation and the final change report with respect to the intent of the change, to ensure readers fully understand the intent moving forward.

## Eight out of the eleven respondents indicated that they were supportive of the principles that of DCP 388 The remaining three respondents expressing concerns indicating that they were not supportive of the principles for DCP 388.

## Of the three who weren’t supportive, two respondent’s views can be summarised as believing DCP 388 does not align with the principles set out in Ofgem’s Targeted Charging Review (TCR) Significant Code Review (SCR), whilst the other respondent didn’t provide their rationale in response to this question.

## Of the Eleven parties who responded, two supported option 1, two supported option 2 with another two respondents stating some support for a standardised approach and another respondent stated that they were supportive of an approach which minimises administrative burden and cost and suggested an expanded version of option 2 may work best.

## Two respondents expressed outright support for option 3. It was noted that options 1 and options 3 were adopting similar approaches.

## Four respondents supported option 4, two respondents didn’t specifically state whether or not they were supportive of option 4 but both did provide comments indicating concerns related to this option only being applicable to some sites and not others (i.e., only sites operating in the HH market and/or only those without agreed capacity)..

## This was noted within the Working Group and any potential consequential impact to the MHHS programme that DCP 388 may have will be reviewed and handed to the MHHS programme where appropriate.

## Two respondents indicated that they do not believe DCP 388 should be progressed any further, given in their view, it works against the original intent of the TCR.

## One respondent stated: “DCP 388 should explicitly state that it is covering mixed sites including private networks.” The Working Group notes that private networks are likely to be covered under DCP 388 as it seeks to split out generation import from any other import and is therefore applicable to private network arrangements. However, as no solution has been finalised the Working Group agreed to keep the area of private networks under review.

## One respondent stated: “It was pointed out that it would be possible to use the process of subtracting metered final demand from metered total site demand to obtain a non-final demand element. If this is possible then we think it would be an option we would want to add in to our previous response i.e. if a customer has the metering in place for us to more accurately apportion Non Final Demand/Final Demand ratios then we would use that data”.

## In response the Working Group noted that any metering option will require the provision of metering data and will likely require the raising of a BSC modification, which has time and cost implications as well as not covering any metering of re-active power which will likely be needed.

## The Working Group also noted the same respondent suggested a solution that would involve combining a number of options together and that other respondents have also suggest similar approaches, and therefore the Working Group will review the suggestion in the round.

## One respondent noted that they’d support an “opt-in process’, leaving it to site operators’ discretion as to whether it would be worth their while reporting a site’s NFD” for any eventual solution. The Working Group agreed that this would be a sensible approach (whichever option is progressed).

## The Working Group noted the same respondent suggested that for the next phase of the Working Group, it “refines its approach of comparing the options by applying some specific criteria should ‘applying some specific criteria, such as practicability, verifiability and cost-effectiveness, across all the parties affected by the proposal, and attempts to quantify the impacts‘.”

## The Working Group clarified that the costs to be assessed would relate to those imposed on industry (i.e., for metering as well as obtaining/processing of metering data etc).

## Working Group noted a point made by the same respondent related to the availability of demand data that DNOs require for banding, specifically, ‘HH LV sites without a MIC (aggregated HH market)’ and with the respondent highlighting their understanding that this was supposed to have been picked up via a BSC modification and that the Working Group should follow this up.

## The Working Group discussed this point and highlighted that a previous BSC change ‘CP1555’ had been raised and subsequently rejected and this was designed to fix the access to such data. It was suggested that there may be a need for another BSC CP to be raised to obtain the required data (i.e., a CP that is focussed on Measurement Class G customers only) – although it was noted that a previous attempt had also failed.

Consultation one conclusions

## As the first consultation had been sent almost exactly one year ago since the Working Group reconvened, the Working Group agreed that it would make sense to review all the implemented and approved relevant industry changes from the date consultation 1 was issued, which was April 2022.

## The Working Group noted the responses to the first consultation and agreed as a number of industry changes had occurred since April 2022 that had an impact on this change, that a second consultation would be required.

## It was noted that the use of the customer certification form would form part of the process for assessing Final and Non-Final Demand.

## The Working Group concluded that the solution would need to be split for consumption and capacity sites and captured the below processes that needed further consideration for customer and Distributor lead processes.

## For Capacity sites it was agreed the areas for further consideration are below for customer-based processes

- Completion of customer self-certificate and acceptance.

- Connection agreement tied to capacity site with import and export capacity.

- Use operational metering at the generation asset, at the import asset or both. This to be done with the DNO up front (In excel format for existing sites only?) as part of the initial application.

- Require access to physical operational metering (audits etc)

## The below was agreed as areas that needed further consideration for distributor-based processes on capacity sites.

- Check and validate data to prove the sites usage is within what is stated in the self cert doc.

- Inform outcome. Update LLFC if required.

- Data update for forecasting and modelling.

## The below were areas the Working Group agreed required consideration for customer-based processes on consumption sites.

- Completion of customer self-certificate and acceptance.

- Import and export MPANs for the site.

- Use operational metering at the generation asset deducted against settlement metering ie sites total minus the generation asset.

- Require access to physical operational metering (audits etc)

## And finally, the below were the distributor-based processes for consumption sites.

- Check the EAC is at the expected level. or;

- Check with supplier for the consumption element.

- Update LLFC if re-band triggered.

- Data update for forecasting and modelling.

Consultation two

CMP 363/364 review and Solution Approach.

## As eight months had passed since the last time the Working Group met, it was decided to begin by reviewing CMP 363 and 364 as the authority had reached a decision on these two changes in that time.

## The Working Group reviewed CMP 363 and 364 and concluded that whilst these changes were primarily focused on Final Demand and Non-Final demand Sites, they did touch upon some elements of mixed demand sites.

## It was noted that these changes went live in April 2023 and could have an impact on DCP 388.

## The proposer also noted that the given what CMP 363 and 364 would deliver, the customer certification process alone may not be fit for purpose as this process relied heavily on estimation. The proposer also noted that CMP 363 and 364 were centred around metered data calculations and not estimates.

## The Working concluded that the customer certificate process would still be useful and should be included within the final solution. It was noted that for new customers, the process may have to rely entirely on the customer certificate process initially.

## The current options that the Working Group had been considering, based on the consultation responses, was to use the customer certificate provided by the customer or derive, by technology type, the amount of Non-Final demand usage a site had or to determine if there was a need for a metering installation to take place the record all final and Non-Final Demand usage.

Existing customer process

## It was noted that relying solely on the customer certificate process had flaws as this process used set values based on the technology types. This could create inconsistencies due to a number of different factors, mainly where the technologies were located.

## A Working Group member provided an example of one possible inconsistency of solar in the north of Scotland giving a very different outcome to solar located in the south of England.

## Due to these potential inconsistencies the Working Group believed that the approach for existing customers would be to utilise both the customer certification process alongside using actual operational metered data to derive the final and non-final demand offered the most suitable solution. It was also agreed that due to the possibility of inconsistent outcomes, the customer certificate process would not request the customer to provide the technology type.

New customer process

## The Working Group considered the process for new customers as there would be no actual metered data to use.

## The Working Group believed that a using the customer certificate process initially, and then applying an annual review after an agreed time period offered the best solution for new customers.

## This would allow distributors to collate the data which would enable them to calculate an accurate MIC. This process was consistent with the solutions that CMP 363 and 364 delivered.

## The Working Group considered the length of time this review period should last and agreed that the options available were monthly, quarterly, or annually. The Working Group believed that an annual review (12 months) followed by a reconciliation was the best approach.

## To summarise the Working Groups approach, the process for Mixed Demand Site customers is to treat the customers as Non-Final Demand Sites and use the annual review process to determine the residual charge including rebates where appropriate.

## The Working Group would like to receive party views on the above points to help develop the final solution.

Question 1: Do you agree with the approach suggested by the Working Group to utilise actual operational metered data alongside a customer certification document? Please provide rationale.?

Question 2: Do you agree with the approach for how new Mixed Demand Site customers are treated, if no please provide rationale.

Question 3: Do you believe that there is another, more suitable approach for existing and new customers not considered by the Working Group? Please provide details if yes.

Customer certification form

## The Working Group considered the contents of the customer certification form and agreed that including the technology types would not help the assessment due to the risk of inconsistencies mentioned in earlier.

## The Working Group agreed that the customer certificate form should split out consumption and capacity sites into their own sections and that for capacity sites, confirmation that 12 months of data (provided in kWh and kVArh) for each of the metering arrangements would be required.

## For consumption sites, confirmation that 12 months of actual metered data (HH data or readings in kWh) for each of the metering arrangements would be required.

## The declaration within the form was also updated to include that The Distributor reserves the right to perform an annual review as well as a site audit so that distributors could review the metering arrangements on site. A Working Group member noted that the audit requirement was consistent with similar processes within the BSCP so it shouldn’t be something new to customers, suppliers and Distributors.

## The Working Group believed that the customer certificate from should be housed within the LC14 statements, but that Distributors should also have copies on their websites in order to allow customers to find everything they need in one place.

## The customer certificate form can be found within Attachment 5 – DCP 388 customer certificate.

## A Working Group member shared a spreadsheet that could be used to calculate the estimated Final Demand once the Non-Final Demand element had been subtracted. It was noted that this is what the customer could use when completing the Self-Certificate form.

## The working group have created a Template for working out the Non-Final demand sites charged banded using capacity. This requires either.

- the HH data for the site for the Final demand element of the site or

- both the HH data at the Import boundary and the HH data for the generation element of the site

## The latter is used to calculate an estimated Final demand element of the site by HH. The template then uses the max of the HH Final demand data for the site and then if this does not exist the max of the HH estimated final demand of the site.

## The template then divides the resulting max by 0.95 to convert the KW to Capacity KVA to produce a Capacity to be used for Banding.

## It was highlighted that this process was again consistent with processes within the BSCP for settlement metering when audits are undertaken so following the above process would lead to better consistency across distributors.

## The Spreadsheet can be found within Attachment 6 Calculation Template for Mixed Non-Final Demand sites.

## The Working Group would like to seek party views on the above points in order to aid in developing the solution.

Question 4: Do you have any comments on the customer certificate document?

Question 5: Do you agree that the customer certification document should be located within the LC14 statement and Distributors websites? If not, please advise where you believe it should be located and provide rationale..

Question 6: Do you have any comments on the Calculation Template for Mixed Non-Final Demand sites?

Code Specific Matters

#### Reference Documents

## https://www.nationalgrideso.com/industry-information/codes/connection-and-use-system-code-cusc-old/modifications/cmp363-cmp364

## https://www.ofgem.gov.uk/system/files/docs/2019/12/full_decision_doc_updated.pdf

Solution and Legal Text

Legal Text

## The legal text change will take place in schedule 32 and can be found within Attachment 3 – DCP 388 Legal Text. A summary of these changes can be found below;

- An amendment to the definition for Final Demand Site.

- A new paragraph, 1.11 clarifying how Mix Demand sites are to be classed.

- A number of amendments and additions to section 3, The Review of Charging Bands, to cater for Mix Demand sites.

- A number of amendments and additions to section 4, Allocation of Customers to Charging Bands by DNO/IDNO parties, to cater for Mix Demand sites.

- An entire new section, 5B, to cater for the R-classification of a Single site to a Mixed Demand site.

- Adding two new exceptions into section 6.

- Updating paragraph 6.5 the addition of two new paragraphs, 6.9A and 6.9B, to include Mixed demand sites within the annual allocation review section.

- The inclusion of a new definition for Mixed Demand Sites.

## It was believed within the Working Group that there would be no legal text changes required to section 7 of schedule 32 (Disputes), however the Working Group would like seek party views on this.

Question 7:  Do you believe that there needs to be any changes to section 7, disputes, within the legal text?

Question 8:  Do you have any comments on the draft legal text?

Relevant Objectives

#### Assessment Against the DCUSA Objectives

## For a DCUSA Change Proposal to be approved it must be demonstrated that it better facilitates the DCUSA Objectives. There are five General Objectives and six Charging Objectives. The full list of objectives is documented in the DCUSA.

## The rationale provided by the Proposer as to which of the following DCUSA Objectives are better facilitated by DCP 388 is set out in the CP form, provided as Attachment 2 and also detailed below.

## The Proposer is of the view that the fundamental benefit of this change is ensuring consistent treatment of final and non-final demand in relation to sites that have a mix of Final Demand and Non-Final demand by defining   ‘mixed use sites’ for residual charge purposes across transmission and distribution.

## The Working Group will seek industry views in relation to the DCUSA Objectives as part of their second consultation.

| #### DCUSA Charging Objectives | Identified impact |
| --- | --- |
| - that compliance by each DNO Party with the Charging Methodologies facilitates the discharge by the DNO Party of the obligations imposed on it under the Act and by its Distribution Licence | Positive |
| - that compliance by each DNO Party with the Charging Methodologies facilitates competition in the generation and supply of electricity and will not restrict, distort, or prevent competition in the transmission or distribution of electricity or in participation in the operation of an Interconnector (as defined in the Distribution Licences) - that compliance by each DNO Party with the Charging Methodologies results in charges which, so far as is reasonably practicable after taking account of implementation costs, reflect the costs incurred, or reasonably expected to be incurred, by the DNO Party in its Distribution Business | Positive |
| - that, so far as is consistent with Clauses 3.2.1 to 3.2.3, the Charging Methodologies, so far as is reasonably practicable, properly take account of developments in each DNO Party’s Distribution Business | None |
| - that compliance by each DNO Party with the Charging Methodologies facilitates compliance with the Regulation on Cross-Border Exchange in Electricity and any relevant legally binding decisions of the European Commission and/or the Agency for the Co-operation of Energy Regulators. | None |
| - that compliance with the Charging Methodologies promotes efficiency in its own implementation and administration. | None |

Question 9: Do you consider the solution better facilitates the DCUSA objectives? Please give supporting reasons.

Impacts & Other Considerations

## It should be noted that the issue that DCP 388 seeks to resolve was raised with the DCMDG prior to being submitted into the formal DCUSA Change Control process.

#### Significant Code Review Impacts

## This proposal does not affect an SCR as such.  However, it is making the implementation of the Targeted Charging Review consistent between transmission and distribution.

#### Impacts on other Industry Codes

## The Proposer and Working Group agree that they don’t believe there are any other cross-code implications other than bringing the DCUSA into line with the CUSC, unless option 4 is selected, which may impact the BSC/REC.

| BSC CUSC Grid Code REC |  | SEC Other None |  |
| --- | --- | --- | --- |

#### Environmental Impacts

## In accordance with DCUSA Clause 11.14.6, the Working Group assessed whether there would be a material impact on greenhouse gas emissions if DCP 388 were to be implemented. The Working Group did not identify any material impact on greenhouse gas emissions from the implementation of this CP.

#### Engagement with the Authority

## Ofgem has been fully engaged throughout the development of the DCP as an observer of the Working Group and regular attendee of the TCR Implementation Steering Group and the DCMDG.

Implementation Date

## The Working Group noted that delivering this change in the middle of a charging year would be difficult and in light of this, an implementation date of 01 April 2024 was agreed as an appropriate date for this change as this would fall in line with a new charging year.

## The Working Group Would like views on whether an implementation date of 01 April 2024 is suitable.

Question 10: What date do you believe this change proposal should be implemented? Please provide rationale.

Question 11: Do you have any other comments?

Consultation Questions

## The Working Group is seeking industry views on the following consultation questions:

| No. | Questions |
| --- | --- |
|  | Do you agree with the approach suggested by the Working Group to utilise actual operational metered data alongside a customer certification document? Please provide rationale. |
|  | The Working Groups approach for new Mixed Demand Site customers is to treat the customers as Non-Final Demand Sites and use the annual review process to determine the residual charge including rebates where appropriate. Do you agree with the approach for how new Mixed Demand Site customers are treated, if no please provide rationale. |
|  | Do you believe that there is another, more suitable approach for existing and new customers not considered by the Working Group? Please provide details if yes. |
|  | Do you have any comments on the customer certificate document? |
|  | Do you agree that the customer certification document should be located within the LC14 statement and Distributors websites? If not, please advise where you believe it should be located and provide rationale. |
|  | Do you have any comments on the Calculation Template for Mixed Non-Final Demand sites? |
|  | Do you believe that there needs to be any changes to section 7, disputes, within the legal text? |
|  | Do you have any comments on the draft legal text? |
|  | Do you consider the solution better facilitates the DCUSA objectives? Please give supporting reasons. |
|  | What date do you believe this change proposal should be implemented? Please provide rationale. |
|  | Do you have any other comments? |

## Responses should be submitted using Attachment 1 to dcusa@electralink.co.uk no later than, close of play on xx April 2023.

## Responses, or any part thereof, can be provided in confidence. Parties are asked to clearly indicate any parts of a response that are to be treated confidentially.

Attachments

- Attachment 1 – DCP 388 Consultation Response Form

- Attachment 2 – DCP 388 Change Proposal Form

- Attachment 3 – DCP 388 Legal Text

- Attachment 4 - DCP 388 Consolidated Consultation 1 Responses

- Attachment 5 – DCP 388 Customer Self Certificate form

- Attachment 6 -  Template for Mixed Non-Final Demand Sites

https://www.ofgem.gov.uk/system/files/docs/2019/12/full_decision_doc_updated.pdf

https://www.dcusa.co.uk/change/use-of-system-charging-for-private-networks-with-competition-in-supply/

https://www.ofgem.gov.uk/publications-and-updates/dcp359-ofgem-targeted-charging-review-tcr-implementation-customers-who-should-pay

https://www.nationalgrideso.com/industry-information/codes/connection-and-use-system-code-cusc-old/modifications/cmp363-cmp364

https://www.ofgem.gov.uk/publications/decision-cmp343 (note this also included the decisions of CMP335/336 and CMP340.