## Control
Option | Check
| Errors | -ve CAF
1 | 0 | 0
2 | 0 | 0
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
6 | 0 | 0

## Option 1
Option 1: (i) Single HCPT breach = 100% capped Reinforcement, (ii) multiple HCPT breach = capped proportionally only where exceeded but floored at zero cost to be apportioned, or (iii) no single HCPT breach or if zero floor applies = all Reinforcement capped proportionally
Examples | Example 13 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
|  | FL only | Sec only | Total only | Sec & FL | No FL | No Sec | FL only 2 | Sec only 2 | Total only 2 | Sec & FL 2 | No FL 2 | No Sec 2 | Sec & FL 3
Capacity need (MW) | 6 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
New Network Capacity (MVA) | 7.6 | 7.6 | 7.6 | 7.6 | 7.6 | 7.6 | 0 | 7.6 | 7.6 | 7.6 | 7.6 | 7.6 | 0 | 7.6
Security CAF* | 78.95% | 39.47% | 39.47% | 39.47% | 39.47% | 39.47% | 0% | 39.47% | 39.47% | 39.47% | 39.47% | 39.47% | 0% | 39.47%
Fault Level Contribution from Connection (MVA) | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 10
New Fault Level Capacity (MVA) | 250 | 250 | 250 | 250 | 250 | 0 | 250 | 250 | 250 | 250 | 250 | 0 | 250 | 250
Fault Level CAF* | 12% | 12% | 12% | 12% | 12% | 0% | 12% | 12% | 12% | 12% | 12% | 0% | 12% | 12%
High-Cost Project Threshold (£/MW) | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
HCPT value | 1200000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000
Reinforcement costs (assume all at POC Voltage Level) (highlighted = capped)
Security CAF_1 | 20000 | 20000 | 700000 | 100000 | 700000 | 700000 | 0 | 20000 | 700000 | 100000 | 20000 | 700000 | 0 | 20000
Fault Level CAF_1 | 800000 | 800000 | 300000 | 550000 | 800000 | 0 | 800000 | 800000 | 300000 | 400000 | 800000 | 0 | 800000 | 800000
Security CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 700000 | 50000 | 650000 | 700000 | 0 | 600000
Fault Level CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 700000 | 0 | 300000 | 800000 | 0 | 800000 | 800000
Total | 820000 | 820000 | 1000000 | 650000 | 1500000 | 700000 | 800000 | 1520000 | 1700000 | 850000 | 2270000 | 1400000 | 1600000 | 2220000
Aggregate HCPT breaches | 0 | 800000 | 700000 | 0 | 1500000 | 700000 | 800000 | 1500000 | 1400000 | 0 | 2250000 | 1400000 | 1600000 | 1600000
Excess | 0 | 220000 | 400000 | 50000 | 900000 | 100000 | 200000 | 920000 | 1100000 | 250000 | 1670000 | 800000 | 1000000 | 1620000
Residual Excess | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20000
HCPT breach? | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
HCPT breach driver
Security CAF | FALSE | FALSE | TRUE | FALSE | TRUE | TRUE | FALSE | FALSE | TRUE | FALSE | TRUE | TRUE | FALSE | FALSE
Fault Level CAF | FALSE | TRUE | FALSE | FALSE | TRUE | FALSE | TRUE | TRUE | FALSE | FALSE | TRUE | FALSE | TRUE | TRUE
Multiple drivers? | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE
Aggregate breach only? | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE
Negative breach flag | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE
HCPT breach driver: multiple flag
Security CAF | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | TRUE | FALSE | FALSE
Fault Level CAF | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | TRUE | FALSE | TRUE | TRUE
Multiple breaches per single driver? | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
CAF cap adjustment %
Security CAF_1 | 0% | 0% | 100% | 15.38% | 46.67% | 100% | 0% | 0% | 50% | 11.76% | 0% | 50% | 0% | 0.9009%
Fault Level CAF_1 | 0% | 100% | 0% | 84.62% | 53.33% | 0% | 100% | 53.33% | 0% | 47.06% | 35.56% | 0% | 50% | 36.04%
Security CAF_2 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 50% | 5.882% | 28.89% | 50% | 0% | 27.03%
Fault Level CAF_2 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 46.67% | 0% | 35.29% | 35.56% | 0% | 50% | 36.04%
Total | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
CAF cap adjustment
Security CAF_1 | 0 | 0 | -400000 | -7692.3077 | -420000 | -100000 | 0 | 0 | -550000 | -29411.7647 | 0 | -400000 | 0 | -14594.5946
Fault Level CAF_1 | 0 | -220000 | 0 | -42307.6923 | -480000 | 0 | -200000 | -490666.6667 | 0 | -117647.0588 | -593777.7778 | 0 | -500000 | -583783.7838
Security CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -550000 | -14705.8824 | -482444.4444 | -400000 | 0 | -437837.8378
Fault Level CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -429333.3333 | 0 | -88235.2941 | -593777.7778 | 0 | -500000 | -583783.7838
Total | 0 | -220000 | -400000 | -50000 | -900000 | -100000 | -200000 | -920000 | -1100000 | -250000 | -1670000 | -800000 | -1000000 | -1620000
Check | n/a | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
Connection Charge (Reinforcement only)
Above HCPT | 0 | 220000 | 400000 | 50000 | 900000 | 100000 | 200000 | 920000 | 1100000 | 250000 | 1670000 | 800000 | 1000000 | 1620000
Security CAF_1 | 15789.4737 | 7894.7368 | 118421.0526 | 36437.247 | 110526.3158 | 236842.1053 | 0 | 7894.7368 | 59210.5263 | 27863.7771 | 7894.7368 | 118421.0526 | 0 | 2133.7127
Fault Level CAF_1 | 96000 | 69600 | 36000 | 60923.0769 | 38400 | 0 | 72000 | 37120 | 36000 | 33882.3529 | 24746.6667 | 0 | 36000 | 25945.9459
Security CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 59210.5263 | 13931.8885 | 66140.3509 | 118421.0526 | 0 | 64011.3798
Fault Level CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32480 | 0 | 25411.7647 | 24746.6667 | 0 | 36000 | 25945.9459
Total | 111789.4737 | 297494.7368 | 554421.0526 | 147360.3239 | 1048926.3158 | 336842.1053 | 272000 | 997494.7368 | 1254421.0526 | 351089.7833 | 1793528.4211 | 1036842.1053 | 1072000 | 1738036.9844
DNO cost | 708210.5263 | 522505.2632 | 445578.9474 | 502639.6761 | 451073.6842 | 363157.8947 | 528000 | 522505.2632 | 445578.9474 | 498910.2167 | 476471.5789 | 363157.8947 | 528000 | 481963.0156
Check | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
* may apply to multiple CAFs for simplicity

## Option 2
Option 2: (i) Single HCPT breach = 100% capped Reinforcement, (ii) otherwise all Reinforcement capped proportionally
Examples | Example 13 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
|  | FL only | Sec only | Total only | Sec & FL | No FL | No Sec | FL only 2 | Sec only 2 | Total only 2 | Sec & FL 2 | No FL 2 | No Sec 2 | Sec & FL 3
Capacity need (MW) | 6 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
New Network Capacity (MVA) | 7.6 | 7.6 | 7.6 | 7.6 | 7.6 | 7.6 | 0 | 7.6 | 7.6 | 7.6 | 7.6 | 7.6 | 0 | 7.6
Security CAF* | 78.95% | 39.47% | 39.47% | 39.47% | 39.47% | 39.47% | 0% | 39.47% | 39.47% | 39.47% | 39.47% | 39.47% | 0% | 39.47%
Fault Level Contribution from Connection (MVA) | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 10
New Fault Level Capacity (MVA) | 250 | 250 | 250 | 250 | 250 | 0 | 250 | 250 | 250 | 250 | 250 | 0 | 250 | 250
Fault Level CAF* | 12% | 12% | 12% | 12% | 12% | 0% | 12% | 12% | 12% | 12% | 12% | 0% | 12% | 12%
High-Cost Project Threshold (£/MW) | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
HCPT value | 1200000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000
Reinforcement costs (assume all at POC Voltage Level) (highlighted = capped)
Security CAF_1 | 20000 | 20000 | 700000 | 100000 | 700000 | 700000 | 0 | 20000 | 700000 | 100000 | 20000 | 700000 | 0 | 20000
Fault Level CAF_1 | 800000 | 800000 | 300000 | 550000 | 800000 | 0 | 800000 | 800000 | 300000 | 400000 | 800000 | 0 | 800000 | 800000
Security CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 700000 | 50000 | 650000 | 700000 | 0 | 600000
Fault Level CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 700000 | 0 | 300000 | 800000 | 0 | 800000 | 800000
Total | 820000 | 820000 | 1000000 | 650000 | 1500000 | 700000 | 800000 | 1520000 | 1700000 | 850000 | 2270000 | 1400000 | 1600000 | 2220000
Aggregate HCPT breaches
Excess | 0 | 220000 | 400000 | 50000 | 900000 | 100000 | 200000 | 920000 | 1100000 | 250000 | 1670000 | 800000 | 1000000 | 1620000
Residual Excess | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HCPT breach? | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
HCPT breach driver
Security CAF | FALSE | FALSE | TRUE | FALSE | TRUE | TRUE | FALSE | FALSE | TRUE | FALSE | TRUE | TRUE | FALSE | FALSE
Fault Level CAF | FALSE | TRUE | FALSE | FALSE | TRUE | FALSE | TRUE | TRUE | FALSE | FALSE | TRUE | FALSE | TRUE | TRUE
Multiple drivers? | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE
Aggregate breach only? | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE
Negative breach flag
HCPT breach driver: multiple flag
Security CAF | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | TRUE | FALSE | FALSE
Fault Level CAF | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | TRUE | FALSE | TRUE | TRUE
Multiple breaches per single driver? | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
CAF cap adjustment %
Security CAF_1 | 0% | 0% | 100% | 15.38% | 46.67% | 100% | 0% | 1.316% | 41.18% | 11.76% | 0.8811% | 50% | 0% | 0.9009%
Fault Level CAF_1 | 0% | 100% | 0% | 84.62% | 53.33% | 0% | 100% | 52.63% | 17.65% | 47.06% | 35.24% | 0% | 50% | 36.04%
Security CAF_2 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 41.18% | 5.882% | 28.63% | 50% | 0% | 27.03%
Fault Level CAF_2 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 46.05% | 0% | 35.29% | 35.24% | 0% | 50% | 36.04%
Total | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
CAF cap adjustment
Security CAF_1 | 0 | 0 | -400000 | -7692.3077 | -420000 | -100000 | 0 | -12105.2632 | -452941.1765 | -29411.7647 | -14713.6564 | -400000 | 0 | -14594.5946
Fault Level CAF_1 | 0 | -220000 | 0 | -42307.6923 | -480000 | 0 | -200000 | -484210.5263 | -194117.6471 | -117647.0588 | -588546.2555 | 0 | -500000 | -583783.7838
Security CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -452941.1765 | -14705.8824 | -478193.8326 | -400000 | 0 | -437837.8378
Fault Level CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -423684.2105 | 0 | -88235.2941 | -588546.2555 | 0 | -500000 | -583783.7838
Total | 0 | -220000 | -400000 | -50000 | -900000 | -100000 | -200000 | -920000 | -1100000 | -250000 | -1670000 | -800000 | -1000000 | -1620000
Check | n/a | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
Connection Charge (Reinforcement only)
Above HCPT | 0 | 220000 | 400000 | 50000 | 900000 | 100000 | 200000 | 920000 | 1100000 | 250000 | 1670000 | 800000 | 1000000 | 1620000
Security CAF_1 | 15789.4737 | 7894.7368 | 118421.0526 | 36437.247 | 110526.3158 | 236842.1053 | 0 | 3116.3435 | 97523.2198 | 27863.7771 | 2086.7146 | 118421.0526 | 0 | 2133.7127
Fault Level CAF_1 | 96000 | 69600 | 36000 | 60923.0769 | 38400 | 0 | 72000 | 37894.7368 | 12705.8824 | 33882.3529 | 25374.4493 | 0 | 36000 | 25945.9459
Security CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 97523.2198 | 13931.8885 | 67818.224 | 118421.0526 | 0 | 64011.3798
Fault Level CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33157.8947 | 0 | 25411.7647 | 25374.4493 | 0 | 36000 | 25945.9459
Total | 111789.4737 | 297494.7368 | 554421.0526 | 147360.3239 | 1048926.3158 | 336842.1053 | 272000 | 994168.9751 | 1307752.322 | 351089.7833 | 1790653.8372 | 1036842.1053 | 1072000 | 1738036.9844
DNO cost | 708210.5263 | 522505.2632 | 445578.9474 | 502639.6761 | 451073.6842 | 363157.8947 | 528000 | 525831.0249 | 392247.678 | 498910.2167 | 479346.1628 | 363157.8947 | 528000 | 481963.0156
Check | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
* may apply to multiple CAFs for simplicity

## Option 3
Option 3: All Reinforcement capped proportionally
Examples | Example 13 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
|  | FL only | Sec only | Total only | Sec & FL | No FL | No Sec | FL only 2 | Sec only 2 | Total only 2 | Sec & FL 2 | No FL 2 | No Sec 2 | Sec & FL 3
Capacity need (MW) | 6 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
New Network Capacity (MVA) | 7.6 | 7.6 | 7.6 | 7.6 | 7.6 | 7.6 | 0 | 7.6 | 7.6 | 7.6 | 7.6 | 7.6 | 0 | 7.6
Security CAF* | 78.95% | 39.47% | 39.47% | 39.47% | 39.47% | 39.47% | 0% | 39.47% | 39.47% | 39.47% | 39.47% | 39.47% | 0% | 39.47%
Fault Level Contribution from Connection (MVA) | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 10
New Fault Level Capacity (MVA) | 250 | 250 | 250 | 250 | 250 | 0 | 250 | 250 | 250 | 250 | 250 | 0 | 250 | 250
Fault Level CAF* | 12% | 12% | 12% | 12% | 12% | 0% | 12% | 12% | 12% | 12% | 12% | 0% | 12% | 12%
High-Cost Project Threshold (£/MW) | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
HCPT value | 1200000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000
Reinforcement costs (assume all at POC Voltage Level) (highlighted = capped)
Security CAF_1 | 20000 | 20000 | 700000 | 100000 | 700000 | 700000 | 0 | 20000 | 700000 | 100000 | 20000 | 700000 | 0 | 20000
Fault Level CAF_1 | 800000 | 800000 | 300000 | 550000 | 800000 | 0 | 800000 | 800000 | 300000 | 400000 | 800000 | 0 | 800000 | 800000
Security CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 700000 | 50000 | 650000 | 700000 | 0 | 600000
Fault Level CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 700000 | 0 | 300000 | 800000 | 0 | 800000 | 800000
Total | 820000 | 820000 | 1000000 | 650000 | 1500000 | 700000 | 800000 | 1520000 | 1700000 | 850000 | 2270000 | 1400000 | 1600000 | 2220000
Aggregate HCPT breaches
Excess | 0 | 220000 | 400000 | 50000 | 900000 | 100000 | 200000 | 920000 | 1100000 | 250000 | 1670000 | 800000 | 1000000 | 1620000
Residual Excess | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HCPT breach? | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
HCPT breach driver
Security CAF | FALSE | FALSE | TRUE | FALSE | TRUE | TRUE | FALSE | FALSE | TRUE | FALSE | TRUE | TRUE | FALSE | FALSE
Fault Level CAF | FALSE | TRUE | FALSE | FALSE | TRUE | FALSE | TRUE | TRUE | FALSE | FALSE | TRUE | FALSE | TRUE | TRUE
Multiple drivers? | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE
Aggregate breach only? | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE
Negative breach flag
HCPT breach driver: multiple flag
Security CAF | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | TRUE | FALSE | FALSE
Fault Level CAF | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | TRUE | FALSE | TRUE | TRUE
Multiple breaches per single driver? | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
CAF cap adjustment %
Security CAF_1 | 0% | 2.439% | 70% | 15.38% | 46.67% | 100% | 0% | 1.316% | 41.18% | 11.76% | 0.8811% | 50% | 0% | 0.9009%
Fault Level CAF_1 | 0% | 97.56% | 30% | 84.62% | 53.33% | 0% | 100% | 52.63% | 17.65% | 47.06% | 35.24% | 0% | 50% | 36.04%
Security CAF_2 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 41.18% | 5.882% | 28.63% | 50% | 0% | 27.03%
Fault Level CAF_2 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 46.05% | 0% | 35.29% | 35.24% | 0% | 50% | 36.04%
Total | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
CAF cap adjustment
Security CAF_1 | 0 | -5365.8537 | -280000 | -7692.3077 | -420000 | -100000 | 0 | -12105.2632 | -452941.1765 | -29411.7647 | -14713.6564 | -400000 | 0 | -14594.5946
Fault Level CAF_1 | 0 | -214634.1463 | -120000 | -42307.6923 | -480000 | 0 | -200000 | -484210.5263 | -194117.6471 | -117647.0588 | -588546.2555 | 0 | -500000 | -583783.7838
Security CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -452941.1765 | -14705.8824 | -478193.8326 | -400000 | 0 | -437837.8378
Fault Level CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -423684.2105 | 0 | -88235.2941 | -588546.2555 | 0 | -500000 | -583783.7838
Total | 0 | -220000 | -400000 | -50000 | -900000 | -100000 | -200000 | -920000 | -1100000 | -250000 | -1670000 | -800000 | -1000000 | -1620000
Check | n/a | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
Connection Charge (Reinforcement only)
Above HCPT | 0 | 220000 | 400000 | 50000 | 900000 | 100000 | 200000 | 920000 | 1100000 | 250000 | 1670000 | 800000 | 1000000 | 1620000
Security CAF_1 | 15789.4737 | 5776.6367 | 165789.4737 | 36437.247 | 110526.3158 | 236842.1053 | 0 | 3116.3435 | 97523.2198 | 27863.7771 | 2086.7146 | 118421.0526 | 0 | 2133.7127
Fault Level CAF_1 | 96000 | 70243.9024 | 21600 | 60923.0769 | 38400 | 0 | 72000 | 37894.7368 | 12705.8824 | 33882.3529 | 25374.4493 | 0 | 36000 | 25945.9459
Security CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 97523.2198 | 13931.8885 | 67818.224 | 118421.0526 | 0 | 64011.3798
Fault Level CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33157.8947 | 0 | 25411.7647 | 25374.4493 | 0 | 36000 | 25945.9459
Total | 111789.4737 | 296020.5392 | 587389.4737 | 147360.3239 | 1048926.3158 | 336842.1053 | 272000 | 994168.9751 | 1307752.322 | 351089.7833 | 1790653.8372 | 1036842.1053 | 1072000 | 1738036.9844
DNO cost | 708210.5263 | 523979.4608 | 412610.5263 | 502639.6761 | 451073.6842 | 363157.8947 | 528000 | 525831.0249 | 392247.678 | 498910.2167 | 479346.1628 | 363157.8947 | 528000 | 481963.0156
Check | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
* may apply to multiple CAFs for simplicity

## Option 4
Option 4: Max Reinforcement capped only (split if >1 occurrence) but floored at zero cost to be apportioned: if zero floor applies the difference is (a) capped proportionally only where exceeded, or (b) if no other exceedance, all Reinforcement capped proportionally
Examples | Example 13 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
|  | FL only | Sec only | Total only | Sec & FL | No FL | No Sec | FL only 2 | Sec only 2 | Total only 2 | Sec & FL 2 | No FL 2 | No Sec 2 | Sec & FL 3
Capacity need (MW) | 6 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
New Network Capacity (MVA) | 7.6 | 7.6 | 7.6 | 7.6 | 7.6 | 7.6 | 0 | 7.6 | 7.6 | 7.6 | 7.6 | 7.6 | 0 | 7.6
Security CAF* | 78.95% | 39.47% | 39.47% | 39.47% | 39.47% | 39.47% | 0% | 39.47% | 39.47% | 39.47% | 39.47% | 39.47% | 0% | 39.47%
Fault Level Contribution from Connection (MVA) | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 10
New Fault Level Capacity (MVA) | 250 | 250 | 250 | 250 | 250 | 0 | 250 | 250 | 250 | 250 | 250 | 0 | 250 | 250
Fault Level CAF* | 12% | 12% | 12% | 12% | 12% | 0% | 12% | 12% | 12% | 12% | 12% | 0% | 12% | 12%
High-Cost Project Threshold (£/MW) | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
HCPT value | 1200000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000
Reinforcement costs (assume all at POC Voltage Level) (highlighted = capped)
Security CAF_1 | 20000 | 20000 | 700000 | 100000 | 700000 | 700000 | 0 | 20000 | 700000 | 100000 | 20000 | 700000 | 0 | 20000
Fault Level CAF_1 | 800000 | 800000 | 300000 | 550000 | 800000 | 0 | 800000 | 800000 | 300000 | 400000 | 800000 | 0 | 800000 | 800000
Security CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 700000 | 50000 | 650000 | 700000 | 0 | 600000
Fault Level CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 700000 | 0 | 300000 | 800000 | 0 | 800000 | 800000
Total | 820000 | 820000 | 1000000 | 650000 | 1500000 | 700000 | 800000 | 1520000 | 1700000 | 850000 | 2270000 | 1400000 | 1600000 | 2220000
Aggregate HCPT breaches | 800000 | 800000 | 700000 | 550000 | 800000 | 700000 | 800000 | 800000 | 1400000 | 400000 | 1600000 | 1400000 | 1600000 | 1600000
Excess | 0 | 220000 | 400000 | 50000 | 900000 | 100000 | 200000 | 920000 | 1100000 | 250000 | 1670000 | 800000 | 1000000 | 1620000
Residual Excess | 0 | 0 | 0 | 0 | 100000 | 0 | 0 | 120000 | 0 | 0 | 70000 | 0 | 0 | 20000
HCPT breach? | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
HCPT breach driver
Security CAF | FALSE | FALSE | TRUE | FALSE | TRUE | TRUE | FALSE | FALSE | TRUE | FALSE | TRUE | TRUE | FALSE | FALSE
Fault Level CAF | FALSE | TRUE | FALSE | FALSE | TRUE | FALSE | TRUE | TRUE | FALSE | FALSE | TRUE | FALSE | TRUE | TRUE
Multiple drivers? | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE
Aggregate breach only? | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE
Negative breach flag | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | TRUE | FALSE | FALSE | TRUE | FALSE | FALSE | TRUE
HCPT breach driver: multiple flag
Security CAF | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | TRUE | FALSE | FALSE
Fault Level CAF | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | TRUE | FALSE | TRUE | TRUE
Multiple breaches per single driver? | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
CAF cap adjustment %
Security CAF_1 | 0% | 0% | 100% | 0% | 11.11% | 100% | 0% | 0% | 50% | 0% | 0% | 50% | 0% | 0.03982%
Fault Level CAF_1 | 0% | 100% | 0% | 100% | 88.89% | 0% | 100% | 86.96% | 0% | 100% | 47.9% | 0% | 50% | 49.38%
Security CAF_2 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 50% | 0% | 4.192% | 50% | 0% | 1.195%
Fault Level CAF_2 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 13.04% | 0% | 0% | 47.9% | 0% | 50% | 49.38%
Total | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
CAF cap adjustment
Security CAF_1 | 0 | 0 | -400000 | 0 | -100000 | -100000 | 0 | 0 | -550000 | 0 | 0 | -400000 | 0 | -645.1613
Fault Level CAF_1 | 0 | -220000 | 0 | -50000 | -800000 | 0 | -200000 | -800000 | 0 | -250000 | -800000 | 0 | -500000 | -800000
Security CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -550000 | 0 | -70000 | -400000 | 0 | -19354.8387
Fault Level CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -120000 | 0 | 0 | -800000 | 0 | -500000 | -800000
Total | 0 | -220000 | -400000 | -50000 | -900000 | -100000 | -200000 | -920000 | -1100000 | -250000 | -1670000 | -800000 | -1000000 | -1620000
Check | n/a | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
Connection Charge (Reinforcement only)
Above HCPT | 0 | 220000 | 400000 | 50000 | 900000 | 100000 | 200000 | 920000 | 1100000 | 250000 | 1670000 | 800000 | 1000000 | 1620000
Security CAF_1 | 15789.4737 | 7894.7368 | 118421.0526 | 39473.6842 | 236842.1053 | 236842.1053 | 0 | 7894.7368 | 59210.5263 | 39473.6842 | 7894.7368 | 118421.0526 | 0 | 7640.0679
Fault Level CAF_1 | 96000 | 69600 | 36000 | 60000 | 0 | 0 | 72000 | 0 | 36000 | 18000 | 0 | 0 | 36000 | 0
Security CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 59210.5263 | 19736.8421 | 228947.3684 | 118421.0526 | 0 | 229202.0374
Fault Level CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 69600 | 0 | 36000 | 0 | 0 | 36000 | 0
Total | 111789.4737 | 297494.7368 | 554421.0526 | 149473.6842 | 1136842.1053 | 336842.1053 | 272000 | 997494.7368 | 1254421.0526 | 363210.5263 | 1906842.1053 | 1036842.1053 | 1072000 | 1856842.1053
DNO cost | 708210.5263 | 522505.2632 | 445578.9474 | 500526.3158 | 363157.8947 | 363157.8947 | 528000 | 522505.2632 | 445578.9474 | 486789.4737 | 363157.8947 | 363157.8947 | 528000 | 363157.8947
Check | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
* may apply to multiple CAFs for simplicity

## Option 5
Option 5: All Reinforcement capped proportionally to the CAF contribution but subject to zero floor: if zero floor applies all Reinforcement capped proportionally
Examples | Example 13 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
|  | FL only | Sec only | Total only | Sec & FL | No FL | No Sec | FL only 2 | Sec only 2 | Total only 2 | Sec & FL 2 | No FL 2 | No Sec 2 | Sec & FL 3
Capacity need (MW) | 6 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
New Network Capacity (MVA) | 7.6 | 7.6 | 7.6 | 7.6 | 7.6 | 7.6 | 0 | 7.6 | 7.6 | 7.6 | 7.6 | 7.6 | 0 | 7.6
Security CAF* | 78.95% | 39.47% | 39.47% | 39.47% | 39.47% | 39.47% | 0% | 39.47% | 39.47% | 39.47% | 39.47% | 39.47% | 0% | 39.47%
Fault Level Contribution from Connection (MVA) | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 10
New Fault Level Capacity (MVA) | 250 | 250 | 250 | 250 | 250 | 0 | 250 | 250 | 250 | 250 | 250 | 0 | 250 | 250
Fault Level CAF* | 12% | 12% | 12% | 12% | 12% | 0% | 12% | 12% | 12% | 12% | 12% | 0% | 12% | 12%
High-Cost Project Threshold (£/MW) | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
HCPT value | 1200000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000
Reinforcement costs (assume all at POC Voltage Level) (highlighted = capped)
Security CAF_1 | 20000 | 20000 | 700000 | 100000 | 700000 | 700000 | 0 | 20000 | 700000 | 100000 | 20000 | 700000 | 0 | 20000
Fault Level CAF_1 | 800000 | 800000 | 300000 | 550000 | 800000 | 0 | 800000 | 800000 | 300000 | 400000 | 800000 | 0 | 800000 | 800000
Security CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 700000 | 50000 | 650000 | 700000 | 0 | 600000
Fault Level CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 700000 | 0 | 300000 | 800000 | 0 | 800000 | 800000
Total | 820000 | 820000 | 1000000 | 650000 | 1500000 | 700000 | 800000 | 1520000 | 1700000 | 850000 | 2270000 | 1400000 | 1600000 | 2220000
Aggregate HCPT breaches
Excess | 0 | 220000 | 400000 | 50000 | 900000 | 100000 | 200000 | 920000 | 1100000 | 250000 | 1670000 | 800000 | 1000000 | 1620000
Residual Excess
HCPT breach? | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
HCPT breach driver
Security CAF | FALSE | FALSE | TRUE | FALSE | TRUE | TRUE | FALSE | FALSE | TRUE | FALSE | TRUE | TRUE | FALSE | FALSE
Fault Level CAF | FALSE | TRUE | FALSE | FALSE | TRUE | FALSE | TRUE | TRUE | FALSE | FALSE | TRUE | FALSE | TRUE | TRUE
Multiple drivers? | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE
Aggregate breach only? | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE
Negative breach flag | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | TRUE | FALSE | FALSE | TRUE
HCPT breach driver: multiple flag
Security CAF | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | TRUE | FALSE | FALSE
Fault Level CAF | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | TRUE | FALSE | TRUE | TRUE
Multiple breaches per single driver? | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
CAF cap adjustment %
Security CAF_1 | 0% | 7.599% | 88.47% | 37.43% | 74.22% | 100% | 0% | 1.316% | 46.94% | 27.56% | 0.8811% | 50% | 0% | 0.9009%
Fault Level CAF_1 | 0% | 92.4% | 11.53% | 62.57% | 25.78% | 0% | 100% | 52.63% | 6.116% | 33.52% | 35.24% | 0% | 50% | 36.04%
Security CAF_2 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 46.94% | 13.78% | 28.63% | 50% | 0% | 27.03%
Fault Level CAF_2 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 46.05% | 0% | 25.14% | 35.24% | 0% | 50% | 36.04%
Total | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
CAF cap adjustment
Security CAF_1 | 0 | -16717.3252 | -353892.821 | -18712.5749 | -667938.9313 | -100000 | 0 | -12105.2632 | -516362.6609 | -68908.4895 | -14713.6564 | -400000 | 0 | -14594.5946
Fault Level CAF_1 | 0 | -203282.6748 | -46107.179 | -31287.4251 | -232061.0687 | 0 | -200000 | -484210.5263 | -67274.6781 | -83792.7233 | -588546.2555 | 0 | -500000 | -583783.7838
Security CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -516362.6609 | -34454.2448 | -478193.8326 | -400000 | 0 | -437837.8378
Fault Level CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -423684.2105 | 0 | -62844.5424 | -588546.2555 | 0 | -500000 | -583783.7838
Total | 0 | -220000 | -400000 | -50000 | -900000 | -100000 | -200000 | -920000 | -1100000 | -250000 | -1670000 | -800000 | -1000000 | -1620000
Check | n/a | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
Connection Charge (Reinforcement only)
Above HCPT | 0 | 220000 | 400000 | 50000 | 900000 | 100000 | 200000 | 920000 | 1100000 | 250000 | 1670000 | 800000 | 1000000 | 1620000
Security CAF_1 | 15789.4737 | 1295.7927 | 136621.2549 | 32087.1415 | 12655.685 | 236842.1053 | 0 | 3116.3435 | 72488.4233 | 12272.9647 | 2086.7146 | 118421.0526 | 0 | 2133.7127
Fault Level CAF_1 | 96000 | 71606.079 | 30467.1385 | 62245.509 | 68152.6718 | 0 | 72000 | 37894.7368 | 27927.0386 | 37944.8732 | 25374.4493 | 0 | 36000 | 25945.9459
Security CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 72488.4233 | 6136.4823 | 67818.224 | 118421.0526 | 0 | 64011.3798
Fault Level CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33157.8947 | 0 | 28458.6549 | 25374.4493 | 0 | 36000 | 25945.9459
Total | 111789.4737 | 292901.8717 | 567088.3934 | 144332.6505 | 980808.3568 | 336842.1053 | 272000 | 994168.9751 | 1272903.8852 | 334812.9751 | 1790653.8372 | 1036842.1053 | 1072000 | 1738036.9844
DNO cost | 708210.5263 | 527098.1283 | 432911.6066 | 505667.3495 | 519191.6432 | 363157.8947 | 528000 | 525831.0249 | 427096.1148 | 515187.0249 | 479346.1628 | 363157.8947 | 528000 | 481963.0156
Check | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
* may apply to multiple CAFs for simplicity
CAF contribution pre-adjustment | 15789.4737 | 7894.7368 | 276315.7895 | 39473.6842 | 276315.7895 | 276315.7895 | 0 | 7894.7368 | 276315.7895 | 39473.6842 | 7894.7368 | 276315.7895 | 0 | 7894.7368
| 96000 | 96000 | 36000 | 66000 | 96000 | 0 | 96000 | 96000 | 36000 | 48000 | 96000 | 0 | 96000 | 96000
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 276315.7895 | 19736.8421 | 256578.9474 | 276315.7895 | 0 | 236842.1053
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 84000 | 0 | 36000 | 96000 | 0 | 96000 | 96000
| 111789.4737 | 103894.7368 | 312315.7895 | 105473.6842 | 372315.7895 | 276315.7895 | 96000 | 187894.7368 | 588631.5789 | 143210.5263 | 456473.6842 | 552631.5789 | 192000 | 436736.8421
Uncapped CAF adjustment | 0 | -16717.3252 | -353892.821 | -18712.5749 | -667938.9313 | -100000 | 0 | -38655.4622 | -516362.6609 | -68908.4895 | -28882.7395 | -400000 | 0 | -29284.1649
| 0 | -203282.6748 | -46107.179 | -31287.4251 | -232061.0687 | 0 | -200000 | -470050.4202 | -67274.6781 | -83792.7233 | -351214.1128 | 0 | -500000 | -356095.4447
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -516362.6609 | -34454.2448 | -938689.0349 | -400000 | 0 | -878524.9458
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | -411294.1176 | 0 | -62844.5424 | -351214.1128 | 0 | -500000 | -356095.4447
| 0 | -220000 | -400000 | -50000 | -900000 | -100000 | -200000 | -920000 | -1100000 | -250000 | -1670000 | -800000 | -1000000 | -1620000
CAF contribution post-uncapped adjustment | 7894.7368 | 1295.7927 | 136621.2549 | 32087.1415 | 12655.685 | 236842.1053 | 0 | -7363.9982 | 72488.4233 | 12272.9647 | -3506.3446 | 118421.0526 | 0 | -3664.8019
| 96000 | 71606.079 | 30467.1385 | 62245.509 | 68152.6718 | 0 | 72000 | 39593.9496 | 27927.0386 | 37944.8732 | 53854.3065 | 0 | 36000 | 53268.5466
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 72488.4233 | 6136.4823 | -113956.198 | 118421.0526 | 0 | -109944.0575
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34644.7059 | 0 | 28458.6549 | 53854.3065 | 0 | 36000 | 53268.5466
| 103894.7368 | 72901.8717 | 167088.3934 | 94332.6505 | 80808.3568 | 236842.1053 | 72000 | 66874.6572 | 172903.8852 | 84812.9751 | -9753.9296 | 236842.1053 | 72000 | -7071.7662

## Option 6
Option 6: Cheapest cost to the customer
Examples | Example 13 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
|  | FL only | Sec only | Total only | Sec & FL | No FL | No Sec | FL only 2 | Sec only 2 | Total only 2 | Sec & FL 2 | No FL 2 | No Sec 2 | Sec & FL 3
Capacity need (MW) | 6 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
New Network Capacity (MVA) | 7.6 | 7.6 | 7.6 | 7.6 | 7.6 | 7.6 | 0 | 7.6 | 7.6 | 7.6 | 7.6 | 7.6 | 0 | 7.6
Security CAF* | 78.95% | 39.47% | 39.47% | 39.47% | 39.47% | 39.47% | 0% | 39.47% | 39.47% | 39.47% | 39.47% | 39.47% | 0% | 39.47%
Fault Level Contribution from Connection (MVA) | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 10 | 10 | 10 | 10 | 0 | 10 | 10
New Fault Level Capacity (MVA) | 250 | 250 | 250 | 250 | 250 | 0 | 250 | 250 | 250 | 250 | 250 | 0 | 250 | 250
Fault Level CAF* | 12% | 12% | 12% | 12% | 12% | 0% | 12% | 12% | 12% | 12% | 12% | 0% | 12% | 12%
High-Cost Project Threshold (£/MW) | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
HCPT value | 1200000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000 | 600000
Reinforcement costs (assume all at POC Voltage Level) (highlighted = capped)
Security CAF_1 | 20000 | 20000 | 700000 | 100000 | 700000 | 700000 | 0 | 20000 | 700000 | 100000 | 20000 | 700000 | 0 | 20000
Fault Level CAF_1 | 800000 | 800000 | 300000 | 550000 | 800000 | 0 | 800000 | 800000 | 300000 | 400000 | 800000 | 0 | 800000 | 800000
Security CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 700000 | 50000 | 650000 | 700000 | 0 | 600000
Fault Level CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 700000 | 0 | 300000 | 800000 | 0 | 800000 | 800000
Total | 820000 | 820000 | 1000000 | 650000 | 1500000 | 700000 | 800000 | 1520000 | 1700000 | 850000 | 2270000 | 1400000 | 1600000 | 2220000
Aggregate HCPT breaches | 0 | 0 | 700000 | 0 | 0 | 700000 | 800000 | 0 | 1400000 | 0 | 0 | 1400000 | 1600000 | 1600000
Excess | 0 | 220000 | 400000 | 50000 | 900000 | 100000 | 200000 | 920000 | 1100000 | 250000 | 1670000 | 800000 | 1000000 | 1620000
Residual Excess | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20000
HCPT breach? | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
HCPT breach driver
Security CAF | FALSE | FALSE | TRUE | FALSE | TRUE | TRUE | FALSE | FALSE | TRUE | FALSE | TRUE | TRUE | FALSE | FALSE
Fault Level CAF | FALSE | TRUE | FALSE | FALSE | TRUE | FALSE | TRUE | TRUE | FALSE | FALSE | TRUE | FALSE | TRUE | TRUE
Multiple drivers? | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE
Aggregate breach only? | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE
Negative breach flag | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | TRUE | FALSE | FALSE | TRUE | FALSE | FALSE | TRUE
HCPT breach driver: multiple flag
Security CAF | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | TRUE | FALSE | FALSE
Fault Level CAF | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | TRUE | FALSE | TRUE | TRUE
Multiple breaches per single driver? | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
CAF cap adjustment %
Security CAF_1 | 0% | 7.599% | 100% | 37.43% | 74.22% | 100% | 0% | 1.316% | 50% | 27.56% | 0.8811% | 50% | 0% | 0.9009%
Fault Level CAF_1 | 0% | 92.4% | 0% | 62.57% | 25.78% | 0% | 100% | 52.63% | 0% | 33.52% | 35.24% | 0% | 50% | 36.04%
Security CAF_2 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 50% | 13.78% | 28.63% | 50% | 0% | 27.03%
Fault Level CAF_2 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 46.05% | 0% | 25.14% | 35.24% | 0% | 50% | 36.04%
Total | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
CAF cap adjustment
Security CAF_1 | 0 | -16717.3252 | -400000 | -18712.5749 | -667938.9313 | -100000 | 0 | -12105.2632 | -550000 | -68908.4895 | -14713.6564 | -400000 | 0 | -14594.5946
Fault Level CAF_1 | 0 | -203282.6748 | 0 | -31287.4251 | -232061.0687 | 0 | -200000 | -484210.5263 | 0 | -83792.7233 | -588546.2555 | 0 | -500000 | -583783.7838
Security CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -550000 | -34454.2448 | -478193.8326 | -400000 | 0 | -437837.8378
Fault Level CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -423684.2105 | 0 | -62844.5424 | -588546.2555 | 0 | -500000 | -583783.7838
Total | 0 | -220000 | -400000 | -50000 | -900000 | -100000 | -200000 | -920000 | -1100000 | -250000 | -1670000 | -800000 | -1000000 | -1620000
Check | n/a | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
Connection Charge (Reinforcement only)
Above HCPT | 0 | 220000 | 400000 | 50000 | 900000 | 100000 | 200000 | 920000 | 1100000 | 250000 | 1670000 | 800000 | 1000000 | 1620000
Security CAF_1 | 15789.4737 | 1295.7927 | 118421.0526 | 32087.1415 | 12655.685 | 236842.1053 | 0 | 3116.3435 | 59210.5263 | 12272.9647 | 2086.7146 | 118421.0526 | 0 | 2133.7127
Fault Level CAF_1 | 96000 | 71606.079 | 36000 | 62245.509 | 68152.6718 | 0 | 72000 | 37894.7368 | 36000 | 37944.8732 | 25374.4493 | 0 | 36000 | 25945.9459
Security CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 59210.5263 | 6136.4823 | 67818.224 | 118421.0526 | 0 | 64011.3798
Fault Level CAF_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33157.8947 | 0 | 28458.6549 | 25374.4493 | 0 | 36000 | 25945.9459
Total | 111789.4737 | 292901.8717 | 554421.0526 | 144332.6505 | 980808.3568 | 336842.1053 | 272000 | 994168.9751 | 1254421.0526 | 334812.9751 | 1790653.8372 | 1036842.1053 | 1072000 | 1738036.9844
DNO cost | 708210.5263 | 527098.1283 | 445578.9474 | 505667.3495 | 519191.6432 | 363157.8947 | 528000 | 525831.0249 | 445578.9474 | 515187.0249 | 479346.1628 | 363157.8947 | 528000 | 481963.0156
Check | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
* may apply to multiple CAFs for simplicity

## Summary
Summary of Connection Charge scenarios
Examples | Example 13 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
|  | FL only | Sec only | Total only | Sec & FL | No FL | No Sec | FL only 2 | Sec only 2 | Total only 2 | Sec & FL 2 | No FL 2 | No Sec 2 | Sec & FL 3
Connection Charge (Reinforcement only)
Option 1 | 111789.4737 | 297494.7368 | 554421.0526 | 147360.3239 | 1048926.3158 | 336842.1053 | 272000 | 997494.7368 | 1254421.0526 | 351089.7833 | 1793528.4211 | 1036842.1053 | 1072000 | 1738036.9844
Option 2 | 111789.4737 | 297494.7368 | 554421.0526 | 147360.3239 | 1048926.3158 | 336842.1053 | 272000 | 994168.9751 | 1307752.322 | 351089.7833 | 1790653.8372 | 1036842.1053 | 1072000 | 1738036.9844
Option 3 | 111789.4737 | 296020.5392 | 587389.4737 | 147360.3239 | 1048926.3158 | 336842.1053 | 272000 | 994168.9751 | 1307752.322 | 351089.7833 | 1790653.8372 | 1036842.1053 | 1072000 | 1738036.9844
Option 4 | 111789.4737 | 297494.7368 | 554421.0526 | 149473.6842 | 1136842.1053 | 336842.1053 | 272000 | 997494.7368 | 1254421.0526 | 363210.5263 | 1906842.1053 | 1036842.1053 | 1072000 | 1856842.1053
Option 5 | 111789.4737 | 292901.8717 | 567088.3934 | 144332.6505 | 980808.3568 | 336842.1053 | 272000 | 994168.9751 | 1272903.8852 | 334812.9751 | 1790653.8372 | 1036842.1053 | 1072000 | 1738036.9844
Option 6 | 111789.4737 | 292901.8717 | 554421.0526 | 144332.6505 | 980808.3568 | 336842.1053 | 272000 | 994168.9751 | 1254421.0526 | 334812.9751 | 1790653.8372 | 1036842.1053 | 1072000 | 1738036.9844
Max v Min % | 0% | 0.498% | 5.946% | 1.434% | 8.382% | 0% | 0% | 0.3345% | 4.251% | 3.452% | 6.489% | 0% | 0% | 6.836%