Question 1

| Company | Confidential/ Anonymous | - Do you agree with the approach suggested by the Working Group to utilise actual operational metered data alongside a customer certification form? | Working Group Comments |
| --- | --- | --- | --- |
| NPg | Non-confidential | No, we do not agree with this approach. General Although this method may be suitable for Transmission connected customers it is not suitable for DNO connected customers due to the quantity of DNO connected customers compared to transmission connected customers. Given the likely number of such sites it would be untenable for DNOs/IDNOs to conduct assurance processes for the self-certifications of each site and without any assurance process in place the self-certifications would be open to inaccuracies and gaming. In 1.10 it is specified that the customer will provide the metered data for the NFD element, and we are presuming this means that the total metered data will come from settlements. Raw operational metered data is not comparable to settlements data provided in industry dataflows, considering adjustments made to settlements data. The raw data is also not subject to the existing industry validations and calculations, so it seems inappropriate to consider it a like-for-like replacement to use in a calculation with settlements data. If the operational data is to be combined with settlements data to calculate an accurate split, it would need to include the same adjustments. Additionally, as mentioned in our response to consultation one, this solution will result in additional costs for the customer to install required metering which we do not consider to be practical or proportionate; we recognise that the customer would ultimately need to consider whether the investment was economically beneficial when balanced against lower DUoS charges (assuming the customer benefits like-for-like via its supply contract). MIC Sites For MIC sites, the capacity calculation suggested by the WG in 4.97 does not align to the capacity calculation in Schedule 16, paragraph 155-162. If both settlements and raw operational metered data are to be used to calculate the split of the capacity then it would seem correct for the capacity to be calculated in the same way for both sets of data. There is also no verification channel to ensure the data provided for the Final and Non-Final Demand elements of the site belongs to those elements, which ultimately presents opportunities to avoid residual costs which others will therefore pick up. Non-MIC Sites For Non-MIC sites, in the majority of cases, DNOs do not receive site specific data through settlements and use EACs to allocate the site to a band. The metering on site would need to record both the Final and Non-Final Demand consumption and there would be no way for the DNO to verify this data, either in part or in total, as they have no settlements data to compare to. Additionally for non-MIC sites settlements data may have relevant GSP Group Correction Factors applied to it, which would not be applied to the raw metered data available directly from the site. | Further discussion required on how to quantify the volume and impacts to DNOs needed. Review data received and agree how correct data is received and how it is reviewed and challenged. BSC changed potentially required. Further thinking required on how operational and settlement data are aligned (raw data v adjustment data) 3rd para noted and is included within impacted assessment. Look at the use of CMP 363 and the use of operational metering and why was it supported by the WG and authority (Scarda/reassurance). Review template and ensure it aligns with schedule 16 and capacity. Determine if the BSC change could support the verification process, No Mic template needs to be developed. Consider how the information for both settlement and operational metering is requested. Currently based on trust. In regard to BSC change its expected that there will be little traction until HH processes kick in. |
| SPEN | Non-confidential | Yes, we agree with this approach. We understand that this will not lead to the need for more than one MPAN per connection. We would not agree with more than one MPAN per connection. | Noted |
| NGED | Non-confidential | Yes as this seems the most fair and accurate way of determining the split of usage between final demand and non-final demand. | Noted |
| SSE Generation & SSE Business | Non-confidential | We agree that actual metered data should be used alongside a customer certification form. | Noted |
| UKPN | Non-confidential | Yes, we believe that after considering a number of options the proposal taken forward aligns closest to the TNUoS arrangements and will allow a fair calculation in order to apply the correct charge for each customer | Noted |
| ENWL | Non-confidential | Yes, we agree with this approach with some reservations. Given full settlement metering is unlikely to be a viable solution to this issue this seems a balanced compromise. | Noted |
| SSEN | Non-confidential | Yes, we agree with the approach | Noted |
| Working Group Conclusions: |  |  |  |

Question 2

| Company | Confidential/ Anonymous | - Do you agree with the approach for how to reclassify existing customers to a Mixed Demand Site, if not, please provide rationale? | Working Group Comments |
| --- | --- | --- | --- |
| NPg | Non-confidential | No. It is not possible for the DNO to verify the information provided by the customer. | See response to Q1. |
| SPEN | Non-confidential | Yes we agree with this approach. | Noted |
| NGED | Non-confidential | Yes | Noted |
| SSE Generation & SSE Business | Non-confidential | We have comments on a couple of aspects of the proposed approach. Derivation of final demand capacity at MIC-banded sites We acknowledge that separating final demand (FD) MIC from non-final demand (NFD) MIC at a mixed demand (MD) site is typically not possible, and that therefore a proxy method is required. However, we are concerned that the proposed approach (of using maximum demand values to derive a Final Demand capacity value) would move MD sites away from a MIC-based banding approach. This could potentially create an unfairness to FD sites in situations where maximum demand and the MIC differ to an extent that it could change the banding outcome for MD sites. We would ask that the Working Group considers this issue. Data verification Regarding data sharing, in the previous consultation, it was highlighted that DNOs don’t currently have access to (either some or all of) the metered consumption data required for the proposed solution, and that a BSC modification would be required to facilitate this. It is not quite clear to us whether this issue has been resolved in this second consultation, and we ask that this is clarified. We wouldn’t consider it sufficient or procedurally robust if the solution was reliant partially or entirely on customers providing the necessary data (as per 4.82 and the attachment 6 template). 4.83 states that “the Distributor will verify the information provided”, but the process for this needs to be clarified. | Separate group to meet and discuss how to approach MIC/MD etc (Kara, Edda, Lee, Joe/Lorna) and for WG to review findings. Data verification See q1 responses (NPg) |
| UKPN | Non-confidential | Yes | Noted |
| ENWL | Non-confidential | Yes, we agree with the approach. | Noted |
| SSEN | Non-confidential | Yes, we agree with the approach | Noted |
| Working Group Conclusions: |  |  |  |

Question 3

| Company | Confidential/ Anonymous | - Do you agree with the approach for how new Mixed Demand Site customers are treated, if not, please provide rationale? | Working Group Comments |
| --- | --- | --- | --- |
| NPg | Non-confidential | No, for the same reason above. | Please see Q1 response |
| SPEN | Non-confidential | Yes we agree with this approach in principle, but would highlight the potential disconnect between data being used. Non Mixed Demand sites will be banded based on their average MIC but Mixed Demand based on Average Final Demand. There may be a perceived advantage or disadvantage there. | Please see Q1 responses. |
| NGED | Non-confidential | Yes | Noted |
| SSE Generation & SSE Business | Non-confidential | Yes – but see our comment under q.2 about the need for a clear process which allows Distributors to verify the customer’s data (as is suggested they will at 4.88). | Noted (See response to Q2. |
| UKPN | Non-confidential | Yes | Noted |
| ENWL | Non-confidential | Yes, an annual review would account for seasonal variation. A potential issue would be the ability of a new customer to operate under a specific regime for 12 months knowing this data is to be used for allocation to bands, and then adjust to another operating regime afterwards. | Noted. This is the same approach for FD customers. if there’s concern in this area a separate CR would be required for all customers. |
| SSEN | Non-confidential | Yes | Noted |
| Working Group Conclusions: |  |  |  |

Question 4

| Company | Confidential/ Anonymous | - Do you have any comments on the customer certificate document? | Working Group Comments |
| --- | --- | --- | --- |
| NPg | Non-confidential | It is inappropriate for distributors to receive declarations of metering arrangements as it has no role in validating such arrangements. It appears the certificate has been drafted on a similar basis to the Non-Final Demand certificate, however the Non-Final Demand certificate rightfully only includes items the DNO can validate, making reference to the settlement arrangement (MPRS or CMRS). The declaration also asks for the customer to provide the capacity kVA in several places, however as mentioned above the calculation of capacity should align to the existing capacity calculations in Schedule 16 in order to be comparable to the settlements data. It is also unclear what is meant when the form says that data “for each of the metering arrangements” has been included. What is a metering arrangement in this context? Should this be “for each of the meters in the metering arrangement” or similar? | The validation of metering is needed to form part of the BSC change (make and model, accuracy, MSN). Second para is picked up as part of Q1. Review the certificate, particularly the sentence ‘’for each metering arrangement’’ to provide clarity. |
| SPEN | Non-confidential | Agree with the drafting. | Noted |
| NGED | Non-confidential | No | Noted |
| SSE Generation & SSE Business | Non-confidential | With regard to this wording from the draft ‘Mixed Demand Site Certificate’: “I declare that as of [insert date] the Site[s] identified below [comply with the criteria/will cease to comply with the criteria/ceased to comply with the criteria2 ] in Schedule 32 Distribution Connection and Use of System Agreement.” We assume that the wording “will cease to comply with the criteria/ceased to comply with the criteria” is intended to oblige the site operator to notify the network company of changes to the site which could affect its residual banding. Based on that understanding, we suggest that a clearer and stronger form of wording is used here, as per the equivalent provision in the TNUoS declaration (with some adaptations for the DCUSA context), along the lines of: “I declare that any material changes to the operation, configuration or measurement of electricity to or from any Site identified in this certificate will be notified to you as soon as reasonably practicable.” | Review the template for eligible services facility to ensure there’s no consequential impact on that when deciding to amend the sentence mentioned in this response. |
| UKPN | Non-confidential | No | Noted |
| ENWL | Non-confidential | No. | Make it clear the certificate needs to be resubmitted once there is a material change. |
| SSEN | Non-confidential | No. | Review the comprehensive list of equipment within the site with associated capacity so this can be cross referenced. |
| Working Group Conclusions: |  |  |  |

Question 5

| Company | Confidential/ Anonymous | - Do you agree that the customer certification form should be located within the LC14 statement and Distributors websites? If not, please advise where you believe it should be located and provide rationale. | Working Group Comments |
| --- | --- | --- | --- |
| NPg | Non-confidential | It would seem appropriate for any forms used to allocate/reallocate a site to a residual charging band to be kept in the same place, which would make it easier for customers to find all related forms. It therefore seems sensible, if this solution is taken forward, to locate this form in the LC14 statement, alongside the Non-Final Demand certification form. | Yes |
| SPEN | Non-confidential | The LC14 seems like a logical place, as the NFD certificate is also there. | Yes |
| NGED | Non-confidential | Yes | Yes |
| SSE Generation & SSE Business | Non-confidential | Yes, we do, as this is where the existing customer certification form can already be found. | Yes |
| UKPN | Non-confidential | Yes, this would align to the arrangements for the Non Final Demand Certificate. | Yes |
| ENWL | Non-confidential | We agree this form should be within the LC14, and hence available on DNO websites. This is in line with other forms of self-certification. | Yes |
| SSEN | Non-confidential | Yes | Yes |
| Working Group Conclusions: |  |  |  |

Question 6

| Company | Confidential/ Anonymous | - Do you have any comments on the Calculation Template for Mixed Non-Final Demand sites? | Working Group Comments |
| --- | --- | --- | --- |
| NPg | Non-confidential | MIC sites The capacity should be calculated inline with Schedule 16. This requires all elements AI, AE, RI and RE, which will require additional columns in the template to allow this data to be included. The template should then use the formulas in paragraphs 155-162 of Schedule 16 to calculate the capacity on a comparable basis to the calculations used in settlements and billing. This requirement is known to the WG and has been noted in the consultation document 4.79, but is not reflected later in 4.97, which makes reference to a simpler capacity calculation that could create a very different answer. It is also not clear how the distributor then uses the data provided in this certificate to split the MIC between Final and Non-Final Demand. This needs to be specified somewhere. We suggest that the calculation of the split of the MIC should use the proportion of Final Demand and Non-Final Demand Capacity and multiply this by the MIC, so that the two together total the MIC. Otherwise the site will be banded based on its maximum demand, rather than its MIC and would therefore be being treated differently to other MIC sites. It would be clearer if the template had the following for the calculation: - MIC - FD calculated capacity - NFD calculated capacity - FD MIC split (to be used for banding) - NFD MIC split Non-MIC sites The settlement data for non-MIC sites is based on EACs and metered data is received by DNOs on an aggregated basis, so DNOs do not see data for individual sites. The EAC data we do receive for residual banding purposes can be extremely volatile (e.g. change significantly from one reading to the next) and includes Default EACs. Again, DNOs would struggle to validate this information and we are concerned about reliance on trust alone. In the consultation it says that the template provided could be used for the calculation for HH Non-MIC sites, however the ‘Final Outputs’ sheet is different to that in the worked example in Appendix 7, so would require amendments to align to this. Additionally in the worked example the labelling on the rows in the cover sheet suggests that the kWh to be used for banding is the total kWh minus the FD kWh which is incorrect as this would give the NFD kWh. Consideration should be given as to whether, similarly to the MIC sites, the total kWh should be scaled to the industry data (P222) that would otherwise be used for banding in order to assure that all Non-MIC sites are treated equally. As previously noted, the data in settlements may also have corrections which are not taken into account in the raw data. Similar to the MIC template it would be clearer if the template had the following for the calculation: - EAC/kWh used for banding - Total metered kWh for site - NFD kWh for site - FD kWh for site - NFD scaled kWh - FD scaled kWh (for banding) General The template should specify the units of the data reads – assume this will be kWh in line with the consultation text? The template should include instructions for use, either in a sheet in the workbook, or as a separate guide. Consideration should be given to having three separate templates, or having one template set up for all three situations (MIC, HH Non-MIC, NHH Non-MIC). If using one it could work to have three separate calculation sheets and instructions to make it clear which one is to be used. | For para 1 please see Q1. Second para will be tackeld within the sub group (Edda, Kara, Lee, Joe) See Q1 for non verification. Second para the working group to create a separate template for Non-Mic Sites. To be picked up when template is developed. The template needs to include this approach and have the nesc cells to include the data. Agreed to develop a Non-Mic S/S and decide if there’s a need to have 1, 2 or 3 templates. |
| SPEN | Non-confidential | Some commentary around what these examples are doing would be helpful. | Some been picked up within NPgs response. |
| NGED | Non-confidential | No | Noted |
| SSE Generation & SSE Business | Non-confidential | • We note that a separate template, in addition to attachment 6, is required for NHH non-MIC sites, along the lines of the NHH non-MIC example provided with this consultation under attachment 7. • In our response to q.2, we expressed our concern that the proposed approach (of using maximum demand values to derive a Final Demand capacity value) would move MD sites away from a MIC-based banding approach. This could potentially create an unfairness to Final Demand sites in situations where maximum demand and the MIC differ to an extent that it could change the banding outcome for MD sites. We would ask that the Working Group considers this issue, which may affect the algorithm currently applied in the template. | A separate template will be developed. This will be picked up within the separate sub group. |
| UKPN | Non-confidential | No | Noted |
| ENWL | Non-confidential | No. | Noted |
| SSEN | Non-confidential | No. We think the calculation template is straightforward & clear. | Noted |
| Working Group Conclusions: |  |  |  |

Question 7

| Company | Confidential/ Anonymous | - Do you believe that there needs to be any changes to section 7, disputes, within the legal text? | Working Group Comments |
| --- | --- | --- | --- |
| NPg | Non-confidential | No |  |
| SPEN | Non-confidential | No change required. |  |
| NGED | Non-confidential | We believe that no changes are required to section 7. |  |
| SSE Generation & SSE Business | Non-confidential | We think it is a good idea to spell out in the legal text that disputes can relate to sites with non-final demand certification and also for mixed use certification, as the process was written to deal with non-final demand disputes only. | The legal text to be reviewed to see if further clarity is needed on this point. |
| UKPN | Non-confidential | No |  |
| ENWL | Non-confidential | No. |  |
| SSEN | Non-confidential | No |  |
| Working Group Conclusions: |  |  |  |

Question 8

| Company | Confidential/ Anonymous | - Do you have any comments on the draft legal text? | Working Group Comments |
| --- | --- | --- | --- |
| NPg | Non-confidential | 4.2. (c) creates opportunity for non-MIC customers to be banded using entirely customer supplied data. All other non-MIC customers are banded on industry data (predominantly EACs) or DNO estimates using all available information, while mixed demand non-MIC customers will have multiple options available to them, to either use their own metered data, or also their own calculated ‘typical profile’. Consideration should be given as to whether 4.2 (c) should be split into two sections (c and d) where the first is for half hourly settled sites (as for 4.2 (a)) and the second is for non-half hourly settled sites (as for 4.2 (b)), as otherwise it appears that options that are only available for either HH or NHH FD sites are all available for Mixed Demand sites, whether they are HH or NHH. 5B.2 DNO cannot determine if certificate is valid, since they cannot validate the items included in the certificate ie metering arrangements, metering types, and customer calculated kVA due to the difference in data (settlements data capacity is calculated as specified in Schedule 16, but template currently uses a different method). Additionally the kWh cannot be verified by the DNO as they do not have settlements data for individual non-MIC MPANs. For the charging band review in section 3, the DNO requires the MIC as at January or the annual consumption of each site prior to February of the relevant year. This data should be the latest available data. There is no requirement currently for the customer to provide data for this which could mean that the new band boundaries are calculated using out of date data for these sites and that these sites would then be reallocated based on this out of date data also. This could be mitigated somewhat if the customer data is used to split the MIC or kWh into FD and NFD, rather than customer data alone being used as the actual values to be used for banding. Consideration should be given for the process for new sites in regards to issues arising in the implementation of the DCP389 annual reallocation process relating to backdating by more than 14 months backdating, although it is acknowledged that the data is expected to be received after 12 months. | Need to review 4.2c to provide clarity. Sense check the wording once the solution is finalised. Need to make it clear that data is required to be provided through various cycles. This is required in the legal text and customer cert doc (Review within the BSC change) Sense check with DCP 389. Risk if delays on receiving data can only go back 14 months. |
| SPEN | Non-confidential | No comments provided. |  |
| NGED | Non-confidential | No |  |
| SSE Generation & SSE Business | Non-confidential | Yes, we do, in the following four areas: 1. Metering Final Demand 1.11 – The solution requires that Final Demand capacity and/or consumption can be separately measured to Non-Final Demand capacity and/or consumption, as the residual band will, ultimately, be assessed based on Final Demand rather than NonFinal Demand. As such, we consider that not only should “metering used specifically for any element of either Electricity Storage, Electricity Generation or Eligible Services [..] be considered when calculating the Final Demand”, but also that if metering is in place at, and data is available from all Final Demand elements, this can be used instead, as the spreadsheet template already allows via the ‘Operational FD metering’ worksheet. The legal text should reflect this. 2. Calculating Final Demand The legal text doesn't, in our view, adequately spell out the proposed methodology for calculating the Final Demand value which is to form the basis for re-assigning the residual band. We consider that the legal text has yet to clearly reflect, in sufficient detail, the methodology set out in the consultation document and the worked examples. In particular: • 1.11 – it is not clear how Final Demand will be ‘calculated’. • 3.1 (b) – it is not clear how the Final Demand at Mixed Demand is to be ‘calculated’ for sites which are banded based on their MIC. • 3.1 (d) - It is not clear how the ‘Final Demand annual consumption’ at Mixed Demand sites is to be ‘calculated’ for sites which are banded based on their consumption. • 3.1 (d) - What’s the source of the data for the ‘Final Demand annual consumption’ at non-MIC sites? This should be clearly stated (to avoid any possible ambiguity). • 3.1 (d) - Also note numbering gremlin: the (d) needs to be moved up and in front of the paragraph. • 4.1A (a) – as per 3.1 (b), it is not clear how ‘the average calculated Final Demand’ is derived. • 4.1A (b) (i) – ditto 3. Distinction between HH and NHH settled sites • 3.1 (d) – it is not clear why this paragraph doesn’t more closely follow the wording of 3.1(c) (i) and (ii), i.e. making a distinction between HH and NHH settled sites. • 4.2 (c) – as per 3.1 (d) – regarding the distinction between HH and NHH settled site. 4. Disputes process • As per our response to q.7, we think the wording in section 7. of Schedule 32 should be amended to include references to Mixed Demand sites. | Review the legal text within this para and check it is fit for purpose. Review these paras once the final solution is agreed. 4.2 c is the same query raised by NPg. 3.1 d will be reviewed. See response to Q7. Disputes process will be reviewed to include Mix Demand Sites |
| UKPN | Non-confidential | No | Noted |
| ENWL | Non-confidential | No. | Noted |
| SSEN | Non-confidential | No | Noted |
| Working Group Conclusions: |  |  |  |

Question 9

| Company | Confidential/ Anonymous | - Do you consider the solution better facilitates the DCUSA objectives? Please give supporting reasons. | Working Group Comments |
| --- | --- | --- | --- |
| NPg | Non-confidential | Charging Objective impact: 1 – Negative. We consider that DCP 388 does not align with the principles set out in Ofgem’s Targeted Charging Review (TCR) Significant Code Review (SCR): to (i) reduce harmful distortions; (ii) improve fairness; and (iii) is proportionate and practical. 2 – Negative. We consider that any solution will create undue distortions and ultimately present opportunities to avoid residual costs which others will therefore pick up. 3 – None. 4 – None. 5 – None. 6 – Negative. The number of sites qualifying as Mixed Demand could be significant making the administration of this change a significant undertaking, which we do not believe is practical or proportionate. | Believes negative on 1,2 and 6 but needs full review. |
| SPEN | Non-confidential | We believe that this facilitates DCUSA Objective One. | Objective 1 positive |
| NGED | Non-confidential | We believe that DCUSA Charging Objective 2 is positive as this promotes generation competition. | Objective 2 Positive |
| SSE Generation & SSE Business | Non-confidential | We consider that this proposal meets the second DCUSA charging objectives, facilitating competition in generation, as it would apply equivalent treatment to generators, including storage, with regard to residual banding, whether they are at stand-alone sites or at mixed sites. Also, the proposal meets the Authority’s requirement, as per their TCR decision, to address the issue of residual charging arrangements at mixed demand sites. | Objective 2 Positive |
| UKPN | Non-confidential | We believe that this change proposal will better facilitate DCUSA Charging Objectives 1 and 2 by ensuring consistent treatment of final and Non-Final Demand in relation to sites that have a mix of Final Demand and Non-Final Demand by defining ‘mixed use sites’ for residual charge purposes across transmission and distribution. | Objective 1 and 2 Positive |
| ENWL | Non-confidential | Yes, the change takes account of industry developments. |  |
| SSEN | Non-confidential | We believe this proposal will better support DCUSA Charging Objective 1 & 2 as it ensures consistent treatment to mixed use sites for residual charges across transmission and distribution and also facilitating competition in the generation. | Objective 1 and 2 Positive |
| Working Group Conclusions: |  |  |  |

Question 10

| Company | Confidential/ Anonymous | - What date do you believe this change proposal should be implemented? | Working Group Comments |
| --- | --- | --- | --- |
| NPg | Non-confidential | If any part of this solution is taken forward, it would be sensible for the implementation date to be pushed back to allow for the development of a suitable template for the relevant calculations, along with testing to be carried out. | Noted |
| SPEN | Non-confidential | We believe that this is not an urgent change and therefore the 1st of April 2024 is a reasonable date, to align with the new charging year. | 1 April 2024 |
| NGED | Non-confidential | This change can be implemented from the next release of DCUSA | Next DCUSA release |
| SSE Generation & SSE Business | Non-confidential | We believe the implementation date should be 1 April 2025. Whilst the DCUSA could implement these changes quickly, there appears to be a big assumption that suppliers could deal with them quickly also. However, supplier systems may need changes to them to deal with rebates from backdating of bands and dealing with new customers. There may also be contractual obligations to deal with between suppliers and customers. Also, customers may need to install the necessary metering and monitor export for a period of time. Given the fact that the modification is unlikely to go to the Authority for a few months, and the fact it will take some time for a decision, and then for the certification process of non-final demand to be put in place, as it should come in 1 April in any year, then 2025 would seem the best time to implement this change. | 1 April 2025 |
| UKPN | Non-confidential | We believe that the implementation of this change should be 1 April 2024 to align to a new charging year rather than doing so mid-year. | 1 April 2024 |
| ENWL | Non-confidential | DNOs should be given sufficient time to implement new processes, but we do not believe there are any significant barriers to implementation. | Noted |
| SSEN | Non-confidential | We believe the 1st of April 2024 is a reasonable date to align to the new charging year. | 1 April 2024 |
| Working Group Conclusions: The WG to determine the implementation date once the approach is agreed. |  |  |  |

Question 11

| Company | Confidential/ Anonymous | - Do you have any other comments? | Working Group Comments |
| --- | --- | --- | --- |
| NPg | Non-confidential | Consideration should be given to whether Non-MIC sites should be included in this change or whether it should be restricted to MIC sites only. The distributor has no way of validating the data for a Non-MIC site as they have no settlements data for the MPAN to compare against. Additionally, as Non-MIC sites are banded based on their import consumption (kWh) it could be the case that they are already benefitting from a lower band as their import consumption is reduced by their onsite generation. | States consideration should be given to only include MIC sites. Will be considered as part of the BSC changes for non mic sites |
| SPEN | Non-confidential | While the working group has sought to simplify the process as much as possible, we believe there are some complexities, it may still not be obvious as to the process to be followed, and therefore some extra commentary around the worked examples, and perhaps a process map might be useful. | Noted. The WG is attempting to simplify the process. |
| NGED | Non-confidential | No | Noted. |
| SSE Generation & SSE Business | Non-confidential | • Firstly, with regard to MD site owners submitting their certificates, we would like the Working Group to consider the inconsistencies experienced in the TCR non-final demand certificate process where some distributors refused to accept these certificates directly from customers, whereas others were happy to do so. The legal text should clearly state that customers can submit these forms directly to distributors without the need for suppliers to be involved in the process. • Secondly, we would like to reiterate for the record that the change would seem to favour larger customers as they are more likely to be able to fund and gain larger benefits from the installation of metering. The installation of metering may not be cost effective for smaller customers. However, we acknowledge that as an outcome of the first consultation, options 1 and 2, neither of which required metering, were not taken forward due to the verification issues. | Will form part of the legal text review. Agreed that this is an issue but may be mitigated via the BSC change. |
| UKPN | Non-confidential | No | Noted |
| ENWL | Non-confidential | No. | Noted |
| SSEN | Non-confidential | No | Noted |
| Working Group Conclusions: |  |  |  |