DCP388 – alternative solution – overview – 2/10/23

- As agreed by the full DCP388 Working Group at its meeting on 8.9.23, a subgroup consisting of four Working Group members is developing an alternative solution for the Working Group to consider, following the review of the responses to the second consultation.

- This note provides an update on the proposed alternative to enable a discussion by the Working Group on 2.10.23.

- In their consultation response, some respondents raised a concern that the proposed approach for sites which are ordinarily banded based on their MIC but which are mixed demand sites, would be banded based on their maximum final demand instead. This would be a departure from the TCR approach which could create an unfairness.

- The alternative approach, as set out in appendix A below and in the attached spreadsheet, would be used for sites where the total maximum demand capacity does not exceed the MIC.

- The subgroup proposes that for sites which do exceed their MIC, the DNOs would follow the process set out in the NTCs (the section titled “Exceeding Capacities”, para 12.3 onwards) whereby the DNO may notify the customer of the breach and propose that the customer takes remedial action, such as varying their MIC. A mixed demand site application would only be processed following the remedial action.

- The main Working Group agreed that some other modifications are required to the template, such as applying the same conversion from demand in kWh to capacity in kVA as in Schedule 16 paragraph 155 and 159. These have been incorporated by the subgroup in the attached spreadsheet. However, this still requires full testing.

- The main Working Group agreed that templates for non-MIC sites would also need refinement. However, this may not be required, due to a potential BSC change consequential to DCP388. This would build on BSC modification P395 ‘Aligning BSC Reporting with EMR Regulations – an enduring solution’, due to be implemented in November 2023, but is limited to HH settled MPANs only.

- The P395 solution has many synergies with DCP 388, as it will enable a capability for suppliers to appoint Asset Metering Agents (AM MOA & AM HHDC) to service and maintain asset metering to settlement standards defined under Code of Practice (CoP) 1, and also provisions Data collection processes that are very similar to those applied to boundary settlement meters.

- It would also see the Supplier Volume Allocation Agent (SVAA) obtain HH metered data at a distribution connection boundary MPAN to calculate the non-final demand element for EMRS charging purposes, which should address DNO concerns by assuring the metered data through BSC governance. So the primary aim of related BSC change would be to extend these provisions, so that the data and calculations are provided to the DNO to enable a mixed demand site’s non-final demand element to BE accounted for in the residual band allocation.

Appendix A

To preserve the MIC-based approach for mixed demand sites, it is proposed to calculate the share that the maximum Final Demand capacity represents in terms of the site’s total maximum demand capacity (i.e. the maximum Final Demand capacity plus the maximum Non-Final Demand capacity).

That percentage figure is then multiplied by the site’s MIC, ensuring that the site is still banded on a MIC basis rather than a maximum demand capacity basis.

Example 1 shows a scenario where maximum demand is lower than the MIC, whereas example 2 shows a scenario where the site has exceeded its MIC. The subgroup proposes that for sites which exceed their MIC, the DNOs would follow the process set out in the NTCs (the section titled “Exceeding Capacities”, para 12.3 onwards) whereby the DNO may notify the customer of the breach and propose that the customer takes remedial action, such as varying their MIC. A mixed demand site application would only be processed following the remedial action.

|  | example 1 |  | example 2 |
| --- | --- | --- | --- |
| It is assumed that the capacity values in the examples below have been adjusted by the relevant power factor. | max D < MIC |  | max D > MIC |
|  |  |  | i.e. capacity exceeded |
| max FD adjusted by PF (original solution) - (kW) | 7,000 |  | 8,000 |
| max NFD adjusted by PF - (kW) | 2,500 |  | 2,500 |
| total max D (= max FD + max NFD) | 9,500 |  | 10,500 |
| MIC | 10,000 |  | 10,000 |
| max FD as share of total max D (%) | 73.68% |  | 76.19% |
| potential alternative: |  |  |  |
| max FD as share of total max D (%) x MIC | 7,368.42 |  | 7,619.05 |
| difference MIC less total D | 500.00 |  | - 500.00 |