| DCUSA Request for Information (RFI) |  |
| --- | --- |
| DCMDG ‘Private Networks’ Sub-Group Request for Information |  |
| Purpose of this Request for Information: This document is a Request for Information (RFI) and is issued on behalf of the DCMDG ‘Private Networks’ sub-group who are seeking further information from owners and operators of private networks. The sub-group will use the information provided to form a view on the likely best way forward in terms of the Distribution Use of System (DUoS) Charging arrangements that are governed under the DCUSA. |  |
|  | Respondents are invited to consider the questions set out in section 4 and submit comments using the form provided as Attachment 1 to dcusa@electralink.co.uk by [DD Month Year]. The DCMDG sub-group will consider the RFI responses and determine the appropriate next steps for the progression of this topic. |
|  | Impacted Parties: Private Network Operators |
| Contents 1. Summary 2 2 Additional Background 4 3 Rationale for Information Request 5 4 RFI Questions 8; Any questions?. Contact: Code Administrator. DCUSA@electralink.co.uk. 020 7432 3011. |

- Summary

#### What?

## Distribution Network Operators (DNOs) are companies licensed to distribute electricity in the Great Britain (GB). DNOs own and operate the system of cables and towers that bring electricity from the national transmission network to homes and businesses across GB. There are 14 geographically defined regions for electricity distribution, each with its own licensed DNO. DNOs recover the costs of running their network by reference to the allowed revenues approved by Ofgem under the price by charging Distribution Use of System (DUoS) charges.

## There are some smaller networks connected to the DNO network, which are owned by licensed distribution network operators (LDNOs). A LDNO can be either an Independent Distribution Network Operator (IDNO) or a DNO operating outside of its own area. DNOs and LDNOs are collectively referred to as Distributors in this document.

## Licence Exempt Networks (i.e., private networks) can be connected to either a DNO or LDNO network. They are operated by Private Network Operators (PNOs) who distribute electricity to the customers connected to the private network under an exemption from holding a distribution licence. For DUoS charges to be levied on a private network, there is usually a meter at the boundary point (i.e., the point where the private network meets the Distributors network).

## On 10 November 2011, the Gas and Electricity (Internal Markets) Regulations (the Regulations) came into force. The Regulations enabled certain customers connected to private networks to choose their electricity supplier, rather than the PNO appointing a supplier for the whole network. The arrangements introduced by the Regulations are known as Third Party Access or competition in supply.

## Where a customer on a private network (an “embedded customer”) is able to contract with a supplier of its choice under the Regulations (a “third party supplier”), that embedded customer will be provided with settlement metering and a Distributor will need to register that meter in their systems and provide a MPAN so a Supplier can then register that meter in the relevant central systems. When this happens, Distributors need to change the way they calculate the DUoS charges for that private network, including levying DUoS charges on the third party supplier in respect of the embedded customer.

## For domestic and non-domestic properties with Non Half-Hourly (NHH) meters, DUoS tariffs are made up of unit and fixed charges. For sites with Half-Hourly (HH) metering, DUoS tariffs are made up of unit charges, fixed charges, capacity charges and reactive power charges. Distributors either use metering data provided to them via settlement processes or via Suppliers themselves. This consumption data is used to calculate the unit rates charged to suppliers for their portfolio of customers. There is also a residual element to DUoS charges which are recovered via the fixed charge, as explained in more detail below.

## The way in which DNOs calculate their DUoS tariffs for Low Voltage (LV) and High Voltage (HV) connected customers is governed under the Common Distribution Charging Methodology (CDCM) in the DCUSA. The Extra High Voltage Charging Methodology (EDCM), also contained in the DCUSA, applies to Extra High Voltage (EHV) customers.

## The charges that the LDNOs pay to the respective DNOs to operate within their regions are discounted to reflect the fact that the LDNO provides the ‘last mile’ of the distribution network. LDNOs may charge their domestic customers no more than the equivalent DNO tariff. The potential margin available to an LDNO is dependent on the difference between the equivalent DNO tariff and the discounted LDNO tariff.

#### Why?

## Currently, if there are multiple suppliers in a private network, the lack of a codified practice for Distributors can mean that different Distributors follow different practices and in some cases, multiple DUoS charges can be applied to a site. This can result in additional DUoS charges being levied in circumstances where there is competition in supply notwithstanding that no physical changes to the network are required to support such arrangements. There has been more than one attempt by industry to formalise the approach which Distributors should take when invoicing DUoS charges (both forward-looking and residual) in respect of private networks where competition in supply is in place. The aim, broadly, is to ensure commonality between different Distributors and to maintain cost reflectivity wherever possible.

## Elexon has a guidance document on competition in supply for private networks, which focuses on the Balancing and Settlement Code (BSC) obligations and processes associated with facilitating competition in supply for electricity customers connected to private networks. As summarised in that guidance, there are currently three types of metering arrangements on private networks with competition in supply:

- Difference metering: where volumes recorded on embedded customers meters in the private network are deducted from volumes recorded on the boundary meter for the purposes of allocating charges.

- Shared metering: where a meter at the boundary point is shared between two or more suppliers in order to split volumes between them for charging and Settlement purposes. To determine the split between the suppliers, the embedded customers will have ‘non-settlement meters’ installed.

- Full settlement metering: where every embedded customer on a private network has opted for competition in supply and has its own meter and is charged in accordance with metered consumption. There is no boundary meter in this type of arrangement. The BSC refers to private networks in these circumstances as an ‘Associated Distribution System’.

## Under all metering options, an embedded customer who has requested competition in supply is required to have settlement metering installed to allow metering data to be recorded in settlement and to facilitate the correct calculation of DUoS charges. The shared metering arrangement also includes the sharing of non-settlement metering data between the relevant suppliers.

## Under all metering options, there is only one connection from the private network to the host Distributor network, with the relationship between the PNO and Distributor sometimes limited to a Connection Agreement. When an embedded customer requests competition in supply, there are no physical changes to the network or changes in use of the network. However, when embedded customers request competition in supply and are given a meter (for their chosen supplier to measure their consumption), all suppliers on the private network can be charged DUoS, resulting in the Distributor recovering multiple DUoS charges. Industry agree that the total DUoS charges applied to embedded customers on private networks with competition in supply should not differ from those without.

#### How?

## To be determined but readers should note the purpose of this Request for Information is so that industry better understands the potential scale of the issue as it was recognised that there is extremely limited insight into how many private networks are currently exist. It follows that if the numbers of private networks that currently exist is unknown, that whether these private networks have customers who have opted for competition in supply is also unknown. Further to this, there is an array of different types of private networks that currently exist, and there is a view that some of the existing metering arrangements may be more suitable for some types as compared to others but that given the unknown numbers of private networks, industry is effectively blind to whether that view is correct or not.

- Additional Background

## Under the governance arrangements included within the DCUSA, an industry group the ‘Distribution Charging Methodologies Development Group’ (or DCMDG) exists to provide an opportunity for the any interested person to raise (and have discussed) issues relating to the Use of System Charging Methodologies. Where appropriate, the DCMDG undertakes a pre-assessment of proposed solutions prior to a formal Change Proposal being raised. The DCMDG also acts as a forum for any Party or interested person to discuss or present on an issue which relates to or impacts upon the Use of System Charging Methodologies.

## It is under the DCMDG, that the issue of Use of System Charging for Private Networks with Competition in Supply has most recently been raised. Because the subject matter is quite specific and will only be of interest to subset of the full DCMDG membership, a sub-group was created in order to progress to discussions on the topic. It should be noted that, neither the DCMDG or any sub-group have powers to enforce changes to the DCUSA or any other existing industry agreements or associated systems.

## The intent of the sub-group and thus this RFI is to gather as much information and identify the best route forward in terms of potential solutions so that any new change that is raised to resolve the aforementioned issues stands a good chance of being accepted and subsequently implemented.

- Rationale for Information Request

## It should be noted that the generic term ‘private network’ is likely to encompass a variety of set ups with different naming conventions, including:

- Private Networks (PNs) or Private Network Operators (PNOs);

- Building Network Operators (BNOs);

- Distribution Exemption Holders (DEHs);

- Licence Exempt Networks (LENs); and

- Microgrids.

## In turn, there are a variety of different types of business that may be in scope the above classifications, for which some examples are set out below:

- Large Industrial Complexes (may include generation assets):

  - Airports

  - Ports

  - Chemical Plants

- Generation with Private Wire to Demand (either co-location or to nearby location), could include arrangements such as:

  - Where a generator has a Power Purchase Agreement (PPA) with one or more demand customers on site (on site supply).

  - Energy Parks that contain generation assets and are co-located with businesses and other complementary uses.

  - Combined Heat and Power generation which distributes power via private wires either on site or locally.

- Caravan Parks

- Multi-Occupancy Buildings (may also be referred to as a BNO and could include the following subset of entities):

  - Commercial Landlord

  - Facilities Management Company

  - Property Developer

  - House Builder

  - Property Manager

  - Electrical Contractor

- Microgrids, which are generally considered to be electricity distribution systems containing loads and distributed energy resources such as generators, energy storage systems or controllable loads that can be operated in a controlled, coordinated way. Could include entities such as:

  - Local Energy Schemes; or

  - New or retrofit council housing with distributed energy resources shared across all customers on a site.

## Another way to consider such arrangements is by using the licence exemptions framework as a starting point, noting that there are various exemptions that are available. There are a number of ‘Class Exemptions’ where there wouldn’t be a requirement to hold a licence to carry out one or more of generation, distribution or supply. Within those Class Exemptions there are sub-classes, and in the case of distribution, the following class exemptions are available to stakeholders:

- Class A: Distribute up to 2.5 megawatts to domestic consumers;

- Class B: Distribute up to 1 megawatt to onsite domestic consumers from onsite generation; or

- Class C: Distribute to only non-domestic consumers.

## The sub-group are interested to understand how many and of which of the types of Private Networks are currently operating and would like your input by answering the questions below:

Question 1:	Which of the below types of ‘Class Exemptions’ related to the distribution of of Private Networks set out below are you involved/or do you operate?
• Class A: Distribute up to 2.5 megawatts to domestic consumers
• Class B: Distribute up to 1 megawatt to onsite domestic consumers from onsite generation
• Class C: Distribute to only non-domestic consumers
•Other (please explain)

Question 2:	In terms of the generic classifications described under paragraph 3.2 of this request for information, which (if any) of them apply to the sites you own or operate? If none, are you able to describe how you might classify your site?

## Given the issue that the sub-group is seeking to focus on is with respect of private networks for which an embedded customer has opted to choose their own Supplier, the sub-group are interested in understanding how many private networks are operating with competition in supply and are seeking input on the question below:

Question 3:	Does your site (or sites) operate with competition in supply (meaning that one or more of the customers on your site has chosen their own Supplier instead of being supplied by the Supplier for the private network or the billed by the private network operator themselves).

## The sub-group also believe it may help them to define a potential way forward if they have a better understanding of where on the distributors network different private network connect. Therefore the sub-group are interested to understand at what voltage level your private network is connected to.

Question 4:	Can you confirm, what voltage level the private network is connected to?

## Given the variety of different types of business that may be in scope, the sub-group are seeking information on the size of different private networks, both in terms of the capacity of the site as well as customer numbers. Also, if possible, the sub-group would like to understand the breakdown of customer types connected to different private networks (e.g. domestic, smaller non-domestic, industrial and commercial and/or generation. It is hoped that this type of information well help the sub-group to determine the suitability of the various metering arrangements for each of the various different types of private networks that exist.

Question 5:	TBC?

## As described earlier, private network owners/operators can provide third party access using either full settlement metering, the difference metering approach or the shared metering approach. The sub-group acknowledge that not all private network operators may know what metering arrangements are available or what they mean in terms of the specifics to for each of the arrangements and therefore have provided a further overview of each below:

Full settlement metering

- This is where a private network is set up so that each embedded customer has an MPAN and a settlement metering system and therefore all embedded customers purchase electricity from their chosen Supplier. In this case there are no settlement metering at the boundary between the licensed distributors system and the private network.

- In this approach, distributors DUoS charges will be applied to each MPAN.

Difference metering

- This is where one or more, but not all, customers on a private network choose their own Supplier for electricity supply to their premises. Under this approach, only those embedded customers (i.e., the ones requiring third party access to the private network) will have their own MPAN and must have a HH metering system.

Shared Metering

- This is where one or more customers on a private network choose their own Supplier for electricity supply to their premises, and the active import and/or active export meter readings at the boundary are apportioned between the Suppliers. Under this approach, only those embedded customers (i.e., the ones requiring third party access to the private network) will have their own MPAN and must have a HH metering system.

- In this approach, distributors DUoS charges will be applied to each MPAN.

## To help the sub-group in identifying if a site is making use of one of these arrangements, members considered that responses to the following questions would be useful:

Question 6:	Are you aware of the various industry metering arrangements available to private networks with competition in supply?

Question 7:	Which (if any) are applicable to your site or sites?

Question 8:	Who does your DNO recover its DUoS charges from? (e.g. directly from you, the private network operator; or via the supplier to you, the private network operator; or via your customers' suppliers; or by some other route?).

- RFI Questions

## The Working Group is seeking industry views on the following RFI questions:

| Question No. | Question |
| --- | --- |
| 1 |  |
| 2 |  |
| 3 |  |
| 4 |  |
| 5 |  |
| 6 |  |
| 7 |  |
| 8 |  |

## Responses should be submitted using Attachment 1 to dcusa@electralink.co.uk no later than, xx.

## Responses, or any part thereof, can be provided in confidence. Parties are asked to clearly indicate any parts of a response that are to be treated confidentially.

Confidentiality

We publish all non-confidential responses on our website, and in our library.

We understand that there are times when you might only respond if we keep your response confidential. So if you want to respond to a consultation confidentially, you can. But you will need to mark your response as confidential and include your reasons. Mark clearly the parts that are confidential, and the parts that are not. Put the confidential material in appendices if you can. This is so we can ensure the bulk of the responses we receive are publishable.

We’ll keep your response itself confidential, but we will publish the number (but not the names) of confidential responses we receive.

Confidentiality is subject to any obligations to disclose information, for example, under the Freedom of Information Act 2000 or the Environmental Information Regulations 2004.

If the information you give in your response contains personal data under the General Data Protection Regulation (GDPR) 2018, the Gas and Electricity Markets Authority will be the data controller. We use the information in responses in performing our statutory functions and in accordance with section 105 of the Utilities Act 2000.

If necessary, we’ll get in touch with you to discuss which parts of the information in your response should be kept confidential, and which can be published, and we might ask for reasons.

We won’t link responses to respondents if we publish a summary of responses, and we will evaluate each response on its own merits without undermining your confidentiality rights.

#### Attachments

Attachment 1 – Response Form

Attachment 2 –

Gas and Electricity (Internal Markets) Regulations SI 2011/2704

Third Party Access gives electricity and gas customers the right to choose electricity and gas suppliers of their choice - Third Party Licence Exempt Distribution Guidance Note - Elexon Digital BSC.

Settlement reconciles the difference between a supplier’s contractual purchases of electricity and the demand consumed by its customer

BSCP550: Shared SVA Meter Arrangement - Elexon Digital BSC