## Sheet1
[11 empty] | Current Forecast in the CDCM | [8 empty] | Adjusted for EVs
[12 empty] | MWH | MWH | MWH | MWH | [5 empty] | MWH |  |  | Check | Check | Check | Check
| Tariff name | Open LLFCs | PCs | Red/black unit charge p/kWh | Amber/yellow unit charge p/kWh | Green unit charge p/kWh | Fixed charge p/MPAN/day | Capacity charge p/kVA/day | Exceeded capacity charge p/kVA/day | Reactive power charge p/kVArh | MPANs | Unit 1 | Unit 2 | Unit 3 | Sum units |  |  |  |  | MPANs | Sum units | TCR Residual Charge p/MPAN/day | New residual Charge p/MPAN/day |  | TCR Rev | New Rev
LV Site Specific | LV Site Specific Band 1 | 570 | 0 | 15.821 | 0.944 | 0.114 | 57.72 | 12.55 | 12.55 | 0.197 | 4119.197 | 25677.0085 | 183488.9699 | 168588.857 | 377754.8355 | 31 | 28 | 29 | 30 | 4116.197 | 377699.7718 | 38.7898 | 38.8124 |  | 159782.6541 | 159759.3632
LV Site Specific | LV Site Specific Band 1 EV | 570 | 0 | 15.821 | 0.944 | 0.114 | 57.72 | 12.55 | 12.55 | 0.197 | [9 empty] | 3 | 55.0637 | 38.7898 | 7.7636 | 20% |  | 23.2908 | 0
LV Site Specific | LV Site Specific Band 2 | L02 | 0 | 15.821 | 0.944 | 0.114 | 87.7 | 12.55 | 12.55 | 0.197 | 2632.691 | 30184.8612 | 211236.756 | 184178.9786 | 425600.5958 | 40 | 37 | 38 | 39 | 2629.691 | 425503.4892 | 68.7632 | 68.8259 |  | 181032.246 | 180990.941
LV Site Specific | LV Site Specific Band 2 EV | L02 | 0 | 15.821 | 0.944 | 0.114 | 87.7 | 12.55 | 12.55 | 0.197 | [9 empty] | 3 | 97.1066 | 68.7632 | 13.7683 | 20% |  | 41.305 | 0
LV Site Specific | LV Site Specific Band 3 | L03 | 0 | 15.821 | 0.944 | 0.114 | 124.87 | 12.55 | 12.55 | 0.197 | 890.5869 | 14575.7606 | 106382.3354 | 92227.6376 | 213185.7335 | 49 | 46 | 47 | 48 | 887.5869 | 213041.6221 | 105.9335 | 106.2197 |  | 94342.9424 | 94279.1674
LV Site Specific | LV Site Specific Band 3 EV | L03 | 0 | 15.821 | 0.944 | 0.114 | 124.87 | 12.55 | 12.55 | 0.197 | [9 empty] | 3 | 144.1115 | 105.9335 | 21.2583 | 20.01% |  | 63.7749 | 0
LV Site Specific | LV Site Specific Band 4 | L04 | 0 | 15.821 | 0.944 | 0.114 | 249.32 | 12.55 | 12.55 | 0.197 | 576.0146 | 17107.596 | 124449.3104 | 112453.2578 | 254010.1641 | 58 | 55 | 56 | 57 | 573.0146 | 253744.1917 | 230.3843 | 231.348 |  | 132704.7312 | 132565.7769
LV Site Specific | LV Site Specific Band 4 EV | L04 | 0 | 15.821 | 0.944 | 0.114 | 249.32 | 12.55 | 12.55 | 0.197 | [9 empty] | 3 | 265.9724 | 230.3843 | 46.3181 | 20.02% |  | 138.9543 | 0
LV Sub Site Specific | LV Sub Site Specific Band 1 | 540 | 0 | 9.919 | 0.449 | 0.049 | 53.57 | 10.91 | 10.91 | 0.107 | 339.6126 | 2665.8678 | 18494.8291 | 20223.2909 | 41383.9878 | 31 | 28 | 29 | 30 | 336.6126 | 41310.2223 | 38.7898 | 39.0657 |  | 13173.4915 | 13150.0103
LV Sub Site Specific | LV Sub Site Specific Band 1 EV | 540 | 0 | 9.919 | 0.449 | 0.049 | 53.57 | 10.91 | 10.91 | 0.107 | [9 empty] | 3 | 73.7655 | 38.7898 | 7.8271 | 20.04% |  | 23.4813 | 0
LV Sub Site Specific | LV Sub Site Specific Band 2 | S02 | 0 | 9.919 | 0.449 | 0.049 | 83.54 | 10.91 | 10.91 | 0.107 | 460.0118 | 6275.0769 | 44927.277 | 43830.722 | 95033.0759 | 40 | 37 | 38 | 39 | 457.0118 | 94908.3093 | 68.7632 | 69.1237 |  | 31631.8795 | 31590.3507
LV Sub Site Specific | LV Sub Site Specific Band 2 EV | S02 | 0 | 9.919 | 0.449 | 0.049 | 83.54 | 10.91 | 10.91 | 0.107 | [9 empty] | 3 | 124.7667 | 68.7632 | 13.8429 | 20.03% |  | 41.5288 | 0
LV Sub Site Specific | LV Sub Site Specific Band 3 | S03 | 0 | 9.919 | 0.449 | 0.049 | 120.71 | 10.91 | 10.91 | 0.107 | 309.9988 | 6624.7636 | 47494.9715 | 47562.5061 | 101682.2411 | 49 | 46 | 47 | 48 | 306.9988 | 101483.5128 | 105.9335 | 106.7596 |  | 32839.2464 | 32775.0652
LV Sub Site Specific | LV Sub Site Specific Band 3 EV | S03 | 0 | 9.919 | 0.449 | 0.049 | 120.71 | 10.91 | 10.91 | 0.107 | [9 empty] | 3 | 198.7283 | 105.9335 | 21.3937 | 20.04% |  | 64.1812 | 0
LV Sub Site Specific | LV Sub Site Specific Band 4 | S04 | 0 | 9.919 | 0.449 | 0.049 | 245.16 | 10.91 | 10.91 | 0.107 | 594.0011 | 25510.47 | 189922.7423 | 182496.8987 | 397930.111 | 58 | 55 | 56 | 57 | 591.0011 | 397526.1218 | 230.3843 | 231.3187 |  | 136848.5379 | 136709.6057
LV Sub Site Specific | LV Sub Site Specific Band 4 EV | S04 | 0 | 9.919 | 0.449 | 0.049 | 245.16 | 10.91 | 10.91 | 0.107 | [9 empty] | 3 | 403.9892 | 230.3843 | 46.3108 | 20.02% |  | 138.9323 | 0
HV Site Specific | HV Site Specific Band 1 | 510 | 0 | 7.32 | 0.267 | 0.026 | 357.6 | 10.5 | 10.5 | 0.073 | 320.0014 | 10710.6696 | 78631.9043 | 81861.8111 | 171204.385 | 31 | 28 | 29 | 30 | 317.0014 | 170880.3403 | 221.1268 | 222.797 |  | 70760.8938 | 70626.9621
HV Site Specific | HV Site Specific Band 1 EV | 510 | 0 | 7.32 | 0.267 | 0.026 | 357.6 | 10.5 | 10.5 | 0.073 | [9 empty] | 3 | 324.0447 | 221.1268 | 44.6439 | 20.04% |  | 133.9317 | 0
HV Site Specific | HV Site Specific Band 2 | H02 | 0 | 7.32 | 0.267 | 0.026 | 691.78 | 10.5 | 10.5 | 0.073 | 401.9676 | 34209.9953 | 245048.399 | 261703.8513 | 540962.2456 | 40 | 37 | 38 | 39 | 398.9676 | 540148.7024 | 555.3069 | 558.6411 |  | 223215.3602 | 222879.6707
HV Site Specific | HV Site Specific Band 2 EV | H02 | 0 | 7.32 | 0.267 | 0.026 | 691.78 | 10.5 | 10.5 | 0.073 | [9 empty] | 3 | 813.5432 | 555.3069 | 111.8965 | 20.03% |  | 335.6895 | 0
HV Site Specific | HV Site Specific Band 3 | H03 | 0 | 7.32 | 0.267 | 0.026 | 1348.71 | 10.5 | 10.5 | 0.073 | 125.9999 | 22948.9682 | 166988.0311 | 182155.8064 | 372092.8057 | 49 | 46 | 47 | 48 | 122.9999 | 370277.7181 | 1212.2352 | 1235.7443 |  | 152741.5711 | 151996.4899
HV Site Specific | HV Site Specific Band 3 EV | H03 | 0 | 7.32 | 0.267 | 0.026 | 1348.71 | 10.5 | 10.5 | 0.073 | [9 empty] | 3 | 1815.0876 | 1212.2352 | 248.3604 | 20.1% |  | 745.0812 | 0
HV Site Specific | HV Site Specific Band 4 | H04 | 0 | 7.32 | 0.267 | 0.026 | 3146.48 | 10.5 | 10.5 | 0.073 | 130.0001 | 60440.2601 | 406400.8582 | 487004.3277 | 953845.446 | 58 | 55 | 56 | 57 | 127.0001 | 949339.0917 | 3010.0082 | 3066.5543 |  | 391301.2486 | 389452.5822
HV Site Specific | HV Site Specific Band 4 EV | H04 | 0 | 7.32 | 0.267 | 0.026 | 3146.48 | 10.5 | 10.5 | 0.073 | [9 empty] | 3 | 4506.3543 | 3010.0082 | 616.2222 | 20.09% |  | 1848.6665 | 0