## DCMDG Issues
DCMDG Issues
No. | Originator | Area | Title | Synopsis | Target Implementation | Status | Outcome
9 | Tim Ellingham | Charging | Application of fixed DUoS charges on a per-MPAN basis | As the rollout of renewable generation continues, particularly after the closure to new entrants of the ROC scheme, renewable developers are looking to align with end consumers to fix the price of output electricity from generation projects via Corporate Power Purchase Agreements (CPPAs). | TBC | Open | Approved by the DCUSA Panel to progress to a sub-group to dvelop the draft Change Proposal. Sub-Group meeeting held 06 January 2022. Agreement that issue does need addressing and a draftt CP will be prepared by Tim for circulation to the sub-group prior to sharing with the full DCMDG.
12 | Otis Harrison | Charging | Import Capacity Charges for Storage Facilities | HV/LV storage projects are currently charged the same Import Capacity Charges as industrial baseload demand, despite having different dispatch patterns, leading to disproportionately high costs that often exceed revenue for Battery Energy Storage Systems (BESS) in many DNO regions. In contrast, EHV storage benefits from significantly lower, project-specific quotes. Despite claims that unit/red-band charges offer trading advantages, real-world data from leading optimization projects shows that these spreads do not materially impact dispatch profiles, resulting in stagnant DUoS unit revenue and potentially forcing many sites to shut down if these charging disparities are not addressed. | TBC | Open

## Archived DCMDG Issues
DCMDG Issues
No. | Originator | Area | Title | Synopsis | Target Implementation | Status | Outcome
1 | Kyran Hanks | Storage | Removal of the demand residual charge for storage operators from DNO charges | There is currently no active modification proposal that would remove the residual element of distribution demand charges from storage. There is currently no active modification proposal that would remove the residual element of distribution demand charges from storage. | 2018-04-01 | Closed | Raised as DCP 319
2 | Andrew Enzor | Charging | Competition in suply on a private network | An issue has arisen when deriving and applying Use of System charges in respect of customers connected to private networks who are not all registered by the same electricity supplier. |  | Closed | Raised as DCP 328
3 | William Jago | Capacity charging | Variance in billing approach between DNOs for exceeded capacity when a customer switches supplier mid-month | A clash in the DCUSA for capacity and exceeded capacity charging, along with variations in the billing process of different DNO’s |  | WJ confirmed not in a position to draft a CP currently
4 | Martyn Bentley | DCP 319 | DCP 319 – dispute raised against decision taken by DCMDG to exclude the EDCM from the scope of the modification proposal | DCP 319 only affects generator charges on the CDCM. This will result in generators being treated differently under bthe CDCM with respect to the EDCM. The proposer wishes to understand why this decision was taken. |  | Closed | Raised as DCP 321
5 | Tom Chevalier |  | Reactive data for unmetered customers | The BSC puts obligations on parties to provide reactive data to stakeholders (incl. Distributors) for billing purposes including for half hourly (HH) unmetered customers. The unmetered calculation of reactive data is already not accurate due to missing reactive values, use of generic codes and the impact of dimming having assumptions. A modification to the BSC needs to be raised to remove these requirements from the BSC |  | Closed | As requested by the proposer of the issue
6 | John Parsons | Reactive Power | Reactive Power Tariff Calculation | The determination of reactive power tariffs (excess reactive power charges and, to a lesser extent, excess capacity charges) have not been explicitly examined over recent years but careful examination shows that there has been a substantial reduction in the level of revenue associated with the excess reactive power charges. |  | CP to be drafted - Expected in January 2019
7 | npower | 2021/22 Charging Statement | Profile class for Non-Domestic Aggregated in 21/22 charging statements | There is inconsistency in the applicable profile classes in Annex1 of the charging statements for April 2021, the Non-Domestic Aggregated tariff in some regions is shown as applicable to PC 3,4 and 5-8 only rather than PC 0,3,4 and 5-8 which is confusing and can cause issues with machine reading of the file. | Next publication of the charging statements | Complete | DNOs whose charging statements were missing Profile Class 0 will reinstate in time for the publication of the next charging statements.
8 | Scottish Power Energy Retail Ltd | 2020/21 charging statement | Multiple Combinations of LLFC & PC in DUoS Charging Statement | With the introduction of DCP268, the old DUoS tariffs "LV Medium Non-Domestic" (1), "LV Sub Medium Non-Domestic" (2) & "LV Network Domestic" (3) are brought together under "Non-Domestic Aggregated". "HV Medium Non-Domestic" (4) is on annex 3, Preserved charges of the 2020-21 statement of WPD for SWEB. WPD in the SWEB area are now using LLFC 570 (1), LLFC 540 (2)& LLFC 510 (4) in Non-Domestic Aggregated and in LV Site Specific, LV Sub Site Specific & HV Site Specific respectively. With (3) having a PC of 0 and PC5-8, this resulted in combination of LLFC 570, 540 & 510 with PC 0 appearing in 2 DUoS tariffs in the statement (albeit PC 0 was left out of the charging statement for Non-Domestic Aggregated and Domestic Aggregated, an issue previously raised (issue no.7 under AOB on 04/06/2020)). The same issue occurs in the SWAE area. This is causing validation errors when we are trying to quote prices for customers beyond 31/03/2021. I believe this will potentially also cause issues for DUoS settlement post 01/04/2021 for DNOs and Suppliers. | 2021-04-01 | Complete | In the SWAE & SWEB areas, assign new LLFCs to LV Medium Non-Domestic, LV Sub Medium Non-Domestic and HV Medium Non-Domestic.
10 | Tom Chevalier | Charging | Maximum Import (and Export) Capacity for CT connections | The CDCM is inconsistent about the basis of charges for Current Transformer (CT) and Whole Current (WC). | TBC | Closed | New issue to be discussed at the November 2022 DCMDG meeting. It was confirmed that the Stakeholder Group will now be picking this up, and will no longer be managed by the DCMDG.
11 | Graham Wilcox | Charging | Accessibility of MPAN TNUoS Charging Band | As part of the new TNUoS charging, distributors send a P402 flow to NGrid with a count of MPANs in each of the TNUoS Charging Bands (TCB). However as a supplier it is impossible to accurately verify and maintain the MPAN/TCB relationship and thus verify the TNUoS being charged by NGrid. When advising NGrid of this issue they just state the data comes from the Distributors. It is known that P402 are potentially inaccurate as last month we received (via TNUoS Charge backing sheet from NGrid) a drop of 2 in our EHV1 count when we have not had a MPAN loss since September. It is now known after investigation from NGrid that this was a decrease of 1 from 2 distributors. The TCB criteria allows for overlap on capacity and voltage and only allows for supplier to interpret which TCB a MPAN is in. Also an MPAN’s TCB may be changed in conjunction with a LLFC change and there is no way for a supplier to identify if an MPAN changes TCB mid year or supply term. | TBC | Closed

## DCUSA Charging Change Proposals
DCP No | CP Title | CP Intent | CP Type | Part 1 / 2 Matter | Lead Analyst / WG Chair | Ofgem Representative | Proposal Date | WG meetings held to date | Is there anything delaying the progression of this CP? | Implementation Date | October 17 2024 Update | Status | Date Issued to Ofgem | Original Expected Decision Date | Latest Expected Decision Date | SORT ORDER LIST | SORT NUM
DCP 325 | Reviewing the requirements of Sections 35A, 35B, Schedule 15 and Schedule 20. | The intent of this Change Proposal is to combine, review and if appropriate, amend the requirements of Section 35A, Section 35B, Schedule 15 and Schedule 20 to improve transparency and efficiency in the data published by DNOs | General Charging | 2 | Richard Colwill / Melissa Kendal | N/A | 2018-11-07 | 13 | No | Next scheduled release following approval | The DCP 325 Working Group met on 16 September 2024, where they agreed to issue and RFI, which was subsequently issued. The Working Group is next due to meet on 22 October 2024 where they will review the RFI responses and determine next steps. | RFI |  |  |  | DEFINITION | 1
DCP 388 | Amendments to Facilitate Appropriate Residual Charging for Sites with a Mix of Final and Non-Final Demand | The intent of this modification is to define “Mixed Demand” Sites and apply a proportionate Residual charge where a Site meets the mixed demand definition. | Residual Charging | 1 | John Lawton / Andy Green | Andrew Malley | 2021-04-14 | 17 | Yes | TBC | The Working Group met on 02 October to review the need for a BSC change. It was agreed that a BSC change was required and that DCP 388 couldn’t be progressed until the BSC modification had been defined so DCP 388 has been paused until the Proposer raises the required BSC modification. | DEFINITION |  |  |  | RFI | 2
DCP 412 | Allocation of banding for TCR Charges for ‘Peaky’ Final Demand Customers | This Change Proposal aims to create a discount against the residual charge for ‘peaky’ customers, removing the disproportionate impact of allocating residual charges on the basis of the Agreed Supply Capacity. | Residual Charging | 1 | Andy Green / Craig Booth | Marlon McDonald | 2022-10-11 | 37 | No | TBC | The DCP 412 Working Group last met on 01 October, where they reviewed a draft of the Change Report and the legal text and are next due to meet on 23 October 2024, to review the legal review comments and to finalise the Change Report. The aim is for the Change Report to be issued to the Panel in November. | DEFINITION |  |  |  | CONSULTATION | 2
DCP 420 | Provide targeted relief from residual charges for electric vehicle charging sites | This change proposal aims to expand the definition of Non Final Demand to include Non Domestic sites which are solely for the use of charging vehicles where electricity is sold with a commercial transaction to a private user. These are to include e.g. Council run services, electric charging stations at car parks and service stations or petrol forecourts but are not to include private fleet charging stations. This is a temporary fix to be put in place until the charging stations included are commercially viable. | Residual Charging | 1 | Craig Booth / Richard Colwill | TBC | 2023-03-29 | 15 | No | TBC | The DCP 420 Working Group met have met several times over the last month or so, with the latest being held on 08 October 2024 and have finalised the drafting of their consultation which is being issued on 08 October 2024. The Working Group will meet again to review the consultation responses on 12 November 2024. | CONSULTATION |  |  |  | CHANGE REPORT | 3
DCP 421 | Update the Tables in schedule 15 of DCUSA | To amend the current tables within Schedule 15 of DCUSA to correctly represent ED2 revenue. | General Charging | 2 | Craig Booth / Andy Green | N/A | 2023-04-12 | 10 | No | 5 Working Days following approval | The DCP 421 Change Report was issued to the August Panel and approval was subsequently obtained ex-committee via email and the Change Report was issued for voting for a period of 15 Working Days. The outcome of the Party vote was that the CP be implemented and it was therefore implemented on 25 September 2024. | IMPLEMENTED |  |  |  | VOTING | 4
DCP 423 | LDNO Discounts for negative scaling | The purpose of this change proposal is to set a floor on the LDNO discount applied to negative tariff components, after scaling, for demand tariffs. The intent of this change proposal is to seek to remedy what the proposer believes is an unintended outcome of the implementation of Ofgem’s Targeted Charging Review where LDNO tariffs can be higher than the equivalent all-the-way tariff i.e. the LDNO margin is negative for that component. | CDCM | 1 | Melissa Kendal / Andy Green | TBC | 2023-05-09 | 6 | No | 2025-04-01 | The DCP 423 Working Group will met on 25 September 2024 and again on 02 October where they reviewed the previous modeling work following feedback from the consultation which identified a potential flaw. Next meeting is scheduled for 28 October where they will discuss some tests that will be carried out in the period between meetings. | DEFINITION |  |  |  | AWAITING AUTHORITY CONSENT | 5
DCP 424 | Use of System charging for complex sites | This change proposal enables the correct DUoS to be paid by meters that are class F or G within a Class 5 or Class 6 Complex Site as described in BSC Modification P441 (where netting of Import and Export takes place for BSC Settlement purposes) in a practical manner. Under p441 where generation and demand are netted before settlement, the gross values must be added to the D0036 or D0275 to ensure the correct DUoS is charged. However, for class F and G the MPAN counts are included on the D0030 data flows but the volumes are zero. In order for the volumes to be correctly charged DUoS it is proposed that these volumes are included in the D0036 or D0275 using a pseudo MPAN for the gross value. | CDCM | 1 | Andy Green / Craig Booth | TBC | 2023-05-10 | 6 | Yes | Aligned to BSC Mod P441 Implementation Date | DCP 424 has been delayed due a request by Ofgem for further impact analysis on the proposed BSC solution (P441 - Creation of Complex Site Classes). The DCP 424 consultation is now estimated to be released in Q3 2024. | DEFINITION |  |  |  | AWAITING IMPLEMENTATION | 6
DCP 425 | Cost Apportionment Factor “cap” Methodology | The intent of this Change Proposal (“CP”) is to provide further clarification as to how costs of Reinforcement are apportioned between the Company and the Customer (a Generation Connection) when the High-Cost Project Threshold is triggered. | Connection Charging | 1 | Richard Colwill/ Craig Booth | TBC | 2023-07-13 | 5 | No | 2024 | The Change Report was issued for voting following the March Panel meeting for a period of three weeks. The outcome of the Party voting was a recommendation that Ofgem Accept DCP 425 and the Change Declaration was issued to Authority for approval. | IMPLEMENTED | 2024-04-16 |  |  | IMPLEMENTED | 7
DCP 433 | Limitation for backdating of rebates/charges under Schedule 32 | The intent of this Change Proposal is to amend Schedule 32 to ensure that processes which may result in the backdating of rebates/charges are reflective of the limitations within the current industry arrangements. | Residual Charging | 1 | Andy Green / Craig Booth | TBC | 2024-01-05 | 5 | No | 2024-06-27 | The Change Report was presented to the Panel during their May 2024 meeting, where it was approved and was subsequently issued for voting following the May Panel meeting for a period of 15 Working Days. The outcome of the Party voting was a recommendation that Ofgem Accept DCP 433 and the Change Declaration was issued to Authority for approval on 10 June 2024. | AWAITING AUTHORITY CONSENT | 2024-06-10 |  |  | REJECTED | 8
DCP 437 | To Shorten the DUoS Pricing Notice Periods | This change proposal aims to shorten the DUoS Pricing Notice Periods so there is longer period between the publication of the PCFM where OFGEM have the option to make changes to our allowed revenue at short notice and the setting of the prices | General Charging | 1 | Hannah Proffitt / Craig Booth | TBC | 2024-02-13 | 4 | No | 2024-11-01 | The DCP 437 Working Group met on 03 September 2024, where they reviewed the draft Change Report and proposed legal drafting. The DCP 437 Change Report is being issued to the September Panel meeting. | AWAITING AUTHORITY CONSENT | 2024-10-10 |  |  | WITHDRAWN | 9
DCP 438 | Rate of Return Change Proposal | This change proposal aims to update the rate of return as the previous legal text is out of date. | General Charging | 1 | Hannah Proffitt / Craig Booth | TBC | 2024-02-27 | 2 | No | 2025-04-01 | The Working Group met in April and agreed to issue a consultation for DCP 438. The consultation was issued on 07 May, with responses due by 29 May 2024. The second Working Group meeting was held on 04 June 2024 to review responses and the draft Change Report. The Change Report was issued to the Panel during the June Panel meeting, where it was approved to be issued for Party voting. | AWAITING AUTHORITY CONSENT | 2024-07-15
DCP 439 | Backdating Tariff Changes | This change proposal seeks to add a sensible backstop to backdating. | CDCM | 1 | Hannah Proffitt / Richard Colwill | TBC | 2024-03-14 | 4 | No | 2025-04-01 | The DCP 439 Change Report was issued to the August Panel meeeting for approval to progress to voting. During their meeting, the Panel requested for some amendments to be made and agreed to consider the the Change Report ex-committee. Approval was subsequently obtained via email and the Change Report was issued for voting for a period of 15 Working Days. | CHANGE REPORT
DCP 440 | Consuming “de-energised” sites | To ensure all consuming “de-energised” sites are charged DUoS. | CDCM | 1 | Hannah Proffitt / Richard Colwill | TBC | 2024-03-14 | 6 | No | 2026-04-01 | The DCP 440 Working Group last met on 10 September 2024, where they discussed the data that had been requested from Elexon. The Working Group are looking into other sources of data to backup the proposed soution and may issue an RFI in the future if it can't be sourced centrally the next meeting will be confimed shortly. | AWAITING AUTHORITY CONSENT
DCP 443 | Excess Capacity | The purpose of this Change Proposal is to drive the correct customer behaviour regarding exceeding capacity. | General Charging | 1 | Melissa Kendal / Andy Green | TBC | 2024-07-09 | 3 | No | 2026-04-01 | The DCP 443 Working Group have met three times and have developed a consultation document which was issued on 13 September for a period of 3 weeks. The Working Group is scheduled to meet again on 14 October 2024 to review the consultation responses. | CONSULTATION

## Legal Text Overlap Tracker
YES
|  | MHHS | DCP 424 | DCP 325 | DCP 421 | DCP 423 | DCP 388 | DCP 412 | DCP 420 | DCP 433 | DCP 438 | DCP 439 | DCP 440 | DCP 443
|  | Unknown | 2024-11-21 | Next Scheduled | Next Scheduled | 2025-04-01 | TBC | TBC | 2025-04-01 | 2024-11-07 | 2024-11-07 | 2025-04-01 | 2026-04-01 | TBC |  | NOTES TO ASSIST
Schedules | Paragraph Number |  | Definition | Definition | Definition | Definition | Definition | Definition | Definition | Awaiting Consent | Awaiting Consent | Change Report | Change Report | Definition | Number of CPs Impacting Paragraph
Schedule 15 | Table 1 |  |  | YES | YES | [9 empty] | 2 | The WGs for DCP 325 and DCP 421 are aware of the interactions
Schedule 15 | Table 2 |  |  | YES | YES | [9 empty] | 2 | The WGs for DCP 325 and DCP 421 are aware of the interactions
Schedule 15 | Table 3 |  |  | YES | YES | [9 empty] | 2 | The WGs for DCP 325 and DCP 421 are aware of the interactions
0
Schedule 16 | Introduction | [13 empty] | 0
Schedule 16 | 1 | [13 empty] | 0
Schedule 16 | 2 | [13 empty] | 0
Schedule 16 | 3 | [13 empty] | 0 | Model reference number and date
Schedule 16 | 4 | [13 empty] | 0
Schedule 16 | 5 | [13 empty] | 0
Schedule 16 | 6 | [13 empty] | 0
Schedule 16 | 7 | [13 empty] | 0
Schedule 16 | 7A | [13 empty] | 0
Schedule 16 | 8 | [13 empty] | 0
Schedule 16 | 9 | [13 empty] | 0
Schedule 16 | 10 | [13 empty] | 0
Schedule 16 | 10A | [13 empty] | 0
Schedule 16 | 11 | [13 empty] | 0
Schedule 16 | 12 | [13 empty] | 0
Schedule 16 | 13 | [13 empty] | 0
Schedule 16 | 14 | [13 empty] | 0
Schedule 16 | 15 | [13 empty] | 0
Schedule 16 | 16 | [13 empty] | 0
Schedule 16 | 17 | [13 empty] | 0
Schedule 16 | 18 | [13 empty] | 0
Schedule 16 | 19 | [13 empty] | 0
Schedule 16 | 20 | [13 empty] | 0
Schedule 16 | 21 | [13 empty] | 0
Schedule 16 | 22 | [13 empty] | 0
Schedule 16 | 23 | [13 empty] | 0
Schedule 16 | 24 | [13 empty] | 0
Schedule 16 | 25 | [13 empty] | 0
Schedule 16 | 26 | [13 empty] | 0
Schedule 16 | 27 | [13 empty] | 0
Schedule 16 | 28 | [13 empty] | 0
Schedule 16 | 29 | [13 empty] | 0
Schedule 16 | 30 | [13 empty] | 0
Schedule 16 | 31 | [13 empty] | 0
Schedule 16 | 32 | [13 empty] | 0
Schedule 16 | 33 | [13 empty] | 0
Schedule 16 | 34 | [13 empty] | 0
Schedule 16 | 35 | [13 empty] | 0
Schedule 16 | 36 | [13 empty] | 0
Schedule 16 | 37 | [13 empty] | 0
Schedule 16 | 38 | [13 empty] | 0
Schedule 16 | 39 | [13 empty] | 0
Schedule 16 | 40 | [13 empty] | 0
Schedule 16 | 41 | [13 empty] | 0
Schedule 16 | 41A | [13 empty] | 0
Schedule 16 | 41B | [13 empty] | 0
Schedule 16 | 42 | [13 empty] | 0
Schedule 16 | 42A | YES | [12 empty] | 1
Schedule 16 | 43 | [13 empty] | 0
Schedule 16 | 44 | YES | [12 empty] | 1
Schedule 16 | 45 | [13 empty] | 0
Schedule 16 | 46 | [13 empty] | 0
Schedule 16 | 47 | [13 empty] | 0
Schedule 16 | 48 | [13 empty] | 0
Schedule 16 | 49 | [13 empty] | 0
Schedule 16 | 50 | [13 empty] | 0
Schedule 16 | 51 | [13 empty] | 0
Schedule 16 | 52 | [13 empty] | 0
Schedule 16 | 52A | [13 empty] | 0
Schedule 16 | 53 | [13 empty] | 0
Schedule 16 | 54 | [13 empty] | 0
Schedule 16 | 55 | [13 empty] | 0
Schedule 16 | 56 | [13 empty] | 0
Schedule 16 | 57 | [13 empty] | 0
Schedule 16 | 58 | [13 empty] | 0
Schedule 16 | 59 | [13 empty] | 0
Schedule 16 | 60 | [13 empty] | 0
Schedule 16 | 61 | [13 empty] | 0
Schedule 16 | 62 | [13 empty] | 0
Schedule 16 | 63 | [13 empty] | 0
Schedule 16 | 64 | [13 empty] | 0
Schedule 16 | 65 | [13 empty] | 0
Schedule 16 | 66 | [13 empty] | 0
Schedule 16 | 67 | [13 empty] | 0
Schedule 16 | 68 | [13 empty] | 0
Schedule 16 | 69 | [13 empty] | 0
Schedule 16 | 70 | YES | [12 empty] | 1
Schedule 16 | 71 | [13 empty] | 0
Schedule 16 | 72 | [13 empty] | 0
Schedule 16 | 72A | [13 empty] | 0
Schedule 16 | 73 | [13 empty] | 0
Schedule 16 | 74 | [13 empty] | 0
Schedule 16 | 75 | [13 empty] | 0
Schedule 16 | 76 | [13 empty] | 0
Schedule 16 | 77 | [13 empty] | 0
Schedule 16 | 78 | [13 empty] | 0
Schedule 16 | 79 | [13 empty] | 0
Schedule 16 | 80 | YES | [12 empty] | 1
Schedule 16 | 81 | [13 empty] | 0
Schedule 16 | 82 | [13 empty] | 0
Schedule 16 | 83 | [13 empty] | 0
Schedule 16 | 84 | [13 empty] | 0
Schedule 16 | 85 | [13 empty] | 0
Schedule 16 | 86 | [13 empty] | 0
Schedule 16 | 87 | [13 empty] | 0
Schedule 16 | 88 | [13 empty] | 0
Schedule 16 | 89 | [13 empty] | 0
Schedule 16 | 90 | [13 empty] | 0
Schedule 16 | 91 | [13 empty] | 0
Schedule 16 | 92 | [13 empty] | 0
Schedule 16 | 92A | [13 empty] | 0
Schedule 16 | 92B | [13 empty] | 0
Schedule 16 | 92C | [13 empty] | 0
Schedule 16 | 93 | [13 empty] | 0
Schedule 16 | 94 | [13 empty] | 0
Schedule 16 | 95 | [13 empty] | 0
Schedule 16 | 96 | [13 empty] | 0
Schedule 16 | 97 | [13 empty] | 0
Schedule 16 | 98 |  |  |  |  | YES | [8 empty] | 1
Schedule 16 | 99 | [13 empty] | 0
Schedule 16 | 100 | [13 empty] | 0
Schedule 16 | 101 | [13 empty] | 0
Schedule 16 | 102 | [13 empty] | 0
Schedule 16 | 102A | [13 empty] | 0
Schedule 16 | 102B | [13 empty] | 0
Schedule 16 | 103 | [13 empty] | 0
Schedule 16 | 104 | [13 empty] | 0
Schedule 16 | 105 | [13 empty] | 0
Schedule 16 | 106 | [13 empty] | 0
Schedule 16 | 107 | [13 empty] | 0
Schedule 16 | 108 | [13 empty] | 0
Schedule 16 | 108A | [13 empty] | 0
Schedule 16 | 109 | [13 empty] | 0
Schedule 16 | 110 | [13 empty] | 0
Schedule 16 | 111 | [13 empty] | 0
Schedule 16 | 112 | [13 empty] | 0
Schedule 16 | 112A | [13 empty] | 0
Schedule 16 | 113 | [13 empty] | 0
Schedule 16 | 113A | [13 empty] | 0
Schedule 16 | 113B | [13 empty] | 0
Schedule 16 | 113C | [13 empty] | 0
Schedule 16 | 113D | [13 empty] | 0
Schedule 16 | 113E | [13 empty] | 0
Schedule 16 | 114 | [13 empty] | 0
Schedule 16 | 115 | [13 empty] | 0
Schedule 16 | 116 | [13 empty] | 0
Schedule 16 | 117 | [13 empty] | 0
Schedule 16 | 118 | [13 empty] | 0
Schedule 16 | 119 | [13 empty] | 0
Schedule 16 | 120 | [13 empty] | 0
Schedule 16 | 121 | [13 empty] | 0
Schedule 16 | 122 | [13 empty] | 0
Schedule 16 | 123 | [13 empty] | 0
Schedule 16 | 124 | [13 empty] | 0
Schedule 16 | 125 | [13 empty] | 0
Schedule 16 | 126 | [13 empty] | 0
Schedule 16 | 127 | [13 empty] | 0
Schedule 16 | 127A | [13 empty] | 0
Schedule 16 | 128 | YES | YES | [11 empty] | 2
Schedule 16 | 129 | YES | [12 empty] | 1
Schedule 16 | 130 | YES | [12 empty] | 1
Schedule 16 | 131 | [13 empty] | 0
Schedule 16 | 132 | YES | [12 empty] | 1
Schedule 16 | 132A | [13 empty] | 0
Schedule 16 | 132B | [13 empty] | 0
Schedule 16 | 132C | YES | [12 empty] | 1
Schedule 16 | 132D | [13 empty] | 0
Schedule 16 | 133 | YES | [12 empty] | 1
Schedule 16 | 134 | [13 empty] | 0
Schedule 16 | 135 | [13 empty] | 0
Schedule 16 | 135A | YES | [12 empty] | 1 | DCP 414 adds two new rows to table for tariffs named 'Domestic Aggregated or CT' and 'Non-Domestic Aggregated or CT' whereas, for MHHS it is proposed to remove the last column containing applicable MC
Schedule 16 | 135B | [13 empty] | 0
Schedule 16 | 136 | [13 empty] | 0
Schedule 16 | 137 | [13 empty] | 0
Schedule 16 | 138 | [13 empty] | 0
Schedule 16 | 139 | [13 empty] | 0
Schedule 16 | 140 | [11 empty] | YES |  | 1
Schedule 16 | 140A | YES | [12 empty] | 1
Schedule 16 | 140B | YES | [12 empty] | 1
Schedule 16 | 140C | YES | [12 empty] | 1
Schedule 16 | 140D | [13 empty] | 0
Schedule 16 | 140E | [13 empty] | 0
Schedule 16 | 141 | [13 empty] | 0
Schedule 16 | 142 | YES | [12 empty] | 1
Schedule 16 | 143 | YES | [12 empty] | 1
Schedule 16 | 144 | YES | [12 empty] | 1
Schedule 16 | 145 | [13 empty] | 0
Schedule 16 | 146 | [13 empty] | 0
Schedule 16 | 147 | [13 empty] | 0
Schedule 16 | 148 | [13 empty] | 0
Schedule 16 | 149 | [13 empty] | 0
Schedule 16 | 150 | [13 empty] | 0
Schedule 16 | 151 | [13 empty] | 0
Schedule 16 | 152 | [13 empty] | 0
Schedule 16 | 153 | [12 empty] | YES | 1
Schedule 16 | 154 | [13 empty] | 0
Schedule 16 | 155 | [13 empty] | 0
Schedule 16 | 156 | [13 empty] | 0
Schedule 16 | 157 | [9 empty] | YES |  |  |  | 1
Schedule 16 | 158 | [13 empty] | 0
Schedule 16 | 159 | [13 empty] | 0
Schedule 16 | 160 | [13 empty] | 0
Schedule 16 | 161 | [13 empty] | 0
Schedule 16 | 162 | [13 empty] | 0
Schedule 16 | 163 | [13 empty] | 0
Schedule 16 | 164 | [13 empty] | 0
Schedule 16 | 165 | [13 empty] | 0
Schedule 16 | 166 | [13 empty] | 0
Schedule 16 | 167 | [13 empty] | 0
Schedule 16 | 168 | [13 empty] | 0
Schedule 16 | 169 | [13 empty] | 0
Schedule 16 | 170 | [13 empty] | 0
Schedule 16 | 171 | [13 empty] | 0
Schedule 16 | 172 | [13 empty] | 0
Schedule 16 | 173 | [13 empty] | 0
Schedule 16 | 173A | [10 empty] | YES |  |  | 1 | DCP 439 Introduces new Paragraph 173A
Schedule 16 | 174 | [13 empty] | 0
Schedule 16 | 175 | [13 empty] | 0
Schedule 16 | 176 | [13 empty] | 0
Schedule 16 | 177 | [13 empty] | 0
Schedule 16 | 178 | [13 empty] | 0
Schedule 16 | 179 | [13 empty] | 0
Schedule 16 | 180 | [13 empty] | 0
Schedule 16 | 181 | [13 empty] | 0
Schedule 16 | 182 | [13 empty] | 0
Schedule 16 | 183 | [13 empty] | 0
Schedule 16 | 184 | [13 empty] | 0
Schedule 16 | Glossary | YES | [12 empty] | 1
0
Schedule 17 | Introduction | [13 empty] | 0
Schedule 17 | 1 | [13 empty] | 0
Schedule 17 | 1.1 | [13 empty] | 0
Schedule 17 | 1.2 | [13 empty] | 0
Schedule 17 | 1.3 | [13 empty] | 0 | Model reference number and date
Schedule 17 | 1.3A | [13 empty] | 0
Schedule 17 | 1.4 | [13 empty] | 0
Schedule 17 | 1.5 | [13 empty] | 0
Schedule 17 | 1.6 | [13 empty] | 0
Schedule 17 | 1.7 | [13 empty] | 0
Schedule 17 | 1.8 | [13 empty] | 0
Schedule 17 | 1.9 | [13 empty] | 0
Schedule 17 | 2 | [13 empty] | 0
Schedule 17 | 2.1 | [13 empty] | 0
Schedule 17 | 2.2 | [13 empty] | 0
Schedule 17 | 2.3 | [13 empty] | 0
Schedule 17 | 2.4 | [13 empty] | 0
Schedule 17 | 2.5 | [13 empty] | 0
Schedule 17 | 2.6 | [13 empty] | 0
Schedule 17 | 2.7 | [13 empty] | 0
Schedule 17 | 2.8 | [13 empty] | 0
Schedule 17 | 2.9 | [13 empty] | 0
Schedule 17 | 2.1 | [13 empty] | 0
Schedule 17 | 2.11 | [13 empty] | 0
Schedule 17 | 2.12 | [13 empty] | 0
Schedule 17 | 2.13 | [13 empty] | 0
Schedule 17 | 2.14 | [13 empty] | 0
Schedule 17 | 2.15 | [13 empty] | 0
Schedule 17 | 2.16 | [9 empty] | YES |  |  |  | 1
Schedule 17 | 2.17 | [13 empty] | 0
Schedule 17 | 2.18 | [13 empty] | 0
Schedule 17 | 2.19 | [13 empty] | 0
Schedule 17 | 3 | [13 empty] | 0
Schedule 17 | 3.1 | [13 empty] | 0
Schedule 17 | 3.2 | [13 empty] | 0
Schedule 17 | 3.3 | [13 empty] | 0
Schedule 17 | 3.4 | [13 empty] | 0
Schedule 17 | 3.5 | [13 empty] | 0
Schedule 17 | 3.6 | [13 empty] | 0
Schedule 17 | 3.7 | [13 empty] | 0
Schedule 17 | 4 | [13 empty] | 0
Schedule 17 | 4.1 | [13 empty] | 0
Schedule 17 | 5 | [13 empty] | 0
Schedule 17 | 5.1 | [13 empty] | 0
Schedule 17 | 6 | [13 empty] | 0
Schedule 17 | 6.1 | [13 empty] | 0
Schedule 17 | 6.2 | [13 empty] | 0
Schedule 17 | 6.3 | [13 empty] | 0
Schedule 17 | 7 | [13 empty] | 0
Schedule 17 | 7.1 | [13 empty] | 0
Schedule 17 | 8 | [13 empty] | 0
Schedule 17 | 8.1 | [13 empty] | 0
Schedule 17 | 8.2 | [13 empty] | 0
Schedule 17 | 8.3 | [13 empty] | 0
Schedule 17 | 8.4 | [13 empty] | 0
Schedule 17 | 9 | [13 empty] | 0
Schedule 17 | 9.1 | [13 empty] | 0
Schedule 17 | 9.2 | [13 empty] | 0
Schedule 17 | 9.3 | [13 empty] | 0
Schedule 17 | 10 | [13 empty] | 0
Schedule 17 | 10.1 | [13 empty] | 0
Schedule 17 | 10.2 | [13 empty] | 0
Schedule 17 | 10.3 | [13 empty] | 0
Schedule 17 | 10.4 | [13 empty] | 0
Schedule 17 | 11 | [13 empty] | 0
Schedule 17 | 11.1 | [13 empty] | 0
Schedule 17 | 12 | [13 empty] | 0
Schedule 17 | 12.1 | [13 empty] | 0
Schedule 17 | 12.2 | [13 empty] | 0
Schedule 17 | 12.3 | [13 empty] | 0
Schedule 17 | 13 | [13 empty] | 0
Schedule 17 | 13.1 | [13 empty] | 0
Schedule 17 | 13.2 | [13 empty] | 0
Schedule 17 | 13.3 | [13 empty] | 0
Schedule 17 | 13.4 | [13 empty] | 0
Schedule 17 | 14 | [13 empty] | 0
Schedule 17 | 14.1 | [13 empty] | 0
Schedule 17 | 14.2 | [13 empty] | 0
Schedule 17 | 14.3 | [13 empty] | 0
Schedule 17 | 14.4 | [13 empty] | 0
Schedule 17 | 14.5 | [13 empty] | 0
Schedule 17 | 15 | [13 empty] | 0
Schedule 17 | 15.1 | [13 empty] | 0
Schedule 17 | 15.2 | [13 empty] | 0
Schedule 17 | 15.3 | [13 empty] | 0
Schedule 17 | 15.4 | [13 empty] | 0
Schedule 17 | 15.5 | [13 empty] | 0
Schedule 17 | 15.6 | [13 empty] | 0
Schedule 17 | 15.7 | [13 empty] | 0
Schedule 17 | 15.8 | [13 empty] | 0
Schedule 17 | 15.9 | [13 empty] | 0
Schedule 17 | 15.1 | [13 empty] | 0
Schedule 17 | 15.11 | [13 empty] | 0
Schedule 17 | 15.12 | [13 empty] | 0
Schedule 17 | 15.15 | [13 empty] | 0
Schedule 17 | 16 | [13 empty] | 0
Schedule 17 | 16.1 | [13 empty] | 0
Schedule 17 | 16.2 | [13 empty] | 0
Schedule 17 | 16.3 | [13 empty] | 0
Schedule 17 | 16.4 | [13 empty] | 0
Schedule 17 | 16.5 | [13 empty] | 0
Schedule 17 | 16.6 | [13 empty] | 0
Schedule 17 | 16.7 | [13 empty] | 0
Schedule 17 | 16.8 | [13 empty] | 0
Schedule 17 | 16.9 | [13 empty] | 0
Schedule 17 | 16.1 | [13 empty] | 0
Schedule 17 | 17 | [13 empty] | 0
Schedule 17 | 17.1 | [13 empty] | 0
Schedule 17 | 17.2 | [13 empty] | 0
Schedule 17 | 17.3 | [13 empty] | 0
Schedule 17 | 18 | [13 empty] | 0
Schedule 17 | 18.1 | [13 empty] | 0
Schedule 17 | 18.2 | [13 empty] | 0
Schedule 17 | 18.3 | [13 empty] | 0
Schedule 17 | 18.4 | [13 empty] | 0
Schedule 17 | 18.5 | [13 empty] | 0
Schedule 17 | 18.6 | [13 empty] | 0
Schedule 17 | 18.7 | [13 empty] | 0
Schedule 17 | 18.8 | [13 empty] | 0
Schedule 17 | 18.9 | [13 empty] | 0
Schedule 17 | 18.1 | [13 empty] | 0
Schedule 17 | 18.11 | [13 empty] | 0
Schedule 17 | 18.12 | [13 empty] | 0
Schedule 17 | 18.13 | [13 empty] | 0
Schedule 17 | 18.14 | [13 empty] | 0
Schedule 17 | 18.15 | [13 empty] | 0
Schedule 17 | 18.16 | [13 empty] | 0
Schedule 17 | 18.17 | [13 empty] | 0
Schedule 17 | 18.18 | [13 empty] | 0
Schedule 17 | 18.19 | [13 empty] | 0
Schedule 17 | 18.2 | [13 empty] | 0
Schedule 17 | 18.21 | [13 empty] | 0
Schedule 17 | 19 | [13 empty] | 0
Schedule 17 | 19.1 | [13 empty] | 0
Schedule 17 | 19.2 | [13 empty] | 0
Schedule 17 | 19.3 | [13 empty] | 0
Schedule 17 | 19.4 | [13 empty] | 0
Schedule 17 | 19.5 | [13 empty] | 0
Schedule 17 | 19.6 | [13 empty] | 0
Schedule 17 | 19.7 | [13 empty] | 0
Schedule 17 | 19.8 | [13 empty] | 0
Schedule 17 | 19.9 | [13 empty] | 0
Schedule 17 | 19.1 | [13 empty] | 0
Schedule 17 | 19.11 | [13 empty] | 0
Schedule 17 | 20 | [13 empty] | 0
Schedule 17 | 20.1 | [13 empty] | 0
Schedule 17 | 20.2 | [13 empty] | 0
Schedule 17 | 20.3 | [13 empty] | 0
Schedule 17 | 20.4 | [13 empty] | 0
Schedule 17 | 20.5 | [13 empty] | 0
Schedule 17 | 20.6 | [12 empty] | YES | 1
Schedule 17 | 20.7 | [12 empty] | YES | 1
Schedule 17 | 20.8 | [13 empty] | 0
Schedule 17 | 20.9 | [12 empty] | YES | 1
Schedule 17 | 21 | [13 empty] | 0
Schedule 17 | 21.1 | [13 empty] | 0
Schedule 17 | 21.2 | [13 empty] | 0
Schedule 17 | 22 | [13 empty] | 0
Schedule 17 | 22.1 | [13 empty] | 0
Schedule 17 | 22.2 | [13 empty] | 0
Schedule 17 | 22.3 | [13 empty] | 0
Schedule 17 | 22.4 | [13 empty] | 0
Schedule 17 | 23 | [13 empty] | 0
Schedule 17 | 23.1 | [13 empty] | 0
Schedule 17 | 23.2 | [13 empty] | 0
Schedule 17 | 23.3 | [13 empty] | 0
Schedule 17 | 23.4 | [13 empty] | 0
Schedule 17 | 23.5 | [13 empty] | 0
Schedule 17 | 24 | [13 empty] | 0
Schedule 17 | 24.1 | [13 empty] | 0
Schedule 17 | 24.2 | [13 empty] | 0
Schedule 17 | 24.3 | [13 empty] | 0
Schedule 17 | 24.4 | [13 empty] | 0
Schedule 17 | 24.5 | [13 empty] | 0
Schedule 17 | 24.6 | [13 empty] | 0
Schedule 17 | 24.7 | [13 empty] | 0
Schedule 17 | 24.8 | [13 empty] | 0
Schedule 17 | 24.9 | [13 empty] | 0
Schedule 17 | 25 | [13 empty] | 0
Schedule 17 | 25.1 | [13 empty] | 0
Schedule 17 | 25.2 | [13 empty] | 0
Schedule 17 | 25.3 | [13 empty] | 0
Schedule 17 | 25.4 | [13 empty] | 0
Schedule 17 | 25.5 | [13 empty] | 0
Schedule 17 | 25.6 | [13 empty] | 0
Schedule 17 | 25.7 | [13 empty] | 0
Schedule 17 | 25.8 | [13 empty] | 0
Schedule 17 | 25.9 | [13 empty] | 0
Schedule 17 | 25.1 | [13 empty] | 0
Schedule 17 | 25.11 | [13 empty] | 0
Schedule 17 | 25.12 | [13 empty] | 0
Schedule 17 | 25.13 | [13 empty] | 0
Schedule 17 | 25.14 | [13 empty] | 0
Schedule 17 | 25.15 | [13 empty] | 0
Schedule 17 | 25.16 | [13 empty] | 0
Schedule 17 | 25.17 | [13 empty] | 0
Schedule 17 | 25.18 | [13 empty] | 0
Schedule 17 | 25.19 | [13 empty] | 0
Schedule 17 | 26 | [13 empty] | 0
Schedule 17 | 26.1 | [13 empty] | 0
Schedule 17 | 26.2 | [13 empty] | 0
Schedule 17 | 26.3 | [13 empty] | 0
Schedule 17 | 26.4 | [13 empty] | 0
Schedule 17 | 26.5 | [13 empty] | 0
Schedule 17 | 26.6 | [13 empty] | 0
Schedule 17 | 26.7 | [13 empty] | 0
Schedule 17 | 26.8 | [13 empty] | 0
Schedule 17 | 26.9 | [13 empty] | 0
Schedule 17 | 26.1 | [13 empty] | 0
Schedule 17 | 26.11 | [13 empty] | 0
Schedule 17 | 27 | [13 empty] | 0
Schedule 17 | 27.1 | [13 empty] | 0
Schedule 17 | 27.2 | [13 empty] | 0
Schedule 17 | 27.3 | [13 empty] | 0
Schedule 17 | 27.4 | [13 empty] | 0
Schedule 17 | 28 | [13 empty] | 0
Schedule 17 | 28.1 | [13 empty] | 0
Schedule 17 | 28.2 | [13 empty] | 0
Schedule 17 | 29 | [13 empty] | 0
Schedule 17 | 29.1 | [13 empty] | 0
Schedule 17 | 29.2 | [13 empty] | 0
Schedule 17 | 29.3 | [13 empty] | 0
Schedule 17 | 29.4 | [13 empty] | 0
Schedule 17 | 30 | [13 empty] | 0
Schedule 17 | 30.1 | [13 empty] | 0
Schedule 17 | 30.2 | [13 empty] | 0
Schedule 17 | 30.3 | [13 empty] | 0
Schedule 17 | 30.4 | [13 empty] | 0
Schedule 17 | 30.5 | [13 empty] | 0
Schedule 17 | 30.6 | [13 empty] | 0
Schedule 17 | 30.7 | [13 empty] | 0
Schedule 17 | 30.8 | [13 empty] | 0
Schedule 17 | 30.9 | [13 empty] | 0
Schedule 17 | 30.1 | [13 empty] | 0
Schedule 17 | 30.11 | [13 empty] | 0
Schedule 17 | 31 | [10 empty] | YES |  |  | 1 | DCP 439 Introduces new Paragraph 31
Schedule 17 | 31.1 | [10 empty] | YES |  |  | 1 | DCP 439 Introduces new Paragraph 31.1
Schedule 17: Annex 1 | 1 | [13 empty] | 0
Schedule 17: Annex 1 | 2 | [13 empty] | 0
Schedule 17: Annex 1 | 2.1 | [13 empty] | 0
Schedule 17: Annex 1 | 2.2 | [13 empty] | 0
Schedule 17: Annex 1 | 2.3 | [13 empty] | 0
Schedule 17: Annex 1 | 2.4 | [13 empty] | 0
Schedule 17: Annex 1 | 2.5 | [13 empty] | 0
Schedule 17: Annex 1 | 3 | [13 empty] | 0
Schedule 17: Annex 1 | Definitions | [13 empty] | 0
Schedule 17: Annex 1 | 4 | [13 empty] | 0
Schedule 17: Annex 1 | 4.1 | [13 empty] | 0
Schedule 17: Annex 1 | 4.2 | [13 empty] | 0
Schedule 17: Annex 1 | 4.3 | [13 empty] | 0
Schedule 17: Annex 1 | 4.4 | [13 empty] | 0
Schedule 17: Annex 1 | 4.5 | [13 empty] | 0
Schedule 17: Annex 1 | 4.6 | [13 empty] | 0
Schedule 17: Annex 1 | 4.7 | [13 empty] | 0
Schedule 17: Annex 1 | 4.8 | [13 empty] | 0
Schedule 17: Annex 1 | 4.9 | [13 empty] | 0
Schedule 17: Annex 1 | 4.1 | [13 empty] | 0
Schedule 17: Annex 1 | 5 | [13 empty] | 0
Schedule 17: Annex 1 | 5.1 | [13 empty] | 0
Schedule 17: Annex 1 | 5.2 | [13 empty] | 0
Schedule 17: Annex 1 | 5.3 | [13 empty] | 0
Schedule 17: Annex 1 | 5.4 | [13 empty] | 0
Schedule 17: Annex 1 | 5.5 | [13 empty] | 0
Schedule 17: Annex 1 | 5.6 | [13 empty] | 0
Schedule 17: Annex 1 | 5.7 | [13 empty] | 0
Schedule 17: Annex 1 | 5.8 | [13 empty] | 0
Schedule 17: Annex 1 | 5.9 | [13 empty] | 0
Schedule 17: Annex 1 | 5.1 | [13 empty] | 0
Schedule 17: Annex 1 | 5.11 | [13 empty] | 0
Schedule 17: Annex 1 | 5.12 | [13 empty] | 0
Schedule 17: Annex 1 | 5.13 | [13 empty] | 0
Schedule 17: Annex 1 | 5.14 | [13 empty] | 0
Schedule 17: Annex 1 | 5.15 | [13 empty] | 0
Schedule 17: Annex 1 | 5.16 | [13 empty] | 0
Schedule 17: Annex 1 | 5.17 | [13 empty] | 0
Schedule 17: Annex 1 | 5.18 | [13 empty] | 0
Schedule 17: Annex 1 | 5.19 | [13 empty] | 0
Schedule 17: Annex 1 | 5.2 | [13 empty] | 0
Schedule 17: Annex 1 | 5.21 | [13 empty] | 0
Schedule 17: Annex 1 | 5.22 | [13 empty] | 0
Schedule 17: Annex 1 | 5.23 | [13 empty] | 0
Schedule 17: Annex 1 | 5.24 | [13 empty] | 0
Schedule 17: Annex 1 | 5.25 | [13 empty] | 0
Schedule 17: Annex 1 | 5.26 | [13 empty] | 0
Schedule 17: Annex 1 | 5.27 | [13 empty] | 0
Schedule 17: Annex 1 | 5.28 | [13 empty] | 0
Schedule 17: Annex 1 | 5.29 | [13 empty] | 0
Schedule 17: Annex 1 | 5.3 | [13 empty] | 0
Schedule 17: Annex 1 | 5.31 | [13 empty] | 0
Schedule 17: Annex 1 | 5.32 | [13 empty] | 0
Schedule 17: Annex 1 | 5.33 | [13 empty] | 0
Schedule 17: Annex 1 | 5.34 | [13 empty] | 0
Schedule 17: Annex 1 | 5.35 | [13 empty] | 0
Schedule 17: Annex 1 | 5.36 | [13 empty] | 0
Schedule 17: Annex 1 | 5.37 | [13 empty] | 0
Schedule 17: Annex 1 | 5.38 | [13 empty] | 0
Schedule 17: Annex 1 | 5.39 | [13 empty] | 0
Schedule 17: Annex 1 | 5.4 | [13 empty] | 0
Schedule 17: Annex 1 | 5.41 | [13 empty] | 0
Schedule 17: Annex 1 | 5.42 | [13 empty] | 0
Schedule 17: Annex 1 | 5.43 | [13 empty] | 0
Schedule 17: Annex 1 | 5.44 | [13 empty] | 0
Schedule 17: Annex 1 | 5.45 | [13 empty] | 0
Schedule 17: Annex 1 | 6 | [13 empty] | 0
Schedule 17: Annex 1 | 6.1 | [13 empty] | 0
Schedule 17: Annex 1 | 6.2 | [13 empty] | 0
Schedule 17: Annex 1 | 6.3 | [13 empty] | 0
Schedule 17: Annex 1 | 6.4 | [13 empty] | 0
Schedule 17: Annex 1 | 6.5 | [13 empty] | 0
Schedule 17: Annex 1 | 6.6 | [13 empty] | 0
Schedule 17: Annex 1 | 6.7 | [13 empty] | 0
Schedule 17: Annex 1 | 6.8 | [13 empty] | 0
Schedule 17: Annex 1 | 7 | [13 empty] | 0
Schedule 17: Annex 1 | 7.1 | [13 empty] | 0
Schedule 17: Annex 1 | 7.2 | [13 empty] | 0
Schedule 17: Annex 1 | 7.3 | [13 empty] | 0
Schedule 17: Annex 1 | 7.4 | [13 empty] | 0
Schedule 17: Annex 1 | 7.5 | [13 empty] | 0
Schedule 17: Annex 1 | 7.6 | [13 empty] | 0
Schedule 17: Annex 1 | 7.7 | [13 empty] | 0
Schedule 17: Annex 1 | 7.8 | [13 empty] | 0
Schedule 17: Annex 1 | 8 | [13 empty] | 0
Schedule 17: Annex 1 | 8.1 | [13 empty] | 0
Schedule 17: Annex 1 | 8.2 | [13 empty] | 0
Schedule 17: Annex 1 | 8.3 | [13 empty] | 0
Schedule 17: Annex 1 | 8.4 | [13 empty] | 0
Schedule 17: Annex 1 | 9 | [13 empty] | 0
Schedule 17: Annex 1 | 9.1 | [13 empty] | 0
Schedule 17: Annex 1 | 9.2 | [9 empty] | YES |  |  |  | 1
Schedule 17: Annex 1 | 9.3 | [13 empty] | 0
Schedule 17: Annex 1 | 9.4 | [13 empty] | 0
Schedule 17: Annex 1 | 9.5 | [13 empty] | 0
Schedule 17: Annex 1 | 9.6 | [13 empty] | 0
Schedule 17: Annex 1 | 9.7 | [13 empty] | 0
Schedule 17: Annex 1 | Attachment 1 | [13 empty] | 0
Schedule 17: Annex 1 | Attachment 1 | [13 empty] | 0
Schedule 17: Annex 1 | Attachment 1 | [13 empty] | 0
Schedule 17: Annex 1 | Attachment 3 | [13 empty] | 0
Schedule 17: Annex 2 | Annex 2 | [9 empty] | YES |  |  |  | 1
0
Schedule 18 | Introduction | [13 empty] | 0
Schedule 18 | 1 | [13 empty] | 0
Schedule 18 | 1.1 | [13 empty] | 0
Schedule 18 | 1.2 | [13 empty] | 0
Schedule 18 | 1.3 | [13 empty] | 0 | Model reference number and date
Schedule 18 | 1.3A | [13 empty] | 0
Schedule 18 | 1.4 | [13 empty] | 0
Schedule 18 | 1.5 | [13 empty] | 0
Schedule 18 | 1.6 | [13 empty] | 0
Schedule 18 | 1.7 | [13 empty] | 0
Schedule 18 | 1.8 | [13 empty] | 0
Schedule 18 | 1.9 | [13 empty] | 0
Schedule 18 | 2 | [13 empty] | 0
Schedule 18 | 2.1 | [13 empty] | 0
Schedule 18 | 2.2 | [13 empty] | 0
Schedule 18 | 2.3 | [13 empty] | 0
Schedule 18 | 2.4 | [13 empty] | 0
Schedule 18 | 2.5 | [13 empty] | 0
Schedule 18 | 2.6 | [13 empty] | 0
Schedule 18 | 2.7 | [13 empty] | 0
Schedule 18 | 2.8 | [13 empty] | 0
Schedule 18 | 2.9 | [9 empty] | YES |  |  |  | 1
Schedule 18 | 2.1 | [13 empty] | 0
Schedule 18 | 2.11 | [13 empty] | 0
Schedule 18 | 2.12 | [13 empty] | 0
Schedule 18 | 2.13 | [13 empty] | 0
Schedule 18 | 2.14 | [13 empty] | 0
Schedule 18 | 2.15 | [13 empty] | 0
Schedule 18 | 2.16 | [13 empty] | 0
Schedule 18 | 2.17 | [13 empty] | 0
Schedule 18 | 2.18 | [13 empty] | 0
Schedule 18 | 2.19 | [13 empty] | 0
Schedule 18 | 2.2 | [13 empty] | 0
Schedule 18 | 2.21 | [13 empty] | 0
Schedule 18 | 2.22 | [13 empty] | 0
Schedule 18 | 2.23 | [13 empty] | 0
Schedule 18 | 2.24 | [13 empty] | 0
Schedule 18 | 2.25 | [13 empty] | 0
Schedule 18 | 2.26 | [13 empty] | 0
Schedule 18 | 2.27 | [13 empty] | 0
Schedule 18 | 2.28 | [13 empty] | 0
Schedule 18 | 2.29 | [13 empty] | 0
Schedule 18 | 2.3 | [13 empty] | 0
Schedule 18 | 3 | [13 empty] | 0
Schedule 18 | 3.1 | [13 empty] | 0
Schedule 18 | 3.2 | [13 empty] | 0
Schedule 18 | 3.3 | [13 empty] | 0
Schedule 18 | 3.4 | [13 empty] | 0
Schedule 18 | 3.5 | [13 empty] | 0
Schedule 18 | 3.6 | [13 empty] | 0
Schedule 18 | 3.7 | [13 empty] | 0
Schedule 18 | 4 | [13 empty] | 0
Schedule 18 | 4.1 | [13 empty] | 0
Schedule 18 | 5 | [13 empty] | 0
Schedule 18 | 5.1 | [13 empty] | 0
Schedule 18 | 6 | [13 empty] | 0
Schedule 18 | 6.1 | [13 empty] | 0
Schedule 18 | 6.2 | [13 empty] | 0
Schedule 18 | 6.3 | [13 empty] | 0
Schedule 18 | 6.4 | [13 empty] | 0
Schedule 18 | 6.5 | [13 empty] | 0
Schedule 18 | 7 | [13 empty] | 0
Schedule 18 | 7.1 | [13 empty] | 0
Schedule 18 | 8 | [13 empty] | 0
Schedule 18 | 8.1 | [13 empty] | 0
Schedule 18 | 8.2 | [13 empty] | 0
Schedule 18 | 8.3 | [13 empty] | 0
Schedule 18 | 8.4 | [13 empty] | 0
Schedule 18 | 9 | [13 empty] | 0
Schedule 18 | 9.1 | [13 empty] | 0
Schedule 18 | 9.2 | [13 empty] | 0
Schedule 18 | 10 | [13 empty] | 0
Schedule 18 | 10.1 | [13 empty] | 0
Schedule 18 | 10.2 | [13 empty] | 0
Schedule 18 | 10.3 | [13 empty] | 0
Schedule 18 | 10.4 | [13 empty] | 0
Schedule 18 | 10.5 | [13 empty] | 0
Schedule 18 | 11 | [13 empty] | 0
Schedule 18 | 11.1 | [13 empty] | 0
Schedule 18 | 12 | [13 empty] | 0
Schedule 18 | 12.1 | [13 empty] | 0
Schedule 18 | 12.2 | [13 empty] | 0
Schedule 18 | 12.3 | [13 empty] | 0
Schedule 18 | 12.4 | [13 empty] | 0
Schedule 18 | 12.5 | [13 empty] | 0
Schedule 18 | 12.6 | [13 empty] | 0
Schedule 18 | 13 | [13 empty] | 0
Schedule 18 | 13.1 | [13 empty] | 0
Schedule 18 | 13.2 | [13 empty] | 0
Schedule 18 | 13.3 | [13 empty] | 0
Schedule 18 | 13.4 | [13 empty] | 0
Schedule 18 | 14 | [13 empty] | 0
Schedule 18 | 14.1 | [13 empty] | 0
Schedule 18 | 14.2 | [13 empty] | 0
Schedule 18 | 14.3 | [13 empty] | 0
Schedule 18 | 14.4 | [13 empty] | 0
Schedule 18 | 14.5 | [13 empty] | 0
Schedule 18 | 15 | [13 empty] | 0
Schedule 18 | 15.1 | [13 empty] | 0
Schedule 18 | 15.2 | [13 empty] | 0
Schedule 18 | 15.3 | [13 empty] | 0
Schedule 18 | 15.4 | [13 empty] | 0
Schedule 18 | 15.5 | [13 empty] | 0
Schedule 18 | 15.6 | [13 empty] | 0
Schedule 18 | 15.7 | [13 empty] | 0
Schedule 18 | 15.8 | [13 empty] | 0
Schedule 18 | 15.9 | [13 empty] | 0
Schedule 18 | 15.1 | [13 empty] | 0
Schedule 18 | 15.11 | [13 empty] | 0
Schedule 18 | 15.12 | [13 empty] | 0
Schedule 18 | 15.15 | [13 empty] | 0
Schedule 18 | 16 | [13 empty] | 0
Schedule 18 | 16.1 | [13 empty] | 0
Schedule 18 | 16.2 | [13 empty] | 0
Schedule 18 | 16.3 | [13 empty] | 0
Schedule 18 | 16.4 | [13 empty] | 0
Schedule 18 | 16.5 | [13 empty] | 0
Schedule 18 | 16.6 | [13 empty] | 0
Schedule 18 | 16.7 | [13 empty] | 0
Schedule 18 | 16.8 | [13 empty] | 0
Schedule 18 | 16.9 | [13 empty] | 0
Schedule 18 | 16.1 | [13 empty] | 0
Schedule 18 | 17 | [13 empty] | 0
Schedule 18 | 17.1 | [13 empty] | 0
Schedule 18 | 17.2 | [13 empty] | 0
Schedule 18 | 17.3 | [13 empty] | 0
Schedule 18 | 18 | [13 empty] | 0
Schedule 18 | 18.1 | [13 empty] | 0
Schedule 18 | 18.2 | [13 empty] | 0
Schedule 18 | 18.3 | [13 empty] | 0
Schedule 18 | 18.4 | [13 empty] | 0
Schedule 18 | 18.5 | [13 empty] | 0
Schedule 18 | 18.6 | [13 empty] | 0
Schedule 18 | 18.7 | [13 empty] | 0
Schedule 18 | 18.8 | [13 empty] | 0
Schedule 18 | 18.9 | [13 empty] | 0
Schedule 18 | 18.1 | [13 empty] | 0
Schedule 18 | 18.11 | [13 empty] | 0
Schedule 18 | 18.12 | [13 empty] | 0
Schedule 18 | 18.13 | [13 empty] | 0
Schedule 18 | 18.14 | [13 empty] | 0
Schedule 18 | 18.15 | [13 empty] | 0
Schedule 18 | 18.16 | [13 empty] | 0
Schedule 18 | 18.17 | [13 empty] | 0
Schedule 18 | 18.18 | [13 empty] | 0
Schedule 18 | 18.19 | [13 empty] | 0
Schedule 18 | 18.2 | [13 empty] | 0
Schedule 18 | 18.21 | [13 empty] | 0
Schedule 18 | 19 | [13 empty] | 0
Schedule 18 | 19.1 | [13 empty] | 0
Schedule 18 | 19.2 | [13 empty] | 0
Schedule 18 | 19.3 | [13 empty] | 0
Schedule 18 | 19.4 | [13 empty] | 0
Schedule 18 | 19.5 | [13 empty] | 0
Schedule 18 | 19.6 | [13 empty] | 0
Schedule 18 | 19.7 | [13 empty] | 0
Schedule 18 | 19.8 | [13 empty] | 0
Schedule 18 | 19.9 | [13 empty] | 0
Schedule 18 | 19.1 | [13 empty] | 0
Schedule 18 | 19.11 | [13 empty] | 0
Schedule 18 | 20 | [13 empty] | 0
Schedule 18 | 20.1 | [13 empty] | 0
Schedule 18 | 20.2 | [13 empty] | 0
Schedule 18 | 20.3 | [13 empty] | 0
Schedule 18 | 20.4 | [13 empty] | 0
Schedule 18 | 20.5 | [13 empty] | 0
Schedule 18 | 20.6 | [12 empty] | YES | 1
Schedule 18 | 20.7 | [12 empty] | YES | 1
Schedule 18 | 20.8 | [13 empty] | 0
Schedule 18 | 20.9 | [12 empty] | YES | 1
Schedule 18 | 21 | [13 empty] | 0
Schedule 18 | 21.1 | [13 empty] | 0
Schedule 18 | 21.2 | [13 empty] | 0
Schedule 18 | 22 | [13 empty] | 0
Schedule 18 | 22.1 | [13 empty] | 0
Schedule 18 | 22.2 | [13 empty] | 0
Schedule 18 | 22.3 | [13 empty] | 0
Schedule 18 | 22.4 | [13 empty] | 0
Schedule 18 | 23 | [13 empty] | 0
Schedule 18 | 23.1 | [13 empty] | 0
Schedule 18 | 23.2 | [13 empty] | 0
Schedule 18 | 23.3 | [13 empty] | 0
Schedule 18 | 23.4 | [13 empty] | 0
Schedule 18 | 23.5 | [13 empty] | 0
Schedule 18 | 24 | [13 empty] | 0
Schedule 18 | 24.1 | [13 empty] | 0
Schedule 18 | 24.2 | [13 empty] | 0
Schedule 18 | 24.3 | [13 empty] | 0
Schedule 18 | 24.4 | [13 empty] | 0
Schedule 18 | 24.5 | [13 empty] | 0
Schedule 18 | 24.6 | [13 empty] | 0
Schedule 18 | 24.7 | [13 empty] | 0
Schedule 18 | 24.8 | [13 empty] | 0
Schedule 18 | 24.9 | [13 empty] | 0
Schedule 18 | 25 | [13 empty] | 0
Schedule 18 | 25.1 | [13 empty] | 0
Schedule 18 | 25.2 | [13 empty] | 0
Schedule 18 | 25.3 | [13 empty] | 0
Schedule 18 | 25.4 | [13 empty] | 0
Schedule 18 | 25.5 | [13 empty] | 0
Schedule 18 | 25.6 | [13 empty] | 0
Schedule 18 | 25.7 | [13 empty] | 0
Schedule 18 | 25.8 | [13 empty] | 0
Schedule 18 | 25.9 | [13 empty] | 0
Schedule 18 | 25.1 | [13 empty] | 0
Schedule 18 | 25.11 | [13 empty] | 0
Schedule 18 | 25.12 | [13 empty] | 0
Schedule 18 | 25.13 | [13 empty] | 0
Schedule 18 | 25.14 | [13 empty] | 0
Schedule 18 | 25.15 | [13 empty] | 0
Schedule 18 | 25.16 | [13 empty] | 0
Schedule 18 | 25.17 | [13 empty] | 0
Schedule 18 | 25.18 | [13 empty] | 0
Schedule 18 | 25.19 | [13 empty] | 0
Schedule 18 | 26 | [13 empty] | 0
Schedule 18 | 26.1 | [13 empty] | 0
Schedule 18 | 26.2 | [13 empty] | 0
Schedule 18 | 26.3 | [13 empty] | 0
Schedule 18 | 26.4 | [13 empty] | 0
Schedule 18 | 26.5 | [13 empty] | 0
Schedule 18 | 26.6 | [13 empty] | 0
Schedule 18 | 26.7 | [13 empty] | 0
Schedule 18 | 26.8 | [13 empty] | 0
Schedule 18 | 26.9 | [13 empty] | 0
Schedule 18 | 26.1 | [13 empty] | 0
Schedule 18 | 26.11 | [13 empty] | 0
Schedule 18 | 27 | [13 empty] | 0
Schedule 18 | 27.1 | [13 empty] | 0
Schedule 18 | 27.2 | [13 empty] | 0
Schedule 18 | 27.3 | [13 empty] | 0
Schedule 18 | 27.4 | [13 empty] | 0
Schedule 18 | 28 | [13 empty] | 0
Schedule 18 | 28.1 | [13 empty] | 0
Schedule 18 | 28.2 | [13 empty] | 0
Schedule 18 | 29 | [13 empty] | 0
Schedule 18 | 29.1 | [13 empty] | 0
Schedule 18 | 29.2 | [13 empty] | 0
Schedule 18 | 29.3 | [13 empty] | 0
Schedule 18 | 29.4 | [13 empty] | 0
Schedule 18 | 30 | [13 empty] | 0
Schedule 18 | 30.1 | [13 empty] | 0
Schedule 18 | 30.2 | [13 empty] | 0
Schedule 18 | 30.3 | [13 empty] | 0
Schedule 18 | 30.4 | [13 empty] | 0
Schedule 18 | 30.5 | [13 empty] | 0
Schedule 18 | 30.6 | [13 empty] | 0
Schedule 18 | 30.7 | [13 empty] | 0
Schedule 18 | 30.8 | [13 empty] | 0
Schedule 18 | 30.9 | [13 empty] | 0
Schedule 18 | 30.1 | [13 empty] | 0
Schedule 18 | 30.11 | [13 empty] | 0
Schedule 18 | 31 | [13 empty] | 0 | DCP 439 Introduces new Paragraph 31
Schedule 18 | 31.1 | [13 empty] | 0 | DCP 439 Introduces new Paragraph 31.1
Schedule 18: Annex 1 | 1 | [13 empty] | 0
Schedule 18: Annex 1 | 1.1 | [13 empty] | 0
Schedule 18: Annex 1 | 2 | [13 empty] | 0
Schedule 18: Annex 1 | 2.1 | [13 empty] | 0
Schedule 18: Annex 1 | 2.2 | [13 empty] | 0
Schedule 18: Annex 1 | 2.3 | [13 empty] | 0
Schedule 18: Annex 1 | 2.4 | [13 empty] | 0
Schedule 18: Annex 1 | 2.5 | [13 empty] | 0
Schedule 18: Annex 1 | 3 | [13 empty] | 0
Schedule 18: Annex 1 | Definitions | [13 empty] | 0
Schedule 18: Annex 1 | 4 | [13 empty] | 0
Schedule 18: Annex 1 | 4.1 | [13 empty] | 0
Schedule 18: Annex 1 | 4.2 | [13 empty] | 0
Schedule 18: Annex 1 | 4.3 | [13 empty] | 0
Schedule 18: Annex 1 | 4.4 | [13 empty] | 0
Schedule 18: Annex 1 | 4.5 | [13 empty] | 0
Schedule 18: Annex 1 | 4.6 | [13 empty] | 0
Schedule 18: Annex 1 | 4.7 | [13 empty] | 0
Schedule 18: Annex 1 | 4.8 | [13 empty] | 0
Schedule 18: Annex 1 | 4.9 | [13 empty] | 0
Schedule 18: Annex 1 | 5 | [13 empty] | 0
Schedule 18: Annex 1 | 5.1 | [13 empty] | 0
Schedule 18: Annex 1 | 5.2 | [13 empty] | 0
Schedule 18: Annex 1 | 5.3 | [13 empty] | 0
Schedule 18: Annex 1 | 5.4 | [13 empty] | 0
Schedule 18: Annex 1 | 5.5 | [13 empty] | 0
Schedule 18: Annex 1 | 5.6 | [13 empty] | 0
Schedule 18: Annex 1 | 5.7 | [13 empty] | 0
Schedule 18: Annex 1 | 5.8 | [13 empty] | 0
Schedule 18: Annex 1 | 5.9 | [13 empty] | 0
Schedule 18: Annex 1 | 5.1 | [13 empty] | 0
Schedule 18: Annex 1 | 5.11 | [13 empty] | 0
Schedule 18: Annex 1 | 5.12 | [13 empty] | 0
Schedule 18: Annex 1 | 5.13 | [13 empty] | 0
Schedule 18: Annex 1 | 5.14 | [13 empty] | 0
Schedule 18: Annex 1 | 5.15 | [13 empty] | 0
Schedule 18: Annex 1 | 5.16 | [13 empty] | 0
Schedule 18: Annex 1 | 5.17 | [13 empty] | 0
Schedule 18: Annex 1 | 5.18 | [13 empty] | 0
Schedule 18: Annex 1 | 5.19 | [13 empty] | 0
Schedule 18: Annex 1 | 5.2 | [13 empty] | 0
Schedule 18: Annex 1 | 5.21 | [13 empty] | 0
Schedule 18: Annex 1 | 5.22 | [13 empty] | 0
Schedule 18: Annex 1 | 5.23 | [13 empty] | 0
Schedule 18: Annex 1 | 5.24 | [13 empty] | 0
Schedule 18: Annex 1 | 5.25 | [13 empty] | 0
Schedule 18: Annex 1 | 5.26 | [13 empty] | 0
Schedule 18: Annex 1 | 5.27 | [13 empty] | 0
Schedule 18: Annex 1 | 5.28 | [13 empty] | 0
Schedule 18: Annex 1 | 5.29 | [13 empty] | 0
Schedule 18: Annex 1 | 5.3 | [13 empty] | 0
Schedule 18: Annex 1 | 5.31 | [13 empty] | 0
Schedule 18: Annex 1 | 5.32 | [13 empty] | 0
Schedule 18: Annex 1 | 5.33 | [13 empty] | 0
Schedule 18: Annex 1 | 5.34 | [13 empty] | 0
Schedule 18: Annex 1 | 5.35 | [13 empty] | 0
Schedule 18: Annex 1 | 5.36 | [13 empty] | 0
Schedule 18: Annex 1 | 5.37 | [13 empty] | 0
Schedule 18: Annex 1 | 5.38 | [13 empty] | 0
Schedule 18: Annex 1 | 5.39 | [13 empty] | 0
Schedule 18: Annex 1 | 5.4 | [13 empty] | 0
Schedule 18: Annex 1 | 5.41 | [13 empty] | 0
Schedule 18: Annex 1 | 5.42 | [13 empty] | 0
Schedule 18: Annex 1 | 6 | [13 empty] | 0
Schedule 18: Annex 1 | 6.1 | [13 empty] | 0
Schedule 18: Annex 1 | 6.2 | [13 empty] | 0
Schedule 18: Annex 1 | 6.3 | [13 empty] | 0
Schedule 18: Annex 1 | 6.4 | [13 empty] | 0
Schedule 18: Annex 1 | 6.5 | [13 empty] | 0
Schedule 18: Annex 1 | 6.6 | [13 empty] | 0
Schedule 18: Annex 1 | 6.7 | [13 empty] | 0
Schedule 18: Annex 1 | 6.8 | [13 empty] | 0
Schedule 18: Annex 1 | 6.9 | [13 empty] | 0
Schedule 18: Annex 1 | 6.1 | [13 empty] | 0
Schedule 18: Annex 1 | 6.11 | [13 empty] | 0
Schedule 18: Annex 1 | 6.12 | [13 empty] | 0
Schedule 18: Annex 1 | 6.13 | [13 empty] | 0
Schedule 18: Annex 1 | 6.14 | [13 empty] | 0
Schedule 18: Annex 1 | 6.15 | [13 empty] | 0
Schedule 18: Annex 1 | 6.16 | [13 empty] | 0
Schedule 18: Annex 1 | 6.17 | [13 empty] | 0
Schedule 18: Annex 1 | 6.18 | [13 empty] | 0
Schedule 18: Annex 1 | 6.19 | [13 empty] | 0
Schedule 18: Annex 1 | 6.2 | [13 empty] | 0
Schedule 18: Annex 1 | 6.21 | [13 empty] | 0
Schedule 18: Annex 1 | 6.22 | [13 empty] | 0
Schedule 18: Annex 1 | 6.23 | [13 empty] | 0
Schedule 18: Annex 1 | 6.24 | [13 empty] | 0
Schedule 18: Annex 1 | 6.25 | [13 empty] | 0
Schedule 18: Annex 1 | 6.26 | [13 empty] | 0
Schedule 18: Annex 1 | 6.27 | [13 empty] | 0
Schedule 18: Annex 1 | 6.28 | [13 empty] | 0
Schedule 18: Annex 1 | 6.29 | [13 empty] | 0
Schedule 18: Annex 1 | 6.3 | [13 empty] | 0
Schedule 18: Annex 1 | 6.31 | [13 empty] | 0
Schedule 18: Annex 1 | 6.32 | [13 empty] | 0
Schedule 18: Annex 1 | 6.33 | [13 empty] | 0
Schedule 18: Annex 1 | 6.34 | [13 empty] | 0
Schedule 18: Annex 1 | 7 | [13 empty] | 0
Schedule 18: Annex 1 | 7.1 | [13 empty] | 0
Schedule 18: Annex 1 | 7.2 | [13 empty] | 0
Schedule 18: Annex 1 | 7.3 | [13 empty] | 0
Schedule 18: Annex 1 | 7.4 | [13 empty] | 0
Schedule 18: Annex 1 | 7.5 | [13 empty] | 0
Schedule 18: Annex 1 | 8 | [13 empty] | 0
Schedule 18: Annex 1 | 8.1 | [13 empty] | 0
Schedule 18: Annex 1 | 8.2 | [13 empty] | 0
Schedule 18: Annex 1 | 8.3 | [13 empty] | 0
Schedule 18: Annex 1 | 8.4 | [13 empty] | 0
Schedule 18: Annex 1 | 8.5 | [13 empty] | 0
Schedule 18: Annex 1 | 8.6 | [13 empty] | 0
Schedule 18: Annex 1 | 8.7 | [13 empty] | 0
Schedule 18: Annex 1 | 8.8 | [13 empty] | 0
Schedule 18: Annex 1 | 8.9 | [13 empty] | 0
Schedule 18: Annex 1 | 8.1 | [13 empty] | 0
Schedule 18: Annex 1 | 8.11 | [13 empty] | 0
Schedule 18: Annex 1 | 8.12 | [13 empty] | 0
Schedule 18: Annex 1 | 8.13 | [13 empty] | 0
Schedule 18: Annex 1 | 8.14 | [13 empty] | 0
Schedule 18: Annex 1 | 8.15 | [13 empty] | 0
Schedule 18: Annex 1 | 8.16 | [13 empty] | 0
Schedule 18: Annex 1 | 8.17 | [13 empty] | 0
Schedule 18: Annex 1 | 8.18 | [13 empty] | 0
Schedule 18: Annex 1 | 8.19 | [13 empty] | 0
Schedule 18: Annex 1 | 8.2 | [13 empty] | 0
Schedule 18: Annex 1 | 8.21 | [13 empty] | 0
Schedule 18: Annex 1 | Attachment 1 | [9 empty] | YES |  |  |  | 1
Schedule 18: Annex 1 | Attachment 2 | [13 empty] | 0
Schedule 18: Annex 1 | Attachment 3 | [13 empty] | 0
Schedule 18: Annex 2 | Annex 2 | [13 empty] | 0
0
Schedule 20 | Introduction |  |  | YES | [10 empty] | 1
Schedule 20 | 1.1 |  |  | YES | [10 empty] | 1
Schedule 20 | 2.1 |  |  | YES | [10 empty] | 1
Schedule 20 | 3.1 |  |  | YES | [10 empty] | 1
Schedule 20 | 3.2 |  |  | YES | [10 empty] | 1
0
Schedule 29 | Introduction | [13 empty] | 0
Schedule 29 | 1 | [13 empty] | 0
Schedule 29 | 1A | [13 empty] | 0
Schedule 29 | 2 | [13 empty] | 0
Schedule 29 | 3 | [13 empty] | 0
Schedule 29 | 4 | [13 empty] | 0
Schedule 29 | 5 | [13 empty] | 0
Schedule 29 | 6 | [13 empty] | 0
Schedule 29 | 7 | [13 empty] | 0
Schedule 29 | 8 | [13 empty] | 0
Schedule 29 | 9 | [13 empty] | 0
Schedule 29 | 10 | [13 empty] | 0
Schedule 29 | 11 | [13 empty] | 0
Schedule 29 | 11A | [13 empty] | 0
Schedule 29 | 12 | [13 empty] | 0
Schedule 29 | 13 | [13 empty] | 0
Schedule 29 | 14 | [13 empty] | 0
Schedule 29 | 15 | [13 empty] | 0
Schedule 29 | 16 | [13 empty] | 0
Schedule 29 | 17 | [13 empty] | 0
Schedule 29 | 18 | [13 empty] | 0
Schedule 29 | 19 | [13 empty] | 0
Schedule 29 | 20 | [13 empty] | 0
Schedule 29 | 21 | [13 empty] | 0
Schedule 29 | 22 | [13 empty] | 0
Schedule 29 | 23 | [13 empty] | 0
Schedule 29 | 24 | [13 empty] | 0
Schedule 29 | 25 | [13 empty] | 0
Schedule 29 | 26 | [13 empty] | 0
Schedule 29 | 27 | [13 empty] | 0
Schedule 29 | 28 | [13 empty] | 0
Schedule 29 | 29 | [13 empty] | 0
Schedule 29 | 30 | [13 empty] | 0
Schedule 29 | 31 | [13 empty] | 0
Schedule 29 | 32 | [13 empty] | 0
Schedule 29 | 33 | [13 empty] | 0
Schedule 29 | 34 | [13 empty] | 0
Schedule 29 | 35 | [13 empty] | 0
Schedule 29 | 36 | [13 empty] | 0
Schedule 29 | 37 | [13 empty] | 0
Schedule 29 | 38 | [13 empty] | 0
Schedule 29 | 39 | [13 empty] | 0
Schedule 29 | 40 | [13 empty] | 0
Schedule 29 | 41 | [13 empty] | 0
Schedule 29 | 42 | [13 empty] | 0
Schedule 29 | 43 | [13 empty] | 0
Schedule 29 | 44 | [13 empty] | 0
Schedule 29 | 45 | [13 empty] | 0
Schedule 29 | 46 | [13 empty] | 0
Schedule 29 | 46A | [13 empty] | 0
Schedule 29 | 47 | [13 empty] | 0
0
Schedule 32 | 1 | [13 empty] | 0
Schedule 32 | 1.1 | [13 empty] | 0
Schedule 32 | 1.2 | [13 empty] | 0
Schedule 32 | 1.2A | [13 empty] | 0
Schedule 32 | 1.3 | [13 empty] | 0
Schedule 32 | 1.4 | [13 empty] | 0
Schedule 32 | 1.5 | [13 empty] | 0
Schedule 32 | 1.6 | [13 empty] | 0
Schedule 32 | 1.7 | [13 empty] | 0
Schedule 32 | 1.8 | [5 empty] | YES | [7 empty] | 1
Schedule 32 | 1.9 | [13 empty] | 0
Schedule 32 | 1.10 | [5 empty] | YES | [7 empty] | 1
Schedule 32 | 2 | [13 empty] | 0
Schedule 32 | 2.1 | [13 empty] | 0
Schedule 32 | 2.2 | [13 empty] | 0
Schedule 32 | 2.3 | [13 empty] | 0
Schedule 32 | 2.4 | [13 empty] | 0
Schedule 32 | 2.5 | [13 empty] | 0
Schedule 32 | 3 | [13 empty] | 0
Schedule 32 | 3.1 | [5 empty] | YES | [7 empty] | 1
Schedule 32 | 3.2 | [13 empty] | 0
Schedule 32 | 3.3 | [13 empty] | 0
Schedule 32 | 3.4 | [13 empty] | 0
Schedule 32 | 3.5 | [13 empty] | 0
Schedule 32 | 3.6 | [13 empty] | 0
Schedule 32 | 4 | [13 empty] | 0
Schedule 32 | 4.1 | [5 empty] | YES | [7 empty] | 1
Schedule 32 | 4.2 | [5 empty] | YES | [7 empty] | 1
Schedule 32 | 4.2A | [5 empty] | YES | [7 empty] | 1
Schedule 32 | 4.3 | [13 empty] | 0
Schedule 32 | 4.4 | [13 empty] | 0
Schedule 32 | 4.5 | [5 empty] | YES | [7 empty] | 1
Schedule 32 | 4.6 | [13 empty] | 0
Schedule 32 | 5 | [13 empty] | 0
Schedule 32 | 5.1 | [13 empty] | 0
Schedule 32 | 5.2 | [13 empty] | 0
Schedule 32 | 5.3 | [13 empty] | 0
Schedule 32 | 5A. | [5 empty] | YES | [7 empty] | 1
Schedule 32 | 5A.1 | [13 empty] | 0
Schedule 32 | 5A.1A | [13 empty] | 0
Schedule 32 | 5A.2 | [13 empty] | 0
Schedule 32 | 6 | [13 empty] | 0
Schedule 32 | 6.1 | [6 empty] | YES | [6 empty] | 1
Schedule 32 | 6.2 | [6 empty] | YES | [6 empty] | 1
Schedule 32 | 6.3 | [5 empty] | YES | [7 empty] | 1
Schedule 32 | 6.4 | [10 empty] | YES |  |  | 1
Schedule 32 | 6.4A | [13 empty] | 0
Schedule 32 | 6.5 | [5 empty] | YES | [7 empty] | 1
Schedule 32 | 6.6 | [13 empty] | 0
Schedule 32 | 6.7 | [13 empty] | 0
Schedule 32 | 6.8 | [13 empty] | 0
Schedule 32 | 6.9 | [13 empty] | 0
Schedule 32 | 6.10 | [8 empty] | YES |  |  |  |  | 1
Schedule 32 | 6.11 | [8 empty] | YES |  | YES |  |  | 2
Schedule 32 | 6.12 | [8 empty] | YES |  |  |  |  | 1
Schedule 32 | 7 | [13 empty] | 0
Schedule 32 | 7.1 | [13 empty] | 0
Schedule 32 | 7.2 | [13 empty] | 0
Schedule 32 | 7.3 | [13 empty] | 0
Schedule 32 | 7.4 | [13 empty] | 0
Schedule 32 | 7.5 | [13 empty] | 0
Schedule 32 | 7.6 | [13 empty] | 0
Schedule 32 | 7.7 | [13 empty] | 0
Schedule 32 | 7.8 | [13 empty] | 0
Schedule 32 | 7.9 | [13 empty] | 0
Schedule 32 | 7.1 | [13 empty] | 0
Schedule 32 | 7.11 | [13 empty] | 0
Schedule 32 | 7.12 | [13 empty] | 0
Schedule 32 | 7.13 | [13 empty] | 0
Schedule 32 | 7.14 | [13 empty] | 0
Schedule 32 | 7.15 | [13 empty] | 0
Schedule 32 | 7.16 | [13 empty] | 0
Schedule 32 | 7.17 | [10 empty] | YES |  |  | 1
Schedule 32 | 8 | [13 empty] | 0
Schedule 32 | 8.1 | [13 empty] | 0
Schedule 32 | 8.2 | [13 empty] | 0
Schedule 32 | Definitions | [5 empty] | YES | YES | [6 empty] | 2
Charging Methodology CPs Legal Text Overlap Tracker

## External Activities
Subject | Sub-topic | Overview | Milestones/Progress | Milestones/Progress
| Distribution Use of System (DUoS) SCR | SCR objectives include but is not be limited to the following issues: 1) A review of the charging methodologies for Extra-High Voltage (EHV), as well as High Voltage/Low Voltage (HV/LV) 2) The balance between usage-based and capacity-based charges, as well as charges that could vary by time-of-use 3) Improvements to signals about how network costs and benefits vary by location 4) Improved predictability of charges for EHV users 5) The potential need for mitigating measures such as a basic charging threshold to protect small users (and vulnerable customers) from sharper charging signals | Area of development Detail Principles based topics 1 Updated case for change • Current shortcomings of DUoS methodology + Desired key outcomes of DUoS reform + Alignment with other charging reforms + Alignment with relevant wider market reforms + Consideration of interactions with the delivery of a net zero electricity system 2 Principles and trade-offs in network charging • Understand trade-offs in network charging principles + Prioritise and fully understand how options serve various principles 3 Role of DUoS in the emerging energy system (including decarbonisation) • Reference cases we want to test options against – both in terms of market arrangements and future energy scenarios + The size of the signal we have at our disposal to induce behavioural response 4 What signals to send and to whom? • What signals to send and the way that those signals are passed on to users of the network 5 Distributional impacts, vulnerability, and fairness • How big a signal are we willing to send + What are the distributional impacts and are there particular consumer archetypes we need to pay attention to Technical topics 6 Outstanding issues from phase 1 Access SCR reforms • Reviewing and assessing locational signals removed from connection charges + Ensuring DUoS arrangements are compatible with new non-firm/time-profiled access rights 7 Linkages to flexibility • How DUoS works in practice in enabling and achieving the benefits of flexibility, sitting alongside other signals/mechanisms + Linkages with wider full-chain flexibility work 8 Choice of cost model • What cost model is appropriate at each voltage level considering path dependency and future adaptability + Addressing the boundary distortion between EHV and HV/LV created by the current methodologies 9 Locational granularity • How the cost models need to evolve and developing options for introducing more locational granularity 10 Charge design/cost allocation • Based on the above technical choices what is the appropriate way to charge customers + Balance between usage-based and capacity based charges On 25 February 2022 Ofgem published their Decision (https://www.ofgem.gov.uk/publications/distribution-use-system-charges-significant-code-review-launch) to take forward the reform of Distribution Use of System charges under a separate Significant Code Review on revised timescales. Following consultation in November 2021, Ofgem decided to descope the wide-ranging review of Distribution Use of System (‘DUoS’) charges from the current Electricity Network Access and Forward-Looking Charges Significant Code Review (‘Access SCR’) and take it forward under a dedicated DUoS SCR with a revised timescale. This decision retains the overall objective of DUoS reform from the Access SCR - to ensure electricity networks are used efficiently and flexibly, reflecting users’ needs and allowing consumers to benefit from new technologies and services while avoiding unnecessary costs on energy bills in general. The DUoS SCR will directly mirror the scope of the DUoS review set out in the original Access SCR. This would include but not be limited to the following issues: - A review of the charging methodologies for Extra-High Voltage (EHV), as well as High Voltage/Low Voltage (HV/LV) - The balance between usage-based and capacity-based charges, as well as charges that could vary by time-of-use - Improvements to signals about how network costs and benefits vary by location - Improved predictability of charges for EHV users - The potential need for mitigating measures such as a basic charging threshold to protect small users (and vulnerable customers) from sharper charging signals | 8 November 2022 - Open Letter regarding Prioritisation of Electricity Network Charging Reforms A letter was published that sets out Ofgem’s approach to prioritising work on electricity network charging and connections over the coming months. It covers how Ofgem will deploy their teams to focus on areas most likely to protect consumers this winter and where Ofgem have slowed the delivery of some longer term policy work which they look to resume as soon as they are able to. Update 31 October 2023 – CFF Distribution Charging Reforms (key points) Ofgem have restarted DUoS reform work. During the CFF session, Ofgem shared some initial areas of interest and provided a space for industry to feed in its views on these areas. Amidst their ongoing conversations with stakeholders across industry, Ofgem have identified a shortlist of reforms to DUoS arrangements that they hope will ensure the arrangements are fit for purpose and fully support the energy transition. In the near term, Ofgem will examine: • Issues with the stability of EHV charges; and • The costs and benefits of DUoS credit arrangements for generation. In the longer term, Ofgem will focus on: • Inconsistencies in charging signals depending on voltage and location of connection across T&D; • The locational and temporal granularity of the DUoS charges at all levels; and • How costs are allocated between the residual and forward-looking charges. Ofgem are also considering: • Some work on future-proofing the IDNO model; and • A post-implementation review of our residual reforms CFF Held in March 2024 - DUoS charging reform – update on prioritisation of reform options Near term now = • Issues with existing CDCM and EDCM related to negative residuals •A framework for a longer term reform of DUoS charges Near term Long term now = • Inconsistencies in charging signals depending on voltage and location of connection across T&D •The locational and temporal granularity of the DUoS charges at all levels Current plan Q1 - Q2 2024 - Issue discovery - Work with ENA & DNOs to understand problems - Publish notes providing detail & obtain feedback from industry - Assess options - Aim: informal consultation on options Q3 – Q4 2024 - Review feedback - Aim: minded-to position on solution for 2026/27 charges
| HH Settlement | Elexon presented a paper to April 2019 DCMDG outlining options for target operating models | Preferred TOM chosen Aug 2019. A Code Change Development Group (CCDG) has been set up to ensure that any required changes to the codes are managed and co-ordinated accordingly. DCUSA has representation on this group. Update provided to the DCMDG by Ofgem and Elexon at the November 2020 meeting. Ofgem published their decision document on the 20th April 2021. The key messages relating to the impact on DCUSA were: • Code change and detailed design recommendations delivered – April 2022; • Smart Meters Act powers enabled – May 2022 • Code changes delivered to industry codes (including Balancing & Settlement Code (BSC), Smart Energy Code (SEC), Retail Energy Code (REC), DCUSA and Connection and Use of System Code (CUSC)) – Nov 2022. Ofgem published a consultation document on the Implementation and Governance Arrangements on the 23rd April 2021. The key areas are: • Producing a set of detailed obligations to be included in the BSC, and to other affected codes. These obligations would apply to all programme participants and relevant code bodies and will require them to comply with the MHHS implementation; and • Publish a decision document on the issues covered by the consultation: the code and licence obligations to be placed on parties to ensure compliance; the governance and assurance arrangements for implementation; (i) new governance structure to be in place by September 2021; (ii) CCDG to form part of the Design Authority; (iii) the establishment of a Cross Code Advisory Group. This group will bring together representatives from the BSC, SEC, REC, DCUSA and CUSC to ensure that there is confidence in the end-to-end approach and design, and that all code change activity is planned and executed in a coordinated and complementary way; (iv) a Programme Party Coordinator. This service will be procured by the Elexon programme and will be responsible for working with programme parties to ensure that they are on track with what they have to do for MHHS Implementation; and (v) an Independent Assurance Provider. This role will be procured by Ofgem and contract managed by the Elexon programme; and the circumstances in which Ofgem may play a further role in implementation. It is anticipated that these decisions will be made in summer 2021 with the changes coming into effect in autumn 2021. The closing date of the consultation is the 25th June 2021. Update courtesy of Cornwall Indight: On Wednesday 11 August, Ofgem published its decision on the implementation and governance arrangements for Market-wide Half Hourly Settlement (MHHS). Obligations will be placed on parties to comply with the implementation through authority-led code changes. The regulator is progressing as intended with majority of the proposals from the consultation with the decision outlining the governance framework and decision-making apparatus of MHHS, as well as a set of assurance principles to be met by the independent programme assurance provider. One key change is that, following stakeholder feedback, the exercise to rebaseline the transition plan will now be undertaken by the Senior Responsible Owner in Spring 2022 rather than October 2021 as originally proposed. On the same day, Ofgem issued its direction to modify the DCC’s licence that will require it to comply with MHHS implementation provisions in the Balancing and Settlement Code. Implementation of these provisions will be on 6 October 2021. 2021/22 Ofgem Forward Workplan indicates the following: Q1 – Publish full business case Q2 – Consult on implementation governance and obligations Q2 – Decide on implementation governance and obligations Q3 – Make code and licence changes as necessary | Baselined MHHS Implementation Timeline V1.0 Issued following PSG approval of CR022 on 8 Jun 23 M6 = Aug-24 (Code change and detailed design recommendations delivered) M7= Nov-24 (Smart Meters Act powers enabled) M8= Mar-25 (Code changes delivered) M9 = Oct-23 (System Integration Testing Start) M10 = Mar-25 (Central systems ready for migrating MPANs) M11 = Apr-25 (Start of 18 month migration for UMS/Advanced) M12 = Apr-25 (Start of 18 month migration for Smart/Non-smart) M13 = Mar-25 (Load Shaping Service switched on) M14 = Mar-26 (All suppliers must be able to accept MPANs under the new TOM (one way gate)) M15 = Oct-26 (Full transition complete) M16 = Dec-26 (Cut over to new settlement timetable) M16* = May 27 (Cutover to New Settlement timetable – Latest Cutover)
Ofgem/BEIS workstreams | Energy Code Review | Industry has been critical of the exisiting system of Codes and Code Governance, pointing out that it is slow, reactive, overly complex, resource-intensive, lacking coordination and fragmented. As a result, there is a growing industry consensus that action is necessary in order to create a regulatory framework capable of delivering the changes that will be required to move to a clean, smart and consumer led energy system, in line with the Industrial and Clean Growth Strategies. | Government and Ofgem launched a joint comprehensive review into the codes which govern the energy system. The aim of the review is to consider options for improving the existing arrangements, including scope for fundamental reform. Published 22 July 2019 - Energy Codes Review Consultation Government and Ofgem are seeking views on changes proposed to the energy codes governance framework. Many of the detailed rules that facilitate the gas and electricity markets are set out in ‘codes’ or rules governed by industry-led processes and overseen by Ofgem. These rules need to adapt much more rapidly to enable the transition towards a more flexible energy system with net zero emissions, while minimising costs and protecting consumers. Reforming the code governance framework could therefore better facilitate strategic changes in the sector, unlocking innovation and significant benefits to consumers. This joint Ofgem and BEIS consultation seeks views on their proposals for reforming the code governance framework.The consultation closes at 11:45pm on 16 September 2019 Energy codes review workshops September 2019 BEIS and Ofgem will hold 2 identical workshops on these proposed reforms on Monday 2 September and Wednesday 4 September. A webinar may also be held in the same week if there is enough interest • 2021/22 Ofgem Forward Workplan indicates the following: Activity: Energy Codes Review - With BEIS, carry out a second energy codes consultation - Begin to implement energy codes reforms Activity: Engineering standards 6 April 2022 The Government provided its response to the consultation on Energy Code Reform and the following is an overview of their d6 April 2022 the Government provided its response to the consultation on Energy Code Reform and the following is an overview of their decisions: Government has decided to implement preferred option (Option 1), where Ofgem will be given new strategic code functions, including the ability to establish and regulate (via licence) one or more code manager(s). For the sake of regulatory and legislative simplicity, this decision will result in an expansion of Ofgem’s existing functions rather than the creation of a distinct entity known as the ‘strategic body’. This means that the strategic code functions will constitute new roles for Ofgem, rather than a new body that Ofgem is taking on. | 14 December 2022 - Energy Code Governance Reform Call for input Ofgem issued a call for input following the government response on Energy Code Reform published in April 2022. Ofgem are seeking initial views from all interested stakeholders on potential code consolidation as part of Ofgem’s approach to implementing the reforms. They were also seeking views on the content of the code manager licence conditions, and the role of stakeholders in the new governance framework. Alongside the call for input Ofgem published an independent report on potential code consolidation options prepared by Cornwall Insight in April 2022. This report was commissioned by Ofgem to assess a range of high-level options for code consolidation which are discussed further in the call for input. 30 January 2024 - Consultation on the implementation of energy code reform - Response deadline: 23 April 2024 Section 2: Designation of codes and central systems This section recaps on the scope of code reform and sets out which codes and central systems Ofgem intend to recommend the Secretary of State should designate as “qualifying documents” and “qualifying central systems” for the purposes of the use of the transitional powers conferred to Ofgem by virtue of Schedule 12 of the Act. Section 3: Code consolidation This section sets out Ofgem’s approach to assessing a shortlist of code consolidation options and presents their preferred options. This section should be read in conjunction with the accompanying draft impact assessment, which they published alongside the consultation, where they set out further detail on the quantitative and qualitative analysis used to inform these proposals. Section 4: Strategic direction This section sets out Ofgem’s proposed approach to implementing their Strategic Direction Statement (SDS), including proposed process and timings. Section 5: Code governance arrangements March 2024: Energy Code Reform: Joint DESNZ/Ofgem Consultation on Code Manager Licensing and Secondary Legislation Closing date: 5 May 2024 The document is ordered into chapters, each of which covers one primary policy area and contains our related proposals and a set of questions that we seek your views on. The final two chapters provide an overview of planned next steps and a recap of all the consultation questions. The policy chapters are as follows: • Chapter 1: Code manager licence • Chapter 2: Not-for-profit requirement • Chapter 3: Setting code manager budgets • Chapter 4: Code manager funding and cost recovery • Chapter 5: Code manager incentivisation • Chapter 6: Conflicts of interest and independence • Chapter 7: Financial and operational controls • Chapter 8: Code maintenance and modification • Chapter 9: Code manager selection DCUSA Ltd has responded to this consultation This section sets out Ofgem’s proposed approach to establishing the role of Stakeholder Advisory Forums. It includes Ofgem’s proposal to create a workgroup to help them identify what an updated code modification process should look like. Ofgem also explain their intention to review the existing code objectives, and harmonise the code modification prioritisation processes under the existing arrangements. Section 6: Transition This section sets out Ofgem’s proposed approach to transitioning the codes to the new governance framework. It presents and seeks views on Ofgem’s proposal to phase the transition. Ofgem also set out an indicative order in which Ofgem have proposed to transition the codes to the new arrangements (subject to decisions on code consolidation).
| Connections Reform | Proposed objective, outcomes and principles for reform Ofgem's objective for connections reform is to see electricity connection offers with shorter average connection dates which better meet customers’ needs and enable a timely transition to net zero. This should be part of a transparent and auditable process, underpinned by standardised and accessible data. This objective is underpinned by Ofgem's principal objective to protect the interests of current and future GB energy consumers (and their other statutory duties). It is also guided by Ofgem's Consumer Interests framework and strategic priorities, by ensuring connections arrangements are fit for the future and support a timely and efficient transition to a secure and resilient net zero future system, in line with government decarbonisation and energy security objectives. | Ofgem have identified a set of reform outcomes which they consider are key to delivering their aims for connections arrangements and will continue to consider any potential for more specific supporting target outcomes or indicators of success and welcome stakeholder views: • Transparent, consistent data giving applicants advance, granular insight into expected grid capacity and level of network investment needed – to equip parties across the system with information on when and where is optimal to connect, enabling streamlined, well-informed applications. • More robust connection applications, enabling well-progressed projects to proceed – to ensure well-developed connection projects, including new technologies and business models, can deliver when ready and are not unduly delayed by projects which are not ready to proceed. • Reforms deliver improvements swiftly, enabling shorter average connection dates to be offered to customers – at both transmission and distribution, to meet net zero pathways for a secure, resilient low carbon system, through improved connection processes and planning assumptions and approaches. • Greater coordination and consistency across system boundaries, supporting more consistent outcomes and efficient and coordinated approaches - particularly across transmission and distribution, and to support the planning of network expansion and efficient use of network capacity on a whole systems basis. | Short-term action (2023): Ofgem will continue to work with and challenge the network companies, ESO and industry stakeholders to drive forward targeted measures at pace to address key issues. These improvements are being progressed primarily by two industry bodies: the Energy Networks Association (ENA) and the Electricity System Operator. Their work programmes (covering both distribution and transmission) are taking forward initiatives that include better connections queue management and improved network modelling assumptions underpinning connection offers. More detail on these initiatives can be found in Annex B and in associated industry updates. Ofgem are pushing forward this work, providing regulatory guidance and direction, to ensure rapid and material progress and expect that these targeted improvements will deliver tangible benefits to customers, removing projects which are not progressing from the queue, improving connection dates and enabling shovel-ready projects to connect ahead of those who may not be. At distribution, initial proposals on queue management have the potential to remove over 1GW of older projects in the connections queue and bring forward connection dates for up to 6GW capacity, while other initiatives are expected to bring additional benefits. Ofgem confirm their explicit support for Distribution Queue Management at Annex D of the letter. Ofgem are monitoring the impact of these changes closely to determine the extent of further interventions needed. Medium-term improvements (now – 2025): While targeted near-term measures should deliver swift improvements, Ofgem expect industry initiatives, with support from Ofgem and government, to consider wider reform options across transmission and distribution. The ESO’s Connections Reform Project and the ENA’s Strategic Connections Group are working collaboratively to consider the case for change, and exploring options for more substantial reform of connections processes. Ofgem are closely engaged in this important work and will assess the progress made and emerging direction to ensure any gaps are identified, rapid and substantial progress is delivered and any further areas for reform can be identified. Ofgem will provide regulatory guidance and direction on strategic questions and the emerging direction of reform as needed, informed by their own work to identify the scale and type of reform required to deliver a more fit-for-purpose electricity connections framework. Over this timeframe, Ofgem expect to see a revised connections process alongside wider coordinated improvements to the connections regime, and substantial shifts in the quality and transparency of data available to connecting parties. This, in tandem with the wider work underway to accelerate network investment, will collectively deliver tangible benefits for connecting customers in the shape of earlier connection dates, while ensuring the connections processes keep pace with developments on the system and are fit for the future to manage the changing nature and scale of applications. Longer-term outlook (2025 – 2030+): For the longer-term, Ofgem have stated that they will need to ensure the connections regime and access arrangements develop in line with wider system changes. Wide-ranging energy market and system planning reforms are under consideration on this timeframe: through REMA, the introduction of the Future System Operator (FSO), network charging and access reforms, work on regional system planners (RSPs), and evolving strategic planning approaches. The Electricity Networks Commissioner’s findings on how to accelerate progress on network infrastructure are also anticipated to inform the future direction.
| FSO Implementation | Tracking the ongoing work items associated with the transition to a Future System Operator being led by Ofgem (as part of the wider Energy Bill progressing through parliament) | Original consultation - 20 July 2021 to 28 September 2021 Summary BEIS/Ofgem were seeking views on proposals for the future role, organisational design and phased implementation of a Future System Operator with responsibilities across both the electricity and gas systems. Detail of outcome The government / Ofgem’s response to this consultation sets out a summary of responses, and our key decisions, including the commitment to proceed with the creation of an expert, impartial Future System Operator (FSO). The new Operator will: • have a duty to facilitate net zero while maintaining security of supply, and an efficient, coordinated and economical system • take on all the main existing Electricity System Operator (ESO) roles and the longer-term elements of the Gas System Operator (GSO), enabling more coordinated, strategic and whole systems planning • be a public corporation, inside the public sector, but with operational independence from government • be funded by consumers through price control arrangements regulated by Ofgem, but with the operational freedom to manage and organise itself to effectively deliver its roles and objectives • have a duty to provide advice on request to government and Ofgem to inform key policy decisions • take an increasingly significant role in shaping the energy system, including driving competition across the energy sector The response also sets out our implementation approach to ensure a smooth transition to the new arrangements, and next steps. "Next steps " We set out our next steps for establishing and implementing the FSO below: • Primary Legislation - As set out above, creating the FSO and its associated duties and powers will require primary legislation, which the government plans to introduce when parliamentary time allows. • Secondary legislation, licensing and code amendments - Assuming the primary legislation has been enacted, a limited amount of secondary legislation will be needed in a number of areas. New licensing arrangements will be required to ensure that the FSO is properly licensed and can be funded to undertake its activities, and other industry licences and codes will need to be modified where necessary to take account of the new arrangements, with consultation of industry stakeholders where appropriate. • Discussions with NG Plc, NGESO and NGG - We will continue discussions with the key affected parties to make sure there is a plan in place for smooth transition to the new arrangements, avoiding disruption to the crucial services that NGESO and NGG currently provide. Subject to these discussions and legislation, there will be transactions between government and NG Plc and any other relevant parties, to transfer the relevant elements of their businesses into the FSO. • Engagement with the wider energy industry - We will also engage with industry participants at the appropriate points, to make sure all stakeholders affected by the changes have access to the information they need to prepare for the transition to the FSO. • Elexon consultation – In parallel to the above we also plan on publishing a separate consultation on Elexon ownership that will set out in more detail the options under consideration. We would welcome stakeholder responses to this consultation. We are aiming to deliver as soon as practicable, while maintaining the safety and stability of the energy systems. Depending on a number of factors, including timings of legislation and discussing timelines with key parties, the FSO could be established by, or in, 2024. Government will be working closely with Ofgem to take preliminary steps to smooth the transition. | Call for Volunteers – FSO Codes Change Programme https://www.ofgem.gov.uk/publications/call-volunteers-fso-codes-change-programme Publication date: 2 August 2023 - Closed date: 23 August 2023 Summary In April 2022, Ofgem and the Department for Energy Security and Net Zero (the Department) decided to proceed with the creation of a new, independent Future System Operator (FSO), an impartial, expert body designed to accelerate the transition towards Net Zero, whilst ensuring energy security, and minimising costs for consumers. Ofgem and the Department intend to use provisions of the Energy Bill (once enacted), to consult on and subsequently amend the licencing regime and industry codes, as required for the establishment of the FSO (described in the Energy Bill as the Independent System Operator and Planner or ISOP). We may also decide to use existing powers, or Energy Bill powers, to enact temporary modifications to industry codes and licences to progress necessary updates to industry codes, contracts and systems. This Call for Volunteers invites expressions of interest from industry stakeholders who would like to participate in a dedicated Cross-Code Workgroup (CCWG) to develop the industry code modifications required for the establishment of the FSO. Centralised Strategic Network Plan: Consultation on framework for identifying and assessing transmission investment options https://www.ofgem.gov.uk/publications/centralised-strategic-network-plan-consultation-framework-identifying-and-assessing-transmission-investment-options Publication date: 28 July 2023 - Closing date: 25 August 2023 In November 2022 we published our Decision on the initial findings of our Electricity Transmission Network Planning Review, which set out that the Future System Operator (FSO) should deliver a new transmission network planning output called the Centralised Strategic Network Plan (CSNP). In June 2023 we published our consultation on the first stage of the CSNP regulatory framework development setting out how we expect the FSO to model future supply and demand (currently the Future Energy Scenarios (FES)) that will inform future network investment need in the CSNP. This consultation addresses how the FSO may identify and assess a range of options to address electricity transmission network needs as part of the CSNP. Statutory consultation on the temporary facilitative licence condition to support the implementation of the Independent System Operator and Planner Publication date: 12 April 2024 > Closing date: 10 May 2024 https://www.ofgem.gov.uk/consultation/statutory-consultation-temporary-facilitative-licence-condition-support-implementation-independent-system-operator-and-planner
| Ofgem/BEIS Smart Systems and Flexibility Plan | Plan is to remove barriers to smart technologies (including storage), enabling smart homes/businesses, and making markets work for flexibility. | Published Jul-17; periodic udpates ongoing. Update 06/02/2020: Work is progressing more rapidly now. A statutory consultation on electiricty generation storage was published last year and there is a proposed licence condition (E1) that is looking at providing storage information. Ofgem plan to publish their decision on this licence condition in Spring 2020.
Other industry workstreams | Electric Vehicles | A new group will be set up comprising of OLEV(Office for low emission vehicles)/BEIS/ENA/NG. It will review issues associated with rapid uptake of Evs and forecasts of EV growth up to 2050. | EV Energy Taskforce was launced on 14 January 2020 and a report was published to set out five key themes: 1 - Delivering consumer benefits through interoperability; 2 - Rewarding consumers for charging smartly; 3 - Utilising and protecting data for better consumer outcomes; 4 - Winning consumers' trust and confidence; and 5 - Developing and maintaining the charging infrastructure consumers need. DCP 420 'To Include Car Charging Stations In The Definition For Non Final Demand' is currently in progress.
| ENA Consulatation on Electricity Network Innovation Strategy | As a part of the Transmission and Distribution Licences, the Electricity and Gas Networks are required to produce a joint innovation strategy. ENA will be coordinating the development of these strategies on behalf of the Electricity and Gas Networks. | The consultation was issued in November 2019 and is now closed. An innovation strategies workshop was held at ENA offices on 22 January 2020 to review next steps. An updated Electricity Innovation Strategy document has been published and can be found on Energy Network Association's website.
| Dieter Helm cost of energy review (government to respond) | Professor Dieter Helm CBE was asked by the Government as part of the Industrial Strategy Green Paper in August to consider the whole electricity supply chain of generation, transmission, distribution and supply. Professor Helm has looked at how the energy industry, Government and regulators can continue to deliver secure, affordable power, while ensuring the UK meets its domestic and international climate targets, published August 2017. The government intends to seek views from industry (and wider). A partial response from Greg Clark was published in late 2018. In it he announced a set of fresh principles to govern his department's approach to the energy sector and announced plans for a new Energy Bill in 2019. | The Dieter Helm work is with BEIS.
| European Renewable Energy Directive | A proposal for a Directive of the European Parliament and of the Council on the promotion of the use of energy from renewable sources. The proposal is looking at whether it is appropriate to allow for the development of decentralised renewable energy technologies and storage under non-discrimatory conditions and without hampering the financing of infrastructure investments. | The Renewable Energy Directive was passed. Industry is currently obliged to implement it and the responsibility rests with BEIS. However, there will need to be consideration of the UK's deal with Europe.
| BEIS Call for Evidence on Electricity Licence Exemptions | The reasons given for the review are; - a recognition that the wider energy market has developed since the legislation underlying the exemptions regime came into effect. For example, there is now much more decentralised, low carbon energy and there is likely to be more in the future. - new organisations offering energy flexibility services to consumers and businesses, through electricity storage and growing numbers of smart appliances and electric vehicles, will form a key part of the energy system. The review will therefore identify whether changes are needed to ensure the exemptions regime functions appropriately for current and future energy markets - Net Zero and - ensuring all market participants pay their fair share of policy and network costs. | Closing date for responses was 01 March 2021 https://www.gov.uk/guidance/electricity-licence-exemptions July 2023: Call for evidence on electricity licence exemptions On 24 July 2023 we published a summary of responses to the call for evidence on electricity licence exemptions, which opened in October 2020 to support a review of the exemptions regime. It asked a range of questions with the objective of: • increasing government’s knowledge of the exempt sector • providing a better understanding of what changes might be required to align the exemptions regime with current and future market features and broader policy goals We will take into consideration all responses to it when developing possible options for the future.
New Items | Ofgem letter on strategic transmission charging reform | This letter on strategic transmission charging reform sets out our initial thinking on the future role and design of electricity transmission network charging and why reform may be required. | Open letter on strategic transmission charging reform : https://www.ofgem.gov.uk/sites/default/files/2023-09/Open%20letter%20STC_110923.pdf Publication date: 11 September 2023 > Response deadline: 15 November 2023 This letter on strategic transmission charging reform sets out Ofgem's initial thinking on the future role and design of electricity transmission network charging and why reform may be required. Ofgem consider these issues in the context of fundamental system change and policy reform, such as that being considered as part of the government’s Review of Electricity Market Arrangements. Ofgem welcome stakeholder engagement on their initial thinking and to facilitate this, have set out some questions where they would particularly welcome stakeholder input. Questions for stakeholder feedback: - Do you agree with the need to consider the future role and design of transmission charges in light of system changes and developing policy reforms? Which of these policy areas do you deem as more or less material? - Are there other reform programmes not considered here that are likely to have a material bearing on the future role and design of transmission charging? - Do you see reasons to alter our current view not to design transmission charges to send dynamic operational signals for generation and demand in the longer-term? - In addition to those described above, what would be the other key characteristics of a future design, for the transmission charging framework, to enable its effective incorporation into investment decisions so as to achieve cost-effective net zero? - Are there other key drivers that should be factored into the transmission charging framework? Which of these drivers do you see as most important? - Do you have any views on which of these approaches would be more effective, considering the energy transition? - Do you agree that TNUoS charges should reflect planned future network conditions rather than actual network conditions? - Do you agree that the frequency of reset should be longer than ‘real-time’, to ensure an effective investment signal can be sent? - Have you any views on how trade-offs between predictability and cost-reflectivity in considerations of how frequently network charges should be reset should be managed? • How should the distinct characteristics of storage assets be reflected in their treatment in network charging, to encourage optimal investment outcomes across the large storage development pipeline? • Within the range of storage assets, what distinctions should be taken into account in the charging approach? • To what extent should transmission charges send locational signals to large demand users of the network? • What level of locational variation in charging is appropriate, for smaller demand users who are not generally expected to change siting decisions based on the signal? • If there are significant increases in the costs recovered through the residual charge, should alternative charge designs be considered? • Should transmission network charges play a role in encouraging households and small businesses to make efficient investments in low carbon technologies? • How should charges for large generators and large demand users at different voltages account for the increasing proportion of distributed generation and the changing nature of network flows? • Should there be greater alignment of charging obligations and methodologies for transmission- and distribution-connected assets, to encourage efficient connection voltage choices by generation and storage assets? - What are your views on the potential implications of market reform and system planning outcomes on the benefits of different long-term transmission charging options? - Should locational signals from transmission charges be adapted where costreflective charges conflict with other policy goals and electricity market signals? | 20 March 2024 > Open letter on strategic transmission charging reform: a summary of responses https://www.ofgem.gov.uk/publications/open-letter-strategic-transmission-charging-reform-summary-responses The document provides a high-level summary of the views that were expressed and Ofgem's intended next steps. Insights from stakeholder responses made it clear that: • there is widespread recognition of the need for well-informed transmission charging reform. • there is a common understanding or preference that transmission charging: o is not the best mechanism to send operational signals. - - o will best enable transmission investment if it is predictable. - - o should align with future network planning, and include fixed multi-year charges and longer resets aligned with those of other network plans. • investment signals for generation remain polarising. • a distinct investment signal for storage will need to consider the distinct. characteristics of storage assets to be effective. • many prefer locational signals targeting those capable of responding. • large demand users want effective and fair locational signals. • significant increases to residual charges should lead to a well-considered redesign. • there is concern around transmission charges being used to encourage smaller users to invest in low carbon technologies. • there is support for a move away from voltage, and toward greater alignment between transmission and distribution charging obligations. • there is opposition to transmission charges signalling network constraint costs. • wider reforms are expected to impact the efficiency of transmission charge signals, and there is support for transmission charges to be strategically framed with wider market signals to best enable investment Next steps Ofgem will utilise the feedback gathered here to inform and support future policy development. They will: • Work closely with the Department for Energy Security and Net Zero (DESNZ) and ESO as part of REMA to consider the future role of transmission charging and the interactions with possible wider reforms to market design, including changes to access rights, dispatch arrangements, renewable support mechanism and locational wholesale pricing. • Continue to engage with industry through regular updates on Strategic Transmission Charging work through the Charging Futures Forum. This will aid us to conclude whether long-term network charging reform is required and support a robust assessment of the potential options and associated regulatory questions, to determine whether there are solutions that could help the efficiency of the GB energy system, bringing benefits to consumers.
| Open letter on regulatory arrangements for IDNOs | In light of the evolving nature of the LDNO arrangements, and the recent developments relating to serving EHV customers and connecting directly to the transmission network in particular, Ofgem are considering a review of the benefits of competition from LDNOs in EHV connections (including those directly to the transmission network). | Open letter on regulatory arrangements for independent distribution network operators https://www.ofgem.gov.uk/publications/open-letter-regulatory-arrangements-independent-distribution-network-operators Publication date: 19 October 2023 Response deadline: 01 December 2023 In this letter Ofgem outline some recent developments in the activities of independent distribution network operators (IDNOs). These developments have contributed to Ofgem’s view that the benefits of competition from IDNOs in extra high voltage (EHV) connections (including those directly connected to the transmission network) may need to be reviewed. Ofgem have published the letter now to signal to relevant parties that they are considering reviewing these arrangements. Ofgem also invite views from stakeholders on these developments ahead of initiating any review. Potential upcoming review of regulatory arrangements In light of the evolving nature of the LDNO arrangements, and the recent developments relating to serving EHV customers and connecting directly to the transmission network in particular, Ofgem are considering a review of the benefits of competition from LDNOs in EHV connections (including those directly to the transmission network). While Ofgem note some of the benefits that the LDNO regime has brought, they consider that a consideration of these benefits now could be timely. The regime was originally introduced around 20 years ago and the energy system has changed radically since then and continues to evolve as we move towards Net Zero. Indeed, their original decision on the regulation of LDNOs indicated their intention to consider regulatory arrangements from 2016 onwards, in 2011. The full scope of any such review is yet to be determined, and will be informed by the responses received to the questions at the end of the letter. Ofgem have issued the open letter to alert parties, in particular current and prospective LDNOs and their EHV customers, that the existing regulatory arrangements may evolve to reflect the changing role of LDNOs. This was always Ofgem’s intention when setting up the regime and it means that any arrangements in place now may not be enduring. Ofgem would seek to ensure that any such review improves arrangements in terms of their principal objective and statutory duties. Ofgem have said that they are also aware of the value of innovation and competition in seeking to meet government’s ambitious Net Zero targets. Ofgem will communicate further on this matter in due course. In the meantime, they would welcome initial thoughts on the questions below. Questions 1. What do you consider to be the pros/cons of IDNOs connecting EHV customers embedded within distribution networks? 2. What do you consider to be the pros/cons of IDNOs connecting directly to the transmission network? | 21 March 2024 - Response to open letter on regulatory arrangements for independent distribution network operators In this document we summarise the responses to our October 2023 open letter on regulatory arrangements for independent distribution networks operators (IDNOs) and outline next steps. That open letter signalled some concerns we had with the current arrangements, particularly for extra high voltage (EHV) connections. We acknowledge the benefits of IDNO connections at EHV, but consider that regulatory arrangements should be clarified given EHV activity was not originally envisioned for IDNOs when the arrangements were set up. In light of responses to the open letter, we are prioritising clarifying arrangements for EHV charging for IDNOs both embedded in a distribution network and for those directly connected to the transmission network. We want to act swiftly to address key areas of uncertainty, so the initial focus of our review will be targeted on EHV: • Examining options to make EHV charging more transparent, and • Clarifying charging arrangements for IDNOs connecting to the transmission network, particularly for the recovery of residual costs. Our open letter and Draft Forward Work Programme sought views on a possible wider review of the regulatory framework for IDNOs. The responses to the open letter and Draft Forward Work Programme will help inform the scope of on any wider review. The remainder of this document provides key background, summarises the responses and explains how we reached these conclusions. The annex includes a summary of responses to the two specific questions we posed. We have published non-confidential responses alongside this document.