DCP 442 ‘Aligning enduring flexible connections’

Action 01/01: Arguments for and against the proposal (solution as proposed only)

| For | Against |
| --- | --- |
| - Removes distortions between Flexible Connection and a Curtailable Connection; the latter is not always available to a Customer of the former. - Better supports efficient network development: otherwise risks inefficient Net Zero delivery. - A Curtailable Connection is principally intended to facilitate a quicker connection prior to Reinforcement being completed. A Flexible Connection is already an effective and efficient enduring arrangement. - A bespoke forecast of curtailment can be provided by the DNO/IDNO Party regardless (likely more accurate than the Curtailment Limit). - Addressed impracticalities. A Curtailable Connection requires lifetime management by a DNO/IDNO Party including quarterly reporting to the Customer. A Flexible Connection can largely be ‘fit and forget’; but network ‘access’ may be the same. - The practical concern that enduring Curtailable Connections may drive higher utilisation costs for Distribution Flexibility Services risk impacting market liquidity – network operators must monitor procurement costs which in turn impact the Exceeded Curtailment Price. - Addresses ‘fairness’ issues including risk of ‘free-riding’ and on an ‘unlevel playing field’. Mitigates increased cost socialisation. - Removes opportunity to avoid network costs triggered by a connecting party; where the majority of Reinforcement is paid for by the DNO Party and recovered through Use of System Charges already. - Retains the protection of the High-Cost Project Threshold to DUoS customers at large from disproportionate Reinforcement costs relative to capacity requirements. An eligible Customer can choose to not pay this and opt for an enduring Curtailable Connection instead; whereas a Curtailable Connection that converts to a Non-Curtailable Connection cannot avoid such costs. - Addresses principle issues regardless of proportionality. | - Removes protection for the Customer via the Curtailment Limit and potential annual payment. A Customer is more likely to accept enduring ‘access’ that can be constrained by the DNO/IDNO Party when the risk is better defined. This may impact the transition to Net Zero. - Paying a Customer with an enduring Curtailable Connection (that may have refused to contribute to the cost of Reinforcement) may never happen. - There are a small number of Curtailable Connections (time limited or enduring) which may limit the benefit. - Further, a Customer may be more likely to want a Curtailment End Date, and therefore convert to a Non-Curtailable Connection (the Access SCR Decision resulted in the cost of Reinforcement generally being socialised). - The accuracy of the Curtailment Limit is a direct output of the provisions of DCUSA Schedule 2D – and could therefore be brought into line with a forecast of curtailment. - A flexible connection is not as transparent to the customer because the DNO/IDNO is not obligated to provide the same level of curtailment related information to the customer. - The impracticality concerns, specifically the enduring appropriateness of the Curtailment Limit (i.e. reflecting changing network conditions), may be more weighted towards import constraints. - Triggering Reinforcement not paid for by the Customer of an enduring Curtailable Connection could be viewed as economical: an assessment would be carried out to determine if it is more economical to Reinforce or procure Distribution Flexibility Services. |

DCP 442 ‘Aligning enduring flexible connections’

Action 01/02: Options assessment (relative to the baseline for options 2-4)

| Option | For | Against |
| --- | --- | --- |
| - As proposed (enduring Flexible Connection only) | - Removes distortions between the types of flexible connection. - More efficient network development. - Does not affect the principal purpose of a Curtailable Connection. - Retains an enduring type of flexible connection (which may impact the Customer exactly the same). - Addresses impracticalities. - Addresses ‘fairness’ issues. - Addresses principle defects. - Simple. - Transparent. | - Removes Customer protections. - Issues may be manageable at least in the short-term. - The wider Access SCR Decision means that it is more likely that a Non-Curtailable Connection is desirable (but it is understood that offers have been made (and accepted) for an enduring Curtailable Connection. |
| - Enduring Curtailable Connection at DNO/IDNO Party discretion | - Retains Customer protections, albeit applied at DNO/IDNO Party discretion. - Potential for discretion to only apply if proportionality becomes primary concern. - Could focus on main driver of issues e.g. if managing import curtailment is more likely to lead to ‘free-riding’, it could be offered to manage export curtailment only. | - Promotes inconsistency in application and benefit realisation. - Could drive inconsistencies between types of connection and/or across networks. - Lacks transparency unless it when and if an enduring Curtailable Connection will be offered by each DNO/IDNO Party. - Does not address the principle issues. |
| - Time-limited enduring Curtailable Connection (converts to a Flexible Connection) | - Retains Customer protections for a prescribed period of time. - Simple (not as simple as option 1). - Addresses the issues identified by DCP 442 to a certain point in time. | - Creates a new boundary. - Challenge to define what an appropriate time is? - Does not addresses the issues identified by DCP 442 until a certain point in time. |
| - Curtailment Limit(s) refreshed periodically by DNO/IDNO Party | - Retains Customer protections. - Ensures the Curtailment Limit(s) continue to reflect network conditions as they evolve. - Simple (not as simple as option 1 – or likely option 3 either). | - Mostly fails to deliver all benefits of option 1: addresses only part of the impracticality issues. - Customer may object to the revised Curtailment Limit(s). - How often is appropriate for a refresh? - Customer may have made a different decision to convert to a Non-Curtailable Connection based on a different Curtailment Limit, which may not be predictable (lacks transparency). |
| - Enduring Curtailable Connection with no Exceeded Curtailment Payment. | - Halfway house – delivers some benefits, but as a Flexible Connection with ‘loose’ Customer protections. - Creates a financial incentive to convert to a Non-Curtailable Connection (in that it would not exist past the Curtailment End Date). - Simple. - Transparent. | - Halfway house – does not address impracticalities nor all ‘fairness’ issues. - A Curtailment Limit with no annual payment for exceedance is, for all intents and purposes, a Flexible Connection with routine reporting obligations. It further blurs lines. |

See differences between a Curtailable Connection and Flexible Connection in paragraph 1.2 for more information.

Delivering Net Zero will likely require every tool in the toolbox, including flexibility, but it will undoubtedly require ‘more’/’bigger’ network to deliver additional capacity. A Curtailable Connection is more likely to be in a part of network where it is more efficient for Reinforcement – to deliver wider societal benefits – than a Flexible Connection. A Curtailable Connection is unlikely to be the network ‘solution’ here; it is primarily intended to connect a Customer quicker rather than duplicate/replace a DNO/IDNO Party investing in the network/procuring market services.

A Flexible Connection is often in lieu of Reinforcement, where it is more practical for the economic development of the network.

See practicality considerations in paragraph 1.9 for more information.

A DNO Party has specified unit costs for deferring Reinforcement. Markets may be influenced by the Exceeded Curtailment Price e.g. it may be questioned why a service provider may accept less than would be paid to the Customer of a Curtailable Connection.

See ‘fairness’ considerations in paragraph 1.10 for more information.

Reinforcement costs are generally fully socialised, and costs associated with exceedance of the Curtailment Limit(s) would also be likely shared with the wider customer-base.

The Access SCR Decision was implemented from 1 April 2023, therefore the number of Curtailable Connections is relatively low. However, volumes will likely increase over time e.g. if offered routinely at a Point of Connection on lower network voltages.

If the Curtailment Limit is exceeded, the DNO/IDNO Party is required to pay the Customer based on the Exceeded Curtailment Price.

However, the Curtailable Connection ‘protections’ do not prevent unlimited constraints enforced by the DNO/IDNO Party. Whilst the DNO/IDNO Party may be liable to pay the Customer, not all curtailment counts toward the Curtailment Limit being breached.

However, reporting obligations are triggered where there is any Curtailment, and network ‘headroom’ is likely to reduce over time.

A forecast of curtailment/Curtailment that can be provided regardless of a Curtailable Connection would therefore be more or as accurate as the Curtailment Limit (but a code modification would be required, and may compromise consistency in application).

However, the Customer would benefit from investment which it may have intentionally avoid contributing to, and the DNO/IDNO Party would retain liabilities for future payment together with all reporting obligations.