| Date Received | Company | Comments |
| --- | --- | --- |
| 28/11/2024 | UKPN | UKPN are supportive of this information being made available and we are aware that proposed changes to the LTDS will bring this about. We are working to make the data available under the LTDS timeframes and so believe that any ECR change should align to those rather than accelerating them. |
| 09/12/2024 | National Grid | Thank you for the opportunity to review and comment on the request to include point of connection (PoC) data in the ECR. While we recognise the potential benefits of providing PoC data and appreciate the efforts to enhance network modelling and streamline the connection process, there are significant challenges associated with this level of detail. Data Volume and Complexity In order for the point of connection to be added to the ECR, a connectivity model of the network would need to be added to the ECR. Incorporating a network connectivity model of the distribution network into the ECR would significant increase the size and complexity of the dataset, which the ECR was not designed to accommodate and therefore would require a complete redesign of the ECR. Data Sensitivity Publishing PoC data raises concerns under Critical National Infrastructure (CNI) guidelines and may inadvertently disclose commercially sensitive information about individual projects or developers. NGED is actively working with other DNOs, Ofgem and DESNZ on the sensitivity of CNI data. Data Maintenance Ensuring accuracy and timeliness of such granular data would require additional resources. As an alternative, we recommend utilising our Network Capacity Maps, which provide detailed insights into network availability and constraints. The availability of this data will be enhanced by the next generation heat maps which will provide detailed feeder or circuit level data of network capacity and constraints in a user-friendly interface using interactive maps with intuitive navigation enabling users to easily assess potential connection sites. In addition, the Stage 2 Phased Implementation Requirements of the latest Form of Long Term Development Statement will require DNOs to provide this data. |
| 10/12/2024 | SPEN | Following careful consideration, SP Distribution plc and SP Manweb plc object to this proposed amendment to the ECR. Whilst it’s not clear of the voltage level being contemplated in the request, for clarity can you confirm that the requestor is looking to gain further information in relation to connected generation sites? If this is the case, then we wonder what is further required than the information that is currently available within LTDS for 132KV and 33KV which is currently available on SPEN’s Open Data portal. We believe the proposed amendment does not provide any advantage to Generators at HV and below and there is little benefit to providing this additional information in the ECR. |
| 10/12/2024 | NPg | Thank you for the change request notice, we are always trying to find ways to find the best ways to serve the data requirements of our stakeholders and appreciate the opportunity for continuous improvement and feedback. This request is very similar in its objectives to a previous change request from Manuel Gomez at RWE in September. Manuel had asked for LTDS Node/Circuit to be included as part of the ECR; the consensus at the time was that the most effective course of action would be to wait until development of the LTDS and CIM projects had progressed further. Once the LTDS has been further developed then the action to link the ECR and LTDS would be addressed within that workflow. Regarding this latest change request, we similarly believe that once CIM is developed this information will be easier to interpret for stakeholders and easier to integrate into the ECR template. Our response would therefore be that any action prior to the development of CIM may be counterproductive as it would be swiftly undone by CIM, we also risk causing confusion as the information from any intermediary solution would be entirely replaced by the information from CIM. We would also require further information before any action could be taken to determine the specific requirement, would they require just the circuit name or the exact POC i.e. the pole number. In summary, we are of the opinion that adding this change to the ECR before CIM or completion of the LTDS development would be counterproductive and may lead to confusion from stakeholders who may have done further analysis using IDs and data that would be entirely superceded and overhauled within a year. However, we are always willing to be flexible to the needs of stakeholders and appreciate that the timeline for LTDS/CIM development has recently been extended due to the technical complexity and scope of the project so whilst we would be open to temporary alternatives, we strongly believe that the best course of action is focussing upon future integration with CIM and the LTDS. I look forward to your response and appreciate your work improving how we disseminate information about our network. |
| 10/12/2024 | ENWL | Thank you for the opportunity to respond to the Change Request Notice ElectraLink received from ABO Energy. Our understanding is that the ECR was conceived to provide the ESO (NESO) with visibility of embedded generation, Demand Side Response and storage to aid balancing within the Capacity Market. Based on the information provided within the Change Request Notice Electricity North West is unsure which voltage level the network model is looking at and whether the ECR is an appropriate place for this data item (OHL POC (Overhead Line Point of Connection)) bearing in mind the DCUSA isn’t viewed as a technical document. Consequently, our initial thought was would the D-Code or the LTDS be a more appropriate home for this data? Is there a link to the previous Change Request Notice covering ‘Long Term Development Statement (LTDS) Point of Connection (POC)’ which is currently on hold? |