DCP 452 CP purpose states “Under the Forward Cost Pricing (FCP) variant of the Extra High Voltage (EHV) Distribution Charging Methodology (EDCM), Connectees which connect direct to a Grid Supply Point (GSP) are deemed not to use any shared network assets but are exposed to forward looking charges/credits for the downstream FCP network group in that location.”

- The methodological change proposed by the CP is to exempt a subset of EDCM demand customers (Category 0000) from the FCP locational charge. The proposed rationale for doing so is that these customers do not use any assets and should not therefore be charged in connection with future reinforcement costs of assets they do not use.

Argument 1

Network group definition in FCP approach

The method to calculate FCP charges for demand customers is described in Annex 1 of Schedule 17 (page 726 onwards).  Paragraph 6.5 on page 755 says "The demand (load or generation) that is considered to be associated with each Network Group is the demand that is connected within the Network Group and also within any lower voltage Network Group that is connected to the source Network Group under Normal Running Arrangements."

Further Figure 8 on page 755 (reproduced below for convenience) sets out an example network to illustrate the distinction between level 1, 2 and 3 network groups.  Importantly, it shows that the GSP busbar (on the distribution side) is part of the level 1 network group.

The only interpretation of this diagram is that a customer where the point of common coupling is at the GSP busbar (0000) is in a level 1 network group and therefore the FCP charges applicable to the network group should apply to those customers in order to be consistent with the FCP EDCM methodology. Stipulating that Category 0000 customers should not be subject to FCP locational charges would cause inconsistency with other customers in the level 1 network group and customers in the Level 2/3 networks groups.

DCP 452 section 1.3 states: ‘Connectees at all voltages in the EDCM and CDCM face forward looking charges/credits in respect of assets upstream of their connection point, up to the GSP. Connectees directly connecting to a GSP under the FCP variant of the EDCM are the only users to be exposed to charges/credits in respect of a downstream voltage, resulting in differential treatment of similar network users, dependent on whether the DNO region uses the FCP variant of the EDCM or the LRIC variant.’

- This statement is not correct. Let look at an example for customers (1000) in the below diagram (extracted from Schedule 17 page 693). Those customers are also within level 1 (same as customer 0000) within same FCP network group. They are also exposed to charges in respect of downstream voltage (Level 2, 3).

Argument 2

Two distinct processes within FCP modelling approach

FCP charge 1 capacity calc. process

One of the basic principles of the FCP methodology is that it is a "zonal" method: it aims to reflect the predicted reinforcement costs of assets within a network "group", rather than of individual assets. This is based on the idea that reinforcement of assets within a zone (or network group) could be triggered by the actions of any customer connected to that network group, and every customer connected to that group potentially benefits from such reinforcement. The costs relating to predicted reinforcement within the group are shared across every customer connected to that group. According to the FCP methodology (see diagram attached below) GSP busbar assets belong in level 1 network groups, and any customers connected to the busbar would be assigned to a level 1 network group.

Network Use Factor calc. process

Importantly it is necessary to distinguish the application of FCP (charge 1calc. process, mentioned above) from the calculation of the customer’s notional site-specific shared network asset value (the value of network assets that are deemed to be used by that customer, other than sole use assets) under section 15 of Schedule 17. This is a completely different approach to FCP.

- The statement in DCUSA Schedule 17 paragraph 15.10 which states that "Category 0000 demand Connectee are deemed not to use any network assets other than sole use assets", is irrelevant to the calculation and application of the FCP charge, because this is about notional site-specific shared network asset values and not about FCP.  Customer categories defined in section 15 do not affect the calculation or the application of FCP charge 1. The FCP methodology does not rely on deemed asset use for any customer.

Argument 3

As the below diagram (extract from Schedule 17 page 672) shows that Load data is the key part of the assessment of future reinforcement cost for the network group. Therefore, any demand growth contribution from any connectees within the network group will contribute to the forecast of reinforcement costs of that network group.

- Let look at an example of a 0000 customer with big demand capacity. If they were exempt from ‘the charge 1 capacity charge’ ( meaning exempt from the network group’s reinforcement  which their  big demand capacity attributes to), the other customers downstream at L2, L3 level but with very small demand capacities, would be unfairly exposed to all the reinforcement cost. In other words, exempting 0000 customers may increase the charge 1 substantially for all other customer categories.