ANNUAL ALLOCATION REVIEW OF NEW FINAL DEMAND SITES INCLUDING THOSE ALLOCATED BASED ON NO RECORDED DATA

- For DNOs/IDNOs:

In accordance with Paragraph 6.10 of Schedule 32, on or before 15 September you need to have provided each Supplier Party (i.e., you should email all Supplier Contract Managers) with a list of each and every MPAN associated with a Non-Domestic Premises that is connected to your Distribution System(s) that has been reallocated to a New Charging Band as a result of the Annual Allocation Review. In doing so, for each applicable site, you need to provide all Supplier Parties with the same data, being:

the MPAN;

the Old Charging Band that the site is currently allocated to;

the New Charging Band that the site will be reallocated to; and

for LVnoMIC, LV MIC and HV, the LLFC ID/DUoS Tariff ID which will apply to the site following the site being reallocated.

To ensure consistency, it is recommended that the data is provided to suppliers using an Excel workbook, which should contain the fields as per the below screenshot for each of the following groupings on separate tabs (as per the screenshot below):

LVnoMIC;

LV MIC;

HV; and

EHV.

It should be noted that you only need to review any Final Demand Sites allocated to a charging band in accordance with Paragraph 4.1(b)(ii), Paragraph 4.2(a)(iii), Paragraph 4.2(b)(ii) and Paragraph 4.2(b)(iii). Please see text highlighted in yellow on the second page for the applicable text from Schedule 32.

For the full requirements on the Annual Allocation Review, please refer to Paragraphs 6.5 to 6.12 of Schedule 32.

| Site Category | Relevant text |
| --- | --- |
| Category 1 – EHV, HV and LV with MIC (i.e., Designated Properties connected at EHV, HV and LV, with a Maximum Import Capacity as the basis for their current Use of System Charge) | 4.1 For Final Demand Sites within the groups identified in Paragraph 1.5(a), 1.5(b) or 1.5(c), each DNO/IDNO Party shall allocate its Final Demand Sites to the relevant charging band based on the following criteria (subject to Paragraph 4.2A): - if 24 months of data is available, the average Maximum Import Capacity over that period; or if not available - allocation to a charging band will be based on the following criteria: - the average of Maximum Import Capacity over that period for which data is available; or - if no such data is available, other available information that is appropriate for a typical profile of a similar site to best estimate the expected demand of the Final Demand Site. |
| Category 2 –LV with no MIC (i.e., Designated Properties connected at LV, without a Maximum Import Capacity as the basis for their current Use of System Charges) | 4.2 For Final Demand Sites within the group identified in Paragraph 1.5 (d), each DNO/IDNO Party shall allocate its Final Demand Sites to the relevant charging band based on the following criteria (subject to Paragraph 4.2A): - for a Final Demand Site that is half hourly settled: - if 24 months of data is available, the average annual import consumption based on metered data over the 24 months; or if not available - when a minimum of 12 months of data is available, the average annual import consumption over the period for which metered data is available; or if not available - other available information that is appropriate for a typical profile of a similar site to best estimate the expected annual import consumption of the Final Demand Site. - for a Final Demand Site that is non-half hourly settled: - the most recent Estimated Annual Consumption for that Final Demand Site; or if not available - the Default Estimated Annual Consumption for that class of Final Demand Site; or if not available - other available information that is appropriate for a typical profile of a similar site to best estimate the expected annual import consumption of the Final Demand Site. |