## Meter bypass
Process steps | Action | Code or document changes
Customer contact DNOs
Pre-site visit checks | ? - DNOs input required to understand what checks are carried out
Site visit
Meter Bypass | DNOs should notify the customer that their meter has been bypassed and their supplier will contact them to arrange another site visit | DCUSA
Notify supplier within 5 WDs through SDEP | Temperory process type to be used by DNOs to report these issues but a new REC change to be raised to introduce a new PT number for the meter bypass process communication method to be agreed during the workshop DCUSA document to be updated to reference - NEW communication method | REC DCUSA
| Guidance document to be drafted steps for DNOs and Suppliers | TBC
Supplier to contact the customer to arrange site visit |  | REC - Schedule 30?
Site visit arranged via MOP
MOP connects the meter
Send info to Supplier
Supplier update their system
End of process | RFI to be issued following the working group
Ofgem change for suppliers to have 24 hrs service - Live on 1st Aug | For meter fault only - offsupply - we still need a process for all exceptions and cases other than meter faults | Discussion point

## Generators
Process steps | Discussion points | Code or document changes
Builder contact the Supplier for a meter fit | How does the supplier know that the builder had a generator on site? someone must have authoriasation to allow builders to connect the generators to a sub-station, is it the DNOs?
Supplier arrange a meter fit
Meter fitted to the power supply | Does the engineer know if the site is powered by the generator? Are there signs on site?
Supplier bills the Builder for consumption
Dispute raised by the builder | Builder refuses to pay the bill as the property was powered by the generator. What action should be taken by the supplier? Could the generator be connected to a property at the same time as the meter?
Supplier having to write off | Impact on Settlements - Loss of revenue?
What do we need? | A industry guidance document for suppliers | REC and DCUSA?
Suppliers could make changes to their commerial contracts with the Builders?
Does DNOs take action to tranfer generator and connect the mains to the supply?