## Slide 1: Revisiting Schedule 32: Residual Charging Bands
Addressing Clauses Under Section 6
Hakan Feridun, Director, 04.09.2025

## Slide 2: The Problem Explained
In many instances, the Maximum Import Capacity (MIC) levels were set too high a long time ago.
Due to rising Residual charges, applicable Customers will want to reduce their agreed MIC with their DNO / IDNO based on their historical HH data usage.
However existing Commercial Codes are preventing the supplies to move to lower Residual Charging Bands after lower MIC levels are agreed.

## Slide 3: An Example of the Problem
Company A:
Original MIC = 105 kVA
Band = LV2
2025/26 TNUoS Charge = £6.529117/day
vs
Company B:
Original MIC = 200 kVA
Updated Agreed MIC = 105 kVA
Band = LV3
2025/26 TNUoS Charge = £10.251874/day
Despite agreeing a new MIC with the DNO at 105 kVA, Company B will continue to be charged TNUoS at £10.251874/day.
Certain Commercial Code clauses are preventing Company B supply from moving to the lower LV2 Band

## Slide 4: The Issue With Section 6.2
“Where a Customer or its Registrant applies to the DNO/IDNO Party to have a Final Demand Site reallocated as described in Paragraph 6.1(b), such application must be accompanied by:
for Paragraph 6.1(b)(i), a signed Connection Agreement for the Final Demand Site, and a signed letter from the Customer's company director (or equivalent) confirming exceptional and significant changes to the use of the site; or …”
We propose the yellow highlight only in 6.2(a) is removed leaving the rest.
In the example earlier, there was no exception or significant changes to the use of the site. It was simply set too high before when Residual charges were lower.

## Slide 5: The Issue With Section 6.3 (Part 1)
“The exceptional circumstances described in Paragraph 6.1(b) will be subject the following materiality threshold:
a) (subject to Paragraph 6.3(b)) for Final Demand Sites allocated in accordance with Paragraph 4.1(a) or4.1(b)(i), the Maximum Import Capacity at the Final Demand Site must have either increased or decreased by more than 50 percent in comparison to the Maximum Import Capacity of the Final Demand Site at the end of the period used for the purposes of such allocation (and the average Maximum Import Capacity is not to be used as the comparator);
b) for Final Demand Sites allocated in accordance with Paragraph 4.1(a) or 4.1(b)(i) and then re-allocated under Paragraph 6.1, the Maximum Import Capacity at the Final Demand Site must have either increased or decreased by more than 50 percent in comparison to the Maximum Import Capacity of the Final Demand Site at the end of the period used for the purposes of such re-allocation (and the average Maximum Import Capacity is not to be used as the comparator);...”

## Slide 6: The Issue With Section 6.3 (Part 2)
“The exceptional circumstances described in Paragraph 6.1(b) will be subject the following materiality threshold:
…
c) Final Demand Sites allocated in accordance with Paragraph 4.1(b)(ii) may only be re-allocated under Paragraph 6.1 following their re-allocation under Paragraph 6.7, and only if the Maximum Import Capacity at the Final Demand Site has either increased or decreased by more than 50 percent in comparison to the Maximum Import Capacity of the Final Demand Site at the end of the period used for the purposes of such re-allocation (and the average Maximum Import Capacity is not to be used as the comparator); and/or
We propose 6.3(a) and 6.3(b) are both removed entirely.
We also propose the yellow highlight only in 6.3(c) is removed leaving the rest.
In the example earlier, Company B reduced their agreed MIC from 200 kVA to 105 kVA. This is not more that 50 percent and the Band remains unchanged as it stands.

## Slide 7: Implications If No Change
Customer Reduces Their Agreed MIC:
If there is no exceptional or significant change to the use at site, they will be charged higher standing charges than other supplies with the same agreed MIC.
Our proposed changes would result in all supplies being charged fairly the same based on their latest agreed MIC.
Customer Does Not Change Their Agreed MIC:
Despite it being feasible to do so, they will experience higher energy costs with a greater share contributed by their standing charges.
Additionally, less Capacity will be available for others.
Our proposed changes would encourage Customers to reduce their agreed MIC where suitable.

## Slide 8: Final Comments
Key Benefits of Proposed Changes:
Customers are charged more fairly for DUoS & TNUoS.
Available capacity (not in use by Customers) reallocated to those who need.
Clearer Residual charges which are easier to administer.

## Slide 9: Thank You For Listening
Hakan Feridun (Director)
Email: hakan@energunite.com / Telephone: +44(0)2035180778
www.energunite.com