## Slide 1: Supplier Fuse Upgrades ENA
25 September, 2025

## Slide 2: Content
Project overview
Benefits for parties involved
Work scenario for MEMs/SIPs
Process flow diagram
Training programme
Audit trail mechanism
Associated costs

## Slide 3: Project Overview
Why is this project important?
Objectives
What has happened so far?
1
2
3
UKPN trialled this with Octopus Energy Services under the NIA funded Emerge Project Trials from March 2022 to February 2023.
NGED has performed similar trials with Octopus Energy Services
The decarbonisation of customer’s homes remains a key focus in the transition to Net Zero.
DNOs are at risk of being a barrier to the uptake of heat pumps and electric vehicle charge points with installations highly dependent on the successful upgrade of domestic supplies.
To develop a training programme that will allow MEMs/SIPs to upgrade cut-out fuses facilitating new installations (LCTs, property extensions, etc.) in domestic properties

## Slide 4: Benefits for parties involved
Benefit | Description | Benefit to DNOs | Benefit to suppliers/SIPs org. | Benefit to Customers
No need for a DNO engineer to perform a site visit | Currently DNO engineers need to visit the site when a fuse upgrade is needed | Varies per DNO Circa £250 per visit | Organisations may complete the fuse upgrade and LCT installation in a single visit Organisations can schedule the LCT installation and fuse upgrade date in advance | Fewer site visits and disruption
Faster for customers | Customer should get the LCT installation more quickly | Improved customer service | Improved customer service | Improved service Supporting with emergency purchases
Politically beneficial | DNOs are keen to improve the fuse upgrade offering following Emerge innovation project | Completes the action outlined in Octopus letter to Ofgem DNOs increase their consistency and collaboration credentials | Improved customer service | Improved customer service

## Slide 5: Work scenario for MEMs/SIPs
Parameters | 
Type of Supply | 
Single phase | 
Three phase | 
Type of cables | 
Plastic | 
PILC | 
Type of cut-outs | 
Single phase plastic (exc. phenolic) | 
Three phase plastic (exc. phenolic) | 
Location of service lines | 
Underground network | 
Overhead line network | 
In scope
Single phase supply
Plastic cables
Plastic cut-outs (exc. phenolics)
Overhead & Underground service lines
Out of scope
Three-phase services
PILC cables
- Looped services after identification
- Phenolic cut-outs

## Slide 6: Process flow diagram
DNO pre-authorisation
Fuse Upgrade/installation
3rd Party attends customer’s home for site survey
Customer wants a Heat Pump or Electric Vehicle Charge Point
Customer signs contract
Installation
Customer Quote & Site Survey
3rd party notifies DNO via the agreed audit trail mechanism
3rd party performs the fuse upgrade and installs the LCT
Potential to avoid an extra visit and install LCT together with the fuse upgrade
Proposed approach
If Fuse Upgrade Required, DNO attends customer’s home
Notification
3rd party visits the property and installs the LCT
No
No
MEM/SIP pre-assess if a) a fuse upgrade is needed and
b) If the work meets the criteria in scope
Current approach
No

## Slide 7: Design of training program - Phased approach starting with NSAP
National Skills Academy for Power (NSAP) Smart Meter Installer course includes fuse replacement (module 06)
Develop additional module for upgrading a fuse (module 07)
Each installer will register on Energy and Utility Skills Register (EUSR)
All DNOs involved to agree module content
Module delivered by various educational organisations
Approach IET to include training module in BS7671 standard
ENA is currently developing an EREC to be used as template for the training material

## Slide 8: Audit trail mechanism
Objective
Development of an audit trail mechanism between DNOs and installers
Rationale
Installers need to communicate to DNOs the completion of the fuse upgrade work and/or if the work is outside the agreed scope
ENA to explore the options below
- Data Transfer Network (DTN) system
- In-house ENA Connect Direct
- Any other system that could be relevant

## Slide 9: Associated costs
# | Cost item | Description | Info about cost to suppliers/installers
1 | Training programme | (MEMs/SIPs) Training through NSAP modules. EUSR platform registration | EUSR Registration £30 for 3 years*
2 | Audit trail mechanism | Creation of new data flow for MEMs/SIPs to inform DNOs about the completion of the fuse upgrade work | Option A: IT costs to create this new data flow in the current system (Data Transfer Network) Option B: £0 if ENA Connect Direct is chosen
3 | Impedance loop testing | Purchase and maintenance of equipment | Suppliers and SIP organisations will be responsible to cover this cost
4 | Fuse cost | Cost to purchase the fuse | Suppliers and SIPs organisations will be responsible to cover this cost
5 | Meter tails (supply and install) | Cost of meter tails | Suppliers and SIPs organisations will be responsible to cover this cost
Assumptions: NSAP designing the training program
* Information extracted several months ago (to be reconfirmed)