| DCUSA Consultation |  | At what stage is this document in the process? |
| --- | --- | --- |
| DCP 464: IDNO Connection Applications: Treatment of Existing Assets Date Raised: 08 September 2025 Proposer Name: Rob Gladstone Company Name: Scottish & Southern Energy Networks Party Category: DNO |  | 01 – Change Proposal. 02 – Consultation. 03 – Change Report. 04 – Change Declaration. |
| Purpose of Change Proposal: The intent of the Change Proposal (CP) is to clarify the Common Connection Charging Methodology (CCCM) applied to Distribution network asset(s) for IDNO applications when the IDNO is the sole user of specific network asset (s). |  |  |
|  | This document is a Consultation issued to DCUSA Parties and any other interested Parties in accordance with Clause 11.14 of the DCUSA seeking industry views on DCP 464. Parties are invited to consider the questions set in section 10 and submit comments using the form attached as Attachment 1 to dcusa@electralink.co.uk by xx November 2025. The Working Group will consider the consultation responses and determine the appropriate next steps for the progression of the Change Proposal (CP) to the Change Report phase. |  |
|  | Governance: The Proposer recommends that this Change Proposal should be: - Treated as a Part 1 Matter - Treated as a Standard Change - Progressed to the Working Group phase. |  |
|  | Impacted Parties: DNOs/IDNOs |  |
|  | Impacted Clauses: Schedule 22 |  |

| Contents 1 Summary 2 2 Governance 3 3 Why Change? 3 4 Solution and Legal Text 4 5 Code Specific Matters 4 6 Relevant Objectives 4 7 Impacts & Other Considerations 6 8 Implementation 7 9 Recommendations 7 Indicative Timeline The Secretariat recommends the following timetable:. Initial Assessment Report; 17 September 2025. Consultation Issued to Industry Participants; TBC. Change Report Approved by Panel; 21 January 2026. Change Report issued for Voting; 22 January 2026. Party Voting Closes; 12 February 2026. Change Declaration Issued to Parties; 16 February 2026. Change Declaration Issued to Authority; 16 February 2026. Authority Decision; TBC. | Any questions? |
| --- | --- |
|  | Contact: Code Administrator |
|  | DCUSA@electralink.co.uk |
|  | 020 7432 3011 |
|  | Proposer: Rob Gladstone |
|  | rob.gladstone@sse.com |
|  | 01738 275779 |

Summary

#### What?

  - Independent Distribution Network Operators (IDNOs) can apply to increase the Maximum Import and/or Export Capacity as specified in the Bilateral Connection Agreement (BCA) for an existing embedded IDNO connection.

  - Throughout this document, the consultation refers to Licenced Distribution Network Operators (LDNOs) in order to be consistent with the legal text contained with Schedule 22 of the DCUSA (Common Connection Charging Methodology). For the avoidance of doubt, LDNO can refer to IDNO parties, or to DNO parties where they are connecting to another DNO party.

  - In some cases, to satisfy the LDNOs Capacity increase, the existing distribution system may need to be upgraded, and/or additional security may need to be provided.

  - Paragraph 1.17 of the Connection Common Charging Methodology (CCCM) states “Reinforcement is defined as assets installed that add capacity (network or fault level) to the existing shared use Distribution System.”

  - As existing charging policy through the CCCM is open to interpretation, this change seeks to clarify whether or not existing LDNO connection as set out in the scenario above should be considered as sole or shared use and drive any subsequent updates to the CCCM to remove any uncertainty.

  - Where an LDNO with multiple customers’ requests an increase in its Maximum Capacity and no other DNO Customers are connected to the existing connection arrangement, the LDNO is treated as the sole user. In this scenario, any upgrades to the existing connection arrangement are classified as extension assets rather than reinforcement. Consequently, the full cost of these upgrades would be charged to the LDNO rather than socialised by the DNO.

  - This change seeks to clarify whether or not an existing LDNO connection with multipole customers, as set out in the scenario above, should be consider as sole or shared use. For illustrative example, please see below.

#### Why?

## The scenario described in section 1.1 - 1.4 has occurred and is likely to occur more frequently as the LDNO market share continues to grow.

#### How?

## This Change Proposal provides two options to address the scenario described in section 1.1 - 1.6, and points for consideration:

## Option 1: The DNO assets to be upgraded shall continue to be treated as extension assets as they will not meet the definition of Reinforcement and therefore network upgrades are to be fully funded by the LDNO.

## Option 2: Where the LDNO has more than one customer, the DNO assets to be upgraded will be treated as shared therefore meeting the definition of Reinforcement as described in the CCCM with the DNO fully funding the Reinforcement.

## Please see the below illustration for examples of the solutions on offer.

- Governance

#### Justification for Part 1 Matter

## This CP will impact the connection charges levied to LDNO by DNOs and therefore shall be treated as a Part 1 matter.

#### Current Next Steps

## This Change Proposal should:

- Be treated as a Part 1 Matter;

- Be treated as a Standard Change; and

- Why Change?

#### Background

## As set out in paragraph 1.6, unless the relevant legal text is changed, there risks a situation arising that Schedule 22 does not address.

Q1: Do you understand the intent of DCP 464? Q2: Are you supportive of the principles of DCP 464?

- Working Group Assessment

#### Working Group Assessment

## The DCUSA Panel established a Working Group to assess DCP 464. This Working Group consists of Supplier, DNO, IDNO representatives and other interested industry participants. Meetings were held in open session and the minutes and papers of each meeting are available on the DCUSA website – www.dcusa.co.uk

## The Proposer outlined that the intent of this Change Proposal (“CP”) is to clarify and align the DNO approach to the charging methodology applied to network asset(s) for LDNO applications when the LDNO is the sole user of specific network asset(s).

## It was explained that Paragraph 1.17 of the Connection Common Charging Methodology (CCCM) states “Reinforcement is defined as assets installed that add capacity (network or fault level) to the existing shared use Distribution System.”

## Where an LDNO with multiple customers’ requests to increase its capacity and no other DNO customer are connected to the existing connection arrangement, the LDNO could be considered as the sole user and therefore not meet the above shared use criterion meaning they could be charged the full cost of any upgrade works.

## The proposer stated that there are potentially two solutions to this which are outlined in paragraphs 1.7 to 1.10 of this consultation.

Q3:- Are there any other potential solutions on offer that are not referenced within this consultation? Q4:-If you believe that the third option could be an appropriate solution, what considerations would need to be made when developing a solution?

## Members discussed the interpretation of ‘shared use’ and noted that while ‘Distribution System’ is a defined term, ‘shared use’ is not. A Working Group member provided examples such as multiple Customers downstream of an LDNO and need for multiple GSoP payments as suggestions of how ‘shared use’ arrangements already exist in practice.

## Further clarification was provided that the Distribution System must be owned and operated by the DNO, but that sharing can still occur between downstream Customers. The group discussed how the term ‘shared use’ could be interpreted as referring to systems used by multiple Customers, even if this is not capitalised or formally defined.

## It was suggested whether ‘shared asset’ could be a defined term as part of the solution and make reference to how many MPANs there are – as part of the Portfolio Billing process, if there is more than one MPAN, then that would be a shared asset as DUoS is being recovered (this would conflict with treating LDNO as a single Customer).

Q5- Do you believe that ‘shared asset’ should be a defined term within the DCUSA and if so, do you have a view on what the definition could be?

## It was mentioned that if option 2 was progressed, there may need to be changes made to the distribution licence.

## It was confirmed that if this CP was to be approved by the authority, the Authority would consider if changes to the distribution licences were required and take the appropriate action.

## Customer Impacts

## In terms of impacts to Customers, it was considered that under option 1, no reinforcement costs are socialised, and there is therefore no impact directly on connecting customers, whereas under option 2, costs are socialised and spread over more customers.

## A DNO Working Group member asked how many times the LDNO had been charged for upgrades as it has been determined to be a sole use asset. From that, the socialisation costs could be determined.

## Five LDNO Working Group members advised that their companies subject to DNO reinforcement costs not subject to DNO reinforcement costs yet however, , this does not mean that this may not occur over the coming years.

## Another LDNO Working Group member advised that they’d seen four examples of this issue occurring.

Q6:- IDNOs only- How many times have you been charged for upgrades when it has been determined to be an extension asset?

## It was queried whether this scenario could only arise for DNO and LDNO parties. The Working Group would like to seek industry views to help shape their understanding.

Q7:- Is this a scenario that can only impact DNO and IDNO Parties? If other Party Categories can be impacted, please provide rationale as to how and why.

- Legal Text

#### Solution Overview

## On agreement of Option 1, Option 2, or if a different preferred Option is agreed upon, the non-selected options will be removed from this section.

## Option 1b: CCCM 1.17 to read “Reinforcement is defined as assets installed that add capacity (network or fault level) to the existing shared use Distribution System.  For the purposes of assessing whether the existing Distribution System is shared use, any IDNO connection shall be treated as a single connected customer.”

## Option 2b: CCCM 1.17 to read “Reinforcement is defined as assets installed that add capacity (network or fault level) to the existing shared use Distribution System.  For the purposes of assessing whether the existing Distribution System is shared use, any IDNO connection shall be treated based on the number of connections to the IDNO Distribution System.”

#### Legal Text Commentary

## Option 1 adds clarity to the treatment of assets when the connection is via an LDNO.  Option 1 adds clarity to the treatment of assets in these scenarios by considering the LDNO as a single connected customer and does not consider customers connected to the LDNO under separate connection arrangements.

## Option 2 adds clarity to the treatment of assets when the connection is via an LDNO.  Option 2 adds clarity to the treatment of assets in these scenarios by considering the LDNO connected customers and consider those connections as part of the shared use network.

Q8: - Do you have any comments on the draft legal text?

- Relevant Objectives

## The Proposer’s view as to which of the DCUSA Objectives would be better facilitated by the implementation of this Change Proposal is set out below.

## The Working Group agreed that this CP would be assessed against the Charging Objectives.

|  | DCUSA Charging Objectives | Identified impact |
| --- | --- | --- |
| ☐ | - That compliance by each DNO Party with the Charging Methodologies facilitates the discharge by the DNO Party of the obligations imposed on it under the Act and by its Distribution Licence | None |
| R | That compliance by each DNO Party with the Charging Methodologies facilitates competition in the generation and supply of electricity and will not restrict, distort, or prevent competition in the transmission or distribution of electricity or in participation in the operation of an Interconnector (as defined in the Distribution Licences) | Neutral |
| R | That compliance by each DNO Party with the Charging Methodologies results in charges which, so far as is reasonably practicable after taking account of implementation costs, reflect the costs incurred, or reasonably expected to be incurred, by the DNO Party in its Distribution Business | Positive |
| ☐ | That, so far as is consistent with Clauses 3.2.1 to 3.2.3, the Charging Methodologies, so far as is reasonably practicable, properly take account of developments in each DNO Party’s Distribution Business | None |
| ☐ | That compliance by each DNO Party with the Charging Methodologies facilitates compliance with the EU Internal Market Regulation and any relevant legally binding decisions of the European Commission and/or the Agency for the Co-operation of Energy Regulators; and | None |
| R | That compliance with the Charging Methodologies promotes efficiency in its own implementation and administration. | Positive |

## The proposer believes that Charging Objective 3 will be better facilitated by ensuring that a DNO party applies a consistent approach to the application of reinforcement charges.

## The proposer believes that Charging Objective 6 will be better facilitated by ensuring that a DNO party applies a consistent approach to the application of reinforcement charges.

Q9:- Do you consider that the proposal better facilitates the DCUSA Charging Objectives? If so, please detail which of the General Objectives you believe are better facilitated and provide supporting reasons. If not, please provide supporting reasons.

- Impacts & Other Considerations

## This issue has been discussed on the ENA Connections Commercial Operating Group (COG) and also presented to Ofgem for consideration and/or guidance.  No further guidance has been provided.

#### Impacts on any Significant Code Review (SCR) or other significant industry change projects

  - We do not believe that this CP impacts upon any current SCR or other significant industry change projects at this time.

#### Impacts on Other Codes

  - We have considered whether any other industry codes might be impacted as a result of this Change Proposal, and our view is that there is no impact on any other industry codes.

| BSC……………... |  |  |  |  | ☐ |  | MRA………… | ☐ |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CUSC…………… |  |  |  |  | ☐ |  | SEC………… | ☐ |
| Grid Code………. |  |  |  |  | ☐ |  | REC………. | ☐ |
| Distrbution Code.. |  |  |  |  | ☐ |  | None………. | ☒ |

#### Impacts on DCUSA Owned Data Flows

## The Working Group does not believe that this change will require any amendments to DCUSA owned data flows or data items.

#### Consumer Impacts

## We do not believe that this change will impact consumers directly.

#### Environmental Impacts

  - In accordance with DCUSA Clause 10.4.5A, we have assessed whether there would be a material impact on greenhouse gas emissions if this CP were implemented and have come to the conclusion that it won’t.

Q10: -Are you aware of any wider industry developments that may impact upon or be impacted by this CP?

- Implementation

Proposed Implementation Date

## This should be implemented at the earliest opportunity once approved by the authority.

Q11: - Do you have any other comments on DCP 464

- Consultation Questions

## The Working Group is seeking industry views on the following consultation questions:

| Number | Questions |
| --- | --- |
| 1 | Do you understand the intent of DCP 464? |
| 2 | Are you supportive of the principles of DCP 464? |
| 3 |  |
| 4 |  |
| 5 |  |
| 6 |  |
| 7 |  |
| 8 | Do you have any comments on the draft legal text? |
| 9 | Do you consider that the proposal better facilitates the DCUSA General Objectives? If so, please detail which of the General Objectives you believe are better facilitated and provide supporting reasons. If not, please provide supporting reasons. |
| 10 | Are you aware of any wider industry developments that may impact upon or be impacted by this CP? |
| 11 | Do you have any other comments on DCP 464? |

- Attachments

#### Attachment 1 – DCP 464 Consultation Response Form

#### Attachment 2 – DCP 464 Change Proposal Form

- Appendix A

- Glossary of Terms

| #### Term | #### Meaning |
| --- | --- |

#### Form Completion Guidance Notes

| Ref | Section | Guidance |
| --- | --- | --- |
| 1 | Governance | A CP must be categorised as a Part 1 or Part 2 matter in accordance with Clause 10.4.7 of the DCUSA. All Part 1 matters require Authority Consent. Part 1 Matter A change Proposal is considered a Part 1 Matter if it satisfies one or more of the following criteria: - it is likely to have a significant impact on the interests of electricity consumers; - it is likely to have a significant impact on competition in one or more of: - the generation of electricity; - the distribution of electricity; - the supply of electricity; and - any commercial activities connected with the generation, distribution or supply of electricity; - it is likely to discriminate in its effects between one Party (or class of Parties) and another Party (or class of Parties); - it is directly related to the safety or security of the Distribution Network; and - it concerns the governance or the change control arrangements applying to the DCUSA; and - it has been raised by the Authority or a DNO/IDNO Party pursuant to Clause 10.2.5, and/or the Authority has made one or more directions in relation to it in accordance with Clause 11.9A. - Part 2 Matter A CP is considered a Part 2 Matter if it is proposing to change any actual or potential provisions of the DCUSA which does not satisfy one or more of the criteria set out above. |
| 2 | Proposed Solution and Draft Legal Text | Outline the proposed solution for addressing the stated intent of the CP. The Change Proposal Intent will take precedence in the event of any inconsistency. A DCUSA Working Group may develop alternative solutions. The plain English description of the proposed solution should include the changes or additions to existing DCUSA Clauses (including Clause numbers). Insert proposed legal drafting (change marked against any existing DCUSA drafting) which enacts the intent of the solution. The legal text will be reviewed by the Working Group (if convened) and is likely to be subject to legal review as part of its progress through the DCUSA change process. |
| 3 | Proposed Implementation Date | The Change can be implemented in February, June, and November of each year or as an extraordinary release. For Charging Methodology CPs, select an implementation date which takes into consideration the minimum notice periods for publishing tariffs. These are: - 15 months, for DNOs acting within their Distribution Services Areas; or - 14 months, for IDNOs and DNOs acting outside their Distribution Services Area. Please select an implementation date that provides sufficient time for the Change to be incorporated into the appropriate charging model and the DCUSA in order to be reflected in future tariffs. Contact the DCUSA helpdesk for any further information on the releases dcusa@electralink.co.uk. |
| 4 | Impacts & Other Considerations | Indicate whether this Change Proposal will be impacted by or have an impact upon wider industry developments. If an impact is identified, explain why the benefit of the Change Proposal may outweigh the potential impact and indicate the likely duration of the Change. |
| 5 | Environmental Impact | Indicate whether it is likely that there would be a material impact on greenhouse gas emissions as a result of the proposed variation being made. Please see Ofgem Guidance. |
| 6 | Confidentiality | Clearly indicate if any parts of this Change Proposal Form are to remain confidential to DCUSA Panel (and any subsequent DCUSA Working Group) and Ofgem |
| 7 | DCUSA General Objectives | Indicate which of the DCUSA Objectives will be better facilitated by the Change Proposal. You should select these objectives when your Change Proposal proposes to make amendments to any of the Sections/Schedules not listed as one that relates to the DCUSA Charging Objectives below. |
| 8 | DCUSA Charging Objectives | Indicate which of the DCUSA Charging Objectives will be better facilitated by the Change Proposal. You should select these objectives when your Change Proposal is intending on making amendments to one or more of: - Schedule 16 - Common Distribution Charging Methodology; - Schedule 17 - EHV Charging Methodology (FCP Model); - Schedule 18 – EHV Charging Methodology (LRIC Model); or - Schedule 22 - Common Connection Charging Methodology. - Schedule 20 - Production Of The Annual Review Pack; - Schedule 29 - Calculation Of Discount Percentages For The Purpose Of Determining Certain LDNO Use Of System Charges; or - Schedule 32 - Residual Charging Bands. |
| 9 | Detailed Rationale for DCUSA Objectives | Provide detailed supporting reasons and information (including any initial analysis that supports your views) to demonstrate why the CP will better facilitate each of the DCUSA Objectives identified. |

#### DCUSA General Objectives Please tick the relevant boxes.

| 1) The development, maintenance and operation by the DNO Parties and IDNO Parties of efficient, co-ordinated, and economical Distribution Networks | Choose an item. |
| --- | --- |
| 2) The facilitation of effective competition in the generation and supply of electricity and (so far as is consistent therewith) the promotion of such competition in the sale, distribution and purchase of electricity | Choose an item. |
| 3) The efficient discharge by the DNO Parties and IDNO Parties of obligations imposed upon them in their Distribution Licences | Choose an item. |
| 4) The promotion of efficiency in the implementation and administration of the DCUSA | Choose an item. |
| 5) Compliance with the EU Internal Market Regulation and any relevant legally binding decisions of the European Commission and/or the Agency for the Co-operation of Energy Regulators | Choose an item. |

#### DCUSA Charging Objectives Please tick the relevant boxes.

| 1) The development, maintenance and operation by the DNO Parties and IDNO Parties of efficient, co-ordinated, and economical Distribution Networks | Choose an item. |
| --- | --- |
| 2) That compliance by each DNO Party with the Charging Methodologies facilitates competition in the generation and supply of electricity and will not restrict, distort, or prevent competition in the transmission or distribution of electricity or in participation in the operation of an Interconnector (as defined in the Distribution Licences) | Choose an item. |
| 3) That compliance by each DNO Party with the Charging Methodologies results in charges which, so far as is reasonably practicable after taking account of implementation costs, reflect the costs incurred, or reasonably expected to be incurred, by the DNO Party in its Distribution Business | Choose an item. |
| 4) That, so far as is consistent with Clauses 3.2.1 to 3.2.3, the Charging Methodologies, so far as is reasonably practicable, properly take account of developments in each DNO Party’s Distribution Business | Choose an item. |
| 5) That compliance by each DNO Party with the Charging Methodologies facilitates compliance with the EU Internal Market Regulation and any relevant legally binding decisions of the European Commission and/or the Agency for the Co-operation of Energy Regulators; and | Choose an item. |
| 6) That compliance with the Charging Methodologies promotes efficiency in its own implementation and administration. | Choose an item. |