## DCP 452 Collated Consultation Responses

| Response | 1. Do you understand the intent of DCP 452? | Working Group Comments |
| --- | --- | --- |
| SSE Gen | - Partially. Our understanding is that the CP seeks to remove FCP locational charges/credits (‘Charge 1’) from directly GSP-connected customers at non-interconnected GSPs on the basis that these customers don’t drive costs for thermal reinforcement downstream of their connection but are currently charged for it under the EDCM. - However, we don’t think that the impacts of this proposal across the affected tariffs have been set out sufficiently clearly, especially for storage battery assets, and as such, it is difficult to fully understand the intent of the proposal in terms of what it is trying to achieve for the target group. See our further comments under question 8. |  |
| SSEN | In part. |  |
| SPEN | Yes, we agree with the principle of this CP. |  |
| UKPN | Yes. |  |
| NGED | Yes. NGED supports charging that is cost-reflective and based on cost causation. |  |
| Field | Yes. The intent of DCP452 is clear - it seeks to correct an apparent oversight in the distribution charging methodology which results in a small subset of customers who connect directly to a GSP facing a forward-looking cost signal in respect of thermal reinforcement of downstream networks they will never influence. |  |

| Response | 2. Are you supportive of the principles that support this CP, as set out in the consultation? | Working Group Comments |
| --- | --- | --- |
| SSE Gen | - We understand the underlying principle to be that the specific subgroup of EHV users targeted by this proposal doesn’t drive the need for thermal reinforcement below the GSP level, and hence shouldn’t be liable for some ‘Charge 1’ charges (i.e. the super-red rate and the import capacity charges), or in the case of generators, be entitled to ‘Charge 1’ super-red credits. - However, we also note that there are considerable impacts on the wider EHV charging base as set out in section 9.13, table 3, with residual charges shown to increase by 27, 50 and close to 70% in three affected areas. We don’t consider that this magnitude of increases for EHV customers at large has been, or can be, justified. |  |
| SSEN | Yes. |  |
| SPEN | Yes |  |
| UKPN | Yes. |  |
| NGED | Yes. The intent is to correct the flaw in the FCP variant of the EDCM whereby Category 0000 customers directly connected to non-interconnected GSPs face locational charges/credits for downstream reinforcement they cannot drive, by excluding them from the relevant FCP Network Group and setting the FCP elements to zero. |  |
| Field | Yes. Both the FCP and LRIC approaches to the EDCM clearly establish that users should face forward-looking cost signals in respect of thermal reinforcement which their activity may drive. DCP452 corrects an oversight in the methodology which results in that forward-looking cost signal being applied to users who will never contribute to the need for that reinforcement, contrary to the principles of the EDCM. It is also clear that the CP does not seek to exempt impacted customers from making a fair contribution to DNO costs - the contribution of impacted customers to the DNO’s direct costs, indirect costs, business rates, transmission exit charges and demand residual remain unchanged - with only the erroneously applied FCP charge removed. The CP also resolves a significant disparity between the FCP and LRIC methods - 0000 customers at a non-interconnected GSP will always have zero LRIC charge but may have very high FCP charge. Hence DCP452 eliminates a significant “postcode lottery” whereby only 0000 customers in FCP regions (all of Scotland, East and West Midlands, Southern and Manweb) face the risk of significant non-cost-reflective charges. |  |

| Response | 3. Do you have any views on the counterarguments put forward with respect to the concepts of the FCP methodology and how they interact with the proposed approach of DCP 452? | Working Group Comments |
| --- | --- | --- |
| SSE Gen | We have no comments. |  |
| SSEN | There are several issues that we would still want to emphasise: 1. This DCP challenges the “zonal” principle of FCP charging methodology i.e. customers in the same network group should incur the same FCP cost. 2. The DCP focuses to address an issue for a small number of customers (i.e. 0000 customers). However, the same arguments could be extended to other customers across EDCM 3. Implementing this change could result in a higher FCP charge 1 (£/kVA/year) for other customers within the same FCP network group, and higher FCP remote charge 1 (£/kVA/year) to other customers of the downstream groups. 4. This DCP may introduce network distortion issue (i.e. customers who are already directly connected to a location which may potentially require reinforcements would prefer to connect at different parts of the network so to avoid contributing to that network costs. 5. A network in current state could have no interconnection, but it may have interconnection in future due to security requirements which could be driven by large load increase contributed by 0000 or other groups of customers. |  |
| SPEN | We have taken all the counterarguments into account and are comfortable with the proposed approach of DCP 452 |  |
| UKPN | No, we support what the proposer has stated as the reasons for raising this change proposal. |  |
| NGED | We acknowledge concerns around security standards and potential reinforcement at GSPs; however, those considerations relate to compliance and asset adequacy at the point of connection, not downstream thermal reinforcement captured by FCP Network Group charges. |  |
| Field | Yes. The load-flow modelling aspect of the EDCM FCP and LRIC only considers thermal reinforcement. As a result, 0000 customers connected to non-interconnected GSPs will never be deemed to drive network cost in the FCP model. FCP experts have confirmed this position to the workgroup. We accept that there are many cost drivers for network companies which could be considered in the FCP methodology; which of those cost drivers are considered is beyond the scope of DCP452. So the discussion of DCP452 must be rooted in the cost drivers which the methodology considers. Most of the counterarguments relate to other cost drivers which FCP does not consider. - Counterargument one contends that introducing DCP452 would create an inconsistency. The opposite is true; it in fact resolves an inconsistency. This argument highlights that 0000 customers are shown as within the Level 1 Network Group. That is precisely the oversight which DCP452 seeks to resolve. In the FCP methodology, at non-interconnected GSPs, 0000 users can never be deemed to drive thermal reinforcement on the circuits within the Level 1 Network Group, so it is not cost-reflective to include them within that Network Group. It goes on to discuss other cost drivers not considered in the FCP model, noting that “these customers should contribute to the costs alongside others”. DCP452 will have no impact on the contribution any customer makes to costs not considered in the load-flow aspect of the FCP. All customers would continue to make the same contribution to the DNO’s Direct Costs, Indirect Costs and Transmission Exit Charges (determined by a combination of Network Use Factors and fixed multipliers specified in the EDCM) and to the DNO’s general cost base through the Demand Residual. DCP452 has no impact on 0000 customers’ contribution to other costs not considered directly in the load-flow-based aspect of the FCP methodology. - Counterargument two again discusses stability and security of supply issues which are not considered as cost drivers in FCP. Notwithstanding that these are not cost drivers in the FCP, the counterview (4.23) mentions “network stability, security of supply and thermal issues” but gives no concrete example. It is highly unlikely that electrical demand of loads connected at lower voltages will be meaningfully affected by a connectee connecting to a higher voltage under normal operating conditions, and any limitations resulting from non-intact network conditions would be managed by limitations in the User’s connection agreement. - Counterargument three is no longer a counterargument - the solution has been updated based on the points raised. - The fundamental point of counterargument four - namely cross-subsidy - is in fact a strong argument *for* the proposal. The counter response describes instances where 0000 customers drive network costs. This ignores the fact that, in the FCP model, 0000 customers at non-interconnected GSPs can never be deemed to drive reinforcement cost. Hence the examples described in which such a customer is deemed to drive costs can never occur - a 0000 customer added to the FCP model at a non-interconnected GSP will always have zero impact on the FCP charge. There may be other cost drivers not considered in the load-flow aspect of the EDCM which would make these examples relevant - as noted above, these should not be considered. Because 0000 customers at non-interconnected GSPs will never be assumed to drive cost in the FCP model, their inclusion in the network group (as per the status quo) will always cause cross-subsidy - the reinforcement cost which downstream users do drive in the FCP model is shared between those customers and the 0000 customer, incorrectly reducing the signal faced by downstream users. DCP452 removes that cross subsidy. The example in 4.31 is unhelpful as it can never arise in the FCP method of assessing reinforcement cost. As confirmed to the workgroup by FCP experts, the increase in reinforcement cost cited will not manifest in the FCP methodology (because, as stated, 0000 customers at non-interconnected GSPs do not drive cost in the FCP methodology). Hence the additional cost to upgrade the network identified in the first bullet point will never arise in the FCP methodology. The reinforcement cost calculated in the FCP methodology would always remain at £100k, but it would be split over 150MW of load, reducing the charge as described in 4.28. In reality, if a new 0000 customer drove £50k of reinforcement cost through another cost driver not considered in the FCP model, that would be considered in their connection charge and paid upfront anyway. |  |

| Response | 4. Do you have any views on the relevance of DCP 139 and Ofgem’s decision to reject it? Please provide your rationale for any views you do have. | Working Group Comments |  |
| --- | --- | --- | --- |
| SSE Gen | Whilst we have noted the points at 4.35 of the consultation, we are not convinced that DCP452 is sufficiently different from DCP139, and hence may not satisfy Ofgem’s requirements for approving this CP. |  |  |
| SSEN | DCP 139 addressed one wider issue that we think is still relevant – “if Category 0000 customers are exempted from paying the FCP locational charge, it may be appropriate for Categories 0001, 0002, 0101, 0110, 0111 and 0100 customers to also be exempted from paying the FCP level 1 locational charge. All of these categories of customer use minimal 132kV assets compared to typical 132kV customers”. This wider issue should be investigated, and we agree that changes should not be made for one customer category until the wider issue has been considered and a comprehensive solution (if appropriate) could be implemented. |  |  |
| SPEN |  |  |  |
| UKPN | This is a change proposal which was decided upon many years ago, and for whatever reason the decision to reject DCP139 might (or might not) have been appropriate at the time, the world has moved on and so our view is that this decision is irrelevant to the changes being discussed under DCP452 due to the time which has passed between the two changes. |  |  |
| NGED | DCP 139 is relevant as a guide but differs materially. DCP 452 is targeted only at non-interconnected GSPs and is supported by updated modelling and observed RFI evidence. It preserves cost-reflectivity, addressing Ofgem’s previous concerns. |  |  |
| Field | The solution to DCP452 is different to DCP139, to the extent that most of the points do not apply. Taking them in turn: Ofgem noted that simply removing the FCP charge for 0000 customers did not guarantee a more cost reflective outcome. In particular, it was unclear whether such customers might still contribute to reinforcement needs under certain network conditions (e.g. meshed networks or contingency scenarios). DCP139 applied to *all* 0000 customers; DCP452 only applies to those at *non-interconnected* GSPs (i.e. DCP452 does not apply in a circumstance where a 0000 customer connects to a meshed network). Hence this concern is no longer applicable. FCP experts have confirmed to the workgroup that 0000 customers at non-interconnected GSPs (i.e. not connected to meshed networks) will never be deemed to drive reinforcement in the FCP method. Ofgem’s reference to contingency scenarios is misguided. DCUSA is clear that network modelling should be based on the intact network under normal operations . If contingency scenarios are to be considered, they should be considered for all customers. It is not cost-reflective to only consider such scenarios for a small subset of customers (in this case 0000 customers). Ofgem emphasised that the FCP and NUF methodologies are based on different principles. Aligning them without broader consideration could risk undermining the internal consistency of the FCP approach. DCP452 does not seek to align FCP and NUF methodologies. It seeks to cost-reflectively apply the FCP charge. Ofgem suggested that 0000 customers might not be the only category of customer that could be deemed to not use any shared assets at a given network level and so consideration should have been given to those of customer categories. The scope of DCP452 is restricted to 0000 customers, to minimise the impact and resolve the clear non-cost-reflective application of the FCP charge to 0000 customers at non-interconnected GSPs which exists in the baseline. We look forward to one of the DNOs using FCP raising a further modification focused on other customer categories should that be considered more cost-reflective. Beyond the specific points noted in the DCP139 decision, the broader market context is also now fundamentally different to when Ofgem’s decision on DCP139 was made. Much of energy policy is now driven by Clean Power 2030 and the ongoing drive to electrification. DCP452 risks being a barrier to electrification of key functions. Manifestation of the impact of the issue which DCP452 seeks to resolve is focused on large demand users - typically 20-50MW in Scotland (which are likely to connect directly to GSPs at 33kV) and 50-100MW in England and Wales (which are likely to connect directly to GSPs at 132kV). These are the likely demand ranges for mid-size datacentres, large rapid EV charging stations, and large district heating schemes, for whom connecting directly to the higher voltages in a GSP should be the most cost-effective connection design, due to its resulting in minimal power flow across cables / lines and therefore the least losses being generated within the distribution system. The consultation highlights an instance of an £18/kVA/year charge. For a typical 50MW, 0000 customer, this is equivalent to around £900k/year. Over 20 years this would equate to £18m; likely exceeding the total regulated value of most GSP substations which such a customer could connect to. It is clearly not cost-reflective to expect a single customer to fund more than the total cost of replacing the substation to which they connect and share with multiple other users. The issue which DCP452 seeks to resolve is also clearly more prevalent in Scotland: - Both Scottish DNOs use FCP compared to only four out of 12 DNOs in England and Wales. - The workgroup’s impact assessment shows that 43 existing network users in Scotland are directly impacted, compared to just three in all of England and Wales. Encouraging electrification of demand in Scotland is of even greater importance than in England and Wales to facilitate reduced constraint costs and in turn reduced network build out costs. We note in particular the government’s industrial strategy to deliver AI Growth Zones (https://www.gov.uk/government/publications/delivering-ai-growth-zones/delivering-ai-growth-zones) which offers up to a £24 / MWh discount to data centres on their energy costs if locating in Scotland. This discount risks being offset by non-cost-reflective network charging abnormalities if DCP452 is not implemented quickly. It should also be obvious that the impact of this distortion will grow as more users attempt to connect directly to the highest voltages within Scottish GSPs; such users with high demand will realise that connecting to any Scottish GSP is uneconomic and where they are location agnostic, will locate to DNOs in England and Wales that do not use the FCP charging methodology where they are not exposed to the risk of high charges. That will make constraints worse. In summary - there are important contextual differences which would strengthen the arguments in favour of DCP139 and potentially shift the balance of the associated trade-offs if that decision were to be made now. Combined with those trade-offs having been removed (e.g. amending the solution to only apply to 0000 customers at non-interconnected GSPs), there is clearly a strong case for a different decision on DCP452 than DCP139. |  |  |

| Response | 5. Do you agree with the proposed solution for DCP 452? | Working Group Comments |  |
| --- | --- | --- | --- |
| SSE Gen | We have reservations about the proposed solution - because we don’t think that the impacts of this proposal have been set out sufficiently clearly, especially for storage battery assets, and as such, it is difficult to fully understand the intent of the proposal in terms of what it is trying to achieve for the target group. See our further comments under question 8. - because of the considerable increases of residual charges to be borne by all EHV customers in some of the FCP areas. |  |  |
| SSEN | We have concerns regarding the knock-on effect to other customers. Implementing this DCP will result in the exempt FCP locational charge 1 for 0000 customers being “shifted” to additional residual charges which are subsequently levied to all other Final Demand customers across EDCM. The magnitude of the impact could be varied in future (relative to Table 3 of Consultation doc) depending on the number of 0000 customers connected, the DNO’s load forecast & future network reinforcement plans. |  |  |
| SPEN | Yes |  |  |
| UKPN | Yes we feel that it is appropriate for the issue as raised in the change proposal. |  |  |
| NGED | Yes. Excluding Category 0000 customers at non-interconnected GSPs from FCP modelling and setting the FCP-related import capacity and super-red rates (and export credits) to zero for those customers is a proportionate robust fix. |  |  |
| Field | Yes. Excluding Category 0000 customers at non-interconnected GSPs from FCP modelling and setting the FCP-related import capacity and super-red rates (and export credits) to zero for those customers is a proportionate robust fix. |  |  |

| Response | 6. Do you have any comments on the proposed legal text for DCP 452? If so, then please provide examples or supporting rationale. | Working Group Comments |  |
| --- | --- | --- | --- |
| SSE Gen | We have no comments. |  |  |
| SSEN | Not at this time. |  |  |
| SPEN | We are comfortable that the proposed text is effective and clear. |  |  |
| UKPN | No we are comfortable with the legal text as drafted. |  |  |
| NGED | We consider the drafting to be clear and targeted: the additions to Schedule 17 paragraph 2.7 and Annex 1 paragraph 6.3 cleanly define the Network Group exception; and the amendments to Schedule 17 paragraphs 6.2–6.3 implement zeroing of FCP elements for applicable customers. |  |  |
| Field | No. |  |  |

| Response | 7. Which of the DCUSA Charging Objectives does DCP 452 better facilitate? Please provide supporting comments. | Working Group Comments |  |
| --- | --- | --- | --- |
| SSE Gen | We note that the proposer considers that the CP would have a positive impact on competition in the generation and supply of electricity (CO2) and would result in more cost-reflective charges. Due to the, in our view, insufficient analysis of impacts of this CP, we don’t feel able to provide a view at this point in time. |  |  |
| SSEN | We do not think that DCP 452 would necessarily result in more cost-reflective charges as a whole - it aims to give more cost reflective charges to one specific group of customers but introduce additional costs to other customers. |  |  |
| SPEN | We agree that objectives two and three are better facilitated by this change proposal. |  |  |
| UKPN | We believe that DCUSA Charging Objective two and three will be better facilitated by this change proposal by ensuring that customers directly connected to non-interconnected GSPs do not face costs for assets they are not using which will assist with competition in generation between users connected at different voltage levels. It will also result in more cost-reflective charges for other customers connected to such networks, who are currently face a forward-looking cost signal they are deemed to drive. |  |  |
| NGED | Charging Objectives 2 and 3: (2) by removing non-cost-reflective charges that deter connection choices and distort competition across voltage levels; (3) by aligning charges with costs reasonably expected to be incurred, eliminating a downstream reinforcement signal that 0000 customers cannot cause at non-interconnected GSPs. |  |  |
| Field | DCP452 significantly better facilitates objectives 2 and 3. Objective 2: Users at different voltages are inconsistently exposed to forward-looking signals from the FCP method. This distorts competition between the group of users connected at 0000 at non-interconnected GSPs. None of that group of users drive reinforcement costs in the EDCM. But an arbitrary subset of that group (those connected in areas where the FCP method derives a non-zero charge, driven by downstream users at that location) are exposed to additional costs. Removing that inconsistency will better facilitate competition between users (both existing and prospective) connecting at 0000. It also distorts competition between downstream users (which should be exposed to the costs they drive) and 0000 customers (which should not). Downstream users which drive network costs have an undue competitive advantage through the undue sharing of network costs they drive with other users (those at 0000) which do not. Objective 3: There is a clear cross-subsidy in the baseline which is not cost-reflective. The FCP model is a very detailed and complex mechanism for determining the extent to which users drive network cost; the sophisticated signal is then simply applied to the wrong users. DCP452 would remove that misapplication while continuing to expose 0000 customers to costs which they are deemed to drive - Direct Costs, Indirect Costs and Transmission Exit Charges for example. It may also better facilitate Objective 4. As more large loads seek to connect (driven by electrification and datacentre growth), connecting at the highest practicable voltage and as close to the GSP switchboard (particularly where the highest voltage is 33kV) is likely the lowest cost option. This avoids users’ power flows causing resistive and reactive losses in the DNO’s network. Penalising users who wish to directly connect directly to GSPs (particularly at 33kV in Scotland) could result in such users connecting smaller loads at lower voltages and/or seeking to connect directly to the transmission system, which would lead to inefficiencies in network design and operation |  |  |

| Response | 8. Do you consider that the workgroup has accurately captured the impact of DCP452? If not, what has been missed? | Working Group Comments |  |
| --- | --- | --- | --- |
| SSE Gen | - We don’t consider that the impacts of DCP452 have been set out sufficiently clearly, either in the tables or the narrative at section 9.13. - As we understand it, the impact on affected generators would be negative because their ‘Charge 1’ unit rate credits could fall away. The impact on affected demand users would be that their capacity charges are reduced whilst fixed charges are increased, with the net outcome being unclear for demand customers. The net outcome is also unclear for battery operators who are subject to both import and export tariffs. We think these effects needs to be spelt out much more clearly and illustrated with some calculated examples across various plausible scenarios and across several years. - Table 1 shows a myriad of sub-categories of impacted users but the majority appear not to be directly affected, and hence the information is more confusing than useful. Those user sub-categories that are directly affected are not very clearly flagged but we gather it is rows 5, showing 46 directly impacted users. We think that the impact analysis should have included information on how these 46 users’ net charges would change as a result of this CP, and in which direction. Alternatively, plausible scenarios could have been used as illustrative examples. - Wrt row 10, this shows that there are no relevant GSPs in the two NGED areas, despite the fact that in row 5, these areas do contain three impacted customers. It is not clear to us how this can be so. - It is not clear to us how Tables 2 and 3 are linked (when, we assume, they should be). - We also note that there are considerable impacts on the wider EHV charging base as set out in section 9.13, Table 3, with residual charges shown to increase by 27, 50 and close to 70% in three affected areas (SHEPD, SPD and NGED respectively). - We don’t consider that this magnitude of increases for EHV customers at large has been, or can be, justified. |  |  |
| SSEN | Yes, with the tariff information available at this time for impact analysis purposes. |  |  |
| SPEN | Yes |  |  |
| UKPN | We believe that the impact has been captured as a result of this change. |  |  |
| NGED | Yes. The workgroup’s modelling demonstrates direct impacts on affected 0000 customers and residual redistribution effects on fixed charges. |  |  |
| Field | I believe so, but with the level of transparency on EDCM charges I cannot comment in detail. It would be helpful if the workgroup were able to show: - The impact on directly impacted customers (i.e. 0000 customers at non-interconnected GSPs), ideally by customer, but at a minimum the total revenue change from those customers - Separately, the resulting impact on all other customers which are indirectly impacted As currently presented, it is difficult to differentiate the direct impact from the indirect impact. Customer-by-customer cost impacts would be helpful. If the DNOs are unable to publish that information, It may be beneficial for the workgroup to share it directly with Ofgem, alongside the publishable, aggregated summaries issued with the consultation. Ofgem guidance on this point would be beneficial to avoid an unnecessary send-back and associated delay. |  |  |

| Response | 9. Are you aware of any wider industry developments that may impact upon or be impacted by DCP 452? | Working Group Comments |  |
| --- | --- | --- | --- |
| SSE Gen | We would expect Ofgem’s DUoS SCR to consider the issue raised by this CP. |  |  |
| SSEN | Not at this time. |  |  |
| SPEN | We agree with the potential impacts noted but are not aware of any others. |  |  |
| UKPN | No, none that we are aware of. |  |  |
| NGED | Given Ofgem’s position that DCP 452 may proceed and could later be included if direction changes, we support progressing now to remove a distinct defect while staying aligned with future DUoS reforms. |  |  |
| Field | There are many complex industry developments ongoing. Those must not be used as an excuse not to make specific, targeted, common-sense corrections to the existing methodology that affect a small number of users but which, without correction, could hinder the connection of some large electrical demands, particularly in Scotland. |  |  |

| Response | 10. The proposed implementation date for DCP 452 is 01 April 2028. Do you agree with the proposed implementation date? If not, then please provide your rationale. | Working Group Comments |  |
| --- | --- | --- | --- |
| SSE Gen | We have no comment on the implementation date. |  |  |
| SSEN | Yes. |  |  |
| SPEN | We agree with this date. |  |  |
| UKPN | We believe that as long as a decision is made by the Authority no later than the end of September 2026 then this is the first date that the change can take effect. |  |  |
| NGED | Yes. April 2028 aligns with charge-setting cycles and system/model updates. |  |  |
| Field | Yes. |  |  |

| Response | 11. Do you have any other comments on DCP 452? | Working Group Comments |  |
| --- | --- | --- | --- |
| SSE Gen | Because we don’t think that the impacts of this proposal across have been set out sufficiently clearly, especially for storage battery assets, we would ask the Working Group to provide a more detailed assessment of potential impacts so we can better understand the intent of the proposal in terms of what it is trying to achieve for the target group. See our further comments under question 8. |  |  |
| SSEN | No. |  |  |
| SPEN | None |  |  |
| UKPN | No. |  |  |
| NGED | NGED supports the change and recommends clear stakeholder communications on residual adjustments and on the treatment distinction between interconnected and non-interconnected GSPs. |  |  |
| Field | No. |  |  |